## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-20 00:00:00 | 5.625 | 146.8 | 6.043 | 164.2 | 7.251 | 152.4 | 7.316 | 151.8 | 6.118 | 978.418 | 45.3971 | 38.8365
2020-02-20 00:15:00 | 5.475 | 146.4 | 6.136 | 166.2 | 7.113 | 158.7 | 7.278 | 150.6 | 6.007 | 978.418 | 45.7045 | 38.1271
2020-02-20 00:30:00 | 4.867 | 148.1 | 5.289 | 166.8 | 6.437 | 155.3 | 6.631 | 151.5 | 5.842 | 978.12 | 45.2263 | 38.5114
2020-02-20 00:45:00 | 5.283 | 146.9 | 5.821 | 165.5 | 6.844 | 151.9 | 7.097 | 148 | 5.718 | 978.418 | 45.0897 | 40.3957
2020-02-20 01:00:00 | 5.955 | 145.8 | 6.775 | 164.7 | 8.03 | 157.3 | 8.21 | 147.8 | 5.673 | 978.12 | 44.1332 | 48.9678
2020-02-20 01:15:00 | 6.312 | 144.5 | 6.695 | 161.3 | 7.612 | 156.2 | 7.665 | 147.3 | 5.916 | 978.12 | 43.8599 | 43.5992
2020-02-20 01:30:00 | 6.067 | 147.1 | 6.225 | 164.1 | 7.05 | 150.6 | 7.242 | 150.1 | 5.965 | 977.974 | 43.9624 | 50.213
2020-02-20 01:45:00 | 6.458 | 146.2 | 6.979 | 162.7 | 7.833 | 153 | 7.917 | 149.5 | 6.074 | 978.418 | 43.8599 | 47.209
2020-02-20 02:00:00 | 5.771 | 146.5 | 6.128 | 166.9 | 7.296 | 158.7 | 7.426 | 151.3 | 5.968 | 978.418 | 43.7916 | 42.2136
2020-02-20 02:15:00 | 5.089 | 147.5 | 5.729 | 169.2 | 6.475 | 163.9 | 6.69 | 153.1 | 5.813 | 978.418 | 43.9283 | 49.256
2020-02-20 02:30:00 | 6.115 | 146.8 | 6.424 | 170.3 | 7.724 | 163.7 | 7.815 | 150.3 | 5.663 | 978.422 | 45.2263 | 50.5233
2020-02-20 02:45:00 | 6.001 | 151.4 | 6.074 | 169.4 | 6.406 | 153.7 | 6.613 | 152.2 | 5.663 | 978.418 | 45.4313 | 47.3125
2020-02-20 03:00:00 | 5.275 | 148 | 5.691 | 165 | 6.9 | 155.4 | 7.016 | 152.9 | 5.581 | 978.584 | 45.7728 | 44.5561
2020-02-20 03:15:00 | 6.695 | 150.3 | 7.549 | 167.1 | 8.65 | 160.1 | 8.74 | 155.1 | 5.618 | 978.442 | 45.9095 | 38.8513
2020-02-20 03:30:00 | 6.846 | 151.9 | 7.562 | 169.5 | 8.56 | 161.2 | 8.64 | 156.7 | 5.532 | 978.734 | 45.9095 | 43.6398
2020-02-20 03:45:00 | 6.58 | 153.9 | 7.557 | 169.2 | 9.49 | 157.6 | 9.53 | 160.5 | 5.372 | 978.718 | 46.217 | 44.8924
2020-02-20 04:00:00 | 6.848 | 151.7 | 7.879 | 167.3 | 9.15 | 158.1 | 9.23 | 158.1 | 5.283 | 978.805 | 46.7985 | 45.3431
2020-02-20 04:15:00 | 6.95 | 152 | 7.636 | 168.2 | 8.73 | 163.6 | 8.75 | 156.4 | 5.267 | 978.657 | 48.3009 | 51.1662
2020-02-20 04:30:00 | 6.731 | 145.7 | 7.186 | 167.5 | 8.3 | 161.6 | 8.41 | 150.9 | 5.292 | 978.805 | 49.8728 | 47.7152
2020-02-20 04:45:00 | 6.994 | 145.9 | 7.347 | 162.4 | 8.07 | 152.2 | 8.13 | 151.2 | 5.368 | 979.076 | 51.1379 | 44.6042
2020-02-20 05:00:00 | 7.063 | 143.5 | 7.618 | 160.7 | 8.57 | 152.2 | 8.53 | 150.6 | 5.396 | 978.851 | 51.4778 | 43.9576
2020-02-20 05:15:00 | 6.603 | 143.1 | 7.462 | 160.3 | 8.39 | 151.5 | 8.36 | 149.4 | 5.338 | 979.177 | 51.9228 | 42.2653
2020-02-20 05:30:00 | 7.104 | 143.8 | 7.767 | 161.4 | 8.27 | 148.3 | 8.19 | 149.7 | 5.325 | 979.152 | 52.2653 | 41.8737
2020-02-20 05:45:00 | 6.695 | 141.9 | 6.995 | 159.3 | 7.998 | 148.1 | 7.953 | 148.4 | 5.129 | 978.843 | 53.29 | 42.2432
2020-02-20 06:00:00 | 6.777 | 142.6 | 7.327 | 158.3 | 8.24 | 147.7 | 8.21 | 148.7 | 5.324 | 978.741 | 53.36 | 47.7189
2020-02-20 06:15:00 | 6.644 | 139.9 | 7.401 | 155.4 | 8.05 | 144.9 | 8.06 | 146.2 | 5.18 | 978.849 | 53.0901 | 46.0378
2020-02-20 06:30:00 | 7.234 | 142.4 | 7.519 | 158.5 | 8.35 | 146.4 | 8.38 | 149.1 | 5.149 | 979.115 | 52.2708 | 45.5574
2020-02-20 06:45:00 | 7.047 | 140.3 | 7.751 | 155.4 | 8.25 | 143.8 | 8.23 | 148.5 | 5.098 | 979.146 | 52.9559 | 40.6211
2020-02-20 07:00:00 | 7.121 | 137.2 | 7.749 | 152.6 | 8.03 | 141.6 | 7.958 | 143.5 | 5.331 | 979.259 | 52.5787 | 40.0965
2020-02-20 07:15:00 | 5.944 | 142 | 6.632 | 160.9 | 7.701 | 150.3 | 7.708 | 148.9 | 5.089 | 979.542 | 54.3894 | 38.0939
2020-02-20 07:30:00 | 5.725 | 142.5 | 6.708 | 157.4 | 7.866 | 145.2 | 7.797 | 153 | 4.807 | 979.781 | 56.2956 | 35.973
2020-02-20 07:45:00 | 5.178 | 145 | 5.882 | 163.4 | 7.07 | 159.6 | 7.069 | 150.5 | 4.615 | 980.111 | 54.9278 | 36.361
2020-02-20 08:00:00 | 5.219 | 140.1 | 5.829 | 158.1 | 6.404 | 150 | 6.412 | 146.5 | 4.865 | 980.202 | 54.1759 | 33.1206
2020-02-20 08:15:00 | 5.27 | 140.1 | 5.921 | 156.6 | 6.633 | 147.1 | 6.776 | 148.7 | 5.135 | 980.795 | 53.6636 | 29.6068
2020-02-20 08:30:00 | 4.65 | 135.8 | 4.844 | 155.3 | 5.679 | 145.9 | 5.783 | 141.8 | 5.427 | 981.241 | 52.16 | 27.7668
2020-02-20 08:45:00 | 6.039 | 136 | 6.164 | 149 | 5.765 | 136.9 | 5.702 | 143.1 | 5.966 | 981.687 | 51.428 | 23.5583
2020-02-20 09:00:00 | 5.332 | 136.9 | 5.105 | 157.2 | 4.923 | 150 | 4.95 | 139.9 | 6.519 | 981.734 | 50.333 | 23.7283
2020-02-20 09:15:00 | 6.131 | 144.7 | 6.141 | 167 | 5.572 | 157.3 | 5.533 | 145.8 | 6.794 | 981.98 | 50.3327 | 22.3797
2020-02-20 09:30:00 | 6.378 | 144.1 | 6.281 | 162.4 | 5.597 | 149.5 | 5.511 | 147.6 | 6.704 | 982.223 | 50.461 | 17.2217
2020-02-20 09:45:00 | 6.348 | 147.1 | 6.059 | 164.9 | 5.564 | 156 | 5.508 | 152.4 | 6.84 | 982.938 | 50.6648 | 12.5846
2020-02-20 10:00:00 | 5.702 | 149.9 | 5.461 | 165.5 | 5.231 | 155.5 | 5.159 | 153.7 | 7.317 | 983.231 | 49.9063 | 7.9624
2020-02-20 10:15:00 | 5.743 | 144 | 5.228 | 162.2 | 4.654 | 152 | 4.558 | 148.9 | 7.456 | 983.482 | 48.0628 | 7.9476
2020-02-20 10:30:00 | 5.903 | 148.2 | 5.402 | 162.9 | 4.913 | 150.9 | 4.805 | 153.7 | 7.952 | 983.462 | 48.1652 | 10.5266
2020-02-20 10:45:00 | 5.656 | 135.5 | 5.578 | 153.8 | 5.046 | 144 | 4.932 | 143 | 8.03 | 983.61 | 47.7897 | 8.2284
2020-02-20 11:00:00 | 5.372 | 149.9 | 5.028 | 167.6 | 4.687 | 154.2 | 4.634 | 156.8 | 8.44 | 983.759 | 46.8624 | 8.4316
2020-02-20 11:15:00 | 4.44 | 139.8 | 4.205 | 159.9 | 4.023 | 153.3 | 3.99 | 148 | 8.98 | 983.907 | 45.1193 | 6.7246
2020-02-20 11:30:00 | 5.395 | 150.2 | 5.1 | 164.6 | 4.466 | 152 | 4.415 | 156.2 | 9.18 | 983.907 | 45.6992 | 6.7763
2020-02-20 11:45:00 | 5.176 | 148.7 | 5.041 | 164.2 | 4.649 | 155.7 | 4.558 | 154.1 | 9.12 | 984.056 | 45.4601 | 4.7479
2020-02-20 12:00:00 | 5.069 | 149.8 | 4.844 | 165.3 | 4.354 | 157.8 | 4.309 | 155.3 | 9.52 | 984.056 | 43.6137 | 6.0263
2020-02-20 12:15:00 | 4.67 | 146.9 | 4.627 | 166 | 4.227 | 153.4 | 4.077 | 153.4 | 9.51 | 983.994 | 43.6111 | 5.2282
2020-02-20 12:30:00 | 4.32 | 178.5 | 4.088 | 201 | 3.38 | 191.9 | 3.369 | 180.5 | 9.78 | 984.055 | 43.0024 | 5.195
2020-02-20 12:45:00 | 4.803 | 167 | 4.65 | 181.1 | 4.066 | 164.2 | 4.118 | 169.4 | 9.91 | 983.462 | 43.6171 | 6.6064
2020-02-20 13:00:00 | 4.954 | 182.2 | 4.425 | 206 | 3.555 | 200.3 | 3.559 | 182.8 | 9.63 | 983.165 | 43.5468 | 7.7813
2020-02-20 13:15:00 | 5.556 | 168.8 | 5.253 | 181.5 | 4.527 | 172.8 | 4.591 | 171.5 | 10.12 | 983.165 | 43.4164 | 8.6053
2020-02-20 13:30:00 | 5.786 | 161.1 | 5.721 | 176.3 | 5.056 | 168.3 | 5.07 | 170 | 10.27 | 983.165 | 43.3447 | 15.5036
2020-02-20 13:45:00 | 5.426 | 172.1 | 5.205 | 185.2 | 4.939 | 172.4 | 5.027 | 177.9 | 9.68 | 982.571 | 43.2066 | 12.2632
2020-02-20 14:00:00 | 6.092 | 184.5 | 6.003 | 200.3 | 5.234 | 189 | 5.261 | 184.4 | 9.6 | 982.274 | 43.1093 | 11.8087
2020-02-20 14:15:00 | 5.495 | 153.6 | 5.484 | 166.9 | 5.17 | 153.2 | 5.162 | 161.2 | 10.32 | 983.165 | 39.047 | 15.0602
2020-02-20 14:30:00 | 6.067 | 152 | 6.031 | 170.2 | 5.798 | 156.8 | 5.752 | 158.8 | 10.23 | 982.719 | 37.2691 | 14.1808
2020-02-20 14:45:00 | 7.144 | 185.9 | 6.762 | 203.5 | 6.009 | 194.2 | 5.994 | 184 | 10.46 | 982.422 | 37.2685 | 12.0082
2020-02-20 15:00:00 | 5.967 | 161.6 | 5.683 | 175.6 | 5.465 | 163 | 5.421 | 170.1 | 10.68 | 982.274 | 36.7234 | 12.8728
2020-02-20 15:15:00 | 7.344 | 187.3 | 7.104 | 200.7 | 6.49 | 188.5 | 6.463 | 189.1 | 11.25 | 982.274 | 38.8396 | 14.5577
2020-02-20 15:30:00 | 7.139 | 190.8 | 7.051 | 203.3 | 6.371 | 190.8 | 6.435 | 194.2 | 10.92 | 981.977 | 41.4334 | 15.9987
2020-02-20 15:45:00 | 6.276 | 184.7 | 5.921 | 201.7 | 5.234 | 187.3 | 5.266 | 186.4 | 10.37 | 981.68 | 43.0723 | 10.7224
2020-02-20 16:00:00 | 5.799 | 186.4 | 5.484 | 199.3 | 4.789 | 189 | 4.741 | 191.5 | 10.38 | 981.383 | 43.8641 | 9.7987
2020-02-20 16:15:00 | 5.362 | 172.8 | 4.982 | 188.1 | 4.369 | 182.7 | 4.367 | 175.1 | 10.39 | 981.086 | 44.0348 | 7.4045
2020-02-20 16:30:00 | 4.696 | 182.7 | 4.604 | 197.9 | 4.038 | 187.7 | 4.115 | 181 | 10.4 | 981.086 | 43.7617 | 9.5253
2020-02-20 16:45:00 | 5.628 | 150.9 | 5.404 | 167.2 | 5.33 | 155.4 | 5.279 | 154.6 | 10.44 | 980.529 | 43.8983 | 17.1108
2020-02-20 17:00:00 | 6.973 | 142.7 | 7.028 | 158.1 | 6.905 | 143.3 | 6.845 | 148.1 | 10.33 | 980.806 | 44.8882 | 13.3716
2020-02-20 17:15:00 | 5.72 | 146.8 | 5.721 | 166 | 5.569 | 153 | 5.589 | 150.4 | 10.32 | 980.521 | 45.0609 | 17.0887
2020-02-20 17:30:00 | 5.406 | 142.1 | 5.673 | 159.5 | 6.226 | 149.1 | 6.269 | 149.5 | 10.27 | 980.4 | 45.4719 | 26.5512
2020-02-20 17:45:00 | 6.994 | 139.4 | 7.194 | 156.1 | 7.551 | 139.5 | 7.489 | 144.4 | 10.26 | 980.568 | 44.4509 | 25.2284
2020-02-20 18:00:00 | 6.215 | 138.9 | 6.608 | 155.1 | 6.699 | 143 | 6.547 | 145.7 | 10.25 | 980.921 | 44.8624 | 19.5679
2020-02-20 18:15:00 | 5.132 | 142.7 | 5.19 | 157.1 | 5.623 | 150.4 | 5.674 | 148.4 | 10.11 | 980.918 | 45.2722 | 31.9345
2020-02-20 18:30:00 | 7.77 | 141.9 | 8.36 | 157.1 | 8.67 | 145.3 | 8.59 | 147.5 | 10.26 | 981.024 | 45.2036 | 40.3884
2020-02-20 18:45:00 | 8.03 | 143.7 | 8.2 | 159.7 | 8.61 | 146 | 8.5 | 150 | 10.19 | 980.656 | 45.5446 | 49.6957
2020-02-20 19:00:00 | 7.767 | 146.6 | 7.933 | 163.7 | 8.61 | 152.1 | 8.66 | 151.9 | 10.01 | 980.773 | 46.1592 | 60.7506
2020-02-20 19:15:00 | 8.45 | 150.1 | 8.55 | 168.3 | 9.17 | 156.3 | 9.16 | 156.9 | 9.82 | 980.492 | 47.5248 | 64.0797
2020-02-20 19:30:00 | 9.14 | 150.2 | 9.65 | 165 | 10.3 | 153.8 | 10.25 | 156.8 | 9.56 | 980.346 | 47.937 | 63.1634
2020-02-20 19:45:00 | 9.05 | 153.4 | 9.3 | 169.2 | 9.9 | 157 | 9.95 | 157.2 | 9.53 | 980.049 | 48.6551 | 63.071
2020-02-20 20:00:00 | 8.01 | 150.4 | 7.864 | 165.9 | 8.81 | 151.6 | 8.85 | 155.9 | 9.09 | 979.901 | 49.3084 | 69.3817
2020-02-20 20:15:00 | 9.06 | 149.1 | 9.3 | 170.1 | 9.68 | 164.7 | 9.7 | 150.8 | 9.22 | 979.901 | 46.9182 | 74.6876
2020-02-20 20:30:00 | 8.79 | 144.1 | 9.19 | 163.2 | 9.83 | 152 | 9.76 | 150.1 | 9.03 | 979.901 | 49.4451 | 67.4014
2020-02-20 20:45:00 | 7.732 | 156.6 | 7.935 | 173.8 | 8.69 | 165.9 | 8.65 | 159.4 | 8.99 | 979.901 | 49.65 | 62.8161
2020-02-20 21:00:00 | 10.65 | 155.6 | 10.22 | 169.6 | 9.68 | 154.3 | 9.52 | 159.7 | 9.15 | 979.901 | 49.889 | 64.9776
2020-02-20 21:15:00 | 8.54 | 155.4 | 9.53 | 169.1 | 9.59 | 160.5 | 9.63 | 161.4 | 9.06 | 979.901 | 49.8549 | 73.3337
2020-02-20 21:30:00 | 7.798 | 154.5 | 7.938 | 173.9 | 8.58 | 162.1 | 8.66 | 158.4 | 8.96 | 980.198 | 48.2841 | 71.671
2020-02-20 21:45:00 | 8.38 | 156.7 | 8.79 | 172.9 | 8.29 | 161.8 | 8.2 | 167.8 | 8.87 | 979.902 | 50.8793 | 74.8707
2020-02-20 22:00:00 | 8.27 | 163.3 | 8.14 | 175 | 8.25 | 158.2 | 8.31 | 167.1 | 8.68 | 979.901 | 51.9378 | 69.4842
2020-02-20 22:15:00 | 6.981 | 158.8 | 7.087 | 173.9 | 6.645 | 160.9 | 6.804 | 165.6 | 8.49 | 979.933 | 53.2013 | 63.5661
2020-02-20 22:30:00 | 7.688 | 153.1 | 8.28 | 169.9 | 8.91 | 159.8 | 9.04 | 156.3 | 8.37 | 979.998 | 54.7038 | 68.6281
2020-02-20 22:45:00 | 8.35 | 158.2 | 8.34 | 169.7 | 8.55 | 151.9 | 8.73 | 162.3 | 8.43 | 980.117 | 54.9769 | 59.7752
2020-02-20 23:00:00 | 6.685 | 155.6 | 7.053 | 172.9 | 7.79 | 165.4 | 7.981 | 155.9 | 8.29 | 980.137 | 55.7965 | 59.3023
2020-02-20 23:15:00 | 7.497 | 155.8 | 7.289 | 173.3 | 8.2 | 163.5 | 8.26 | 159.5 | 8.37 | 980.473 | 55.5233 | 59.0658
2020-02-20 23:30:00 | 8 | 155.2 | 8.31 | 172.9 | 8.91 | 161.7 | 8.94 | 160 | 8.21 | 980.175 | 55.6599 | 61.1054
2020-02-20 23:45:00 | 8.49 | 157.9 | 8.08 | 173.8 | 8.83 | 156.3 | 8.92 | 159.9 | 8.2 | 980.169 | 56.4111 | 56.6198