## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-21 00:00:00 | 8.92 | 165.1 | 8.47 | 180.5 | 8.15 | 165.8 | 8.15 | 168.3 | 8.04 | 980.181 | 58.46 | 53.9004
2020-02-21 00:15:00 | 7.982 | 158 | 8.14 | 176.4 | 8.3 | 165.4 | 8.44 | 159.8 | 7.915 | 980.188 | 58.938 | 58.1421
2020-02-21 00:30:00 | 8.49 | 156.8 | 8.8 | 172.4 | 8.62 | 161.1 | 8.67 | 161.6 | 7.737 | 980.201 | 59.1087 | 61.4822
2020-02-21 00:45:00 | 8.42 | 156.5 | 8.84 | 171.8 | 9.04 | 156.4 | 9.09 | 161.6 | 7.603 | 979.903 | 59.2805 | 62.4392
2020-02-21 01:00:00 | 9.12 | 159.4 | 9.01 | 174.8 | 8.87 | 159 | 8.91 | 162.1 | 7.583 | 980.201 | 58.872 | 52.2895
2020-02-21 01:15:00 | 9.77 | 158.6 | 9.92 | 172.6 | 9.34 | 160.4 | 9.26 | 163.8 | 7.667 | 980.201 | 58.194 | 23.7159
2020-02-21 01:30:00 | 6.378 | 188.2 | 6.174 | 205.3 | 5.122 | 195.6 | 5.126 | 185.3 | 7.649 | 980.498 | 58.3988 | 7.5079
2020-02-21 01:45:00 | 6.141 | 183.7 | 6.222 | 197.4 | 5.76 | 187.6 | 5.974 | 185.7 | 7.415 | 980.349 | 62.9069 | 5.6346
2020-02-21 02:00:00 | 4.624 | 168.1 | 4.604 | 178.3 | 4.776 | 163.9 | 4.93 | 178.9 | 6.742 | 980.201 | 62.8749 | 9.0381
2020-02-21 02:15:00 | 6.361 | 182.6 | 6.031 | 188 | 6.325 | 165.7 | 6.565 | 189.8 | 7.213 | 980.052 | 59.4996 | 8.4279
2020-02-21 02:30:00 | 7.624 | 184.8 | 7.427 | 196 | 7.312 | 181.2 | 7.55 | 191.4 | 7.648 | 980.201 | 60.0465 | 7.604
2020-02-21 02:45:00 | 4.834 | 204.1 | 4.745 | 214.9 | 4.834 | 202.6 | 4.978 | 206.1 | 7.135 | 980.201 | 64.3817 | 5.4277
2020-02-21 03:00:00 | 3.108 | 168.9 | 3.114 | 183.9 | 3.487 | 158.7 | 3.639 | 178.8 | 6.622 | 979.903 | 63.3242 | 9.7803
2020-02-21 03:15:00 | 3.447 | 171.6 | 4.021 | 180.7 | 3.962 | 166.5 | 4.12 | 183.1 | 6.984 | 979.606 | 64.9695 | 11.7016
2020-02-21 03:30:00 | 3.639 | 185.3 | 4.011 | 195.7 | 4.389 | 182.8 | 4.749 | 191.7 | 7.087 | 979.309 | 67.2246 | 7.1237
2020-02-21 03:45:00 | 4.494 | 190.5 | 4.826 | 198.6 | 5.01 | 180.5 | 5.246 | 196.9 | 6.983 | 979.309 | 69.889 | 4.3747
2020-02-21 04:00:00 | 3.575 | 197.7 | 3.937 | 207.4 | 4.255 | 193.9 | 4.515 | 205.1 | 6.752 | 979.012 | 71.2553 | 1.9139
2020-02-21 04:15:00 | 2.977 | 198.3 | 3.689 | 204.8 | 3.952 | 181.2 | 4.24 | 204.3 | 6.56 | 979.012 | 73.9197 | 1.6146
2020-02-21 04:30:00 | 2.689 | 201.8 | 3.116 | 209 | 3.273 | 197.2 | 3.524 | 207.4 | 6.352 | 979.012 | 75.2861 | 0.67246
2020-02-21 04:45:00 | 2.653 | 214.4 | 3.111 | 217.9 | 3.141 | 205.3 | 3.524 | 221.2 | 6.324 | 979.012 | 77.2331 | 0.42491
2020-02-21 05:00:00 | 2.944 | 204 | 3.206 | 214 | 3.319 | 192 | 3.641 | 210.6 | 6.027 | 978.715 | 81.298 | 0.10346
2020-02-21 05:15:00 | 2.462 | 233.4 | 3.101 | 240.7 | 3.265 | 222 | 3.524 | 237.3 | 5.777 | 978.863 | 83.8941 | 0.11824
2020-02-21 05:30:00 | 0.947 | 227.8 | 2.078 | 223.3 | 3.062 | 201.6 | 3.471 | 235 | 5.418 | 978.715 | 87.8565 | -0.16996
2020-02-21 05:45:00 | 1.361 | 205.3 | 1.485 | 239.1 | 1.927 | 150.1 | 2.317 | 229 | 5.332 | 978.418 | 89.5645 | -0.29928
2020-02-21 06:00:00 | 1.488 | 203.8 | 1.174 | 238.9 | 0.463 | 144.6 | 1.382 | 224.4 | 5.391 | 978.418 | 88.0273 | -0.28081
2020-02-21 06:15:00 | 0.441 | 240.9 | 1.695 | 240.7 | 2.339 | 195.4 | 2.615 | 253.5 | 5.69 | 978.863 | 86.3535 | -0.28081
2020-02-21 06:30:00 | 2.296 | 246.6 | 2.676 | 248.1 | 2.652 | 222.8 | 2.875 | 254.8 | 5.808 | 979.012 | 87.7199 | -0.28081
2020-02-21 06:45:00 | 1.399 | 221.2 | 1.874 | 246.8 | 1.406 | 163.2 | 1.828 | 247.7 | 5.548 | 979.012 | 89.4962 | -0.28081
2020-02-21 07:00:00 | 1.496 | 220.3 | 2.301 | 246.6 | 1.663 | 174.2 | 2.05 | 238.7 | 5.575 | 979.012 | 88.5397 | -0.28081
2020-02-21 07:15:00 | 1.461 | 202 | 2.451 | 245.2 | 1.404 | 182.4 | 1.876 | 214.3 | 5.605 | 979.012 | 86.4902 | -0.26233
2020-02-21 07:30:00 | 2.048 | 206.5 | 2.653 | 245.2 | 1.66 | 194.3 | 2.103 | 215.7 | 5.712 | 979.309 | 86.8318 | -0.25125
2020-02-21 07:45:00 | 2.788 | 206.5 | 3.19 | 245.1 | 1.887 | 196.1 | 2.325 | 221.3 | 5.652 | 979.458 | 88.5397 | -0.15149
2020-02-21 08:00:00 | 2.015 | 180.1 | 2.303 | 245.1 | 1.76 | 164.4 | 2.327 | 217.1 | 5.337 | 979.606 | 95.5764 | 0.25494
2020-02-21 08:15:00 | 2.755 | 193.2 | 2.786 | 245 | 2.825 | 170.1 | 3.135 | 212.9 | 4.87 | 979.606 | 95.474 | 0.82764
2020-02-21 08:30:00 | 3.434 | 178.1 | 3.538 | 185.8 | 2.841 | 172.5 | 3.208 | 194.6 | 4.681 | 979.606 | 97.0111 | 1.8142
2020-02-21 08:45:00 | 2.804 | 198.2 | 2.853 | 204.3 | 3.008 | 178.3 | 3.387 | 203.2 | 4.753 | 979.755 | 97.9334 | 0.60226
2020-02-21 09:00:00 | 3.253 | 175.4 | 3.177 | 183.4 | 2.357 | 169.7 | 2.663 | 196.8 | 4.855 | 979.903 | 98.8557 | 0.077592
2020-02-21 09:15:00 | 3.143 | 189.8 | 2.929 | 204.2 | 2.746 | 198.8 | 3.122 | 197.7 | 4.909 | 979.903 | 99.0606 | 0.26972
2020-02-21 09:30:00 | 3.235 | 198.1 | 3.287 | 210.5 | 3.105 | 198.5 | 3.476 | 208.7 | 5.219 | 980.201 | 98.3091 | 0.014779
2020-02-21 09:45:00 | 2.554 | 199.2 | 2.525 | 207.9 | 2.24 | 177.9 | 2.775 | 215.3 | 5.315 | 980.052 | 97.8992 | -0.18844
2020-02-21 10:00:00 | 2.87 | 173.1 | 2.546 | 178.5 | 1.98 | 158.2 | 2.322 | 182.5 | 5.57 | 980.201 | 95.9522 | -0.28081
2020-02-21 10:15:00 | 2.343 | 217.9 | 1.992 | 220.9 | 1.555 | 170.7 | 2.028 | 224.7 | 6.625 | 980.765 | 87.4545 | -0.28081
2020-02-21 10:30:00 | 3.128 | 256 | 3.162 | 270.1 | 3.207 | 252.1 | 3.236 | 257.2 | 6.211 | 980.498 | 87.8949 | -0.29928
2020-02-21 10:45:00 | 2.642 | 256 | 2.185 | 270.8 | 2.39 | 258.8 | 2.47 | 261.9 | 6.448 | 980.476 | 84.0579 | -0.28081
2020-02-21 11:00:00 | 0.793 | 217.5 | 1.121 | 243.5 | 1.399 | 237.5 | 1.45 | 218.2 | 6.84 | 980.522 | 80.1875 | -0.28081
2020-02-21 11:15:00 | 3.039 | 171.3 | 2.86 | 184.4 | 2.272 | 170.6 | 2.217 | 183.4 | 7.802 | 980.345 | 80.2185 | -0.25125
2020-02-21 11:30:00 | 2.176 | 186 | 2.295 | 194.3 | 1.599 | 175.8 | 1.481 | 211 | 8.4 | 980.492 | 76.7367 | -0.31037
2020-02-21 11:45:00 | 2.972 | 287.3 | 3.377 | 300.5 | 3.492 | 275.8 | 3.45 | 286.1 | 7.976 | 980.789 | 76.244 | 0.062812
2020-02-21 12:00:00 | 3.493 | 272.3 | 3.712 | 279.5 | 3.522 | 250.5 | 3.501 | 277.1 | 7.642 | 980.789 | 76.722 | 2.3462
2020-02-21 12:15:00 | 3.917 | 279.2 | 3.947 | 294.9 | 3.476 | 279.2 | 3.453 | 281 | 8.14 | 980.492 | 70.6808 | 1.5445
2020-02-21 12:30:00 | 3.337 | 290.5 | 3.53 | 307.5 | 3.204 | 288.4 | 3.155 | 287.6 | 8.42 | 980.492 | 65.4598 | 1.7292
2020-02-21 12:45:00 | 3.148 | 303.3 | 3.617 | 317.3 | 3.68 | 307.1 | 3.72 | 303 | 8.57 | 980.195 | 58.6007 | 1.574
2020-02-21 13:00:00 | 2.553 | 296.8 | 3.085 | 318.5 | 3.532 | 315.1 | 3.588 | 296.9 | 8.88 | 980.195 | 45.9044 | 0.2882
2020-02-21 13:15:00 | 3.45 | 308.9 | 3.385 | 316.3 | 2.883 | 294.5 | 2.903 | 309.8 | 9.31 | 979.851 | 44.8395 | -0.26233
2020-02-21 13:30:00 | 3.613 | 310.6 | 3.893 | 321.8 | 3.779 | 315.3 | 3.82 | 309.2 | 9.15 | 979.321 | 39.3107 | -0.19583
2020-02-21 13:45:00 | 1.754 | 306.3 | 2.452 | 322.8 | 2.233 | 322.1 | 2.367 | 304.8 | 9.76 | 979.601 | 40.2662 | -0.17735
2020-02-21 14:00:00 | 2.568 | 289.7 | 3.032 | 287 | 3.581 | 252.4 | 3.657 | 294.8 | 9.73 | 979.599 | 35.6595 | -0.13671
2020-02-21 14:15:00 | 4.438 | 257.2 | 4.509 | 275.2 | 4.084 | 261.4 | 3.985 | 256.1 | 9.59 | 979.302 | 39.8908 | 2.8266
2020-02-21 14:30:00 | 5.171 | 252.9 | 5.085 | 263.6 | 4.845 | 254.2 | 4.848 | 255 | 9.32 | 979.36 | 37.3656 | 4.6814
2020-02-21 14:45:00 | 4.841 | 271.3 | 4.98 | 284.8 | 4.641 | 270.5 | 4.721 | 270.7 | 9.71 | 979.729 | 35.2877 | 6.5694
2020-02-21 15:00:00 | 4.463 | 261.7 | 4.374 | 274.4 | 4.064 | 261.4 | 3.993 | 263.8 | 9.73 | 979.898 | 36.5187 | 6.8281
2020-02-21 15:15:00 | 5.439 | 254.2 | 5.461 | 262.7 | 4.982 | 245.1 | 4.922 | 255.3 | 9.97 | 979.601 | 34.6758 | 6.8059
2020-02-21 15:30:00 | 4.992 | 264.1 | 5.251 | 276 | 4.997 | 256.4 | 5.047 | 267.4 | 10.19 | 979.75 | 31.3652 | 7.0941
2020-02-21 15:45:00 | 4.305 | 247.3 | 4.461 | 269.2 | 4.453 | 247.6 | 4.456 | 241.7 | 10.42 | 980.195 | 31.0921 | 7.737
2020-02-21 16:00:00 | 4.109 | 258.5 | 4.228 | 276.9 | 4.099 | 260 | 4.118 | 255.6 | 10.05 | 979.601 | 30.2388 | 9.9502
2020-02-21 16:15:00 | 4.91 | 249.7 | 4.814 | 262.4 | 4.45 | 248 | 4.365 | 251.3 | 10.08 | 979.601 | 29.1461 | 7.87
2020-02-21 16:30:00 | 3.82 | 256.8 | 3.727 | 267.1 | 3.502 | 250.9 | 3.404 | 264.3 | 10.07 | 979.601 | 30.0339 | 4.4671
2020-02-21 16:45:00 | 4.392 | 252.7 | 4.678 | 264.7 | 4.527 | 243.3 | 4.464 | 257.8 | 10.06 | 979.304 | 26.6906 | 3.2699
2020-02-21 17:00:00 | 2.262 | 234.3 | 2.372 | 242.9 | 2.342 | 224.3 | 2.411 | 238 | 10.14 | 979.007 | 26.6256 | 0.27342
2020-02-21 17:15:00 | 2.663 | 241.9 | 2.738 | 261.7 | 2.739 | 239.1 | 2.77 | 243.2 | 10.05 | 979.007 | 26.6257 | 0.50989
2020-02-21 17:30:00 | 2.635 | 257.7 | 2.618 | 264.5 | 2.332 | 252 | 2.393 | 259.1 | 9.94 | 978.413 | 27.0353 | -0.15518
2020-02-21 17:45:00 | 2.319 | 221.4 | 2.508 | 250.4 | 2.345 | 213.7 | 2.437 | 230 | 9.83 | 978.309 | 28.1277 | -0.27342
2020-02-21 18:00:00 | 1.498 | 205.1 | 1.96 | 220.2 | 1.686 | 195 | 1.798 | 211.6 | 9.58 | 978.169 | 27.8584 | -0.25125
2020-02-21 18:15:00 | 2.413 | 226.1 | 2.671 | 221.5 | 2.538 | 205.9 | 2.61 | 232.8 | 9.54 | 978.704 | 25.8791 | -0.25864
2020-02-21 18:30:00 | 3.322 | 222.8 | 3.285 | 222 | 3.021 | 216.9 | 3.112 | 225.7 | 9.78 | 978.712 | 25.2345 | -0.25864
2020-02-21 18:45:00 | 2.676 | 213.3 | 3.438 | 219.5 | 3.647 | 210.1 | 3.746 | 218.4 | 9.61 | 978.712 | 25.8153 | 0.22908
2020-02-21 19:00:00 | 3.271 | 223.6 | 3.745 | 231 | 4.092 | 223.2 | 4.184 | 228.8 | 9.61 | 979.307 | 24.9957 | 1.8696
2020-02-21 19:15:00 | 3.955 | 250.8 | 4.717 | 259.9 | 4.939 | 240.1 | 4.912 | 253.4 | 9.66 | 979.604 | 25.3031 | 6.78
2020-02-21 19:30:00 | 4.474 | 271.4 | 5.023 | 283.2 | 5.285 | 267.3 | 5.279 | 273.5 | 9.65 | 979.604 | 24.1762 | 10.8222
2020-02-21 19:45:00 | 3.991 | 291 | 4.438 | 301.4 | 4.829 | 294.8 | 4.884 | 294.4 | 9.35 | 979.604 | 27.9665 | 11.8309
2020-02-21 20:00:00 | 3.358 | 278.4 | 4.313 | 289.7 | 5.893 | 269.5 | 6.012 | 280 | 9.04 | 979.901 | 30.4593 | 26.577
2020-02-21 20:15:00 | 4.64 | 286.9 | 5.478 | 296.7 | 5.819 | 281.5 | 5.941 | 291.2 | 9.25 | 980.198 | 33.0545 | 35.0253
2020-02-21 20:30:00 | 8.89 | 255.6 | 9.34 | 265.5 | 9.83 | 250.7 | 9.72 | 258.2 | 9.48 | 979.901 | 35.5131 | 52.1823
2020-02-21 20:45:00 | 6.856 | 239.4 | 6.608 | 253.3 | 6.961 | 245.5 | 6.995 | 242.3 | 9.17 | 980.049 | 34.4203 | 25.1618
2020-02-21 21:00:00 | 5.36 | 234.5 | 5.333 | 245.8 | 5.608 | 218.5 | 5.719 | 235.8 | 9.17 | 980.049 | 35.035 | 15.5036
2020-02-21 21:15:00 | 4.568 | 250.3 | 5.11 | 257.8 | 5.341 | 239.4 | 5.365 | 255.6 | 9.23 | 980.643 | 34.0789 | 14.288
2020-02-21 21:30:00 | 4.627 | 304.9 | 5.489 | 317.7 | 5.748 | 312 | 5.969 | 304 | 9.06 | 980.643 | 34.1472 | 26.8963
2020-02-21 21:45:00 | 6.062 | 340.8 | 6.386 | 356 | 6.317 | 345.8 | 6.435 | 341.1 | 8.5 | 980.807 | 34.6935 | 36.8191
2020-02-21 22:00:00 | 3.294 | 347.9 | 3.286 | 7.28 | 3.927 | 345 | 4.181 | 341 | 8.04 | 980.945 | 30.5276 | 41.1458
2020-02-21 22:15:00 | 4.537 | 330.5 | 5.08 | 356.9 | 5.015 | 344.6 | 5.251 | 323.1 | 7.773 | 981.084 | 29.708 | 45.1399
2020-02-21 22:30:00 | 3.339 | 321.2 | 4.111 | 341.1 | 4.634 | 341 | 4.833 | 316.9 | 7.447 | 981.089 | 25.0642 | 43.965
2020-02-21 22:45:00 | 3.723 | 322.1 | 3.911 | 339.4 | 4.448 | 331.7 | 4.833 | 316.4 | 7.404 | 980.943 | 25.0683 | 48.0625
2020-02-21 23:00:00 | 4.877 | 324.3 | 4.809 | 346.2 | 4.534 | 339 | 5.024 | 320.1 | 7.184 | 980.795 | 27.0533 | 45.2914
2020-02-21 23:15:00 | 5.058 | 324.1 | 4.959 | 343.2 | 4.911 | 336.5 | 5.246 | 322.2 | 6.849 | 980.795 | 27.1904 | 45.6535
2020-02-21 23:30:00 | 5.686 | 333.4 | 6.194 | 346.7 | 5.704 | 342.7 | 5.821 | 330.6 | 6.561 | 980.795 | 28.2152 | 44.0647
2020-02-21 23:45:00 | 5.043 | 336.6 | 5.793 | 353.4 | 5.72 | 349 | 5.882 | 336.5 | 6.166 | 980.795 | 29.3766 | 36.8893