## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-22 00:00:00 | 3.999 | 338.9 | 5.187 | 1.986 | 6.841 | 356.9 | 6.96 | 339.3 | 5.77 | 980.795 | 31.7677 | 34.6983
2020-02-22 00:15:00 | 4.688 | 348.2 | 5.161 | 15.35 | 6.564 | 0.639 | 6.924 | 348.9 | 5.425 | 980.795 | 30.1964 | 31.299
2020-02-22 00:30:00 | 3.542 | 341.4 | 4.47 | 8.82 | 7.185 | 5.084 | 7.477 | 341.7 | 5.278 | 980.498 | 30.1281 | 34.3362
2020-02-22 00:45:00 | 4.563 | 347.8 | 5.916 | 10.37 | 8.32 | 14.82 | 8.53 | 347.1 | 5.092 | 980.257 | 30.1964 | 29.4294
2020-02-22 01:00:00 | 4.172 | 348.3 | 4.625 | 14.44 | 6.485 | 13.19 | 6.881 | 346.6 | 4.886 | 980.692 | 31.4292 | 18.2082
2020-02-22 01:15:00 | 3.805 | 342.7 | 4.724 | 7.076 | 5.837 | 5.301 | 5.951 | 343.2 | 4.64 | 981.093 | 31.3655 | 15.341
2020-02-22 01:30:00 | 3.251 | 346.5 | 4.456 | 6.043 | 5.603 | 3.693 | 5.796 | 345.3 | 4.548 | 980.794 | 30.5466 | 15.4851
2020-02-22 01:45:00 | 3.991 | 344.6 | 4.778 | 4.75 | 5.837 | 0.888 | 5.984 | 345.7 | 4.579 | 980.788 | 29.9979 | 15.4592
2020-02-22 02:00:00 | 4.461 | 343.8 | 4.821 | 7.242 | 6.081 | 0.887 | 6.262 | 344.8 | 4.557 | 980.798 | 31.0921 | 13.6635
2020-02-22 02:15:00 | 3.396 | 343.9 | 4.177 | 6.638 | 4.402 | 354.6 | 4.581 | 340.2 | 4.172 | 980.798 | 31.5365 | 11.7718
2020-02-22 02:30:00 | 3.409 | 341.5 | 3.97 | 3.668 | 5.089 | 359.5 | 5.192 | 342.3 | 4.082 | 980.766 | 31.7085 | 10.6744
2020-02-22 02:45:00 | 3.966 | 338.7 | 5.026 | 359.3 | 4.817 | 357.4 | 4.935 | 337.5 | 3.91 | 980.767 | 32.7343 | 12.6031
2020-02-22 03:00:00 | 4.241 | 337 | 4.568 | 354.2 | 3.993 | 350.2 | 3.962 | 334.3 | 3.622 | 980.645 | 32.3248 | 12.2373
2020-02-22 03:15:00 | 3.148 | 339.3 | 4.425 | 4.264 | 5.905 | 6.955 | 6.081 | 340.9 | 3.486 | 980.649 | 32.872 | 13.5749
2020-02-22 03:30:00 | 4.093 | 343.4 | 5.062 | 4.088 | 5.839 | 356.4 | 5.887 | 340.8 | 3.465 | 980.649 | 33.4871 | 20.414
2020-02-22 03:45:00 | 4.177 | 344.6 | 5.261 | 7.709 | 6.999 | 6.364 | 7.222 | 345.7 | 3.342 | 980.501 | 33.8288 | 24.1606
2020-02-22 04:00:00 | 4.606 | 344.4 | 6.036 | 7.215 | 7.632 | 3.177 | 7.815 | 348.8 | 3.253 | 980.798 | 34.8539 | 25.088
2020-02-22 04:15:00 | 4.783 | 350.5 | 6.066 | 6.523 | 7.701 | 4.99 | 7.887 | 352.8 | 3.056 | 980.501 | 34.6489 | 25.5388
2020-02-22 04:30:00 | 5.896 | 355 | 6.741 | 8.03 | 8.53 | 8.28 | 8.7 | 354.8 | 3.002 | 980.798 | 34.9906 | 28.018
2020-02-22 04:45:00 | 4.943 | 356.2 | 5.435 | 16.3 | 7.314 | 15.39 | 7.729 | 355.7 | 2.889 | 980.649 | 36.3574 | 25.2247
2020-02-22 05:00:00 | 4.374 | 355 | 5.31 | 13.58 | 7.777 | 13.26 | 7.988 | 354.9 | 2.486 | 980.649 | 37.6559 | 28.2914
2020-02-22 05:15:00 | 4.663 | 357.8 | 5.826 | 12.37 | 7.79 | 9.89 | 8.29 | 359.7 | 2.358 | 980.798 | 37.9293 | 25.0991
2020-02-22 05:30:00 | 4.734 | 8.46 | 5.103 | 20.54 | 6.129 | 14.62 | 6.379 | 7.484 | 2.173 | 980.798 | 38.7503 | 22.7787
2020-02-22 05:45:00 | 5.063 | 10.11 | 6.982 | 27.65 | 6.742 | 14.39 | 6.16 | 11.8 | 2.18 | 980.947 | 38.0016 | 27.0869
2020-02-22 06:00:00 | 5.763 | 13.2 | 7.754 | 29.7 | 7.881 | 19.29 | 7.021 | 16.45 | 2.242 | 980.798 | 36.4297 | 33.1095
2020-02-22 06:15:00 | 6.072 | 11.27 | 8.45 | 28.76 | 7.874 | 16.39 | 7.123 | 14.67 | 2.338 | 980.798 | 35.8168 | 37.6468
2020-02-22 06:30:00 | 5.809 | 9.01 | 7.833 | 27.07 | 6.989 | 14.59 | 6.501 | 10.55 | 2.304 | 981.095 | 35.0636 | 35.8031
2020-02-22 06:45:00 | 6.34 | 9.61 | 7.148 | 21.98 | 7.185 | 10.44 | 7.135 | 8.09 | 2.407 | 981.392 | 34.7211 | 36.6307
2020-02-22 07:00:00 | 5.513 | 6.173 | 5.78 | 18.64 | 6.477 | 13.56 | 6.779 | 4.744 | 2.239 | 981.69 | 34.1743 | 32.6107
2020-02-22 07:15:00 | 4.892 | 5.62 | 5.691 | 18.55 | 7.365 | 11.73 | 7.675 | 4.105 | 2.203 | 981.69 | 34.2426 | 32.1341
2020-02-22 07:30:00 | 4.928 | 9.69 | 5.54 | 23.52 | 6.325 | 13.72 | 6.644 | 2.985 | 2.304 | 981.987 | 33.4872 | 22.7529
2020-02-22 07:45:00 | 4.703 | 9.5 | 5.412 | 22.7 | 6.17 | 17.76 | 6.631 | 1.474 | 2.491 | 982.433 | 33.1454 | 18.1232
2020-02-22 08:00:00 | 5.017 | 10.81 | 5.34 | 30.53 | 5.478 | 24.12 | 5.686 | 4.126 | 2.714 | 982.879 | 32.2545 | 15.0195
2020-02-22 08:15:00 | 4.522 | 10.36 | 5.435 | 36.83 | 5.04 | 24.68 | 5.251 | 359.4 | 2.969 | 983.146 | 31.7064 | 16.1243
2020-02-22 08:30:00 | 5.492 | 11 | 5.926 | 33.28 | 4.771 | 26.76 | 4.92 | 3.278 | 2.909 | 983.219 | 31.802 | 14.9346
2020-02-22 08:45:00 | 5.485 | 9.23 | 5.67 | 28.79 | 5.157 | 19.88 | 4.978 | 10.34 | 2.846 | 983.618 | 31.9044 | 13.719
2020-02-22 09:00:00 | 5.651 | 12.4 | 6.744 | 31.01 | 5.814 | 20.54 | 5.801 | 10.98 | 3.022 | 983.767 | 28.5568 | 15.0417
2020-02-22 09:15:00 | 5.847 | 13.85 | 6.752 | 34.38 | 5.778 | 20.88 | 5.885 | 7.459 | 3.219 | 984.361 | 27.1221 | 17.7537
2020-02-22 09:30:00 | 6.498 | 11.11 | 7.475 | 30.94 | 6.513 | 21.5 | 6.532 | 11 | 3.381 | 984.213 | 24.1845 | 16.128
2020-02-22 09:45:00 | 7.198 | 13.59 | 8.62 | 33.66 | 7.421 | 23.45 | 7.316 | 8.97 | 3.295 | 984.361 | 23.7057 | 13.3864
2020-02-22 10:00:00 | 6.299 | 9.58 | 7.168 | 28.3 | 7.014 | 18.23 | 7.123 | 8.4 | 3.541 | 984.807 | 24.2521 | 16.5197
2020-02-22 10:15:00 | 5.763 | 15.44 | 6.616 | 33.9 | 5.702 | 24.58 | 5.605 | 10.03 | 3.722 | 984.956 | 25.0669 | 13.6488
2020-02-22 10:30:00 | 6.062 | 14.53 | 6.913 | 37.29 | 6.287 | 28.65 | 6.438 | 8.86 | 3.995 | 984.943 | 24.7226 | 13.379
2020-02-22 10:45:00 | 3.682 | 20.82 | 6.782 | 37.18 | 6.126 | 10.74 | 5.679 | 20.39 | 4.329 | 984.976 | 25.2006 | 12.7916
2020-02-22 11:00:00 | 3.179 | 21.64 | 5.895 | 35.71 | 5.264 | 12.72 | 4.973 | 21.49 | 4.549 | 984.951 | 26.1563 | 12.0415
2020-02-22 11:15:00 | 2.634 | 22.94 | 4.998 | 36.85 | 5.753 | 1.594 | 5.526 | 24.53 | 5.088 | 984.887 | 23.7629 | 12.6216
2020-02-22 11:30:00 | 4.761 | 4.533 | 5.617 | 32.78 | 5.898 | 23.47 | 5.992 | 0.35 | 5.573 | 984.993 | 24.3045 | 10.0167
2020-02-22 11:45:00 | 3.157 | 17.14 | 4.146 | 39.16 | 4.038 | 19.35 | 3.944 | 10.86 | 6.181 | 985.244 | 22.9391 | 10.1202
2020-02-22 12:00:00 | 3.404 | 23.64 | 5.098 | 44.68 | 4.839 | 37.4 | 4.698 | 19.45 | 5.983 | 985.244 | 24.3033 | 8.6312
2020-02-22 12:15:00 | 2.722 | 8.5 | 3.349 | 350.1 | 3.548 | 303.7 | 3.439 | 29.98 | 7.139 | 985.244 | 22.1502 | 6.8761
2020-02-22 12:30:00 | 3.387 | 358.8 | 3.674 | 340.4 | 4.147 | 308.5 | 4.097 | 6.011 | 7.021 | 984.947 | 23.1399 | 8.7753
2020-02-22 12:45:00 | 3.669 | 359.2 | 3.621 | 4.441 | 3.605 | 312.4 | 3.547 | 358.5 | 7.296 | 984.798 | 22.0817 | 10.0167
2020-02-22 13:00:00 | 3.097 | 12.64 | 3.444 | 351.4 | 4.079 | 305.9 | 4.166 | 20.33 | 7.526 | 984.353 | 21.9794 | 11.0513
2020-02-22 13:15:00 | 2.022 | 8.56 | 3.063 | 22.8 | 3.232 | 342.3 | 2.925 | 356.2 | 7.849 | 984.798 | 22.5248 | 9.5623
2020-02-22 13:30:00 | 4.078 | 311.4 | 4.701 | 323.2 | 4.55 | 305 | 4.647 | 314.8 | 7.166 | 984.501 | 21.5694 | 8.2358
2020-02-22 13:45:00 | 4.382 | 343.9 | 4.256 | 345.8 | 4.389 | 311.6 | 4.258 | 340.9 | 7.447 | 984.353 | 21.4334 | 7.2715
2020-02-22 14:00:00 | 3.904 | 337.9 | 3.97 | 325.6 | 3.568 | 293.7 | 3.518 | 345.7 | 7.873 | 984.501 | 22.3208 | 4.6703
2020-02-22 14:15:00 | 4.716 | 324.2 | 4.967 | 328.6 | 4.102 | 311.2 | 4.158 | 328.4 | 7.969 | 984.353 | 20.3752 | 1.6442
2020-02-22 14:30:00 | 3.018 | 310.8 | 3.195 | 329 | 3.601 | 324.4 | 3.636 | 313.4 | 8 | 984.353 | 20.3412 | 0.040643
2020-02-22 14:45:00 | 2.392 | 273.4 | 2.472 | 296.2 | 2.777 | 281.8 | 2.765 | 274.3 | 7.696 | 984.65 | 20.7161 | 0.55423
2020-02-22 15:00:00 | 1.715 | 230 | 1.135 | 245.1 | 1.221 | 211.4 | 1.244 | 247.6 | 7.555 | 985.095 | 20.6483 | -0.092371
2020-02-22 15:15:00 | 4.055 | 300.7 | 4.011 | 312.4 | 3.484 | 295.7 | 3.399 | 297.9 | 8.15 | 984.353 | 21.058 | -0.28081
2020-02-22 15:30:00 | 3.47 | 302.7 | 3.679 | 311.3 | 3.209 | 292.3 | 3.211 | 302.1 | 8.09 | 984.353 | 21.3651 | -0.33623
2020-02-22 15:45:00 | 2.516 | 252.4 | 2.294 | 259.5 | 2.108 | 234.7 | 2.1 | 264.8 | 8.36 | 984.65 | 19.8976 | -0.24016
2020-02-22 16:00:00 | 3.475 | 241.7 | 3.213 | 251.4 | 3.225 | 224.4 | 3.132 | 246.4 | 8.42 | 984.353 | 20.4778 | -0.24016
2020-02-22 16:15:00 | 3.016 | 263 | 3.014 | 267.7 | 2.825 | 237.1 | 2.628 | 263.8 | 8.55 | 984.353 | 20.3413 | -0.25864
2020-02-22 16:30:00 | 1.288 | 263.4 | 1.073 | 223.5 | 1.28 | 180.9 | 1.25 | 285.7 | 8.23 | 984.353 | 19.6245 | -0.26972
2020-02-22 16:45:00 | 1.549 | 251.3 | 1.611 | 269.3 | 1.577 | 253.5 | 1.623 | 247.5 | 8.41 | 984.353 | 19.3857 | -0.24016
2020-02-22 17:00:00 | 2.183 | 247.7 | 2.158 | 257.3 | 2.174 | 231 | 2.053 | 254.5 | 8.28 | 984.056 | 20.0683 | -0.26233
2020-02-22 17:15:00 | 2.135 | 245.1 | 1.807 | 274.2 | 1.472 | 260.8 | 1.447 | 244 | 7.991 | 983.759 | 20.4086 | -0.25125
2020-02-22 17:30:00 | 1.658 | 256.8 | 1.518 | 260.6 | 1.3 | 263.2 | 1.199 | 259.1 | 8.28 | 983.462 | 20.7542 | -0.24016
2020-02-22 17:45:00 | 1.507 | 262.9 | 1.425 | 275 | 1.228 | 261.7 | 1.228 | 253.9 | 7.832 | 982.868 | 21.5736 | -0.24016
2020-02-22 18:00:00 | 0.48 | 274.6 | 1.263 | 253.4 | 1.114 | 251.3 | 1.063 | 274.1 | 7.337 | 982.042 | 22.3246 | -0.24016
2020-02-22 18:15:00 | 0.594 | 273.3 | 0.898 | 253.5 | 0.563 | 261.4 | 0 | 273.6 | 7.077 | 981.676 | 22.6731 | -0.24016
2020-02-22 18:30:00 | 0 | 277.5 | 0 | 253.4 | 0.003 | 264 | 0 | 273.6 | 6.91 | 981.815 | 22.6054 | -0.25125
2020-02-22 18:45:00 | 0.868 | 92.9 | 0.67 | 252.4 | 1.136 | 7.003 | 1.102 | 150 | 6.937 | 981.538 | 22.2031 | -0.25125
2020-02-22 19:00:00 | 1.419 | 115 | 1.71 | 250.8 | 1.538 | 21.43 | 1.449 | 143.1 | 7.093 | 981.389 | 22.2716 | -0.25125
2020-02-22 19:15:00 | 2.227 | 140.8 | 2.042 | 149.4 | 1.983 | 143.4 | 1.994 | 147.5 | 7.198 | 981.686 | 21.93 | -0.28081
2020-02-22 19:30:00 | 2.441 | 149.2 | 2.889 | 158.3 | 3.329 | 148.2 | 3.308 | 154.9 | 7.037 | 981.389 | 22.3399 | -0.29928
2020-02-22 19:45:00 | 3.24 | 157.7 | 3.829 | 172.9 | 3.888 | 156.9 | 3.802 | 164.1 | 6.699 | 981.389 | 22.2716 | 0.93849
2020-02-22 20:00:00 | 3.437 | 154 | 4.136 | 167.1 | 4.456 | 154 | 4.367 | 162 | 6.683 | 981.389 | 22.9547 | 2.3388
2020-02-22 20:15:00 | 3.526 | 153 | 4.192 | 163 | 4.321 | 149 | 4.273 | 161.3 | 6.509 | 981.389 | 23.7746 | 4.6001
2020-02-22 20:30:00 | 3.623 | 149.3 | 3.99 | 159.5 | 4.784 | 146.6 | 4.854 | 159.3 | 6.281 | 981.397 | 23.7746 | 7.5301
2020-02-22 20:45:00 | 4.972 | 154.9 | 5.726 | 166.4 | 5.681 | 153.4 | 5.584 | 162.8 | 6.287 | 981.092 | 24.3211 | 11.5094
2020-02-22 21:00:00 | 5.293 | 156.8 | 5.816 | 170.7 | 6.037 | 156.1 | 6.05 | 163.4 | 6.022 | 981.102 | 24.5944 | 12.8839
2020-02-22 21:15:00 | 4.793 | 152.1 | 5.601 | 165.5 | 6.467 | 154.8 | 6.374 | 157.2 | 6.068 | 980.831 | 24.2528 | 13.8261
2020-02-22 21:30:00 | 4.512 | 145.8 | 5.622 | 161.3 | 6.762 | 151.2 | 6.69 | 153 | 5.919 | 980.834 | 24.3894 | 17.7833
2020-02-22 21:45:00 | 5.332 | 146.8 | 6.373 | 162.4 | 7.093 | 153.9 | 7.021 | 155 | 5.964 | 980.796 | 23.9112 | 18.5223
2020-02-22 22:00:00 | 5.513 | 150.3 | 6.895 | 165 | 7.116 | 151.8 | 7.005 | 157.5 | 5.993 | 981.12 | 23.5697 | 22.0065
2020-02-22 22:15:00 | 4.949 | 146.9 | 6.113 | 165 | 7.248 | 154.9 | 7.337 | 155.5 | 6.155 | 980.949 | 23.7746 | 30.4271
2020-02-22 22:30:00 | 5.536 | 145 | 6.35 | 166.3 | 7.535 | 156.3 | 7.601 | 150.4 | 6.205 | 980.831 | 23.228 | 36.3055
2020-02-22 22:45:00 | 6.488 | 137.5 | 7.209 | 161.4 | 8.45 | 153.5 | 8.54 | 149.8 | 6.118 | 980.797 | 24.731 | 41.5818
2020-02-22 23:00:00 | 6.332 | 130.4 | 6.711 | 161.1 | 8.14 | 151.6 | 8.31 | 148.8 | 6.154 | 980.795 | 24.6627 | 47.7522
2020-02-22 23:15:00 | 6.276 | 130.9 | 7.102 | 162 | 8.56 | 157.9 | 8.66 | 150.6 | 6.243 | 980.498 | 24.3894 | 52.973
2020-02-22 23:30:00 | 6.912 | 117.2 | 7.7 | 164.7 | 9.03 | 155.9 | 9.04 | 152.1 | 6.354 | 980.498 | 25.1409 | 55.2638
2020-02-22 23:45:00 | 7.701 | 125.1 | 8.31 | 160.8 | 9.76 | 151.2 | 9.7 | 150.9 | 6.375 | 980.201 | 25.8583 | 58.5005