## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-23 00:00:00 | 8.2 | 129.2 | 8.82 | 158.1 | 9.36 | 144 | 9.24 | 147.4 | 6.804 | 980.201 | 25.7216 | 58.6446
2020-02-23 00:15:00 | 8.12 | 124.1 | 8.61 | 157 | 8.91 | 148.4 | 8.83 | 144.7 | 6.809 | 980.201 | 24.7652 | 63.3481
2020-02-23 00:30:00 | 7.793 | 131.1 | 8.07 | 153 | 8.79 | 145.6 | 8.77 | 142.3 | 6.793 | 980.201 | 24.5261 | 67.9314
2020-02-23 00:45:00 | 7.859 | 131.9 | 8.07 | 154 | 8.4 | 143.1 | 8.39 | 143.5 | 6.7 | 979.755 | 24.731 | 72.7589
2020-02-23 01:00:00 | 8.36 | 134.1 | 8.75 | 155.6 | 8.78 | 141.4 | 8.85 | 144.1 | 6.992 | 979.904 | 25.3459 | 71.5618
2020-02-23 01:15:00 | 8.12 | 133.3 | 8.48 | 157.5 | 8.86 | 148.4 | 8.84 | 142.1 | 6.697 | 979.458 | 25.6191 | 70.8191
2020-02-23 01:30:00 | 7.913 | 138.4 | 8.23 | 158.9 | 9.27 | 148.1 | 9.25 | 146.1 | 6.529 | 979.309 | 25.5167 | 72.9621
2020-02-23 01:45:00 | 9.1 | 136.9 | 9.47 | 156.6 | 9.72 | 143.3 | 9.59 | 146.3 | 6.565 | 979.161 | 26.234 | 75.1088
2020-02-23 02:00:00 | 8.45 | 134.6 | 8.83 | 157.6 | 9.29 | 147.2 | 9.36 | 141.9 | 6.34 | 979.012 | 26.7122 | 73.5348
2020-02-23 02:15:00 | 8.14 | 127.1 | 8.14 | 155.1 | 8.89 | 146.8 | 9.01 | 142.2 | 6.013 | 978.715 | 27.1221 | 73.4794
2020-02-23 02:30:00 | 8.65 | 128.9 | 9.34 | 151.8 | 10.32 | 137.2 | 10.33 | 141.9 | 6.267 | 978.418 | 27.1904 | 74.7319
2020-02-23 02:45:00 | 8.38 | 128.8 | 8.94 | 156.5 | 10.12 | 145.1 | 10.09 | 142.5 | 6.318 | 978.418 | 27.8395 | 78.9847
2020-02-23 03:00:00 | 8.04 | 133.7 | 8.42 | 155.8 | 8.6 | 142.7 | 8.58 | 145.8 | 6.423 | 978.121 | 27.6004 | 80.1929
2020-02-23 03:15:00 | 8.66 | 136.2 | 9.07 | 155.4 | 9.88 | 144.9 | 9.88 | 143 | 6.316 | 977.823 | 27.7711 | 78.7445
2020-02-23 03:30:00 | 9.85 | 135.5 | 10.2 | 154.5 | 10.42 | 145.3 | 10.39 | 144.5 | 6.524 | 977.675 | 27.3271 | 78.3935
2020-02-23 03:45:00 | 9.88 | 138.4 | 10.05 | 157.9 | 10.34 | 144.4 | 10.32 | 147.1 | 6.461 | 977.526 | 27.3954 | 79.7495
2020-02-23 04:00:00 | 9.66 | 136.2 | 9.96 | 158.1 | 10.68 | 147.3 | 10.78 | 145.6 | 6.316 | 976.635 | 27.4296 | 72.3746
2020-02-23 04:15:00 | 10.34 | 137.6 | 11.28 | 158.7 | 11.97 | 147.2 | 11.86 | 145.2 | 6.332 | 976.932 | 27.6004 | 72.2638
2020-02-23 04:30:00 | 10.98 | 136.8 | 11.59 | 157 | 12.1 | 145.2 | 12.15 | 145.4 | 6.12 | 976.189 | 28.4885 | 68.2327
2020-02-23 04:45:00 | 10.09 | 134.8 | 10.69 | 153.2 | 11.32 | 147.1 | 11.26 | 144.2 | 6.078 | 976.338 | 28.5568 | 62.2397
2020-02-23 05:00:00 | 11.34 | 138.4 | 11.84 | 155.5 | 12.15 | 147.1 | 12.06 | 145.4 | 5.98 | 976.041 | 29.1717 | 62.8678
2020-02-23 05:15:00 | 12.03 | 139.8 | 12.63 | 154.7 | 12.88 | 143.2 | 12.81 | 146.3 | 6.099 | 976.041 | 29.3766 | 65.3138
2020-02-23 05:30:00 | 11.01 | 135.2 | 11.53 | 155.7 | 12.71 | 148.4 | 12.74 | 144.5 | 5.699 | 976.041 | 29.9232 | 70.7637
2020-02-23 05:45:00 | 12.54 | 135.2 | 12.82 | 156.2 | 13.7 | 145.3 | 13.58 | 145.2 | 5.722 | 975.595 | 30.1964 | 67.4051
2020-02-23 06:00:00 | 11.75 | 137.2 | 12.45 | 159.5 | 13.19 | 149.9 | 13.06 | 145.1 | 5.555 | 975.446 | 30.8796 | 66.5959
2020-02-23 06:15:00 | 11.32 | 137.9 | 11.92 | 159.2 | 13.03 | 150.3 | 13.15 | 146.1 | 5.436 | 975.446 | 30.8796 | 68.0554
2020-02-23 06:30:00 | 11.63 | 138.6 | 12.11 | 157.5 | 12.33 | 146.9 | 12.22 | 143.2 | 5.576 | 975.446 | 30.1964 | 69.6515
2020-02-23 06:45:00 | 12.52 | 138 | 13.07 | 153.5 | 13.41 | 142.8 | 13.19 | 147.2 | 5.574 | 975.446 | 30.9479 | 70.154
2020-02-23 07:00:00 | 12.27 | 139.3 | 12.83 | 155.7 | 13.53 | 148.3 | 13.44 | 145.8 | 5.431 | 975.446 | 30.538 | 69.7624
2020-02-23 07:15:00 | 12.66 | 141.3 | 13.07 | 156 | 13.8 | 143.9 | 13.68 | 146.4 | 5.534 | 975.446 | 30.1964 | 68.4692
2020-02-23 07:30:00 | 14.1 | 139 | 14.48 | 157.8 | 14.93 | 147 | 14.71 | 146.5 | 5.599 | 975.297 | 30.1281 | 67.2647
2020-02-23 07:45:00 | 13.8 | 139.4 | 14.56 | 158.3 | 15.42 | 146.1 | 15.31 | 146.7 | 5.609 | 975.149 | 30.4697 | 67.3755
2020-02-23 08:00:00 | 12.9 | 138.3 | 13.42 | 156.2 | 14.56 | 145.5 | 14.39 | 145.5 | 5.61 | 975.446 | 31.2212 | 74.6802
2020-02-23 08:15:00 | 13.7 | 137.7 | 14.56 | 157 | 15.44 | 145.4 | 15.33 | 144.5 | 5.625 | 975.446 | 32.4851 | 75.8626
2020-02-23 08:30:00 | 13.5 | 138.7 | 13.68 | 157.8 | 13.77 | 148 | 13.7 | 145.6 | 5.58 | 975.446 | 33.2707 | 61.3783
2020-02-23 08:45:00 | 13.87 | 138.7 | 14.46 | 156.4 | 15.35 | 143.7 | 15.18 | 144.8 | 5.769 | 975.446 | 33.2707 | 60.311
2020-02-23 09:00:00 | 14 | 139.8 | 14.35 | 157.2 | 14.94 | 148.5 | 14.84 | 146.4 | 6.057 | 975.595 | 33.5742 | 52.356
2020-02-23 09:15:00 | 14.21 | 142.5 | 14.38 | 159 | 15.07 | 147.3 | 15.08 | 148.2 | 6.205 | 975.446 | 33.9087 | 43.5696
2020-02-23 09:30:00 | 13.58 | 142.7 | 14.25 | 157.9 | 14.5 | 143.6 | 14.32 | 149.1 | 6.125 | 975.446 | 35.1033 | 35.7181
2020-02-23 09:45:00 | 14.49 | 143.1 | 14.45 | 158.6 | 14.37 | 145.7 | 14.19 | 148.6 | 6.256 | 975.704 | 35.5814 | 34.9593
2020-02-23 10:00:00 | 14.68 | 144.1 | 15.2 | 160.7 | 15.5 | 149.5 | 15.27 | 149.5 | 6.692 | 975.743 | 35.3765 | 30.2793
2020-02-23 10:15:00 | 14.55 | 143.3 | 14.73 | 160.5 | 14.44 | 148 | 14.19 | 147.6 | 7.068 | 975.742 | 35.2399 | 30.1389
2020-02-23 10:30:00 | 14.26 | 145.5 | 14.38 | 160.4 | 14.75 | 148.2 | 14.53 | 151.4 | 7.673 | 976.336 | 35.1687 | 32.1969
2020-02-23 10:45:00 | 13.81 | 146.6 | 14.01 | 161.1 | 13.37 | 148.8 | 13.13 | 151.7 | 8.2 | 976.623 | 35.678 | 35.234
2020-02-23 11:00:00 | 13.1 | 142.5 | 13.4 | 157.7 | 13.35 | 143.6 | 13.04 | 149.1 | 8.54 | 976.11 | 36.0478 | 34.8091
2020-02-23 11:15:00 | 13.13 | 152.3 | 13.32 | 167.8 | 12.98 | 158.3 | 12.67 | 155.5 | 8.9 | 975.811 | 37.4125 | 35.3116
2020-02-23 11:30:00 | 12.57 | 147.7 | 13.45 | 164.5 | 13.9 | 154.6 | 13.74 | 154.1 | 9.2 | 976.04 | 38.1635 | 29.943
2020-02-23 11:45:00 | 14.38 | 147.2 | 14.24 | 162.5 | 14.12 | 150 | 13.82 | 150.9 | 9.53 | 975.889 | 38.5732 | 33.6194
2020-02-23 12:00:00 | 14.71 | 145 | 14.35 | 159 | 13.54 | 143.3 | 13.3 | 151.5 | 9.99 | 975.295 | 38.1635 | 25.4663
2020-02-23 12:15:00 | 13.46 | 152 | 13.22 | 169.5 | 13.24 | 155.5 | 13.06 | 156.4 | 10.58 | 975.444 | 37.6174 | 26.7047
2020-02-23 12:30:00 | 12.72 | 144.6 | 12.94 | 160.8 | 12.71 | 150.1 | 12.37 | 151.3 | 11 | 975.147 | 37.6127 | 21.1865
2020-02-23 12:45:00 | 12.38 | 154 | 12.38 | 167.8 | 11.97 | 156.9 | 11.78 | 161.8 | 11.76 | 975.147 | 36.8251 | 22.1674
2020-02-23 13:00:00 | 12.26 | 148.8 | 12.11 | 162 | 11.77 | 148.7 | 11.55 | 155.2 | 11.68 | 974.85 | 38.1911 | 25.3319
2020-02-23 13:15:00 | 12.17 | 151.6 | 12.33 | 169 | 12.32 | 158.4 | 12 | 156.9 | 12.19 | 974.553 | 38.3263 | 23.03
2020-02-23 13:30:00 | 11.77 | 151.9 | 11.69 | 169.5 | 11.33 | 160.7 | 11.28 | 158 | 12.54 | 974.813 | 38.5614 | 22.5496
2020-02-23 13:45:00 | 9.7 | 166 | 9.52 | 184.4 | 8.59 | 177.6 | 8.47 | 166.6 | 13 | 974.293 | 38.4917 | 28.9122
2020-02-23 14:00:00 | 10.74 | 175.3 | 10.54 | 190.8 | 9.74 | 183 | 9.59 | 178.8 | 13.16 | 973.958 | 38.0822 | 30.1462
2020-02-23 14:15:00 | 11.25 | 152.3 | 11.54 | 167.7 | 10.91 | 153 | 10.68 | 159.8 | 13.13 | 973.364 | 39.106 | 27.5525
2020-02-23 14:30:00 | 11.4 | 174.4 | 11.02 | 192.3 | 11.19 | 186 | 11.11 | 175.3 | 13.46 | 973.364 | 39.0718 | 29.5255
2020-02-23 14:45:00 | 9.68 | 170.3 | 9.45 | 186.1 | 9.04 | 181 | 9.01 | 171.8 | 13.8 | 973.661 | 37.9799 | 28.975
2020-02-23 15:00:00 | 10.66 | 177 | 10.32 | 188.7 | 9.35 | 174.1 | 9.36 | 179.6 | 13.66 | 973.661 | 37.7069 | 24.1519
2020-02-23 15:15:00 | 11.13 | 181.2 | 10.73 | 196.1 | 9.4 | 185.9 | 9.34 | 183.8 | 14.03 | 972.919 | 37.7404 | 29.2484
2020-02-23 15:30:00 | 10.57 | 157.1 | 10.1 | 180 | 10.15 | 177.4 | 10.12 | 162.3 | 14.07 | 973.364 | 38.2169 | 32.9248
2020-02-23 15:45:00 | 11.57 | 159.7 | 11.56 | 173.4 | 10.68 | 161.1 | 10.57 | 165.3 | 13.95 | 973.216 | 39.2744 | 36.9706
2020-02-23 16:00:00 | 10.88 | 162.6 | 10.99 | 177.2 | 10.61 | 165.1 | 10.49 | 167.9 | 14.05 | 972.771 | 39.5482 | 43.4625
2020-02-23 16:15:00 | 13.74 | 150.6 | 13.95 | 167.6 | 13.64 | 156.6 | 13.36 | 155.7 | 13.79 | 971.583 | 40.0273 | 50.5344
2020-02-23 16:30:00 | 12.99 | 156.2 | 13.36 | 172.3 | 13.17 | 162.9 | 13.08 | 161 | 13.83 | 972.177 | 40.8804 | 55.6887
2020-02-23 16:45:00 | 12.84 | 153.6 | 13.31 | 170.6 | 13.57 | 162.4 | 13.4 | 159.7 | 13.82 | 971.732 | 41.2216 | 59.7752
2020-02-23 17:00:00 | 15 | 151.3 | 15.27 | 166.8 | 15.39 | 156 | 15.08 | 157 | 13.73 | 971.435 | 42.2112 | 63.7509
2020-02-23 17:15:00 | 13.16 | 150.7 | 13.25 | 166.9 | 13.38 | 154.5 | 13.34 | 155.8 | 13.55 | 971.187 | 42.7231 | 67.3459
2020-02-23 17:30:00 | 13.83 | 148.3 | 14.05 | 166.1 | 13.99 | 155 | 13.78 | 152.5 | 13.42 | 970.977 | 43.5442 | 73.9893
2020-02-23 17:45:00 | 11.58 | 145.8 | 11.71 | 167.1 | 11.58 | 161.1 | 11.59 | 151.2 | 13.21 | 971.137 | 43.2081 | 81.2792
2020-02-23 18:00:00 | 13.3 | 150 | 13.58 | 167.5 | 13.69 | 156.8 | 13.5 | 152.7 | 13.15 | 970.84 | 43.1387 | 88.8758
2020-02-23 18:15:00 | 11.38 | 149.2 | 12.04 | 166.2 | 12.7 | 154.3 | 12.67 | 153.4 | 12.91 | 971.286 | 43.3461 | 86.3338
2020-02-23 18:30:00 | 12.5 | 145.3 | 12.33 | 164.8 | 12.72 | 157.1 | 12.74 | 150.3 | 12.87 | 971.286 | 43.3517 | 90.8936
2020-02-23 18:45:00 | 12.88 | 143.8 | 13.61 | 160.1 | 14.59 | 148.7 | 14.37 | 148.6 | 12.77 | 971.286 | 43.4204 | 90.5348
2020-02-23 19:00:00 | 13.02 | 143.1 | 13.8 | 158.8 | 14.44 | 147.7 | 14.26 | 148.3 | 12.76 | 970.692 | 43.4204 | 92.1236
2020-02-23 19:15:00 | 13.71 | 144.5 | 13.98 | 159.6 | 14.89 | 146.5 | 14.7 | 149.5 | 12.53 | 970.989 | 43.4886 | 91.3292
2020-02-23 19:30:00 | 14.97 | 143.4 | 15.45 | 158.4 | 16.01 | 145.4 | 15.73 | 149.7 | 12.59 | 971.137 | 43.6935 | 91.0151
2020-02-23 19:45:00 | 13.59 | 145.3 | 13.68 | 160.9 | 14.35 | 149 | 14.32 | 151.1 | 12.47 | 970.989 | 44.9223 | 90.2466
2020-02-23 20:00:00 | 13.18 | 144.5 | 13.59 | 160.8 | 14.61 | 150.4 | 14.5 | 149.9 | 12.24 | 971.286 | 44.7175 | 90.1817
2020-02-23 20:15:00 | 13.52 | 145 | 13.5 | 162.1 | 14.78 | 150.3 | 14.79 | 150.5 | 12.27 | 970.692 | 44.8541 | 90.4129
2020-02-23 20:30:00 | 13.48 | 143.2 | 14.09 | 159.1 | 14.97 | 146.9 | 14.76 | 149.8 | 12.5 | 970.989 | 43.3521 | 86.6626
2020-02-23 20:45:00 | 12.54 | 143.8 | 12.95 | 161.1 | 14.27 | 153 | 14.17 | 149.6 | 12.39 | 970.692 | 43.079 | 85.0458
2020-02-23 21:00:00 | 13.73 | 143.6 | 14.62 | 158.8 | 15.36 | 148.1 | 15.08 | 149 | 12.53 | 970.692 | 42.3963 | 84.7671
2020-02-23 21:15:00 | 13.68 | 142 | 14.67 | 158.6 | 15.32 | 145.1 | 15.08 | 147.7 | 12.64 | 970.989 | 42.1232 | 87.0543
2020-02-23 21:30:00 | 15.24 | 143.5 | 15.66 | 159.5 | 16.07 | 147.6 | 15.81 | 149 | 12.62 | 970.692 | 43.8983 | 86.0345
2020-02-23 21:45:00 | 13.73 | 143.1 | 14.29 | 159.2 | 15.14 | 148 | 14.92 | 147.9 | 12.43 | 970.989 | 44.3762 | 86.3338
2020-02-23 22:00:00 | 13.57 | 139.7 | 13.94 | 158.1 | 14.67 | 150.4 | 14.59 | 145.8 | 12.3 | 970.989 | 44.2396 | 87.771
2020-02-23 22:15:00 | 14.12 | 142.9 | 14.93 | 158.1 | 15.47 | 146.1 | 15.26 | 148.9 | 12.25 | 970.989 | 45.2637 | 90.4868
2020-02-23 22:30:00 | 14.01 | 141.5 | 14.27 | 157.1 | 15.79 | 147.5 | 15.67 | 147.2 | 11.93 | 970.692 | 45.9464 | 90.7121
2020-02-23 22:45:00 | 13.39 | 140.4 | 14.25 | 156.9 | 15.17 | 147.1 | 15.07 | 145 | 11.95 | 970.692 | 45.332 | 86.4742
2020-02-23 23:00:00 | 12.43 | 140.4 | 12.68 | 157 | 13.74 | 145.1 | 13.77 | 144.9 | 11.82 | 970.99 | 47.5849 | 81.1647
2020-02-23 23:15:00 | 14.07 | 142.1 | 14.53 | 159 | 15.24 | 146.6 | 15.13 | 147.2 | 11.68 | 970.692 | 48.9503 | 81.3346
2020-02-23 23:30:00 | 13.55 | 142.5 | 13.96 | 159 | 14.65 | 146.8 | 14.51 | 147.5 | 11.45 | 970.411 | 49.633 | 77.4735
2020-02-23 23:45:00 | 12.64 | 142.9 | 13.25 | 159.2 | 14.12 | 146.8 | 14 | 147.1 | 11.33 | 970.702 | 50.1792 | 66.9446