## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-24 00:00:00 | 12.83 | 141.5 | 13.37 | 157.4 | 14.09 | 146.4 | 13.93 | 147.3 | 11.34 | 970.744 | 50.1109 | 61.4288
2020-02-24 00:15:00 | 12.09 | 140.6 | 12.91 | 157.2 | 13.7 | 145.4 | 13.47 | 145.8 | 11.2 | 970.481 | 50.5206 | 59.6496
2020-02-24 00:30:00 | 11.76 | 139.8 | 11.85 | 159.3 | 12.11 | 145.5 | 11.94 | 147.5 | 11.17 | 970.758 | 50.384 | 60.7876
2020-02-24 00:45:00 | 10.46 | 140.2 | 11.33 | 157.2 | 12.32 | 141.8 | 12.35 | 144.9 | 11.17 | 970.563 | 49.7014 | 57.3366
2020-02-24 01:00:00 | 10.86 | 137.9 | 11.28 | 152.1 | 11.24 | 144.1 | 11.24 | 144.8 | 11.13 | 970.43 | 50.1111 | 55.7663
2020-02-24 01:15:00 | 10.41 | 135.2 | 11.02 | 150.1 | 10.85 | 142.1 | 10.78 | 141.5 | 11.13 | 970.402 | 49.7014 | 51.4507
2020-02-24 01:30:00 | 10.11 | 136.2 | 10.46 | 152.2 | 10.66 | 140.9 | 10.5 | 142.2 | 11.14 | 970.576 | 49.0876 | 42.7124
2020-02-24 01:45:00 | 9.56 | 136.3 | 10.14 | 153 | 10.57 | 144.6 | 10.58 | 143.9 | 11.21 | 970.459 | 49.0187 | 44.0964
2020-02-24 02:00:00 | 11.1 | 136.2 | 11.25 | 151.4 | 11.08 | 140.7 | 11.14 | 141.3 | 11.39 | 970.444 | 49.0869 | 44.4749
2020-02-24 02:15:00 | 10.42 | 137.6 | 10.52 | 156 | 10.73 | 144.9 | 10.71 | 144.6 | 11.38 | 970.492 | 49.2234 | 39.0545
2020-02-24 02:30:00 | 10.48 | 138.9 | 10.68 | 155.9 | 10.71 | 145.2 | 10.64 | 142.6 | 11.49 | 969.987 | 49.0869 | 35.8511
2020-02-24 02:45:00 | 10.2 | 137.6 | 10.76 | 153.1 | 9.86 | 142 | 9.83 | 142.3 | 11.41 | 970.177 | 48.9504 | 35.1601
2020-02-24 03:00:00 | 9.74 | 134.6 | 10.2 | 150.7 | 10.55 | 137.3 | 10.41 | 140.7 | 11.47 | 970.157 | 48.4725 | 35.0715
2020-02-24 03:15:00 | 10.6 | 131.9 | 11.13 | 148 | 11.31 | 133 | 11.13 | 137.8 | 11.55 | 969.854 | 48.5407 | 36.1947
2020-02-24 03:30:00 | 8.7 | 129.6 | 9.53 | 146 | 10.31 | 135.3 | 10.18 | 138.5 | 11.48 | 969.589 | 48.4042 | 38.0902
2020-02-24 03:45:00 | 9.87 | 131.4 | 10.34 | 146.1 | 10.62 | 134.1 | 10.66 | 138.3 | 11.72 | 969.542 | 48.4042 | 37.765
2020-02-24 04:00:00 | 10 | 132.5 | 10.44 | 146.4 | 10.73 | 134.7 | 10.65 | 138.6 | 11.73 | 969.239 | 48.1311 | 41.4229
2020-02-24 04:15:00 | 9.86 | 130.8 | 10.21 | 147 | 10.22 | 135.7 | 10.11 | 137.8 | 11.64 | 969.296 | 48.6773 | 47.3864
2020-02-24 04:30:00 | 9.48 | 124.3 | 10.59 | 138.8 | 11.05 | 124.1 | 10.91 | 133.3 | 11.74 | 969.094 | 48.4725 | 54.5655
2020-02-24 04:45:00 | 10.08 | 128.1 | 10.54 | 143.2 | 10.95 | 126.7 | 10.99 | 134.7 | 11.5 | 968.923 | 49.4965 | 59.269
2020-02-24 05:00:00 | 9.11 | 124.3 | 9.77 | 138.4 | 10.23 | 124.2 | 10.18 | 130.6 | 11.48 | 969.213 | 50.1792 | 62.2618
2020-02-24 05:15:00 | 8.38 | 128.2 | 8.98 | 142.2 | 9.38 | 129 | 9.43 | 133.3 | 11.46 | 969.113 | 50.2816 | 61.2774
2020-02-24 05:30:00 | 9.02 | 125.6 | 9.31 | 139.6 | 9.97 | 126.4 | 9.96 | 132.2 | 11.38 | 969.022 | 50.7254 | 62.9121
2020-02-24 05:45:00 | 8.99 | 122.5 | 10.08 | 134.3 | 10.5 | 118.5 | 10.38 | 131.1 | 11.11 | 968.673 | 51.3057 | 67.6268
2020-02-24 06:00:00 | 8.92 | 122.5 | 9.89 | 132.9 | 10.38 | 117.8 | 10.34 | 130.8 | 11.01 | 968.635 | 52.0225 | 69.2451
2020-02-24 06:15:00 | 8.89 | 118.1 | 9.86 | 131.9 | 10.26 | 116.7 | 10.22 | 127.6 | 10.71 | 968.661 | 52.9101 | 73.2747
2020-02-24 06:30:00 | 9.86 | 125.2 | 10.03 | 138.5 | 10.53 | 123.5 | 10.6 | 133.5 | 10.6 | 968.497 | 53.0808 | 77.8689
2020-02-24 06:45:00 | 9.53 | 120.4 | 10.61 | 134.4 | 10.85 | 120.4 | 10.86 | 130.5 | 10.58 | 968.217 | 53.1858 | 81.2016
2020-02-24 07:00:00 | 10.61 | 125.9 | 11.12 | 137.8 | 11.34 | 122.1 | 11.3 | 134 | 10.74 | 968.334 | 52.5043 | 80.7767
2020-02-24 07:15:00 | 9.87 | 125 | 10.3 | 140 | 10.62 | 124.1 | 10.65 | 131.2 | 10.77 | 968.482 | 53.2549 | 79.7348
2020-02-24 07:30:00 | 8.84 | 128.1 | 9.27 | 143.2 | 9.24 | 126 | 9.15 | 133.6 | 10.6 | 968.979 | 53.4271 | 78.9367
2020-02-24 07:45:00 | 7.627 | 122.2 | 8.05 | 137.9 | 8.33 | 121.6 | 8.44 | 129.2 | 10.82 | 969.233 | 53.3569 | 74.5398
2020-02-24 08:00:00 | 7.142 | 117.7 | 7.869 | 131.2 | 8.2 | 115.6 | 8.25 | 126.5 | 10.79 | 969.254 | 52.9784 | 61.3845
2020-02-24 08:15:00 | 7.435 | 128.2 | 7.716 | 143.4 | 8.14 | 130.4 | 8.11 | 135.2 | 10.96 | 969.535 | 52.637 | 66.2116
2020-02-24 08:30:00 | 7.561 | 130.2 | 7.815 | 147.1 | 8.13 | 134.6 | 8.1 | 136.2 | 10.82 | 969.554 | 53.8659 | 67.3349
2020-02-24 08:45:00 | 7.895 | 128.6 | 8.45 | 143.7 | 9.13 | 129.2 | 9.15 | 133.7 | 9.27 | 969.225 | 65.8828 | 74.0188
2020-02-24 09:00:00 | 7.458 | 114.1 | 7.941 | 132.9 | 8.74 | 122.2 | 9.13 | 119.6 | 8.47 | 969.194 | 73.5435 | 65.9115
2020-02-24 09:15:00 | 6.054 | 113 | 6.77 | 127 | 8.18 | 113 | 8.54 | 120 | 8.14 | 968.909 | 83.0458 | 59.5092
2020-02-24 09:30:00 | 8.16 | 118.1 | 8.88 | 131.3 | 8.95 | 112.8 | 8.94 | 126.2 | 8.39 | 968.883 | 87.3485 | 64.0871
2020-02-24 09:45:00 | 7.727 | 117.3 | 8.74 | 131 | 9.87 | 117.3 | 10.02 | 124 | 8.17 | 969.023 | 88.8509 | 66.5072
2020-02-24 10:00:00 | 8.9 | 120.7 | 9.79 | 133.6 | 9.72 | 116.3 | 9.68 | 127.9 | 8.78 | 969.014 | 89.8071 | 68.5098
2020-02-24 10:15:00 | 6.71 | 120 | 8.17 | 127.9 | 8.89 | 103.6 | 8.83 | 130.3 | 9.51 | 968.791 | 90.6949 | 60.8467
2020-02-24 10:30:00 | 6.695 | 119.4 | 7.969 | 130.9 | 9.13 | 112.2 | 9.11 | 128.8 | 10.46 | 968.688 | 86.1533 | 59.6828
2020-02-24 10:45:00 | 7.538 | 127.2 | 7.808 | 141.4 | 8.28 | 122.7 | 8.21 | 134.3 | 10.71 | 969.058 | 89.1241 | 53.4718
2020-02-24 11:00:00 | 8.11 | 124 | 8.57 | 139 | 8.66 | 121.5 | 8.66 | 131.9 | 11.1 | 969.206 | 83.5127 | 47.4455
2020-02-24 11:15:00 | 7.458 | 122 | 8.07 | 135.4 | 8.3 | 122.5 | 8.3 | 130.4 | 11.1 | 969.165 | 80.9173 | 49.389
2020-02-24 11:30:00 | 5.058 | 107.7 | 5.66 | 120.3 | 6.132 | 93.8 | 6.323 | 118.9 | 10.89 | 968.985 | 81.1197 | 45.3542
2020-02-24 11:45:00 | 5.561 | 100.7 | 6.284 | 112.5 | 6.62 | 95 | 6.799 | 109.8 | 10.09 | 968.798 | 83.3624 | 50.5777
2020-02-24 12:00:00 | 5.975 | 104.6 | 6.166 | 124.9 | 6.862 | 120.9 | 6.926 | 110.6 | 9.93 | 968.381 | 85.2109 | 51.6355
2020-02-24 12:15:00 | 7.862 | 117 | 8.27 | 134 | 9.04 | 125.8 | 9.05 | 117.6 | 10.25 | 968.489 | 81.5987 | 57.9278
2020-02-24 12:30:00 | 8.08 | 118.8 | 8.75 | 138.9 | 9.15 | 125.8 | 9.14 | 123.1 | 10.73 | 967.958 | 77.9082 | 53.649
2020-02-24 12:45:00 | 8.96 | 123.2 | 9.14 | 138.4 | 9.62 | 123.1 | 9.77 | 129.8 | 10.69 | 967.745 | 78.2459 | 52.7144
2020-02-24 13:00:00 | 6.726 | 118.4 | 7.56 | 135.1 | 7.897 | 116.9 | 8.02 | 123.5 | 10.41 | 967.723 | 81.2452 | 36.3536
2020-02-24 13:15:00 | 3.584 | 106.8 | 5.041 | 127.8 | 6.216 | 108.4 | 6.432 | 115.8 | 10.06 | 967.454 | 82.6783 | 23.913
2020-02-24 13:30:00 | 2.542 | 110.8 | 3.385 | 128 | 4.392 | 106.8 | 4.591 | 119.7 | 10.38 | 967.586 | 81.3158 | 12.459
2020-02-24 13:45:00 | 1.571 | 109 | 2.383 | 119.1 | 3.204 | 97.3 | 3.364 | 130.1 | 10.37 | 967.47 | 82.6168 | 12.5034
2020-02-24 14:00:00 | 2.214 | 116.2 | 3.244 | 130.1 | 4.097 | 114.4 | 4.258 | 121.8 | 10.24 | 967.153 | 82.8213 | 13.2128
2020-02-24 14:15:00 | 2.934 | 103.3 | 3.602 | 112.8 | 3.771 | 89.1 | 3.947 | 112.2 | 10.06 | 967.139 | 82.271 | 15.7363
2020-02-24 14:30:00 | 3.588 | 107.8 | 4.259 | 124 | 5.277 | 107.5 | 5.398 | 119.3 | 10.2 | 966.702 | 80.631 | 16.8152
2020-02-24 14:45:00 | 3.922 | 109.1 | 4.683 | 124.3 | 4.896 | 104.2 | 5.022 | 117.5 | 10.22 | 966.868 | 80.6304 | 17.6688
2020-02-24 15:00:00 | 2.683 | 99 | 3.479 | 109.9 | 3.871 | 104.4 | 3.998 | 109.5 | 10.04 | 966.862 | 83.4625 | 14.5134
2020-02-24 15:15:00 | 3.434 | 106.6 | 4.259 | 121.3 | 4.01 | 112.3 | 4.301 | 109.1 | 9.96 | 966.566 | 83.2928 | 13.1869
2020-02-24 15:30:00 | 3.273 | 85 | 3.714 | 98.9 | 3.81 | 89.1 | 3.995 | 92.9 | 10.1 | 966.584 | 82.8914 | 9.7433
2020-02-24 15:45:00 | 1.625 | 72.76 | 3.316 | 72.23 | 4.224 | 42.16 | 4.507 | 86.8 | 10.05 | 966.613 | 83.0955 | 4.4079
2020-02-24 16:00:00 | 2.771 | 61.65 | 3.666 | 71.58 | 2.975 | 42.74 | 3.313 | 76.17 | 9.99 | 966.736 | 84.1844 | 4.4227
2020-02-24 16:15:00 | 1.374 | 67.64 | 2.433 | 79.35 | 2.144 | 66.17 | 2.154 | 71.39 | 9.98 | 966.868 | 84.3907 | 3.0113
2020-02-24 16:30:00 | 2.217 | 70.81 | 2.707 | 78.58 | 2.433 | 50.09 | 2.64 | 86.2 | 9.96 | 966.567 | 86.1708 | 3.0409
2020-02-24 16:45:00 | 1.603 | 70.02 | 2.1 | 75.55 | 2.355 | 65.86 | 2.531 | 84.7 | 9.76 | 966.609 | 86.0977 | 1.1676
2020-02-24 17:00:00 | 0.215 | 27.66 | 0.636 | 76.34 | 1.414 | 4.879 | 1.459 | 49.77 | 9.31 | 966.611 | 90.9506 | -0.040643
2020-02-24 17:15:00 | 0.019 | 77.15 | 0.672 | 76.57 | 1.829 | 305.8 | 2.007 | 73.68 | 8.59 | 966.658 | 97.543 | -0.20691
2020-02-24 17:30:00 | 0 | 46.59 | 1.101 | 76.3 | 2.004 | 39.23 | 2.202 | 71.46 | 8.61 | 966.819 | 98.191 | -0.24016
2020-02-24 17:45:00 | 0 | 67.91 | 0.716 | 76.24 | 2.075 | 339.4 | 2.253 | 84.9 | 8.38 | 966.533 | 99.1935 | -0.077592
2020-02-24 18:00:00 | 0 | 68.37 | 0.192 | 76.24 | 2.022 | 8.49 | 2.256 | 91.5 | 8.23 | 966.533 | 99.7766 | 0.19213
2020-02-24 18:15:00 | 0.026 | 75.38 | 0.788 | 92.7 | 1.973 | 14.51 | 2.159 | 91 | 8.36 | 966.533 | 99.8463 | -0.018474
2020-02-24 18:30:00 | 0 | 62.59 | 0.21 | 93.1 | 0.134 | 36.21 | 0.425 | 99.1 | 8.42 | 966.533 | 99.778 | -0.29928
2020-02-24 18:45:00 | 0 | 5.754 | 0 | 92.7 | 0 | 12 | 0 | 98.2 | 8.58 | 966.83 | 98.7536 | -0.28081
2020-02-24 19:00:00 | 0 | 5.805 | 0 | 92.7 | 0.003 | 12 | 0.022 | 98.2 | 8.75 | 966.83 | 98.0707 | -0.29928
2020-02-24 19:15:00 | 0 | 6.155 | 0 | 92.7 | 0 | 12 | 0 | 98.2 | 8.83 | 967.127 | 96.6365 | -0.28081
2020-02-24 19:30:00 | 0 | 6.144 | 0 | 92.7 | 0 | 9.63 | 0 | 98.1 | 8.78 | 967.127 | 97.0804 | -0.2882
2020-02-24 19:45:00 | 1.604 | 314 | 0.779 | 92.6 | 0 | 296.1 | 0 | 98.1 | 8.08 | 967.127 | 99.0951 | -0.26972
2020-02-24 20:00:00 | 0.909 | 252.1 | 0.981 | 92.5 | 0 | 296.1 | 0 | 98.1 | 7.944 | 967.436 | 99.778 | -0.28081
2020-02-24 20:15:00 | 0.929 | 252.1 | 0.094 | 92.5 | 0 | 296.1 | 0 | 98.1 | 7.888 | 967.52 | 99.9829 | -0.31037
2020-02-24 20:30:00 | 1.905 | 283 | 2.18 | 91.2 | 1.8 | 292.1 | 1.966 | 266.2 | 7.818 | 967.615 | 99.9829 | -0.28081
2020-02-24 20:45:00 | 1.081 | 283.8 | 1.342 | 91.1 | 1.002 | 296.8 | 1.435 | 269.4 | 7.774 | 967.633 | 99.9829 | -0.29928
2020-02-24 21:00:00 | 0.237 | 3.054 | 0.346 | 91.4 | 0.154 | 1.413 | 0.551 | 318.7 | 7.788 | 967.644 | 99.9829 | -0.29928
2020-02-24 21:15:00 | 0.806 | 312.5 | 1.22 | 91.1 | 0.407 | 309.4 | 0.782 | 318.9 | 7.701 | 968.004 | 100 | -0.29928
2020-02-24 21:30:00 | 1.268 | 320.4 | 1.42 | 90.6 | 0.025 | 338.8 | 0.132 | 270.6 | 7.605 | 967.846 | 99.9829 | -0.29928
2020-02-24 21:45:00 | 0.823 | 318.7 | 0.914 | 91.3 | 0.009 | 1.521 | 0.134 | 271.2 | 7.654 | 967.719 | 99.9829 | -0.29928
2020-02-24 22:00:00 | 0 | 5.149 | 0.023 | 91.1 | 0 | 347.4 | 0.061 | 308 | 7.613 | 968.017 | 99.9829 | -0.28081
2020-02-24 22:15:00 | 1.716 | 302.7 | 1.825 | 90.5 | 0.159 | 303.5 | 0.666 | 307.5 | 7.468 | 968.016 | 99.9829 | -0.099761
2020-02-24 22:30:00 | 1.851 | 307.2 | 2.083 | 89.1 | 1.92 | 307.2 | 2.073 | 307.8 | 7.431 | 968.016 | 99.9829 | -0.24755
2020-02-24 22:45:00 | 1.9 | 320.9 | 2.625 | 87.9 | 2.591 | 316.2 | 2.798 | 324.8 | 7.333 | 968.314 | 99.9829 | 0.066507
2020-02-24 23:00:00 | 3.373 | 305.9 | 3.829 | 86.8 | 3.352 | 304.1 | 3.481 | 309.3 | 7.149 | 968.165 | 99.9846 | 4.0495
2020-02-24 23:15:00 | 3.164 | 325.8 | 3.413 | 84.9 | 3.563 | 338.2 | 3.802 | 327.1 | 7.078 | 968.017 | 99.9862 | 7.7001
2020-02-24 23:30:00 | 3.146 | 324.7 | 2.794 | 339.7 | 2.36 | 331.5 | 2.569 | 321.5 | 6.994 | 968.017 | 99.9936 | 13.4862
2020-02-24 23:45:00 | 4.259 | 331.8 | 4.489 | 350.8 | 3.81 | 342.3 | 3.837 | 329.1 | 6.92 | 968.017 | 100 | 20.6653