## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-25 00:00:00 | 3.234 | 348.6 | 3.773 | 10.04 | 4.537 | 352 | 4.589 | 344.8 | 6.786 | 967.719 | 100 | 14.384
2020-02-25 00:15:00 | 3.779 | 349.7 | 4.282 | 18.09 | 5.079 | 13.2 | 5.302 | 348.8 | 6.666 | 967.719 | 100 | 16.2795
2020-02-25 00:30:00 | 4.129 | 344.9 | 4.524 | 9.78 | 4.852 | 9.94 | 5.05 | 344 | 6.623 | 967.719 | 100 | 22.0039
2020-02-25 00:45:00 | 3.294 | 343.5 | 3.436 | 359.6 | 3.507 | 346 | 3.71 | 336.9 | 6.623 | 968.017 | 99.9799 | 27.9626
2020-02-25 01:00:00 | 3.377 | 349.7 | 3.809 | 25.01 | 4.412 | 1.503 | 4.685 | 343.3 | 6.423 | 968.017 | 100 | 27.5155
2020-02-25 01:15:00 | 2.965 | 351.6 | 4.292 | 22.58 | 5.025 | 10.75 | 5.167 | 344.8 | 6.326 | 968.017 | 100 | 24.12
2020-02-25 01:30:00 | 2.319 | 352.2 | 3.679 | 26.77 | 4.654 | 9.91 | 4.925 | 344.2 | 6.291 | 967.719 | 100 | 20.9646
2020-02-25 01:45:00 | 4.802 | 1.474 | 5.675 | 28.23 | 5.732 | 22.92 | 5.908 | 359 | 6.148 | 967.274 | 100 | 21.4855
2020-02-25 02:00:00 | 2.725 | 352.2 | 4.059 | 28.08 | 5.91 | 1.481 | 6.341 | 345.3 | 6.121 | 967.571 | 100 | 23.8096
2020-02-25 02:15:00 | 4.762 | 351.5 | 5.412 | 16.56 | 6.312 | 16.86 | 6.547 | 351.5 | 5.979 | 967.422 | 99.9829 | 21.5964
2020-02-25 02:30:00 | 3.604 | 345.9 | 4.244 | 18.96 | 5.28 | 14.59 | 5.549 | 340.3 | 5.91 | 967.422 | 99.9829 | 25.6644
2020-02-25 02:45:00 | 3.535 | 346 | 3.87 | 4.43 | 4.804 | 350.7 | 5.022 | 339.6 | 5.777 | 967.571 | 100 | 36.9854
2020-02-25 03:00:00 | 3.89 | 341 | 4.226 | 5.884 | 4.354 | 348.5 | 4.413 | 337.1 | 5.56 | 967.719 | 99.9829 | 39.4425
2020-02-25 03:15:00 | 3.725 | 355.7 | 3.978 | 20.56 | 4.743 | 349.7 | 4.935 | 344.6 | 5.294 | 967.422 | 99.9829 | 25.8233
2020-02-25 03:30:00 | 4.257 | 358.4 | 4.791 | 11.57 | 5.185 | 350.6 | 5.383 | 349.7 | 5.047 | 967.422 | 100 | 40.6119
2020-02-25 03:45:00 | 5.043 | 330.2 | 4.99 | 346.7 | 4.55 | 339.7 | 4.522 | 332.3 | 4.792 | 967.571 | 99.9829 | 41.4118
2020-02-25 04:00:00 | 3.46 | 354.8 | 4.64 | 29.05 | 4.939 | 5.099 | 5.241 | 342.9 | 4.614 | 967.571 | 99.9829 | 37.7318
2020-02-25 04:15:00 | 3.732 | 356.7 | 5 | 26.87 | 4.735 | 7.864 | 4.882 | 343.7 | 4.569 | 967.274 | 99.9829 | 37.8167
2020-02-25 04:30:00 | 6.069 | 356.7 | 6.179 | 21.24 | 6.945 | 17.4 | 7.367 | 350.5 | 4.453 | 967.274 | 99.9829 | 42.1323
2020-02-25 04:45:00 | 6.47 | 354.8 | 7.03 | 24.58 | 7.378 | 19.12 | 7.792 | 350.2 | 4.308 | 967.148 | 99.9829 | 39.7565
2020-02-25 05:00:00 | 4.507 | 353.9 | 5.149 | 22.26 | 6.457 | 7.543 | 6.585 | 345.7 | 4.272 | 967.566 | 99.9882 | 43.9376
2020-02-25 05:15:00 | 4.497 | 357 | 5.269 | 22.01 | 5.664 | 9.13 | 5.913 | 346.3 | 4.08 | 967.942 | 99.9907 | 41.0091
2020-02-25 05:30:00 | 3.839 | 357.5 | 5.261 | 24.89 | 5.582 | 3.879 | 5.791 | 348.5 | 4.053 | 968.008 | 100 | 45.5049
2020-02-25 05:45:00 | 4.451 | 357.2 | 4.998 | 27.79 | 5.905 | 7.485 | 6.106 | 349.4 | 3.872 | 968.289 | 99.9677 | 39.4536
2020-02-25 06:00:00 | 6.491 | 358.5 | 7.041 | 21.99 | 8.07 | 14.39 | 8.32 | 356.5 | 3.809 | 967.983 | 100 | 37.3032
2020-02-25 06:15:00 | 6.126 | 347.9 | 6.499 | 14.44 | 8.23 | 17.03 | 8.49 | 349.8 | 3.749 | 968.312 | 100 | 35.67
2020-02-25 06:30:00 | 4.166 | 351.4 | 5.09 | 20.05 | 5.798 | 355.8 | 6.234 | 338.2 | 3.805 | 968.61 | 99.9754 | 40.2627
2020-02-25 06:45:00 | 4.143 | 345.9 | 5.128 | 15.02 | 5.837 | 11.93 | 6.033 | 338.3 | 3.718 | 968.758 | 100 | 49.1842
2020-02-25 07:00:00 | 5.035 | 356.6 | 6.13 | 24.8 | 5.854 | 14.72 | 6.073 | 347.4 | 3.532 | 968.907 | 99.9747 | 42.5229
2020-02-25 07:15:00 | 6.034 | 355.4 | 6.258 | 19.36 | 7.05 | 16.83 | 7.403 | 352.3 | 3.36 | 969.204 | 100 | 45.3453
2020-02-25 07:30:00 | 6.481 | 358.6 | 7.058 | 27.04 | 6.935 | 19.74 | 7.418 | 352.2 | 3.312 | 969.199 | 99.9762 | 51.3953
2020-02-25 07:45:00 | 6.672 | 353.5 | 7.081 | 20.89 | 8.08 | 18.77 | 8.27 | 351.9 | 3.226 | 969.789 | 99.9715 | 47.1425
2020-02-25 08:00:00 | 6.572 | 7.425 | 7.365 | 29.45 | 6.747 | 18.98 | 6.863 | 6.494 | 3.191 | 969.799 | 99.9726 | 44.5894
2020-02-25 08:15:00 | 7.737 | 5.218 | 8 | 28.06 | 8.05 | 22.97 | 8.54 | 3.135 | 3.261 | 970.096 | 99.9721 | 43.5844
2020-02-25 08:30:00 | 7.121 | 6.138 | 8.2 | 26.07 | 7.406 | 16.08 | 7.38 | 6.712 | 3.276 | 970.393 | 100 | 36.3203
2020-02-25 08:45:00 | 6.984 | 8.1 | 9.06 | 28.01 | 7.612 | 16.36 | 7.296 | 10.29 | 3.339 | 970.811 | 99.9724 | 36.2354
2020-02-25 09:00:00 | 7.418 | 6.486 | 7.871 | 25.07 | 7.101 | 15.67 | 6.962 | 9.91 | 3.426 | 970.979 | 100 | 30.2608
2020-02-25 09:15:00 | 5.929 | 17.34 | 8.59 | 30.7 | 8.21 | 16.8 | 8.09 | 24.46 | 3.682 | 971.278 | 99.9737 | 25.2173
2020-02-25 09:30:00 | 6.447 | 14.31 | 8.75 | 28.45 | 8.55 | 13.89 | 8.42 | 23.33 | 3.983 | 971.583 | 99.9784 | 21.334
2020-02-25 09:45:00 | 6.187 | 17.46 | 9.02 | 30.21 | 8.58 | 15.48 | 8.45 | 24.85 | 4.235 | 971.877 | 99.9726 | 20.4508
2020-02-25 10:00:00 | 5.592 | 18.15 | 8.87 | 31.37 | 8.72 | 17.89 | 8.62 | 25.43 | 4.725 | 971.92 | 99.9841 | 18.5814
2020-02-25 10:15:00 | 6.557 | 1.798 | 6.598 | 15.32 | 6.862 | 3.845 | 6.682 | 7.116 | 4.863 | 972.326 | 99.983 | 17.0369
2020-02-25 10:30:00 | 6.057 | 0.544 | 6.23 | 27.86 | 6.317 | 20.21 | 6.44 | 358.6 | 4.893 | 972.474 | 99.983 | 14.9087
2020-02-25 10:45:00 | 3.963 | 353.9 | 4.494 | 16.52 | 4.649 | 0.138 | 5.042 | 347.7 | 5.026 | 973.069 | 100 | 19.4275
2020-02-25 11:00:00 | 3.184 | 353 | 3.39 | 17.02 | 4.552 | 347.7 | 4.769 | 344.9 | 4.841 | 973.069 | 100 | 22.0582
2020-02-25 11:15:00 | 2.887 | 1.626 | 4.563 | 30.75 | 4.117 | 11.63 | 4.347 | 348.9 | 4.601 | 973.069 | 99.983 | 21.8439
2020-02-25 11:30:00 | 4.193 | 5.413 | 5.016 | 30.3 | 4.903 | 19.03 | 5.228 | 358.9 | 4.35 | 972.92 | 100 | 18.9065
2020-02-25 11:45:00 | 5.37 | 359.7 | 5.123 | 24.76 | 5.567 | 19.72 | 5.982 | 356.5 | 4.339 | 972.772 | 99.983 | 14.8459
2020-02-25 12:00:00 | 5.61 | 9.65 | 6.394 | 30.96 | 4.85 | 19.97 | 4.922 | 7.918 | 4.31 | 972.474 | 100 | 12.1856
2020-02-25 12:15:00 | 5.551 | 4.993 | 6.089 | 27.24 | 5.837 | 19.26 | 6.219 | 3.005 | 4.327 | 972.474 | 99.983 | 15.3558
2020-02-25 12:30:00 | 5.344 | 2.373 | 5.634 | 27.49 | 5.938 | 21.22 | 6.458 | 357.4 | 4.483 | 972.474 | 100 | 16.1021
2020-02-25 12:45:00 | 4.464 | 7.913 | 5.44 | 35.45 | 5.221 | 26.61 | 5.477 | 354.7 | 4.639 | 972.474 | 99.983 | 14.0367
2020-02-25 13:00:00 | 4.875 | 7.429 | 5.652 | 34.65 | 5.061 | 26.17 | 5.32 | 359.5 | 4.498 | 972.474 | 100 | 12.7361
2020-02-25 13:15:00 | 4.32 | 4.717 | 5.069 | 25.67 | 4.552 | 16.58 | 4.767 | 0.343 | 4.588 | 972.474 | 100 | 10.1608
2020-02-25 13:30:00 | 3.607 | 12.93 | 5 | 37.25 | 3.799 | 21.02 | 4.036 | 0.21 | 4.723 | 972.772 | 99.983 | 9.8172
2020-02-25 13:45:00 | 3.493 | 2.454 | 4.226 | 32.24 | 4.239 | 23.84 | 4.558 | 354.2 | 4.746 | 972.474 | 99.983 | 12.2706
2020-02-25 14:00:00 | 3.995 | 7.262 | 4.415 | 28.16 | 3.86 | 17.9 | 4.038 | 355.5 | 4.718 | 972.474 | 100 | 16.9741
2020-02-25 14:15:00 | 4.677 | 1.988 | 5.138 | 26.79 | 5.511 | 16.51 | 5.783 | 355.5 | 4.591 | 972.326 | 99.983 | 18.6146
2020-02-25 14:30:00 | 5.053 | 3.225 | 5.276 | 29.16 | 4.936 | 18.51 | 5.225 | 355.3 | 4.544 | 972.474 | 100 | 21.8476
2020-02-25 14:45:00 | 3.108 | 0.859 | 3.967 | 28.83 | 3.88 | 8.39 | 4.324 | 344.1 | 4.719 | 972.772 | 100 | 24.3786
2020-02-25 15:00:00 | 3.506 | 2.768 | 4.566 | 28.65 | 4.359 | 20.68 | 4.548 | 352.4 | 4.64 | 973.069 | 100 | 22.5681
2020-02-25 15:15:00 | 4.189 | 7.016 | 4.898 | 20.67 | 4.898 | 357.6 | 5.131 | 5.16 | 4.61 | 972.772 | 99.983 | 23.0743
2020-02-25 15:30:00 | 4.098 | 357.3 | 4.844 | 27.04 | 5.821 | 22.37 | 6.226 | 348.6 | 4.553 | 972.772 | 100 | 21.4707
2020-02-25 15:45:00 | 5.48 | 5.624 | 5.918 | 26.8 | 5.982 | 19.41 | 6.399 | 1.079 | 4.532 | 972.772 | 99.983 | 21.7479
2020-02-25 16:00:00 | 5.222 | 8.47 | 5.944 | 28.37 | 5 | 15.95 | 5.07 | 9.11 | 4.495 | 972.772 | 100 | 17.6946
2020-02-25 16:15:00 | 5.694 | 7.741 | 6.79 | 26.02 | 5.651 | 13.26 | 5.462 | 10.07 | 4.478 | 972.772 | 100 | 18.1047
2020-02-25 16:30:00 | 6.243 | 3.368 | 6.23 | 22.05 | 5.516 | 12.24 | 5.595 | 5.214 | 4.543 | 972.92 | 100 | 16.612
2020-02-25 16:45:00 | 5.602 | 5.374 | 6.407 | 25.15 | 5.381 | 14.5 | 5.146 | 7.655 | 4.544 | 973.069 | 99.983 | 17.75
2020-02-25 17:00:00 | 5.515 | 6.538 | 6.102 | 23.56 | 5.717 | 11.66 | 5.77 | 8.4 | 4.552 | 973.069 | 99.983 | 14.8681
2020-02-25 17:15:00 | 5.505 | 9.43 | 5.709 | 26.73 | 4.834 | 15.49 | 4.825 | 12.36 | 4.55 | 973.366 | 100 | 11.9861
2020-02-25 17:30:00 | 4.788 | 11.81 | 5.726 | 28.86 | 5.112 | 16.36 | 4.892 | 14.89 | 4.546 | 973.663 | 99.983 | 9.3369
2020-02-25 17:45:00 | 4.517 | 6.749 | 4.763 | 22.44 | 4.364 | 13.63 | 4.344 | 10.64 | 4.546 | 973.671 | 99.983 | 7.9735
2020-02-25 18:00:00 | 4.854 | 7.141 | 5.634 | 24.24 | 4.674 | 10.13 | 4.652 | 11.3 | 4.552 | 973.701 | 100 | 9.8505
2020-02-25 18:15:00 | 4.502 | 10.31 | 5.783 | 27.29 | 5.488 | 14.59 | 5.134 | 16.69 | 4.549 | 973.708 | 99.9488 | 8.7235
2020-02-25 18:30:00 | 4.581 | 6.524 | 5.675 | 23.89 | 4.929 | 10.77 | 4.892 | 12.42 | 4.592 | 973.997 | 99.983 | 8.4649
2020-02-25 18:45:00 | 4.497 | 8.77 | 5.939 | 25.31 | 5.119 | 11.48 | 4.879 | 13.69 | 4.607 | 974.317 | 100 | 10.6116
2020-02-25 19:00:00 | 4.749 | 12.98 | 6.235 | 27.41 | 5.508 | 14.09 | 5.421 | 19.59 | 4.593 | 974.294 | 100 | 12.3556
2020-02-25 19:15:00 | 4.872 | 18.4 | 5.65 | 30.86 | 5.422 | 14.42 | 5.556 | 24.58 | 4.612 | 974.8 | 99.9847 | 7.5929
2020-02-25 19:30:00 | 4.783 | 14.56 | 5.693 | 27.7 | 5.305 | 14.86 | 5.358 | 22.66 | 4.614 | 974.754 | 100 | 7.7444
2020-02-25 19:45:00 | 4.887 | 13.96 | 5.995 | 29.08 | 5.409 | 15.63 | 5.427 | 21.39 | 4.658 | 974.931 | 99.983 | 8.2802
2020-02-25 20:00:00 | 4.619 | 15.96 | 5.31 | 28.96 | 4.789 | 12.53 | 4.887 | 24.51 | 4.669 | 974.969 | 100 | 7.253
2020-02-25 20:15:00 | 3.577 | 14.07 | 4.696 | 26.2 | 4.293 | 11 | 4.405 | 23.78 | 4.629 | 975.428 | 100 | 5.6568
2020-02-25 20:30:00 | 3.889 | 11.97 | 4.775 | 22.83 | 4.237 | 7.637 | 4.342 | 24.4 | 4.623 | 975.198 | 99.9488 | 6.4032
2020-02-25 20:45:00 | 3.976 | 13.51 | 4.939 | 24.38 | 4.242 | 8.35 | 4.311 | 22.46 | 4.613 | 975.472 | 99.9493 | 5.8785
2020-02-25 21:00:00 | 3.764 | 22.6 | 4.024 | 33.18 | 3.436 | 15.14 | 3.552 | 34.45 | 4.603 | 975.522 | 100 | 2.4608
2020-02-25 21:15:00 | 3.769 | 28.54 | 3.638 | 37.29 | 3.146 | 18.05 | 3.376 | 43.46 | 4.598 | 975.52 | 99.9501 | 1.8437
2020-02-25 21:30:00 | 3.866 | 18.89 | 4.093 | 29.76 | 3.403 | 13.52 | 3.57 | 30.89 | 4.596 | 975.81 | 99.9837 | 2.2243
2020-02-25 21:45:00 | 3.664 | 20.49 | 3.806 | 31.87 | 3.263 | 15.91 | 3.471 | 32.87 | 4.571 | 976.152 | 99.9837 | 2.1947
2020-02-25 22:00:00 | 3.715 | 21.61 | 3.898 | 31.46 | 3.105 | 16.05 | 3.315 | 29.97 | 4.542 | 976.152 | 99.9836 | 3.4879
2020-02-25 22:15:00 | 3.302 | 9 | 3.679 | 23.04 | 3.156 | 9.53 | 3.341 | 22.11 | 4.521 | 976.336 | 100 | 3.3069
2020-02-25 22:30:00 | 3.789 | 6.401 | 3.835 | 21.87 | 3.041 | 9.37 | 3.315 | 18.02 | 4.431 | 976.181 | 99.9885 | 3.621
2020-02-25 22:45:00 | 4.009 | 10.91 | 3.694 | 22 | 3.011 | 6.079 | 3.259 | 19.62 | 4.325 | 976.226 | 99.959 | 3.85
2020-02-25 23:00:00 | 4.264 | 7.863 | 4.106 | 26.63 | 3.194 | 15.43 | 3.43 | 11.45 | 4.309 | 976.461 | 99.9973 | 5.1284
2020-02-25 23:15:00 | 4.305 | 7.981 | 3.983 | 23.64 | 3.197 | 12.62 | 3.496 | 11.75 | 4.194 | 976.305 | 99.9645 | 5.1026
2020-02-25 23:30:00 | 3.802 | 9.6 | 4.024 | 25.7 | 3.189 | 11.03 | 3.445 | 16.33 | 4.142 | 976.301 | 100 | 5.3464
2020-02-25 23:45:00 | 4.341 | 14.04 | 4.525 | 28.77 | 3.728 | 13.98 | 3.858 | 22.65 | 4.078 | 976.339 | 99.9702 | 5.5903