## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-26 00:00:00 | 3.996 | 12.64 | 4.43 | 29.76 | 3.672 | 11.99 | 3.832 | 19.61 | 4.072 | 976.338 | 100 | 4.7885
2020-02-26 00:15:00 | 3.641 | 10.52 | 4.159 | 27.43 | 3.507 | 13.21 | 3.677 | 20.28 | 4.027 | 976.339 | 100 | 3.5249
2020-02-26 00:30:00 | 3.511 | 10.55 | 3.377 | 17.44 | 3.085 | 5.68 | 2.992 | 8.9 | 4.024 | 976.631 | 100 | 3.8279
2020-02-26 00:45:00 | 4.091 | 6.876 | 4.192 | 21.02 | 3.761 | 7.634 | 3.904 | 17.35 | 3.985 | 976.339 | 100 | 4.892
2020-02-26 01:00:00 | 4.303 | 4.246 | 4.103 | 16.94 | 3.464 | 5.196 | 3.695 | 9.77 | 3.804 | 976.337 | 100 | 5.9635
2020-02-26 01:15:00 | 4.394 | 4.657 | 4.264 | 20.74 | 3.448 | 8.2 | 3.641 | 13.65 | 3.805 | 976.339 | 100 | 6.0152
2020-02-26 01:30:00 | 2.87 | 15.18 | 3.773 | 25.95 | 3.413 | 5.452 | 3.565 | 24.1 | 3.737 | 976.487 | 100 | 4.807
2020-02-26 01:45:00 | 3.309 | 28.19 | 3.126 | 3.898 | 2.139 | 0.435 | 2.292 | 15.71 | 3.666 | 976.636 | 99.974 | 4.541
2020-02-26 02:00:00 | 2.174 | 341 | 1.79 | 356.3 | 1.677 | 344.3 | 2.181 | 341.1 | 3.598 | 976.933 | 100 | 4.9437
2020-02-26 02:15:00 | 2.277 | 346.2 | 1.943 | 4.507 | 2.028 | 344.7 | 2.656 | 337.3 | 3.534 | 976.933 | 100 | 5.1839
2020-02-26 02:30:00 | 2.17 | 348.1 | 2.26 | 16.44 | 2.912 | 7.18 | 3.17 | 348.2 | 3.352 | 976.933 | 99.978 | 4.1382
2020-02-26 02:45:00 | 2.188 | 353.4 | 2.144 | 21.61 | 2.792 | 352.3 | 3.368 | 343.8 | 3.257 | 977.231 | 100 | 7.9144
2020-02-26 03:00:00 | 2.801 | 354.1 | 3.277 | 31.19 | 3.792 | 25.73 | 4.097 | 347 | 3.104 | 976.909 | 99.9766 | 9.2741
2020-02-26 03:15:00 | 3.899 | 2.563 | 4.177 | 22.19 | 4.056 | 15.34 | 4.311 | 359.5 | 2.985 | 976.933 | 99.9771 | 11.0439
2020-02-26 03:30:00 | 4.377 | 355.9 | 3.996 | 23.12 | 4.222 | 20.47 | 4.489 | 350 | 2.984 | 976.922 | 99.9794 | 12.943
2020-02-26 03:45:00 | 4.142 | 5.507 | 4.648 | 22.1 | 4.583 | 13.23 | 5.101 | 2.392 | 2.857 | 976.922 | 99.9794 | 11.4651
2020-02-26 04:00:00 | 3.881 | 3.519 | 3.886 | 17.18 | 4.013 | 11.19 | 4.456 | 1.565 | 2.789 | 976.933 | 100 | 11.103
2020-02-26 04:15:00 | 4.124 | 353.9 | 3.983 | 13.78 | 4.4 | 13.23 | 4.622 | 354.8 | 2.696 | 976.915 | 100 | 11.5094
2020-02-26 04:30:00 | 4.351 | 0.322 | 4.236 | 14.2 | 4.667 | 9.76 | 5.113 | 0.71 | 2.56 | 976.933 | 100 | 10.2643
2020-02-26 04:45:00 | 4.014 | 5.215 | 4.026 | 18.76 | 4.433 | 12.27 | 4.568 | 3.357 | 2.513 | 976.933 | 99.9829 | 9.0228
2020-02-26 05:00:00 | 4.287 | 6.237 | 4.047 | 25.64 | 3.921 | 18.76 | 4.316 | 3.154 | 2.519 | 976.933 | 99.9829 | 7.253
2020-02-26 05:15:00 | 4.354 | 5.664 | 4.016 | 22.94 | 3.876 | 14.15 | 3.934 | 6.806 | 2.509 | 977.231 | 100 | 7.5744
2020-02-26 05:30:00 | 3.871 | 6.558 | 3.466 | 15.05 | 3.397 | 8.77 | 3.514 | 7.551 | 2.461 | 977.379 | 99.9829 | 7.0682
2020-02-26 05:45:00 | 3.583 | 6.726 | 3.704 | 20.57 | 3.581 | 11.62 | 3.616 | 12.2 | 2.449 | 977.528 | 99.9829 | 6.6138
2020-02-26 06:00:00 | 3.662 | 8.66 | 3.648 | 23.66 | 3.525 | 11.11 | 3.792 | 16 | 2.438 | 977.677 | 99.9829 | 7.7111
2020-02-26 06:15:00 | 3.59 | 13.34 | 4.083 | 27.01 | 4.339 | 21.15 | 4.482 | 22.77 | 2.449 | 977.825 | 100 | 7.9144
2020-02-26 06:30:00 | 3.251 | 6.284 | 3.781 | 17.36 | 3.982 | 0.995 | 3.578 | 16.8 | 2.383 | 977.825 | 99.9829 | 7.2308
2020-02-26 06:45:00 | 4.024 | 12.12 | 4.251 | 20.3 | 4.158 | 0.811 | 4.347 | 22.6 | 2.373 | 977.974 | 99.9829 | 6.1556
2020-02-26 07:00:00 | 3.437 | 21.55 | 4.141 | 28.87 | 3.865 | 18.96 | 4.074 | 28.91 | 2.304 | 978.122 | 99.9829 | 3.9239
2020-02-26 07:15:00 | 3.503 | 21.5 | 4.006 | 37.6 | 3.565 | 19.64 | 3.776 | 32.94 | 2.311 | 978.122 | 100 | 3.6949
2020-02-26 07:30:00 | 2.651 | 11.04 | 3.635 | 28.47 | 3.54 | 8.96 | 3.764 | 29.76 | 2.332 | 978.717 | 100 | 3.8205
2020-02-26 07:45:00 | 1.941 | 11.42 | 2.814 | 24.35 | 2.795 | 9.63 | 2.984 | 20.61 | 2.351 | 979.163 | 100 | 2.9633
2020-02-26 08:00:00 | 2.247 | 13.77 | 2.618 | 20.86 | 2.907 | 14.29 | 3.168 | 19.67 | 2.437 | 979.312 | 99.9829 | 2.0248
2020-02-26 08:15:00 | 2.094 | 17 | 1.863 | 21.52 | 2.238 | 25.75 | 2.607 | 27.81 | 2.389 | 979.906 | 99.9829 | 1.0752
2020-02-26 08:30:00 | 1.179 | 18.37 | 1.351 | 21.36 | 2.116 | 30.97 | 2.837 | 50.72 | 2.372 | 980.203 | 99.9829 | 0.40274
2020-02-26 08:45:00 | 1.713 | 359.5 | 1.62 | 21.11 | 1.686 | 16.04 | 2.024 | 49 | 2.485 | 980.352 | 99.9829 | 0.83873
2020-02-26 09:00:00 | 2.661 | 3.665 | 2.324 | 20.24 | 2.294 | 10.47 | 2.661 | 33.1 | 2.467 | 980.352 | 99.9829 | 1.2895
2020-02-26 09:15:00 | 3.036 | 18.39 | 2.541 | 21.83 | 2.329 | 21.66 | 2.643 | 40.68 | 2.512 | 980.501 | 99.9829 | 1.3228
2020-02-26 09:30:00 | 2.265 | 15.37 | 2.019 | 21.78 | 1.856 | 20.33 | 2.281 | 32.95 | 2.521 | 980.798 | 99.9829 | 0.97913
2020-02-26 09:45:00 | 1.94 | 353.6 | 1.63 | 19.76 | 1.394 | 349.6 | 1.668 | 8.56 | 2.701 | 981.065 | 99.9829 | 2.095
2020-02-26 10:00:00 | 2.135 | 15.7 | 2.175 | 21.25 | 1.874 | 14.14 | 2.258 | 9.33 | 2.57 | 981.09 | 99.9811 | 1.1232
2020-02-26 10:15:00 | 3.189 | 24.33 | 2.72 | 21.66 | 2.37 | 22.96 | 2.564 | 32.24 | 2.362 | 981.049 | 100 | 0.68355
2020-02-26 10:30:00 | 2.873 | 40.88 | 2.362 | 21.66 | 1.223 | 20.85 | 1.64 | 76.69 | 2.472 | 981.08 | 100 | 0.58379
2020-02-26 10:45:00 | 2.441 | 46.45 | 1.784 | 21.66 | 1.65 | 19.95 | 1.894 | 69.67 | 2.757 | 981.39 | 100 | 0.073897
2020-02-26 11:00:00 | 2.229 | 11.72 | 1.958 | 21.53 | 1.191 | 20.8 | 1.642 | 37.99 | 2.862 | 981.392 | 100 | -0.12562
2020-02-26 11:15:00 | 1.743 | 4.336 | 1.291 | 21.42 | 0.95 | 24.93 | 1.675 | 21.94 | 2.928 | 981.392 | 100 | -0.14779
2020-02-26 11:30:00 | 0.915 | 3.29 | 0.773 | 20.93 | 0.416 | 18.14 | 1.285 | 21.76 | 3.153 | 981.608 | 100 | -0.29189
2020-02-26 11:45:00 | 1.398 | 337.7 | 1.297 | 19.99 | 1.306 | 2.78 | 1.681 | 349.7 | 3.337 | 981.456 | 99.9855 | -0.1404
2020-02-26 12:00:00 | 1.484 | 346.5 | 1.091 | 20.76 | 1.152 | 24.67 | 1.713 | 353.2 | 3.366 | 981.539 | 100 | -0.19213
2020-02-26 12:15:00 | 1.606 | 8.84 | 1.946 | 20.86 | 1.511 | 22.4 | 1.995 | 351.3 | 3.515 | 981.538 | 100 | -0.059118
2020-02-26 12:30:00 | 1.979 | 19.23 | 2.59 | 40.78 | 1.865 | 16.78 | 2.085 | 4.863 | 3.717 | 981.538 | 99.983 | 0.19583
2020-02-26 12:45:00 | 1.268 | 14.85 | 2.367 | 37.8 | 2.211 | 10.25 | 2.283 | 2.683 | 3.806 | 981.687 | 100 | 0.45077
2020-02-26 13:00:00 | 0.843 | 11.32 | 1.007 | 25.53 | 0.863 | 5.51 | 1.199 | 352.7 | 3.606 | 981.538 | 100 | 0.82764
2020-02-26 13:15:00 | 0.944 | 4.177 | 1.077 | 2.243 | 1.349 | 359 | 1.81 | 11.08 | 3.848 | 981.39 | 100 | 0.76114
2020-02-26 13:30:00 | 2.551 | 0.563 | 2.628 | 19.89 | 2.542 | 11.25 | 2.798 | 352.6 | 3.778 | 981.39 | 94.549 | 1.2599
2020-02-26 13:45:00 | 1.817 | 5.637 | 2.254 | 24.97 | 2.701 | 5.867 | 2.767 | 353.3 | 3.819 | 981.39 | 88.3681 | 1.3412
2020-02-26 14:00:00 | 1.628 | 16.03 | 2.236 | 21.41 | 2.472 | 351.3 | 2.507 | 5.956 | 4.594 | 981.39 | 76.7182 | 1.7329
2020-02-26 14:15:00 | 1.73 | 18.97 | 1.693 | 27.99 | 3.184 | 327.4 | 2.921 | 15.58 | 5.108 | 981.39 | 73.3326 | 2.5568
2020-02-26 14:30:00 | 2.16 | 11.66 | 2.369 | 2.687 | 3.263 | 322.4 | 3.246 | 21.54 | 5.16 | 981.39 | 69.1884 | 4.4818
2020-02-26 14:45:00 | 2.22 | 5.694 | 2.941 | 32.73 | 2.795 | 8.06 | 2.755 | 353.2 | 5.017 | 981.39 | 66.5938 | 5.7048
2020-02-26 15:00:00 | 2.209 | 4.143 | 2.067 | 350 | 2.232 | 317.7 | 2.362 | 3.682 | 4.971 | 981.39 | 66.12 | 6.1519
2020-02-26 15:15:00 | 1.942 | 21.27 | 1.56 | 34.41 | 2.577 | 326.2 | 2.614 | 12.45 | 5.188 | 981.39 | 63.1887 | 5.8748
2020-02-26 15:30:00 | 4.133 | 359.1 | 3.786 | 26.28 | 3.82 | 20.64 | 3.929 | 351.8 | 5.037 | 981.39 | 62.7813 | 5.1174
2020-02-26 15:45:00 | 2.012 | 10.91 | 2.716 | 34.23 | 2.734 | 13.81 | 2.859 | 357.4 | 5.35 | 981.39 | 63.4664 | 4.8255
2020-02-26 16:00:00 | 2.961 | 359.7 | 3.307 | 25.95 | 3.108 | 18.55 | 3.234 | 356.6 | 5.294 | 981.241 | 61.6221 | 4.3045
2020-02-26 16:15:00 | 2.024 | 11.91 | 2.935 | 33.96 | 2.688 | 353.8 | 2.564 | 0.901 | 5.37 | 981.39 | 62.8522 | 3.2626
2020-02-26 16:30:00 | 1.523 | 7.262 | 1.847 | 25.77 | 1.149 | 7.814 | 1.282 | 333.3 | 5.6 | 981.39 | 62.3056 | 3.1591
2020-02-26 16:45:00 | 3.659 | 352.6 | 3.121 | 21.88 | 3.441 | 19.74 | 3.718 | 348.2 | 5.57 | 981.241 | 61.2126 | 4.2232
2020-02-26 17:00:00 | 3.434 | 6.366 | 3.551 | 18.86 | 4.12 | 11.68 | 3.972 | 5.252 | 5.58 | 981.092 | 61.076 | 5.2245
2020-02-26 17:15:00 | 3.45 | 9.58 | 4.284 | 24.85 | 4.01 | 12.73 | 3.863 | 7.635 | 5.638 | 981.092 | 60.2562 | 4.8957
2020-02-26 17:30:00 | 4.029 | 7.864 | 5.092 | 24.11 | 4.491 | 9.85 | 4.446 | 13.79 | 5.644 | 981.092 | 59.6413 | 4.7072
2020-02-26 17:45:00 | 3.634 | 9.28 | 4.387 | 24.77 | 4.377 | 11.08 | 4.207 | 14.15 | 5.662 | 981.092 | 59.7096 | 3.3993
2020-02-26 18:00:00 | 2.74 | 13.14 | 4.476 | 26.15 | 4.244 | 10.64 | 4.105 | 21.84 | 5.668 | 981.39 | 59.778 | 3.3475
2020-02-26 18:15:00 | 2.269 | 9.71 | 3.474 | 22.85 | 3.392 | 13.65 | 3.114 | 14.83 | 5.558 | 981.39 | 62.0324 | 3.1665
2020-02-26 18:30:00 | 2.742 | 18.56 | 4.157 | 30.09 | 3.921 | 16.84 | 3.972 | 28.33 | 5.348 | 981.39 | 64.6968 | 1.755
2020-02-26 18:45:00 | 1.976 | 12.93 | 3.561 | 23.38 | 3.38 | 6.849 | 3.392 | 22.53 | 5.31 | 981.39 | 63.5354 | 1.5223
2020-02-26 19:00:00 | 2.699 | 15.85 | 3.254 | 24.25 | 3.759 | 13.36 | 3.904 | 25.83 | 5.279 | 981.687 | 66.3365 | 1.3966
2020-02-26 19:15:00 | 2.481 | 26.38 | 3.349 | 41.35 | 3.672 | 20.49 | 3.794 | 37.11 | 5.101 | 981.687 | 68.0444 | 1.7033
2020-02-26 19:30:00 | 2.988 | 40.3 | 3.489 | 51.83 | 3.802 | 24 | 3.942 | 47.54 | 5.081 | 981.538 | 62.8523 | 1.4595
2020-02-26 19:45:00 | 2.86 | 44.95 | 3.985 | 56.77 | 4.305 | 29.84 | 4.375 | 50.19 | 5.18 | 981.984 | 64.4236 | 0.8572
2020-02-26 20:00:00 | 2.456 | 45.9 | 3.822 | 58.64 | 3.563 | 34.51 | 3.603 | 52.29 | 5.221 | 981.688 | 58.5824 | 0.2143
2020-02-26 20:15:00 | 0.011 | 100.4 | 0.15 | 51.21 | 1.409 | 31.16 | 1.895 | 92.7 | 5.024 | 982.057 | 59.4705 | 0.42491
2020-02-26 20:30:00 | 0.313 | 103 | 0.538 | 51.92 | 1.683 | 93.4 | 2.08 | 101.9 | 5.194 | 981.843 | 59.4408 | 0.18474
2020-02-26 20:45:00 | 0.93 | 104.1 | 1.299 | 102.4 | 1.1 | 48.26 | 1.599 | 120.3 | 5.506 | 982.562 | 58.5631 | -0.0073897
2020-02-26 21:00:00 | 0.978 | 115.4 | 1.224 | 130.5 | 2.355 | 69.44 | 2.599 | 128.9 | 5.2 | 982.582 | 59.6591 | -0.033254
2020-02-26 21:15:00 | 1.677 | 119.5 | 2.182 | 134.5 | 2.759 | 115.7 | 2.977 | 124.5 | 5.319 | 982.73 | 60.6156 | 0.14779
2020-02-26 21:30:00 | 1.846 | 126 | 1.766 | 147.6 | 2.49 | 130.3 | 2.643 | 125.9 | 5.259 | 982.86 | 61.1592 | 0.4988
2020-02-26 21:45:00 | 1.372 | 131.9 | 1.615 | 150.8 | 2.088 | 117.4 | 2.138 | 130.8 | 5.022 | 982.879 | 59.3829 | 0.28081
2020-02-26 22:00:00 | 1.023 | 123.1 | 0.454 | 133 | 1.054 | 109.1 | 1.468 | 120 | 4.714 | 982.73 | 58.7693 | 0.94219
2020-02-26 22:15:00 | 0.714 | 98.6 | 0.456 | 121.2 | 1.114 | 90.2 | 1.542 | 107.7 | 4.549 | 982.582 | 59.1119 | 0.43969
2020-02-26 22:30:00 | 0.651 | 63.58 | 0.552 | 121 | 1.64 | 90.2 | 1.922 | 80.9 | 4.396 | 982.239 | 61.022 | 3.2773
2020-02-26 22:45:00 | 2.893 | 50.38 | 2.707 | 116.9 | 2.767 | 36.62 | 2.865 | 55.3 | 4.347 | 981.965 | 60.4751 | 4.5151
2020-02-26 23:00:00 | 0.777 | 58.43 | 0.374 | 117 | 1.002 | 79.45 | 1.375 | 66.93 | 4.159 | 981.967 | 60.6798 | 4.02
2020-02-26 23:15:00 | 0 | 33.77 | 0.041 | 117 | 0.952 | 70.31 | 1.209 | 65.96 | 4.394 | 981.823 | 60.5094 | 3.1665
2020-02-26 23:30:00 | 1.078 | 33.08 | 0 | 117 | 0 | 143.1 | 0 | 65.96 | 4.226 | 981.986 | 61.262 | 2.7083
2020-02-26 23:45:00 | 1.424 | 99.3 | 0.321 | 156.5 | 0.476 | 135.7 | 0.868 | 66.69 | 3.741 | 981.674 | 61.1945 | 3.0446