## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-27 00:00:00 | 0.75 | 78.91 | 0.816 | 155.1 | 1.424 | 95.2 | 1.64 | 67.76 | 4.182 | 981.367 | 61.0254 | 5.546
2020-02-27 00:15:00 | 2.451 | 79.72 | 2.579 | 154.1 | 2.327 | 98.4 | 2.312 | 75.12 | 4.17 | 981.243 | 60.4769 | 6.4401
2020-02-27 00:30:00 | 2.934 | 92.8 | 3.073 | 153.5 | 2.37 | 102.5 | 2.348 | 89.5 | 3.954 | 981.075 | 59.7941 | 4.5077
2020-02-27 00:45:00 | 3.34 | 146.6 | 3.369 | 161 | 3.141 | 153.8 | 3.061 | 149.6 | 3.338 | 981.228 | 57.1966 | 4.0052
2020-02-27 01:00:00 | 2.413 | 145.2 | 2.848 | 162.8 | 3.522 | 165 | 3.448 | 150.3 | 3.012 | 981.376 | 50.3663 | 4.7996
2020-02-27 01:15:00 | 0.699 | 109.3 | 0.828 | 145.2 | 1.414 | 88.9 | 1.617 | 131.2 | 3.31 | 981.095 | 50.5723 | 9.5549
2020-02-27 01:30:00 | 0.857 | 114.3 | 1.446 | 123.3 | 2.729 | 107 | 2.798 | 118.8 | 3.093 | 981.095 | 48.9322 | 11.2656
2020-02-27 01:45:00 | 1.35 | 81.8 | 0.585 | 128.6 | 0.931 | 65.54 | 0.881 | 114.6 | 3.289 | 981.095 | 47.497 | 10.8148
2020-02-27 02:00:00 | 0.468 | 124.8 | 0.363 | 132.5 | 0.61 | 118.3 | 0.446 | 147.4 | 3.011 | 981.095 | 48.4538 | 11.1843
2020-02-27 02:15:00 | 1.511 | 102.9 | 1.333 | 116.3 | 1.963 | 102.9 | 1.963 | 109 | 2.822 | 981.095 | 48.5221 | 8.7346
2020-02-27 02:30:00 | 2.799 | 95 | 3.413 | 106.8 | 2.983 | 87.8 | 2.913 | 103.3 | 2.59 | 980.798 | 49.4105 | 7.774
2020-02-27 02:45:00 | 1.779 | 77.07 | 2.355 | 84.6 | 3.385 | 47.27 | 3.45 | 78.05 | 2.606 | 981.095 | 49.7523 | 4.892
2020-02-27 03:00:00 | 2.622 | 46 | 2.914 | 65.4 | 2.711 | 44.11 | 2.658 | 44.52 | 2.953 | 980.798 | 49.9573 | 3.935
2020-02-27 03:15:00 | 2.405 | 12.17 | 2.436 | 42.62 | 2.266 | 22.72 | 2.353 | 358.4 | 2.949 | 980.947 | 50.6407 | 3.7872
2020-02-27 03:30:00 | 1.708 | 355 | 1.753 | 41.17 | 2.055 | 26.88 | 2.004 | 349.4 | 3.151 | 981.095 | 52.1442 | 1.6996
2020-02-27 03:45:00 | 0.019 | 0.098 | 0.169 | 41.14 | 2.261 | 56.29 | 2.419 | 336.5 | 3.042 | 981.095 | 55.0145 | 2.1873
2020-02-27 04:00:00 | 0 | 9.37 | 0 | 41.18 | 1.546 | 36.11 | 1.423 | 342.9 | 2.867 | 980.947 | 52.1442 | 3.4177
2020-02-27 04:15:00 | 0 | 35.42 | 0 | 42.74 | 1.411 | 79.68 | 1.586 | 342.9 | 2.447 | 980.798 | 52.0759 | 3.9165
2020-02-27 04:30:00 | 0.82 | 43.13 | 1.493 | 42.95 | 2.408 | 59.45 | 2.365 | 352.4 | 2.932 | 980.501 | 57.4406 | 3.4731
2020-02-27 04:45:00 | 2.005 | 55.92 | 2.574 | 64.88 | 2.991 | 61.81 | 2.974 | 52.93 | 3.161 | 980.501 | 56.108 | 3.6099
2020-02-27 05:00:00 | 1.595 | 48.85 | 1.636 | 74.15 | 2.256 | 74.83 | 2.243 | 42.02 | 3.199 | 980.501 | 55.7663 | 2.7527
2020-02-27 05:15:00 | 0 | 57.27 | 0.004 | 74.39 | 1.383 | 100.6 | 1.242 | 44.16 | 3.024 | 980.798 | 56.313 | 1.0456
2020-02-27 05:30:00 | 0.255 | 53.19 | 0 | 74.27 | 0.434 | 288.3 | 0.434 | 43.23 | 2.602 | 980.798 | 55.6638 | 0.56901
2020-02-27 05:45:00 | 2.142 | 304.1 | 1.169 | 324.4 | 0.18 | 298.3 | 0 | 43.19 | 2.195 | 980.795 | 55.4929 | -0.10715
2020-02-27 06:00:00 | 0 | 330.4 | 0 | 324.4 | 0 | 300.9 | 0 | 43.19 | 2.212 | 980.649 | 58.0215 | -0.1404
2020-02-27 06:15:00 | 0 | 330.4 | 0 | 324.4 | 0 | 300.9 | 0 | 43.19 | 2.236 | 980.501 | 57.6457 | -0.1404
2020-02-27 06:30:00 | 0 | 330.4 | 0 | 324.4 | 0 | 309.6 | 0 | 43.19 | 2.074 | 980.947 | 59.7642 | -0.26233
2020-02-27 06:45:00 | 0 | 330.4 | 0 | 324.4 | 0 | 309.5 | 0 | 43.18 | 2.031 | 980.501 | 59.6276 | -0.25125
2020-02-27 07:00:00 | 2.234 | 156.4 | 2.288 | 201.2 | 2.256 | 212 | 2.157 | 144.5 | 2.049 | 980.798 | 59.9009 | -0.16996
2020-02-27 07:15:00 | 2.462 | 140.9 | 3.257 | 154 | 3.161 | 145.6 | 3.045 | 145 | 2.304 | 980.947 | 52.5546 | 2.0728
2020-02-27 07:30:00 | 0.259 | 112.2 | 0.135 | 141.3 | 1.451 | 129.5 | 1.444 | 123.8 | 2.595 | 981.095 | 52.3492 | 3.1517
2020-02-27 07:45:00 | 0.407 | 112.1 | 0.686 | 118.2 | 1.768 | 105.4 | 1.815 | 123.6 | 2.76 | 981.541 | 48.2488 | 3.3919
2020-02-27 08:00:00 | 1.123 | 139.8 | 0.69 | 147.1 | 1.538 | 157.1 | 1.378 | 146.4 | 2.678 | 981.541 | 45.1051 | 4.4264
2020-02-27 08:15:00 | 3.274 | 105.3 | 3.441 | 123 | 3.316 | 116.3 | 3.267 | 113.3 | 2.926 | 981.69 | 40.5946 | 5.7603
2020-02-27 08:30:00 | 2.684 | 106.1 | 2.26 | 139.6 | 1.741 | 133 | 1.57 | 93.5 | 2.929 | 981.69 | 38.4077 | 9.1817
2020-02-27 08:45:00 | 3.345 | 126.3 | 3.193 | 154.1 | 2.261 | 142.4 | 2.195 | 115.3 | 2.863 | 981.385 | 37.9966 | 15.3299
2020-02-27 09:00:00 | 6.486 | 120.4 | 6.593 | 140.1 | 6.21 | 129.5 | 6.073 | 120.7 | 2.897 | 981.083 | 36.4253 | 20.8241
2020-02-27 09:15:00 | 5.564 | 122.1 | 5.583 | 147.9 | 5.213 | 141 | 5.202 | 122.8 | 2.923 | 981.681 | 37.5189 | 21.3969
2020-02-27 09:30:00 | 3.343 | 115 | 3.64 | 140.2 | 3.288 | 132.2 | 3.089 | 116 | 3.542 | 981.689 | 34.5775 | 22.594
2020-02-27 09:45:00 | 4.126 | 95.1 | 5.749 | 114.4 | 6.249 | 110.9 | 6.42 | 102.7 | 3.543 | 981.392 | 31.4343 | 24.7111
2020-02-27 10:00:00 | 4.88 | 94.4 | 6.302 | 106.4 | 6.91 | 96.1 | 7.24 | 100.4 | 3.656 | 981.392 | 30.3405 | 21.0828
2020-02-27 10:15:00 | 3.542 | 106 | 3.262 | 132.4 | 3.718 | 131.9 | 3.771 | 107.8 | 3.826 | 981.655 | 32.0138 | 13.4308
2020-02-27 10:30:00 | 3.276 | 128.1 | 3.589 | 148.7 | 3.133 | 139.3 | 2.913 | 125.4 | 4.251 | 981.538 | 28.968 | 11.4171
2020-02-27 10:45:00 | 3.491 | 141 | 2.983 | 162.2 | 2.289 | 159 | 2.094 | 144.1 | 4.366 | 981.838 | 28.7618 | 4.456
2020-02-27 11:00:00 | 0.7 | 54.5 | 0.681 | 39.1 | 1.221 | 353.6 | 0.838 | 13.81 | 4.576 | 981.687 | 29.5132 | 2.9263
2020-02-27 11:15:00 | 1.865 | 135.2 | 1.259 | 156.6 | 1.003 | 143.4 | 0.59 | 130.2 | 4.721 | 981.687 | 29.6499 | 3.6172
2020-02-27 11:30:00 | 3.434 | 146.8 | 3.448 | 166.3 | 3.006 | 156.7 | 2.91 | 147.9 | 4.572 | 981.39 | 29.5816 | 4.7737
2020-02-27 11:45:00 | 2.172 | 122.2 | 1.979 | 152 | 2.214 | 145.3 | 2.096 | 127.3 | 4.434 | 981.39 | 30.743 | 3.5618
2020-02-27 12:00:00 | 2.755 | 156.4 | 2.441 | 168.7 | 2.37 | 156.4 | 2.2 | 160.2 | 4.318 | 981.39 | 30.2989 | 1.1971
2020-02-27 12:15:00 | 2.62 | 164.5 | 1.957 | 173.6 | 1.765 | 175.4 | 1.643 | 166.9 | 4.067 | 980.795 | 30.8796 | 0.29189
2020-02-27 12:30:00 | 2.025 | 155.2 | 1.12 | 173 | 1.085 | 158.7 | 0.898 | 153.1 | 4.064 | 980.647 | 31.1529 | -0.070202
2020-02-27 12:45:00 | 1.733 | 147.8 | 1.44 | 162.4 | 2.161 | 154.2 | 2.05 | 153.2 | 4.225 | 980.201 | 31.9044 | -0.2882
2020-02-27 13:00:00 | 0.163 | 82.5 | 0.365 | 164.9 | 1.194 | 119.9 | 1.037 | 82.8 | 4.74 | 980.201 | 30.8796 | -0.26233
2020-02-27 13:15:00 | 0.404 | 111.2 | 1.049 | 121.9 | 1.09 | 192.3 | 0.837 | 94.5 | 5.15 | 980.201 | 30.4697 | -0.22539
2020-02-27 13:30:00 | 1.427 | 73.41 | 1.577 | 88.9 | 1.931 | 98.6 | 1.762 | 78.08 | 4.856 | 979.904 | 30.2647 | -0.26972
2020-02-27 13:45:00 | 0.606 | 73.05 | 0.568 | 111.3 | 1.101 | 70.13 | 0.793 | 104.5 | 4.73 | 979.607 | 29.2058 | -0.24016
2020-02-27 14:00:00 | 2.048 | 244.4 | 1.55 | 269.3 | 1.213 | 257.1 | 1.165 | 245.2 | 4.553 | 979.012 | 59.368 | -0.25125
2020-02-27 14:15:00 | 1.701 | 323.3 | 1.572 | 321.6 | 1.631 | 296.7 | 1.62 | 326.9 | 4.057 | 979.012 | 61.1443 | -0.24016
2020-02-27 14:30:00 | 1.826 | 308 | 1.774 | 320.7 | 1.554 | 294.4 | 1.386 | 312.5 | 3.903 | 978.715 | 62.1008 | -0.24016
2020-02-27 14:45:00 | 1.326 | 9.78 | 1.311 | 341.7 | 1.799 | 301 | 1.511 | 14.63 | 3.613 | 978.566 | 62.6815 | -0.24016
2020-02-27 15:00:00 | 2.278 | 9.69 | 2.664 | 29.04 | 2.128 | 11.35 | 2.06 | 7.846 | 3.612 | 977.972 | 62.579 | -0.25125
2020-02-27 15:15:00 | 2.175 | 14.37 | 2.275 | 34.65 | 1.927 | 12.76 | 1.752 | 10.89 | 3.333 | 977.823 | 63.1255 | -0.24016
2020-02-27 15:30:00 | 2.098 | 8.98 | 2.076 | 22.92 | 2.103 | 8.09 | 1.976 | 2.189 | 3.256 | 977.858 | 64.1503 | -0.25125
2020-02-27 15:45:00 | 1.762 | 6.448 | 2.334 | 21.64 | 2.258 | 7.134 | 2.08 | 16.43 | 3.227 | 977.772 | 63.4085 | -0.28081
2020-02-27 16:00:00 | 1.564 | 356 | 1.996 | 17.31 | 2.057 | 0.941 | 2.034 | 354.6 | 3.298 | 978.089 | 63.3458 | -0.28081
2020-02-27 16:15:00 | 1.575 | 336.6 | 1.908 | 4.597 | 2.116 | 355.5 | 2.129 | 332.3 | 3.335 | 978.12 | 63.2119 | -0.28081
2020-02-27 16:30:00 | 1.937 | 2.545 | 2.269 | 32.72 | 2.563 | 24 | 2.551 | 347.7 | 3.365 | 977.824 | 62.9726 | -0.28081
2020-02-27 16:45:00 | 1.25 | 16.08 | 2.044 | 27.15 | 2.563 | 345.2 | 2.386 | 2.324 | 3.438 | 978.122 | 62.3569 | 1.1232
2020-02-27 17:00:00 | 1.49 | 8.57 | 2.479 | 31.73 | 2.453 | 9.62 | 2.399 | 351.7 | 3.235 | 977.528 | 62.2894 | 0.69833
2020-02-27 17:15:00 | 1.463 | 356.1 | 1.93 | 26.84 | 2.397 | 5.037 | 2.271 | 338 | 3.055 | 977.528 | 62.9375 | 0.88307
2020-02-27 17:30:00 | 1.828 | 355.9 | 2.324 | 19.79 | 2.398 | 15.38 | 2.34 | 337.4 | 3.037 | 977.528 | 61.9113 | 1.2452
2020-02-27 17:45:00 | 2.241 | 352.2 | 2.641 | 21.54 | 3.034 | 11.54 | 3.152 | 343.8 | 2.922 | 977.528 | 63.1401 | 1.6996
2020-02-27 18:00:00 | 2.722 | 356.3 | 2.958 | 10.73 | 3.311 | 6.433 | 3.432 | 355.5 | 2.838 | 977.506 | 58.9731 | 1.3375
2020-02-27 18:15:00 | 3.184 | 357.7 | 3.313 | 11.71 | 3.242 | 7.189 | 3.725 | 359.8 | 2.788 | 977.23 | 60.7533 | 1.09
2020-02-27 18:30:00 | 2.903 | 359.4 | 3.088 | 3.521 | 3.013 | 344.1 | 3.01 | 3.122 | 2.72 | 977.215 | 61.0964 | 0.53206
2020-02-27 18:45:00 | 2.067 | 49.58 | 3.124 | 65.83 | 2.69 | 57.31 | 2.658 | 54.8 | 1.95 | 977.377 | 71.8947 | 0.1404
2020-02-27 19:00:00 | 2.213 | 39.15 | 2.919 | 54.54 | 2.785 | 29.75 | 2.724 | 48.68 | 1.294 | 977.082 | 78.6263 | 0.070202
2020-02-27 19:15:00 | 0.615 | 32.86 | 1.797 | 48.49 | 1.849 | 3.123 | 1.731 | 23.82 | 0.709 | 976.933 | 86.8614 | -0.022169
2020-02-27 19:30:00 | 0.61 | 51.36 | 1.409 | 49.21 | 1.854 | 17.92 | 1.805 | 61.55 | 0.439 | 976.636 | 92.6106 | -0.18474
2020-02-27 19:45:00 | 1.606 | 44.24 | 2.081 | 49.11 | 2.342 | 31.39 | 2.363 | 58.22 | -0.041 | 976.339 | 97.3038 | -0.014779
2020-02-27 20:00:00 | 2.163 | 60.81 | 2.479 | 69.56 | 2.472 | 47.1 | 2.554 | 76.98 | -0.216 | 976.311 | 98.9914 | -0.24755
2020-02-27 20:15:00 | 1.675 | 65.36 | 2.203 | 70.62 | 2.352 | 47.54 | 2.371 | 76.49 | -0.28 | 976.043 | 99.6069 | -0.24016
2020-02-27 20:30:00 | 1.603 | 79.15 | 2.178 | 87.1 | 2.978 | 48.23 | 3.035 | 96.7 | -0.279 | 976.043 | 99.9487 | -0.26603
2020-02-27 20:45:00 | 1.249 | 74.52 | 2.175 | 81.3 | 2.741 | 49 | 2.867 | 84.1 | -0.28 | 975.448 | 100 | -0.22539
2020-02-27 21:00:00 | 1.15 | 79.57 | 1.661 | 83.4 | 2.721 | 71.26 | 2.849 | 86.4 | -0.277 | 975.448 | 100 | -0.26972
2020-02-27 21:15:00 | 0.749 | 94.3 | 1.171 | 83.6 | 1.836 | 96.3 | 1.915 | 104.7 | -0.106 | 975.448 | 100 | -0.30667
2020-02-27 21:30:00 | 1.615 | 108.2 | 2.211 | 111.6 | 2.904 | 110 | 3.028 | 116 | 0.021 | 975.448 | 99.4702 | -0.28081
2020-02-27 21:45:00 | 0.233 | 90.8 | 0.294 | 115.9 | 1.19 | 104.7 | 1.267 | 118.1 | 0.061 | 974.854 | 99.4017 | -0.26233
2020-02-27 22:00:00 | 1.925 | 99.3 | 2.127 | 111.2 | 2.182 | 90.5 | 2.215 | 109.2 | -0.006 | 974.854 | 99.5042 | -0.26233
2020-02-27 22:15:00 | 1.117 | 111 | 1.125 | 135 | 1.902 | 114.6 | 1.911 | 121.3 | 0.008 | 974.854 | 99.0596 | -0.24386
2020-02-27 22:30:00 | 0 | 113.2 | 0.092 | 144.8 | 0.877 | 130 | 1.073 | 133.8 | -0.005 | 974.854 | 99.1965 | -0.24386
2020-02-27 22:45:00 | 0 | 126.5 | 0.015 | 145.5 | 0.922 | 130 | 0.968 | 139 | -0.055 | 974.705 | 99.4702 | -0.24386
2020-02-27 23:00:00 | 0.033 | 96 | 0.441 | 136.7 | 2.057 | 135.4 | 2.134 | 112.7 | -0.142 | 974.407 | 99.8099 | -0.18844
2020-02-27 23:15:00 | 2.398 | 112.5 | 2.541 | 125.2 | 2.97 | 111.8 | 3.053 | 119.7 | -0.101 | 974.259 | 100 | -0.14779
2020-02-27 23:30:00 | 0.704 | 133.4 | 1.143 | 138.7 | 1.79 | 131 | 1.795 | 134.4 | -0.254 | 974.259 | 100 | 0.018474
2020-02-27 23:45:00 | 0 | 88.6 | 0 | 145 | 0.765 | 131 | 0.795 | 105.8 | -0.276 | 973.664 | 100 | -0.15149