## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-28 00:00:00 | 1.839 | 85.3 | 2.436 | 87 | 3.064 | 72.34 | 3.28 | 102.3 | -0.458 | 973.367 | 100 | -0.022169
2020-02-28 00:15:00 | 1.872 | 113.5 | 2.212 | 121.3 | 2.741 | 109.8 | 2.806 | 126 | -0.401 | 973.367 | 100 | 0.0073897
2020-02-28 00:30:00 | 0 | 135.3 | 0.39 | 143.4 | 1.501 | 147.3 | 1.716 | 121.9 | -0.369 | 973.367 | 100 | -0.10346
2020-02-28 00:45:00 | 0.887 | 110.9 | 1.475 | 119.5 | 2.215 | 103.2 | 2.378 | 112.9 | -0.33 | 973.069 | 100 | -0.26233
2020-02-28 01:00:00 | 0.467 | 129.4 | 0.613 | 142.9 | 1.581 | 133.1 | 1.718 | 126.3 | -0.347 | 973.069 | 100 | -0.17735
2020-02-28 01:15:00 | 0.089 | 123.5 | 0.268 | 149.5 | 1.214 | 142.2 | 1.309 | 101.1 | -0.35 | 972.772 | 100 | -0.26233
2020-02-28 01:30:00 | 0.522 | 117.3 | 1.324 | 123.4 | 2.462 | 116.2 | 2.567 | 120 | -0.381 | 972.474 | 100 | -0.29928
2020-02-28 01:45:00 | 0 | 126.8 | 0.181 | 141.5 | 2.25 | 125.1 | 2.406 | 127.3 | -0.41 | 972.474 | 100 | -0.28081
2020-02-28 02:00:00 | 1.885 | 122.3 | 2.554 | 140.2 | 3.418 | 125.7 | 3.499 | 122.7 | -0.345 | 972.474 | 100 | -0.16996
2020-02-28 02:15:00 | 2.704 | 118.2 | 3.379 | 136.6 | 4.3 | 134.1 | 4.484 | 123.8 | -0.367 | 972.028 | 100 | 0.10715
2020-02-28 02:30:00 | 3.396 | 123.2 | 4.044 | 143 | 4.641 | 131.9 | 4.871 | 121.4 | -0.146 | 971.731 | 100 | 0.62812
2020-02-28 02:45:00 | 5.393 | 116.2 | 6.419 | 135.3 | 6.628 | 122.1 | 6.776 | 121.4 | -0.162 | 971.285 | 100 | 2.3869
2020-02-28 03:00:00 | 4.928 | 120.1 | 5.655 | 137.8 | 6.228 | 128.6 | 6.328 | 123 | -0.207 | 970.988 | 100 | 5.775
2020-02-28 03:15:00 | 5.937 | 118.3 | 6.89 | 132.3 | 6.345 | 120.2 | 6.422 | 126.8 | -0.192 | 970.69 | 100 | 9.6472
2020-02-28 03:30:00 | 4.507 | 122.2 | 5.438 | 136.7 | 5.803 | 130.2 | 5.829 | 131.2 | -0.18 | 970.095 | 100 | 10.4527
2020-02-28 03:45:00 | 3.958 | 127 | 4.635 | 142.7 | 5.094 | 140 | 5.215 | 135.2 | -0.239 | 970.095 | 100 | 9.6435
2020-02-28 04:00:00 | 3.013 | 135.9 | 3.285 | 155.2 | 3.611 | 152.6 | 3.641 | 138.6 | -0.261 | 969.947 | 100 | 9.2482
2020-02-28 04:15:00 | 2.229 | 123.5 | 2.615 | 137.8 | 3.27 | 137.1 | 3.343 | 134.6 | -0.276 | 969.501 | 100 | 12.6142
2020-02-28 04:30:00 | 3.202 | 137.6 | 3.947 | 156.9 | 4.252 | 149.2 | 4.385 | 142.2 | -0.246 | 969.352 | 100 | 11.4023
2020-02-28 04:45:00 | 3.363 | 135.5 | 3.863 | 153.1 | 4.702 | 148.7 | 4.668 | 138.4 | -0.211 | 969.352 | 100 | 8.0732
2020-02-28 05:00:00 | 1.637 | 137.7 | 2.764 | 157.4 | 3.318 | 148 | 3.259 | 136.4 | -0.213 | 969.947 | 100 | 3.1554
2020-02-28 05:15:00 | 2.535 | 126 | 3.406 | 143.5 | 3.914 | 139 | 3.992 | 129.5 | -0.247 | 969.947 | 100 | 5.0619
2020-02-28 05:30:00 | 2.445 | 139.1 | 2.784 | 161.1 | 3.217 | 156.1 | 3.262 | 140.2 | -0.278 | 969.947 | 100 | 4.3304
2020-02-28 05:45:00 | 2.445 | 139.1 | 2.784 | 161.1 | 3.217 | 156.1 | 3.262 | 140.2 | -0.278 | 969.947 | 100 | 4.3119
2020-02-28 06:00:00 | 2.445 | 139.1 | 2.784 | 161.1 | 3.217 | 156.1 | 3.262 | 140.2 | -0.278 | 969.947 | 100 | 2.5014
2020-02-28 06:15:00 | 2.445 | 139.1 | 2.784 | 161.1 | 3.217 | 156.1 | 3.262 | 140.2 | -0.278 | 969.947 | 100 | 0.40643
2020-02-28 06:30:00 | 2.445 | 139.1 | 2.784 | 161.1 | 3.217 | 156.1 | 3.262 | 140.2 | -0.278 | 969.947 | 100 | -0.34362
2020-02-28 06:45:00 | 2.445 | 139.1 | 2.784 | 161.1 | 3.217 | 156.1 | 3.262 | 140.2 | -0.278 | 969.947 | 100 | -0.29928
2020-02-28 07:00:00 | 2.445 | 139.1 | 2.784 | 161.1 | 3.217 | 156.1 | 3.262 | 140.2 | -0.278 | 969.947 | 100 | -0.28081
2020-02-28 07:15:00 | 2.445 | 139.1 | 2.784 | 161.1 | 3.217 | 156.1 | 3.262 | 140.2 | -0.278 | 969.947 | 100 | 1.6627
2020-02-28 07:30:00 | 2.445 | 139.1 | 2.784 | 161.1 | 3.217 | 156.1 | 3.262 | 140.2 | -0.278 | 969.947 | 100 | 8.4871
2020-02-28 07:45:00 | 2.445 | 139.1 | 2.784 | 161.1 | 3.217 | 156.1 | 3.262 | 140.2 | -0.278 | 969.947 | 100 | 13.3347
2020-02-28 08:00:00 | 2.445 | 139.1 | 2.784 | 161.1 | 3.217 | 156.1 | 3.262 | 140.2 | -0.278 | 969.947 | 100 | 9.8578
2020-02-28 08:15:00 | 2.445 | 139.1 | 2.784 | 161.1 | 3.217 | 156.1 | 3.262 | 140.2 | -0.278 | 969.947 | 100 | 8.9674
2020-02-28 08:30:00 | 2.445 | 139.1 | 2.784 | 161.1 | 3.217 | 156.1 | 3.262 | 140.2 | -0.278 | 969.947 | 100 | 6.3958
2020-02-28 08:45:00 | 2.445 | 139.1 | 2.784 | 161.1 | 3.217 | 156.1 | 3.262 | 140.2 | -0.278 | 969.947 | 100 | 7.0461
2020-02-28 09:00:00 | 2.445 | 139.1 | 2.784 | 161.1 | 3.217 | 156.1 | 3.262 | 140.2 | -0.278 | 969.947 | 100 | 5.0508
2020-02-28 09:15:00 | 2.445 | 139.1 | 2.784 | 161.1 | 3.217 | 156.1 | 3.262 | 140.2 | -0.278 | 969.947 | 100 | 3.0667
2020-02-28 09:30:00 | 2.445 | 139.1 | 2.784 | 161.1 | 3.217 | 156.1 | 3.262 | 140.2 | -0.278 | 969.947 | 100 | 1.4151
2020-02-28 09:45:00 | 2.445 | 139.1 | 2.784 | 161.1 | 3.217 | 156.1 | 3.262 | 140.2 | -0.278 | 969.947 | 100 | 0.31406
2020-02-28 10:00:00 | 2.445 | 139.1 | 2.784 | 161.1 | 3.217 | 156.1 | 3.262 | 140.2 | -0.278 | 969.947 | 100 | -0.14779
2020-02-28 10:15:00 | 0 | 160.3 | 0 | 162.1 | 0.342 | 90 | 0.461 | 186.9 | 1.106 | 972.177 | 99.3334 | 0.0073897
2020-02-28 10:30:00 | 0.758 | 160.3 | 0.71 | 162.1 | 1.747 | 146.6 | 1.777 | 171.7 | 1.326 | 972.003 | 98.3383 | -0.0036948
2020-02-28 10:45:00 | 2.921 | 154.4 | 2.641 | 163.1 | 2.662 | 155 | 2.628 | 162.8 | 1.121 | 972.178 | 97.394 | 1.005
2020-02-28 11:00:00 | 1.928 | 156.6 | 2.012 | 163.4 | 2.327 | 152.4 | 2.314 | 157 | 1.279 | 971.88 | 96.7709 | 0.30298
2020-02-28 11:15:00 | 2.702 | 151.5 | 2.566 | 163.1 | 3.013 | 150.9 | 3.005 | 162 | 1.297 | 971.583 | 96.4634 | 0.34362
2020-02-28 11:30:00 | 2.469 | 154 | 2.316 | 163.8 | 2.584 | 162 | 2.574 | 163.5 | 1.791 | 971.88 | 94.0031 | -0.17735
2020-02-28 11:45:00 | 2.682 | 186 | 2.283 | 197.1 | 2.721 | 173.2 | 2.788 | 189.6 | 2.305 | 971.999 | 90.5455 | -0.18844
2020-02-28 12:00:00 | 3.789 | 172.7 | 3.351 | 191.8 | 3.133 | 182.6 | 3.14 | 182.6 | 2.444 | 971.731 | 91.0238 | -0.26972
2020-02-28 12:15:00 | 2.183 | 143.1 | 2.328 | 158 | 2.27 | 154.6 | 2.181 | 166.9 | 2.169 | 971.583 | 94.853 | -0.30298
2020-02-28 12:30:00 | 4.024 | 181.5 | 3.702 | 193.1 | 3.509 | 179.4 | 3.588 | 189.7 | 2.347 | 971.285 | 94.6471 | -0.20691
2020-02-28 12:45:00 | 4.218 | 182.2 | 3.868 | 195.4 | 3.848 | 175.1 | 3.916 | 186.4 | 2.236 | 970.988 | 94.6464 | -0.099761
2020-02-28 13:00:00 | 5.033 | 186.4 | 4.806 | 201.7 | 4.219 | 188.9 | 4.174 | 189.8 | 2.258 | 970.816 | 94.3714 | -0.062812
2020-02-28 13:15:00 | 4.315 | 183.3 | 4.131 | 199.1 | 3.754 | 185.9 | 3.792 | 184.6 | 2.299 | 970.393 | 95.7701 | 0.055423
2020-02-28 13:30:00 | 4.068 | 178.3 | 3.924 | 194.7 | 3.614 | 181.7 | 3.664 | 184.5 | 2.404 | 970.245 | 95.395 | -0.19213
2020-02-28 13:45:00 | 3.072 | 182.2 | 2.738 | 199.3 | 2.596 | 183.3 | 2.648 | 192.1 | 2.507 | 970.089 | 95.4646 | -0.28081
2020-02-28 14:00:00 | 3.108 | 184 | 2.612 | 196.1 | 2.652 | 178.5 | 2.699 | 186.1 | 2.679 | 970.393 | 94.7801 | -0.24386
2020-02-28 14:15:00 | 3.391 | 183.9 | 2.901 | 202.9 | 2.998 | 190.9 | 2.913 | 184.3 | 2.9 | 970.096 | 94.0313 | -0.25125
2020-02-28 14:30:00 | 3.723 | 177.1 | 3.239 | 193.1 | 2.975 | 186 | 2.921 | 181.4 | 3.021 | 969.769 | 92.4227 | -0.23278
2020-02-28 14:45:00 | 3.358 | 191.7 | 2.538 | 214.7 | 2.268 | 199.3 | 2.264 | 176.3 | 3.173 | 969.718 | 90.7429 | -0.070202
2020-02-28 15:00:00 | 2.942 | 169.2 | 2.763 | 189.4 | 2.884 | 181.4 | 2.893 | 173 | 3.329 | 969.71 | 87.3886 | 0.13301
2020-02-28 15:15:00 | 4.211 | 179.9 | 3.962 | 199.4 | 3.497 | 187.2 | 3.509 | 184 | 3.37 | 969.712 | 88.3408 | 0.53575
2020-02-28 15:30:00 | 4.466 | 190.3 | 4.075 | 199.6 | 3.532 | 187 | 3.397 | 194 | 3.41 | 969.444 | 89.2974 | 0.59487
2020-02-28 15:45:00 | 3.557 | 163.4 | 3.392 | 181.6 | 2.757 | 174 | 2.727 | 164.7 | 3.27 | 969.694 | 90.4369 | 0.51358
2020-02-28 16:00:00 | 3.677 | 160.1 | 3.517 | 173.7 | 3.296 | 155.7 | 3.275 | 168.2 | 3.337 | 969.715 | 88.7307 | -0.0036948
2020-02-28 16:15:00 | 3.478 | 147.3 | 3.275 | 158.9 | 3.214 | 150.1 | 3.165 | 151.1 | 3.341 | 969.493 | 89.5523 | 0.13671
2020-02-28 16:30:00 | 3.34 | 143.5 | 3.367 | 167 | 3.054 | 157.6 | 2.997 | 151.8 | 3.43 | 969.204 | 88.1517 | 0.32515
2020-02-28 16:45:00 | 2.33 | 125.5 | 2.444 | 140.2 | 2.79 | 131.2 | 2.811 | 130.4 | 3.53 | 969.186 | 89.7239 | 0.5025
2020-02-28 17:00:00 | 3.488 | 155.2 | 3.433 | 167.6 | 3.146 | 155.3 | 3.076 | 157.6 | 3.338 | 969.204 | 90.4092 | 0.66507
2020-02-28 17:15:00 | 3.085 | 150.3 | 2.981 | 163.3 | 3.138 | 153.4 | 3.101 | 154.9 | 3.354 | 969.204 | 91.5712 | 0.40274
2020-02-28 17:30:00 | 3.386 | 141.9 | 3.218 | 155.5 | 3.1 | 138.4 | 3.094 | 146.3 | 3.258 | 969.204 | 91.8448 | 2.8487
2020-02-28 17:45:00 | 5.462 | 155 | 5.466 | 169.8 | 4.957 | 156 | 4.92 | 160.9 | 3.298 | 969.032 | 92.0799 | 7.7813
2020-02-28 18:00:00 | 6.312 | 150 | 6.721 | 166.5 | 6.427 | 150.6 | 6.356 | 154.4 | 3.315 | 969.35 | 92.5586 | 22.0915
2020-02-28 18:15:00 | 6.481 | 146.5 | 6.399 | 165.7 | 6.081 | 154.7 | 6.114 | 149.8 | 3.324 | 969.485 | 92.3194 | 27.0832
2020-02-28 18:30:00 | 8.07 | 153.1 | 8.07 | 166.3 | 6.981 | 151.4 | 6.812 | 162.1 | 3.286 | 969.463 | 92.3214 | 28.1067
2020-02-28 18:45:00 | 7.484 | 150.1 | 7.792 | 168.4 | 7.742 | 157.2 | 7.772 | 155.9 | 3.139 | 969.48 | 91.4327 | 17.7759
2020-02-28 19:00:00 | 6.547 | 154.9 | 6.476 | 172 | 6.152 | 160.4 | 6.117 | 157.1 | 3.207 | 969.171 | 89.8301 | 16.4864
2020-02-28 19:15:00 | 5.01 | 159 | 5.56 | 174.8 | 5.694 | 162.7 | 5.719 | 162.4 | 3.26 | 969.349 | 89.388 | 9.5955
2020-02-28 19:30:00 | 4.749 | 150 | 4.515 | 169.4 | 4.817 | 161.4 | 4.93 | 155.6 | 3.31 | 969.799 | 89.728 | 13.5786
2020-02-28 19:45:00 | 6.269 | 150.9 | 6.309 | 168.3 | 6.137 | 156.6 | 6.124 | 154.3 | 3.375 | 970.095 | 89.3183 | 15.6883
2020-02-28 20:00:00 | 6.682 | 153.1 | 7.092 | 171.7 | 6.806 | 159.9 | 6.743 | 157.5 | 3.443 | 970.072 | 89.5915 | 13.1352
2020-02-28 20:15:00 | 6.432 | 144.1 | 6.591 | 160.4 | 6.561 | 144.7 | 6.476 | 149.8 | 3.425 | 970.066 | 90.4778 | 11.8641
2020-02-28 20:30:00 | 4.762 | 149.3 | 4.913 | 167.7 | 5.252 | 153.4 | 5.192 | 152 | 3.407 | 969.779 | 90.4775 | 9.5105
2020-02-28 20:45:00 | 3.723 | 148.8 | 3.891 | 161.9 | 3.965 | 149.7 | 4.092 | 161.4 | 3.422 | 969.762 | 91.2949 | 5.0656
2020-02-28 21:00:00 | 5.081 | 156.8 | 5.363 | 174.4 | 5.386 | 161.4 | 5.327 | 162.4 | 3.395 | 970.094 | 91.2288 | 10.2236
2020-02-28 21:15:00 | 4.387 | 159.7 | 4.113 | 173.8 | 3.855 | 171.2 | 3.728 | 167.5 | 3.403 | 970.37 | 91.6031 | 11.2914
2020-02-28 21:30:00 | 5.04 | 150.2 | 5.435 | 165.3 | 5.664 | 156.4 | 5.638 | 155.6 | 3.388 | 970.203 | 91.0265 | 8.9157
2020-02-28 21:45:00 | 5.99 | 156.8 | 5.524 | 171.5 | 5.569 | 156 | 5.549 | 160.3 | 3.331 | 969.799 | 91.6369 | 9.9317
2020-02-28 22:00:00 | 3.991 | 153 | 4.331 | 169.7 | 4.229 | 157.1 | 4.224 | 154.8 | 3.309 | 969.776 | 91.7401 | 10.7631
2020-02-28 22:15:00 | 3.792 | 144.9 | 4.07 | 163.5 | 4.275 | 152.9 | 4.344 | 148.3 | 3.261 | 970.072 | 91.0957 | 10.8185
2020-02-28 22:30:00 | 4.765 | 146.2 | 5.067 | 165.3 | 5.483 | 158.9 | 5.49 | 153.4 | 3.258 | 969.781 | 91.8789 | 14.3323
2020-02-28 22:45:00 | 6.09 | 155.6 | 6.066 | 170.4 | 5.661 | 158.9 | 5.661 | 159.5 | 3.191 | 970.234 | 92.5968 | 17
2020-02-28 23:00:00 | 5.929 | 155.7 | 5.576 | 167.8 | 5.437 | 152.1 | 5.48 | 159.7 | 3.122 | 969.794 | 92.1192 | 12.1043
2020-02-28 23:15:00 | 5.6 | 152.2 | 5.599 | 169.1 | 5.412 | 155.4 | 5.386 | 157.8 | 3.123 | 969.799 | 92.1905 | 7.8552
2020-02-28 23:30:00 | 4.634 | 143.9 | 4.724 | 160.8 | 5.063 | 151.1 | 5.019 | 149.9 | 3.122 | 969.782 | 91.9832 | 6.3034
2020-02-28 23:45:00 | 3.838 | 147.8 | 3.694 | 164.7 | 3.843 | 159.4 | 3.792 | 154.6 | 3.062 | 969.478 | 91.7803 | 5.1654