## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-29 00:00:00 | 4.131 | 142.6 | 4.131 | 158.5 | 3.886 | 143.7 | 3.825 | 148.5 | 3.072 | 969.192 | 90.3449 | 5.8711
2020-02-29 00:15:00 | 4.264 | 138.7 | 4.481 | 156.4 | 4.885 | 144.6 | 4.879 | 145.6 | 3.066 | 969.203 | 91.3027 | 7.9144
2020-02-29 00:30:00 | 4.474 | 145.2 | 4.333 | 162.3 | 4.641 | 144.4 | 4.558 | 151 | 3.057 | 969.204 | 91.8486 | 9.9207
2020-02-29 00:45:00 | 5.761 | 141.2 | 5.701 | 158.2 | 5.918 | 145.9 | 5.831 | 147.3 | 3.056 | 969.179 | 92.3628 | 14.2288
2020-02-29 01:00:00 | 6.062 | 147.7 | 5.969 | 162.4 | 5.943 | 150.6 | 5.859 | 152.4 | 3.039 | 969.186 | 91.8503 | 21.5705
2020-02-29 01:15:00 | 7.224 | 150.1 | 7.243 | 165 | 6.938 | 150.9 | 6.904 | 155.8 | 3.054 | 969.026 | 91.2351 | 23.7394
2020-02-29 01:30:00 | 5.886 | 148.5 | 5.816 | 163.4 | 6.249 | 148.8 | 6.173 | 153.3 | 3.056 | 968.877 | 92.3287 | 16.5307
2020-02-29 01:45:00 | 4.502 | 142.2 | 4.617 | 161.6 | 4.55 | 149.4 | 4.589 | 151.2 | 3.009 | 968.461 | 92.2945 | 7.5486
2020-02-29 02:00:00 | 3.879 | 140.4 | 4.011 | 155.4 | 4.257 | 146.2 | 4.166 | 148.9 | 3.003 | 968.61 | 92.1237 | 7.1348
2020-02-29 02:15:00 | 3.879 | 140.4 | 4.011 | 155.4 | 4.257 | 146.2 | 4.166 | 148.9 | 3.003 | 968.61 | 92.1237 | 6.8429
2020-02-29 02:30:00 | 3.879 | 140.4 | 4.011 | 155.4 | 4.257 | 146.2 | 4.166 | 148.9 | 3.003 | 968.61 | 92.1237 | 12.5255
2020-02-29 02:45:00 | 3.879 | 140.4 | 4.011 | 155.4 | 4.257 | 146.2 | 4.166 | 148.9 | 3.003 | 968.61 | 92.1237 | 12.5957
2020-02-29 03:00:00 | 3.879 | 140.4 | 4.011 | 155.4 | 4.257 | 146.2 | 4.166 | 148.9 | 3.003 | 968.61 | 92.1237 | 13.3051
2020-02-29 03:15:00 | 3.879 | 140.4 | 4.011 | 155.4 | 4.257 | 146.2 | 4.166 | 148.9 | 3.003 | 968.61 | 92.1237 | 12.7546
2020-02-29 03:30:00 | 3.879 | 140.4 | 4.011 | 155.4 | 4.257 | 146.2 | 4.166 | 148.9 | 3.003 | 968.61 | 92.1237 | 10.8481
2020-02-29 03:45:00 | 3.879 | 140.4 | 4.011 | 155.4 | 4.257 | 146.2 | 4.166 | 148.9 | 3.003 | 968.61 | 92.1237 | 8.694
2020-02-29 04:00:00 | 3.879 | 140.4 | 4.011 | 155.4 | 4.257 | 146.2 | 4.166 | 148.9 | 3.003 | 968.61 | 92.1237 | 6.2775
2020-02-29 04:15:00 | 3.879 | 140.4 | 4.011 | 155.4 | 4.257 | 146.2 | 4.166 | 148.9 | 3.003 | 968.61 | 92.1237 | 5.7418
2020-02-29 04:30:00 | 3.879 | 140.4 | 4.011 | 155.4 | 4.257 | 146.2 | 4.166 | 148.9 | 3.003 | 968.61 | 92.1237 | 5.6162
2020-02-29 04:45:00 | 3.879 | 140.4 | 4.011 | 155.4 | 4.257 | 146.2 | 4.166 | 148.9 | 3.003 | 968.61 | 92.1237 | 6.0041
2020-02-29 05:00:00 | 3.879 | 140.4 | 4.011 | 155.4 | 4.257 | 146.2 | 4.166 | 148.9 | 3.003 | 968.61 | 92.1237 | 3.1702
2020-02-29 05:15:00 | 3.879 | 140.4 | 4.011 | 155.4 | 4.257 | 146.2 | 4.166 | 148.9 | 3.003 | 968.61 | 92.1237 | 1.3117
2020-02-29 05:30:00 | 3.879 | 140.4 | 4.011 | 155.4 | 4.257 | 146.2 | 4.166 | 148.9 | 3.003 | 968.61 | 92.1237 | 3.148
2020-02-29 05:45:00 | 3.879 | 140.4 | 4.011 | 155.4 | 4.257 | 146.2 | 4.166 | 148.9 | 3.003 | 968.61 | 92.1237 | 4.4338
2020-02-29 06:00:00 | 3.879 | 140.4 | 4.011 | 155.4 | 4.257 | 146.2 | 4.166 | 148.9 | 3.003 | 968.61 | 92.1237 | 3.0298
2020-02-29 06:15:00 | 3.879 | 140.4 | 4.011 | 155.4 | 4.257 | 146.2 | 4.166 | 148.9 | 3.003 | 968.61 | 92.1237 | 6.4771
2020-02-29 06:30:00 | 3.879 | 140.4 | 4.011 | 155.4 | 4.257 | 146.2 | 4.166 | 148.9 | 3.003 | 968.61 | 92.1237 | 8.8824
2020-02-29 06:45:00 | 3.879 | 140.4 | 4.011 | 155.4 | 4.257 | 146.2 | 4.166 | 148.9 | 3.003 | 968.61 | 92.1237 | 13.2904
2020-02-29 07:00:00 | 3.879 | 140.4 | 4.011 | 155.4 | 4.257 | 146.2 | 4.166 | 148.9 | 3.003 | 968.61 | 92.1237 | 18.9583
2020-02-29 07:15:00 | 3.879 | 140.4 | 4.011 | 155.4 | 4.257 | 146.2 | 4.166 | 148.9 | 3.003 | 968.61 | 92.1237 | 26.5844
2020-02-29 07:30:00 | 3.879 | 140.4 | 4.011 | 155.4 | 4.257 | 146.2 | 4.166 | 148.9 | 3.003 | 968.61 | 92.1237 | 15.9987
2020-02-29 07:45:00 | 3.879 | 140.4 | 4.011 | 155.4 | 4.257 | 146.2 | 4.166 | 148.9 | 3.003 | 968.61 | 92.1237 | 15.692
2020-02-29 08:00:00 | 3.879 | 140.4 | 4.011 | 155.4 | 4.257 | 146.2 | 4.166 | 148.9 | 3.003 | 968.61 | 92.1237 | 22.0361
2020-02-29 08:15:00 | 3.879 | 140.4 | 4.011 | 155.4 | 4.257 | 146.2 | 4.166 | 148.9 | 3.003 | 968.61 | 92.1237 | 15.1969
2020-02-29 08:30:00 | 3.879 | 140.4 | 4.011 | 155.4 | 4.257 | 146.2 | 4.166 | 148.9 | 3.003 | 968.61 | 92.1237 | 9.9428
2020-02-29 08:45:00 | 5.074 | 151 | 5.404 | 165 | 5.597 | 152 | 5.516 | 156.1 | 2.987 | 969.799 | 92.4654 | 11.5242
2020-02-29 09:00:00 | 6.013 | 151.3 | 6.015 | 170.1 | 6.717 | 157.6 | 6.743 | 155.4 | 2.989 | 969.502 | 91.7137 | 20.3438
2020-02-29 09:15:00 | 7.241 | 148.9 | 7.355 | 168.2 | 7.144 | 156.4 | 7.084 | 151.6 | 3.032 | 969.754 | 91.6453 | 24.0276
2020-02-29 09:30:00 | 5.648 | 158.4 | 5.921 | 178.1 | 6.086 | 165.3 | 6.078 | 160.6 | 3.063 | 969.768 | 92.2566 | 22.3132
2020-02-29 09:45:00 | 6.381 | 151.8 | 6.054 | 181.2 | 6.104 | 171.5 | 6.119 | 153.7 | 3.121 | 970.083 | 91.7398 | 17.3916
2020-02-29 10:00:00 | 6.754 | 146 | 7.023 | 162.8 | 7.098 | 150.6 | 7.044 | 151.6 | 3.135 | 970.369 | 91.8062 | 21.9104
2020-02-29 10:15:00 | 4.417 | 151.4 | 4.711 | 167.7 | 4.201 | 160.3 | 4.058 | 160.4 | 3.257 | 970.542 | 92.3225 | 9.5623
2020-02-29 10:30:00 | 5.086 | 186.7 | 4.653 | 204.4 | 3.827 | 191.4 | 3.774 | 191.6 | 3.281 | 970.393 | 92.0492 | 11.4245
2020-02-29 10:45:00 | 4.903 | 167.6 | 4.561 | 185.9 | 4.064 | 179.7 | 4.039 | 169.7 | 3.355 | 970.393 | 92.8655 | 11.4134
2020-02-29 11:00:00 | 4.229 | 145.7 | 4.351 | 162.3 | 4.232 | 153.9 | 4.166 | 149.8 | 3.287 | 970.691 | 92.1166 | 6.2628
2020-02-29 11:15:00 | 4.139 | 159.5 | 4.295 | 174.8 | 4.247 | 161.5 | 4.176 | 166.7 | 3.455 | 970.393 | 91.1959 | 10.8998
2020-02-29 11:30:00 | 5.86 | 150.3 | 5.9 | 170.3 | 5.371 | 158.6 | 5.289 | 152.8 | 3.461 | 970.393 | 90.3064 | 14.1328
2020-02-29 11:45:00 | 5.674 | 142.2 | 5.757 | 160.6 | 6.03 | 146.9 | 6.02 | 147.1 | 3.532 | 970.095 | 90.1357 | 17.2401
2020-02-29 12:00:00 | 7.045 | 144.2 | 7.248 | 160.6 | 6.719 | 148.9 | 6.56 | 150.7 | 3.551 | 969.774 | 90.132 | 25.3762
2020-02-29 12:15:00 | 7.361 | 149.4 | 7.097 | 165.7 | 6.882 | 154.2 | 6.789 | 155.2 | 3.61 | 969.979 | 90.8378 | 19.4977
2020-02-29 12:30:00 | 7.515 | 152.6 | 7.391 | 168.4 | 6.938 | 157.5 | 6.825 | 156.9 | 3.771 | 969.422 | 91.0004 | 27.8739
2020-02-29 12:45:00 | 4.678 | 166 | 5.085 | 181.3 | 5.249 | 171.2 | 5.276 | 160.9 | 3.829 | 969.266 | 90.9993 | 21.4153
2020-02-29 13:00:00 | 6.018 | 155.1 | 5.885 | 173.3 | 5.475 | 161.9 | 5.441 | 160.1 | 3.85 | 968.972 | 92.1606 | 17.5912
2020-02-29 13:15:00 | 3.846 | 150.4 | 3.791 | 172.3 | 3.741 | 166.2 | 3.797 | 155.5 | 3.935 | 968.95 | 91.4774 | 16.176
2020-02-29 13:30:00 | 5.847 | 148.5 | 5.926 | 160.6 | 5.216 | 144.9 | 5.151 | 154.6 | 3.861 | 968.919 | 91.5457 | 18.9102
2020-02-29 13:45:00 | 6.332 | 149.5 | 6.194 | 167.4 | 5.964 | 155.8 | 5.887 | 155.5 | 4.008 | 968.621 | 90.8967 | 18.9435
2020-02-29 14:00:00 | 4.254 | 150.3 | 4.826 | 168.1 | 4.593 | 161.5 | 4.484 | 156.1 | 4.058 | 968.612 | 90.3843 | 15.559
2020-02-29 14:15:00 | 5.686 | 148.3 | 5.729 | 165.2 | 5.343 | 153 | 5.279 | 153.4 | 3.99 | 968.91 | 90.316 | 10.0241
2020-02-29 14:30:00 | 4.512 | 182.4 | 4.08 | 209.8 | 3.235 | 203.7 | 3.157 | 175.5 | 4.093 | 968.762 | 88.813 | 8.8602
2020-02-29 14:45:00 | 5.86 | 170.3 | 5.637 | 188.8 | 5.376 | 180.5 | 5.46 | 169.4 | 4.077 | 968.612 | 88.3006 | 13.5305
2020-02-29 15:00:00 | 4.591 | 151.3 | 4.763 | 170.1 | 4.608 | 159.4 | 4.614 | 155.1 | 4.18 | 968.463 | 88.7447 | 10.9035
2020-02-29 15:15:00 | 4.665 | 154.1 | 4.683 | 164.4 | 4.092 | 148.6 | 4.046 | 160.9 | 4.153 | 968.76 | 88.1982 | 9.88
2020-02-29 15:30:00 | 5.035 | 155.4 | 5.282 | 173.4 | 5.15 | 163 | 5.151 | 160.2 | 4.231 | 968.909 | 89.1546 | 7.1717
2020-02-29 15:45:00 | 4.831 | 151.5 | 4.617 | 168.3 | 4.234 | 154.8 | 4.186 | 157.2 | 4.156 | 968.908 | 89.2571 | 6.2
2020-02-29 16:00:00 | 4.716 | 152.5 | 4.783 | 170.4 | 4.631 | 159.5 | 4.535 | 156.9 | 4.177 | 968.908 | 89.1546 | 5.4056
2020-02-29 16:15:00 | 3.35 | 140.2 | 3.523 | 163.9 | 3.606 | 148.4 | 3.517 | 144.1 | 4.181 | 968.926 | 89.6671 | 6.0522
2020-02-29 16:30:00 | 5.186 | 148.5 | 5.476 | 166.1 | 5.267 | 150.8 | 5.253 | 153.1 | 4.09 | 968.711 | 90.0427 | 15.5073
2020-02-29 16:45:00 | 5.865 | 138.6 | 6.199 | 157.7 | 5.791 | 145 | 5.681 | 144.2 | 4.068 | 968.795 | 90.2532 | 12.7546
2020-02-29 17:00:00 | 4.869 | 139.1 | 5.095 | 157.7 | 4.929 | 146.9 | 4.841 | 142.2 | 4.07 | 968.759 | 90.1534 | 7.737
2020-02-29 17:15:00 | 2.885 | 152.2 | 3.408 | 169.1 | 3.347 | 161 | 3.354 | 156.9 | 4.072 | 969.168 | 89.3739 | 2.2649
2020-02-29 17:30:00 | 3.537 | 157.3 | 3.551 | 174.6 | 3.27 | 157.5 | 3.206 | 160.4 | 4.071 | 969.183 | 90.538 | 3.1
2020-02-29 17:45:00 | 3.812 | 147.4 | 3.85 | 166.8 | 3.718 | 152.7 | 3.657 | 154.9 | 4.03 | 969.467 | 89.1032 | 1.1602
2020-02-29 18:00:00 | 3.96 | 136.5 | 3.893 | 154.8 | 3.67 | 141.4 | 3.611 | 141.3 | 4.01 | 969.491 | 89.0031 | 1.7994
2020-02-29 18:15:00 | 2.937 | 137.7 | 3.277 | 152.7 | 2.998 | 138 | 2.974 | 146.3 | 4.019 | 969.799 | 88.5295 | 0.7131
2020-02-29 18:30:00 | 0.699 | 137.1 | 1.031 | 159.2 | 0.97 | 155.1 | 0.756 | 146.1 | 4.077 | 969.799 | 88.4261 | -0.30298
2020-02-29 18:45:00 | 2.534 | 130.1 | 2.95 | 145.1 | 2.785 | 130.2 | 2.668 | 140 | 4.031 | 969.799 | 88.7005 | -0.18474
2020-02-29 19:00:00 | 2.112 | 140.6 | 2.109 | 140 | 2.182 | 134.1 | 2.144 | 141.6 | 4.078 | 970.245 | 88.7003 | -0.20691
2020-02-29 19:15:00 | 2.158 | 108.5 | 2.589 | 119.4 | 2.484 | 99.1 | 2.518 | 114.1 | 4.08 | 970.393 | 89.2489 | -0.19583
2020-02-29 19:30:00 | 0.928 | 96.7 | 1.743 | 100.2 | 1.999 | 79.35 | 1.969 | 106.2 | 4.078 | 970.53 | 88.8733 | -0.26233
2020-02-29 19:45:00 | 0.38 | 80.5 | 0.922 | 112.7 | 1.223 | 78.72 | 1.046 | 112.3 | 4.078 | 970.987 | 89.1105 | -0.26233
2020-02-29 20:00:00 | 0.892 | 91.8 | 1.312 | 103.9 | 1.51 | 54.42 | 1.384 | 116 | 4.079 | 970.988 | 88.8716 | -0.25125
2020-02-29 20:15:00 | 0.925 | 64.88 | 1.344 | 100.3 | 1.362 | 45.07 | 1.254 | 115.1 | 4.08 | 970.969 | 89.8617 | -0.28081
2020-02-29 20:30:00 | 1.301 | 49.71 | 2.001 | 57.01 | 1.732 | 35.81 | 1.661 | 52.66 | 4.077 | 970.988 | 89.5919 | -0.28081
2020-02-29 20:45:00 | 0.399 | 45.63 | 1.8 | 55.89 | 2.375 | 40.97 | 2.308 | 50.65 | 4.013 | 971.282 | 90.9901 | -0.26972
2020-02-29 21:00:00 | 1.267 | 49.48 | 1.902 | 56.06 | 1.915 | 48.95 | 1.836 | 50.82 | 4.012 | 971.583 | 89.7593 | -0.26972
2020-02-29 21:15:00 | 1.267 | 49.48 | 1.902 | 56.06 | 1.915 | 48.95 | 1.836 | 50.82 | 4.012 | 971.434 | 89.7249 | -0.26972
2020-02-29 21:30:00 | 1.267 | 49.48 | 1.902 | 56.06 | 1.915 | 48.95 | 1.836 | 50.82 | 4.012 | 971.434 | 89.7249 | -0.26972
2020-02-29 21:45:00 | 1.267 | 49.48 | 1.902 | 56.06 | 1.915 | 48.95 | 1.836 | 50.82 | 4.012 | 971.434 | 89.7249 | -0.26972
2020-02-29 22:00:00 | 1.267 | 49.48 | 1.902 | 56.06 | 1.915 | 48.95 | 1.836 | 50.82 | 4.012 | 971.434 | 89.7249 | -0.26972
2020-02-29 22:15:00 | 1.267 | 49.48 | 1.902 | 56.06 | 1.915 | 48.95 | 1.836 | 50.82 | 4.012 | 971.434 | 89.7249 | -0.25125
2020-02-29 22:30:00 | 1.267 | 49.48 | 1.902 | 56.06 | 1.915 | 48.95 | 1.836 | 50.82 | 4.012 | 971.434 | 89.7249 | -0.24016
2020-02-29 22:45:00 | 1.267 | 49.48 | 1.902 | 56.06 | 1.915 | 48.95 | 1.836 | 50.82 | 4.012 | 971.434 | 89.7249 | -0.24016
2020-02-29 23:00:00 | 1.267 | 49.48 | 1.902 | 56.06 | 1.915 | 48.95 | 1.836 | 50.82 | 4.012 | 971.434 | 89.7249 | -0.24016
2020-02-29 23:15:00 | 1.267 | 49.48 | 1.902 | 56.06 | 1.915 | 48.95 | 1.836 | 50.82 | 4.012 | 971.434 | 89.7249 | -0.25125
2020-02-29 23:30:00 | 1.267 | 49.48 | 1.902 | 56.06 | 1.915 | 48.95 | 1.836 | 50.82 | 4.012 | 971.434 | 89.7249 | -0.2882
2020-02-29 23:45:00 | 1.267 | 49.48 | 1.902 | 56.06 | 1.915 | 48.95 | 1.836 | 50.82 | 4.012 | 971.434 | 89.7249 | -0.26233