## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-01 00:00:00 | 1.267 | 49.48 | 1.902 | 56.06 | 1.915 | 48.95 | 1.836 | 50.82 | 4.012 | 971.434 | 89.7249 | -0.28081
2020-03-01 00:15:00 | 1.267 | 49.48 | 1.902 | 56.06 | 1.915 | 48.95 | 1.836 | 50.82 | 4.012 | 971.434 | 89.7249 | -0.26972
2020-03-01 00:30:00 | 1.267 | 49.48 | 1.902 | 56.06 | 1.915 | 48.95 | 1.836 | 50.82 | 4.012 | 971.434 | 89.7249 | -0.26972
2020-03-01 00:45:00 | 1.267 | 49.48 | 1.902 | 56.06 | 1.915 | 48.95 | 1.836 | 50.82 | 4.012 | 971.434 | 89.7249 | -0.28081
2020-03-01 01:00:00 | 1.267 | 49.48 | 1.902 | 56.06 | 1.915 | 48.95 | 1.836 | 50.82 | 4.012 | 971.434 | 89.7249 | -0.25125
2020-03-01 01:15:00 | 1.267 | 49.48 | 1.902 | 56.06 | 1.915 | 48.95 | 1.836 | 50.82 | 4.012 | 971.434 | 89.7249 | -0.26972
2020-03-01 01:30:00 | 1.267 | 49.48 | 1.902 | 56.06 | 1.915 | 48.95 | 1.836 | 50.82 | 4.012 | 971.434 | 89.7249 | -0.26972
2020-03-01 01:45:00 | 1.267 | 49.48 | 1.902 | 56.06 | 1.915 | 48.95 | 1.836 | 50.82 | 4.012 | 971.434 | 89.7249 | -0.26972
2020-03-01 02:00:00 | 1.267 | 49.48 | 1.902 | 56.06 | 1.915 | 48.95 | 1.836 | 50.82 | 4.012 | 971.434 | 89.7249 | -0.26972
2020-03-01 02:15:00 | 1.267 | 49.48 | 1.902 | 56.06 | 1.915 | 48.95 | 1.836 | 50.82 | 4.012 | 971.434 | 89.7249 | -0.26972
2020-03-01 02:30:00 | 1.267 | 49.48 | 1.902 | 56.06 | 1.915 | 48.95 | 1.836 | 50.82 | 4.012 | 971.434 | 89.7249 | -0.26972
2020-03-01 02:45:00 | 1.267 | 49.48 | 1.902 | 56.06 | 1.915 | 48.95 | 1.836 | 50.82 | 4.012 | 971.434 | 89.7249 | -0.26972
2020-03-01 03:00:00 | 1.267 | 49.48 | 1.902 | 56.06 | 1.915 | 48.95 | 1.836 | 50.82 | 4.012 | 971.434 | 89.7249 | -0.25125
2020-03-01 03:15:00 | 1.267 | 49.48 | 1.902 | 56.06 | 1.915 | 48.95 | 1.836 | 50.82 | 4.012 | 971.434 | 89.7249 | -0.25125
2020-03-01 03:30:00 | 1.267 | 49.48 | 1.902 | 56.06 | 1.915 | 48.95 | 1.836 | 50.82 | 4.012 | 971.434 | 89.7249 | -0.25125
2020-03-01 03:45:00 | 1.267 | 49.48 | 1.902 | 56.06 | 1.915 | 48.95 | 1.836 | 50.82 | 4.012 | 971.434 | 89.7249 | -0.25125
2020-03-01 04:00:00 | 1.267 | 49.48 | 1.902 | 56.06 | 1.915 | 48.95 | 1.836 | 50.82 | 4.012 | 971.434 | 89.7249 | -0.26972
2020-03-01 04:15:00 | 1.267 | 49.48 | 1.902 | 56.06 | 1.915 | 48.95 | 1.836 | 50.82 | 4.012 | 971.434 | 89.7249 | -0.28081
2020-03-01 04:30:00 | 1.267 | 49.48 | 1.902 | 56.06 | 1.915 | 48.95 | 1.836 | 50.82 | 4.012 | 971.434 | 89.7249 | -0.2143
2020-03-01 04:45:00 | 1.267 | 49.48 | 1.902 | 56.06 | 1.915 | 48.95 | 1.836 | 50.82 | 4.012 | 971.434 | 89.7249 | 0.029559
2020-03-01 05:00:00 | 1.267 | 49.48 | 1.902 | 56.06 | 1.915 | 48.95 | 1.836 | 50.82 | 4.012 | 971.434 | 89.7249 | 0.18474
2020-03-01 05:15:00 | 1.267 | 49.48 | 1.902 | 56.06 | 1.915 | 48.95 | 1.836 | 50.82 | 4.012 | 971.434 | 89.7249 | 0.32884
2020-03-01 05:30:00 | 1.267 | 49.48 | 1.902 | 56.06 | 1.915 | 48.95 | 1.836 | 50.82 | 4.012 | 971.434 | 89.7249 | 0.42491
2020-03-01 05:45:00 | 1.267 | 49.48 | 1.902 | 56.06 | 1.915 | 48.95 | 1.836 | 50.82 | 4.012 | 971.434 | 89.7249 | 0.53945
2020-03-01 06:00:00 | 1.267 | 49.48 | 1.902 | 56.06 | 1.915 | 48.95 | 1.836 | 50.82 | 4.012 | 971.434 | 89.7249 | 0.76114
2020-03-01 06:15:00 | 1.267 | 49.48 | 1.902 | 56.06 | 1.915 | 48.95 | 1.836 | 50.82 | 4.012 | 971.434 | 89.7249 | 0.70941
2020-03-01 06:30:00 | 1.267 | 49.48 | 1.902 | 56.06 | 1.915 | 48.95 | 1.836 | 50.82 | 4.012 | 971.434 | 89.7249 | 1.2304
2020-03-01 06:45:00 | 1.267 | 49.48 | 1.902 | 56.06 | 1.915 | 48.95 | 1.836 | 50.82 | 4.012 | 971.434 | 89.7249 | 0.67246
2020-03-01 07:00:00 | 1.267 | 49.48 | 1.902 | 56.06 | 1.915 | 48.95 | 1.836 | 50.82 | 4.012 | 971.434 | 89.7249 | 1.1084
2020-03-01 07:15:00 | 1.267 | 49.48 | 1.902 | 56.06 | 1.915 | 48.95 | 1.836 | 50.82 | 4.012 | 971.434 | 89.7249 | 2.058
2020-03-01 07:30:00 | 1.267 | 49.48 | 1.902 | 56.06 | 1.915 | 48.95 | 1.836 | 50.82 | 4.012 | 971.434 | 89.7249 | 5.4758
2020-03-01 07:45:00 | 1.267 | 49.48 | 1.902 | 56.06 | 1.915 | 48.95 | 1.836 | 50.82 | 4.012 | 971.434 | 89.7249 | 7.1495
2020-03-01 08:00:00 | 1.267 | 49.48 | 1.902 | 56.06 | 1.915 | 48.95 | 1.836 | 50.82 | 4.012 | 971.434 | 89.7249 | 9.8874
2020-03-01 08:15:00 | 1.267 | 49.48 | 1.902 | 56.06 | 1.915 | 48.95 | 1.836 | 50.82 | 4.012 | 971.434 | 89.7249 | 10.4786
2020-03-01 08:30:00 | 1.267 | 49.48 | 1.902 | 56.06 | 1.915 | 48.95 | 1.836 | 50.82 | 4.012 | 971.434 | 89.7249 | 10.7446
2020-03-01 08:45:00 | 1.267 | 49.48 | 1.902 | 56.06 | 1.915 | 48.95 | 1.836 | 50.82 | 4.012 | 971.434 | 89.7249 | 13.5859
2020-03-01 09:00:00 | 1.267 | 49.48 | 1.902 | 56.06 | 1.915 | 48.95 | 1.836 | 50.82 | 4.012 | 971.434 | 89.7249 | 16.6083
2020-03-01 09:15:00 | 1.267 | 49.48 | 1.902 | 56.06 | 1.915 | 48.95 | 1.836 | 50.82 | 4.012 | 971.434 | 89.7249 | 18.8215
2020-03-01 09:30:00 | 4.435 | 358.8 | 5.532 | 21.61 | 6.305 | 13.55 | 6.595 | 356.1 | 3.327 | 975.592 | 99.9736 | 14.2104
2020-03-01 09:45:00 | 2.94 | 350.7 | 3.429 | 10.5 | 4.209 | 358.2 | 4.186 | 346.4 | 3.366 | 975.744 | 99.9738 | 15.9174
2020-03-01 10:00:00 | 3.553 | 1.954 | 4.507 | 27.91 | 4.356 | 357.1 | 4.55 | 352.1 | 3.416 | 975.72 | 100 | 17.9089
2020-03-01 10:15:00 | 3.442 | 358 | 4.734 | 25.88 | 4.618 | 5.454 | 4.706 | 346.2 | 3.415 | 976.338 | 100 | 20.3919
2020-03-01 10:30:00 | 3.927 | 4.577 | 4.14 | 21.6 | 4.382 | 345.2 | 4.38 | 354.3 | 3.527 | 976.339 | 99.9761 | 17.8165
2020-03-01 10:45:00 | 3.689 | 356.5 | 4.577 | 21.55 | 5.185 | 356.9 | 5.34 | 348.1 | 3.53 | 976.339 | 100 | 17.4729
2020-03-01 11:00:00 | 2.736 | 351.8 | 3.543 | 21.97 | 4.438 | 4.036 | 4.767 | 345.5 | 3.584 | 976.636 | 100 | 18.7329
2020-03-01 11:15:00 | 4.295 | 5.427 | 5.169 | 30.17 | 4.911 | 20.74 | 5.055 | 358.3 | 3.75 | 976.671 | 99.997 | 17.5653
2020-03-01 11:30:00 | 4.04 | 357.2 | 4.512 | 18.65 | 4.003 | 355.8 | 4.082 | 345.9 | 3.832 | 976.371 | 100 | 21.8365
2020-03-01 11:45:00 | 2.206 | 15.92 | 2.879 | 30.89 | 3.098 | 344.2 | 2.982 | 355.1 | 4.296 | 977.23 | 100 | 14.3877
2020-03-01 12:00:00 | 2.608 | 359.6 | 3.258 | 25.66 | 3.509 | 359.3 | 3.491 | 351.1 | 4.586 | 977.526 | 100 | 12.4221
2020-03-01 12:15:00 | 5.735 | 4.687 | 5.946 | 26.59 | 5.903 | 23.15 | 5.938 | 359.7 | 4.689 | 977.229 | 96.6447 | 21.105
2020-03-01 12:30:00 | 2.629 | 20.25 | 4.102 | 8.89 | 4.69 | 321.4 | 4.721 | 19.24 | 5.536 | 977.081 | 87.8607 | 17.133
2020-03-01 12:45:00 | 3.536 | 19.82 | 5.562 | 35.33 | 5.531 | 356.7 | 5.266 | 12.16 | 5.948 | 977.116 | 81.0654 | 16.7376
2020-03-01 13:00:00 | 3.113 | 16.3 | 3.246 | 13.35 | 3.878 | 334.7 | 3.957 | 2.645 | 5.962 | 976.93 | 77.5141 | 25.1582
2020-03-01 13:15:00 | 2.186 | 0.192 | 2.92 | 13.55 | 3.808 | 11.93 | 3.848 | 358 | 6.149 | 976.782 | 74.9176 | 24.4081
2020-03-01 13:30:00 | 3.975 | 355.3 | 4.532 | 13.35 | 5.402 | 346.6 | 5.36 | 351.2 | 6.463 | 977.227 | 75.1123 | 28.9924
2020-03-01 13:45:00 | 3.69 | 28.79 | 3.79 | 0.197 | 5.318 | 311.8 | 5.106 | 25.49 | 6.309 | 976.838 | 77.9131 | 30.597
2020-03-01 14:00:00 | 3.141 | 10.16 | 4.919 | 32.61 | 4.967 | 1.723 | 4.922 | 359.7 | 6.75 | 977.012 | 75.0449 | 20.9017
2020-03-01 14:15:00 | 6.435 | 6.143 | 7.046 | 26.52 | 7.057 | 18.18 | 7.4 | 3.969 | 5.664 | 976.092 | 75.9187 | 17.6614
2020-03-01 14:30:00 | 4.864 | 5.998 | 5.806 | 33.8 | 5.496 | 26.64 | 5.559 | 356.1 | 6.253 | 976.402 | 69.099 | 15.5738
2020-03-01 14:45:00 | 3.25 | 16.25 | 6.12 | 32.89 | 6.251 | 352.6 | 5.971 | 13.23 | 6.809 | 976.363 | 68.3428 | 18.3671
2020-03-01 15:00:00 | 4.744 | 348.6 | 5.335 | 14.46 | 6.218 | 16.24 | 6.389 | 343.6 | 5.847 | 976.37 | 73.5722 | 16.0098
2020-03-01 15:15:00 | 4.53 | 340.5 | 5 | 335.6 | 4.326 | 315 | 4.133 | 359.5 | 7.238 | 977.244 | 69.684 | 14.166
2020-03-01 15:30:00 | 4.702 | 1.806 | 5.591 | 33.01 | 5.821 | 22.81 | 6.066 | 350.9 | 6.501 | 977.015 | 64.3114 | 15.0011
2020-03-01 15:45:00 | 3.221 | 348.2 | 3.331 | 359.9 | 3.593 | 338.4 | 3.802 | 340.3 | 7.113 | 977.226 | 63.3555 | 20.8389
2020-03-01 16:00:00 | 4.295 | 357.4 | 4.637 | 11.66 | 4.969 | 346 | 5.047 | 350.6 | 7.297 | 976.929 | 61.3757 | 26.9096
2020-03-01 16:15:00 | 2.652 | 7.106 | 4.535 | 31.77 | 4.445 | 355.6 | 4.38 | 346.1 | 6.941 | 977.226 | 53.4221 | 28.2545
2020-03-01 16:30:00 | 4.545 | 357 | 4.734 | 16.9 | 5.04 | 4.251 | 5.08 | 348.1 | 6.995 | 977.226 | 57.1429 | 25.6385
2020-03-01 16:45:00 | 4.218 | 14.54 | 8.22 | 32.6 | 7.164 | 20.39 | 6.376 | 16.12 | 6.723 | 976.632 | 60.3858 | 26.7314
2020-03-01 17:00:00 | 5.589 | 6.786 | 6.959 | 27.08 | 5.954 | 16.61 | 5.918 | 2.844 | 6.566 | 976.516 | 59.9079 | 25.0526
2020-03-01 17:15:00 | 5.582 | 7.618 | 6.092 | 26.77 | 6.193 | 19.37 | 6.275 | 5.796 | 6.433 | 976.466 | 55.8547 | 23.9759
2020-03-01 17:30:00 | 6.121 | 8.6 | 6.877 | 27.26 | 6.116 | 17.8 | 6.007 | 8.28 | 6.367 | 976.037 | 55.3844 | 23.599
2020-03-01 17:45:00 | 4.849 | 15.38 | 7.838 | 32.52 | 7.574 | 18.31 | 7.005 | 17.59 | 6.224 | 976.366 | 54.9769 | 18.6996
2020-03-01 18:00:00 | 3.802 | 15.92 | 6.424 | 33.38 | 6.523 | 17.26 | 5.88 | 18.71 | 6.038 | 976.623 | 57.5721 | 15.7253
2020-03-01 18:15:00 | 4.254 | 22.46 | 7.153 | 36.42 | 7.591 | 27.73 | 7.466 | 26.5 | 5.909 | 976.337 | 58.852 | 12.241
2020-03-01 18:30:00 | 3.243 | 29.96 | 6.02 | 48.7 | 6.559 | 48.59 | 6.539 | 32.05 | 5.795 | 976.337 | 54.8591 | 10.2532
2020-03-01 18:45:00 | 2.868 | 24.7 | 5.415 | 40.55 | 5.608 | 33.91 | 5.607 | 28.6 | 5.739 | 976.337 | 53.0828 | 8.7827
2020-03-01 19:00:00 | 2.642 | 34.83 | 4.627 | 50.89 | 5.526 | 45.57 | 5.62 | 38.98 | 5.742 | 976.486 | 50.6917 | 7.0239
2020-03-01 19:15:00 | 2.3 | 37.16 | 3.057 | 53.51 | 3.308 | 40.34 | 3.31 | 43.27 | 6.023 | 976.635 | 48.5739 | 3.0815
2020-03-01 19:30:00 | 3.414 | 45.81 | 4.333 | 63.17 | 4.687 | 44.86 | 4.782 | 49.23 | 6.011 | 976.636 | 50.6234 | 2.6714
2020-03-01 19:45:00 | 2.723 | 45.52 | 4.154 | 62.06 | 4.883 | 45.79 | 4.92 | 46.86 | 5.894 | 976.834 | 50.8284 | 3.6099
2020-03-01 20:00:00 | 3.235 | 48.63 | 4.039 | 63.8 | 4.29 | 47.49 | 4.428 | 54.02 | 5.981 | 976.959 | 51.102 | 2.8413
2020-03-01 20:15:00 | 2.394 | 61.62 | 2.73 | 76.62 | 2.947 | 57.07 | 2.977 | 62.69 | 5.957 | 977.292 | 51.5799 | 0.96066
2020-03-01 20:30:00 | 2.666 | 49.42 | 3.218 | 66.47 | 3.677 | 45.45 | 3.73 | 54.9 | 5.91 | 977.349 | 52.6739 | 0.20322
2020-03-01 20:45:00 | 2.135 | 66.1 | 2.574 | 79.76 | 2.637 | 73.39 | 2.511 | 63.34 | 5.952 | 977.59 | 51.6507 | -0.066507
2020-03-01 21:00:00 | 2.099 | 72.22 | 2.439 | 80.2 | 2.668 | 73.21 | 2.691 | 76.48 | 5.957 | 977.698 | 51.0398 | -0.22539
2020-03-01 21:15:00 | 1.607 | 91.7 | 2.157 | 82.3 | 2.299 | 106.9 | 2.264 | 92.8 | 5.892 | 978.086 | 51.0429 | -0.22539
2020-03-01 21:30:00 | 1.831 | 92.3 | 2.306 | 109.7 | 2.551 | 104.9 | 2.498 | 92.5 | 5.932 | 978.084 | 50.3635 | -0.19583
2020-03-01 21:45:00 | 2.02 | 87.3 | 2.201 | 102.6 | 2.411 | 102.1 | 2.401 | 87.2 | 6.126 | 978.42 | 49.335 | -0.22169
2020-03-01 22:00:00 | 2.119 | 83.1 | 2.311 | 105 | 2.339 | 95.5 | 2.279 | 84.4 | 6.144 | 978.223 | 47.6975 | -0.26233
2020-03-01 22:15:00 | 2.196 | 100.9 | 2.357 | 115.2 | 2.35 | 116.7 | 2.337 | 101.9 | 6.122 | 978.349 | 47.7603 | -0.28081
2020-03-01 22:30:00 | 0.861 | 115 | 1.039 | 126 | 1.303 | 135 | 1.093 | 99.9 | 5.821 | 978.39 | 50.5629 | -0.28081
2020-03-01 22:45:00 | 1.731 | 144.8 | 1.958 | 126.9 | 1.589 | 156.5 | 1.362 | 116.3 | 5.706 | 978.417 | 50.5669 | -0.28081
2020-03-01 23:00:00 | 1.803 | 163.6 | 1.971 | 147.3 | 2.072 | 166.1 | 1.922 | 156.2 | 5.581 | 978.42 | 50.6352 | -0.28081
2020-03-01 23:15:00 | 1.759 | 172.7 | 1.884 | 170.9 | 1.933 | 170.9 | 1.759 | 169.2 | 5.508 | 978.42 | 50.2273 | -0.28081
2020-03-01 23:30:00 | 1.577 | 166.8 | 1.802 | 171.3 | 1.597 | 161.6 | 1.362 | 169.2 | 5.652 | 978.42 | 49.545 | -0.28081
2020-03-01 23:45:00 | 1.405 | 166.9 | 1.687 | 171.3 | 1.439 | 176.1 | 1.217 | 169.2 | 5.667 | 978.42 | 50.1586 | -0.28081