## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-02 00:00:00 | 1.652 | 169.9 | 1.863 | 171.3 | 1.76 | 170.8 | 1.596 | 169.4 | 5.652 | 978.717 | 50.638 | -0.29928
2020-03-02 00:15:00 | 1.304 | 169.3 | 1.592 | 171.3 | 1.866 | 183.1 | 1.744 | 169.3 | 5.584 | 978.532 | 50.9104 | -0.28081
2020-03-02 00:30:00 | 1.048 | 159.3 | 1.677 | 171.3 | 1.734 | 183.1 | 1.563 | 168.9 | 5.535 | 978.717 | 50.6362 | -0.28081
2020-03-02 00:45:00 | 0.954 | 159.2 | 1.487 | 171.3 | 1.721 | 177.5 | 1.543 | 168.9 | 5.582 | 978.715 | 50.7737 | -0.26233
2020-03-02 01:00:00 | 1.279 | 156.5 | 1.802 | 170.8 | 1.515 | 149 | 1.359 | 161.3 | 5.717 | 978.717 | 50.0223 | -0.28081
2020-03-02 01:15:00 | 2.13 | 145 | 2.157 | 170.5 | 2.103 | 152.2 | 1.955 | 131.3 | 5.448 | 978.705 | 51.5949 | -0.28081
2020-03-02 01:30:00 | 2.158 | 141 | 2.518 | 169.9 | 2.65 | 144.2 | 2.521 | 141.6 | 5.455 | 978.717 | 50.6387 | -0.24016
2020-03-02 01:45:00 | 2.265 | 154.2 | 2.753 | 169.9 | 2.668 | 150.4 | 2.554 | 155.4 | 5.698 | 978.717 | 50.776 | -0.26233
2020-03-02 02:00:00 | 2.211 | 158.8 | 2.692 | 170 | 2.675 | 155.1 | 2.574 | 158.1 | 5.58 | 978.717 | 49.7478 | -0.25125
2020-03-02 02:15:00 | 2.551 | 157.7 | 2.891 | 170.1 | 2.797 | 155.9 | 2.694 | 158.1 | 5.583 | 978.717 | 49.6107 | -0.28081
2020-03-02 02:30:00 | 2.74 | 161.9 | 3.042 | 170.6 | 3.118 | 160.9 | 3.022 | 160.8 | 5.441 | 978.688 | 51.0471 | -0.28081
2020-03-02 02:45:00 | 2.852 | 165.6 | 3.218 | 170.9 | 3.102 | 159.8 | 3 | 169.3 | 5.384 | 978.552 | 50.8077 | -0.26233
2020-03-02 03:00:00 | 2.495 | 159.2 | 3.103 | 170.9 | 2.975 | 156.8 | 2.938 | 169.2 | 5.378 | 978.364 | 51.9319 | -0.26233
2020-03-02 03:15:00 | 2.025 | 139.3 | 2.39 | 169.7 | 2.38 | 137.5 | 2.241 | 146.9 | 5.45 | 978.122 | 52.0355 | -0.26233
2020-03-02 03:30:00 | 2.508 | 128.2 | 2.756 | 133.7 | 2.629 | 127.4 | 2.536 | 127.7 | 5.494 | 978.107 | 51.662 | -0.28081
2020-03-02 03:45:00 | 2.502 | 128.1 | 2.848 | 134.1 | 2.762 | 136.1 | 2.648 | 130.1 | 5.591 | 978.119 | 51.7998 | -0.28081
2020-03-02 04:00:00 | 2.454 | 133.8 | 2.84 | 134.2 | 2.904 | 134 | 2.788 | 137.3 | 5.296 | 977.806 | 52.6175 | -0.29928
2020-03-02 04:15:00 | 2.38 | 151.3 | 3.088 | 135.8 | 2.866 | 151.2 | 2.75 | 152 | 5.113 | 977.825 | 53.0973 | -0.26972
2020-03-02 04:30:00 | 2.727 | 163.3 | 2.858 | 135.8 | 2.802 | 155.8 | 2.686 | 160.5 | 5.139 | 978.122 | 52.0721 | -0.28081
2020-03-02 04:45:00 | 2.722 | 156.4 | 2.912 | 135.9 | 2.963 | 156.1 | 2.862 | 161.2 | 5.108 | 977.974 | 53.2022 | -0.26233
2020-03-02 05:00:00 | 2.518 | 157.4 | 3.062 | 135.9 | 2.945 | 156.2 | 2.872 | 161.3 | 5.039 | 978.122 | 53.7134 | -0.26233
2020-03-02 05:15:00 | 2.822 | 160.1 | 3.405 | 136 | 3.232 | 155.8 | 3.132 | 162.2 | 4.855 | 978.122 | 54.5317 | -0.25125
2020-03-02 05:30:00 | 3.005 | 158.1 | 3.681 | 136.2 | 3.431 | 153.5 | 3.326 | 167.5 | 4.663 | 978.122 | 53.9166 | 0.16996
2020-03-02 05:45:00 | 3.064 | 155.4 | 3.745 | 136.3 | 3.525 | 150.9 | 3.422 | 167.2 | 4.626 | 978.122 | 54.5319 | 0.58748
2020-03-02 06:00:00 | 3.493 | 153.1 | 4.036 | 136.4 | 3.733 | 150.9 | 3.588 | 166.4 | 4.501 | 978.118 | 54.3942 | 1.5186
2020-03-02 06:15:00 | 3.128 | 149.1 | 3.656 | 136.3 | 3.652 | 148.3 | 3.575 | 161.1 | 4.55 | 978.122 | 55.5537 | 2.5827
2020-03-02 06:30:00 | 3.039 | 142.8 | 3.359 | 136.3 | 3.611 | 149.7 | 3.552 | 147 | 4.451 | 978.122 | 55.9658 | 3.6579
2020-03-02 06:45:00 | 3.159 | 143 | 3.461 | 136.5 | 3.756 | 138.4 | 3.725 | 152.8 | 4.411 | 978.122 | 55.9656 | 3.3586
2020-03-02 07:00:00 | 3.026 | 148.9 | 3.362 | 136.6 | 3.876 | 137.6 | 3.85 | 157.4 | 4.557 | 978.416 | 55.6224 | 3.5544
2020-03-02 07:15:00 | 3.192 | 148.2 | 3.505 | 136.7 | 4.008 | 142.8 | 4 | 155.9 | 4.463 | 978.566 | 56.3772 | 4.0422
2020-03-02 07:30:00 | 3.432 | 146 | 3.709 | 137.1 | 4.494 | 141.7 | 4.415 | 154.8 | 4.537 | 978.709 | 56.4458 | 5.3243
2020-03-02 07:45:00 | 2.931 | 147.9 | 3.326 | 137.4 | 4.242 | 156.5 | 4.288 | 153.2 | 4.624 | 979.078 | 56.9148 | 8.221
2020-03-02 08:00:00 | 3.013 | 151.5 | 3.085 | 175.2 | 3.504 | 170.9 | 3.527 | 150.2 | 4.443 | 979.119 | 57.387 | 9.6251
2020-03-02 08:15:00 | 4.254 | 145.5 | 4.3 | 165.8 | 4.896 | 157.3 | 4.876 | 149.8 | 4.344 | 979.013 | 57.5918 | 13.3421
2020-03-02 08:30:00 | 4.969 | 148.3 | 4.929 | 167.1 | 5.727 | 156.5 | 5.689 | 150.7 | 4.419 | 979.309 | 59.4022 | 14.6168
2020-03-02 08:45:00 | 6.008 | 149.3 | 6.143 | 168.3 | 6.462 | 157.3 | 6.44 | 152.5 | 4.409 | 979.607 | 60.0854 | 16.6711
2020-03-02 09:00:00 | 6.626 | 146.3 | 6.639 | 163.8 | 6.778 | 150 | 6.728 | 150.6 | 4.458 | 979.607 | 59.778 | 18.5038
2020-03-02 09:15:00 | 5.804 | 150.2 | 5.473 | 172.1 | 5.343 | 165.2 | 5.355 | 151 | 4.509 | 979.607 | 60.3928 | 19.3942
2020-03-02 09:30:00 | 5.577 | 150.1 | 5.271 | 168.5 | 5.46 | 165.2 | 5.432 | 152.9 | 4.637 | 979.607 | 60.2562 | 21.1087
2020-03-02 09:45:00 | 5.469 | 150.5 | 5.565 | 167.1 | 5.76 | 157.5 | 5.702 | 158.2 | 4.952 | 979.309 | 60.4612 | 16.8448
2020-03-02 10:00:00 | 6.557 | 150 | 6.516 | 163.3 | 5.59 | 148.8 | 5.434 | 158.2 | 4.908 | 979.607 | 60.4612 | 15.3077
2020-03-02 10:15:00 | 6.989 | 150.3 | 6.856 | 165.2 | 6.475 | 152.6 | 6.338 | 157.1 | 5.112 | 979.607 | 62.8523 | 14.7498
2020-03-02 10:30:00 | 6.662 | 143 | 6.66 | 159.7 | 6.933 | 147.8 | 6.756 | 151.6 | 5.347 | 979.607 | 61.41 | 20.7909
2020-03-02 10:45:00 | 7.321 | 144 | 7.465 | 158.2 | 6.902 | 143.2 | 6.667 | 151.6 | 5.481 | 979.74 | 60.5773 | 22.7307
2020-03-02 11:00:00 | 8.13 | 141.8 | 8 | 157.7 | 7.286 | 148.2 | 7.12 | 150.7 | 5.78 | 979.782 | 60.9869 | 36.9026
2020-03-02 11:15:00 | 8.44 | 140.5 | 8.68 | 155.8 | 8.82 | 142.3 | 8.64 | 146.7 | 5.751 | 979.055 | 62.2845 | 48.0367
2020-03-02 11:30:00 | 9.92 | 149.9 | 10.05 | 164.6 | 9.53 | 151.7 | 9.45 | 156.6 | 5.914 | 979.144 | 64.8114 | 49.7031
2020-03-02 11:45:00 | 9.1 | 153.6 | 9.25 | 167.8 | 8.35 | 157.9 | 8.23 | 161.3 | 6.243 | 979.139 | 44.6645 | 54.908
2020-03-02 12:00:00 | 8.3 | 159.8 | 8.11 | 182.4 | 7.731 | 173.3 | 7.744 | 158.8 | 6.441 | 978.869 | 44.7328 | 53.5015
2020-03-02 12:15:00 | 7.535 | 173.2 | 7.051 | 185.3 | 7.057 | 175 | 7.219 | 176.2 | 6.837 | 979.307 | 48.2841 | 58.054
2020-03-02 12:30:00 | 8.27 | 161.1 | 8.47 | 176.2 | 8.28 | 169.5 | 8.29 | 165 | 7.086 | 978.713 | 38.4839 | 61.536
2020-03-02 12:45:00 | 9.63 | 153.3 | 9.26 | 171 | 8.38 | 160.5 | 8.17 | 158.5 | 6.713 | 978.119 | 53.3335 | 50.4537
2020-03-02 13:00:00 | 8.3 | 162.5 | 8.47 | 175.8 | 7.747 | 170.5 | 7.734 | 169.5 | 7.28 | 977.97 | 46.1616 | 49.7133
2020-03-02 13:15:00 | 9.63 | 179.2 | 9.32 | 193.5 | 8.93 | 182.2 | 9.06 | 181.9 | 7.002 | 977.789 | 50.496 | 46.7517
2020-03-02 13:30:00 | 9.2 | 139.5 | 9.54 | 156.8 | 9 | 143.8 | 8.87 | 145.6 | 7.061 | 977.524 | 51.2123 | 43.4807
2020-03-02 13:45:00 | 7.88 | 153.2 | 8.58 | 168 | 8.42 | 163.3 | 8.31 | 162.7 | 7.405 | 977.611 | 54.763 | 50.9231
2020-03-02 14:00:00 | 8.04 | 157.8 | 7.785 | 173.6 | 7.134 | 165.9 | 7.059 | 162.1 | 7.303 | 977.186 | 55.2087 | 46.2599
2020-03-02 14:15:00 | 7.982 | 175.4 | 8.01 | 187.3 | 7.401 | 170.7 | 7.303 | 179.4 | 7.161 | 976.83 | 54.0135 | 49.6883
2020-03-02 14:30:00 | 8.9 | 168 | 8.68 | 185.1 | 8.22 | 184.4 | 8.14 | 171.8 | 7.573 | 976.474 | 49.7786 | 49.851
2020-03-02 14:45:00 | 8.21 | 168.5 | 8.2 | 187.2 | 7.589 | 179.2 | 7.767 | 170.8 | 7.393 | 976.755 | 48.4807 | 52.0731
2020-03-02 15:00:00 | 8.66 | 182.4 | 8.43 | 199.3 | 7.968 | 190.7 | 7.958 | 186 | 7.755 | 976.804 | 49.2318 | 59.6084
2020-03-02 15:15:00 | 8.53 | 173.6 | 7.779 | 190.7 | 7.51 | 182.1 | 7.477 | 177.4 | 7.484 | 976.352 | 49.3016 | 62.8796
2020-03-02 15:30:00 | 8.67 | 171.7 | 8.63 | 180 | 7.991 | 170.7 | 8.09 | 180.4 | 7.55 | 975.646 | 49.0959 | 68.4109
2020-03-02 15:45:00 | 10.5 | 164.2 | 9.91 | 178.8 | 9.35 | 170.6 | 9.14 | 170.7 | 7.34 | 975.714 | 51.4852 | 72.2851
2020-03-02 16:00:00 | 9.73 | 171.2 | 9.82 | 189 | 9.23 | 179.1 | 9.07 | 173.1 | 7.366 | 976.039 | 52.6492 | 65.4394
2020-03-02 16:15:00 | 10.33 | 177.3 | 9.48 | 196.9 | 8.73 | 191.5 | 8.81 | 177.4 | 7.379 | 975.445 | 51.2197 | 73.1319
2020-03-02 16:30:00 | 9.94 | 172 | 9.87 | 189.4 | 9.12 | 180.2 | 9.06 | 172.5 | 7.31 | 975.742 | 50.8793 | 65.8791
2020-03-02 16:45:00 | 10.97 | 176 | 10.31 | 193.5 | 9.5 | 180.8 | 9.45 | 175.8 | 7.305 | 975.148 | 50.0597 | 71.4493
2020-03-02 17:00:00 | 11.93 | 182.6 | 11.42 | 198 | 10.05 | 187.3 | 10.02 | 180.4 | 7.171 | 974.256 | 51.7671 | 77.0396
2020-03-02 17:15:00 | 10.79 | 172.3 | 10.01 | 185.8 | 8.74 | 174.8 | 8.73 | 173.5 | 6.933 | 974.85 | 54.2257 | 74.1403
2020-03-02 17:30:00 | 10.78 | 174.3 | 9.89 | 189 | 9.07 | 182.3 | 9.13 | 176.3 | 6.788 | 974.508 | 54.0891 | 76.6118
2020-03-02 17:45:00 | 11.95 | 175.6 | 11.28 | 190 | 10.24 | 178.2 | 10.08 | 178.2 | 6.653 | 974.256 | 55.1828 | 79.7939
2020-03-02 18:00:00 | 13.1 | 177 | 12.57 | 195.6 | 11.75 | 187.1 | 11.75 | 177.4 | 6.418 | 974.257 | 56.834 | 81.9036
2020-03-02 18:15:00 | 12.28 | 173.2 | 11.54 | 195 | 10.97 | 190.2 | 10.96 | 171.5 | 6.141 | 973.96 | 57.8991 | 78.8933
2020-03-02 18:30:00 | 11.03 | 171.8 | 10.66 | 191.2 | 9.78 | 183.4 | 9.72 | 172.1 | 5.943 | 974.257 | 57.0453 | 75.1299
2020-03-02 18:45:00 | 11.33 | 173.7 | 11.09 | 190.1 | 10.66 | 181.4 | 10.64 | 173.9 | 5.696 | 974.406 | 55.5081 | 80.2557
2020-03-02 19:00:00 | 10.37 | 166.8 | 10.01 | 183.3 | 9.39 | 174.1 | 9.38 | 170 | 5.553 | 974.257 | 53.6294 | 77.9214
2020-03-02 19:15:00 | 11.28 | 162.6 | 10.86 | 176.4 | 9.65 | 163.4 | 9.57 | 171.8 | 5.402 | 974.257 | 53.5611 | 80.1913
2020-03-02 19:30:00 | 10.07 | 168.7 | 10.02 | 182.7 | 9.38 | 169.3 | 9.4 | 169.2 | 5.278 | 973.96 | 53.4244 | 83.144
2020-03-02 19:45:00 | 11.26 | 157.9 | 11.46 | 173 | 10.85 | 161.4 | 10.78 | 164.2 | 4.972 | 973.366 | 54.4492 | 82.9493
2020-03-02 20:00:00 | 13.12 | 155 | 13.14 | 168.1 | 12.2 | 153.4 | 11.92 | 163.9 | 4.993 | 973.676 | 56.4987 | 78.3013
2020-03-02 20:15:00 | 11.2 | 160 | 11.23 | 178.6 | 11.07 | 170.3 | 11.1 | 164 | 4.822 | 973.172 | 59.1639 | 80.0467
2020-03-02 20:30:00 | 10.69 | 160.9 | 10.75 | 173.1 | 10.58 | 163.8 | 10.51 | 168.5 | 4.806 | 973.749 | 60.468 | 74.4474
2020-03-02 20:45:00 | 11.35 | 156.8 | 11.53 | 172.8 | 11.72 | 161.5 | 11.69 | 161.3 | 4.624 | 973.75 | 61.7012 | 81.0612
2020-03-02 21:00:00 | 9.89 | 164.1 | 9.81 | 180.3 | 10.06 | 173.8 | 10.25 | 168 | 4.6 | 973.91 | 61.6347 | 85.1308
2020-03-02 21:15:00 | 11.67 | 160 | 11.71 | 175 | 11.7 | 167.4 | 11.59 | 164 | 4.662 | 973.949 | 61.9786 | 84.5676
2020-03-02 21:30:00 | 12.58 | 156.5 | 12.86 | 171.2 | 12.48 | 161.5 | 12.46 | 163.6 | 4.436 | 973.656 | 63.3453 | 88.8343
2020-03-02 21:45:00 | 12.44 | 157.6 | 12.77 | 173 | 12.68 | 165.8 | 12.56 | 162.6 | 4.419 | 973.358 | 63.3461 | 88.8257
2020-03-02 22:00:00 | 11.72 | 160.4 | 12.14 | 175.8 | 12.57 | 172.2 | 12.63 | 163.1 | 4.44 | 973.366 | 62.4935 | 88.9054
2020-03-02 22:15:00 | 12.21 | 160 | 12.01 | 178.8 | 11.9 | 168.3 | 11.86 | 163.8 | 4.266 | 973.069 | 62.7657 | 90.9228
2020-03-02 22:30:00 | 12.84 | 162.6 | 12.47 | 179.3 | 11.44 | 169.8 | 11.3 | 168.5 | 4.252 | 972.772 | 63.0738 | 90.52
2020-03-02 22:45:00 | 13.65 | 164.4 | 13.3 | 182.8 | 12.66 | 173.2 | 12.79 | 169 | 4.138 | 972.177 | 63.3497 | 91.9425
2020-03-02 23:00:00 | 12.86 | 162.1 | 12.95 | 176.4 | 12.38 | 165.4 | 12.45 | 167.6 | 4.077 | 972.76 | 64.8852 | 93.79
2020-03-02 23:15:00 | 12.34 | 168.5 | 11.96 | 186.9 | 10.86 | 178.6 | 10.83 | 169.2 | 3.917 | 972.772 | 65.8775 | 91.1666
2020-03-02 23:30:00 | 12.8 | 164.2 | 12.87 | 180.8 | 12.5 | 168.7 | 12.43 | 167.7 | 3.68 | 972.462 | 67.788 | 92.2566
2020-03-02 23:45:00 | 11.72 | 163.9 | 11.69 | 182.5 | 10.98 | 174.6 | 10.87 | 167.9 | 3.633 | 972.916 | 68.4053 | 89.2712