## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-03 00:00:00 | 11.09 | 167.1 | 11.24 | 180.8 | 10.98 | 173.9 | 11.1 | 172.4 | 3.473 | 972.751 | 68.4728 | 91.4057
2020-03-03 00:15:00 | 12.19 | 162.6 | 12.09 | 177.7 | 11.42 | 165.4 | 11.53 | 166.6 | 3.5 | 972.759 | 70.5576 | 87.9225
2020-03-03 00:30:00 | 11.14 | 160.3 | 11.48 | 173.9 | 11.26 | 163.4 | 11.4 | 165.3 | 3.412 | 972.758 | 71.3453 | 82.347
2020-03-03 00:45:00 | 10.91 | 164.2 | 11.1 | 178.1 | 10.41 | 167.9 | 10.38 | 167 | 3.262 | 973.068 | 71.5496 | 79.5389
2020-03-03 01:00:00 | 11.06 | 171.1 | 10.64 | 188.7 | 10.13 | 180.6 | 10.29 | 171.4 | 3.322 | 973.067 | 70.3226 | 80.4351
2020-03-03 01:15:00 | 9.51 | 163.2 | 9.82 | 178.6 | 9.65 | 165.8 | 9.79 | 166.8 | 3.208 | 973.217 | 72.9199 | 76.4685
2020-03-03 01:30:00 | 11.06 | 162.5 | 10.69 | 179.9 | 10.81 | 174.8 | 11.05 | 167.9 | 3.09 | 973.068 | 71.553 | 75.0645
2020-03-03 01:45:00 | 9.89 | 163.6 | 9.76 | 177.8 | 9.15 | 169.5 | 9.11 | 171.9 | 2.871 | 973.366 | 74.355 | 76.572
2020-03-03 02:00:00 | 11.05 | 159.9 | 10.62 | 180.3 | 10.49 | 197.1 | 10.47 | 165 | 2.762 | 972.92 | 74.8334 | 76.7493
2020-03-03 02:15:00 | 9.85 | 160.4 | 10.16 | 175.6 | 9.82 | 178.5 | 9.77 | 166.9 | 2.438 | 973.069 | 76.747 | 72.4301
2020-03-03 02:30:00 | 9.92 | 164.4 | 9.67 | 177 | 9.18 | 162.1 | 9.33 | 169.4 | 2.312 | 972.772 | 78.4213 | 77.1779
2020-03-03 02:45:00 | 10.76 | 160.4 | 10.89 | 172.3 | 10.17 | 156.1 | 10.14 | 167.3 | 2.21 | 972.772 | 77.0203 | 75.7496
2020-03-03 03:00:00 | 10.64 | 159.9 | 10.68 | 173.3 | 10.31 | 160.1 | 10.36 | 168 | 2.141 | 972.623 | 74.15 | 73.6161
2020-03-03 03:15:00 | 10.95 | 161 | 10.89 | 173.3 | 10.64 | 157.1 | 10.59 | 165.8 | 2.083 | 972.177 | 76.747 | 74.4696
2020-03-03 03:30:00 | 10.29 | 164.2 | 10.14 | 175.8 | 9.62 | 160.8 | 9.68 | 173.6 | 1.992 | 972.177 | 75.7231 | 71.7317
2020-03-03 03:45:00 | 10.13 | 162 | 10.04 | 175.3 | 10.07 | 162.1 | 10.23 | 170.7 | 1.967 | 972.177 | 76.6812 | 68.8719
2020-03-03 04:00:00 | 10.24 | 162.5 | 10.32 | 173.9 | 9.82 | 157.4 | 9.96 | 171.3 | 1.988 | 972.177 | 76.8173 | 68.3879
2020-03-03 04:15:00 | 10.15 | 162.4 | 10.11 | 175.6 | 10.1 | 160.6 | 10.17 | 169.3 | 2.016 | 972.177 | 77.367 | 66.3984
2020-03-03 04:30:00 | 9.37 | 163.4 | 9.65 | 176.7 | 10.02 | 167.9 | 10.23 | 171.3 | 2.175 | 972.474 | 77.0953 | 62.7496
2020-03-03 04:45:00 | 9.67 | 164 | 10.1 | 175.5 | 9.71 | 158 | 9.73 | 172.9 | 2.129 | 972.177 | 75.6599 | 56.0508
2020-03-03 05:00:00 | 8.5 | 166.9 | 8.81 | 180.2 | 9.11 | 168.8 | 9.33 | 175.8 | 2.326 | 972.623 | 73.4711 | 51.4359
2020-03-03 05:15:00 | 8.69 | 168.7 | 8.58 | 181.5 | 8.32 | 165.1 | 8.48 | 179 | 2.389 | 972.474 | 73.3654 | 46.2077
2020-03-03 05:30:00 | 8.36 | 165 | 8.63 | 178 | 8.31 | 162.4 | 8.49 | 174.7 | 2.211 | 972.772 | 75.7219 | 40.2923
2020-03-03 05:45:00 | 8.15 | 163.2 | 8.56 | 175.5 | 8.07 | 163 | 8.18 | 171.8 | 2.249 | 972.772 | 74.6626 | 38.4929
2020-03-03 06:00:00 | 7.783 | 162.6 | 7.843 | 177.9 | 7.869 | 167 | 7.968 | 168.9 | 2.218 | 972.772 | 75.7219 | 31.1106
2020-03-03 06:15:00 | 6.565 | 167.9 | 6.874 | 183.5 | 6.587 | 172.9 | 6.69 | 174.3 | 2.226 | 973.217 | 75.2458 | 22.7566
2020-03-03 06:30:00 | 5.901 | 179.4 | 5.99 | 188.9 | 5.47 | 175.9 | 5.536 | 186.3 | 2.219 | 973.366 | 75.1783 | 18.138
2020-03-03 06:45:00 | 6.207 | 175.6 | 6.404 | 187.9 | 5.732 | 175.9 | 5.791 | 183.5 | 2.22 | 973.663 | 74.7672 | 15.0824
2020-03-03 07:00:00 | 5.309 | 178.3 | 5.537 | 190.4 | 5.099 | 180.4 | 5.098 | 188 | 2.133 | 973.961 | 76.2722 | 8.6164
2020-03-03 07:15:00 | 4.537 | 183.3 | 4.53 | 194 | 4.608 | 184.6 | 4.754 | 192.7 | 2.089 | 974.555 | 76.4058 | 4.7257
2020-03-03 07:30:00 | 4.211 | 195.3 | 4.292 | 208.6 | 4.097 | 197.7 | 4.281 | 200.8 | 2.147 | 974.555 | 76.645 | 4.9991
2020-03-03 07:45:00 | 4.453 | 197.7 | 4.555 | 207.5 | 4.41 | 199.3 | 4.647 | 210.7 | 2.243 | 975.15 | 76.3722 | 4.9622
2020-03-03 08:00:00 | 4.167 | 195.3 | 4.328 | 204.1 | 4.176 | 195.3 | 4.275 | 202.3 | 2.586 | 975.744 | 74.2867 | 3.3845
2020-03-03 08:15:00 | 3.667 | 201.3 | 3.607 | 208.6 | 3.522 | 189.6 | 3.779 | 212.8 | 2.978 | 976.018 | 72.782 | 2.0469
2020-03-03 08:30:00 | 4.011 | 210.8 | 3.571 | 214.8 | 3.522 | 191.3 | 3.672 | 218.5 | 3.24 | 976.487 | 71.751 | 1.3117
2020-03-03 08:45:00 | 2.972 | 217.7 | 2.485 | 203.2 | 2.558 | 181.5 | 2.604 | 241.5 | 3.448 | 976.659 | 71.5631 | 0.18105
2020-03-03 09:00:00 | 2.508 | 238.6 | 2.334 | 241.2 | 2.3 | 237.5 | 2.356 | 252.1 | 3.873 | 977.526 | 67.9078 | -0.11454
2020-03-03 09:15:00 | 2.552 | 275 | 2.827 | 288.2 | 2.517 | 267.4 | 2.434 | 278.9 | 3.528 | 977.823 | 67.6871 | -0.11454
2020-03-03 09:30:00 | 2.582 | 306.6 | 2.965 | 320.6 | 3.125 | 301.8 | 3.198 | 304.1 | 4.02 | 977.571 | 66.8602 | 0.43599
2020-03-03 09:45:00 | 3.56 | 310.5 | 3.507 | 319.2 | 3.336 | 300.7 | 3.331 | 319.8 | 4.418 | 977.802 | 66.1699 | 2.8229
2020-03-03 10:00:00 | 3.943 | 322 | 4.085 | 329.9 | 3.845 | 309.2 | 3.865 | 322.7 | 4.812 | 977.863 | 64.9953 | 7.7444
2020-03-03 10:15:00 | 4.055 | 358.2 | 4.504 | 3.018 | 4.423 | 333 | 4.44 | 356.1 | 5.252 | 978.133 | 59.1227 | 16.0098
2020-03-03 10:30:00 | 2.87 | 12.08 | 3.967 | 1.684 | 4.649 | 345.2 | 4.548 | 17.54 | 6.073 | 977.82 | 54.4803 | 21.0015
2020-03-03 10:45:00 | 3.793 | 355.6 | 5.345 | 25.62 | 5.89 | 20.75 | 6.076 | 351.2 | 5.608 | 977.819 | 49.36 | 31.7166
2020-03-03 11:00:00 | 3.002 | 28.03 | 3.438 | 35.91 | 4.19 | 336 | 4.079 | 9.35 | 6.475 | 978.265 | 43.5911 | 28.6609
2020-03-03 11:15:00 | 3.567 | 21.94 | 5.691 | 31.92 | 5.915 | 358.6 | 5.372 | 14.2 | 6.38 | 977.968 | 40.8261 | 35.7107
2020-03-03 11:30:00 | 3.23 | 355.4 | 3.944 | 11.32 | 3.775 | 339.5 | 3.636 | 343.2 | 6.742 | 978.116 | 37.9246 | 44.8286
2020-03-03 11:45:00 | 4.551 | 4.839 | 5.126 | 10.62 | 5.894 | 333.5 | 5.783 | 2.236 | 7.221 | 978.116 | 27.6146 | 46.8848
2020-03-03 12:00:00 | 6.212 | 335.5 | 6.21 | 351.9 | 6.432 | 339.5 | 6.468 | 329.5 | 7.233 | 977.671 | 25.1872 | 46.2964
2020-03-03 12:15:00 | 5.656 | 348 | 5.297 | 346.9 | 5.282 | 322.1 | 5.184 | 348.2 | 6.921 | 977.523 | 26.2126 | 49.2914
2020-03-03 12:30:00 | 4.354 | 1.151 | 4.585 | 16.97 | 6.157 | 344.9 | 6.035 | 354.4 | 7.27 | 977.523 | 26.7281 | 47.8795
2020-03-03 12:45:00 | 4.753 | 342.2 | 4.594 | 351.4 | 4.293 | 327.5 | 4.429 | 343.6 | 6.991 | 977.374 | 26.8647 | 44.9253
2020-03-03 13:00:00 | 5.865 | 317.1 | 6.396 | 327.5 | 6.772 | 317.5 | 6.906 | 319.7 | 7.051 | 977.226 | 27.5132 | 57.688
2020-03-03 13:15:00 | 5.421 | 322 | 6.184 | 332.4 | 6.2 | 321.9 | 6.425 | 320.3 | 7.228 | 977.523 | 23.5194 | 48.9011
2020-03-03 13:30:00 | 5.39 | 342 | 5.455 | 347.9 | 5.02 | 319.4 | 5.179 | 339.1 | 7.573 | 977.226 | 25.5334 | 56.5807
2020-03-03 13:45:00 | 6.113 | 333 | 6.015 | 346.2 | 5.702 | 329.2 | 5.946 | 332.9 | 6.962 | 977.226 | 23.4511 | 58.7212
2020-03-03 14:00:00 | 4.06 | 352.1 | 5.092 | 352.6 | 5.427 | 324.2 | 5.315 | 348.8 | 7.08 | 976.638 | 24.1338 | 51.5387
2020-03-03 14:15:00 | 7.022 | 318.3 | 7.754 | 330.4 | 8.09 | 317.6 | 8.08 | 319.8 | 7.377 | 977.008 | 22.9732 | 56.3096
2020-03-03 14:30:00 | 6.779 | 334.6 | 7.166 | 349.7 | 6.266 | 344.3 | 6.394 | 331.1 | 7.448 | 976.934 | 23.0756 | 52.5267
2020-03-03 14:45:00 | 7.249 | 321.3 | 7.733 | 330.6 | 7.258 | 313.1 | 7.224 | 321.5 | 7.491 | 977.227 | 23.6559 | 52.1977
2020-03-03 15:00:00 | 9.52 | 303.3 | 10.65 | 315.9 | 9.36 | 305.9 | 9.25 | 308 | 7.519 | 977.226 | 21.0275 | 52.9324
2020-03-03 15:15:00 | 6.302 | 331.7 | 6.695 | 342.1 | 6.002 | 329 | 5.903 | 328.5 | 7.715 | 977.23 | 21.9833 | 50.747
2020-03-03 15:30:00 | 7.129 | 317 | 8.78 | 324.2 | 7.492 | 317.3 | 7.606 | 323.4 | 7.581 | 977.542 | 20.652 | 59.5333
2020-03-03 15:45:00 | 5.653 | 347.1 | 5.39 | 3.055 | 5.709 | 342.4 | 5.618 | 345.7 | 7.377 | 977.226 | 19.2524 | 53.4008
2020-03-03 16:00:00 | 5.727 | 331.6 | 6.148 | 352.9 | 5.686 | 345.7 | 5.75 | 324.1 | 7.341 | 977.374 | 19.1842 | 52.3988
2020-03-03 16:15:00 | 4.159 | 351.5 | 4.878 | 20.43 | 6.579 | 348.5 | 6.766 | 344.8 | 7.332 | 977.374 | 18.7745 | 47.1279
2020-03-03 16:30:00 | 4.803 | 337 | 4.965 | 349.8 | 4.987 | 349.1 | 5.118 | 336.2 | 7.222 | 977.226 | 20.5496 | 53.161
2020-03-03 16:45:00 | 3.603 | 1.1 | 5.693 | 29.38 | 6.284 | 3.71 | 6.42 | 347.9 | 6.976 | 977.226 | 22.0515 | 57.7407
2020-03-03 17:00:00 | 5.319 | 348.6 | 5.386 | 5.092 | 6.124 | 346 | 6.532 | 344.4 | 6.715 | 976.953 | 21.6419 | 58.2005
2020-03-03 17:15:00 | 5.115 | 355.5 | 6.202 | 19.6 | 7.434 | 359.3 | 7.744 | 347.8 | 6.323 | 976.517 | 21.3701 | 51.6339
2020-03-03 17:30:00 | 3.94 | 6.206 | 4.417 | 27.64 | 5.333 | 351.7 | 5.796 | 349.2 | 6.004 | 976.33 | 21.102 | 43.264
2020-03-03 17:45:00 | 4.504 | 353.1 | 5.42 | 19.99 | 6.073 | 13.7 | 6.234 | 348.1 | 5.936 | 976.501 | 23.7664 | 36.4127
2020-03-03 18:00:00 | 5.199 | 358.6 | 6.389 | 22.93 | 7.202 | 15.39 | 7.533 | 351 | 5.698 | 976.188 | 25.479 | 39.0139
2020-03-03 18:15:00 | 6.077 | 351.6 | 6.376 | 22.82 | 7.151 | 20.3 | 7.436 | 347.1 | 5.536 | 976.189 | 25.7899 | 33.8915
2020-03-03 18:30:00 | 5.995 | 7.464 | 6.24 | 19.9 | 6.76 | 13.34 | 7.026 | 6.238 | 5.292 | 976.189 | 26.5756 | 30.5009
2020-03-03 18:45:00 | 5.753 | 9.77 | 6.522 | 24.79 | 5.987 | 11.38 | 5.946 | 8 | 5.136 | 976.04 | 26.3023 | 28.0513
2020-03-03 19:00:00 | 5.196 | 6.785 | 5.261 | 20.1 | 6.055 | 15.32 | 6.45 | 6.673 | 4.976 | 976.04 | 26.1657 | 23.7394
2020-03-03 19:15:00 | 3.843 | 12.59 | 6.171 | 28.99 | 6.188 | 17.85 | 5.258 | 15.68 | 4.751 | 976.189 | 27.2588 | 20.1923
2020-03-03 19:30:00 | 5.278 | 19.1 | 7.028 | 33.44 | 7.495 | 21.59 | 7.123 | 21.93 | 4.765 | 975.95 | 26.7839 | 16.0874
2020-03-03 19:45:00 | 3.943 | 18.96 | 5.99 | 37.1 | 6.778 | 28.22 | 6.753 | 24.13 | 4.823 | 976.476 | 27.1966 | 8.9785
2020-03-03 20:00:00 | 3.232 | 15.18 | 5.197 | 29.91 | 5.821 | 17.24 | 5.434 | 19.3 | 4.75 | 976.933 | 27.1975 | 7.3749
2020-03-03 20:15:00 | 3.503 | 24.44 | 4.832 | 42.94 | 5.336 | 27.51 | 5.332 | 26.72 | 4.823 | 976.933 | 27.1986 | 4.9622
2020-03-03 20:30:00 | 3.028 | 28.63 | 4.63 | 46.34 | 4.962 | 31.35 | 4.966 | 32.26 | 4.716 | 976.933 | 27.6078 | 3.414
2020-03-03 20:45:00 | 2.693 | 26.25 | 3.74 | 42.93 | 4.125 | 22.27 | 4.209 | 29.25 | 4.607 | 977.231 | 28.2914 | 3.3291
2020-03-03 21:00:00 | 2.952 | 28.78 | 4.236 | 46.1 | 4.791 | 33.43 | 4.882 | 32.15 | 4.601 | 977.528 | 28.6326 | 1.7403
2020-03-03 21:15:00 | 2.901 | 28.47 | 4.164 | 43.63 | 4.618 | 34.36 | 4.665 | 30.53 | 4.568 | 977.825 | 28.5633 | 2.1873
2020-03-03 21:30:00 | 2.55 | 23.79 | 3.796 | 38.56 | 4.232 | 24.58 | 4.316 | 26.37 | 4.532 | 977.819 | 28.837 | 1.6959
2020-03-03 21:45:00 | 2.727 | 25.48 | 4.016 | 43.72 | 4.669 | 32.62 | 4.741 | 28.56 | 4.489 | 977.962 | 28.5638 | 1.8807
2020-03-03 22:00:00 | 2.811 | 20.74 | 3.51 | 37.79 | 3.82 | 26.68 | 3.687 | 22.39 | 4.506 | 978.094 | 28.3594 | 0.66138
2020-03-03 22:15:00 | 2.278 | 16.88 | 3.208 | 34.01 | 3.682 | 24.61 | 3.522 | 20.09 | 4.56 | 978.256 | 28.4285 | 0.70571
2020-03-03 22:30:00 | 2.308 | 14.38 | 3.448 | 34.28 | 3.965 | 20.76 | 3.72 | 18.64 | 4.47 | 978.4 | 28.0877 | 0.36579
2020-03-03 22:45:00 | 2.28 | 7.756 | 3.103 | 20.73 | 3.052 | 13.74 | 2.918 | 9.07 | 4.41 | 978.4 | 28.3615 | 0.048033
2020-03-03 23:00:00 | 1.846 | 14.39 | 2.776 | 20.98 | 3.143 | 24.1 | 2.539 | 16.31 | 4.351 | 978.414 | 28.9082 | 0.014779
2020-03-03 23:15:00 | 1.946 | 14.77 | 2.868 | 20.94 | 3.143 | 23.03 | 3.022 | 20.81 | 4.288 | 978.271 | 28.8399 | -0.1404
2020-03-03 23:30:00 | 1.883 | 10.91 | 2.779 | 20.67 | 3.138 | 16.91 | 2.857 | 18.4 | 4.22 | 978.42 | 29.1816 | -0.20322
2020-03-03 23:45:00 | 1.566 | 4.711 | 2.651 | 20.37 | 2.713 | 4.698 | 2.714 | 11.52 | 4.082 | 978.568 | 30.07 | -1.1176e-08