## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-04 00:00:00 | 2.287 | 4.583 | 2.95 | 18.91 | 2.988 | 0.616 | 2.831 | 9.65 | 3.913 | 978.42 | 30.6851 | -0.092371
2020-03-04 00:15:00 | 2.045 | 7.405 | 3.147 | 18.61 | 3.459 | 8.66 | 3.272 | 15.29 | 3.807 | 978.42 | 31.3685 | 0.0073897
2020-03-04 00:30:00 | 2.924 | 12.45 | 4.215 | 28.42 | 4.573 | 12.3 | 4.186 | 16.94 | 3.81 | 978.122 | 31.3002 | 0.3584
2020-03-04 00:45:00 | 2.827 | 4.686 | 3.755 | 18.6 | 3.863 | 4.652 | 3.7 | 8.86 | 3.539 | 978.271 | 31.8469 | 1.2673
2020-03-04 01:00:00 | 3.268 | 8.2 | 4.878 | 24.08 | 4.888 | 10.64 | 4.288 | 12.7 | 3.213 | 978.122 | 33.7946 | 4.7959
2020-03-04 01:15:00 | 3.245 | 16.93 | 4.737 | 26.41 | 5.188 | 15.95 | 5.21 | 22.13 | 2.79 | 978.122 | 35.1273 | 5.7935
2020-03-04 01:30:00 | 3.452 | 29.13 | 4.614 | 43.87 | 5.03 | 28.63 | 5.07 | 34.19 | 2.796 | 978.122 | 33.3504 | 6.2406
2020-03-04 01:45:00 | 3.09 | 39.21 | 5.19 | 53.59 | 6.076 | 39.06 | 6.15 | 41.57 | 2.905 | 978.122 | 29.7283 | 7.2456
2020-03-04 02:00:00 | 3.452 | 34.82 | 5.297 | 52.56 | 5.559 | 37.91 | 5.612 | 37.74 | 2.81 | 977.825 | 28.9769 | 6.6249
2020-03-04 02:15:00 | 3.432 | 36.36 | 4.783 | 52.6 | 5.272 | 40.69 | 5.307 | 39.18 | 2.765 | 977.825 | 29.865 | 9.093
2020-03-04 02:30:00 | 3.644 | 32.28 | 4.443 | 51.23 | 4.794 | 35.6 | 4.866 | 34.09 | 2.501 | 977.528 | 30.7545 | 11.3432
2020-03-04 02:45:00 | 4.011 | 26.76 | 4.998 | 43.07 | 5.61 | 28.45 | 5.605 | 33.29 | 2.369 | 977.379 | 30.8924 | 13.7855
2020-03-04 03:00:00 | 4.07 | 26.29 | 5.363 | 39.08 | 5.562 | 23.29 | 5.628 | 32.69 | 2.204 | 977.231 | 28.639 | 14.5023
2020-03-04 03:15:00 | 3.8 | 29.12 | 5.811 | 40.66 | 6.533 | 24.28 | 6.626 | 36.26 | 2.036 | 976.933 | 28.7082 | 15.8915
2020-03-04 03:30:00 | 3.958 | 26.04 | 6.394 | 38.6 | 6.915 | 24.58 | 6.952 | 32.28 | 2.039 | 977.091 | 27.205 | 17.6909
2020-03-04 03:45:00 | 3.866 | 23.87 | 7.148 | 38.48 | 7.513 | 25.65 | 7.52 | 28.64 | 1.884 | 977.003 | 27.1393 | 15.6403
2020-03-04 04:00:00 | 3.999 | 20.33 | 6.317 | 35.41 | 6.64 | 21.22 | 6.562 | 24.01 | 1.759 | 977.166 | 27.1396 | 15.6144
2020-03-04 04:15:00 | 4.285 | 23.02 | 6.1 | 37.95 | 6.338 | 22.12 | 6.338 | 27.6 | 1.533 | 977.48 | 27.8235 | 12.2891
2020-03-04 04:30:00 | 3.537 | 23.97 | 5.601 | 41.96 | 5.926 | 24.38 | 5.954 | 29.14 | 1.432 | 977.79 | 28.3028 | 7.9587
2020-03-04 04:45:00 | 3.209 | 24.76 | 5.19 | 41.35 | 5.587 | 26.95 | 5.567 | 30.12 | 1.376 | 977.823 | 29.3967 | 6.9389
2020-03-04 05:00:00 | 3.095 | 23.35 | 4.824 | 37.29 | 5.203 | 24.64 | 5.182 | 29.57 | 1.12 | 977.976 | 30.4221 | 6.0078
2020-03-04 05:15:00 | 4.029 | 20.49 | 5.489 | 33.54 | 5.798 | 18.53 | 5.791 | 26.92 | 1.118 | 977.827 | 30.764 | 10.3049
2020-03-04 05:30:00 | 4.361 | 25.71 | 6.713 | 39.92 | 7.23 | 25.39 | 7.314 | 31.18 | 0.766 | 977.678 | 32.9516 | 21.323
2020-03-04 05:45:00 | 4.484 | 34.87 | 6.307 | 48.32 | 6.587 | 32.31 | 6.682 | 39.82 | 0.4 | 977.53 | 34.5235 | 26.2001
2020-03-04 06:00:00 | 4.369 | 33.15 | 6.291 | 46.66 | 6.976 | 28.35 | 7.095 | 39.62 | 0.199 | 977.53 | 35.0021 | 21.3599
2020-03-04 06:15:00 | 3.72 | 30.87 | 5.33 | 43.23 | 5.651 | 27.27 | 5.691 | 38.01 | 0.474 | 977.678 | 34.524 | 12.544
2020-03-04 06:30:00 | 1.831 | 34.57 | 3.653 | 44.05 | 4.122 | 30.12 | 4.217 | 41.33 | 0.184 | 977.976 | 34.2847 | 7.4119
2020-03-04 06:45:00 | 2.61 | 25.08 | 3.387 | 37.39 | 3.319 | 19.33 | 3.348 | 32.73 | 0.278 | 978.273 | 34.4898 | 3.1739
2020-03-04 07:00:00 | 2.208 | 29.3 | 2.791 | 41.29 | 2.95 | 17.93 | 2.931 | 39.14 | 0.262 | 978.571 | 34.524 | 0.86459
2020-03-04 07:15:00 | 0.929 | 32.8 | 2.234 | 36.77 | 2.474 | 14.97 | 2.546 | 40.89 | 0.341 | 979.017 | 33.8404 | -0.20691
2020-03-04 07:30:00 | 0.176 | 34.31 | 1.749 | 43.72 | 2.579 | 16.34 | 2.709 | 43.09 | 0.748 | 979.611 | 33.4985 | -0.25864
2020-03-04 07:45:00 | 1.357 | 4.405 | 3.119 | 15.95 | 2.935 | 356.4 | 2.396 | 11.85 | 0.651 | 979.909 | 34.524 | -0.25864
2020-03-04 08:00:00 | 1.684 | 10.46 | 2.661 | 21.32 | 3.219 | 13.53 | 3.033 | 11.76 | 0.559 | 980.238 | 40.9453 | -0.16627
2020-03-04 08:15:00 | 2.266 | 359.4 | 2.853 | 29.5 | 3.331 | 355 | 3.371 | 351.4 | 0.225 | 980.501 | 42.9867 | 3.2626
2020-03-04 08:30:00 | 3.447 | 356.5 | 3.883 | 18.41 | 4.425 | 13.39 | 4.708 | 0.285 | -0.068 | 980.501 | 44.5242 | 5.7713
2020-03-04 08:45:00 | 3.287 | 359.1 | 3.694 | 33.53 | 3.667 | 22.88 | 3.934 | 348.9 | -0.288 | 980.798 | 45.3101 | 8.0141
2020-03-04 09:00:00 | 4.326 | 5.539 | 4.627 | 25.03 | 4.44 | 16.27 | 4.767 | 2.198 | -0.163 | 981.096 | 44.7634 | 6.0411
2020-03-04 09:15:00 | 4.609 | 4.197 | 5.031 | 21.25 | 5.366 | 13.99 | 5.531 | 0.549 | -0.172 | 981.393 | 46.2669 | 5.1839
2020-03-04 09:30:00 | 4.251 | 9.21 | 4.911 | 25.67 | 4.621 | 17.5 | 4.747 | 5.915 | 0.195 | 981.69 | 46.4036 | 4.8587
2020-03-04 09:45:00 | 3.562 | 16 | 4.407 | 37.72 | 3.644 | 26.23 | 3.567 | 10.12 | 0.609 | 982.285 | 45.7885 | 4.5668
2020-03-04 10:00:00 | 4.019 | 11.91 | 4.711 | 32.5 | 4.613 | 26.43 | 4.663 | 10.09 | 1.224 | 982.878 | 44.7243 | 4.0237
2020-03-04 10:15:00 | 3.806 | 12.43 | 4.775 | 26.98 | 4.407 | 20.12 | 4.359 | 8.22 | 1.773 | 982.604 | 43.1432 | 6.1667
2020-03-04 10:30:00 | 3.084 | 6.336 | 3.725 | 26.54 | 4.038 | 31.71 | 4.079 | 359.6 | 2.024 | 982.875 | 40.7174 | 7.567
2020-03-04 10:45:00 | 2.68 | 10.9 | 4.226 | 26.53 | 4.214 | 1.95 | 3.952 | 4.3 | 2.863 | 983.321 | 37.1531 | 10.9404
2020-03-04 11:00:00 | 3.292 | 7.743 | 4.619 | 24.32 | 4.651 | 6.631 | 4.726 | 359.8 | 2.833 | 983.025 | 35.7863 | 12.2078
2020-03-04 11:15:00 | 3.908 | 8.68 | 4.788 | 25.78 | 5.282 | 14.36 | 5.427 | 3.225 | 3.033 | 982.872 | 35.1368 | 13.8076
2020-03-04 11:30:00 | 4.384 | 9.79 | 6.189 | 26.02 | 5.623 | 15.01 | 5.541 | 7.673 | 2.972 | 982.575 | 34.0769 | 16.8781
2020-03-04 11:45:00 | 4.041 | 4.785 | 4.818 | 29.51 | 5.343 | 21.37 | 5.401 | 359.9 | 3.089 | 982.723 | 32.8141 | 19.9522
2020-03-04 12:00:00 | 4.318 | 6.291 | 5.08 | 32.19 | 5.376 | 30.21 | 5.325 | 356.9 | 3.354 | 982.575 | 28.4779 | 19.3351
2020-03-04 12:15:00 | 5.618 | 2.049 | 6.105 | 23.03 | 5.638 | 17.86 | 5.923 | 356.7 | 3.309 | 982.277 | 27.2835 | 18.973
2020-03-04 12:30:00 | 5.129 | 11.8 | 6.187 | 33.45 | 5.831 | 21.38 | 5.816 | 5.782 | 3.94 | 982.277 | 29.23 | 20.5988
2020-03-04 12:45:00 | 4.714 | 7.257 | 6.171 | 26.7 | 5.786 | 5.304 | 5.801 | 357.6 | 3.976 | 982.277 | 31.073 | 19.2132
2020-03-04 13:00:00 | 4.596 | 14.04 | 6.335 | 31.52 | 5.62 | 18.97 | 5.699 | 9.5 | 3.968 | 981.98 | 30.1507 | 20.5718
2020-03-04 13:15:00 | 4.812 | 11.11 | 6.442 | 32.11 | 5.842 | 19.16 | 5.816 | 5.965 | 3.883 | 981.683 | 25.0981 | 23.3451
2020-03-04 13:30:00 | 3.733 | 18.58 | 7.874 | 35.43 | 7.368 | 27.72 | 7.061 | 20.73 | 4.331 | 981.832 | 27.147 | 30.113
2020-03-04 13:45:00 | 4.172 | 5.081 | 5.195 | 25.14 | 5.623 | 6.07 | 5.77 | 357.2 | 4.104 | 981.683 | 26.3958 | 22.7713
2020-03-04 14:00:00 | 4.28 | 15.43 | 6.404 | 35.17 | 6.022 | 24.88 | 5.877 | 11.05 | 4.781 | 981.683 | 25.7811 | 19.7009
2020-03-04 14:15:00 | 4.788 | 11.28 | 6.992 | 27.66 | 6.729 | 15.02 | 6.707 | 12.88 | 4.65 | 981.683 | 25.3028 | 22.424
2020-03-04 14:30:00 | 5.28 | 1.347 | 6.281 | 26.77 | 6.266 | 15.53 | 6.399 | 356.3 | 4.461 | 981.386 | 24.4488 | 19.8709
2020-03-04 14:45:00 | 4.854 | 13.51 | 6.591 | 26.85 | 6.086 | 15.95 | 5.921 | 6.529 | 4.474 | 981.089 | 23.595 | 20.4177
2020-03-04 15:00:00 | 5.191 | 8.76 | 6.943 | 28.45 | 5.707 | 17.69 | 5.485 | 6.529 | 4.629 | 981.238 | 20.5901 | 18.6833
2020-03-04 15:15:00 | 3.378 | 9.84 | 5.962 | 32.61 | 5.895 | 18.97 | 5.859 | 5.517 | 5.049 | 981.683 | 22.6034 | 17.2217
2020-03-04 15:30:00 | 4.777 | 5.115 | 5.808 | 26.18 | 5.872 | 17.15 | 6.066 | 0.86 | 4.857 | 981.386 | 23.2162 | 20.4029
2020-03-04 15:45:00 | 5.342 | 10.34 | 6.693 | 26.3 | 5.938 | 15.77 | 6.099 | 7.341 | 4.63 | 981.068 | 24.0356 | 19.8413
2020-03-04 16:00:00 | 4.106 | 13.78 | 5.461 | 31.88 | 4.4 | 19.05 | 4.472 | 10.6 | 4.48 | 981.089 | 23.8992 | 16.6564
2020-03-04 16:15:00 | 3.886 | 20.31 | 6.851 | 35.11 | 6.48 | 23.58 | 6.341 | 23.7 | 4.583 | 981.089 | 24.0372 | 15.6588
2020-03-04 16:30:00 | 5.16 | 359.5 | 5.376 | 18.54 | 6.121 | 10.72 | 6.264 | 1.514 | 4.326 | 980.643 | 24.6533 | 13.5859
2020-03-04 16:45:00 | 3.646 | 0.668 | 4.32 | 26.58 | 4.422 | 7.9 | 4.734 | 353.3 | 4.345 | 980.792 | 25.5421 | 10.2273
2020-03-04 17:00:00 | 3.221 | 11.43 | 4.809 | 26.47 | 4.55 | 7.47 | 4.311 | 14.48 | 4.296 | 980.792 | 25.2689 | 9.1373
2020-03-04 17:15:00 | 3.575 | 2.831 | 3.978 | 21.79 | 3.71 | 10.98 | 3.845 | 358.2 | 4.169 | 980.535 | 25.5421 | 6.8429
2020-03-04 17:30:00 | 3.567 | 352.1 | 3.957 | 10.03 | 4.873 | 3.583 | 5.001 | 351.9 | 4.061 | 980.311 | 26.0884 | 8.3873
2020-03-04 17:45:00 | 3.695 | 351.1 | 4.123 | 9.84 | 4.773 | 5.21 | 4.871 | 351.5 | 3.803 | 980.201 | 27.8705 | 10.4564
2020-03-04 18:00:00 | 3.664 | 344.1 | 4.364 | 5.044 | 5.231 | 358.9 | 5.439 | 348.7 | 3.543 | 980.201 | 28.3518 | 11.1215
2020-03-04 18:15:00 | 4.438 | 0.303 | 4.732 | 9.39 | 5.297 | 358.4 | 5.386 | 358.5 | 3.366 | 979.903 | 28.6251 | 11.6388
2020-03-04 18:30:00 | 3.297 | 6.479 | 3.487 | 20.03 | 3.98 | 10.72 | 4.046 | 5.873 | 3.115 | 980.306 | 30.0658 | 8.3651
2020-03-04 18:45:00 | 3.32 | 4.349 | 3.684 | 10.73 | 4.089 | 355.8 | 4.367 | 7.802 | 2.957 | 980.501 | 29.9297 | 7.2604
2020-03-04 19:00:00 | 3.156 | 10.57 | 3.97 | 20.09 | 3.591 | 2.895 | 3.499 | 7.835 | 2.839 | 980.5 | 31.095 | 6.7209
2020-03-04 19:15:00 | 2.88 | 7.278 | 3.929 | 28.89 | 3.522 | 10.69 | 3.626 | 12.46 | 2.781 | 980.501 | 30.2751 | 6.9796
2020-03-04 19:30:00 | 2.717 | 13.5 | 3.865 | 27.96 | 3.865 | 9.01 | 3.784 | 18.28 | 2.745 | 980.501 | 30.2751 | 8.125
2020-03-04 19:45:00 | 3.463 | 15.17 | 4.3 | 32.87 | 4.143 | 14.85 | 4.084 | 17.43 | 2.7 | 980.203 | 30.0359 | 8.1804
2020-03-04 20:00:00 | 3.381 | 18.25 | 4.07 | 35.51 | 4.257 | 21.06 | 4.232 | 21.62 | 2.553 | 980.055 | 30.1384 | 7.5707
2020-03-04 20:15:00 | 3.715 | 16.36 | 4.379 | 34.19 | 4.593 | 20.81 | 4.683 | 20.51 | 2.418 | 979.906 | 29.9347 | 7.1976
2020-03-04 20:30:00 | 3.473 | 22.08 | 4.07 | 38.27 | 4.29 | 23.03 | 4.316 | 28.96 | 2.44 | 979.906 | 29.9375 | 5.5201
2020-03-04 20:45:00 | 3.871 | 21.95 | 4.532 | 37.19 | 4.684 | 20.9 | 4.729 | 27.78 | 2.474 | 979.906 | 30.1431 | 6.0743
2020-03-04 21:00:00 | 3.521 | 28.96 | 4.159 | 41.33 | 4.3 | 25 | 4.319 | 35.99 | 2.334 | 979.92 | 30.4168 | 6.0706
2020-03-04 21:15:00 | 3.376 | 39.64 | 3.835 | 51.67 | 3.873 | 28.19 | 3.927 | 49.01 | 2.486 | 979.929 | 29.0505 | 3.2699
2020-03-04 21:30:00 | 2.919 | 44.41 | 3.525 | 58.57 | 3.733 | 33.53 | 3.72 | 52.08 | 2.384 | 979.911 | 29.188 | 2.0728
2020-03-04 21:45:00 | 3.496 | 46.5 | 3.824 | 58.4 | 4.173 | 35.29 | 4.194 | 55.24 | 2.455 | 979.956 | 29.3939 | 1.1084
2020-03-04 22:00:00 | 3.005 | 54.5 | 2.942 | 74.09 | 2.828 | 61.9 | 2.76 | 62.64 | 2.486 | 979.788 | 28.095 | 0.044338
2020-03-04 22:15:00 | 2.571 | 81.3 | 2.249 | 95 | 1.536 | 75.05 | 1.499 | 90.4 | 3.135 | 979.939 | 24.4731 | -0.26603
2020-03-04 22:30:00 | 0 | 164.6 | 0.162 | 128.4 | 0.823 | 75.36 | 0.913 | 171 | 3.551 | 979.665 | 23.7898 | -0.26972
2020-03-04 22:45:00 | 1.023 | 140.1 | 0.945 | 127.9 | 0.885 | 76.91 | 0.654 | 189.5 | 3.616 | 979.725 | 23.7222 | -0.24386
2020-03-04 23:00:00 | 1.217 | 105.7 | 1.109 | 127.3 | 1.087 | 76.58 | 1.016 | 132.9 | 3.597 | 979.431 | 24.7478 | -0.24016
2020-03-04 23:15:00 | 1.079 | 95.5 | 0.88 | 127.2 | 0.787 | 63.95 | 0.749 | 120.6 | 3.54 | 979.521 | 25.6012 | -0.25125
2020-03-04 23:30:00 | 1.271 | 93.1 | 1.089 | 126.7 | 0.202 | 45.81 | 0.172 | 120.6 | 3.278 | 979.496 | 25.3282 | -0.22539
2020-03-04 23:45:00 | 1.204 | 108.7 | 1.004 | 91.3 | 0.453 | 43.33 | 0.564 | 132.6 | 3.049 | 979.219 | 26.4564 | -0.22539