## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-05 00:00:00 | 0 | 129.2 | 0 | 87.8 | 0 | 105 | 0 | 132.5 | 3.416 | 979.222 | 26.183 | -0.22539
2020-03-05 00:15:00 | 0 | 130.7 | 0.472 | 87.9 | 0.734 | 105.1 | 0.868 | 134 | 3.273 | 979.006 | 26.7301 | -0.24016
2020-03-05 00:30:00 | 0.16 | 140.3 | 1.181 | 89.1 | 0.854 | 131.4 | 0.924 | 135.9 | 3.302 | 979.017 | 26.7305 | -0.23647
2020-03-05 00:45:00 | 0.844 | 79.56 | 1.263 | 91.6 | 0.912 | 92.1 | 0.811 | 131.8 | 3.342 | 979.017 | 26.8672 | 0.35101
2020-03-05 01:00:00 | 0.215 | 139.6 | 0.407 | 123.7 | 0 | 149.8 | 0 | 109.7 | 3.064 | 979.017 | 26.7305 | 1.1232
2020-03-05 01:15:00 | 0 | 139.6 | 0.026 | 123.7 | 0 | 143.6 | 0 | 109.7 | 3.231 | 978.868 | 26.1836 | 1.6627
2020-03-05 01:30:00 | 0.39 | 118.9 | 0.867 | 122.6 | 1.216 | 104.8 | 1.22 | 110.3 | 3.53 | 978.868 | 26.3202 | 2.2723
2020-03-05 01:45:00 | 0.015 | 121.4 | 0.4 | 123.5 | 0.059 | 136.4 | 0 | 110.9 | 3.438 | 978.719 | 26.0468 | 1.6036
2020-03-05 02:00:00 | 0.679 | 104.9 | 0.762 | 122.6 | 0.305 | 95.1 | 0.04 | 110.9 | 3.626 | 978.571 | 25.0214 | 3.6542
2020-03-05 02:15:00 | 0.393 | 129.2 | 1.27 | 122.8 | 1.284 | 66.33 | 1.292 | 116.8 | 3.382 | 978.37 | 26.2519 | 4.8181
2020-03-05 02:30:00 | 1.394 | 139.7 | 2.51 | 156.5 | 2.726 | 149.3 | 2.625 | 146.9 | 3.307 | 978.364 | 26.4566 | 5.1506
2020-03-05 02:45:00 | 1.463 | 140.9 | 2.343 | 155.3 | 3.179 | 119.4 | 3.185 | 142.9 | 3.177 | 978.304 | 26.5246 | 7.4599
2020-03-05 03:00:00 | 2.201 | 129.7 | 3.162 | 147.4 | 4.01 | 136.5 | 4.067 | 135.3 | 2.851 | 977.993 | 28.5068 | 11.151
2020-03-05 03:15:00 | 4.098 | 125.1 | 5.522 | 139.5 | 5.549 | 134.1 | 5.477 | 133.4 | 2.264 | 977.766 | 29.395 | 18.1491
2020-03-05 03:30:00 | 5.263 | 126.4 | 5.946 | 140.3 | 6.009 | 131.4 | 5.865 | 135.7 | 2.533 | 977.59 | 30.0101 | 24.8552
2020-03-05 03:45:00 | 5.5 | 124.1 | 6.033 | 136.7 | 5.837 | 117.6 | 5.699 | 132.7 | 2.77 | 977.54 | 29.4613 | 23.8724
2020-03-05 04:00:00 | 4.497 | 118.8 | 5.266 | 130.4 | 5.595 | 108.6 | 5.633 | 125.3 | 2.842 | 977.083 | 29.7333 | 28.2914
2020-03-05 04:15:00 | 4.453 | 128.8 | 5.187 | 145 | 5.539 | 135.1 | 5.467 | 131.3 | 2.673 | 977.231 | 31.5087 | 38.3821
2020-03-05 04:30:00 | 5.564 | 139.4 | 5.811 | 153.2 | 6.279 | 130.7 | 6.277 | 138.8 | 2.387 | 977.231 | 35.0957 | 56.0508
2020-03-05 04:45:00 | 6.723 | 128 | 6.938 | 147.8 | 7.584 | 136.7 | 7.772 | 131 | 1.472 | 976.942 | 37.1141 | 57.2516
2020-03-05 05:00:00 | 7.441 | 134.7 | 7.848 | 151 | 8.7 | 140.1 | 8.6 | 140.1 | 1.467 | 976.695 | 37.2214 | 60.7691
2020-03-05 05:15:00 | 8.45 | 137.8 | 8.41 | 153.4 | 8.92 | 140.8 | 8.87 | 144.5 | 1.96 | 977.116 | 37.7358 | 62.284
2020-03-05 05:30:00 | 7.303 | 140.1 | 7.871 | 156.4 | 8.35 | 147.3 | 8.33 | 147.1 | 1.778 | 977.119 | 39.923 | 72.5594
2020-03-05 05:45:00 | 8.56 | 143.5 | 8.97 | 159.2 | 9.7 | 147.4 | 9.7 | 148 | 1.503 | 977.163 | 43.8208 | 75.3342
2020-03-05 06:00:00 | 9.4 | 138.5 | 9.72 | 152 | 9.64 | 139.6 | 9.65 | 145.7 | 1.525 | 977.22 | 41.9071 | 72.8624
2020-03-05 06:15:00 | 8.51 | 138.2 | 8.47 | 153.8 | 8.62 | 138.5 | 8.66 | 143.5 | 1.328 | 977.226 | 42.7961 | 71.1775
2020-03-05 06:30:00 | 7.573 | 137.2 | 8.46 | 153.3 | 9.29 | 139.3 | 9.3 | 143.4 | 1.23 | 977.231 | 44.7103 | 74.1888
2020-03-05 06:45:00 | 7.956 | 137.8 | 8.4 | 155.5 | 9.7 | 140.1 | 9.68 | 143 | 1.132 | 976.935 | 44.7787 | 78.8813
2020-03-05 07:00:00 | 7.956 | 137.7 | 8.7 | 153.9 | 9.24 | 143.4 | 9.29 | 143.4 | 1.148 | 976.935 | 44.3001 | 76.7752
2020-03-05 07:15:00 | 9.18 | 137.8 | 9.84 | 153.7 | 10.8 | 142.2 | 10.9 | 143.5 | 1.21 | 976.911 | 45.7358 | 79.3209
2020-03-05 07:30:00 | 10 | 140.2 | 10.37 | 154.9 | 11.1 | 143.5 | 10.96 | 145.7 | 1.206 | 976.761 | 46.0756 | 79.3911
2020-03-05 07:45:00 | 10.05 | 138.8 | 10.45 | 154.8 | 10.78 | 139.4 | 10.79 | 145.2 | 1.156 | 976.638 | 45.9293 | 81.6323
2020-03-05 08:00:00 | 10.13 | 138.7 | 10.46 | 156.5 | 10.83 | 147.2 | 10.92 | 143.4 | 1.006 | 976.934 | 46.1302 | 78.7815
2020-03-05 08:15:00 | 10.63 | 144.2 | 10.74 | 161.8 | 11.26 | 149.3 | 11.19 | 149.1 | 1.02 | 976.934 | 47.497 | 78.5007
2020-03-05 08:30:00 | 10.78 | 145 | 11.06 | 161.8 | 11.04 | 148.9 | 10.93 | 148.9 | 1.078 | 977.231 | 48.5905 | 78.8295
2020-03-05 08:45:00 | 10.53 | 141.2 | 10.59 | 157.4 | 10.97 | 146.9 | 10.81 | 147.2 | 1.194 | 977.826 | 49.8878 | 76.6163
2020-03-05 09:00:00 | 10.89 | 139.7 | 11.01 | 157.4 | 11.49 | 146.7 | 11.48 | 146 | 1.214 | 978.1 | 52.5521 | 77.54
2020-03-05 09:15:00 | 9.9 | 141.5 | 10.17 | 160.2 | 10.2 | 150.1 | 10.14 | 146.2 | 1.401 | 978.122 | 52.2764 | 75.6852
2020-03-05 09:30:00 | 11.02 | 142.3 | 10.92 | 162.8 | 10.75 | 157.9 | 10.6 | 147.2 | 1.629 | 977.825 | 53.7102 | 81.5822
2020-03-05 09:45:00 | 10.38 | 143.6 | 10.27 | 162.1 | 9.79 | 154 | 9.64 | 147.6 | 1.9 | 977.72 | 52.9578 | 80.459
2020-03-05 10:00:00 | 10.93 | 146.1 | 11.12 | 162.8 | 11.53 | 149.1 | 11.35 | 150.3 | 2.095 | 977.905 | 52.7416 | 82.3275
2020-03-05 10:15:00 | 11.52 | 147.4 | 11.69 | 166.7 | 11.52 | 155.7 | 11.37 | 150.7 | 2.529 | 977.676 | 53.0829 | 77.3774
2020-03-05 10:30:00 | 11.38 | 144.6 | 11.02 | 161.7 | 10.59 | 147.9 | 10.46 | 149.9 | 2.594 | 977.526 | 53.4928 | 79.9675
2020-03-05 10:45:00 | 11.37 | 147 | 11.79 | 162.9 | 11.41 | 150.2 | 11.21 | 152.6 | 3.203 | 977.823 | 52.468 | 81.1425
2020-03-05 11:00:00 | 10.28 | 145 | 10.76 | 161.1 | 10.24 | 147.7 | 10.04 | 151.2 | 3.437 | 977.823 | 51.4091 | 74.1023
2020-03-05 11:15:00 | 11.44 | 142.4 | 11.71 | 158.1 | 10.96 | 143.9 | 10.68 | 148.1 | 3.603 | 977.526 | 53.117 | 73.5541
2020-03-05 11:30:00 | 10.35 | 144.8 | 10.32 | 160.7 | 10.28 | 147.6 | 10.03 | 149.1 | 3.958 | 977.229 | 52.0555 | 72.079
2020-03-05 11:45:00 | 11.47 | 144.1 | 11.23 | 160.8 | 10.7 | 146.3 | 10.51 | 149.8 | 4.265 | 977.229 | 53.1399 | 77.3331
2020-03-05 12:00:00 | 9.97 | 139.3 | 10.05 | 154.2 | 9.47 | 140.3 | 9.34 | 146.7 | 4.959 | 977.526 | 52.4161 | 69.1971
2020-03-05 12:15:00 | 11.15 | 143.2 | 11.24 | 157 | 10.61 | 142.1 | 10.37 | 150.6 | 4.841 | 976.988 | 54.3965 | 70.1076
2020-03-05 12:30:00 | 10.56 | 143.5 | 10.81 | 159.3 | 10.29 | 148.9 | 10.1 | 150.7 | 5.584 | 976.59 | 52.6208 | 68.2623
2020-03-05 12:45:00 | 10.23 | 147.8 | 10.1 | 166 | 10.07 | 156 | 9.89 | 153.3 | 5.892 | 976.339 | 51.6647 | 64.3543
2020-03-05 13:00:00 | 8.8 | 155.6 | 8.59 | 170.6 | 8.06 | 161.4 | 7.958 | 161.1 | 6.096 | 976.188 | 49.0695 | 64.8533
2020-03-05 13:15:00 | 9.07 | 161.9 | 8.93 | 180.4 | 8.17 | 178 | 8.24 | 162.1 | 6.475 | 976.336 | 49.4451 | 69.2646
2020-03-05 13:30:00 | 9.3 | 158 | 9.27 | 176.4 | 8.95 | 167.5 | 8.74 | 160.7 | 6.772 | 976.039 | 49.3764 | 64.1087
2020-03-05 13:45:00 | 9.3 | 152.3 | 9.46 | 167 | 8.89 | 153.2 | 8.85 | 160.3 | 6.732 | 975.891 | 47.8725 | 64.682
2020-03-05 14:00:00 | 10.72 | 156 | 10.34 | 169.6 | 9.22 | 153.2 | 9.16 | 162.6 | 6.963 | 975.148 | 46.4682 | 56.5184
2020-03-05 14:15:00 | 8.31 | 170.9 | 8.72 | 185.2 | 7.693 | 174.4 | 7.769 | 173 | 7.52 | 975.132 | 45.8861 | 56.8557
2020-03-05 14:30:00 | 10.27 | 148.1 | 10.05 | 164.6 | 9.57 | 152.2 | 9.45 | 155.6 | 7.616 | 974.793 | 45.9213 | 60.7576
2020-03-05 14:45:00 | 8.45 | 156.3 | 8.91 | 172.4 | 8.7 | 160.3 | 8.71 | 165.3 | 8.06 | 974.891 | 43.5948 | 59.8019
2020-03-05 15:00:00 | 10.97 | 176.2 | 10.49 | 192.9 | 9.41 | 183.4 | 9.41 | 177.3 | 8.03 | 974.28 | 43.3522 | 63.6379
2020-03-05 15:15:00 | 10.68 | 182.4 | 10.2 | 203.6 | 9.06 | 195.4 | 8.94 | 180.4 | 8.19 | 974.149 | 42.6694 | 67.3075
2020-03-05 15:30:00 | 8.82 | 172 | 9.09 | 184.7 | 8.75 | 172.9 | 8.65 | 179.3 | 8.5 | 974.144 | 43.0108 | 66.2469
2020-03-05 15:45:00 | 8.46 | 160.3 | 8.17 | 177.6 | 7.874 | 169.7 | 7.859 | 165 | 8.38 | 973.681 | 43.0108 | 68.4807
2020-03-05 16:00:00 | 9.48 | 175.4 | 9.14 | 191.3 | 8.76 | 185.3 | 8.85 | 177.5 | 8.22 | 973.365 | 45.6051 | 71.4604
2020-03-05 16:15:00 | 7.464 | 157.3 | 7.516 | 168.9 | 6.951 | 156.9 | 7.044 | 165.1 | 8.44 | 973.59 | 46.4243 | 67.926
2020-03-05 16:30:00 | 10.68 | 158.2 | 10.5 | 175.5 | 10.38 | 159.2 | 10.37 | 162.4 | 7.918 | 973.19 | 47.4484 | 67.6304
2020-03-05 16:45:00 | 10.74 | 151.1 | 11.21 | 169.4 | 11.06 | 155.7 | 11.07 | 157.3 | 7.896 | 972.523 | 47.8635 | 72.1175
2020-03-05 17:00:00 | 10.16 | 153.8 | 10.52 | 170.8 | 9.91 | 157.5 | 9.78 | 158.2 | 7.811 | 972.699 | 48.6174 | 74.259
2020-03-05 17:15:00 | 11.75 | 149.3 | 12.34 | 164 | 12.81 | 149.4 | 12.6 | 155 | 7.726 | 972.022 | 49.7132 | 71.0888
2020-03-05 17:30:00 | 10.44 | 145.6 | 11 | 163 | 11.18 | 150.9 | 11.12 | 151.5 | 7.567 | 972.177 | 50.9475 | 70.6344
2020-03-05 17:45:00 | 11.31 | 150.6 | 11.26 | 166.6 | 11.31 | 159.5 | 11.33 | 155.5 | 7.421 | 971.583 | 51.1525 | 74.9343
2020-03-05 18:00:00 | 10.64 | 149.9 | 11.09 | 168.3 | 11.06 | 159 | 11.16 | 154.9 | 7.208 | 971.158 | 51.5622 | 71.7338
2020-03-05 18:15:00 | 9.32 | 144.7 | 9.39 | 165.8 | 8.46 | 155.7 | 8.34 | 149.9 | 7.029 | 971.582 | 52.6558 | 73.4831
2020-03-05 18:30:00 | 9.37 | 141.5 | 9.76 | 161.2 | 9.94 | 149.1 | 9.91 | 147.5 | 6.854 | 971.286 | 53.2104 | 75.6335
2020-03-05 18:45:00 | 12.35 | 142 | 13.02 | 158 | 12.94 | 145 | 12.75 | 147.3 | 6.71 | 970.988 | 53.3217 | 82.5687
2020-03-05 19:00:00 | 12.28 | 141.5 | 12.49 | 157.7 | 12.57 | 146.6 | 12.45 | 146.4 | 6.663 | 970.988 | 53.0145 | 83.3844
2020-03-05 19:15:00 | 11.93 | 139.2 | 12.05 | 157.7 | 12.54 | 145.5 | 12.53 | 145.2 | 6.571 | 970.691 | 51.9214 | 80.4479
2020-03-05 19:30:00 | 12.61 | 140.8 | 13.19 | 157.5 | 14.32 | 145.8 | 14.1 | 145.9 | 6.578 | 970.394 | 50.6234 | 82.5264
2020-03-05 19:45:00 | 13.8 | 140.5 | 14.45 | 154.5 | 14.7 | 142.8 | 14.49 | 146.3 | 6.562 | 970.097 | 50.0769 | 85.4137
2020-03-05 20:00:00 | 12.7 | 141.7 | 13.25 | 158.1 | 14.4 | 146.3 | 14.19 | 147.5 | 6.444 | 970.394 | 49.9402 | 81.9968
2020-03-05 20:15:00 | 13.16 | 142.2 | 13.74 | 158.2 | 14.54 | 145.9 | 14.31 | 147.8 | 6.364 | 970.543 | 50.4868 | 85.192
2020-03-05 20:30:00 | 13.2 | 143.5 | 13.6 | 159.2 | 14.44 | 146.3 | 14.36 | 149.1 | 6.179 | 969.651 | 51.7165 | 86.3633
2020-03-05 20:45:00 | 13.68 | 145.4 | 14.07 | 163.2 | 14.47 | 154.9 | 14.3 | 150.8 | 6.106 | 970.394 | 51.9897 | 87.3314
2020-03-05 21:00:00 | 13.96 | 146.3 | 14.13 | 163.1 | 14.88 | 154.7 | 14.77 | 151.5 | 6.104 | 970.097 | 53.0145 | 87.42
2020-03-05 21:15:00 | 12.15 | 147 | 12.97 | 164.6 | 13.6 | 156.6 | 13.57 | 151.9 | 6.044 | 970.691 | 53.2195 | 89.685
2020-03-05 21:30:00 | 13.99 | 145.3 | 14.34 | 160.8 | 14.71 | 146.6 | 14.53 | 150.2 | 6.118 | 969.948 | 52.8096 | 87.6787
2020-03-05 21:45:00 | 14.35 | 143.8 | 15.12 | 160.2 | 16.02 | 146.4 | 15.78 | 149.2 | 6.161 | 970.097 | 52.2972 | 87.4459
2020-03-05 22:00:00 | 15.05 | 143.7 | 15.33 | 159.4 | 16.21 | 148.5 | 16.06 | 148.6 | 6.149 | 969.948 | 52.8096 | 87.4976
2020-03-05 22:15:00 | 14.05 | 141.5 | 15.05 | 157.4 | 15.85 | 147.4 | 15.72 | 148.1 | 6.077 | 970.245 | 52.5363 | 87.6676
2020-03-05 22:30:00 | 14.23 | 142 | 14.76 | 158.8 | 15.99 | 147.7 | 15.85 | 147.9 | 5.91 | 969.948 | 52.6729 | 89.3044
2020-03-05 22:45:00 | 14.9 | 140.8 | 15.47 | 157 | 16.77 | 145.8 | 16.45 | 146.2 | 5.868 | 969.8 | 52.1947 | 88.5137
2020-03-05 23:00:00 | 14.61 | 141.5 | 15.08 | 158.9 | 15.77 | 148.5 | 15.51 | 147.7 | 5.687 | 969.354 | 52.3997 | 89.2379
2020-03-05 23:15:00 | 13.74 | 143.9 | 14.62 | 159.8 | 15.69 | 146.6 | 15.55 | 148.8 | 5.637 | 970.097 | 52.1264 | 88.8684
2020-03-05 23:30:00 | 14.38 | 143.9 | 14.96 | 159.9 | 15.45 | 145.3 | 15.2 | 149.4 | 5.464 | 969.502 | 52.3313 | 90.3648
2020-03-05 23:45:00 | 15.08 | 140.9 | 16.12 | 157 | 16.76 | 144.9 | 16.51 | 147.6 | 5.441 | 969.057 | 52.8096 | 91.2405