## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-06 00:00:00 | 14.48 | 142.8 | 15 | 158.5 | 15.97 | 147.7 | 15.79 | 147.8 | 5.113 | 969.057 | 53.9026 | 91.8132
2020-03-06 00:15:00 | 15.56 | 142 | 16.79 | 158 | 17.41 | 147 | 17.18 | 147.2 | 4.958 | 968.947 | 53.971 | 89.5446
2020-03-06 00:30:00 | 15.06 | 139.6 | 15.61 | 157.3 | 16.45 | 146 | 16.24 | 145.2 | 5.01 | 968.6 | 53.1181 | 90.7085
2020-03-06 00:45:00 | 15.46 | 141.7 | 16.14 | 157.7 | 16.47 | 147.2 | 16.26 | 146.6 | 4.934 | 969.1 | 53.1537 | 87.7284
2020-03-06 01:00:00 | 14.62 | 140.4 | 14.98 | 157.6 | 15.72 | 144.3 | 15.65 | 146 | 4.833 | 968.78 | 53.054 | 89.9288
2020-03-06 01:15:00 | 13.08 | 139.8 | 14.4 | 155.7 | 14.67 | 143.3 | 14.65 | 145.5 | 4.802 | 968.9 | 53.4627 | 88.7058
2020-03-06 01:30:00 | 14.45 | 139.9 | 14.81 | 155.4 | 16.12 | 144.7 | 15.97 | 145.5 | 4.851 | 968.758 | 53.4966 | 91.392
2020-03-06 01:45:00 | 14.31 | 137.6 | 15.14 | 153 | 15.08 | 144.6 | 14.93 | 145.4 | 4.841 | 967.923 | 52.8155 | 91.0373
2020-03-06 02:00:00 | 14.31 | 139.4 | 15.11 | 155.8 | 15.79 | 143.9 | 15.62 | 144.4 | 4.866 | 968.247 | 51.7189 | 88.244
2020-03-06 02:15:00 | 13.3 | 137.8 | 14.02 | 153.2 | 14.72 | 140 | 14.6 | 143.3 | 4.821 | 968.236 | 51.4469 | 85.5061
2020-03-06 02:30:00 | 14.5 | 141 | 14.67 | 156 | 14.41 | 143.1 | 14.33 | 145.2 | 4.793 | 968.512 | 51.1077 | 89.4781
2020-03-06 02:45:00 | 12.9 | 138.1 | 13.5 | 154.4 | 13.89 | 144.7 | 13.85 | 143.6 | 4.812 | 968.261 | 50.8688 | 88.5839
2020-03-06 03:00:00 | 12.37 | 136.3 | 12.31 | 154.8 | 12.5 | 144.5 | 12.35 | 140.5 | 4.738 | 967.859 | 50.8388 | 90.1321
2020-03-06 03:15:00 | 11.95 | 138.2 | 12.83 | 155.1 | 13.64 | 142.8 | 13.55 | 143.5 | 4.765 | 967.975 | 50.9071 | 91.7615
2020-03-06 03:30:00 | 13.3 | 139.5 | 13.55 | 155.5 | 13.98 | 141.9 | 13.92 | 144.8 | 4.712 | 967.989 | 50.7699 | 89.8512
2020-03-06 03:45:00 | 11.64 | 138.3 | 11.84 | 158.1 | 12.13 | 147.1 | 12.13 | 143.4 | 4.667 | 968.009 | 51.2497 | 89.0199
2020-03-06 04:00:00 | 12.47 | 138 | 13 | 154.8 | 13.45 | 146.1 | 13.31 | 143.3 | 4.561 | 967.692 | 51.5904 | 89.2712
2020-03-06 04:15:00 | 11.02 | 136.4 | 11.39 | 153.3 | 11.95 | 143.2 | 11.86 | 142.4 | 4.629 | 967.698 | 52.0029 | 87.8782
2020-03-06 04:30:00 | 10.89 | 138.4 | 10.82 | 158 | 10.72 | 152 | 10.67 | 143.6 | 4.501 | 967.543 | 52.8898 | 86.6552
2020-03-06 04:45:00 | 11.98 | 139 | 12.17 | 157.9 | 12.38 | 152.3 | 12.36 | 143.5 | 4.471 | 967.389 | 53.2312 | 90.7676
2020-03-06 05:00:00 | 10.74 | 136.8 | 11.32 | 153.9 | 11.39 | 144.8 | 11.29 | 143.5 | 4.569 | 967.123 | 53.6419 | 89.7072
2020-03-06 05:15:00 | 11.41 | 136.9 | 11.8 | 155.4 | 11.7 | 144.4 | 11.6 | 142.9 | 4.455 | 967.421 | 53.9171 | 88.6467
2020-03-06 05:30:00 | 10.96 | 132.6 | 11.55 | 148.8 | 12.25 | 137.6 | 12.13 | 138.1 | 4.573 | 966.826 | 53.5069 | 87.2094
2020-03-06 05:45:00 | 10.75 | 133.6 | 11.4 | 150.1 | 12.31 | 140.4 | 12.25 | 139.3 | 4.665 | 967.123 | 54.0551 | 89.2416
2020-03-06 06:00:00 | 11.84 | 133.3 | 12.22 | 150.6 | 12.8 | 138.6 | 12.84 | 138.2 | 4.76 | 966.797 | 54.6674 | 90.5126
2020-03-06 06:15:00 | 12.51 | 133.7 | 12.65 | 150.4 | 12.88 | 137.2 | 12.78 | 138.3 | 4.789 | 966.817 | 55.0112 | 90.8562
2020-03-06 06:30:00 | 12.25 | 135.6 | 12.66 | 152.1 | 13.04 | 136.2 | 12.92 | 140 | 4.698 | 966.824 | 55.6227 | 91.6913
2020-03-06 06:45:00 | 11.31 | 135.8 | 11.76 | 151.3 | 12.22 | 143.7 | 12.09 | 142 | 4.614 | 966.816 | 56.3091 | 92.2012
2020-03-06 07:00:00 | 12.03 | 134 | 12.91 | 149.2 | 13.9 | 139.4 | 13.78 | 140.2 | 4.623 | 966.471 | 56.3753 | 91.6396
2020-03-06 07:15:00 | 11.88 | 134.9 | 12.58 | 150.9 | 13.19 | 138 | 13.08 | 141.2 | 4.617 | 966.817 | 56.5105 | 91.5546
2020-03-06 07:30:00 | 12.17 | 134.4 | 12.47 | 150 | 12.57 | 137 | 12.52 | 140.3 | 4.618 | 966.955 | 56.3662 | 91.2959
2020-03-06 07:45:00 | 12.22 | 133.7 | 12.42 | 149.3 | 13.11 | 136.3 | 13.01 | 138.5 | 4.822 | 966.846 | 55.9522 | 89.0679
2020-03-06 08:00:00 | 11.6 | 137.4 | 11.64 | 153.9 | 12.78 | 143.1 | 12.78 | 141.2 | 4.897 | 966.68 | 55.7814 | 90.5274
2020-03-06 08:15:00 | 11.38 | 138.6 | 12.03 | 154.5 | 12.71 | 144 | 12.73 | 143.4 | 4.853 | 967.125 | 55.8156 | 88.3179
2020-03-06 08:30:00 | 11.9 | 136.4 | 12.23 | 153.9 | 12.62 | 143.6 | 12.61 | 141.6 | 5.016 | 967.125 | 55.6106 | 88.0112
2020-03-06 08:45:00 | 10.95 | 136.2 | 11.79 | 152.8 | 12.38 | 137.4 | 12.24 | 141.9 | 5.122 | 967.274 | 55.4057 | 82.2694
2020-03-06 09:00:00 | 11.92 | 135.5 | 12.29 | 151 | 12.32 | 140.3 | 12.27 | 141.6 | 5.319 | 967.72 | 54.8591 | 82.9282
2020-03-06 09:15:00 | 11 | 136.5 | 10.83 | 151.1 | 11.73 | 142.6 | 11.74 | 140.8 | 5.517 | 968.611 | 54.749 | 81.0073
2020-03-06 09:30:00 | 10.62 | 133.9 | 11.17 | 150.4 | 11.27 | 138.4 | 11.14 | 139.8 | 5.85 | 968.314 | 54.1578 | 83.4929
2020-03-06 09:45:00 | 11.62 | 139.6 | 12.12 | 155.5 | 11.86 | 142.9 | 11.71 | 144.2 | 6.18 | 968.7 | 53.6794 | 82.1829
2020-03-06 10:00:00 | 11.03 | 134.1 | 11.27 | 151.5 | 11.05 | 139.6 | 10.91 | 139.6 | 6.383 | 968.464 | 53.6111 | 79.7237
2020-03-06 10:15:00 | 10.37 | 138.6 | 10.21 | 156.6 | 9.83 | 145.9 | 9.74 | 142 | 6.647 | 968.464 | 52.4807 | 76.8602
2020-03-06 10:30:00 | 10.27 | 133 | 10.31 | 150.3 | 10.29 | 138.4 | 10.27 | 138.1 | 6.932 | 968.303 | 52.646 | 68.8988
2020-03-06 10:45:00 | 10.6 | 144.1 | 10.82 | 162.6 | 10.22 | 150.6 | 10 | 149.4 | 7.716 | 968.535 | 51.4868 | 69.8744
2020-03-06 11:00:00 | 10.05 | 138.2 | 10.14 | 155.4 | 9.43 | 142.9 | 9.24 | 142.9 | 7.882 | 968.398 | 51.2034 | 67.2055
2020-03-06 11:15:00 | 9.03 | 138.8 | 8.96 | 157.2 | 8.54 | 147 | 8.44 | 143.4 | 8.16 | 968.4 | 52.0908 | 61.5279
2020-03-06 11:30:00 | 9.25 | 140.2 | 9.62 | 159.5 | 9.23 | 150.6 | 9.08 | 143.8 | 8.04 | 968.323 | 51.8177 | 70.4755
2020-03-06 11:45:00 | 9.28 | 134.5 | 9.23 | 150.6 | 9.12 | 139.6 | 9.01 | 140.7 | 8.39 | 967.884 | 51.5447 | 67.139
2020-03-06 12:00:00 | 9.16 | 134.9 | 8.91 | 153.5 | 8.77 | 144.7 | 8.66 | 140.3 | 8.96 | 967.749 | 50.8961 | 59.2264
2020-03-06 12:15:00 | 8.77 | 137.3 | 8.95 | 154.5 | 9.1 | 145.3 | 8.93 | 143.7 | 9.37 | 967.723 | 50.3499 | 60.2785
2020-03-06 12:30:00 | 8.63 | 138.8 | 8.57 | 157.2 | 8.94 | 148 | 8.87 | 143.9 | 9.06 | 967.723 | 51.3398 | 57.7061
2020-03-06 12:45:00 | 8.95 | 140.4 | 8.71 | 159.5 | 8.49 | 153.8 | 8.39 | 144.4 | 9.38 | 967.574 | 51.8177 | 55.4618
2020-03-06 13:00:00 | 9.95 | 145.5 | 10.02 | 161.9 | 9.38 | 151 | 9.21 | 151.2 | 8.86 | 967.277 | 53.1832 | 55.382
2020-03-06 13:15:00 | 10.57 | 141.1 | 10.49 | 158.2 | 10.13 | 147 | 9.92 | 146 | 9.55 | 967.129 | 52.4663 | 54.508
2020-03-06 13:30:00 | 8.56 | 143.6 | 8.58 | 162.3 | 7.553 | 151.9 | 7.387 | 148.1 | 10.02 | 967.277 | 51.0668 | 56.4942
2020-03-06 13:45:00 | 9.58 | 147.1 | 9.33 | 163.3 | 8.9 | 152.6 | 8.74 | 153.5 | 10.2 | 967.277 | 50.2475 | 53.834
2020-03-06 14:00:00 | 9.32 | 150.3 | 9.55 | 166.8 | 9.07 | 156.3 | 8.82 | 153.7 | 10.66 | 967.129 | 48.8805 | 54.1709
2020-03-06 14:15:00 | 9.7 | 149.4 | 9.45 | 169.5 | 9.11 | 162.7 | 9.06 | 153.3 | 11.37 | 967.277 | 47.9162 | 63.5875
2020-03-06 14:30:00 | 10.09 | 150.7 | 10.28 | 166.8 | 10.25 | 151.6 | 10.08 | 154.8 | 11.08 | 966.683 | 49.4868 | 65.8395
2020-03-06 14:45:00 | 11.16 | 149.9 | 10.93 | 166.2 | 10.79 | 155.9 | 10.67 | 154.9 | 11.5 | 966.386 | 50.7846 | 62.7976
2020-03-06 15:00:00 | 10.45 | 147.5 | 10.79 | 164.1 | 10.53 | 153.6 | 10.5 | 152.6 | 11.31 | 966.238 | 49.8976 | 66.6745
2020-03-06 15:15:00 | 9.62 | 145.3 | 10.16 | 163 | 10.12 | 148.7 | 10.02 | 149.8 | 11.44 | 966.535 | 48.8737 | 69.7097
2020-03-06 15:30:00 | 9.83 | 150.6 | 9.52 | 167.7 | 9.31 | 155.5 | 9.19 | 156.1 | 11.67 | 966.535 | 48.3276 | 72.0347
2020-03-06 15:45:00 | 10.26 | 140.8 | 10.29 | 160.9 | 10.02 | 152.5 | 9.88 | 144.4 | 11.5 | 965.644 | 49.078 | 70.6528
2020-03-06 16:00:00 | 11.3 | 146.7 | 11.46 | 160.9 | 10.95 | 146 | 10.83 | 154.2 | 11.38 | 965.644 | 51.1945 | 76.3577
2020-03-06 16:15:00 | 11.15 | 144.8 | 11.53 | 161.4 | 11.12 | 148.9 | 10.84 | 150.3 | 11.16 | 965.347 | 53.037 | 72.5156
2020-03-06 16:30:00 | 9.44 | 148.4 | 9.86 | 165.4 | 10.48 | 158.2 | 10.45 | 153.1 | 11.26 | 965.347 | 52.7657 | 68.0311
2020-03-06 16:45:00 | 9.82 | 140.3 | 9.99 | 156.8 | 9.43 | 144.5 | 9.26 | 143.8 | 11.15 | 965.347 | 52.4988 | 60.3923
2020-03-06 17:00:00 | 9.78 | 143.7 | 10.25 | 157.7 | 9.67 | 145.3 | 9.53 | 152.2 | 11.05 | 965.347 | 51.6129 | 68.1229
2020-03-06 17:15:00 | 9.35 | 148.2 | 9.19 | 170.1 | 8.63 | 162.4 | 8.54 | 151.3 | 11.03 | 965.347 | 52.9783 | 64.7854
2020-03-06 17:30:00 | 10.93 | 141.1 | 11.24 | 158.6 | 11.08 | 146.6 | 10.78 | 145.6 | 10.63 | 965.05 | 53.2514 | 65.7333
2020-03-06 17:45:00 | 8.56 | 139 | 9.17 | 155.7 | 8.79 | 144.4 | 8.69 | 145.1 | 10.33 | 964.753 | 54.412 | 67.2314
2020-03-06 18:00:00 | 10.33 | 145.7 | 10.18 | 160.8 | 9.99 | 144.2 | 9.78 | 150 | 10.16 | 964.753 | 55.3678 | 64.7292
2020-03-06 18:15:00 | 9.73 | 148.3 | 9.7 | 166.2 | 9.57 | 157 | 9.5 | 152.9 | 9.96 | 964.617 | 57.0746 | 62.1214
2020-03-06 18:30:00 | 9.66 | 146.8 | 10.28 | 162.9 | 10.18 | 148.5 | 10.07 | 152.7 | 9.83 | 964.819 | 57.9033 | 59.5092
2020-03-06 18:45:00 | 8.86 | 146.5 | 8.46 | 165 | 8.4 | 158.9 | 8.34 | 150.3 | 9.63 | 964.868 | 58.8597 | 59.5614
2020-03-06 19:00:00 | 8.51 | 148.8 | 8.98 | 165.7 | 9.47 | 156.1 | 9.45 | 153 | 9.31 | 964.75 | 60.3663 | 68.4581
2020-03-06 19:15:00 | 10.62 | 147.3 | 10.91 | 164.4 | 10.62 | 152.7 | 10.5 | 152.6 | 9.49 | 965.047 | 61.4646 | 76.3782
2020-03-06 19:30:00 | 8.04 | 147.1 | 8.41 | 163.2 | 9.22 | 156.3 | 9.28 | 151.6 | 9.16 | 964.899 | 63.1722 | 77.9834
2020-03-06 19:45:00 | 10.2 | 147.8 | 10.9 | 164.6 | 11.19 | 154.2 | 11.05 | 151.8 | 9.01 | 964.75 | 63.3771 | 77.3352
2020-03-06 20:00:00 | 8.81 | 145.1 | 9.1 | 163.2 | 9.87 | 155.5 | 9.83 | 150 | 9.02 | 964.602 | 64.265 | 78.1623
2020-03-06 20:15:00 | 10.73 | 148.3 | 11.06 | 164.4 | 11.2 | 157.2 | 11.04 | 153 | 8.88 | 964.899 | 64.9138 | 77.2651
2020-03-06 20:30:00 | 9.28 | 151.7 | 9.57 | 167.5 | 9.89 | 157.5 | 10.05 | 154.3 | 8.78 | 965.098 | 64.8796 | 70.9078
2020-03-06 20:45:00 | 7.88 | 144.7 | 8.02 | 164 | 8.83 | 152.8 | 8.93 | 149.7 | 8.54 | 965.345 | 66.7919 | 70.372
2020-03-06 21:00:00 | 8.4 | 145.5 | 8.63 | 166.6 | 9.54 | 158.1 | 9.55 | 148.2 | 8.39 | 965.247 | 66.8602 | 62.9005
2020-03-06 21:15:00 | 7.995 | 145.1 | 8.38 | 163.8 | 9.48 | 156.6 | 9.39 | 148.1 | 8.39 | 965.894 | 66.3821 | 59.0399
2020-03-06 21:30:00 | 7.142 | 148.2 | 7.335 | 166.2 | 8.26 | 159.7 | 8.38 | 153.1 | 8.18 | 966.197 | 67.3382 | 59.9452
2020-03-06 21:45:00 | 7.466 | 148.3 | 7.693 | 163.3 | 8.33 | 152.5 | 8.33 | 152.9 | 8.02 | 966.219 | 68.1578 | 52.945
2020-03-06 22:00:00 | 7.65 | 146.1 | 7.941 | 162.4 | 8.42 | 149.1 | 8.37 | 150.3 | 7.829 | 965.936 | 68.7724 | 63.5366
2020-03-06 22:15:00 | 6.759 | 144.1 | 7.352 | 159.7 | 8.17 | 149 | 8.24 | 148.8 | 7.947 | 966.531 | 68.6358 | 49.0934
2020-03-06 22:30:00 | 8.06 | 144.1 | 8.38 | 162.4 | 8.9 | 148.1 | 8.98 | 149.2 | 7.947 | 966.531 | 68.7041 | 64.2792
2020-03-06 22:45:00 | 9.07 | 143.7 | 9.03 | 157.7 | 9.21 | 146.4 | 9.18 | 149.7 | 7.934 | 966.531 | 69.2505 | 63.8876
2020-03-06 23:00:00 | 8.72 | 143.5 | 9.15 | 159.9 | 9.59 | 147 | 9.58 | 148.3 | 7.879 | 966.531 | 69.592 | 70.1282
2020-03-06 23:15:00 | 9.43 | 141.1 | 9.92 | 158.1 | 10.06 | 147.1 | 9.98 | 145.9 | 7.95 | 966.679 | 69.2846 | 68.4101
2020-03-06 23:30:00 | 10.15 | 142.2 | 9.98 | 160.1 | 10.31 | 151.6 | 10.18 | 149 | 7.953 | 966.828 | 69.6603 | 66.038
2020-03-06 23:45:00 | 9.48 | 148.2 | 9.8 | 163.7 | 9.96 | 149.8 | 9.95 | 153.7 | 8 | 966.679 | 70.8896 | 67.4252