## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-07 00:00:00 | 8.55 | 148.5 | 8.94 | 167.1 | 10.23 | 156.3 | 10.27 | 153.3 | 7.945 | 966.828 | 71.2993 | 70.411
2020-03-07 00:15:00 | 8.28 | 153.5 | 8.9 | 170.2 | 9.61 | 159.5 | 9.59 | 156.9 | 7.88 | 966.828 | 72.1189 | 63.3333
2020-03-07 00:30:00 | 8.62 | 153.5 | 9.17 | 171.4 | 10.17 | 163.1 | 10.28 | 157 | 7.912 | 966.531 | 73.2116 | 60.3885
2020-03-07 00:45:00 | 9.7 | 154.7 | 9.86 | 170.3 | 9.88 | 160.1 | 9.87 | 157.8 | 7.914 | 966.679 | 73.6213 | 61.3972
2020-03-07 01:00:00 | 7.688 | 151.1 | 8.36 | 170.2 | 9.21 | 162.8 | 9.3 | 155.5 | 7.781 | 966.382 | 74.714 | 52.0825
2020-03-07 01:15:00 | 8.32 | 151.4 | 8.6 | 167.1 | 8.99 | 158.4 | 9.05 | 158.3 | 7.74 | 966.826 | 75.6702 | 47.6524
2020-03-07 01:30:00 | 7.767 | 154 | 7.877 | 172.2 | 8.12 | 163.3 | 8.21 | 156.1 | 7.818 | 966.679 | 77.6507 | 61.8833
2020-03-07 01:45:00 | 6.994 | 152.3 | 7.728 | 167.7 | 9.24 | 160.1 | 9.39 | 157.6 | 7.731 | 966.828 | 77.8563 | 43.9428
2020-03-07 02:00:00 | 8.12 | 156.6 | 8.52 | 170.6 | 9.01 | 157.4 | 9.1 | 162.5 | 7.66 | 966.519 | 78.5391 | 40.2533
2020-03-07 02:15:00 | 7.793 | 155.4 | 8.11 | 171.4 | 8.94 | 162 | 8.95 | 163.1 | 7.665 | 966.531 | 78.8118 | 35.2377
2020-03-07 02:30:00 | 6.935 | 157.3 | 7.168 | 172.7 | 7.546 | 162.2 | 7.614 | 162.8 | 7.678 | 966.679 | 78.8122 | 25.0437
2020-03-07 02:45:00 | 2.097 | 352.4 | 2.993 | 7.288 | 3.005 | 343.8 | 3.029 | 327.2 | 7.693 | 967.274 | 82.229 | 4.7737
2020-03-07 03:00:00 | 2.155 | 175.1 | 2.427 | 173.7 | 2.539 | 203.4 | 2.475 | 200.9 | 7.846 | 967.125 | 80.9973 | -0.51358
2020-03-07 03:15:00 | 1.37 | 128.8 | 1.751 | 167.3 | 1.76 | 82.6 | 1.7 | 156.4 | 7.732 | 967.125 | 82.2947 | -0.28081
2020-03-07 03:30:00 | 1.766 | 131.1 | 1.994 | 119.1 | 1.742 | 135.5 | 1.571 | 149.8 | 7.642 | 966.828 | 81.885 | -0.25125
2020-03-07 03:45:00 | 2.605 | 169.2 | 2.697 | 179.9 | 2.413 | 169.5 | 2.365 | 174.2 | 7.671 | 966.828 | 81.6127 | -0.24016
2020-03-07 04:00:00 | 2.505 | 163.3 | 2.814 | 180.2 | 2.861 | 170.5 | 2.839 | 173.5 | 7.601 | 966.531 | 81.9877 | -0.28081
2020-03-07 04:15:00 | 2.416 | 169.8 | 2.858 | 183.4 | 2.973 | 179 | 2.926 | 176 | 7.586 | 966.679 | 82.5709 | -0.15888
2020-03-07 04:30:00 | 2.666 | 171.9 | 3.277 | 187.2 | 3.624 | 184.4 | 3.621 | 178 | 7.406 | 966.531 | 83.0931 | -0.13301
2020-03-07 04:45:00 | 2.584 | 179.2 | 3.016 | 186.4 | 2.95 | 173.4 | 2.921 | 188.8 | 7.405 | 966.828 | 82.318 | -0.22539
2020-03-07 05:00:00 | 0.631 | 202.7 | 1.195 | 212.3 | 1.189 | 173.5 | 1.151 | 209.5 | 7.415 | 967.125 | 82.391 | -0.24016
2020-03-07 05:15:00 | 0.015 | 188.1 | 0.184 | 212.2 | 0.707 | 134 | 0.4 | 209.6 | 7.278 | 967.125 | 83.9624 | -0.24016
2020-03-07 05:30:00 | 0 | 188.2 | 0.068 | 212.2 | 0.009 | 102 | 0.065 | 209.9 | 7.187 | 967.125 | 84.0991 | -0.22539
2020-03-07 05:45:00 | 0 | 188.2 | 0.615 | 212.2 | 0.773 | 102.1 | 0.237 | 209.9 | 7.071 | 967.422 | 84.2357 | -0.24016
2020-03-07 06:00:00 | 0 | 188.2 | 0.586 | 212.2 | 0.283 | 102.2 | 0.046 | 209.9 | 7.002 | 967.571 | 84.4748 | -0.24016
2020-03-07 06:15:00 | 0.324 | 188.2 | 0 | 212.2 | 0.05 | 191.9 | 0 | 209.9 | 7.003 | 967.719 | 85.1921 | -0.24016
2020-03-07 06:30:00 | 2.855 | 341.8 | 2.096 | 308.9 | 0.477 | 337.7 | 0.15 | 215.9 | 6.999 | 968.017 | 85.3288 | -0.25125
2020-03-07 06:45:00 | 2.462 | 347.1 | 2.239 | 0.146 | 1.413 | 355.2 | 1.05 | 337.6 | 6.668 | 968.314 | 86.3535 | -0.25125
2020-03-07 07:00:00 | 1.846 | 349.6 | 2.395 | 0.146 | 1.846 | 4.288 | 1.759 | 337.7 | 6.525 | 968.314 | 87.0709 | -0.25125
2020-03-07 07:15:00 | 3.013 | 338.1 | 3.482 | 359.8 | 3.382 | 356.7 | 3.379 | 335.3 | 6.623 | 968.611 | 85.5337 | -0.32145
2020-03-07 07:30:00 | 2.903 | 339.7 | 3.681 | 4.968 | 3.899 | 5.686 | 3.886 | 336.8 | 6.652 | 968.611 | 86.6951 | 0.76853
2020-03-07 07:45:00 | 2.612 | 336.8 | 3.694 | 4.927 | 4.73 | 21.77 | 4.719 | 332.8 | 6.551 | 968.908 | 87.4466 | 1.6442
2020-03-07 08:00:00 | 2.648 | 344.7 | 3.433 | 10.74 | 4.466 | 14.28 | 4.8 | 336.6 | 6.52 | 969.205 | 87.642 | 4.4818
2020-03-07 08:15:00 | 1.83 | 5.083 | 3.157 | 35.62 | 3.225 | 18.88 | 3.415 | 351.8 | 6.614 | 969.502 | 86.6659 | 6.2812
2020-03-07 08:30:00 | 4.042 | 6.715 | 4.085 | 36.77 | 3.932 | 26.93 | 4.135 | 352.5 | 6.648 | 969.641 | 87.1436 | 7.6151
2020-03-07 08:45:00 | 4.775 | 14.76 | 4.911 | 40.29 | 4.079 | 33.32 | 4.288 | 357 | 6.714 | 969.355 | 86.6656 | 7.9144
2020-03-07 09:00:00 | 4.492 | 17.39 | 5.432 | 38.94 | 4.4 | 29.01 | 4.219 | 9.91 | 7.002 | 969.949 | 84.206 | 7.5301
2020-03-07 09:15:00 | 4.387 | 13.49 | 5.259 | 38.81 | 4.595 | 30.33 | 4.619 | 0.997 | 7.678 | 970.317 | 82.0762 | 8.2469
2020-03-07 09:30:00 | 6.618 | 12.96 | 6.818 | 31.47 | 6.045 | 21.52 | 6.084 | 11.05 | 7.697 | 970.148 | 82.302 | 11.6351
2020-03-07 09:45:00 | 5.237 | 14.75 | 6.089 | 31.66 | 4.985 | 18.14 | 4.925 | 14.7 | 7.828 | 970.14 | 81.5839 | 10.6596
2020-03-07 10:00:00 | 4.716 | 20.23 | 6.082 | 39.19 | 4.857 | 23.32 | 4.932 | 15.21 | 8.46 | 970.397 | 77.7949 | 9.9059
2020-03-07 10:15:00 | 4.807 | 13.36 | 5.463 | 33.38 | 5.16 | 56.76 | 5.055 | 8.52 | 8.72 | 970.692 | 76.2588 | 9.0967
2020-03-07 10:30:00 | 4.397 | 11.61 | 5.09 | 35.13 | 4.57 | 32.07 | 4.535 | 1.712 | 9.19 | 970.989 | 72.9104 | 9.9244
2020-03-07 10:45:00 | 5.201 | 19.91 | 5.772 | 40.05 | 5.157 | 27.96 | 5.078 | 14.85 | 9.39 | 970.841 | 68.8049 | 8.2912
2020-03-07 11:00:00 | 3.979 | 17.05 | 5.783 | 35.87 | 4.964 | 36.64 | 4.604 | 12.29 | 10.1 | 971.286 | 66.1092 | 12.0415
2020-03-07 11:15:00 | 4.89 | 14.22 | 6.087 | 36.02 | 5.005 | 69.79 | 4.876 | 11.13 | 9.81 | 971.545 | 66.7518 | 15.16
2020-03-07 11:30:00 | 4.882 | 7.937 | 4.911 | 29.63 | 4.407 | 83.2 | 4.502 | 1.587 | 10.24 | 971.603 | 67.2241 | 16.1354
2020-03-07 11:45:00 | 2.28 | 16.23 | 4.478 | 38.89 | 4.87 | 82.3 | 4.487 | 6.582 | 10.68 | 971.585 | 64.0846 | 17.4138
2020-03-07 12:00:00 | 4.483 | 10.51 | 5.742 | 31.71 | 5.208 | 80 | 5.21 | 7.98 | 10.75 | 971.732 | 62.2078 | 15.0232
2020-03-07 12:15:00 | 4.198 | 12.56 | 5.361 | 33.3 | 4.672 | 79.65 | 4.701 | 2.837 | 10.79 | 971.286 | 63.7762 | 14.4912
2020-03-07 12:30:00 | 4.657 | 11.42 | 5.519 | 31.36 | 5.18 | 79.18 | 5.256 | 5.261 | 10.94 | 970.99 | 62.165 | 12.6253
2020-03-07 12:45:00 | 2.869 | 27.82 | 5.197 | 40.15 | 5.425 | 80.3 | 5.337 | 29.8 | 11.56 | 970.99 | 56.6728 | 9.6362
2020-03-07 13:00:00 | 4.696 | 13.24 | 5.177 | 30.58 | 4.616 | 78.74 | 4.632 | 9.62 | 11.2 | 970.841 | 55.4051 | 7.9328
2020-03-07 13:15:00 | 3.61 | 17.55 | 5.376 | 33.35 | 5.155 | 79.01 | 5.057 | 20.78 | 11.64 | 970.99 | 53.8743 | 7.7481
2020-03-07 13:30:00 | 3.378 | 17.54 | 4.297 | 34.61 | 4.272 | 78.8 | 4.146 | 14.16 | 11.56 | 970.99 | 52.3009 | 9.1189
2020-03-07 13:45:00 | 3.217 | 18.35 | 4.297 | 32.11 | 4.102 | 81.3 | 3.876 | 16.32 | 11.96 | 970.99 | 50.9004 | 7.4266
2020-03-07 14:00:00 | 3.81 | 358.2 | 4.104 | 29.08 | 4.298 | 80.3 | 4.321 | 358.2 | 12.3 | 970.99 | 48.9519 | 8.8381
2020-03-07 14:15:00 | 1.949 | 24.35 | 3.653 | 36.61 | 4.339 | 24.13 | 4.196 | 20.92 | 12.72 | 971.435 | 47.8937 | 7.8109
2020-03-07 14:30:00 | 2.631 | 1.772 | 3.405 | 22.57 | 3.853 | 8.93 | 3.804 | 347.1 | 12.72 | 971.138 | 48.1324 | 9.6103
2020-03-07 14:45:00 | 3.314 | 9.95 | 4.127 | 23.2 | 4.262 | 7.191 | 4.291 | 3.414 | 12.83 | 970.99 | 45.6422 | 9.4514
2020-03-07 15:00:00 | 2.726 | 15.82 | 4.195 | 39.25 | 3.962 | 7.648 | 3.82 | 1.024 | 13.32 | 971.669 | 45.881 | 9.6694
2020-03-07 15:15:00 | 2.92 | 10.25 | 4.218 | 25.98 | 4.008 | 10.44 | 3.962 | 8.88 | 13.1 | 971.111 | 44.7553 | 8.4945
2020-03-07 15:30:00 | 2.643 | 14.34 | 4.384 | 37.56 | 3.586 | 23.11 | 3.496 | 7.635 | 13.06 | 971.353 | 44.4482 | 8.1693
2020-03-07 15:45:00 | 1.715 | 16.89 | 3.019 | 34.13 | 2.855 | 32.47 | 2.607 | 10.1 | 12.88 | 971.278 | 42.3674 | 6.4918
2020-03-07 16:00:00 | 3.81 | 12.87 | 4.648 | 25.11 | 3.868 | 12.67 | 3.766 | 5.735 | 12.95 | 971.007 | 44.4141 | 7.4377
2020-03-07 16:15:00 | 1.792 | 14.05 | 3.073 | 40.43 | 3.087 | 6.9 | 3.109 | 358.7 | 12.83 | 971.422 | 42.231 | 6.4438
2020-03-07 16:30:00 | 2.05 | 15.9 | 3.54 | 32.77 | 3.049 | 1.689 | 2.992 | 1.38 | 12.74 | 971.416 | 42.0945 | 5.2947
2020-03-07 16:45:00 | 1.995 | 10.82 | 3.52 | 33.39 | 2.945 | 9.14 | 2.923 | 359.1 | 12.47 | 970.988 | 44.2777 | 4.1899
2020-03-07 17:00:00 | 2.628 | 355.1 | 2.814 | 15.39 | 3.001 | 351.6 | 3 | 355 | 12.42 | 970.544 | 45.4375 | 3.3475
2020-03-07 17:15:00 | 2.03 | 4.05 | 2.773 | 20.75 | 2.973 | 358 | 3.03 | 347.5 | 12.19 | 970.247 | 46.6675 | 4.1419
2020-03-07 17:30:00 | 2.898 | 345.6 | 3.395 | 8.05 | 3.672 | 2.631 | 3.708 | 346.4 | 11.92 | 969.653 | 48.1134 | 4.1789
2020-03-07 17:45:00 | 3.457 | 10.14 | 3.794 | 12.58 | 4.018 | 1.935 | 4.135 | 1.669 | 11.65 | 968.935 | 49.0019 | 3.7724
2020-03-07 18:00:00 | 3.371 | 10.7 | 3.502 | 15.71 | 3.446 | 359.8 | 3.371 | 6.67 | 11.42 | 968.907 | 50.716 | 4.201
2020-03-07 18:15:00 | 3.077 | 9.44 | 3.998 | 26.55 | 4.323 | 15.74 | 4.12 | 16.14 | 11.06 | 968.316 | 52.5658 | 5.4462
2020-03-07 18:30:00 | 3.325 | 18.28 | 4.226 | 32.62 | 4.046 | 12.39 | 4.016 | 24.81 | 11.05 | 968.316 | 52.3639 | 3.8796
2020-03-07 18:45:00 | 3.187 | 35.25 | 3.786 | 39.64 | 3.865 | 33.68 | 3.842 | 41.14 | 11.09 | 968.321 | 49.8379 | 1.3634
2020-03-07 19:00:00 | 2.748 | 50.29 | 3.121 | 54.75 | 2.522 | 44.14 | 2.458 | 60.75 | 11.42 | 968.701 | 46.2195 | 0.096066
2020-03-07 19:15:00 | 3.222 | 53.3 | 3.157 | 71.83 | 3.049 | 58.89 | 3.203 | 61.27 | 11.53 | 968.052 | 47.3463 | 0.29928
2020-03-07 19:30:00 | 2.326 | 67.33 | 2.298 | 75.87 | 2.935 | 58.48 | 3.3 | 83 | 11.57 | 968.039 | 47.0438 | -0.055423
2020-03-07 19:45:00 | 2.5 | 86.5 | 2.188 | 78.77 | 2.79 | 50.73 | 2.933 | 103.7 | 11.74 | 968.366 | 46.7065 | -0.022169
2020-03-07 20:00:00 | 2.099 | 110.1 | 2.758 | 121.2 | 3.153 | 84.5 | 3.188 | 117.4 | 11.92 | 968.572 | 43.4962 | 0.23647
2020-03-07 20:15:00 | 1.813 | 133.5 | 2.393 | 156.9 | 2.894 | 139.6 | 2.824 | 137.8 | 12.43 | 968.665 | 43.9738 | 0.19952
2020-03-07 20:30:00 | 0.221 | 151.5 | 1.086 | 158.6 | 1.845 | 173.2 | 1.841 | 144.3 | 11.94 | 968.68 | 45.3366 | 0.033254
2020-03-07 20:45:00 | 0.872 | 123.5 | 1.492 | 150.4 | 2.538 | 168.7 | 2.714 | 124.5 | 11.68 | 968.883 | 45.6825 | 0.31037
2020-03-07 21:00:00 | 2.482 | 119.1 | 2.768 | 138.3 | 2.8 | 140.8 | 2.837 | 120.1 | 11.81 | 969.08 | 46.1606 | 1.0604
2020-03-07 21:15:00 | 3.537 | 117.9 | 4.213 | 136.5 | 4.672 | 123.3 | 4.724 | 121.2 | 12.12 | 968.973 | 43.8045 | 2.0839
2020-03-07 21:30:00 | 3.391 | 120.5 | 3.988 | 141.1 | 4.435 | 128 | 4.436 | 123.6 | 12.06 | 968.948 | 43.4964 | 3.536
2020-03-07 21:45:00 | 3.087 | 127 | 3.566 | 143.1 | 4.468 | 129.2 | 4.494 | 128.9 | 11.89 | 968.947 | 44.5149 | 7.8737
2020-03-07 22:00:00 | 3.769 | 118.7 | 3.934 | 134.2 | 4.122 | 127 | 4.252 | 118.5 | 11.94 | 968.973 | 44.4448 | 11.4799
2020-03-07 22:15:00 | 4.663 | 125 | 5.284 | 140.5 | 5.77 | 125 | 5.686 | 135.9 | 11.96 | 968.776 | 42.4647 | 12.8211
2020-03-07 22:30:00 | 5.911 | 133.4 | 6.069 | 148.6 | 6.221 | 133.1 | 6.147 | 139.9 | 11.89 | 968.935 | 42.3281 | 16.612
2020-03-07 22:45:00 | 6.726 | 133 | 6.956 | 146.9 | 7.268 | 132.7 | 7.151 | 139.5 | 11.96 | 968.813 | 41.543 | 20.7798
2020-03-07 23:00:00 | 6.133 | 132.8 | 6.399 | 145.1 | 6.592 | 128.3 | 6.557 | 138.6 | 12.16 | 969.016 | 42.3963 | 21.0569
2020-03-07 23:15:00 | 4.749 | 139.5 | 4.995 | 155.3 | 5.638 | 137.3 | 5.564 | 142.5 | 12.01 | 969.081 | 43.6935 | 24.3047
2020-03-07 23:30:00 | 4.203 | 141.2 | 4.832 | 157.2 | 5.305 | 143 | 5.271 | 144.6 | 11.86 | 968.95 | 44.1031 | 26.5881
2020-03-07 23:45:00 | 5.824 | 134.1 | 5.974 | 150.2 | 6.439 | 133.7 | 6.463 | 138.8 | 11.65 | 968.815 | 42.4646 | 35.4594