## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-08 00:00:00 | 6.695 | 136.2 | 7.041 | 155.2 | 6.836 | 146.9 | 6.741 | 137.4 | 11.41 | 968.963 | 44.6497 | 49.2338
2020-03-08 00:15:00 | 5.906 | 125.7 | 6.327 | 145.6 | 6.734 | 140.1 | 6.878 | 128.1 | 10.87 | 968.368 | 46.6978 | 47.3199
2020-03-08 00:30:00 | 5.837 | 129.7 | 5.821 | 149.9 | 5.847 | 136.7 | 5.941 | 136 | 10.82 | 968.205 | 50.255 | 48.1143
2020-03-08 00:45:00 | 7.134 | 129.8 | 7.225 | 147.7 | 7.35 | 136.8 | 7.319 | 130.2 | 10.57 | 968.169 | 52.9193 | 48.1069
2020-03-08 01:00:00 | 8.06 | 132.5 | 8.02 | 148.7 | 7.983 | 132.7 | 7.938 | 135.9 | 10.67 | 968.194 | 54.0118 | 50.4236
2020-03-08 01:15:00 | 7.612 | 124.5 | 8.14 | 141.9 | 7.813 | 126.2 | 7.797 | 129.3 | 10.01 | 968.396 | 60.0895 | 44.8919
2020-03-08 01:30:00 | 8.23 | 130.6 | 8.56 | 149.7 | 8.81 | 141.4 | 8.91 | 134.8 | 9.46 | 968.306 | 63.7085 | 45.9787
2020-03-08 01:45:00 | 8.22 | 131.3 | 9.03 | 148.6 | 9.19 | 135.6 | 9.3 | 135.5 | 9.08 | 968.018 | 65.8327 | 45.2101
2020-03-08 02:00:00 | 8.93 | 128.3 | 9.45 | 145.9 | 10.26 | 137 | 10.36 | 134.4 | 9.02 | 967.721 | 66.7917 | 44.5266
2020-03-08 02:15:00 | 8.74 | 133.6 | 9.25 | 150.6 | 9.81 | 141.6 | 9.73 | 137.7 | 8.9 | 968.018 | 69.0456 | 46.6179
2020-03-08 02:30:00 | 8.66 | 128.9 | 9.11 | 144.2 | 10.13 | 130.3 | 10.15 | 134.2 | 8.87 | 967.424 | 68.8407 | 50.7598
2020-03-08 02:45:00 | 7.701 | 128.8 | 7.946 | 147.4 | 8.74 | 131.1 | 8.8 | 133.9 | 8.77 | 967.788 | 71.9139 | 49.692
2020-03-08 03:00:00 | 7.946 | 129.9 | 8.3 | 146.8 | 9.12 | 138.2 | 9.12 | 135.6 | 8.73 | 967.4 | 75.6701 | 55.467
2020-03-08 03:15:00 | 8.49 | 127.8 | 9.14 | 141.1 | 9.62 | 124.9 | 9.63 | 135.4 | 8.59 | 967.088 | 78.4019 | 56.6974
2020-03-08 03:30:00 | 8.82 | 126.1 | 9.4 | 140.5 | 9.68 | 126.9 | 9.76 | 133.4 | 8.37 | 967.036 | 80.9629 | 51.3731
2020-03-08 03:45:00 | 7.803 | 126.1 | 8.22 | 139.5 | 8.54 | 128.8 | 8.56 | 133 | 8.42 | 967.381 | 82.0898 | 46.1154
2020-03-08 04:00:00 | 8.03 | 125.5 | 8.81 | 137.5 | 9.02 | 123.4 | 9 | 132 | 8.3 | 967.124 | 82.4313 | 49.3927
2020-03-08 04:15:00 | 8.53 | 125 | 9.42 | 138.7 | 10.07 | 124.5 | 10.07 | 131.2 | 8.19 | 967.092 | 82.3971 | 48.5687
2020-03-08 04:30:00 | 7.688 | 128.8 | 8.19 | 143.2 | 8.5 | 125.8 | 8.47 | 134.9 | 8.41 | 967.125 | 83.0118 | 42.3614
2020-03-08 04:45:00 | 7.27 | 124 | 8.04 | 139.1 | 8.8 | 126.6 | 8.8 | 130.8 | 8.34 | 967.271 | 82.9435 | 37.0556
2020-03-08 05:00:00 | 4.711 | 114.4 | 5.558 | 127.5 | 6.686 | 106.8 | 6.789 | 123.8 | 7.809 | 967.274 | 84.8899 | 35.2895
2020-03-08 05:15:00 | 5.536 | 117.5 | 6.662 | 132.6 | 7.357 | 118.8 | 7.456 | 125.2 | 7.955 | 967.422 | 82.8069 | 39.2134
2020-03-08 05:30:00 | 6.999 | 117.5 | 7.787 | 135 | 8.48 | 121.9 | 8.6 | 122 | 8.11 | 967.274 | 82.7762 | 47.6155
2020-03-08 05:45:00 | 7.024 | 117.2 | 7.997 | 133.4 | 9.23 | 121.2 | 9.29 | 124.8 | 8.04 | 967.422 | 82.5 | 53.8745
2020-03-08 06:00:00 | 7.609 | 119.1 | 8.55 | 133.9 | 9.28 | 122.1 | 9.24 | 127.7 | 8.31 | 967.422 | 80.9288 | 48.687
2020-03-08 06:15:00 | 7.635 | 116.6 | 8.75 | 131.7 | 9.18 | 116.5 | 9.18 | 124.7 | 8.36 | 967.571 | 80.041 | 44.3086
2020-03-08 06:30:00 | 7.397 | 116.4 | 8.28 | 131 | 8.99 | 116.4 | 9.02 | 123.9 | 7.953 | 967.571 | 80.6556 | 48.0301
2020-03-08 06:45:00 | 6.483 | 111.5 | 7.322 | 126.1 | 8.19 | 112.4 | 8.24 | 118.9 | 7.622 | 967.571 | 80.9971 | 44.2199
2020-03-08 07:00:00 | 6.846 | 98.7 | 7.281 | 110.7 | 7.602 | 91.7 | 7.777 | 109.8 | 7.507 | 967.125 | 81.1341 | 60.7887
2020-03-08 07:15:00 | 5.523 | 101.9 | 6.197 | 118.1 | 7.116 | 94.9 | 7.375 | 109 | 7.473 | 967.719 | 80.8299 | 35.339
2020-03-08 07:30:00 | 3.593 | 113 | 4.19 | 128.1 | 5.051 | 116.1 | 5.207 | 122.1 | 7.982 | 967.719 | 79.3589 | 34.7537
2020-03-08 07:45:00 | 5.822 | 111.4 | 6.491 | 125.2 | 7.243 | 107 | 7.349 | 118.8 | 7.684 | 968.017 | 79.4264 | 32.4075
2020-03-08 08:00:00 | 5.947 | 111.6 | 6.726 | 126.3 | 7.22 | 110.8 | 7.337 | 120.1 | 7.781 | 968.314 | 79.0166 | 31.0108
2020-03-08 08:15:00 | 6.874 | 123.1 | 7.066 | 139.5 | 7.375 | 130.2 | 7.395 | 129.3 | 7.883 | 968.258 | 77.9239 | 39.8711
2020-03-08 08:30:00 | 6.736 | 115.2 | 7.084 | 134.7 | 7.251 | 128.4 | 7.224 | 121.9 | 7.94 | 968.619 | 77.719 | 36.8117
2020-03-08 08:45:00 | 6.108 | 113.5 | 6.381 | 131.8 | 6.572 | 122.3 | 6.552 | 121.2 | 8.03 | 968.612 | 76.9678 | 26.008
2020-03-08 09:00:00 | 4.55 | 117 | 4.878 | 131.3 | 5.302 | 115.1 | 5.304 | 122.7 | 8.32 | 969.206 | 75.9091 | 26.093
2020-03-08 09:15:00 | 5.689 | 125.8 | 6.159 | 144.2 | 7.057 | 137.6 | 7.021 | 131.2 | 8.55 | 969.206 | 75.3188 | 33.5344
2020-03-08 09:30:00 | 6.774 | 129.4 | 7.058 | 149.5 | 7.375 | 138.4 | 7.454 | 133.4 | 8.61 | 968.981 | 74.633 | 31.8126
2020-03-08 09:45:00 | 5.658 | 114.5 | 5.913 | 136.7 | 5.765 | 128.8 | 5.834 | 119.4 | 9.01 | 969.067 | 72.8596 | 26.928
2020-03-08 10:00:00 | 5.492 | 130.1 | 5.422 | 150.6 | 5.173 | 143.2 | 5.174 | 131 | 9.72 | 969.224 | 71.2417 | 29.3629
2020-03-08 10:15:00 | 5.043 | 134.7 | 5.422 | 156 | 5.274 | 147.1 | 5.284 | 138.5 | 10.1 | 969.515 | 68.3393 | 31.2584
2020-03-08 10:30:00 | 5.536 | 131.8 | 5.642 | 155.1 | 5.119 | 145 | 5.085 | 131.4 | 10.29 | 969.653 | 67.9297 | 30.5194
2020-03-08 10:45:00 | 6.71 | 138.8 | 6.486 | 159.9 | 5.844 | 150.1 | 5.722 | 143.5 | 10.93 | 969.504 | 67.7815 | 32.2006
2020-03-08 11:00:00 | 8.02 | 128 | 8.19 | 145.1 | 8.08 | 137.1 | 8.01 | 133.1 | 10.48 | 969.207 | 66.2799 | 33.7672
2020-03-08 11:15:00 | 6.971 | 135.9 | 7.207 | 155 | 6.981 | 144.4 | 6.898 | 139.8 | 11.13 | 969.356 | 62.5255 | 40.9056
2020-03-08 11:30:00 | 7.951 | 126.6 | 8.3 | 143.9 | 7.973 | 130.5 | 7.912 | 129.7 | 11.37 | 969.207 | 60.9205 | 49.1821
2020-03-08 11:45:00 | 7.527 | 121.7 | 7.964 | 138.8 | 7.464 | 127.8 | 7.479 | 127.2 | 11.71 | 969.362 | 58.6254 | 46.8182
2020-03-08 12:00:00 | 6.963 | 126.4 | 7.457 | 142.2 | 7.037 | 129 | 6.858 | 134.2 | 12 | 969.209 | 56.748 | 43.3403
2020-03-08 12:15:00 | 8.47 | 154.1 | 8.17 | 171.2 | 7.716 | 163.1 | 7.642 | 158.6 | 12.26 | 969.208 | 53.6086 | 32.3853
2020-03-08 12:30:00 | 5.653 | 131.9 | 5.668 | 150.5 | 5.005 | 142.8 | 5.027 | 137.5 | 12.57 | 969.06 | 53.3697 | 27.2457
2020-03-08 12:45:00 | 7.448 | 153.3 | 7.204 | 169.9 | 6.912 | 160.6 | 6.848 | 159.5 | 12.45 | 969.208 | 53.8134 | 25.7494
2020-03-08 13:00:00 | 6.613 | 129 | 6.913 | 143.2 | 6.742 | 129.7 | 6.618 | 134.5 | 12.4 | 969.06 | 53.4039 | 25.3984
2020-03-08 13:15:00 | 6.514 | 129.3 | 6.785 | 145.5 | 6.605 | 134.3 | 6.646 | 135.9 | 12.78 | 968.911 | 51.6636 | 24.4282
2020-03-08 13:30:00 | 6.348 | 147.1 | 6.36 | 161.3 | 6.037 | 148.9 | 5.936 | 151 | 13.05 | 968.763 | 52.4748 | 22.9213
2020-03-08 13:45:00 | 6.555 | 151.2 | 6.274 | 168.7 | 5.557 | 161 | 5.477 | 154.6 | 13.07 | 968.021 | 54.2561 | 14.3508
2020-03-08 14:00:00 | 4.923 | 172.2 | 4.855 | 187.7 | 4.064 | 183.3 | 4.013 | 172.8 | 13.26 | 967.724 | 53.711 | 9.2445
2020-03-08 14:15:00 | 5.012 | 147.2 | 5.067 | 168.2 | 4.728 | 157.6 | 4.599 | 151.8 | 13.58 | 968.021 | 52.5508 | 4.1678
2020-03-08 14:30:00 | 3.305 | 132.3 | 3.569 | 153.2 | 3.461 | 151 | 3.337 | 145 | 13.63 | 968.021 | 51.3899 | 3.8796
2020-03-08 14:45:00 | 4.918 | 137.3 | 4.898 | 155.4 | 4.855 | 147.1 | 4.749 | 142.1 | 13.58 | 967.575 | 52.0989 | 3.4953
2020-03-08 15:00:00 | 3.291 | 127.8 | 4.448 | 153.5 | 3.634 | 144.6 | 3.417 | 128.6 | 14.23 | 967.427 | 50.5616 | 1.9176
2020-03-08 15:15:00 | 2.883 | 138.9 | 3.344 | 162.6 | 3.436 | 145.6 | 3.402 | 139.9 | 14.35 | 967.724 | 48.6827 | 1.9361
2020-03-08 15:30:00 | 4.286 | 139.2 | 4.323 | 157.8 | 3.908 | 143.6 | 3.906 | 151.8 | 14.48 | 967.427 | 47.0073 | 0.73527
2020-03-08 15:45:00 | 1.51 | 129.3 | 2.233 | 155.1 | 2.063 | 123 | 1.891 | 130.1 | 14.55 | 967.724 | 47.6207 | 0.43599
2020-03-08 16:00:00 | 2.424 | 65.78 | 2.628 | 81.3 | 2.243 | 47.91 | 2.13 | 80.3 | 14.06 | 966.833 | 47.4856 | 0.93849
2020-03-08 16:15:00 | 2.722 | 153.7 | 2.883 | 167.5 | 2.347 | 149.6 | 2.271 | 160.3 | 14.11 | 966.536 | 47.1459 | 0.13671
2020-03-08 16:30:00 | 3.22 | 112.6 | 3.436 | 139.5 | 3.296 | 135.9 | 3.211 | 111.6 | 14.38 | 966.536 | 46.6789 | -0.033254
2020-03-08 16:45:00 | 1.799 | 108.1 | 1.908 | 134.6 | 1.943 | 126.8 | 1.783 | 115.6 | 14.14 | 966.536 | 46.4085 | -0.077592
2020-03-08 17:00:00 | 2.722 | 89.6 | 3.441 | 102.5 | 3.082 | 93.1 | 3.183 | 95.7 | 14.2 | 966.536 | 47.0227 | -0.2882
2020-03-08 17:15:00 | 1.626 | 69.02 | 2.848 | 83.8 | 2.662 | 70.1 | 2.666 | 75.09 | 13.93 | 966.388 | 46.9544 | 1.2673
2020-03-08 17:30:00 | 2.962 | 71.85 | 3.702 | 83.3 | 3.982 | 63.13 | 3.955 | 77.9 | 13.75 | 966.091 | 46.8179 | 1.9287
2020-03-08 17:45:00 | 2.321 | 79.23 | 3.055 | 91.3 | 3.072 | 64.44 | 3.043 | 87 | 13.61 | 965.925 | 46.9558 | 1.5962
2020-03-08 18:00:00 | 2.852 | 126.5 | 3.062 | 140.6 | 2.736 | 133.7 | 2.699 | 130.8 | 13.58 | 965.94 | 46.2793 | 1.1454
2020-03-08 18:15:00 | 2.931 | 105.2 | 3.546 | 125.7 | 3.26 | 109.8 | 3.252 | 109.4 | 13.5 | 966.089 | 46.1433 | 0.8609
2020-03-08 18:30:00 | 3.429 | 105.7 | 3.852 | 125.1 | 3.911 | 106.5 | 3.899 | 109.3 | 13.45 | 965.941 | 44.2996 | 1.6479
2020-03-08 18:45:00 | 3.44 | 112 | 3.929 | 130.5 | 4.005 | 118.3 | 4.054 | 116.6 | 13.31 | 965.941 | 44.4356 | 3.1332
2020-03-08 19:00:00 | 2.229 | 103.1 | 2.63 | 114.4 | 2.678 | 94.5 | 2.689 | 108.1 | 13.17 | 966.089 | 43.6185 | 2.531
2020-03-08 19:15:00 | 0.924 | 0.904 | 2.175 | 32.65 | 1.922 | 348.6 | 1.717 | 10.36 | 12.87 | 966.534 | 48.1952 | 2.9596
2020-03-08 19:30:00 | 1.318 | 52.15 | 2.295 | 61.65 | 2.383 | 61.48 | 2.215 | 52.92 | 12.77 | 966.98 | 43.4193 | 1.6405
2020-03-08 19:45:00 | 1.177 | 108.7 | 1.883 | 136.7 | 1.601 | 149 | 1.655 | 102.2 | 12.68 | 967.128 | 41.4405 | 2.2095
2020-03-08 20:00:00 | 2.753 | 125.4 | 2.814 | 143.8 | 2.551 | 131.9 | 2.511 | 130.2 | 12.3 | 967.128 | 44.9565 | 6.1593
2020-03-08 20:15:00 | 5.449 | 121.5 | 5.448 | 139 | 5.6 | 125.9 | 5.592 | 128.6 | 11.92 | 967.128 | 47.3801 | 9.6325
2020-03-08 20:30:00 | 4.831 | 132.7 | 5.018 | 146.7 | 5.183 | 130.5 | 5.215 | 137.5 | 11.77 | 967.425 | 48.1311 | 9.5179
2020-03-08 20:45:00 | 4.083 | 124 | 4.65 | 139.4 | 4.847 | 128 | 4.787 | 130.4 | 11.67 | 967.425 | 49.9744 | 9.2039
2020-03-08 21:00:00 | 4.382 | 122.6 | 4.86 | 134.3 | 5.066 | 120.4 | 5.093 | 126.5 | 11.28 | 967.277 | 52.7735 | 14.1697
2020-03-08 21:15:00 | 5.115 | 121.9 | 5.698 | 135.9 | 5.844 | 125.7 | 5.806 | 130.3 | 11.03 | 967.128 | 54.412 | 13.2386
2020-03-08 21:30:00 | 5.643 | 127.6 | 5.816 | 142.1 | 5.585 | 129.2 | 5.462 | 133.9 | 10.79 | 966.864 | 55.7774 | 11.3506
2020-03-08 21:45:00 | 4.836 | 123.3 | 5.432 | 136.7 | 5.147 | 121.9 | 5.037 | 132.1 | 10.59 | 966.867 | 55.9822 | 11.2582
2020-03-08 22:00:00 | 4.954 | 127.8 | 5.397 | 142.2 | 5.203 | 131.1 | 5.129 | 136.3 | 10.75 | 967.016 | 55.7774 | 11.1806
2020-03-08 22:15:00 | 4.777 | 127.7 | 5.271 | 144.9 | 5.544 | 136.7 | 5.452 | 136 | 10.59 | 967.036 | 56.8016 | 13.4382
2020-03-08 22:30:00 | 4.586 | 128.2 | 4.878 | 139.7 | 5.023 | 130.9 | 4.95 | 136 | 10.38 | 966.99 | 59.1912 | 11.8124
2020-03-08 22:45:00 | 3.93 | 130.8 | 4.494 | 145 | 5.188 | 138.8 | 5.078 | 141.1 | 10.32 | 966.85 | 57.6956 | 12.7066
2020-03-08 23:00:00 | 4.086 | 130.2 | 4.364 | 143.5 | 4.25 | 130.3 | 4.25 | 139.9 | 10.37 | 967.097 | 56.4336 | 11.6794
2020-03-08 23:15:00 | 1.798 | 109.6 | 2.231 | 120 | 2.805 | 87.4 | 2.961 | 123 | 10.33 | 966.641 | 57.0165 | 11.9787
2020-03-08 23:30:00 | 1.353 | 122.5 | 2.503 | 134.1 | 3.286 | 112.2 | 3.236 | 127.7 | 10.21 | 966.932 | 54.0123 | 11.72
2020-03-08 23:45:00 | 4.604 | 129.6 | 5.409 | 142.3 | 4.758 | 128.5 | 4.556 | 139.5 | 10.36 | 966.738 | 57.2897 | 18.1306