## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-09 00:00:00 | 4.088 | 122.6 | 4.793 | 140.4 | 4.573 | 135.4 | 4.4 | 127.3 | 10.09 | 966.435 | 60.295 | 17.6466
2020-03-09 00:15:00 | 1.5 | 124 | 2.094 | 144.8 | 2.608 | 130.6 | 2.821 | 139.1 | 9.34 | 966.452 | 63.8451 | 8.3467
2020-03-09 00:30:00 | 0.151 | 110.8 | 0.193 | 150.3 | 0 | 76.01 | 0 | 133.7 | 9.79 | 966.343 | 62.071 | 8.96
2020-03-09 00:45:00 | 2.63 | 134.7 | 3.702 | 152.8 | 4.046 | 141.5 | 3.911 | 139.4 | 9.55 | 965.938 | 66.341 | 12.2595
2020-03-09 01:00:00 | 0.816 | 124.9 | 1.323 | 144.8 | 2.202 | 148.1 | 2.251 | 134.6 | 9.62 | 965.79 | 67.2681 | 12.6807
2020-03-09 01:15:00 | 4.011 | 126.4 | 4.965 | 144.2 | 3.621 | 141.3 | 3.404 | 134 | 8.91 | 965.79 | 68.7033 | 9.784
2020-03-09 01:30:00 | 2.259 | 142.5 | 3.349 | 155.8 | 2.261 | 152.7 | 2.093 | 157 | 8.85 | 965.79 | 68.6357 | 4.637
2020-03-09 01:45:00 | 0.52 | 153.7 | 1.735 | 155.9 | 1.042 | 141.8 | 0.839 | 161.4 | 9.75 | 965.938 | 60.3722 | 2.2095
2020-03-09 02:00:00 | 3.036 | 201.3 | 3.367 | 210.1 | 3.479 | 177.9 | 3.466 | 215.6 | 9.43 | 966.087 | 64.3333 | 1.9583
2020-03-09 02:15:00 | 2.727 | 188.7 | 3.103 | 194.3 | 2.98 | 168.5 | 2.977 | 207.7 | 9.12 | 965.79 | 66.348 | 2.6751
2020-03-09 02:30:00 | 1.946 | 196.1 | 2.006 | 182.4 | 1.33 | 161.2 | 1.24 | 219.3 | 9.52 | 965.641 | 61.4649 | 2.0802
2020-03-09 02:45:00 | 1.237 | 221.1 | 1.868 | 197.2 | 1.714 | 167.5 | 1.657 | 244.6 | 10.04 | 965.641 | 60.8503 | 1.5925
2020-03-09 03:00:00 | 1.475 | 230.6 | 2.068 | 209.1 | 1.615 | 182.9 | 1.571 | 245.8 | 10.29 | 965.641 | 59.7575 | 0.73897
2020-03-09 03:15:00 | 1.618 | 240.6 | 2.702 | 209.6 | 2.782 | 203.8 | 2.719 | 253.9 | 10.15 | 965.641 | 59.9624 | 0.38057
2020-03-09 03:30:00 | 2.467 | 250.2 | 3.198 | 252.6 | 3.308 | 211 | 3.29 | 260.7 | 10.17 | 965.641 | 60.8135 | -0.11824
2020-03-09 03:45:00 | 2.99 | 249.5 | 3.63 | 248.6 | 3.764 | 217.7 | 3.799 | 259 | 9.87 | 965.938 | 63.8489 | 0.059118
2020-03-09 04:00:00 | 2.314 | 307.7 | 2.638 | 322.3 | 2.212 | 298.5 | 2.266 | 298.7 | 9.24 | 965.641 | 73.2003 | 0.1441
2020-03-09 04:15:00 | 3.108 | 308.4 | 3.53 | 328.1 | 3.102 | 315.3 | 3.025 | 310.6 | 7.481 | 965.344 | 79.9011 | -0.22908
2020-03-09 04:30:00 | 0.811 | 277.1 | 1.968 | 332.1 | 2.456 | 276.8 | 2.62 | 277.7 | 7.533 | 965.344 | 79.1531 | -0.17735
2020-03-09 04:45:00 | 1.895 | 271.3 | 2.725 | 332 | 3.359 | 278.7 | 3.427 | 269.9 | 7.98 | 965.51 | 75.875 | -0.12562
2020-03-09 05:00:00 | 2.707 | 253.8 | 3.597 | 330.6 | 4.013 | 250 | 4.09 | 258.1 | 7.948 | 965.842 | 75.6701 | 0.1404
2020-03-09 05:15:00 | 4.525 | 296.4 | 4.658 | 308.1 | 4.695 | 289.4 | 4.818 | 296 | 8.03 | 965.895 | 78.1287 | 11.7346
2020-03-09 05:30:00 | 2.855 | 346.1 | 3.772 | 7.481 | 4.079 | 347.5 | 4.14 | 337.2 | 7.09 | 965.936 | 88.9192 | 18.9324
2020-03-09 05:45:00 | 3.142 | 356.6 | 3.474 | 17.99 | 4.275 | 353.2 | 4.5 | 341.6 | 6.806 | 965.639 | 98.3438 | 24.8035
2020-03-09 06:00:00 | 3.94 | 341.6 | 4.694 | 5.125 | 4.794 | 355.4 | 4.823 | 337.7 | 6.785 | 965.639 | 99.8858 | 30.0058
2020-03-09 06:15:00 | 4.29 | 335.6 | 4.433 | 352.9 | 4.461 | 349.4 | 4.591 | 332.4 | 6.474 | 965.788 | 99.9999 | 32.6086
2020-03-09 06:30:00 | 5.582 | 348.7 | 5.79 | 21.44 | 6.958 | 16.27 | 7.263 | 349 | 6.086 | 965.788 | 100 | 39.9117
2020-03-09 06:45:00 | 5.587 | 355.5 | 5.739 | 18.5 | 6.053 | 14.61 | 6.117 | 349.6 | 5.666 | 965.491 | 99.9828 | 35.5338
2020-03-09 07:00:00 | 6.062 | 355.7 | 6.189 | 23.46 | 7.2 | 19.74 | 7.538 | 352.6 | 5.533 | 965.639 | 99.9829 | 38.1097
2020-03-09 07:15:00 | 5.817 | 9.66 | 6.015 | 28.56 | 6.195 | 21.35 | 6.308 | 7.445 | 5.55 | 965.788 | 100 | 24.3121
2020-03-09 07:30:00 | 5.388 | 0.624 | 6.02 | 26.16 | 6.561 | 16.59 | 6.937 | 355.8 | 5.752 | 965.936 | 100 | 24.8626
2020-03-09 07:45:00 | 5.513 | 355.1 | 5.68 | 23.23 | 6.124 | 18.48 | 6.402 | 349.8 | 5.557 | 965.936 | 100 | 26.1336
2020-03-09 08:00:00 | 4.42 | 355.2 | 5.501 | 21.14 | 6.088 | 13.15 | 6.336 | 350.7 | 5.436 | 966.085 | 99.9829 | 31.8015
2020-03-09 08:15:00 | 3.581 | 358.5 | 5.484 | 30.26 | 5.852 | 10.81 | 6.348 | 343.5 | 5.385 | 966.531 | 99.9829 | 34.0332
2020-03-09 08:30:00 | 3.827 | 359.1 | 4.637 | 25.6 | 5.633 | 0.704 | 5.806 | 341.8 | 5.297 | 966.828 | 99.9829 | 33.8189
2020-03-09 08:45:00 | 4.895 | 352.3 | 5.795 | 20.57 | 6.821 | 7.222 | 7.286 | 347.6 | 5.206 | 966.828 | 99.9829 | 34.1588
2020-03-09 09:00:00 | 5.903 | 352.4 | 6.317 | 22.32 | 7.136 | 21.12 | 7.421 | 345.9 | 5.096 | 966.531 | 100 | 37.0741
2020-03-09 09:15:00 | 6.662 | 2.383 | 7.414 | 21.68 | 8.04 | 13.74 | 8.58 | 2.195 | 5.094 | 966.828 | 99.9829 | 36.6898
2020-03-09 09:30:00 | 7.66 | 1.479 | 7.588 | 21.49 | 8.06 | 15.09 | 8.43 | 3.039 | 5.091 | 966.679 | 99.9829 | 33.3138
2020-03-09 09:45:00 | 7.413 | 356.9 | 6.885 | 16.97 | 8.04 | 17.06 | 8.29 | 359.6 | 5.131 | 966.977 | 99.9829 | 30.3879
2020-03-09 10:00:00 | 6.672 | 358.8 | 7.214 | 20.76 | 8.06 | 15.64 | 8.31 | 0.304 | 5.159 | 966.828 | 99.9829 | 37.5951
2020-03-09 10:15:00 | 7.032 | 357.6 | 7.391 | 19.84 | 8.13 | 15.43 | 8.57 | 359.4 | 5.13 | 967.125 | 100 | 38.552
2020-03-09 10:30:00 | 6.562 | 358.3 | 7.12 | 22.47 | 7.347 | 14.47 | 7.571 | 356.3 | 5.108 | 967.125 | 99.9829 | 43.1669
2020-03-09 10:45:00 | 7.305 | 359.1 | 7.332 | 20.94 | 7.673 | 14.44 | 8.04 | 357.9 | 5.084 | 967.274 | 99.9829 | 44.2083
2020-03-09 11:00:00 | 6.098 | 353.6 | 6.353 | 23.56 | 7.322 | 20.19 | 7.571 | 348 | 5.025 | 967.422 | 99.9829 | 40.8879
2020-03-09 11:15:00 | 4.67 | 357.5 | 5.767 | 22.61 | 6.503 | 10.08 | 6.855 | 353.1 | 5.103 | 967.719 | 99.9829 | 43.8372
2020-03-09 11:30:00 | 5.707 | 345.8 | 5.507 | 19.2 | 6.315 | 17.32 | 6.547 | 344.6 | 5.093 | 967.719 | 99.9829 | 48.5376
2020-03-09 11:45:00 | 4.897 | 349.4 | 5.512 | 11.08 | 6.549 | 5.763 | 6.822 | 346.9 | 5.038 | 967.719 | 100 | 49.2515
2020-03-09 12:00:00 | 4.514 | 352.3 | 5.744 | 23.52 | 6.93 | 2.687 | 7.207 | 344.9 | 5.013 | 967.422 | 99.9829 | 51.1593
2020-03-09 12:15:00 | 3.918 | 354.6 | 5.634 | 28.23 | 6.495 | 6.483 | 6.919 | 344.7 | 4.991 | 967.719 | 99.9829 | 49.5996
2020-03-09 12:30:00 | 5.806 | 350.3 | 6.174 | 21.18 | 6.979 | 12.8 | 7.258 | 346.2 | 4.956 | 967.571 | 100 | 52.5695
2020-03-09 12:45:00 | 4.793 | 351.1 | 5.604 | 28.54 | 6.264 | 19.7 | 6.532 | 340.2 | 4.973 | 967.422 | 99.9829 | 55.7478
2020-03-09 13:00:00 | 4.767 | 354.3 | 5.911 | 20.49 | 6.75 | 14.63 | 7.329 | 343.6 | 4.994 | 967.422 | 99.9829 | 55.6177
2020-03-09 13:15:00 | 5.852 | 353 | 6.573 | 23.6 | 7.515 | 10.16 | 7.805 | 346.8 | 5.022 | 967.422 | 100 | 54.7281
2020-03-09 13:30:00 | 5.362 | 353.8 | 6.376 | 17.61 | 7.07 | 7.713 | 7.291 | 349.7 | 5.083 | 967.125 | 99.9829 | 56.7602
2020-03-09 13:45:00 | 5.053 | 355.4 | 5.726 | 23.58 | 6.312 | 358.3 | 6.57 | 344.6 | 5.092 | 967.125 | 99.9829 | 52.5887
2020-03-09 14:00:00 | 4.697 | 358.5 | 5.205 | 29.49 | 6.025 | 9.36 | 6.303 | 347.5 | 5.09 | 967.125 | 100 | 54.0565
2020-03-09 14:15:00 | 6.881 | 358.4 | 7.848 | 26.51 | 7.683 | 16.99 | 8.02 | 352.1 | 5.042 | 966.828 | 99.9829 | 56.6974
2020-03-09 14:30:00 | 6.496 | 354.2 | 7.933 | 17.28 | 9 | 14.7 | 9.37 | 350.9 | 5.042 | 966.531 | 99.9829 | 49.0254
2020-03-09 14:45:00 | 6.858 | 352.6 | 7.396 | 22.25 | 8.5 | 17.85 | 8.73 | 352.9 | 5.084 | 966.531 | 99.9829 | 46.6402
2020-03-09 15:00:00 | 6.741 | 355.9 | 7.524 | 19.47 | 8.66 | 14.34 | 8.97 | 356.1 | 5.125 | 966.679 | 99.9488 | 43.1215
2020-03-09 15:15:00 | 6.532 | 352.6 | 6.969 | 17.28 | 7.703 | 14.24 | 8.05 | 351.3 | 5.096 | 966.828 | 99.9829 | 42.5683
2020-03-09 15:30:00 | 6.355 | 357.1 | 6.752 | 22.55 | 6.968 | 13.35 | 7.308 | 350.5 | 4.978 | 966.828 | 100 | 49.474
2020-03-09 15:45:00 | 6.787 | 353.6 | 7.866 | 22.07 | 8.51 | 13.44 | 8.84 | 348.1 | 4.829 | 966.828 | 100 | 48.7407
2020-03-09 16:00:00 | 6.731 | 349.8 | 7.271 | 19.12 | 8.59 | 16.06 | 8.91 | 348 | 4.823 | 967.125 | 100 | 46.7583
2020-03-09 16:15:00 | 6.001 | 352.5 | 6.565 | 19.97 | 7.396 | 10.88 | 7.68 | 346.4 | 4.884 | 967.303 | 99.9829 | 45.0216
2020-03-09 16:30:00 | 6.404 | 354.5 | 6.854 | 19.15 | 8.02 | 14.49 | 8.36 | 352.3 | 4.884 | 967.422 | 99.9829 | 39.6826
2020-03-09 16:45:00 | 5.378 | 352.8 | 6.384 | 25.86 | 6.793 | 4.38 | 7.095 | 342.6 | 4.837 | 967.868 | 99.9488 | 41.2972
2020-03-09 17:00:00 | 5.536 | 352.6 | 6.353 | 15.74 | 7.909 | 2.621 | 8.22 | 349.6 | 4.871 | 968.017 | 99.9488 | 43.9945
2020-03-09 17:15:00 | 5.326 | 359.2 | 5.729 | 21.11 | 5.77 | 6.488 | 6.028 | 349.8 | 4.833 | 967.72 | 99.9829 | 50.6089
2020-03-09 17:30:00 | 8.05 | 356.4 | 7.907 | 22.42 | 8.87 | 20.3 | 9.28 | 350.4 | 4.585 | 967.739 | 99.9488 | 52.2625
2020-03-09 17:45:00 | 7.591 | 3.37 | 7.774 | 25.17 | 7.803 | 20.24 | 8.05 | 0.555 | 4.34 | 968.33 | 99.9829 | 48.3101
2020-03-09 18:00:00 | 5.646 | 358.1 | 6.936 | 25.36 | 8.15 | 20.57 | 8.69 | 355.9 | 4.284 | 968.368 | 99.9531 | 45.2064
2020-03-09 18:15:00 | 6.509 | 355.3 | 7.294 | 24.51 | 8.47 | 18.11 | 8.85 | 356.2 | 4.192 | 968.773 | 100 | 41.168
2020-03-09 18:30:00 | 7.287 | 6.722 | 8.32 | 27.54 | 7.09 | 17.76 | 7.026 | 4.949 | 4.004 | 969.2 | 100 | 31.3471
2020-03-09 18:45:00 | 5.743 | 2.48 | 5.808 | 27.52 | 5.694 | 21.8 | 5.849 | 0.403 | 4.053 | 969.156 | 100 | 26.7913
2020-03-09 19:00:00 | 5.865 | 3.654 | 6.36 | 22.21 | 5.994 | 14.88 | 6.089 | 4.572 | 3.883 | 969.353 | 100 | 18.622
2020-03-09 19:15:00 | 5.566 | 4.781 | 6.58 | 26.13 | 5.92 | 17.24 | 5.908 | 6.053 | 3.804 | 969.502 | 100 | 16.2647
2020-03-09 19:30:00 | 5.117 | 3.532 | 5.507 | 25.49 | 5.308 | 17.56 | 5.355 | 6.157 | 3.804 | 969.799 | 99.9777 | 12.3962
2020-03-09 19:45:00 | 4.788 | 7.782 | 5.872 | 25.81 | 5.526 | 14.04 | 5.302 | 13.62 | 3.757 | 969.799 | 100 | 12.459
2020-03-09 20:00:00 | 4.517 | 9.64 | 5.995 | 27.19 | 5.697 | 12.27 | 5.383 | 14.65 | 3.762 | 969.799 | 99.9772 | 10.1645
2020-03-09 20:15:00 | 4.16 | 18.88 | 6.215 | 32.1 | 6.139 | 19.23 | 6.053 | 26.47 | 3.773 | 969.799 | 100 | 6.3921
2020-03-09 20:30:00 | 3.991 | 8.57 | 5.11 | 23.74 | 4.862 | 10.42 | 4.578 | 14.23 | 3.776 | 970.096 | 100 | 3.6985
2020-03-09 20:45:00 | 3.339 | 17.63 | 5.118 | 29.31 | 5.163 | 13.35 | 5.052 | 23.55 | 3.75 | 970.096 | 100 | 2.4977
2020-03-09 21:00:00 | 2.019 | 21.86 | 4.821 | 32.12 | 4.962 | 25.42 | 4.963 | 27.51 | 3.748 | 970.393 | 99.9745 | 2.5827
2020-03-09 21:15:00 | 3.75 | 5.869 | 5.016 | 21.82 | 4.598 | 7.606 | 4.39 | 10.92 | 3.738 | 970.393 | 100 | 7.2308
2020-03-09 21:30:00 | 4.849 | 344.3 | 4.678 | 17.74 | 5.501 | 14.11 | 5.768 | 347.1 | 3.67 | 970.988 | 100 | 17.4471
2020-03-09 21:45:00 | 3.333 | 354.4 | 4.13 | 31.43 | 4.44 | 18.17 | 4.762 | 343.5 | 3.654 | 970.988 | 99.9778 | 16.9483
2020-03-09 22:00:00 | 2.71 | 356.1 | 3.22 | 25.07 | 3.745 | 0.781 | 3.896 | 345.4 | 3.529 | 970.988 | 99.9761 | 13.7633
2020-03-09 22:15:00 | 3.2 | 350.6 | 3.573 | 18.25 | 3.998 | 12.91 | 3.975 | 341.5 | 3.4 | 971.137 | 99.9742 | 13.8557
2020-03-09 22:30:00 | 3.151 | 345.8 | 2.722 | 28.34 | 3.642 | 13.41 | 3.83 | 335.4 | 3.325 | 970.988 | 100 | 15.9728
2020-03-09 22:45:00 | 3.044 | 353.7 | 2.908 | 23.1 | 4.01 | 347.5 | 4.219 | 341.3 | 3.187 | 970.964 | 100 | 24.8959
2020-03-09 23:00:00 | 2.577 | 2.29 | 3.576 | 38.7 | 4.3 | 351.7 | 4.617 | 345 | 3.004 | 970.962 | 99.9743 | 34.1173
2020-03-09 23:15:00 | 3.229 | 354.3 | 3.954 | 22.9 | 5.712 | 352.9 | 5.908 | 342.1 | 2.804 | 970.956 | 99.9796 | 39.7624
2020-03-09 23:30:00 | 3.27 | 2.281 | 4.447 | 28.74 | 5.086 | 356.5 | 5.111 | 342.9 | 2.713 | 970.97 | 99.9803 | 44.1608
2020-03-09 23:45:00 | 4.762 | 349.2 | 4.706 | 9.94 | 6.015 | 350.7 | 6.318 | 339.9 | 2.56 | 971.285 | 99.9829 | 54.4731