## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-10 00:00:00 | 4.977 | 349.6 | 5.257 | 4.616 | 6.511 | 350.4 | 6.641 | 346.6 | 2.397 | 970.986 | 100 | 48.2473
2020-03-10 00:15:00 | 3.832 | 354.8 | 4.442 | 18.28 | 4.995 | 350.2 | 5.179 | 340.9 | 2.217 | 971.285 | 99.9829 | 44.2495
2020-03-10 00:30:00 | 3.332 | 1.274 | 4.459 | 25.89 | 4.964 | 352.8 | 5.121 | 347.4 | 2.141 | 971.285 | 99.9829 | 42.742
2020-03-10 00:45:00 | 3.279 | 352.8 | 3.637 | 24.61 | 5.086 | 349 | 5.467 | 343.6 | 2.03 | 971.285 | 100 | 35.8437
2020-03-10 01:00:00 | 5.794 | 3.472 | 6.442 | 26.86 | 6.126 | 15.58 | 6.522 | 359.9 | 1.832 | 970.691 | 99.9829 | 32.6292
2020-03-10 01:15:00 | 4.647 | 343.2 | 4.553 | 11.02 | 4.992 | 356.8 | 4.915 | 339.6 | 1.765 | 970.988 | 100 | 26.9724
2020-03-10 01:30:00 | 3.698 | 359.1 | 4.732 | 30.43 | 4.995 | 17.38 | 5.202 | 348.4 | 1.791 | 970.988 | 100 | 28.7248
2020-03-10 01:45:00 | 2.862 | 11.03 | 3.311 | 23.9 | 3.802 | 340.3 | 3.853 | 349.8 | 1.757 | 971.285 | 99.9829 | 29.5883
2020-03-10 02:00:00 | 3.555 | 358.8 | 3.562 | 18.82 | 4.85 | 348.8 | 5.057 | 347.9 | 1.671 | 971.285 | 100 | 30.4403
2020-03-10 02:15:00 | 3.851 | 3.048 | 4.157 | 32.92 | 4.115 | 13.81 | 4.438 | 345.6 | 1.525 | 971.285 | 99.984 | 24.9919
2020-03-10 02:30:00 | 4.716 | 3.417 | 5.149 | 22.63 | 5.241 | 13.48 | 5.411 | 3.375 | 1.483 | 970.988 | 100 | 19.1578
2020-03-10 02:45:00 | 4.864 | 349.4 | 4.942 | 19 | 6.025 | 16.46 | 6.221 | 350.4 | 1.448 | 970.691 | 99.9861 | 19.5975
2020-03-10 03:00:00 | 5.472 | 359.4 | 5.504 | 20.37 | 5.854 | 14.29 | 6.117 | 357.2 | 1.432 | 970.393 | 99.9893 | 20.0002
2020-03-10 03:15:00 | 5.503 | 4.112 | 5.767 | 23.75 | 5.971 | 13.77 | 6.292 | 3.974 | 1.437 | 970.393 | 99.9976 | 17.484
2020-03-10 03:30:00 | 5.436 | 3.732 | 5.322 | 23.58 | 5.742 | 17.27 | 6.231 | 2.368 | 1.286 | 970.245 | 99.9977 | 13.1758
2020-03-10 03:45:00 | 4.198 | 351.1 | 3.898 | 20.72 | 5.239 | 18.13 | 5.483 | 351.4 | 1.302 | 970.393 | 100 | 10.7631
2020-03-10 04:00:00 | 3.891 | 358.6 | 4.059 | 22.34 | 4.407 | 18.65 | 4.599 | 358.8 | 1.282 | 969.948 | 100 | 9.4034
2020-03-10 04:15:00 | 4.195 | 8.26 | 4.085 | 27.65 | 4 | 17 | 4.39 | 1.701 | 1.22 | 969.8 | 100 | 6.8798
2020-03-10 04:30:00 | 3.886 | 12.29 | 4.159 | 29.51 | 3.797 | 13.82 | 3.748 | 15.73 | 1.118 | 969.873 | 100 | 3.5507
2020-03-10 04:45:00 | 3.054 | 359.2 | 2.679 | 19.44 | 3.161 | 14.2 | 3.262 | 2.271 | 1.09 | 969.818 | 100 | 3.5101
2020-03-10 05:00:00 | 2.885 | 22.2 | 3.068 | 33.69 | 3.191 | 18.81 | 3.313 | 22.7 | 1.059 | 969.863 | 100 | 2.4645
2020-03-10 05:15:00 | 3.713 | 8.89 | 3.684 | 27.25 | 4.588 | 8.53 | 5.556 | 1.189 | 1.078 | 969.94 | 100 | 3.4473
2020-03-10 05:30:00 | 4.4 | 10.48 | 4.295 | 29.12 | 4.425 | 18.99 | 4.209 | 8.05 | 1.008 | 969.943 | 100 | 3.1813
2020-03-10 05:45:00 | 3.659 | 7.674 | 3.341 | 38.1 | 5.859 | 11.16 | 6.529 | 358.1 | 0.867 | 969.662 | 100 | 3.9461
2020-03-10 06:00:00 | 4.221 | 351.5 | 4.847 | 13.11 | 7.385 | 14.92 | 7.408 | 352.5 | 1.47 | 969.99 | 100 | 5.8379
2020-03-10 06:15:00 | 3.922 | 351.9 | 4.006 | 12.85 | 6.681 | 21.58 | 6.845 | 350.1 | 1.614 | 969.991 | 100 | 4.0606
2020-03-10 06:30:00 | 2.748 | 2.549 | 3.911 | 29.89 | 4.87 | 13.75 | 5.215 | 358.2 | 1.956 | 969.971 | 100 | 2.361
2020-03-10 06:45:00 | 2.25 | 1.705 | 3.484 | 21.5 | 4.145 | 4.441 | 4.464 | 358.4 | 1.997 | 970.267 | 97.6847 | 1.6405
2020-03-10 07:00:00 | 2.293 | 4.63 | 3.257 | 24.57 | 3.319 | 13.71 | 3.738 | 5.387 | 1.601 | 970.117 | 100 | 1.2378
2020-03-10 07:15:00 | 1.862 | 9.6 | 2.456 | 32.11 | 3.265 | 10.57 | 3.178 | 2.115 | 0.429 | 970.245 | 99.9995 | 1.4373
2020-03-10 07:30:00 | 0.041 | 3.284 | 1.106 | 31.53 | 3.133 | 2.92 | 3.539 | 0.195 | 0.532 | 970.691 | 99.993 | 1.3486
2020-03-10 07:45:00 | 1.789 | 350.8 | 2.988 | 30.37 | 4.3 | 10.31 | 4.385 | 349.3 | 0.502 | 970.989 | 99.9834 | 1.8548
2020-03-10 08:00:00 | 0.678 | 352 | 1.621 | 11.37 | 3.494 | 22.87 | 3.519 | 349.1 | 1.207 | 971.583 | 99.9829 | 1.1084
2020-03-10 08:15:00 | 2.556 | 291.8 | 2.679 | 307.2 | 2.009 | 289.3 | 1.705 | 327.6 | 1.202 | 972.177 | 100 | 0.29189
2020-03-10 08:30:00 | 0.045 | 355.7 | 0.038 | 311.5 | 0.095 | 316.4 | 0.015 | 314.2 | 1.529 | 972.287 | 100 | -0.19583
2020-03-10 08:45:00 | 0.022 | 23.18 | 0.019 | 311.6 | 0.336 | 325.3 | 0.107 | 319.2 | 1.81 | 972.637 | 100 | -0.23647
2020-03-10 09:00:00 | 0.168 | 354.5 | 0.071 | 61.54 | 2.711 | 52.56 | 2.87 | 356.8 | 2.064 | 973.083 | 100 | -0.19952
2020-03-10 09:15:00 | 0.392 | 349.4 | 2.182 | 2.153 | 3.988 | 50.41 | 4.005 | 356.8 | 3.165 | 973.366 | 100 | -0.1441
2020-03-10 09:30:00 | 3.008 | 283.4 | 2.5 | 294.2 | 0.979 | 283.1 | 0.531 | 322.5 | 3.15 | 973.663 | 99.9882 | -0.23647
2020-03-10 09:45:00 | 1.824 | 169.5 | 1.385 | 217.5 | 1.4 | 217.4 | 1.328 | 183.2 | 3.088 | 973.66 | 99.983 | -0.29928
2020-03-10 10:00:00 | 1.811 | 186.8 | 1.167 | 182.7 | 0.794 | 213.6 | 0.636 | 166.4 | 3.281 | 973.648 | 99.983 | -0.29928
2020-03-10 10:15:00 | 3.136 | 201.8 | 2.582 | 206.9 | 2.24 | 192.3 | 2.253 | 213.1 | 3.119 | 973.663 | 99.9843 | 0.070202
2020-03-10 10:30:00 | 3.235 | 240.5 | 3.137 | 246.1 | 2.924 | 232.8 | 2.908 | 245.8 | 3.884 | 973.96 | 99.9834 | 0.18105
2020-03-10 10:45:00 | 3.488 | 243.5 | 3.464 | 254.9 | 3.545 | 234.1 | 3.534 | 252.4 | 3.226 | 974.257 | 99.983 | -0.077592
2020-03-10 11:00:00 | 3.131 | 192.8 | 2.633 | 202.2 | 2.02 | 182.7 | 1.958 | 209.5 | 4.345 | 974.053 | 97.6268 | -0.16996
2020-03-10 11:15:00 | 3.212 | 193.2 | 2.618 | 195.7 | 1.955 | 169.5 | 1.834 | 211.3 | 5.08 | 974.138 | 91.9925 | -0.11084
2020-03-10 11:30:00 | 2.441 | 240.6 | 2.191 | 257.1 | 2.428 | 240.7 | 2.455 | 239.3 | 5.255 | 974.375 | 85.5625 | -0.036948
2020-03-10 11:45:00 | 3.115 | 266.6 | 3.044 | 275.8 | 3.301 | 256.4 | 3.285 | 268.6 | 5.92 | 974.155 | 82.0632 | 0.69094
2020-03-10 12:00:00 | 3.353 | 265.1 | 3.142 | 273.6 | 3.113 | 248.7 | 3.084 | 269.8 | 6.723 | 974.557 | 71.4798 | 2.8487
2020-03-10 12:15:00 | 4.315 | 280.7 | 4.331 | 294.5 | 4.379 | 269 | 4.367 | 280.7 | 7.142 | 974.553 | 68.7831 | 6.9426
2020-03-10 12:30:00 | 4.984 | 246.7 | 4.627 | 258.3 | 4.613 | 244.1 | 4.568 | 250 | 7.03 | 974.256 | 63.7993 | 8.3947
2020-03-10 12:45:00 | 4.055 | 303.2 | 3.507 | 306.3 | 3.832 | 289.9 | 3.891 | 308 | 7.634 | 973.959 | 54.9566 | 7.8663
2020-03-10 13:00:00 | 4.714 | 305 | 4.538 | 313.1 | 4.461 | 303.4 | 4.456 | 309.7 | 7.792 | 973.662 | 54.6797 | 11.3875
2020-03-10 13:15:00 | 5.007 | 295.3 | 5.34 | 308.2 | 5.071 | 298.2 | 5.08 | 295.9 | 7.767 | 973.662 | 47.174 | 12.4368
2020-03-10 13:30:00 | 4.254 | 286.3 | 4.706 | 298.8 | 4.766 | 284.8 | 4.795 | 289.2 | 8.03 | 973.365 | 48.7794 | 11.3247
2020-03-10 13:45:00 | 4.589 | 296 | 5.328 | 308.2 | 5.272 | 293.2 | 5.322 | 296.9 | 8.77 | 973.217 | 50.2475 | 12.5625
2020-03-10 14:00:00 | 6.35 | 301.1 | 7.053 | 313.8 | 6.923 | 307.4 | 6.896 | 302.2 | 9.38 | 973.365 | 38.8439 | 14.0478
2020-03-10 14:15:00 | 5.462 | 292.5 | 5.729 | 305.5 | 5.269 | 295.9 | 5.238 | 296.2 | 8.97 | 973.365 | 43.3442 | 12.4368
2020-03-10 14:30:00 | 4.613 | 302 | 5.08 | 312.6 | 5.145 | 302.2 | 5.169 | 306.5 | 9.29 | 973.365 | 41.3988 | 13.1647
2020-03-10 14:45:00 | 5.421 | 280.5 | 5.752 | 291.3 | 6.096 | 273.8 | 6.04 | 284.3 | 9.13 | 973.217 | 43.959 | 13.8778
2020-03-10 15:00:00 | 5.549 | 284 | 6.422 | 295.7 | 6.442 | 282.2 | 6.382 | 286.3 | 8.77 | 973.217 | 39.8629 | 15.2967
2020-03-10 15:15:00 | 5.96 | 284.1 | 6.621 | 296.3 | 6.556 | 277.2 | 6.478 | 286.8 | 9.28 | 973.217 | 37.679 | 15.644
2020-03-10 15:30:00 | 7.007 | 298 | 7.861 | 310 | 7.825 | 298.8 | 7.848 | 298.3 | 9.66 | 973.068 | 37.2692 | 16.8817
2020-03-10 15:45:00 | 6.94 | 295.2 | 7.485 | 308.6 | 7.23 | 299 | 7.171 | 294.3 | 9.2 | 972.474 | 36.7577 | 21.2955
2020-03-10 16:00:00 | 4.512 | 292.7 | 5.325 | 303.6 | 5.358 | 290.9 | 5.335 | 293.7 | 9.64 | 972.771 | 35.6307 | 16.9372
2020-03-10 16:15:00 | 4.701 | 289.7 | 5.865 | 304.5 | 5.656 | 288.8 | 5.574 | 287.3 | 9.62 | 972.92 | 33.8897 | 14.2473
2020-03-10 16:30:00 | 5.538 | 283.3 | 5.98 | 293.6 | 6.198 | 274 | 6.175 | 284.6 | 9.62 | 972.771 | 33.8554 | 14.2695
2020-03-10 16:45:00 | 4.331 | 291.1 | 4.967 | 305.6 | 4.794 | 293.5 | 4.777 | 290 | 9.44 | 972.326 | 33.7874 | 10.2717
2020-03-10 17:00:00 | 5.01 | 265.5 | 5.243 | 277 | 4.626 | 259.4 | 4.612 | 266.7 | 9.32 | 972.474 | 32.4933 | 9.6362
2020-03-10 17:15:00 | 4.394 | 261.2 | 4.456 | 270.8 | 4.102 | 263.2 | 3.975 | 265.1 | 9.35 | 972.326 | 32.2239 | 7.785
2020-03-10 17:30:00 | 3.498 | 275.1 | 3.702 | 291.9 | 3.4 | 279.3 | 3.397 | 271.5 | 9.29 | 972.029 | 31.6778 | 5.0693
2020-03-10 17:45:00 | 3.626 | 270 | 3.814 | 281.5 | 3.965 | 268.8 | 3.97 | 269 | 9.13 | 971.583 | 32.0191 | 3.8352
2020-03-10 18:00:00 | 3.169 | 267.9 | 3.811 | 280.4 | 4.155 | 261.4 | 4.143 | 270.6 | 8.95 | 971.343 | 32.7018 | 2.5605
2020-03-10 18:15:00 | 2.995 | 261.7 | 3.788 | 274.3 | 3.947 | 257.7 | 3.916 | 266.4 | 8.75 | 971.145 | 33.5272 | 1.4225
2020-03-10 18:30:00 | 2.615 | 270 | 3.193 | 281.7 | 3.522 | 266.6 | 3.466 | 273.3 | 8.69 | 970.988 | 32.9174 | 0.099761
2020-03-10 18:45:00 | 2.008 | 272.7 | 2.543 | 283 | 2.828 | 279.2 | 2.783 | 280.2 | 8.75 | 970.989 | 31.8935 | -0.33623
2020-03-10 19:00:00 | 1.556 | 264.7 | 2.479 | 271.5 | 3.25 | 251.4 | 3.219 | 272 | 8.62 | 971.203 | 31.0739 | -0.18474
2020-03-10 19:15:00 | 2.206 | 257.4 | 2.625 | 264.4 | 2.97 | 232.3 | 2.882 | 263.9 | 8.63 | 971.582 | 31.4842 | -0.2143
2020-03-10 19:30:00 | 1.897 | 259.9 | 2.955 | 265.8 | 3.024 | 251.6 | 2.91 | 273.3 | 8.71 | 971.286 | 30.0513 | -0.25125
2020-03-10 19:45:00 | 0.596 | 258.6 | 2.116 | 265 | 2.701 | 236.7 | 2.681 | 271.6 | 8.61 | 971.286 | 30.6012 | -0.26972
2020-03-10 20:00:00 | 1.452 | 248.6 | 2.231 | 264.2 | 2.418 | 203.2 | 2.205 | 263.1 | 8.6 | 971.286 | 32.243 | -0.26972
2020-03-10 20:15:00 | 0.929 | 247.9 | 1.418 | 264.2 | 2.052 | 169 | 1.899 | 252.4 | 8.41 | 971.286 | 30.9473 | -0.28081
2020-03-10 20:30:00 | 0 | 248.3 | 0.691 | 264.4 | 1.345 | 173.6 | 1.064 | 253 | 8.3 | 971.583 | 30.4696 | -0.26972
2020-03-10 20:45:00 | 1.793 | 246.9 | 2.086 | 264.1 | 1.703 | 216.2 | 1.471 | 252.6 | 8.37 | 971.583 | 31.4603 | -0.28081
2020-03-10 21:00:00 | 0.696 | 244.6 | 1.682 | 225.2 | 1.409 | 200.9 | 1.171 | 226.5 | 8.4 | 971.583 | 35.5252 | -0.28081
2020-03-10 21:15:00 | 1.637 | 244.4 | 1.927 | 226.4 | 1.548 | 202.4 | 1.484 | 222.6 | 8.25 | 971.731 | 35.8668 | -0.25125
2020-03-10 21:30:00 | 1.347 | 244.2 | 1.776 | 229.8 | 1.355 | 194.2 | 1.165 | 221.5 | 8.3 | 971.88 | 37.3014 | -0.25125
2020-03-10 21:45:00 | 1.221 | 244 | 1.904 | 229.4 | 1.515 | 180.5 | 1.337 | 220.4 | 8.23 | 971.88 | 36.8915 | -0.26972
2020-03-10 22:00:00 | 1.248 | 243.7 | 2.132 | 229.4 | 2.385 | 182.6 | 2.304 | 218.5 | 8.24 | 971.88 | 36.8232 | -0.26972
2020-03-10 22:15:00 | 1.553 | 239.3 | 2.244 | 228.7 | 2.551 | 183 | 2.551 | 196.3 | 8.19 | 971.88 | 36.9599 | -0.29928
2020-03-10 22:30:00 | 2.219 | 221.3 | 2.983 | 226.1 | 2.744 | 173 | 2.699 | 190.5 | 7.884 | 971.88 | 37.7455 | -0.2882
2020-03-10 22:45:00 | 2.273 | 185.3 | 2.768 | 225.3 | 3.026 | 160.7 | 2.905 | 184.9 | 7.838 | 971.731 | 38.9411 | -0.2882
2020-03-10 23:00:00 | 1.842 | 178 | 3.016 | 224.8 | 3.573 | 170.4 | 3.534 | 188.4 | 7.646 | 971.583 | 39.8292 | 0.34362
2020-03-10 23:15:00 | 2.138 | 161.4 | 3.428 | 222.9 | 3.982 | 154.6 | 3.924 | 167.5 | 7.482 | 971.583 | 40.5807 | 3.0556
2020-03-10 23:30:00 | 3.304 | 173.1 | 4.763 | 181.2 | 5.132 | 169.2 | 5.253 | 180 | 6.902 | 971.583 | 43.1768 | 6.6249
2020-03-10 23:45:00 | 3.069 | 160.3 | 4.182 | 169 | 5.02 | 159.2 | 5.179 | 170.3 | 6.679 | 971.434 | 45.4313 | 7.5375