## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-12 00:00:00 | 10.78 | 154.6 | 10.82 | 172.7 | 11.83 | 165.4 | 11.93 | 160.7 | 11 | 967.771 | 53.8659 | 91.0003
2020-03-12 00:15:00 | 10.32 | 153 | 10.97 | 172.9 | 12 | 163.1 | 12.08 | 157.4 | 10.85 | 967.729 | 54.6551 | 91.9093
2020-03-12 00:30:00 | 10.62 | 150.3 | 10.92 | 173.5 | 12.24 | 167.9 | 12.35 | 155.5 | 10.87 | 967.749 | 55.3735 | 89.8306
2020-03-12 00:45:00 | 11.73 | 150.8 | 12.41 | 167.2 | 13.22 | 156.9 | 13.12 | 155.4 | 10.58 | 967.473 | 57.4932 | 92.8441
2020-03-12 01:00:00 | 11.86 | 151.6 | 12.34 | 168.5 | 13.35 | 162.1 | 13.25 | 156.3 | 10.46 | 967.496 | 57.5649 | 88.8108
2020-03-12 01:15:00 | 11.9 | 150.7 | 11.7 | 169.5 | 12.73 | 164.2 | 12.87 | 155.5 | 10.35 | 967.761 | 57.9728 | 91.5952
2020-03-12 01:30:00 | 12.28 | 150 | 12.99 | 166.5 | 13.77 | 160.2 | 13.84 | 154.4 | 10.29 | 967.354 | 56.8112 | 92.2233
2020-03-12 01:45:00 | 11.9 | 151.9 | 12.37 | 167.4 | 12.82 | 160.5 | 12.78 | 157.8 | 10.23 | 967.391 | 56.1284 | 90.3094
2020-03-12 02:00:00 | 10.81 | 153.8 | 11.31 | 171 | 12.46 | 163.7 | 12.46 | 158.3 | 10.22 | 967.068 | 55.7192 | 92.0755
2020-03-12 02:15:00 | 11.49 | 151.3 | 12.01 | 169.5 | 13.4 | 161.7 | 13.53 | 155 | 10.12 | 966.68 | 55.7887 | 93.4279
2020-03-12 02:30:00 | 12.49 | 151.8 | 12.86 | 168 | 13.83 | 159.4 | 13.72 | 156.2 | 10.01 | 966.826 | 56.1977 | 92.7406
2020-03-12 02:45:00 | 12.22 | 152.8 | 12.55 | 169.6 | 12.8 | 154.1 | 12.66 | 157.8 | 9.83 | 966.235 | 56.9861 | 92.0238
2020-03-12 03:00:00 | 11.81 | 151.8 | 12.21 | 169.4 | 13.47 | 161.3 | 13.49 | 156.1 | 9.73 | 965.641 | 58.1171 | 93.5941
2020-03-12 03:15:00 | 11.77 | 150.5 | 12.22 | 169.4 | 13.33 | 162.2 | 13.36 | 154 | 9.69 | 966.087 | 58.5273 | 93.3761
2020-03-12 03:30:00 | 12.7 | 147.1 | 13.21 | 164.6 | 14.15 | 155.7 | 14.11 | 153.1 | 9.76 | 965.641 | 58.972 | 93.1692
2020-03-12 03:45:00 | 11.58 | 149 | 11.82 | 167 | 12.81 | 153.6 | 12.84 | 155.2 | 9.76 | 965.641 | 59.4833 | 88.6098
2020-03-12 04:00:00 | 11.97 | 153.7 | 12.11 | 171.3 | 13.08 | 160.5 | 13.06 | 155.7 | 9.69 | 966.235 | 59.4843 | 90.7195
2020-03-12 04:15:00 | 10.8 | 150.8 | 11.61 | 168.8 | 12.83 | 160.2 | 12.86 | 156.4 | 9.55 | 965.79 | 60.098 | 90.2688
2020-03-12 04:30:00 | 11.09 | 150.6 | 11.73 | 166.5 | 12.7 | 155.9 | 12.61 | 154.7 | 9.36 | 965.938 | 61.2259 | 90.8636
2020-03-12 04:45:00 | 9.9 | 152.1 | 10.23 | 171.1 | 11.45 | 160.9 | 11.53 | 156 | 9.27 | 965.938 | 61.4649 | 88.7539
2020-03-12 05:00:00 | 11.27 | 149.3 | 11.5 | 167.3 | 12.13 | 160.7 | 12.11 | 153 | 9.31 | 966.235 | 62.2844 | 89.3044
2020-03-12 05:15:00 | 10.82 | 152.4 | 11.04 | 170.3 | 12.43 | 159.4 | 12.47 | 155.4 | 9.21 | 965.938 | 63.4113 | 89.8623
2020-03-12 05:30:00 | 11.69 | 151.9 | 11.91 | 167.8 | 12.08 | 156.6 | 12.04 | 156 | 9.1 | 965.79 | 63.9235 | 88.0297
2020-03-12 05:45:00 | 10 | 150.9 | 10.3 | 169 | 12.31 | 164.1 | 12.32 | 155.8 | 9.05 | 965.938 | 63.582 | 86.2319
2020-03-12 06:00:00 | 9.74 | 148.1 | 9.96 | 165.9 | 10.99 | 161.2 | 10.97 | 152.9 | 9.2 | 965.942 | 63.8894 | 85.6207
2020-03-12 06:15:00 | 10.55 | 151.9 | 11.1 | 169.3 | 11.47 | 162.4 | 11.47 | 155.3 | 9.42 | 966.097 | 62.9674 | 88.3622
2020-03-12 06:30:00 | 11.26 | 151.3 | 12.2 | 168 | 12.82 | 158.1 | 12.67 | 156 | 9.18 | 965.79 | 63.6503 | 87.3203
2020-03-12 06:45:00 | 12.14 | 152.5 | 12.65 | 168.4 | 12.87 | 159 | 12.72 | 157.1 | 9.23 | 965.939 | 63.7869 | 81.294
2020-03-12 07:00:00 | 13.05 | 150.6 | 13.61 | 166.1 | 14 | 155.3 | 13.82 | 154.8 | 9.15 | 966.236 | 64.1284 | 85.2401
2020-03-12 07:15:00 | 12.51 | 151.4 | 13.27 | 167.4 | 13.46 | 158.4 | 13.26 | 157.1 | 9.13 | 966.533 | 64.1284 | 83.5885
2020-03-12 07:30:00 | 12.31 | 151.1 | 12.97 | 167.4 | 13.44 | 158.1 | 13.26 | 155.9 | 9.25 | 966.533 | 63.9894 | 83.049
2020-03-12 07:45:00 | 12.6 | 151.2 | 13.12 | 168.4 | 13.53 | 157.5 | 13.34 | 155.5 | 9.3 | 966.83 | 63.7764 | 83.0269
2020-03-12 08:00:00 | 12.78 | 153.9 | 13.01 | 170.8 | 12.7 | 160.9 | 12.56 | 158.3 | 9.33 | 967.457 | 63.4358 | 84.2203
2020-03-12 08:15:00 | 12.32 | 151.7 | 12.81 | 169.6 | 13.89 | 157.9 | 13.76 | 156.3 | 9.45 | 967.592 | 63.4256 | 83.3631
2020-03-12 08:30:00 | 13.61 | 152.1 | 13.71 | 167.2 | 13.44 | 154.2 | 13.28 | 157.3 | 9.5 | 967.782 | 62.8094 | 83.1488
2020-03-12 08:45:00 | 11.48 | 152.5 | 11.73 | 170.2 | 11.86 | 162.1 | 11.85 | 156.4 | 9.88 | 968.02 | 60.7612 | 80.1301
2020-03-12 09:00:00 | 11.17 | 155.7 | 10.62 | 173.4 | 10.61 | 165.1 | 10.46 | 159.5 | 10.18 | 968.317 | 58.9179 | 77.8459
2020-03-12 09:15:00 | 11.3 | 152.2 | 11 | 170.7 | 10.88 | 161.3 | 10.66 | 157.5 | 10.52 | 968.317 | 57.416 | 73.5229
2020-03-12 09:30:00 | 10.92 | 156.4 | 11.14 | 171.3 | 10.94 | 158 | 10.74 | 161.2 | 11.02 | 969.207 | 58.9179 | 62.3144
2020-03-12 09:45:00 | 10.03 | 156.7 | 9.84 | 169.3 | 9.11 | 157.1 | 9.01 | 164 | 11.52 | 968.911 | 53.754 | 63.1819
2020-03-12 10:00:00 | 9.47 | 152.2 | 9.52 | 167.8 | 9.01 | 157.7 | 8.78 | 162.1 | 12.11 | 969.504 | 55.4939 | 58.661
2020-03-12 10:15:00 | 10.38 | 151.6 | 10.32 | 166.2 | 9.75 | 151.8 | 9.63 | 158.4 | 12.29 | 969.474 | 52.7557 | 56.6383
2020-03-12 10:30:00 | 9.76 | 153.2 | 9.84 | 167.8 | 9.22 | 156.6 | 9.11 | 160.1 | 12.88 | 969.506 | 53.165 | 55.4796
2020-03-12 10:45:00 | 9.97 | 152.1 | 9.92 | 166 | 9.31 | 151.4 | 9.09 | 160.5 | 13.07 | 969.357 | 51.2199 | 47.1048
2020-03-12 11:00:00 | 9.96 | 153.3 | 9.4 | 173 | 8.94 | 161.9 | 8.83 | 156.7 | 13.03 | 969.505 | 52.2709 | 45.2138
2020-03-12 11:15:00 | 8.45 | 151.2 | 8.68 | 167.4 | 8.04 | 154.7 | 8.03 | 156.3 | 13.61 | 969.505 | 50.3521 | 44.6965
2020-03-12 11:30:00 | 8.36 | 165.5 | 7.889 | 182.3 | 7.014 | 179.4 | 6.993 | 174.4 | 14.05 | 969.802 | 49.3966 | 48.3692
2020-03-12 11:45:00 | 9.04 | 155.3 | 8.91 | 168.4 | 7.803 | 156.6 | 7.614 | 164.7 | 14.3 | 969.654 | 48.7125 | 46.5477
2020-03-12 12:00:00 | 8.6 | 173.9 | 8.2 | 189.1 | 7.342 | 178.3 | 7.174 | 174.9 | 14.74 | 969.505 | 47.4501 | 50.603
2020-03-12 12:15:00 | 9.34 | 158.1 | 9.43 | 172.1 | 8.26 | 163.6 | 8.14 | 167.3 | 14.99 | 969.802 | 47.416 | 41.3784
2020-03-12 12:30:00 | 8.5 | 171.2 | 8.08 | 190.5 | 7.093 | 183.8 | 7.084 | 175.3 | 15.35 | 969.505 | 47.1772 | 33.0171
2020-03-12 12:45:00 | 7.356 | 176 | 7.194 | 192 | 6.719 | 183.7 | 6.725 | 181.1 | 15.95 | 969.237 | 44.8917 | 29.7926
2020-03-12 13:00:00 | 8.42 | 180.2 | 7.923 | 196.6 | 7.23 | 186.3 | 7.202 | 182.5 | 16.01 | 969.594 | 41.5146 | 33.6342
2020-03-12 13:15:00 | 7.898 | 186.3 | 7.051 | 203.5 | 6.124 | 194.3 | 6.028 | 188.3 | 16.24 | 969.73 | 40.6618 | 35.9878
2020-03-12 13:30:00 | 8.32 | 188.6 | 8.25 | 200.8 | 7.533 | 187.2 | 7.69 | 193.1 | 16.56 | 969.089 | 37.2506 | 22.9017
2020-03-12 13:45:00 | 9.23 | 181 | 8.75 | 194 | 7.757 | 179.1 | 7.749 | 186.6 | 16.62 | 969.359 | 40.0137 | 21.1034
2020-03-12 14:00:00 | 8.06 | 175 | 7.731 | 186.9 | 6.879 | 170.8 | 6.926 | 182.2 | 16.9 | 969.803 | 38.8197 | 20.3227
2020-03-12 14:15:00 | 7.211 | 182.3 | 6.8 | 197.5 | 5.999 | 184.7 | 6.015 | 183.3 | 17.07 | 969.951 | 37.2458 | 10.6301
2020-03-12 14:30:00 | 5.74 | 151 | 6.049 | 168.1 | 5.931 | 159.1 | 5.88 | 154.4 | 17.26 | 970.248 | 37.4489 | 9.2519
2020-03-12 14:45:00 | 6.041 | 188.9 | 5.647 | 203.1 | 4.766 | 188.6 | 4.703 | 192.5 | 17.48 | 970.248 | 38.0626 | 5.509
2020-03-12 15:00:00 | 3.69 | 163.8 | 3.758 | 178.6 | 3.392 | 169 | 3.399 | 171.3 | 17.42 | 970.693 | 37.3124 | 5.727
2020-03-12 15:15:00 | 2.734 | 190.1 | 2.917 | 208.3 | 2.228 | 199.8 | 2.161 | 187.1 | 17.59 | 970.693 | 37.1746 | 8.9637
2020-03-12 15:30:00 | 4.897 | 255.6 | 5.192 | 268.2 | 5.3 | 251.9 | 5.233 | 257 | 17.38 | 970.693 | 35.3339 | 9.8689
2020-03-12 15:45:00 | 5.378 | 289.7 | 6.276 | 302.7 | 6.055 | 290.3 | 6.043 | 289.8 | 17.41 | 970.842 | 37.3806 | 15.2419
2020-03-12 16:00:00 | 6.846 | 359.3 | 8.4 | 22.97 | 9.72 | 18.49 | 9.98 | 357.5 | 15.5 | 970.1 | 56.6166 | 49.4991
2020-03-12 16:15:00 | 8.79 | 8.65 | 10.07 | 25.78 | 9.58 | 11.28 | 9.77 | 5.494 | 14.35 | 969.557 | 56.1486 | 68.3446
2020-03-12 16:30:00 | 6.835 | 14.92 | 10.55 | 31.8 | 9.51 | 16.34 | 8.77 | 16.28 | 13.97 | 969.504 | 56.2852 | 68.2142
2020-03-12 16:45:00 | 8.27 | 5.889 | 9.7 | 26.4 | 9.07 | 313.5 | 9.16 | 5.535 | 13.45 | 969.356 | 58.4758 | 72.648
2020-03-12 17:00:00 | 8.39 | 8.35 | 9.71 | 25.51 | 8.64 | 322.8 | 8.66 | 5.56 | 12.54 | 969.208 | 61.6959 | 74.4142
2020-03-12 17:15:00 | 8.82 | 11.77 | 10.73 | 28.24 | 9.55 | 325.7 | 9.1 | 12.6 | 12.1 | 969.64 | 63.3405 | 74.345
2020-03-12 17:30:00 | 8.15 | 9.32 | 10.6 | 26.15 | 9.52 | 328.1 | 8.98 | 13.97 | 11.69 | 969.504 | 63.685 | 71.026
2020-03-12 17:45:00 | 6.429 | 14.26 | 10.35 | 31 | 9.71 | 333.1 | 9.11 | 20.89 | 11.64 | 969.653 | 62.8063 | 65.5835
2020-03-12 18:00:00 | 7.349 | 14.37 | 10.61 | 30.18 | 10.04 | 17.03 | 9.25 | 19.21 | 11.51 | 969.653 | 63.4921 | 58.2909
2020-03-12 18:15:00 | 7.247 | 15.65 | 10.1 | 32 | 9.43 | 17.37 | 8.82 | 20.03 | 11.21 | 969.95 | 64.4479 | 54.0593
2020-03-12 18:30:00 | 7.244 | 12.46 | 10.52 | 28.46 | 9.78 | 16.8 | 8.85 | 18 | 10.97 | 970.098 | 66.0864 | 55.007
2020-03-12 18:45:00 | 6.016 | 17.23 | 8.9 | 32.89 | 8.2 | 15.3 | 7.688 | 21.89 | 10.73 | 970.693 | 66.3594 | 52.7107
2020-03-12 19:00:00 | 6.327 | 12.99 | 9.48 | 28.91 | 9.1 | 16.51 | 8.5 | 19 | 10.39 | 970.763 | 67.7249 | 54.9276
2020-03-12 19:15:00 | 7.262 | 14.38 | 9.95 | 29.36 | 9.05 | 16.85 | 8.69 | 21.89 | 10.07 | 970.727 | 67.5883 | 51.9026
2020-03-12 19:30:00 | 6.238 | 19.06 | 10.01 | 32.76 | 9.66 | 20.97 | 9.45 | 27.04 | 9.91 | 970.769 | 66.5056 | 47.0502
2020-03-12 19:45:00 | 6.585 | 22.42 | 8.64 | 35.44 | 8.32 | 20.2 | 8.23 | 28.59 | 9.69 | 971.196 | 64.4598 | 38.8307
2020-03-12 20:00:00 | 6.381 | 20.46 | 8.49 | 31.35 | 7.721 | 16.08 | 7.589 | 27.75 | 9.59 | 971.389 | 63.4347 | 34.4766
2020-03-12 20:15:00 | 6.044 | 14.65 | 9.46 | 29.5 | 8.47 | 16.55 | 7.945 | 22.52 | 9.45 | 971.718 | 61.8642 | 36.0617
2020-03-12 20:30:00 | 6.034 | 15.26 | 9.39 | 31.83 | 8.78 | 17.51 | 8.43 | 20.21 | 9.31 | 972.174 | 61.9356 | 28.8826
2020-03-12 20:45:00 | 5.052 | 14.71 | 8.99 | 28.85 | 8.86 | 18.34 | 8.24 | 21.14 | 9.15 | 973.068 | 62.4187 | 23.4992
2020-03-12 21:00:00 | 4.443 | 29.23 | 5.144 | 43.03 | 5.244 | 25.43 | 5.187 | 41 | 9.02 | 973.068 | 62.0794 | 11.709
2020-03-12 21:15:00 | 4.328 | 29.54 | 5.356 | 40.04 | 5.435 | 21.95 | 5.404 | 38.32 | 8.26 | 972.771 | 74.714 | 17.0222
2020-03-12 21:30:00 | 4.949 | 19.11 | 6.125 | 27.75 | 6.147 | 65.54 | 5.979 | 19.23 | 7.48 | 972.912 | 71.9822 | 19.3148
2020-03-12 21:45:00 | 5.832 | 355.3 | 6.785 | 6.312 | 6.696 | 63.19 | 6.631 | 357.9 | 7.497 | 973.214 | 67.4748 | 31.2125
2020-03-12 22:00:00 | 4.34 | 13.15 | 7.286 | 27.29 | 7.474 | 62.38 | 6.97 | 19.32 | 7.57 | 973.068 | 64.4018 | 31.1793
2020-03-12 22:15:00 | 4.221 | 12.83 | 6.532 | 28.53 | 6.668 | 60.67 | 6.183 | 18.67 | 7.602 | 973.068 | 65.2918 | 20.8278
2020-03-12 22:30:00 | 3.083 | 22.8 | 6.205 | 34.61 | 6.327 | 32.63 | 6.249 | 31.13 | 7.633 | 972.771 | 61.4005 | 23.4401
2020-03-12 22:45:00 | 2.247 | 48.58 | 5.011 | 60.06 | 5.887 | 58.42 | 5.923 | 54.41 | 7.694 | 973.068 | 60.3744 | 10.7483
2020-03-12 23:00:00 | 4.124 | 47.5 | 5.484 | 63.54 | 5.234 | 41.19 | 5.236 | 52.1 | 8.45 | 973.068 | 60.1687 | 8.3097
2020-03-12 23:15:00 | 5.939 | 11.82 | 6.731 | 18.25 | 6.36 | 7.804 | 5.653 | 10.84 | 7.96 | 972.474 | 55.4209 | 28.0202
2020-03-12 23:30:00 | 6.205 | 7.923 | 8.2 | 22.84 | 7.345 | 11.23 | 6.97 | 14.52 | 7.505 | 973.068 | 54.1916 | 19.7268
2020-03-12 23:45:00 | 6.317 | 9.22 | 7.061 | 18.18 | 6.521 | 4.815 | 6.03 | 10.89 | 7.699 | 973.663 | 49.1052 | 23.6766