## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-13 00:00:00 | 4.821 | 7.773 | 6.066 | 16.32 | 5.704 | 5.165 | 5.521 | 9.32 | 7.479 | 973.811 | 44.6305 | 28.6277
2020-03-13 00:15:00 | 6.399 | 16.91 | 8.94 | 31.02 | 8.38 | 15.41 | 8.11 | 23.09 | 7.482 | 973.96 | 42.5487 | 27.4379
2020-03-13 00:30:00 | 5.865 | 17.46 | 8.53 | 29.48 | 8.63 | 19.9 | 8.35 | 26.04 | 7.717 | 974.257 | 37.6668 | 24.8404
2020-03-13 00:45:00 | 4.77 | 18.64 | 7.496 | 31.25 | 7.523 | 13.5 | 7.25 | 23.46 | 7.95 | 974.554 | 36.3362 | 20.1739
2020-03-13 01:00:00 | 5.061 | 9.98 | 6.703 | 24.26 | 6.541 | 8.74 | 6.249 | 17.72 | 7.917 | 974.554 | 33.3965 | 24.9217
2020-03-13 01:15:00 | 5.434 | 9.1 | 7.191 | 24.13 | 6.963 | 13 | 6.641 | 12.75 | 7.738 | 975 | 30.8008 | 26.0967
2020-03-13 01:30:00 | 6.348 | 9.65 | 8.16 | 22.79 | 7.792 | 9.18 | 7.41 | 15.39 | 7.577 | 975.149 | 30.3233 | 32.8472
2020-03-13 01:45:00 | 5.694 | 8.14 | 7.695 | 21.6 | 7.563 | 6.963 | 6.957 | 12.73 | 7.253 | 975.149 | 30.734 | 35.1084
2020-03-13 02:00:00 | 6.105 | 8.42 | 8.5 | 23.21 | 8.23 | 8.36 | 7.645 | 12.58 | 7.059 | 975.446 | 31.522 | 31.9493
2020-03-13 02:15:00 | 6.529 | 8.77 | 7.703 | 19.52 | 7.871 | 8.51 | 7.275 | 11.51 | 6.797 | 975.297 | 31.7653 | 35.0382
2020-03-13 02:30:00 | 5.891 | 10.16 | 8.79 | 24.98 | 8.57 | 8.9 | 8.13 | 16.73 | 6.58 | 975.149 | 34.2267 | 31.07
2020-03-13 02:45:00 | 5.089 | 21.4 | 8.64 | 32.34 | 9.34 | 18.4 | 9.25 | 27.8 | 6.48 | 974.703 | 33.4073 | 29.3999
2020-03-13 03:00:00 | 4.924 | 17.87 | 7.626 | 29.55 | 7.291 | 14.52 | 7.11 | 26.09 | 6.78 | 975.297 | 30.333 | 15.9211
2020-03-13 03:15:00 | 5.835 | 6.906 | 6.409 | 14.9 | 6.205 | 355.8 | 6.056 | 13.07 | 6.405 | 975.446 | 34.3296 | 21.4966
2020-03-13 03:30:00 | 6.613 | 7.618 | 7.488 | 11.67 | 6.963 | 359.9 | 6.687 | 6.671 | 5.946 | 975.149 | 39.351 | 37.5338
2020-03-13 03:45:00 | 5.873 | 7.662 | 7.516 | 19.33 | 7.691 | 4.526 | 7.064 | 11.07 | 5.604 | 974.852 | 40.7173 | 32.3484
2020-03-13 04:00:00 | 6.141 | 6.986 | 7.301 | 18.61 | 7.35 | 8.2 | 6.84 | 7.536 | 5.441 | 975.149 | 41.8104 | 35.4246
2020-03-13 04:15:00 | 6.256 | 6.254 | 7.981 | 22.11 | 7.65 | 8.31 | 7.308 | 9.82 | 5.294 | 974.852 | 43.1426 | 34.3103
2020-03-13 04:30:00 | 6.154 | 9.48 | 7.741 | 20.93 | 7.627 | 6.743 | 7.321 | 11.71 | 5.236 | 975.149 | 43.7233 | 24.4081
2020-03-13 04:45:00 | 4.793 | 12.2 | 8.02 | 25.36 | 7.856 | 9.04 | 7.428 | 19.51 | 5.214 | 975.446 | 41.8104 | 20.7503
2020-03-13 05:00:00 | 5.446 | 7.567 | 7.133 | 20.02 | 7.625 | 6.847 | 7.039 | 16.06 | 5.3 | 975.446 | 41.0589 | 20.3253
2020-03-13 05:15:00 | 3.609 | 13.73 | 7.028 | 23.69 | 7.823 | 9 | 7.609 | 22.32 | 5.253 | 975.446 | 42.9035 | 22.4499
2020-03-13 05:30:00 | 4.79 | 7.981 | 6.24 | 16.09 | 6.437 | 358.7 | 6.173 | 10.62 | 5.106 | 976.337 | 44.1332 | 23.4364
2020-03-13 05:45:00 | 5.076 | 358 | 6.095 | 6.9 | 6.485 | 359.4 | 6.702 | 6.291 | 4.962 | 976.635 | 45.5679 | 27.885
2020-03-13 06:00:00 | 4.389 | 7.187 | 6.261 | 24.8 | 6.216 | 11.98 | 6.022 | 7.079 | 5.064 | 976.674 | 46.0803 | 31.3138
2020-03-13 06:15:00 | 5.222 | 6.372 | 5.77 | 13.34 | 5.898 | 357.6 | 5.62 | 6.215 | 4.887 | 976.96 | 48.0956 | 30.0982
2020-03-13 06:30:00 | 5.801 | 7.759 | 6.463 | 17.36 | 6.882 | 6.533 | 6.733 | 5.253 | 4.951 | 977.087 | 46.1144 | 41.9982
2020-03-13 06:45:00 | 6.187 | 6.743 | 7.255 | 18.92 | 7.474 | 13.15 | 7.146 | 8.78 | 5.017 | 977.27 | 43.0401 | 41.0667
2020-03-13 07:00:00 | 5.983 | 7.856 | 7.404 | 22.82 | 7.055 | 10.67 | 6.753 | 9.9 | 5.123 | 977.248 | 40.5124 | 47.3901
2020-03-13 07:15:00 | 5.743 | 14.73 | 10.17 | 30.71 | 10.21 | 19.87 | 9.58 | 20.52 | 5.098 | 977.548 | 40.5124 | 48.82
2020-03-13 07:30:00 | 5.868 | 10.84 | 9.87 | 26.76 | 9.27 | 9.38 | 8.23 | 16.3 | 5.099 | 977.824 | 39.4193 | 43.2334
2020-03-13 07:45:00 | 5.812 | 11.64 | 9.56 | 26.82 | 8.91 | 11.38 | 8.18 | 17.13 | 5.426 | 978.121 | 35.7301 | 41.2577
2020-03-13 08:00:00 | 6.019 | 16.34 | 10.22 | 31.63 | 9.88 | 16.43 | 9.31 | 21.33 | 5.567 | 978.121 | 32.4509 | 39.2762
2020-03-13 08:15:00 | 6.368 | 15.68 | 9.78 | 30.9 | 9.31 | 19.58 | 8.98 | 20.96 | 5.936 | 979.012 | 30.0939 | 33.8374
2020-03-13 08:30:00 | 4.923 | 19.93 | 8.89 | 32.66 | 9.02 | 20.92 | 8.74 | 26.36 | 6.149 | 979.458 | 28.8984 | 32.6624
2020-03-13 08:45:00 | 4.723 | 19.58 | 8 | 34.45 | 8.14 | 22.04 | 7.693 | 24.28 | 6.618 | 980.201 | 26.9854 | 28.1252
2020-03-13 09:00:00 | 3.953 | 22.18 | 6.151 | 36.65 | 6.002 | 27.79 | 5.814 | 28.79 | 6.986 | 980.795 | 26.2935 | 23.163
2020-03-13 09:15:00 | 4.597 | 37.41 | 6.943 | 52.41 | 7.251 | 34.09 | 7.135 | 41.72 | 7.145 | 980.499 | 25.4738 | 20.85
2020-03-13 09:30:00 | 2.939 | 15.66 | 7.03 | 30.12 | 6.859 | 40.3 | 6.402 | 20.18 | 7.457 | 981.089 | 25.3349 | 22.1656
2020-03-13 09:45:00 | 5.385 | 10.59 | 6.908 | 26.95 | 5.964 | 14.33 | 5.857 | 13.77 | 7.199 | 981.077 | 25.4017 | 24.4081
2020-03-13 10:00:00 | 5.237 | 16.88 | 8.06 | 31.28 | 7.541 | 15.7 | 7.056 | 23.37 | 7.344 | 980.718 | 24.8549 | 22.0398
2020-03-13 10:15:00 | 3.834 | 20.41 | 6.905 | 35.25 | 6.862 | 24.67 | 6.654 | 26.06 | 7.87 | 980.845 | 23.9308 | 21.4412
2020-03-13 10:30:00 | 4.205 | 20.04 | 6.486 | 37.24 | 6.277 | 21.8 | 6.053 | 21.91 | 7.648 | 981.106 | 24.6459 | 12.6622
2020-03-13 10:45:00 | 3.73 | 17.3 | 6.652 | 32.84 | 6.569 | 23.42 | 6.122 | 21.73 | 8.2 | 981.383 | 23.5535 | 10.2236
2020-03-13 11:00:00 | 3.521 | 15.03 | 6.468 | 29.59 | 5.984 | 13.22 | 5.635 | 16.74 | 8.69 | 981.383 | 22.7343 | 15.559
2020-03-13 11:15:00 | 2.465 | 20.08 | 5.576 | 34.02 | 5.559 | 24.26 | 5.304 | 24 | 8.34 | 981.383 | 22.1198 | 9.4255
2020-03-13 11:30:00 | 3.03 | 21.62 | 4.006 | 36.14 | 3.937 | 18.98 | 3.845 | 23.89 | 8.43 | 981.235 | 21.6419 | 4.8735
2020-03-13 11:45:00 | 3.062 | 15.91 | 3.497 | 27.47 | 3.247 | 354.1 | 3.05 | 25.8 | 8.85 | 981.383 | 21.7095 | 4.2047
2020-03-13 12:00:00 | 2.369 | 14.64 | 4.249 | 27.62 | 4.229 | 15.87 | 3.946 | 17.36 | 8.95 | 981.383 | 20.8872 | 5.8785
2020-03-13 12:15:00 | 2.881 | 36.45 | 4.228 | 51.32 | 4.534 | 33.79 | 4.387 | 35.48 | 9.4 | 981.086 | 21.1252 | 8.2321
2020-03-13 12:30:00 | 3.756 | 9.15 | 4.198 | 23.86 | 3.939 | 10.83 | 3.888 | 7.032 | 9.78 | 981.124 | 20.6108 | 7.2271
2020-03-13 12:45:00 | 2.419 | 33.7 | 4.327 | 42.09 | 4.097 | 21.2 | 3.794 | 33.73 | 9.97 | 980.638 | 21.0544 | 12.3814
2020-03-13 13:00:00 | 2.224 | 25.75 | 4.01 | 50.28 | 4.028 | 65.67 | 3.753 | 20.93 | 10.15 | 980.497 | 20.4743 | 12.3556
2020-03-13 13:15:00 | 2.231 | 25.79 | 4.121 | 46.45 | 4.341 | 21.66 | 4.232 | 13.36 | 10.17 | 980.489 | 19.553 | 12.3556
2020-03-13 13:30:00 | 2.351 | 14.45 | 3.753 | 21.76 | 4.168 | 357.8 | 3.904 | 5.984 | 10.01 | 980.489 | 20.0648 | 12.0009
2020-03-13 13:45:00 | 3.935 | 359.2 | 4.567 | 341.3 | 4.677 | 309.3 | 4.747 | 19.96 | 10.35 | 980.352 | 19.7577 | 11.5723
2020-03-13 14:00:00 | 4.747 | 324.8 | 5.228 | 330.1 | 4.72 | 309.4 | 4.645 | 332.9 | 10.21 | 980.352 | 20.2355 | 9.8652
2020-03-13 14:15:00 | 5.492 | 297.2 | 5.882 | 306.5 | 5.595 | 283.4 | 5.676 | 303.1 | 9.57 | 980.104 | 22.488 | 8.4501
2020-03-13 14:30:00 | 4.138 | 304.3 | 4.816 | 315.7 | 5.412 | 300.7 | 5.505 | 308.4 | 9.6 | 979.896 | 23.3097 | 6.5657
2020-03-13 14:45:00 | 4.333 | 305.1 | 5.228 | 315.2 | 5.175 | 300.1 | 5.32 | 307.4 | 9.71 | 979.749 | 22.7296 | 4.4486
2020-03-13 15:00:00 | 3.088 | 334.4 | 3.944 | 327 | 3.613 | 308.2 | 3.571 | 339.1 | 10.22 | 980.195 | 21.8767 | 2.8894
2020-03-13 15:15:00 | 2.387 | 349.2 | 2.991 | 357.5 | 2.894 | 325.4 | 2.659 | 348.2 | 10.04 | 980.189 | 22.1482 | 2.7674
2020-03-13 15:30:00 | 3.677 | 321.4 | 3.996 | 325.8 | 4.242 | 293.9 | 4.329 | 321 | 10.2 | 980.063 | 22.3853 | 1.8326
2020-03-13 15:45:00 | 3.102 | 320 | 3.689 | 318.4 | 3.746 | 293.2 | 3.733 | 322.8 | 10.3 | 979.902 | 22.3853 | 1.3449
2020-03-13 16:00:00 | 3.611 | 303.6 | 4.228 | 312.6 | 4.168 | 304 | 4.206 | 305.8 | 9.85 | 979.608 | 23.4772 | 2.2391
2020-03-13 16:15:00 | 3.835 | 306 | 5.036 | 318.4 | 4.883 | 303.6 | 4.879 | 309 | 9.86 | 979.761 | 24.9446 | 3.9202
2020-03-13 16:30:00 | 3.779 | 307.6 | 4.3 | 322.2 | 4.555 | 307.7 | 4.683 | 306.1 | 9.49 | 979.588 | 25.4589 | 4.1382
2020-03-13 16:45:00 | 2.469 | 330.5 | 2.965 | 346.9 | 2.627 | 330.5 | 2.684 | 324.5 | 9.26 | 979.007 | 27.5768 | 3.3771
2020-03-13 17:00:00 | 3.274 | 314.7 | 3.772 | 323.9 | 3.551 | 311.8 | 3.628 | 311.7 | 9.26 | 978.859 | 28.1222 | 4.6333
2020-03-13 17:15:00 | 3.008 | 314.4 | 3.533 | 323.3 | 3.403 | 303.3 | 3.287 | 316.9 | 8.97 | 978.413 | 29.4908 | 3.8833
2020-03-13 17:30:00 | 2.257 | 331.5 | 2.99 | 351.9 | 3.98 | 342.5 | 4.033 | 331 | 8.41 | 977.968 | 30.2441 | 3.0113
2020-03-13 17:45:00 | 0.839 | 325 | 1.767 | 335.4 | 1.512 | 310.2 | 1.457 | 331.6 | 8.18 | 977.541 | 31.0638 | 1.7661
2020-03-13 18:00:00 | 2.515 | 332.3 | 2.866 | 350.5 | 2.238 | 314.7 | 2.156 | 333.5 | 7.946 | 977.767 | 32.2299 | 2.845
2020-03-13 18:15:00 | 1.88 | 345.9 | 2.52 | 9.41 | 3.631 | 317.5 | 3.631 | 347.7 | 7.632 | 977.673 | 33.9422 | 1.9915
2020-03-13 18:30:00 | 3.054 | 353.9 | 3.379 | 7.346 | 3.492 | 317.7 | 3.438 | 353.4 | 7.517 | 977.704 | 33.635 | 1.0604
2020-03-13 18:45:00 | 2.817 | 11.96 | 3.188 | 11.02 | 3.339 | 317.8 | 3.366 | 0.376 | 7.463 | 977.82 | 34.9667 | 0.98652
2020-03-13 19:00:00 | 0.85 | 23.29 | 2.208 | 37.59 | 2.403 | 318.6 | 2.327 | 22.04 | 7.255 | 977.526 | 36.3421 | -0.39904
2020-03-13 19:15:00 | 2.204 | 36.82 | 2.116 | 43.84 | 0.762 | 318.6 | 0.59 | 36.67 | 7.391 | 977.675 | 33.6806 | -0.29189
2020-03-13 19:30:00 | 1.588 | 22.1 | 2.055 | 39.62 | 1.476 | 318.5 | 1.229 | 12.21 | 7.362 | 977.823 | 33.4757 | -0.28081
2020-03-13 19:45:00 | 1.521 | 34.35 | 1.614 | 34.63 | 0.197 | 318.5 | 0.052 | 350 | 7.412 | 977.675 | 31.5628 | -0.28081
2020-03-13 20:00:00 | 0.102 | 200.6 | 0.709 | 34.28 | 1.386 | 306.5 | 1.273 | 210.5 | 7.504 | 977.229 | 31.2895 | -0.28081
2020-03-13 20:15:00 | 1.614 | 206.4 | 2.497 | 235 | 2.813 | 212.6 | 2.887 | 212.1 | 7.461 | 977.229 | 31.4944 | -0.18844
2020-03-13 20:30:00 | 1.324 | 210 | 1.973 | 220.3 | 2.24 | 210.9 | 2.365 | 216.3 | 7.619 | 977.526 | 31.4944 | -0.24386
2020-03-13 20:45:00 | 2.107 | 205.2 | 3.016 | 217.5 | 3.522 | 203.1 | 3.613 | 211.8 | 7.596 | 977.526 | 31.6994 | -0.22908
2020-03-13 21:00:00 | 2.977 | 191.9 | 3.814 | 205.6 | 3.957 | 196.3 | 4.005 | 196.7 | 7.586 | 977.526 | 32.9291 | 3.1221
2020-03-13 21:15:00 | 7.298 | 175.8 | 7.314 | 189.7 | 7.057 | 172.1 | 7.115 | 179.7 | 6.738 | 977.377 | 51.614 | 11.3653
2020-03-13 21:30:00 | 6.205 | 162.4 | 6.289 | 175.2 | 5.714 | 162.7 | 5.681 | 171.6 | 5.993 | 977.229 | 74.0905 | 14.2954
2020-03-13 21:45:00 | 5.431 | 174.1 | 5.501 | 186.7 | 5.587 | 175.2 | 5.569 | 180.6 | 5.696 | 977.229 | 81.0931 | 9.3369
2020-03-13 22:00:00 | 4.489 | 169.1 | 4.862 | 183.4 | 4.501 | 171.7 | 4.502 | 176.3 | 5.312 | 977.08 | 84.0991 | 8.8861
2020-03-13 22:15:00 | 6.317 | 163.5 | 6.555 | 177.1 | 6.332 | 164.6 | 6.28 | 171.9 | 4.93 | 977.229 | 88.0615 | 9.3258
2020-03-13 22:30:00 | 4.009 | 161.1 | 4.371 | 173.6 | 4.194 | 157.2 | 4.214 | 170 | 4.82 | 977.08 | 89.3595 | 3.0298
2020-03-13 22:45:00 | 2.071 | 156.3 | 3.119 | 170.9 | 4.056 | 165.6 | 4.056 | 169.2 | 4.598 | 976.783 | 90.2231 | 2.5716
2020-03-13 23:00:00 | 2.427 | 177.4 | 3.617 | 178.8 | 4.043 | 168.2 | 4.041 | 190.3 | 4.775 | 976.883 | 89.4476 | 3.3845
2020-03-13 23:15:00 | 4.193 | 159.9 | 4.637 | 174.5 | 4.598 | 163 | 4.533 | 168.8 | 4.443 | 976.636 | 92.1828 | 6.4549
2020-03-13 23:30:00 | 4.729 | 162.8 | 5.463 | 175.9 | 5.412 | 166.4 | 5.49 | 176 | 4.316 | 976.339 | 93.5498 | 8.9563
2020-03-13 23:45:00 | 4.877 | 166.5 | 5.512 | 176.6 | 5.191 | 164.8 | 5.139 | 180.8 | 4.223 | 976.339 | 93.6865 | 10.9146