## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-14 00:00:00 | 4.992 | 165.6 | 5.88 | 178.3 | 5.661 | 170.1 | 5.582 | 179 | 4.266 | 976.339 | 94.5079 | 13.7929
2020-03-14 00:15:00 | 5.878 | 161.4 | 6.179 | 174.2 | 5.87 | 162.3 | 5.844 | 175 | 4.012 | 976.042 | 95.3268 | 16.6601
2020-03-14 00:30:00 | 5.671 | 172 | 6.026 | 179.1 | 6.109 | 162.5 | 6.173 | 183.9 | 4.034 | 976.041 | 95.3277 | 18.3671
2020-03-14 00:45:00 | 6.123 | 164.2 | 6.547 | 179.6 | 6.287 | 168.5 | 6.285 | 173.8 | 3.726 | 975.714 | 97.2404 | 18.792
2020-03-14 01:00:00 | 5.689 | 164.9 | 6.32 | 179.2 | 6.045 | 170.6 | 6.122 | 179.7 | 3.675 | 975.715 | 97.3784 | 18.8326
2020-03-14 01:15:00 | 5.776 | 171.4 | 6.312 | 179.6 | 6.043 | 164.2 | 6.076 | 185.4 | 3.878 | 975.743 | 96.9709 | 21.1308
2020-03-14 01:30:00 | 6.146 | 177.7 | 6.552 | 188.5 | 6.33 | 176.3 | 6.389 | 188.2 | 3.712 | 975.447 | 96.9736 | 23.6433
2020-03-14 01:45:00 | 5.145 | 179.1 | 5.98 | 188 | 5.544 | 176.4 | 5.658 | 189.3 | 3.51 | 975.447 | 97.5873 | 18.6885
2020-03-14 02:00:00 | 5.056 | 184.5 | 5.522 | 194.3 | 5.75 | 182.4 | 5.994 | 193.2 | 3.547 | 975.135 | 96.1553 | 19.9115
2020-03-14 02:15:00 | 4.844 | 195.6 | 5.721 | 203.9 | 6.243 | 191.8 | 6.478 | 201.9 | 3.796 | 974.852 | 93.6272 | 19.0691
2020-03-14 02:30:00 | 4.806 | 189.7 | 5.553 | 193.6 | 5.969 | 178.2 | 6.208 | 198.4 | 3.908 | 974.555 | 94.5484 | 18.7698
2020-03-14 02:45:00 | 5.457 | 184.3 | 5.818 | 190.3 | 5.956 | 172.5 | 6.17 | 192.8 | 3.795 | 974.258 | 94.584 | 19.3647
2020-03-14 03:00:00 | 4.854 | 181.1 | 5.841 | 188.6 | 5.653 | 180.3 | 5.707 | 189.1 | 3.733 | 974.258 | 95.0963 | 18.2673
2020-03-14 03:15:00 | 5.63 | 184.4 | 6.128 | 191.8 | 5.783 | 172 | 5.893 | 193.1 | 3.519 | 973.955 | 93.9678 | 19.4718
2020-03-14 03:30:00 | 5.975 | 181.3 | 6.496 | 191.7 | 5.9 | 178.5 | 6.173 | 192.9 | 3.562 | 973.812 | 93.6954 | 22.121
2020-03-14 03:45:00 | 7.285 | 180.4 | 7.365 | 188.6 | 7.324 | 169.9 | 7.55 | 191.3 | 3.646 | 973.365 | 94.994 | 26.1928
2020-03-14 04:00:00 | 6.529 | 181.9 | 7.069 | 187.8 | 6.722 | 175.1 | 6.858 | 191.7 | 3.475 | 973.366 | 94.1739 | 29.9911
2020-03-14 04:15:00 | 7.116 | 185.5 | 7.462 | 195.6 | 7.307 | 178.3 | 7.525 | 192.9 | 3.641 | 973.217 | 93.7634 | 33.6933
2020-03-14 04:30:00 | 6.595 | 187.6 | 6.706 | 199.9 | 7.157 | 182.9 | 7.441 | 194.2 | 3.583 | 973.364 | 94.0372 | 33.6379
2020-03-14 04:45:00 | 7.078 | 191.4 | 7.097 | 200.5 | 7.393 | 184.6 | 7.711 | 197.8 | 3.604 | 973.069 | 93.9683 | 32.7437
2020-03-14 05:00:00 | 6.7 | 190.1 | 7.023 | 199.7 | 7.08 | 187.3 | 7.375 | 197.3 | 3.301 | 973.035 | 95.7458 | 29.0969
2020-03-14 05:15:00 | 6.131 | 182 | 6.527 | 192.3 | 6.368 | 180.5 | 6.415 | 190.8 | 3.187 | 972.771 | 97.9327 | 23.2258
2020-03-14 05:30:00 | 6.034 | 180.8 | 6.496 | 193.1 | 6.597 | 188.4 | 6.786 | 190.6 | 2.982 | 972.772 | 98.2744 | 23.3329
2020-03-14 05:45:00 | 7.088 | 173 | 7.327 | 181.7 | 7.271 | 171.1 | 7.413 | 186 | 2.713 | 972.474 | 97.2493 | 22.1432
2020-03-14 06:00:00 | 6.825 | 183.9 | 6.987 | 194.8 | 6.526 | 181.3 | 6.713 | 191.2 | 2.784 | 972.474 | 97.591 | 19.6418
2020-03-14 06:15:00 | 7.032 | 192.4 | 7.24 | 205 | 7.192 | 189.1 | 7.377 | 199.2 | 3.256 | 972.623 | 93.4905 | 22.8009
2020-03-14 06:30:00 | 6.003 | 191.3 | 6.059 | 199 | 6.182 | 181.2 | 6.415 | 197.8 | 2.796 | 972.623 | 93.6614 | 20.4436
2020-03-14 06:45:00 | 6.948 | 196.7 | 6.997 | 206.4 | 6.9 | 194.8 | 7.171 | 206 | 3.15 | 972.772 | 92.5337 | 17.0074
2020-03-14 07:00:00 | 5.602 | 198.3 | 5.995 | 205.2 | 6.327 | 192.7 | 6.618 | 207.9 | 3.102 | 972.772 | 89.5951 | 16.2721
2020-03-14 07:15:00 | 6.884 | 208.4 | 7.056 | 215.8 | 7.449 | 196.3 | 7.764 | 217.7 | 3.682 | 972.92 | 84.0571 | 17.0332
2020-03-14 07:30:00 | 6.235 | 205.4 | 6.419 | 208.8 | 7.889 | 192.3 | 8.39 | 217 | 3.645 | 973.365 | 83.5062 | 13.5712
2020-03-14 07:45:00 | 6.636 | 211 | 7.015 | 218.4 | 7.94 | 198.7 | 8.32 | 222 | 4.093 | 973.252 | 75.9423 | 14.3656
2020-03-14 08:00:00 | 6.741 | 207.5 | 6.81 | 212.9 | 7.515 | 192.6 | 7.879 | 217.2 | 4.609 | 973.367 | 72.2801 | 13.2386
2020-03-14 08:15:00 | 6.266 | 198.2 | 6.335 | 205.9 | 6.79 | 189.1 | 7.097 | 210.7 | 4.782 | 973.663 | 70.0257 | 11.9639
2020-03-14 08:30:00 | 6.261 | 195.9 | 5.808 | 206.1 | 6.027 | 189.2 | 6.257 | 206.5 | 5.242 | 973.663 | 66.13 | 9.5992
2020-03-14 08:45:00 | 5.697 | 211.5 | 5.379 | 214 | 6.02 | 188.4 | 6.188 | 225.3 | 5.328 | 973.96 | 64.0954 | 9.2371
2020-03-14 09:00:00 | 5.127 | 208.4 | 4.706 | 210.6 | 4.72 | 186.4 | 4.963 | 221.7 | 5.675 | 974.136 | 63.8552 | 6.8392
2020-03-14 09:15:00 | 5.531 | 199.7 | 5.121 | 201.6 | 4.946 | 180.8 | 5.192 | 214.6 | 5.916 | 973.96 | 59.9625 | 4.3895
2020-03-14 09:30:00 | 4.578 | 215.6 | 3.965 | 208.9 | 3.881 | 182.7 | 4.064 | 230.8 | 6.826 | 974.381 | 60.5001 | 2.058
2020-03-14 09:45:00 | 4.106 | 194.1 | 3.786 | 200.4 | 2.322 | 179.6 | 2.196 | 208.6 | 7.557 | 974.46 | 54.6862 | 0.29559
2020-03-14 10:00:00 | 3.381 | 201.8 | 3.121 | 199.5 | 2.741 | 170.5 | 2.867 | 220.8 | 7.826 | 974.853 | 52.0225 | -0.26233
2020-03-14 10:15:00 | 3.159 | 181.4 | 2.628 | 197.1 | 2.49 | 184.2 | 2.595 | 200.3 | 8.71 | 975.147 | 46.4921 | 0.34731
2020-03-14 10:30:00 | 5.26 | 266.2 | 5.532 | 275.9 | 5.356 | 255.7 | 5.409 | 267 | 9.06 | 974.998 | 30.9897 | 4.2047
2020-03-14 10:45:00 | 5.679 | 247.2 | 5.578 | 256.5 | 5.694 | 243.7 | 5.618 | 249 | 9.28 | 974.806 | 33.4421 | 7.5449
2020-03-14 11:00:00 | 6.46 | 274.2 | 6.565 | 285.1 | 6.17 | 269 | 6.129 | 276.9 | 9.69 | 974.856 | 29.5854 | 17.6252
2020-03-14 11:15:00 | 4.165 | 274.3 | 4.497 | 284.7 | 4.651 | 266.7 | 4.619 | 276.9 | 10.14 | 974.577 | 25.2175 | 32.8746
2020-03-14 11:30:00 | 7.895 | 290.4 | 8.29 | 304.6 | 8.29 | 293.9 | 8.31 | 291.2 | 9.84 | 974.403 | 28.6299 | 33.8322
2020-03-14 11:45:00 | 6.927 | 285.9 | 8.1 | 302.1 | 7.574 | 293.7 | 7.525 | 282.7 | 10.74 | 973.958 | 22.3511 | 36.9641
2020-03-14 12:00:00 | 6.475 | 296.8 | 7.294 | 310 | 7.19 | 297.7 | 7.179 | 296.8 | 10.71 | 973.661 | 20.7814 | 40.1356
2020-03-14 12:15:00 | 7.346 | 288.5 | 8.13 | 301.8 | 8.06 | 284.2 | 8.15 | 290.8 | 11.16 | 973.661 | 15.2192 | 31.8788
2020-03-14 12:30:00 | 7.221 | 275.8 | 8.08 | 287.9 | 8.22 | 274.5 | 8.11 | 275.7 | 11.4 | 973.958 | 15.3899 | 41.0054
2020-03-14 12:45:00 | 7.933 | 283.8 | 8.32 | 296.1 | 8.19 | 283 | 8.12 | 284 | 11.11 | 973.513 | 14.8098 | 41.6615
2020-03-14 13:00:00 | 8.36 | 283.7 | 9.11 | 296.2 | 8.92 | 279.4 | 8.91 | 285.9 | 11.51 | 973.216 | 15.7993 | 43.1521
2020-03-14 13:15:00 | 9.53 | 268.8 | 9.95 | 283.5 | 9.63 | 269.2 | 9.61 | 269.4 | 11.65 | 972.847 | 16.7207 | 42.8085
2020-03-14 13:30:00 | 9.03 | 275.9 | 9.99 | 289.2 | 9.31 | 273.1 | 9.18 | 275.4 | 11.83 | 973.935 | 15.4244 | 47.7115
2020-03-14 13:45:00 | 10.25 | 298 | 11.97 | 310.7 | 11.6 | 298 | 11.67 | 299.1 | 12.07 | 973.204 | 15.1514 | 49.1379
2020-03-14 14:00:00 | 8.64 | 291.8 | 10.39 | 306.5 | 10.38 | 294.6 | 10.42 | 293 | 12.19 | 973.049 | 16.3796 | 51.3582
2020-03-14 14:15:00 | 7.79 | 289.9 | 8.94 | 303 | 9.09 | 287.5 | 9.12 | 291 | 12.45 | 973.46 | 15.4581 | 66.0293
2020-03-14 14:30:00 | 8.52 | 288.1 | 9.38 | 300.6 | 9.52 | 286.3 | 9.47 | 289.8 | 12.21 | 972.776 | 15.4922 | 58.561
2020-03-14 14:45:00 | 8.23 | 312.7 | 8.94 | 322 | 7.81 | 312.5 | 7.917 | 314.8 | 12.99 | 973.068 | 15.2192 | 63.6093
2020-03-14 15:00:00 | 7.027 | 307.4 | 8.31 | 318.4 | 8.61 | 308.8 | 8.76 | 307 | 12.88 | 972.771 | 15.6629 | 61.2315
2020-03-14 15:15:00 | 7.721 | 299.9 | 8.96 | 314.1 | 9.22 | 305.4 | 9.22 | 299.9 | 13.03 | 972.474 | 15.1846 | 53.8899
2020-03-14 15:30:00 | 7.359 | 300 | 9.01 | 313.2 | 8.65 | 303.2 | 8.68 | 301 | 13 | 972.771 | 15.6627 | 54.7791
2020-03-14 15:45:00 | 8.09 | 289.7 | 9.26 | 301.1 | 8.97 | 286.6 | 8.96 | 289.6 | 12.65 | 973.068 | 15.2192 | 55.2063
2020-03-14 16:00:00 | 6.731 | 293.5 | 8.01 | 305.1 | 7.902 | 291.8 | 7.978 | 296.2 | 12.88 | 972.177 | 15.4916 | 50.0508
2020-03-14 16:15:00 | 7.157 | 297.7 | 8.73 | 308.8 | 8.43 | 300.1 | 8.43 | 299.8 | 13.08 | 972.622 | 15.2869 | 49.4014
2020-03-14 16:30:00 | 8.72 | 284.8 | 9.09 | 296.6 | 9.02 | 281.5 | 8.98 | 286.5 | 12.77 | 972.325 | 15.2189 | 35.334
2020-03-14 16:45:00 | 5.847 | 291.5 | 6.931 | 302.3 | 7.192 | 289.1 | 7.209 | 293 | 12.99 | 972.474 | 15.5942 | 37.037
2020-03-14 17:00:00 | 5.929 | 287.4 | 6.698 | 300.1 | 6.518 | 284.5 | 6.468 | 287.6 | 13.03 | 972.177 | 16.3108 | 26.4445
2020-03-14 17:15:00 | 4.655 | 284.9 | 5.622 | 299.7 | 5.707 | 288.7 | 5.668 | 284.1 | 12.88 | 972.177 | 15.4922 | 22.1063
2020-03-14 17:30:00 | 6.384 | 281.6 | 6.938 | 294.9 | 6.376 | 281.5 | 6.338 | 282.4 | 12.75 | 971.583 | 16.243 | 15.0048
2020-03-14 17:45:00 | 3.667 | 288.8 | 4.387 | 301.1 | 4.939 | 283.4 | 4.966 | 289.2 | 12.62 | 971.31 | 17.4032 | 10.2199
2020-03-14 18:00:00 | 3.92 | 270.7 | 4.302 | 286.2 | 4.262 | 271.2 | 4.224 | 269.5 | 12.45 | 971.23 | 17.8813 | 9.2593
2020-03-14 18:15:00 | 3.36 | 268.3 | 3.786 | 279.1 | 4.27 | 262.8 | 4.352 | 271.6 | 12.23 | 970.989 | 18.3957 | 8.6349
2020-03-14 18:30:00 | 2.47 | 268.5 | 3.108 | 282.8 | 3.537 | 268.2 | 3.524 | 270.7 | 12.07 | 970.692 | 18.8417 | 5.2541
2020-03-14 18:45:00 | 2.154 | 266.8 | 3.193 | 277.8 | 3.827 | 258.4 | 3.804 | 270.3 | 11.95 | 970.692 | 17.6481 | 5.9339
2020-03-14 19:00:00 | 3.235 | 270.3 | 4.059 | 282.9 | 4.634 | 270.4 | 4.652 | 270.9 | 12.09 | 970.856 | 17.2043 | 4.5705
2020-03-14 19:15:00 | 2.62 | 277.8 | 3.684 | 289 | 4.766 | 276.3 | 4.831 | 280.7 | 12.09 | 970.841 | 17.8187 | 2.4164
2020-03-14 19:30:00 | 2.985 | 249.3 | 3.753 | 258 | 4 | 234.7 | 3.927 | 253.6 | 11.98 | 970.712 | 17.7505 | 0.99761
2020-03-14 19:45:00 | 2.182 | 264.4 | 3.19 | 275.1 | 3.581 | 254.4 | 3.555 | 267 | 12.14 | 970.938 | 16.7947 | 2.2908
2020-03-14 20:00:00 | 4.234 | 240.5 | 4.451 | 245.7 | 4.799 | 224.3 | 4.634 | 248.5 | 12.1 | 970.738 | 17.6139 | 2.4386
2020-03-14 20:15:00 | 3.067 | 239.9 | 3.888 | 247.7 | 4.275 | 219.2 | 4.25 | 246.2 | 11.89 | 971.08 | 17.0678 | 2.1689
2020-03-14 20:30:00 | 3.81 | 233.4 | 4.152 | 240.4 | 4.12 | 218.3 | 4.174 | 238.1 | 12.15 | 970.763 | 17.4093 | 3.233
2020-03-14 20:45:00 | 3.57 | 235.5 | 4.297 | 243.4 | 4.491 | 220.1 | 4.454 | 240.4 | 12.03 | 971.002 | 16.8631 | 6.1408
2020-03-14 21:00:00 | 3.83 | 222.7 | 5.062 | 230.3 | 5.536 | 214.9 | 5.694 | 226 | 12.07 | 971.02 | 18.5015 | 11.4577
2020-03-14 21:15:00 | 4.103 | 230.7 | 4.862 | 240.4 | 5.508 | 221.2 | 5.595 | 235.8 | 11.76 | 971.041 | 17.9553 | 10.5303
2020-03-14 21:30:00 | 4.543 | 222.8 | 5.673 | 232.9 | 6.49 | 221.8 | 6.636 | 227 | 11.61 | 971.172 | 19.1159 | 14.6575
2020-03-14 21:45:00 | 4.448 | 229.8 | 5.606 | 240.5 | 6.503 | 224 | 6.692 | 231.9 | 11.69 | 971.045 | 18.1601 | 16.4014
2020-03-14 22:00:00 | 4.489 | 231 | 5.289 | 241.9 | 5.814 | 229.5 | 5.893 | 236 | 12.06 | 971.322 | 18.0919 | 14.6907
2020-03-14 22:15:00 | 4.328 | 224.4 | 5.133 | 233.8 | 6.612 | 225 | 6.911 | 226.2 | 11.69 | 971.022 | 19.0476 | 15.6846
2020-03-14 22:30:00 | 3.417 | 213 | 4.036 | 225.9 | 5.369 | 205 | 5.717 | 218.9 | 11.17 | 971 | 20.2082 | 15.8324
2020-03-14 22:45:00 | 3.978 | 208.5 | 4.901 | 218.6 | 6.025 | 198.3 | 6.234 | 215.2 | 11.08 | 970.706 | 20.5507 | 15.075
2020-03-14 23:00:00 | 4.369 | 211.6 | 5.049 | 221.5 | 6.032 | 204.6 | 6.297 | 216.7 | 11.17 | 970.759 | 20.8939 | 18.0235
2020-03-14 23:15:00 | 4.599 | 209.6 | 5.361 | 218.6 | 6.287 | 198.9 | 6.621 | 215.5 | 11.13 | 970.728 | 20.9629 | 20.8611
2020-03-14 23:30:00 | 4.974 | 207.9 | 5.499 | 214.3 | 6.282 | 195.1 | 6.593 | 214.1 | 11.05 | 970.801 | 20.8263 | 22.5127
2020-03-14 23:45:00 | 4.389 | 211.1 | 5.386 | 218.7 | 6.953 | 197.4 | 7.242 | 217.6 | 11.11 | 970.83 | 20.3488 | 20.5175