## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-15 00:00:00 | 4.655 | 212.4 | 5.732 | 220.4 | 7.004 | 200.2 | 7.385 | 219.3 | 11.34 | 970.847 | 20.2115 | 21.0569
2020-03-15 00:15:00 | 4.134 | 214.3 | 5.486 | 221.8 | 6.973 | 201.1 | 7.339 | 222.2 | 11.32 | 970.875 | 19.666 | 20.5766
2020-03-15 00:30:00 | 3.636 | 220 | 4.714 | 220.8 | 6.844 | 211.7 | 7.237 | 228.2 | 11.43 | 970.76 | 19.1201 | 21.4264
2020-03-15 00:45:00 | 4.711 | 215 | 5.724 | 222.8 | 6.6 | 200.2 | 6.985 | 222.5 | 11.42 | 970.771 | 19.1878 | 19.8118
2020-03-15 01:00:00 | 4.183 | 217.6 | 4.921 | 226.4 | 6.61 | 199.1 | 6.937 | 225.4 | 11.22 | 970.83 | 19.3918 | 19.3388
2020-03-15 01:15:00 | 3.743 | 218.9 | 4.796 | 229.3 | 6.516 | 211.2 | 6.921 | 226.5 | 11.3 | 970.481 | 19.666 | 18.9619
2020-03-15 01:30:00 | 4.193 | 216.1 | 4.878 | 223.3 | 6.348 | 201.5 | 6.873 | 225.5 | 11.18 | 970.51 | 20.7583 | 19.6861
2020-03-15 01:45:00 | 4.928 | 222.4 | 5.645 | 230 | 7.439 | 200.1 | 7.744 | 225.8 | 11.36 | 970.461 | 21.2361 | 17.8239
2020-03-15 02:00:00 | 4.532 | 215.3 | 5.218 | 224.2 | 6.683 | 198.9 | 7.079 | 222.1 | 11.31 | 970.237 | 21.4416 | 13.4825
2020-03-15 02:15:00 | 4.749 | 215 | 5.315 | 221 | 6.526 | 202 | 6.916 | 223.6 | 11.28 | 970.23 | 21.4066 | 13.1352
2020-03-15 02:30:00 | 4.711 | 225.3 | 5.563 | 226.4 | 6.236 | 201.8 | 6.371 | 235.3 | 11.27 | 970.013 | 21.5431 | 9.9096
2020-03-15 02:45:00 | 4.44 | 235.3 | 5.499 | 243 | 6.254 | 214.5 | 6.178 | 243.3 | 11.4 | 970.234 | 21.5085 | 9.7359
2020-03-15 03:00:00 | 3.797 | 235.6 | 4.862 | 239.1 | 6.566 | 212.9 | 6.662 | 245.3 | 11.33 | 969.868 | 22.4662 | 10.0537
2020-03-15 03:15:00 | 3.697 | 238.3 | 4.568 | 245.3 | 5.109 | 220.8 | 5.256 | 249 | 11.05 | 969.617 | 22.4653 | 10.837
2020-03-15 03:30:00 | 3.286 | 253.2 | 4.44 | 257.7 | 5.954 | 232.9 | 5.921 | 260.5 | 10.83 | 970.027 | 22.7383 | 11.2028
2020-03-15 03:45:00 | 1.39 | 267.8 | 2.845 | 269 | 4.361 | 234 | 4.461 | 270.1 | 10.68 | 969.77 | 22.8067 | 5.7455
2020-03-15 04:00:00 | 2.448 | 278.4 | 3.668 | 286 | 5.002 | 261.2 | 5.06 | 285.1 | 10.94 | 969.794 | 21.236 | 4.3747
2020-03-15 04:15:00 | 1.788 | 283.5 | 3.512 | 288.3 | 4.911 | 270.4 | 5.037 | 293.6 | 11.15 | 969.8 | 21.1007 | 4.5151
2020-03-15 04:30:00 | 3.381 | 297.8 | 4.284 | 304.8 | 5.102 | 292.5 | 5.149 | 305.4 | 11.3 | 970.097 | 20.0086 | 5.1802
2020-03-15 04:45:00 | 3.713 | 306.6 | 4.328 | 313.6 | 3.769 | 302.4 | 3.646 | 312.7 | 11.43 | 970.246 | 21.2031 | 3.3143
2020-03-15 05:00:00 | 2.684 | 299.2 | 3.433 | 306.4 | 4.186 | 292.4 | 4.268 | 307.5 | 11.04 | 970.391 | 21.9189 | 2.9743
2020-03-15 05:15:00 | 2.819 | 302.1 | 3.765 | 306.5 | 4.557 | 296.4 | 4.293 | 311.1 | 10.92 | 970.394 | 22.6029 | 3.0778
2020-03-15 05:30:00 | 2.257 | 286.4 | 3.045 | 291.5 | 4.461 | 275.4 | 4.721 | 298.2 | 10.61 | 970.394 | 23.7641 | 2.7674
2020-03-15 05:45:00 | 2.329 | 297.2 | 3.316 | 298.4 | 4.89 | 281.5 | 4.912 | 307.3 | 10.34 | 970.394 | 24.1761 | 3.85
2020-03-15 06:00:00 | 0.941 | 287.8 | 2.326 | 288.5 | 4.021 | 270.8 | 4.064 | 301.8 | 10.21 | 970.246 | 24.3811 | 1.138
2020-03-15 06:15:00 | 2.671 | 302.5 | 3.372 | 309.3 | 3.331 | 296.8 | 3.239 | 315.2 | 10.48 | 970.394 | 24.7908 | 1.3634
2020-03-15 06:30:00 | 0.983 | 277.1 | 2.252 | 283.6 | 3.13 | 260.2 | 3.231 | 281.4 | 9.92 | 970.394 | 25.8153 | 0.46186
2020-03-15 06:45:00 | 2.982 | 246.6 | 3.423 | 247.1 | 2.787 | 216.9 | 2.625 | 258.3 | 9.78 | 970.695 | 26.9763 | 1.4853
2020-03-15 07:00:00 | 4.024 | 250.2 | 4.379 | 256.3 | 4.407 | 239.2 | 4.339 | 257.3 | 9.33 | 970.989 | 29.23 | 2.4682
2020-03-15 07:15:00 | 3.973 | 253.2 | 4.348 | 255.6 | 4.389 | 236.6 | 4.352 | 264.6 | 9.03 | 970.989 | 30.9363 | 2.6677
2020-03-15 07:30:00 | 2.896 | 257.5 | 3.188 | 263.1 | 3.372 | 239.8 | 3.338 | 265.4 | 9.02 | 971.515 | 30.7268 | 0.048033
2020-03-15 07:45:00 | 1.608 | 337.9 | 1.903 | 356.4 | 1.521 | 307.9 | 1.632 | 324.6 | 9.67 | 971.508 | 29.9711 | -0.15149
2020-03-15 08:00:00 | 0.015 | 289.1 | 0.485 | 318.5 | 2.631 | 21.37 | 2.796 | 303.5 | 10.86 | 972.177 | 27.3767 | 0.33623
2020-03-15 08:15:00 | 0.443 | 302.1 | 1.307 | 330.6 | 2.107 | 323.2 | 2.285 | 301.9 | 11.53 | 972.707 | 26.6176 | 0.20322
2020-03-15 08:30:00 | 1.905 | 281.3 | 2.352 | 292.5 | 3.008 | 285.4 | 2.984 | 285.3 | 11.88 | 973.068 | 23.2004 | -0.12193
2020-03-15 08:45:00 | 1.898 | 299.7 | 2.464 | 318.3 | 2.884 | 317.1 | 2.887 | 295.1 | 12.72 | 973.335 | 20.9449 | -0.22539
2020-03-15 09:00:00 | 2.446 | 314.3 | 3.001 | 324.4 | 3.146 | 306.2 | 3.14 | 317 | 12.86 | 973.078 | 22.3776 | -0.19583
2020-03-15 09:15:00 | 2.01 | 291.4 | 2.761 | 299.4 | 2.687 | 283 | 2.691 | 297.2 | 12.69 | 973.661 | 20.8732 | -0.29928
2020-03-15 09:30:00 | 2.048 | 289.9 | 2.229 | 304.8 | 2.22 | 285.3 | 2.08 | 284.7 | 12.96 | 973.958 | 23.2938 | -0.24016
2020-03-15 09:45:00 | 2.811 | 284.2 | 3.137 | 296.4 | 3.026 | 287 | 3.02 | 284.9 | 12.99 | 974.052 | 22.5747 | -0.26972
2020-03-15 10:00:00 | 2.317 | 302.8 | 2.556 | 311.4 | 2.789 | 282.9 | 2.697 | 308.5 | 13.23 | 973.965 | 20.1194 | -0.29928
2020-03-15 10:15:00 | 3.225 | 305.6 | 3.768 | 317.9 | 3.639 | 307.5 | 3.629 | 308.7 | 13.6 | 974.402 | 18.312 | 0.18474
2020-03-15 10:30:00 | 3.69 | 306.4 | 4.218 | 314.4 | 4.036 | 299.7 | 4.084 | 310 | 13.56 | 974.253 | 21.7221 | 4.0495
2020-03-15 10:45:00 | 3.971 | 321.9 | 4.297 | 329.3 | 3.851 | 305.1 | 3.85 | 323.3 | 13.53 | 974.402 | 23.1884 | 3.0815
2020-03-15 11:00:00 | 4.32 | 300.2 | 5.044 | 311.9 | 5.226 | 300.8 | 5.292 | 303 | 13.65 | 974.283 | 16.7775 | 4.6112
2020-03-15 11:15:00 | 3.826 | 319.6 | 4.313 | 331.1 | 4.399 | 306.9 | 4.43 | 314.7 | 14.53 | 974.292 | 20.7332 | 3.8389
2020-03-15 11:30:00 | 4.392 | 327.6 | 4.924 | 334.9 | 4.84 | 322.8 | 4.846 | 332 | 15.16 | 974.568 | 20.324 | 4.1235
2020-03-15 11:45:00 | 4.581 | 308.1 | 4.696 | 321 | 4.888 | 305 | 4.955 | 313.7 | 15.35 | 974.256 | 20.3922 | 4.7922
2020-03-15 12:00:00 | 4.706 | 295.7 | 5.622 | 305.5 | 5.544 | 285.8 | 5.618 | 299.3 | 14.92 | 974.105 | 21.688 | 7.6003
2020-03-15 12:15:00 | 3.056 | 305.7 | 3.324 | 317 | 3.061 | 297.8 | 3.085 | 304.7 | 15.29 | 974.105 | 20.5968 | 6.8872
2020-03-15 12:30:00 | 4.499 | 304.2 | 5.144 | 315.3 | 5.47 | 297.5 | 5.467 | 305.2 | 15.38 | 974.105 | 19.5737 | 6.769
2020-03-15 12:45:00 | 3.616 | 292.5 | 4.571 | 302.1 | 4.697 | 289.3 | 4.721 | 297 | 15.52 | 974.175 | 20.563 | 5.6864
2020-03-15 13:00:00 | 5.155 | 306.1 | 5.9 | 318.8 | 5.946 | 307 | 5.941 | 308.9 | 15.92 | 973.95 | 18.1421 | 5.3982
2020-03-15 13:15:00 | 4.129 | 301.1 | 4.397 | 312 | 4.194 | 300 | 4.222 | 297.6 | 15.71 | 973.66 | 18.315 | 3.536
2020-03-15 13:30:00 | 3.065 | 308.6 | 3.916 | 322 | 4.372 | 313 | 4.464 | 310.5 | 16.15 | 973.957 | 19.1678 | 3.6616
2020-03-15 13:45:00 | 4.954 | 313.8 | 5.299 | 320.2 | 5.17 | 310.1 | 5.246 | 317 | 16.15 | 973.957 | 19.9181 | 2.8524
2020-03-15 14:00:00 | 4.619 | 309.5 | 5.236 | 313.9 | 5.091 | 296.1 | 5.197 | 311 | 16.29 | 973.957 | 19.6112 | 4.3377
2020-03-15 14:15:00 | 3.173 | 293.2 | 3.392 | 301 | 3.166 | 285.2 | 3.175 | 296.6 | 15.86 | 974.402 | 18.7585 | 4.9954
2020-03-15 14:30:00 | 4.711 | 324.2 | 5.167 | 329.2 | 4.874 | 300.1 | 4.898 | 330.5 | 16.9 | 974.402 | 18.1787 | 5.8637
2020-03-15 14:45:00 | 2.871 | 344.7 | 3.326 | 0.019 | 3.756 | 337.1 | 3.77 | 338.7 | 16.68 | 974.09 | 18.2783 | 3.8944
2020-03-15 15:00:00 | 3.863 | 304.3 | 4.599 | 308.7 | 4.845 | 294.2 | 4.958 | 306.7 | 16.69 | 974.237 | 18.2779 | 5.0472
2020-03-15 15:15:00 | 4.9 | 285.6 | 5.64 | 298.3 | 5.572 | 278.4 | 5.505 | 289.1 | 16.64 | 974.017 | 18.8235 | 6.1482
2020-03-15 15:30:00 | 4.443 | 292.4 | 4.89 | 303.5 | 4.969 | 284.4 | 5.047 | 294.6 | 16.88 | 973.99 | 18.9599 | 7.2641
2020-03-15 15:45:00 | 3.717 | 342.4 | 3.485 | 340.2 | 3.705 | 319.1 | 3.579 | 340.1 | 16.98 | 973.815 | 19.0963 | 6.8355
2020-03-15 16:00:00 | 2.799 | 350.8 | 3.285 | 2.368 | 2.924 | 346.4 | 2.863 | 339.5 | 16.79 | 973.66 | 18.8235 | 6.5103
2020-03-15 16:15:00 | 2.675 | 338.2 | 2.777 | 352.4 | 2.692 | 336.8 | 2.615 | 332.6 | 16.65 | 973.957 | 19.335 | 3.5434
2020-03-15 16:30:00 | 2.561 | 3.675 | 3.216 | 20.05 | 3.499 | 338.1 | 3.382 | 351.7 | 16.46 | 973.957 | 20.2217 | 4.2897
2020-03-15 16:45:00 | 2.348 | 335.4 | 2.529 | 3.705 | 2.848 | 342.1 | 2.938 | 323.3 | 16.2 | 973.957 | 19.7782 | 3.1886
2020-03-15 17:00:00 | 2.274 | 340.9 | 3.088 | 347.5 | 3.207 | 324.3 | 3.089 | 347.9 | 16.31 | 974.105 | 21.2106 | 2.7305
2020-03-15 17:15:00 | 1.658 | 343.1 | 2.6 | 354.2 | 2.227 | 330.4 | 2.121 | 335.1 | 15.96 | 973.808 | 21.4834 | 0.69833
2020-03-15 17:30:00 | 0.812 | 350.7 | 2.135 | 5.456 | 2.107 | 333.1 | 1.845 | 337.6 | 16.08 | 973.773 | 22.7128 | 1.271
2020-03-15 17:45:00 | 2.252 | 342.6 | 2.508 | 4.191 | 2.792 | 345.8 | 2.753 | 341.9 | 15.39 | 972.919 | 22.8877 | 0.33254
2020-03-15 18:00:00 | 2.288 | 327.6 | 2.75 | 339.1 | 2.777 | 334.3 | 2.727 | 327.9 | 15.27 | 973.058 | 22.7187 | -0.36949
2020-03-15 18:15:00 | 1.522 | 335.3 | 2.272 | 346.5 | 2.319 | 345.3 | 2.197 | 339.3 | 15.23 | 973.067 | 22.929 | 1.2636
2020-03-15 18:30:00 | 1.948 | 14.11 | 3.073 | 26.9 | 2.777 | 6.849 | 2.556 | 14.27 | 14.64 | 973.067 | 26.2071 | 0.29559
2020-03-15 18:45:00 | 2.239 | 40 | 2.837 | 46.58 | 2.785 | 22.99 | 2.696 | 49.81 | 14.45 | 973.338 | 25.4581 | 0.60965
2020-03-15 19:00:00 | 2.584 | 43.94 | 3.004 | 57.19 | 2.914 | 36.7 | 2.867 | 54.52 | 14.66 | 973.216 | 24.7781 | 0.39904
2020-03-15 19:15:00 | 2.615 | 56.1 | 3.466 | 71.14 | 3.171 | 50.47 | 3.015 | 58.48 | 14.39 | 973.365 | 24.4368 | -0.29928
2020-03-15 19:30:00 | 2.952 | 49.76 | 2.929 | 63.37 | 2.212 | 56.83 | 2.067 | 54.2 | 14.81 | 973.365 | 23.4122 | -0.29928
2020-03-15 19:45:00 | 2.796 | 63.47 | 2.63 | 72.23 | 2.039 | 71.94 | 1.876 | 65.97 | 14.91 | 973.662 | 22.3204 | -0.28081
2020-03-15 20:00:00 | 2.329 | 96.4 | 2.234 | 101.7 | 1.343 | 81.7 | 1.238 | 106.1 | 15.16 | 973.662 | 22.1151 | -0.31037
2020-03-15 20:15:00 | 2.661 | 132.2 | 2.579 | 138.7 | 2.38 | 121.2 | 2.251 | 139.7 | 15.42 | 974.107 | 21.9106 | -0.096066
2020-03-15 20:30:00 | 3.363 | 133.5 | 3.461 | 147.8 | 3.321 | 134.8 | 3.236 | 138.7 | 15.41 | 974.256 | 22.9348 | 2.2317
2020-03-15 20:45:00 | 5.007 | 123.4 | 5.22 | 142.6 | 4.511 | 132.6 | 4.395 | 123.2 | 14.59 | 974.256 | 25.4261 | 26.3406
2020-03-15 21:00:00 | 4.535 | 114.2 | 4.602 | 125.2 | 4.519 | 101.3 | 4.5 | 124.8 | 14.5 | 974.256 | 23.7537 | 34.2697
2020-03-15 21:15:00 | 6.309 | 122.7 | 6.56 | 134.2 | 6.218 | 113.4 | 6.14 | 131.2 | 15.16 | 974.256 | 22.7982 | 39.3686
2020-03-15 21:30:00 | 6.21 | 127.6 | 6.77 | 138.8 | 6.625 | 124 | 6.534 | 138.3 | 14.91 | 974.553 | 24.5729 | 43.9095
2020-03-15 21:45:00 | 6.177 | 126.4 | 6.655 | 141.3 | 6.607 | 129.7 | 6.631 | 132.9 | 14.1 | 974.256 | 25.256 | 44.5857
2020-03-15 22:00:00 | 6.32 | 129.7 | 7.227 | 141.3 | 6.414 | 131.8 | 6.318 | 139 | 13.99 | 974.256 | 24.9817 | 41.2234
2020-03-15 22:15:00 | 5.692 | 131.6 | 6.412 | 149 | 5.709 | 141.8 | 5.602 | 145.9 | 13.78 | 974.553 | 25.7336 | 31.7868
2020-03-15 22:30:00 | 6.11 | 127.1 | 7.058 | 146.1 | 7.322 | 136.3 | 7.354 | 139.1 | 12.91 | 974.553 | 25.9408 | 41.0608
2020-03-15 22:45:00 | 7.058 | 125.6 | 7.593 | 142.5 | 8.12 | 132.8 | 8.12 | 135 | 13.25 | 974.701 | 26.0113 | 47.5934
2020-03-15 23:00:00 | 9.84 | 128.8 | 9.95 | 143.7 | 10.2 | 127.8 | 10.14 | 135.4 | 12.6 | 974.553 | 27.6498 | 60.4661
2020-03-15 23:15:00 | 9.46 | 127.4 | 10.01 | 141.5 | 10.28 | 129.3 | 10.11 | 133.6 | 12.13 | 974.256 | 28.4349 | 60.8024
2020-03-15 23:30:00 | 10.07 | 129.3 | 11.07 | 143.8 | 11.08 | 127.6 | 10.85 | 135.5 | 11.77 | 974.256 | 29.5955 | 65.2362
2020-03-15 23:45:00 | 10.79 | 123.5 | 11.17 | 138.5 | 10.32 | 122.1 | 10.13 | 133.6 | 11.87 | 973.81 | 29.22 | 67.1834