## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-16 00:00:00 | 8.6 | 119.6 | 9 | 138 | 9.78 | 128.7 | 9.85 | 126.7 | 11.75 | 974.107 | 28.3325 | 71.6652
2020-03-16 00:15:00 | 9 | 122.9 | 9.78 | 138.4 | 9.9 | 126.3 | 9.87 | 130.8 | 11.99 | 974.267 | 28.1277 | 68.7204
2020-03-16 00:30:00 | 9.6 | 126 | 10.1 | 139.7 | 9.96 | 125.6 | 9.87 | 131.9 | 12.33 | 973.833 | 28.8786 | 68.9902
2020-03-16 00:45:00 | 9.26 | 121.1 | 10.18 | 134.6 | 9.89 | 121.3 | 9.68 | 128.7 | 12.36 | 973.96 | 28.6056 | 71.7871
2020-03-16 01:00:00 | 8.95 | 125 | 9.66 | 137.8 | 9.48 | 122.7 | 9.35 | 131.2 | 12.38 | 973.819 | 28.3325 | 69.2562
2020-03-16 01:15:00 | 9.55 | 125.2 | 10.58 | 140 | 10.58 | 127.2 | 10.5 | 132 | 11.97 | 973.662 | 29.2883 | 75.2308
2020-03-16 01:30:00 | 11.46 | 123.8 | 11.82 | 138.6 | 12.38 | 128.9 | 12.25 | 130.1 | 10.74 | 973.686 | 33.1115 | 86.6995
2020-03-16 01:45:00 | 8.62 | 124.6 | 9 | 145.1 | 9.77 | 134.7 | 10.02 | 129.1 | 9.58 | 973.712 | 34.5467 | 83.8952
2020-03-16 02:00:00 | 10.95 | 125.8 | 11.38 | 148.5 | 11.23 | 137.9 | 11.28 | 128.2 | 9.72 | 973.563 | 34.278 | 89.1234
2020-03-16 02:15:00 | 8.9 | 135.7 | 9.53 | 148.3 | 9.91 | 132.7 | 9.87 | 139.4 | 9.98 | 973.662 | 34.2119 | 83.485
2020-03-16 02:30:00 | 8.87 | 134.6 | 9.55 | 149.6 | 10.29 | 135.2 | 10.25 | 140.1 | 9.54 | 973.662 | 35.1024 | 85.4376
2020-03-16 02:45:00 | 7.553 | 135.1 | 8.18 | 155.5 | 9 | 148.1 | 9.13 | 139 | 9.1 | 973.662 | 36.1275 | 89.3951
2020-03-16 03:00:00 | 9.96 | 136.4 | 9.99 | 154.1 | 10.26 | 142.2 | 10.31 | 141.1 | 8.86 | 973.068 | 36.4692 | 88.1701
2020-03-16 03:15:00 | 9.61 | 135.5 | 10.61 | 153.2 | 10.8 | 144.4 | 10.52 | 142.3 | 8.53 | 972.92 | 37.2887 | 87.856
2020-03-16 03:30:00 | 10.99 | 135.7 | 11.49 | 154 | 11.96 | 142.8 | 11.87 | 141.1 | 8.03 | 972.895 | 37.4936 | 87.8856
2020-03-16 03:45:00 | 9.19 | 139.6 | 9.09 | 159.7 | 9.73 | 148.4 | 9.98 | 142.4 | 7.962 | 973.062 | 37.4936 | 89.9769
2020-03-16 04:00:00 | 10.37 | 139.3 | 10.79 | 157.5 | 11.75 | 145 | 11.73 | 142.6 | 7.648 | 973.068 | 37.7669 | 89.2822
2020-03-16 04:15:00 | 10.58 | 138.3 | 11.15 | 157.3 | 12.07 | 145.2 | 12.03 | 141.5 | 7.485 | 972.92 | 39.2736 | 90.993
2020-03-16 04:30:00 | 11.18 | 140.7 | 11.56 | 157.1 | 12.3 | 147.2 | 12.23 | 145 | 7.23 | 972.771 | 40.3716 | 89.8254
2020-03-16 04:45:00 | 10.72 | 137.3 | 10.9 | 154.4 | 12 | 145.6 | 12.04 | 143.3 | 7.562 | 972.474 | 39.0774 | 92.4783
2020-03-16 05:00:00 | 10.82 | 134.5 | 11.49 | 154.6 | 12.94 | 140.8 | 12.95 | 139.6 | 7.373 | 972.771 | 42.1519 | 91.477
2020-03-16 05:15:00 | 12.62 | 141.3 | 12.66 | 157.5 | 13.74 | 148.5 | 13.5 | 146.3 | 7.119 | 972.771 | 44.8162 | 92.4413
2020-03-16 05:30:00 | 12.34 | 143.2 | 12.36 | 158.6 | 12.75 | 146 | 12.64 | 148.8 | 6.739 | 973.068 | 45.9778 | 90.3722
2020-03-16 05:45:00 | 11.86 | 140.6 | 12.23 | 157.5 | 12.93 | 150.1 | 12.85 | 146.2 | 6.401 | 972.771 | 48.7788 | 92.9586
2020-03-16 06:00:00 | 12.12 | 142.4 | 12.86 | 158.4 | 12.82 | 144.7 | 12.63 | 147.2 | 5.954 | 973.068 | 51.5115 | 92.4229
2020-03-16 06:15:00 | 11.44 | 144.8 | 11.85 | 162.6 | 12.31 | 151 | 12.06 | 148.3 | 5.6 | 972.474 | 52.8437 | 93.2357
2020-03-16 06:30:00 | 11.77 | 146.7 | 11.45 | 162.7 | 12.06 | 154.1 | 11.98 | 152.1 | 5.661 | 972.771 | 54.0393 | 93.3466
2020-03-16 06:45:00 | 12.89 | 146.3 | 12.81 | 164.3 | 12.99 | 153.9 | 12.93 | 149.8 | 5.649 | 972.92 | 52.9462 | 91.2922
2020-03-16 07:00:00 | 12.7 | 146.6 | 13.02 | 164.2 | 13.18 | 152.7 | 12.92 | 151.1 | 5.747 | 973.366 | 53.766 | 91.0188
2020-03-16 07:15:00 | 12.93 | 146.5 | 13.37 | 162.5 | 13.89 | 151.7 | 13.8 | 150.9 | 5.853 | 973.514 | 53.4244 | 90.3131
2020-03-16 07:30:00 | 13.95 | 147 | 13.95 | 162.4 | 14.25 | 149.6 | 14.14 | 152.2 | 5.91 | 973.663 | 53.6977 | 91.5657
2020-03-16 07:45:00 | 12.34 | 144.4 | 12.45 | 160.9 | 12.55 | 151.4 | 12.44 | 149.5 | 5.891 | 973.96 | 53.6294 | 86.9065
2020-03-16 08:00:00 | 10.64 | 143.2 | 11.08 | 162 | 10.99 | 153.3 | 10.96 | 148 | 5.922 | 974.406 | 53.6977 | 89.0146
2020-03-16 08:15:00 | 11.87 | 140.9 | 12.25 | 158.2 | 12.56 | 145.2 | 12.34 | 146.4 | 6.203 | 974.257 | 53.4927 | 89.4807
2020-03-16 08:30:00 | 11.29 | 145.9 | 11 | 162.6 | 11.74 | 151.5 | 11.59 | 150.1 | 6.18 | 974.406 | 54.6747 | 89.6702
2020-03-16 08:45:00 | 11.62 | 142.9 | 11.87 | 157 | 12.34 | 149 | 12.2 | 148.8 | 6.259 | 973.663 | 53.8161 | 93.354
2020-03-16 09:00:00 | 11.95 | 145.7 | 11.79 | 165.1 | 11.79 | 154.8 | 11.78 | 149.7 | 6.591 | 974.257 | 53.2696 | 92.8921
2020-03-16 09:15:00 | 10.78 | 147.3 | 10.81 | 164.3 | 10.63 | 153.4 | 10.57 | 151.9 | 6.721 | 974.672 | 53.8843 | 89.3266
2020-03-16 09:30:00 | 13.02 | 146.4 | 13.02 | 165.4 | 12.11 | 155.7 | 11.77 | 150.7 | 7.095 | 974.462 | 49.8549 | 88.2625
2020-03-16 09:45:00 | 14.62 | 148.1 | 15.29 | 164.2 | 15.34 | 153.6 | 15.14 | 152.4 | 7.614 | 974.851 | 47.2597 | 89.9584
2020-03-16 10:00:00 | 12.79 | 150.8 | 13.58 | 166.4 | 13.98 | 155.3 | 13.75 | 155.5 | 8.12 | 973.959 | 45.4802 | 91.307
2020-03-16 10:15:00 | 14.92 | 144.7 | 15.36 | 159 | 14.81 | 146.3 | 14.39 | 151.1 | 8.06 | 974.181 | 46.2283 | 88.3401
2020-03-16 10:30:00 | 14.53 | 144.4 | 14.62 | 160.1 | 13.76 | 147.6 | 13.38 | 150 | 8.42 | 974.218 | 45.885 | 86.9619
2020-03-16 10:45:00 | 13.7 | 144 | 13.99 | 159.4 | 13.35 | 146.7 | 12.97 | 149.5 | 8.69 | 973.787 | 43.9017 | 89.1197
2020-03-16 11:00:00 | 12.03 | 148.1 | 11.87 | 164.1 | 12.2 | 153.7 | 12.16 | 152.8 | 9.03 | 974.299 | 43.489 | 86.0772
2020-03-16 11:15:00 | 12.5 | 141.8 | 12.9 | 158.1 | 12.68 | 145.9 | 12.38 | 147.4 | 9.21 | 974.041 | 43.3521 | 84.6969
2020-03-16 11:30:00 | 12.83 | 146.5 | 12.89 | 163.3 | 12.5 | 151.2 | 12.25 | 150.6 | 9.45 | 974.121 | 43.6935 | 87.9911
2020-03-16 11:45:00 | 13.21 | 147.8 | 13.5 | 164.4 | 13.13 | 154.1 | 12.89 | 151.9 | 9.45 | 974.404 | 43.9666 | 85.4507
2020-03-16 12:00:00 | 12.32 | 147.6 | 12.03 | 162.4 | 11.67 | 147.9 | 11.42 | 154.6 | 9.88 | 973.681 | 41.4405 | 83.0601
2020-03-16 12:15:00 | 11.25 | 152 | 11.07 | 168.4 | 10.96 | 157.7 | 10.75 | 157.1 | 10.45 | 974.256 | 40.6896 | 78.639
2020-03-16 12:30:00 | 11.61 | 153.6 | 11.78 | 166.6 | 11.47 | 155.6 | 11.41 | 158.6 | 10.86 | 974.256 | 39.7338 | 80.4257
2020-03-16 12:45:00 | 11.2 | 149.8 | 11.24 | 166.9 | 10.53 | 155.9 | 10.41 | 155 | 11.11 | 973.662 | 41.5429 | 78.0262
2020-03-16 13:00:00 | 8.55 | 156.1 | 8.45 | 175.7 | 8.62 | 171.8 | 8.63 | 157.9 | 11.41 | 973.662 | 39.7965 | 74.2405
2020-03-16 13:15:00 | 9.46 | 159 | 9.9 | 173.6 | 9.96 | 161.8 | 9.9 | 164.1 | 11.88 | 973.662 | 40.9554 | 70.3905
2020-03-16 13:30:00 | 10.38 | 153.9 | 10.42 | 168.3 | 10.07 | 155.9 | 9.82 | 158.6 | 11.93 | 973.81 | 41.7737 | 61.2442
2020-03-16 13:45:00 | 9.99 | 153.3 | 10.37 | 165.4 | 9.69 | 154 | 9.64 | 161.7 | 12.19 | 973.81 | 41.638 | 62.8292
2020-03-16 14:00:00 | 9.46 | 168.5 | 8.64 | 195.6 | 7.836 | 187.6 | 7.558 | 166.8 | 12.3 | 973.513 | 40.6143 | 63.4109
2020-03-16 14:15:00 | 10.79 | 163.6 | 10.67 | 178 | 9.6 | 167.5 | 9.54 | 171.4 | 12.75 | 973.365 | 39.5196 | 66.8656
2020-03-16 14:30:00 | 9.75 | 163.2 | 9.67 | 174.7 | 8.87 | 168.4 | 8.85 | 168.9 | 13.11 | 973.141 | 39.9933 | 65.1492
2020-03-16 14:45:00 | 11.34 | 176.7 | 10.81 | 193.6 | 9.77 | 183.6 | 9.72 | 178 | 13.27 | 972.596 | 40.6757 | 72.1308
2020-03-16 15:00:00 | 12.16 | 177.8 | 11.2 | 193.2 | 9.76 | 182.3 | 9.83 | 178.7 | 12.95 | 972.84 | 43.0985 | 71.2314
2020-03-16 15:15:00 | 10.92 | 175.2 | 10.44 | 191.9 | 9.93 | 184.8 | 9.9 | 177 | 13.02 | 972.293 | 43.2691 | 77.0782
2020-03-16 15:30:00 | 11.41 | 175.1 | 10.81 | 191.6 | 9.96 | 181.8 | 9.88 | 176.6 | 12.78 | 972.318 | 46.7847 | 75.3379
2020-03-16 15:45:00 | 11.24 | 177.3 | 10.66 | 192.3 | 10.15 | 182.2 | 10.16 | 178.2 | 12.74 | 971.724 | 46.7534 | 76.136
2020-03-16 16:00:00 | 9.56 | 167.4 | 9.48 | 186.5 | 8.45 | 182.7 | 8.5 | 170.5 | 12.76 | 971.88 | 46.6878 | 79.341
2020-03-16 16:15:00 | 11.61 | 160.7 | 11.24 | 174.8 | 10.02 | 160.9 | 9.88 | 167.3 | 12.4 | 971.88 | 47.8477 | 76.2485
2020-03-16 16:30:00 | 10.24 | 160.8 | 10.27 | 174.4 | 9.5 | 163.3 | 9.58 | 165.9 | 12.29 | 971.731 | 50.7167 | 72.8615
2020-03-16 16:45:00 | 9.53 | 156.9 | 9.38 | 170.1 | 8.74 | 155.9 | 8.78 | 163.1 | 12.22 | 971.88 | 51.4332 | 68.3298
2020-03-16 17:00:00 | 10.14 | 154.5 | 10.5 | 168.3 | 9.84 | 157.6 | 9.7 | 161.5 | 12.11 | 971.731 | 51.8753 | 71.7338
2020-03-16 17:15:00 | 10.12 | 155.2 | 10.68 | 169.2 | 10.45 | 159.8 | 10.37 | 158 | 12.08 | 971.88 | 52.5588 | 68.8925
2020-03-16 17:30:00 | 10.37 | 155.5 | 10.83 | 171.2 | 11.17 | 160.4 | 11.06 | 160.1 | 11.96 | 971.286 | 53.1068 | 75.6889
2020-03-16 17:45:00 | 11.74 | 152.7 | 11.57 | 169.4 | 11.27 | 157.5 | 11.15 | 157 | 11.73 | 971.286 | 54.034 | 72.5713
2020-03-16 18:00:00 | 11.36 | 153 | 11.43 | 168.6 | 10.88 | 157.6 | 10.7 | 159.6 | 11.54 | 971.286 | 54.1389 | 68.6354
2020-03-16 18:15:00 | 10.57 | 155.1 | 10.95 | 171.4 | 11.35 | 162.4 | 11.23 | 158 | 11.39 | 970.692 | 55.3678 | 72.4374
2020-03-16 18:30:00 | 9.79 | 158.9 | 9.99 | 178.5 | 10.4 | 168.2 | 10.38 | 161.2 | 11.19 | 970.692 | 55.7092 | 82.8126
2020-03-16 18:45:00 | 12.26 | 154.3 | 12.21 | 172.6 | 12.81 | 165.9 | 12.78 | 157.5 | 11.01 | 970.098 | 56.7332 | 86.4463
2020-03-16 19:00:00 | 9.81 | 152.7 | 10.14 | 171.7 | 10.57 | 164.3 | 10.65 | 156.9 | 10.87 | 970.767 | 57.2111 | 78.1127
2020-03-16 19:15:00 | 9.86 | 154.2 | 10.09 | 171.8 | 11.32 | 161 | 11.32 | 157.5 | 10.66 | 970.709 | 57.143 | 80.0377
2020-03-16 19:30:00 | 9.83 | 152.4 | 9.81 | 170.6 | 10.93 | 157.9 | 10.71 | 156.8 | 10.61 | 970.556 | 58.037 | 80.2594
2020-03-16 19:45:00 | 8.53 | 149.6 | 9.09 | 166.9 | 10.35 | 154.9 | 10.41 | 153.1 | 10.54 | 970.421 | 58.928 | 77.446
2020-03-16 20:00:00 | 10.31 | 149.8 | 10.86 | 165.2 | 11.35 | 150.3 | 11.29 | 155.8 | 10.49 | 970.612 | 59.4406 | 79.312
2020-03-16 20:15:00 | 9.94 | 149.5 | 10.67 | 167.2 | 11.61 | 156.3 | 11.54 | 156.2 | 10.4 | 970.348 | 59.3378 | 83.1045
2020-03-16 20:30:00 | 9.86 | 149.5 | 10.15 | 166.9 | 11.4 | 158 | 11.33 | 155.1 | 10.48 | 970.364 | 60.0205 | 86.7793
2020-03-16 20:45:00 | 9.69 | 149.3 | 10.2 | 168.2 | 10.86 | 157.7 | 10.9 | 156.4 | 10.33 | 970.387 | 61.113 | 86.1195
2020-03-16 21:00:00 | 11.03 | 151.2 | 11.42 | 168.5 | 12.05 | 156.2 | 11.95 | 156.5 | 10.28 | 970.241 | 62.3421 | 89.164
2020-03-16 21:15:00 | 11.56 | 150 | 12.06 | 165.4 | 12.19 | 158.7 | 12.04 | 156.5 | 10.3 | 970.385 | 62.069 | 87.0284
2020-03-16 21:30:00 | 10.27 | 152 | 10.28 | 166.8 | 10.44 | 151.9 | 10.5 | 157.7 | 10.35 | 970.371 | 61.7964 | 87.2907
2020-03-16 21:45:00 | 11.29 | 150 | 11.51 | 165.4 | 12.12 | 150.4 | 12.11 | 157.1 | 10.42 | 970.394 | 61.6614 | 86.4742
2020-03-16 22:00:00 | 11.95 | 149.5 | 12.25 | 164.1 | 12.23 | 148.8 | 12.05 | 156 | 10.53 | 970.37 | 61.4553 | 86.6146
2020-03-16 22:15:00 | 12.31 | 150 | 12.44 | 163.8 | 12.55 | 150.3 | 12.41 | 155.9 | 10.6 | 970.39 | 62.0007 | 87.3351
2020-03-16 22:30:00 | 11.46 | 150 | 11.89 | 165.9 | 12.36 | 155.5 | 12.3 | 156.4 | 10.42 | 970.091 | 62.5128 | 89.1862
2020-03-16 22:45:00 | 10.79 | 150.1 | 11.44 | 167.3 | 12.04 | 159.3 | 12.01 | 156.8 | 10.31 | 969.791 | 63.1957 | 89.3007
2020-03-16 23:00:00 | 10.36 | 151.4 | 10.92 | 166.8 | 11.64 | 157.4 | 11.67 | 158.7 | 10.32 | 970.246 | 64.186 | 85.3029
2020-03-16 23:15:00 | 10.53 | 152.8 | 11.74 | 170 | 12.34 | 160.8 | 12.25 | 159.1 | 10.13 | 969.947 | 64.7329 | 84.9134
2020-03-16 23:30:00 | 10.98 | 152.3 | 11.22 | 171.7 | 11.68 | 163 | 11.66 | 157.7 | 10.11 | 969.503 | 65.3149 | 86.8917
2020-03-16 23:45:00 | 11.7 | 151.3 | 12.23 | 167.2 | 12.92 | 155.8 | 12.81 | 156.1 | 10.13 | 969.503 | 65.554 | 89.0642