## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-17 00:00:00 | 11.64 | 152.2 | 11.82 | 169.2 | 12.77 | 157.2 | 12.74 | 157.2 | 10.08 | 969.206 | 66.4415 | 88.9793
2020-03-17 00:15:00 | 11.95 | 152.8 | 12.24 | 169.6 | 12.54 | 155.1 | 12.52 | 157.7 | 9.99 | 969.355 | 66.8535 | 90.3981
2020-03-17 00:30:00 | 11.27 | 152.4 | 11.62 | 168.6 | 12.61 | 157.8 | 12.57 | 158 | 9.97 | 969.058 | 67.6725 | 87.2649
2020-03-17 00:45:00 | 11.29 | 151.5 | 11.74 | 168.9 | 12.58 | 159.2 | 12.57 | 157.6 | 10.04 | 968.909 | 68.7682 | 89.2516
2020-03-17 01:00:00 | 11.81 | 152.8 | 12.28 | 168.9 | 13.08 | 158.1 | 12.99 | 157 | 10.01 | 968.612 | 68.9043 | 88.2329
2020-03-17 01:15:00 | 10.74 | 151.3 | 11.08 | 169.6 | 12.47 | 159.3 | 12.6 | 155.5 | 9.98 | 968.464 | 70.1341 | 88.6985
2020-03-17 01:30:00 | 10.65 | 152.9 | 11.07 | 170.8 | 12.01 | 161.4 | 12.12 | 156.6 | 10.07 | 968.612 | 69.5553 | 84.3311
2020-03-17 01:45:00 | 11.48 | 155.8 | 11.71 | 173.4 | 12.19 | 162 | 12.26 | 159.2 | 10.06 | 968.315 | 69.3158 | 80.2705
2020-03-17 02:00:00 | 11.15 | 151.2 | 11 | 170.2 | 12.43 | 160.6 | 12.49 | 157 | 9.98 | 968.761 | 71.1582 | 76.6311
2020-03-17 02:15:00 | 9.67 | 155.1 | 10.46 | 173 | 12.07 | 165.6 | 12.19 | 160.9 | 9.78 | 968.612 | 71.1575 | 72.8402
2020-03-17 02:30:00 | 10.94 | 156 | 11.4 | 169.7 | 11.22 | 155.2 | 11.1 | 165.3 | 10.06 | 968.018 | 67.4738 | 68.3362
2020-03-17 02:45:00 | 10.42 | 160.7 | 11.5 | 173.1 | 11.61 | 158.6 | 11.42 | 167.9 | 10.45 | 968.018 | 68.2908 | 63.2705
2020-03-17 03:00:00 | 9.22 | 159.2 | 9.58 | 173.8 | 9.35 | 158.6 | 9.38 | 168 | 9.91 | 968.018 | 69.7192 | 61.5783
2020-03-17 03:15:00 | 9.51 | 154.6 | 10.07 | 168.6 | 9.59 | 156.9 | 9.46 | 164.5 | 9.87 | 967.869 | 70.6095 | 51.6429
2020-03-17 03:30:00 | 9.29 | 152.9 | 9.4 | 169.3 | 9.03 | 159.5 | 9.02 | 160 | 9.89 | 968.018 | 69.3854 | 51.6006
2020-03-17 03:45:00 | 8.03 | 148.1 | 8.5 | 164.5 | 8.57 | 152.7 | 8.43 | 157.6 | 9.93 | 968.018 | 69.3186 | 52.0743
2020-03-17 04:00:00 | 8.07 | 146 | 8.96 | 161.1 | 8.93 | 151.1 | 8.81 | 155.7 | 9.49 | 967.869 | 71.0603 | 43.1854
2020-03-17 04:15:00 | 6.113 | 154.1 | 7.069 | 174.3 | 7.635 | 171.4 | 7.591 | 161 | 9.56 | 967.721 | 69.8651 | 41.0276
2020-03-17 04:30:00 | 7.088 | 153.9 | 7.672 | 166.9 | 7.502 | 156.3 | 7.347 | 163.4 | 9.37 | 968.018 | 71.7774 | 26.2001
2020-03-17 04:45:00 | 5.789 | 159.5 | 6.78 | 167.3 | 5.854 | 154.5 | 5.556 | 173.5 | 9.43 | 968.166 | 68.7724 | 20.0667
2020-03-17 05:00:00 | 5.967 | 160.4 | 6.36 | 169.9 | 5.363 | 152.6 | 5.172 | 173.6 | 9.41 | 968.612 | 72.2554 | 11.0735
2020-03-17 05:15:00 | 3.588 | 169.2 | 4.458 | 177.2 | 3.934 | 164.4 | 3.891 | 182.2 | 9.28 | 968.612 | 70.9578 | 6.551
2020-03-17 05:30:00 | 0.85 | 165.3 | 2.375 | 165 | 1.931 | 149.1 | 1.685 | 184.1 | 9.4 | 968.795 | 66.0406 | 3.717
2020-03-17 05:45:00 | 0 | 264.5 | 0.09 | 158.1 | 1.37 | 153.4 | 1.168 | 274.8 | 10.34 | 968.984 | 63.9235 | 2.616
2020-03-17 06:00:00 | 0 | 259.1 | 0.24 | 158.3 | 1.282 | 153.4 | 1.036 | 275.4 | 10.4 | 969.012 | 62.3527 | 2.2132
2020-03-17 06:15:00 | 0 | 271.5 | 0.056 | 158.3 | 0.894 | 157.5 | 0.236 | 276 | 10.45 | 969.457 | 63.582 | 2.4349
2020-03-17 06:30:00 | 0.257 | 288.5 | 0.169 | 157.1 | 0.634 | 153.2 | 0.523 | 276.4 | 10.21 | 969.436 | 63.582 | 2.01
2020-03-17 06:45:00 | 0 | 307.9 | 0 | 158 | 1.152 | 153.3 | 1.107 | 276.9 | 10.28 | 969.47 | 63.3089 | 1.3782
2020-03-17 07:00:00 | 0.156 | 327.9 | 0.939 | 157 | 1.844 | 153.1 | 1.64 | 278 | 10.53 | 969.76 | 64.0601 | 1.2895
2020-03-17 07:15:00 | 0.664 | 16.15 | 1.378 | 155.7 | 2.08 | 84.2 | 2.202 | 278.8 | 10.54 | 969.801 | 63.7528 | 0.66877
2020-03-17 07:30:00 | 0.03 | 352.7 | 1.177 | 155.6 | 1.779 | 25.31 | 1.606 | 279.3 | 10.75 | 970.247 | 62.6835 | 0.65768
2020-03-17 07:45:00 | 0.633 | 31.69 | 1.344 | 155.6 | 1.508 | 25.43 | 1.264 | 279.2 | 11.14 | 970.554 | 63.2191 | 0.13671
2020-03-17 08:00:00 | 1.375 | 27.64 | 2.081 | 155.4 | 2.156 | 30.58 | 2.039 | 279.4 | 11.06 | 970.841 | 61.713 | 0.16996
2020-03-17 08:15:00 | 0.051 | 62.47 | 1.126 | 155.3 | 1.06 | 47.23 | 0.508 | 279.4 | 11.78 | 971.286 | 58.6336 | 0.11454
2020-03-17 08:30:00 | 1.906 | 44.21 | 2.784 | 60.54 | 2.731 | 41.95 | 2.605 | 50.76 | 11.92 | 971.293 | 59.751 | -0.24755
2020-03-17 08:45:00 | 1.771 | 28.5 | 2.873 | 38.39 | 2.909 | 26.4 | 2.689 | 39.29 | 12.36 | 971.583 | 57.6882 | -0.26233
2020-03-17 09:00:00 | 2.225 | 35.96 | 3.505 | 47.81 | 3.507 | 32.55 | 3.552 | 42.42 | 12.8 | 972.177 | 54.3067 | -0.2882
2020-03-17 09:15:00 | 1.177 | 42.24 | 2.409 | 51.89 | 2.69 | 47.97 | 2.572 | 50.47 | 13.47 | 972.006 | 50.4179 | -0.25125
2020-03-17 09:30:00 | 2.328 | 20.98 | 3.415 | 33.34 | 3.171 | 4.592 | 2.907 | 31.35 | 14.1 | 972.474 | 45.9766 | -0.2882
2020-03-17 09:45:00 | 2.31 | 22.04 | 2.74 | 24.15 | 2.881 | 351.9 | 2.75 | 28.66 | 14.91 | 972.622 | 43.0082 | -0.25125
2020-03-17 10:00:00 | 2.845 | 341.1 | 3.185 | 333.2 | 2.507 | 303.8 | 2.197 | 352.4 | 14.94 | 972.517 | 55.0386 | -0.26972
2020-03-17 10:15:00 | 2.595 | 353.2 | 3.317 | 336 | 2.94 | 309.9 | 2.82 | 0.416 | 14.85 | 972.77 | 53.9468 | -0.26972
2020-03-17 10:30:00 | 1.79 | 6.022 | 2.591 | 25.45 | 2.046 | 12.98 | 1.68 | 8.17 | 15.17 | 972.77 | 51.8931 | -0.26233
2020-03-17 10:45:00 | 3.953 | 314.8 | 4.456 | 317.2 | 3.993 | 291.6 | 4.036 | 325.5 | 14.54 | 972.918 | 53.1876 | -0.1441
2020-03-17 11:00:00 | 1.516 | 304.3 | 2.218 | 318 | 2.033 | 282.6 | 1.933 | 320 | 15.24 | 972.77 | 49.8466 | -0.16257
2020-03-17 11:15:00 | 1.794 | 0.008 | 2.282 | 356.1 | 2.597 | 314.2 | 2.404 | 11.6 | 16 | 973.067 | 48.4827 | -0.26972
2020-03-17 11:30:00 | 2.654 | 346.5 | 3.319 | 350.6 | 2.652 | 323.9 | 2.59 | 351.1 | 16.89 | 972.918 | 41.1132 | -0.22539
2020-03-17 11:45:00 | 2.371 | 11.06 | 3.768 | 21.83 | 3.512 | 0.732 | 3.425 | 11.93 | 17.3 | 973.067 | 36.1684 | -0.20691
2020-03-17 12:00:00 | 2.869 | 10.06 | 4.098 | 25.05 | 3.743 | 6.9 | 3.664 | 8.74 | 17.57 | 972.916 | 32.7936 | 0.096066
2020-03-17 12:15:00 | 2.877 | 14.9 | 3.978 | 25.39 | 4.188 | 5.301 | 4.056 | 16.53 | 17.69 | 972.918 | 30.1355 | -0.21061
2020-03-17 12:30:00 | 2.829 | 19.46 | 5.274 | 33.88 | 5.076 | 2.82 | 4.762 | 21.07 | 18.35 | 972.918 | 24.135 | 0.81287
2020-03-17 12:45:00 | 2.875 | 3.905 | 3.348 | 22.23 | 4.054 | 10.63 | 3.928 | 2.888 | 18.44 | 972.77 | 27.6134 | 3.4066
2020-03-17 13:00:00 | 3.527 | 16.44 | 5.711 | 33.2 | 5.267 | 16.55 | 5.271 | 13.27 | 18.17 | 972.621 | 14.3877 | 9.9872
2020-03-17 13:15:00 | 4.521 | 322.1 | 4.74 | 322.6 | 4.536 | 301.9 | 4.491 | 320.4 | 18.58 | 972.177 | 16.2973 | 7.3121
2020-03-17 13:30:00 | 2.664 | 17.56 | 6.205 | 30.93 | 6.671 | 335.1 | 6.012 | 21.53 | 18.93 | 972.177 | 14.5931 | 10.4379
2020-03-17 13:45:00 | 3.804 | 13.8 | 5.432 | 23.02 | 5.636 | 38.85 | 5.271 | 12.91 | 18.48 | 972.325 | 17.7653 | 10.3456
2020-03-17 14:00:00 | 2.768 | 17.6 | 3.483 | 8.12 | 5.236 | 303 | 5.103 | 23.06 | 19.19 | 972.77 | 16.5041 | 9.0856
2020-03-17 14:15:00 | 2.467 | 13.69 | 2.691 | 4.393 | 3.855 | 312 | 3.736 | 15.92 | 19.69 | 972.918 | 15.5473 | 8.0843
2020-03-17 14:30:00 | 3.998 | 300 | 4.773 | 310.4 | 5.28 | 292.4 | 5.358 | 302 | 18.9 | 972.473 | 18.6839 | 4.4375
2020-03-17 14:45:00 | 3.142 | 322.9 | 3.616 | 320.3 | 3.268 | 305.5 | 3.195 | 332.5 | 19.04 | 972.77 | 16.7064 | 3.9572
2020-03-17 15:00:00 | 2.961 | 308.4 | 3.021 | 317.5 | 2.326 | 291.8 | 2.13 | 329.1 | 18.74 | 972.621 | 18.343 | 2.7563
2020-03-17 15:15:00 | 3.925 | 299.5 | 4.44 | 306.3 | 4.054 | 299.5 | 4.051 | 305.1 | 19.14 | 972.918 | 18.8874 | 5.1876
2020-03-17 15:30:00 | 3.025 | 302.7 | 3.42 | 306.1 | 3.37 | 281.6 | 3.394 | 309.3 | 19.04 | 972.77 | 18.7497 | 4.0348
2020-03-17 15:45:00 | 3.162 | 332.4 | 3.783 | 328 | 3.337 | 313 | 3.314 | 339.1 | 19.13 | 972.177 | 19.0217 | 3.1923
2020-03-17 16:00:00 | 3.468 | 336 | 3.732 | 351.8 | 3.927 | 343 | 3.865 | 335.2 | 18.76 | 972.177 | 18.6126 | 3.0409
2020-03-17 16:15:00 | 4.198 | 299.3 | 4.855 | 308.7 | 4.855 | 295.2 | 4.833 | 301.3 | 18.91 | 972.158 | 20.3512 | 2.7083
2020-03-17 16:30:00 | 2.026 | 324.4 | 3.021 | 334.3 | 2.779 | 316.3 | 2.468 | 315.7 | 18.7 | 972.325 | 20.3183 | 3.6357
2020-03-17 16:45:00 | 2.786 | 330.3 | 3.014 | 346.2 | 2.896 | 346.4 | 2.814 | 329.7 | 18.13 | 971.88 | 22.0236 | 3.632
2020-03-17 17:00:00 | 3.733 | 297.1 | 4.162 | 309.1 | 3.982 | 294.2 | 3.855 | 300.5 | 18.31 | 972.177 | 21.6158 | 2.4017
2020-03-17 17:15:00 | 3.628 | 309 | 4.044 | 319.4 | 3.893 | 300.9 | 3.934 | 309.8 | 18.13 | 971.583 | 22.4346 | 2.5938
2020-03-17 17:30:00 | 1.87 | 324.4 | 2.618 | 339.4 | 2.065 | 325.2 | 1.973 | 328.1 | 17.76 | 971.286 | 23.1884 | 0.79439
2020-03-17 17:45:00 | 1.359 | 331.4 | 2.085 | 357.3 | 2.624 | 2.227 | 2.595 | 331.4 | 17.42 | 971.111 | 23.734 | 0.15888
2020-03-17 18:00:00 | 1.197 | 358.7 | 1.835 | 8.63 | 1.716 | 3.565 | 1.557 | 356.6 | 17.28 | 970.839 | 24.0787 | -0.42121
2020-03-17 18:15:00 | 2.265 | 21.83 | 3.121 | 15.12 | 3.095 | 27.88 | 3 | 26.87 | 17.07 | 969.802 | 24.9692 | -0.37318
2020-03-17 18:30:00 | 3.2 | 59.33 | 3.671 | 17.99 | 3.311 | 69.01 | 3.231 | 60.75 | 16.88 | 969.937 | 24.4585 | -0.28081
2020-03-17 18:45:00 | 2.287 | 71.8 | 3.085 | 18.12 | 2.841 | 72.84 | 2.834 | 73.71 | 16.77 | 969.802 | 23.6743 | -0.29928
2020-03-17 19:00:00 | 2.584 | 70.73 | 3.006 | 18.13 | 2.741 | 70.85 | 2.681 | 74.09 | 17.02 | 969.802 | 23.7497 | -0.28081
2020-03-17 19:15:00 | 3.22 | 91.4 | 3.428 | 18.57 | 2.474 | 86.2 | 2.332 | 100.7 | 17.09 | 969.802 | 22.59 | -0.2882
2020-03-17 19:30:00 | 2.556 | 123.3 | 2.347 | 18.71 | 1.667 | 114 | 1.273 | 126.8 | 17.28 | 969.802 | 22.2488 | -0.29928
2020-03-17 19:45:00 | 2.423 | 166.9 | 3.198 | 18.94 | 2.68 | 156.8 | 2.592 | 176.9 | 16.99 | 969.505 | 22.1805 | -0.28081
2020-03-17 20:00:00 | 2.852 | 164.6 | 3.213 | 172.1 | 2.757 | 153.3 | 2.597 | 170.4 | 17.15 | 969.51 | 21.4298 | -0.29928
2020-03-17 20:15:00 | 2.265 | 155.1 | 3.712 | 168.8 | 3.723 | 157.5 | 3.555 | 163.2 | 16.89 | 969.284 | 22.044 | 0.066507
2020-03-17 20:30:00 | 2.755 | 150.1 | 3.331 | 166.5 | 3.029 | 141.5 | 2.867 | 157.3 | 17.08 | 969.65 | 21.4298 | 0.19583
2020-03-17 20:45:00 | 2.622 | 162.5 | 3.765 | 171.2 | 3.82 | 156.8 | 3.629 | 170.7 | 16.76 | 969.31 | 21.9075 | 1.1417
2020-03-17 21:00:00 | 3.618 | 161.6 | 4.41 | 173.4 | 4.42 | 156.7 | 4.365 | 168.4 | 16.72 | 969.365 | 21.6345 | 4.8809
2020-03-17 21:15:00 | 5.186 | 162.9 | 5.778 | 177.3 | 5.572 | 159.3 | 5.495 | 170.8 | 16.73 | 969.333 | 21.9416 | 10.9183
2020-03-17 21:30:00 | 5.722 | 164.4 | 5.79 | 178.6 | 5.837 | 161.8 | 5.852 | 172.2 | 16.75 | 969.32 | 22.5217 | 12.8655
2020-03-17 21:45:00 | 5.755 | 164.6 | 5.865 | 177.1 | 5.887 | 154.3 | 5.915 | 172.4 | 16.17 | 969.15 | 23.682 | 16.5049
2020-03-17 22:00:00 | 6.672 | 164 | 6.785 | 179.4 | 6.62 | 159.3 | 6.662 | 172.8 | 16.2 | 969.069 | 24.3644 | 23.2517
2020-03-17 22:15:00 | 6.812 | 156.2 | 7.48 | 177.9 | 7.945 | 157.1 | 8.01 | 171.6 | 15.34 | 968.751 | 25.1152 | 27.6153
2020-03-17 22:30:00 | 7.438 | 162.4 | 7.588 | 179.9 | 7.978 | 161 | 8.01 | 172.1 | 15.83 | 968.866 | 23.7506 | 27.6707
2020-03-17 22:45:00 | 7.596 | 160.2 | 7.465 | 176.7 | 7.97 | 161 | 8.01 | 169.3 | 15.85 | 968.904 | 24.1604 | 29.8765
2020-03-17 23:00:00 | 7.79 | 153.2 | 8.1 | 174.3 | 8.42 | 158 | 8.41 | 166.6 | 15.59 | 968.604 | 24.7751 | 33.8928
2020-03-17 23:15:00 | 8.07 | 143.1 | 8.48 | 173.3 | 8.8 | 154.8 | 8.7 | 166.8 | 15.37 | 968.316 | 25.2547 | 37.1443
2020-03-17 23:30:00 | 7.762 | 138.1 | 8.47 | 170.5 | 9.02 | 160.7 | 8.94 | 163.8 | 15.06 | 968.019 | 27.0978 | 44.3381
2020-03-17 23:45:00 | 6.524 | 146.7 | 7.948 | 166.6 | 9.27 | 159.8 | 9.23 | 160.2 | 14.73 | 967.722 | 26.1431 | 47.2312