## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-18 00:00:00 | 6.58 | 146 | 7.506 | 160.8 | 9.3 | 163.7 | 9.38 | 154.7 | 14.92 | 967.871 | 25.8019 | 53.6935
2020-03-18 00:15:00 | 6.358 | 145.2 | 7.007 | 162.1 | 9.22 | 152.5 | 9.45 | 154.8 | 15.07 | 967.722 | 26.6894 | 57.4162
2020-03-18 00:30:00 | 7.267 | 132.6 | 8.08 | 166.6 | 9.72 | 156.3 | 9.87 | 157.4 | 15.01 | 967.722 | 27.099 | 64.948
2020-03-18 00:45:00 | 7.208 | 130.4 | 8.09 | 166.7 | 9.44 | 160.5 | 9.61 | 158.6 | 14.84 | 967.722 | 28.2594 | 60.1706
2020-03-18 01:00:00 | 7.377 | 152.4 | 7.537 | 177.9 | 7.945 | 165.9 | 8.05 | 163 | 14.84 | 967.722 | 28.6007 | 57.2184
2020-03-18 01:15:00 | 8.75 | 149.9 | 9.03 | 172.9 | 9.43 | 163.8 | 9.52 | 168.2 | 14.59 | 967.425 | 29.6246 | 62.635
2020-03-18 01:30:00 | 8.89 | 156.7 | 9.06 | 171.3 | 9.73 | 160.4 | 9.74 | 164.1 | 14.38 | 967.128 | 32.0135 | 65.7091
2020-03-18 01:45:00 | 9.29 | 162.1 | 9.4 | 173.5 | 9.8 | 160 | 10 | 167.7 | 14.1 | 966.831 | 33.2421 | 72.8624
2020-03-18 02:00:00 | 9.32 | 164.2 | 9.4 | 176.9 | 9.57 | 160.8 | 9.7 | 169.7 | 14.33 | 966.683 | 32.491 | 72.9991
2020-03-18 02:15:00 | 9.62 | 160.5 | 9.99 | 173.7 | 9.92 | 160.7 | 9.93 | 165.4 | 14.13 | 966.534 | 33.7875 | 73.8673
2020-03-18 02:30:00 | 11.04 | 161.7 | 11.07 | 175.1 | 11.28 | 161.6 | 11.3 | 167.4 | 13.95 | 966.238 | 33.0373 | 74.5176
2020-03-18 02:45:00 | 10.85 | 163.2 | 10.86 | 176 | 11.21 | 159.8 | 11.3 | 170.1 | 13.92 | 965.941 | 33.7878 | 71.5655
2020-03-18 03:00:00 | 10.2 | 160 | 10.59 | 173.1 | 11.06 | 161.2 | 11.11 | 168.2 | 13.79 | 965.644 | 33.4486 | 72.2379
2020-03-18 03:15:00 | 10.05 | 159.6 | 10.67 | 172.3 | 11.3 | 157.3 | 11.43 | 167.1 | 13.37 | 965.347 | 36.1121 | 73.9154
2020-03-18 03:30:00 | 10.42 | 159.5 | 11.4 | 172.5 | 12.46 | 159 | 12.54 | 166.8 | 12.83 | 964.753 | 36.1152 | 76.9858
2020-03-18 03:45:00 | 10.44 | 158.4 | 10.99 | 172 | 11.94 | 158.9 | 11.99 | 165.8 | 12.69 | 964.753 | 37.0029 | 79.8715
2020-03-18 04:00:00 | 10.29 | 156.5 | 10.95 | 171.4 | 12.37 | 160.6 | 12.55 | 165.3 | 12.81 | 964.456 | 36.764 | 78.0832
2020-03-18 04:15:00 | 10.41 | 157.9 | 10.83 | 171.2 | 11.51 | 158.8 | 11.64 | 165.1 | 12.76 | 964.159 | 38.4366 | 82.5502
2020-03-18 04:30:00 | 9.93 | 152.9 | 10.41 | 170.2 | 12.29 | 163.8 | 12.24 | 161 | 12.47 | 964.159 | 37.9587 | 83.5072
2020-03-18 04:45:00 | 10.34 | 157.7 | 10.8 | 171.5 | 12.02 | 158.4 | 12.01 | 162.7 | 12.73 | 964.159 | 37.7539 | 82.5576
2020-03-18 05:00:00 | 10.75 | 155.3 | 11.61 | 171.6 | 12.32 | 159.9 | 12.31 | 161.4 | 12.78 | 964.307 | 37.6856 | 79.6941
2020-03-18 05:15:00 | 10.71 | 154.8 | 11.62 | 170.1 | 12.36 | 159 | 12.3 | 162 | 12.68 | 964.01 | 38.027 | 84.0725
2020-03-18 05:30:00 | 11.34 | 158.2 | 11.9 | 172.9 | 12.99 | 161.6 | 13.03 | 166.3 | 12.8 | 963.565 | 37.8904 | 86.9767
2020-03-18 05:45:00 | 12.12 | 158.3 | 12.88 | 173.6 | 13.49 | 160.8 | 13.4 | 164.9 | 12.66 | 963.862 | 36.525 | 86.6922
2020-03-18 06:00:00 | 10.57 | 159.3 | 11.1 | 175.3 | 12.17 | 163.9 | 12.37 | 164.1 | 13.19 | 963.862 | 37.0712 | 83.4001
2020-03-18 06:15:00 | 11.13 | 159.4 | 11.37 | 174.4 | 11.4 | 158.3 | 11.58 | 165.3 | 13.06 | 964.159 | 37.7539 | 76.2025
2020-03-18 06:30:00 | 10.42 | 158 | 11.12 | 171.1 | 11.6 | 158.5 | 11.54 | 165.7 | 12.69 | 963.862 | 39.051 | 77.2231
2020-03-18 06:45:00 | 9.88 | 153.4 | 10.77 | 167.4 | 12.21 | 158.5 | 12.28 | 160.6 | 12.46 | 964.01 | 39.9386 | 82.1549
2020-03-18 07:00:00 | 10.07 | 150.8 | 10.48 | 168 | 11.79 | 157.7 | 11.71 | 157.4 | 12.39 | 964.01 | 40.6895 | 80.2447
2020-03-18 07:15:00 | 9.5 | 148.2 | 10.43 | 164.1 | 11.31 | 149.1 | 11.21 | 154.4 | 12.45 | 964.01 | 41.9867 | 80.8395
2020-03-18 07:30:00 | 12.75 | 149.5 | 13.04 | 161.2 | 12.69 | 142.4 | 12.64 | 159.2 | 13.01 | 964.159 | 41.9152 | 80.0784
2020-03-18 07:45:00 | 9.97 | 148.5 | 10.85 | 163.1 | 11.75 | 145.7 | 11.78 | 156.2 | 12.43 | 964.159 | 43.2751 | 72.6296
2020-03-18 08:00:00 | 11.55 | 149.9 | 12.59 | 163.2 | 13.58 | 147.5 | 13.39 | 157.8 | 12.74 | 964.307 | 42.7986 | 73.1675
2020-03-18 08:15:00 | 10.54 | 147.3 | 11.14 | 162.8 | 12.09 | 149.8 | 11.99 | 154.5 | 12.58 | 964.753 | 44.2299 | 68.7241
2020-03-18 08:30:00 | 10.68 | 149.6 | 10.81 | 165.1 | 11.01 | 153.3 | 10.92 | 156 | 12.69 | 965.252 | 44.2935 | 66.2773
2020-03-18 08:45:00 | 10.21 | 150.8 | 10.68 | 164.7 | 10.98 | 150.5 | 10.96 | 158.4 | 12.68 | 965.075 | 43.4056 | 61.251
2020-03-18 09:00:00 | 7.377 | 153.3 | 7.25 | 171.6 | 7.538 | 168.9 | 7.573 | 158.3 | 13.61 | 965.646 | 40.2662 | 49.8709
2020-03-18 09:15:00 | 6.417 | 154.2 | 6.271 | 172.8 | 6.195 | 165.4 | 6.185 | 159.5 | 14.37 | 965.943 | 39.31 | 43.4995
2020-03-18 09:30:00 | 7.39 | 148.8 | 7.68 | 165.2 | 7.279 | 156.2 | 7.089 | 157.4 | 14.86 | 965.943 | 34.4539 | 42.7013
2020-03-18 09:45:00 | 8.2 | 145.1 | 8.69 | 158.6 | 8.14 | 145.6 | 7.925 | 153 | 15.14 | 965.646 | 35.0333 | 43.3997
2020-03-18 10:00:00 | 6.777 | 151 | 6.818 | 164.5 | 6.77 | 156.1 | 6.842 | 160.6 | 15.89 | 965.557 | 32.9865 | 35.9656
2020-03-18 10:15:00 | 7.4 | 163 | 7.455 | 172.4 | 6.612 | 157 | 6.509 | 172.4 | 16.64 | 965.502 | 30.9391 | 37.0926
2020-03-18 10:30:00 | 8.34 | 152.5 | 8.4 | 165.8 | 7.742 | 150.5 | 7.497 | 162.2 | 16.87 | 965.351 | 29.775 | 38.4633
2020-03-18 10:45:00 | 9.24 | 152.9 | 8.74 | 166.8 | 7.543 | 152.8 | 7.283 | 163.2 | 17.1 | 965.055 | 28.3761 | 39.2186
2020-03-18 11:00:00 | 8.08 | 163.4 | 8.12 | 177 | 7.518 | 169.4 | 7.543 | 172.3 | 17.85 | 964.758 | 30.5212 | 39.605
2020-03-18 11:15:00 | 8.38 | 154.3 | 8.11 | 171.6 | 7.403 | 160.8 | 7.405 | 162.8 | 17.84 | 964.597 | 31.9867 | 42.4353
2020-03-18 11:30:00 | 9 | 152.1 | 8.97 | 169.3 | 8.63 | 157.5 | 8.5 | 159.6 | 17.41 | 963.959 | 35.601 | 45.417
2020-03-18 11:45:00 | 9.26 | 154.6 | 8.96 | 171.3 | 8.53 | 161 | 8.49 | 161 | 18.23 | 963.931 | 35.0554 | 45.0504
2020-03-18 12:00:00 | 10.17 | 152.2 | 10.13 | 165.5 | 9.49 | 152.8 | 9.33 | 159.5 | 17.94 | 963.565 | 32.9412 | 37.8078
2020-03-18 12:15:00 | 10.25 | 156.3 | 10.14 | 172.4 | 9.63 | 160.8 | 9.58 | 162.3 | 18.78 | 963.478 | 33.3845 | 12.3653
2020-03-18 12:30:00 | 9.25 | 163.8 | 9.3 | 179.2 | 8.72 | 170.3 | 8.7 | 168.7 | 19.32 | 963.573 | 31.3385 | 8.2765
2020-03-18 12:45:00 | 9.58 | 162.9 | 9.25 | 178.8 | 8.33 | 169.6 | 8.28 | 170.3 | 19.89 | 962.98 | 30.2472 | 9.6546
2020-03-18 13:00:00 | 8.19 | 160 | 8.18 | 177.5 | 7.268 | 167.6 | 7.337 | 169 | 20.43 | 962.832 | 27.4169 | 9.7692
2020-03-18 13:15:00 | 9.04 | 168.5 | 8.31 | 188.7 | 8.13 | 180.6 | 8.2 | 169.9 | 20.54 | 962.683 | 28.8832 | 11.1732
2020-03-18 13:30:00 | 9.78 | 185.7 | 9.51 | 200.2 | 8.34 | 189 | 8.33 | 181 | 20.75 | 962.832 | 27.2122 | 12.278
2020-03-18 13:45:00 | 10.2 | 179.6 | 9.88 | 192.7 | 8.44 | 180.6 | 8.33 | 178.3 | 20.95 | 962.238 | 25.6083 | 10.0315
2020-03-18 14:00:00 | 10.64 | 185.3 | 9.64 | 200.1 | 8.61 | 189.7 | 8.61 | 187 | 21.47 | 962.238 | 24.4801 | 8.2247
2020-03-18 14:15:00 | 11.97 | 177.4 | 11.6 | 187.8 | 10.97 | 175.2 | 11.15 | 183.7 | 21.87 | 962.09 | 22.6389 | 9.6827
2020-03-18 14:30:00 | 10.72 | 180.8 | 10.05 | 197.2 | 9.53 | 185.6 | 9.59 | 184.3 | 22.35 | 961.942 | 20.286 | 10.8628
2020-03-18 14:45:00 | 13.91 | 179 | 13.42 | 192.9 | 12.26 | 179.7 | 12.27 | 182 | 22.55 | 961.2 | 17.523 | 8.8159
2020-03-18 15:00:00 | 13.57 | 177.2 | 12.96 | 191.5 | 12.41 | 178.3 | 12.56 | 181.9 | 22.48 | 961.349 | 17.6581 | 9.8763
2020-03-18 15:15:00 | 12.66 | 184.3 | 12.39 | 198.4 | 11.85 | 184 | 11.9 | 188.9 | 22.56 | 961.052 | 15.6468 | 21.6022
2020-03-18 15:30:00 | 13.07 | 184.8 | 12.52 | 200 | 11.41 | 188.5 | 11.54 | 187.4 | 22.79 | 961.046 | 17.3172 | 27.5279
2020-03-18 15:45:00 | 12.84 | 180.1 | 12.31 | 195.1 | 11.6 | 182.1 | 11.69 | 184.5 | 22.8 | 961.052 | 15.0332 | 39.7382
2020-03-18 16:00:00 | 13.18 | 190.9 | 12.79 | 201.7 | 11.69 | 185.8 | 11.83 | 195.6 | 22.79 | 961.2 | 16.7377 | 58.2736
2020-03-18 16:15:00 | 12.65 | 178.9 | 12.27 | 192.1 | 11.29 | 177.4 | 11.5 | 183.4 | 22.7 | 961.048 | 18.5103 | 63.7343
2020-03-18 16:30:00 | 12.58 | 190.7 | 11.86 | 203.2 | 11.22 | 188.6 | 11.56 | 195.7 | 22.79 | 960.291 | 17.4536 | 66.052
2020-03-18 16:45:00 | 13.7 | 188.9 | 13.48 | 201 | 12.86 | 185.5 | 13.13 | 193.2 | 22.77 | 960.457 | 16.9763 | 73.9782
2020-03-18 17:00:00 | 12.1 | 190 | 11.72 | 201.8 | 10.96 | 186.8 | 11.13 | 195.3 | 22.67 | 960.458 | 16.431 | 68.2918
2020-03-18 17:15:00 | 13.09 | 189.6 | 12.98 | 201.9 | 12.23 | 186.4 | 12.45 | 194.4 | 22.53 | 960.161 | 17.1821 | 60.8216
2020-03-18 17:30:00 | 12.66 | 194.4 | 12.25 | 204 | 11.86 | 187.5 | 12.02 | 199.6 | 22.46 | 960.161 | 17.0469 | 48.8448
2020-03-18 17:45:00 | 11.72 | 187.2 | 11.41 | 200.1 | 10.84 | 183.7 | 10.98 | 192.5 | 22.35 | 960.31 | 16.9792 | 51.4136
2020-03-18 18:00:00 | 12.08 | 187.8 | 11.73 | 198.4 | 11.23 | 182.5 | 11.43 | 194.1 | 22.23 | 960.013 | 16.8774 | 51.2624
2020-03-18 18:15:00 | 10.3 | 184.5 | 10.52 | 194.2 | 10.58 | 181.8 | 10.87 | 191.4 | 22.1 | 960.013 | 17.323 | 53.7104
2020-03-18 18:30:00 | 10.52 | 186.3 | 10.96 | 195.6 | 11.21 | 182 | 11.5 | 192.2 | 21.92 | 959.717 | 17.1526 | 56.6578
2020-03-18 18:45:00 | 10.22 | 181.1 | 10.45 | 192.4 | 10.29 | 175.6 | 10.48 | 188.2 | 21.55 | 959.76 | 18.1415 | 51.0599
2020-03-18 19:00:00 | 12.46 | 179.1 | 12.31 | 189.5 | 12.08 | 170.9 | 12.28 | 186.1 | 21.42 | 959.947 | 19.0286 | 65.3565
2020-03-18 19:15:00 | 12.47 | 178.1 | 12.98 | 188.9 | 12.97 | 175.2 | 13.14 | 184.6 | 20.95 | 959.86 | 22.9863 | 64.0169
2020-03-18 19:30:00 | 13.02 | 177.5 | 13.05 | 187.2 | 13.24 | 170.9 | 13.57 | 184.1 | 20.49 | 959.564 | 25.9891 | 65.3749
2020-03-18 19:45:00 | 13.03 | 176.6 | 12.85 | 187.6 | 12.98 | 174 | 13.3 | 183.5 | 20.12 | 959.861 | 31.4461 | 66.9881
2020-03-18 20:00:00 | 11.86 | 176.7 | 12.2 | 187.4 | 12.31 | 175.6 | 12.55 | 184.7 | 19.82 | 960.009 | 32.3343 | 62.0856
2020-03-18 20:15:00 | 10.55 | 181.8 | 10.58 | 190.9 | 10.88 | 174.1 | 11.3 | 189.6 | 19.63 | 960.158 | 33.9751 | 58.4192
2020-03-18 20:30:00 | 9.29 | 182.4 | 9.33 | 189.9 | 9.81 | 170.5 | 10.09 | 191.5 | 19.44 | 960.61 | 35.9543 | 46.5187
2020-03-18 20:45:00 | 7.788 | 189.1 | 7.672 | 189 | 6.849 | 168.6 | 7.082 | 199.4 | 19.14 | 961.33 | 31.1103 | 44.767
2020-03-18 21:00:00 | 9.52 | 254.3 | 10.11 | 265.8 | 11.1 | 251.8 | 11.12 | 257.3 | 19.78 | 963.356 | 21.6954 | 76.1251
2020-03-18 21:15:00 | 9.86 | 281.2 | 10.8 | 293.5 | 12.23 | 280 | 12.36 | 283.2 | 20.39 | 963.129 | 19.7169 | 79.2212
2020-03-18 21:30:00 | 6.746 | 304.7 | 8.56 | 320 | 9.24 | 316.9 | 9.52 | 303.6 | 19.78 | 963.009 | 21.0131 | 71.6971
2020-03-18 21:45:00 | 15.85 | 358.6 | 17.98 | 30.52 | 19 | 22.6 | 19.82 | 350 | 17.56 | 962.477 | 20.3991 | 36.2093
2020-03-18 22:00:00 | 14.64 | 1.407 | 16.41 | 27.51 | 17.61 | 19.04 | 18.31 | 351.4 | 15.41 | 962.676 | 21.3546 | 42.597
2020-03-18 22:15:00 | 15.04 | 359.6 | 16.35 | 26.56 | 18.39 | 18.2 | 19.04 | 357.2 | 14.64 | 963.568 | 21.4961 | 46.241
2020-03-18 22:30:00 | 15.29 | 1.603 | 15.23 | 24.53 | 17.37 | 20.06 | 18.27 | 354.1 | 14.08 | 963.419 | 20.6791 | 44.7741
2020-03-18 22:45:00 | 10.46 | 358 | 12.89 | 24.96 | 13.73 | 13.22 | 14.05 | 348.4 | 13.62 | 964.732 | 21.432 | 61.3805
2020-03-18 23:00:00 | 13.98 | 0.628 | 15.88 | 26.45 | 17.24 | 20.92 | 18.11 | 351.7 | 13.29 | 964.604 | 18.4299 | 77.8947
2020-03-18 23:15:00 | 10.99 | 353.8 | 11.98 | 24.53 | 12.75 | 21.25 | 13.17 | 347.5 | 12.85 | 965.495 | 19.5218 | 80.6585
2020-03-18 23:30:00 | 15.01 | 26.74 | 16.11 | 24.79 | 16.59 | 16.13 | 16.77 | 1.6 | 12.6 | 964.753 | 15.4969 | 77.996
2020-03-18 23:45:00 | 16.71 | 28.16 | 17.6 | 26.54 | 17.11 | 17.28 | 17.51 | 3.61 | 11.54 | 964.307 | 16.9312 | 75.6483