## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-19 00:00:00 | 15.78 | 355 | 16.75 | 21.92 | 18.88 | 17.56 | 19.83 | 354.2 | 11.03 | 964.319 | 18.7063 | 74.5546
2020-03-19 00:15:00 | 13.07 | 351.2 | 14.42 | 22.1 | 15.29 | 15.48 | 15.93 | 349.8 | 10.61 | 964.788 | 19.7986 | 69.6848
2020-03-19 00:30:00 | 14.24 | 353.7 | 14.7 | 23.91 | 17.88 | 19.33 | 18.65 | 352.5 | 10.36 | 964.795 | 19.3214 | 71.0888
2020-03-19 00:45:00 | 16.39 | 26.94 | 16.66 | 21.69 | 18.92 | 14.88 | 19.33 | 359.1 | 10.31 | 965.019 | 19.8024 | 65.781
2020-03-19 01:00:00 | 15.39 | 64.02 | 17.17 | 26.17 | 15.79 | 16.22 | 15.38 | 8.67 | 10.01 | 965.168 | 20.2118 | 69.5378
2020-03-19 01:15:00 | 15.42 | 54.48 | 17.34 | 26.19 | 16.69 | 14.54 | 16.03 | 8.49 | 9.78 | 965.047 | 20.4179 | 68.5579
2020-03-19 01:30:00 | 13.93 | 46.97 | 16.93 | 26.97 | 15.37 | 4.402 | 14.7 | 8.55 | 9.52 | 965.641 | 21.0342 | 66.6735
2020-03-19 01:45:00 | 13.71 | 44.11 | 15.62 | 25.95 | 14.82 | 6.899 | 14.48 | 9.04 | 9.15 | 965.344 | 20.6932 | 68.5431
2020-03-19 02:00:00 | 15.33 | 43.13 | 19.88 | 28.61 | 18.06 | 23.53 | 16.82 | 12.41 | 9.22 | 964.75 | 20.6932 | 65.8126
2020-03-19 02:15:00 | 13.85 | 44.18 | 18.54 | 28.41 | 17.22 | 47.44 | 16.22 | 10.88 | 9.06 | 965.047 | 20.2834 | 65.8237
2020-03-19 02:30:00 | 12.89 | 23.2 | 16.23 | 27 | 14.93 | 36.78 | 14.22 | 11.44 | 9.01 | 965.057 | 20.9664 | 65.3507
2020-03-19 02:45:00 | 11.37 | 19.01 | 15.11 | 27.33 | 13.85 | 35.27 | 13.01 | 10.07 | 8.78 | 965.702 | 21.7176 | 67.2868
2020-03-19 03:00:00 | 11.4 | 22.78 | 13.66 | 24.28 | 12.98 | 31.99 | 12.38 | 9.32 | 8.61 | 965.788 | 22.264 | 65.8015
2020-03-19 03:15:00 | 10.69 | 18.99 | 12.83 | 25.99 | 11.95 | 10.76 | 11.48 | 9.91 | 8.49 | 966.225 | 22.6054 | 62.0306
2020-03-19 03:30:00 | 8.91 | 28.3 | 11.32 | 27.13 | 10.01 | 7.077 | 9.86 | 8.85 | 8.3 | 966.531 | 22.6054 | 54.9202
2020-03-19 03:45:00 | 9.08 | 33.18 | 9.9 | 23.05 | 10.13 | 1.382 | 10.29 | 5.929 | 8.26 | 966.531 | 22.9469 | 51.1145
2020-03-19 04:00:00 | 8.82 | 22.19 | 9.81 | 24.39 | 10.24 | 8.6 | 10.42 | 6.545 | 8.23 | 966.531 | 22.9472 | 57.9373
2020-03-19 04:15:00 | 9.26 | 17.84 | 10.37 | 25.56 | 9.03 | 15.28 | 8.97 | 9.02 | 8.22 | 966.234 | 22.6742 | 58.3231
2020-03-19 04:30:00 | 8.64 | 20.84 | 10.94 | 24.78 | 10.31 | 15.54 | 9.99 | 8.96 | 8.23 | 965.936 | 23.1523 | 60.311
2020-03-19 04:45:00 | 9 | 20.78 | 9.95 | 24.87 | 9.51 | 19.5 | 9.25 | 8.32 | 8.22 | 966.085 | 22.9491 | 58.3527
2020-03-19 05:00:00 | 8.09 | 20.5 | 10.21 | 28.27 | 9.13 | 5.382 | 8.79 | 9.72 | 8.23 | 966.382 | 23.0159 | 52.7239
2020-03-19 05:15:00 | 7.852 | 31.3 | 10.49 | 28.23 | 9.69 | 27.12 | 8.81 | 13.28 | 8.18 | 966.234 | 23.0853 | 46.6216
2020-03-19 05:30:00 | 6.626 | 42.38 | 9.72 | 34.58 | 9.73 | 36.05 | 9.08 | 16.83 | 8.16 | 966.531 | 22.6767 | 43.2925
2020-03-19 05:45:00 | 6.731 | 55.08 | 9.99 | 32.29 | 9.43 | 6.202 | 8.99 | 14.73 | 8.25 | 966.828 | 22.1985 | 43.7396
2020-03-19 06:00:00 | 7.333 | 53.64 | 10.13 | 28.52 | 10.11 | 358.3 | 9.55 | 14.87 | 8.37 | 966.679 | 21.4477 | 44.8185
2020-03-19 06:15:00 | 6.105 | 51.91 | 9.91 | 31.97 | 9.42 | 24.76 | 8.67 | 16.38 | 8.43 | 966.828 | 21.5151 | 33.8252
2020-03-19 06:30:00 | 5.63 | 49.75 | 8.17 | 28.77 | 8.3 | 25.12 | 7.925 | 14.14 | 8.44 | 967.125 | 21.4454 | 30.0834
2020-03-19 06:45:00 | 5.722 | 49.16 | 7.861 | 30.96 | 8.08 | 16.88 | 7.675 | 13.82 | 8.59 | 967.422 | 21.0347 | 23.9093
2020-03-19 07:00:00 | 5.653 | 48.76 | 7.22 | 27.75 | 6.806 | 14.67 | 6.557 | 12.92 | 8.72 | 967.824 | 21.4444 | 20.2404
2020-03-19 07:15:00 | 5.847 | 44.63 | 7.025 | 29.18 | 6.528 | 16.73 | 6.427 | 10.46 | 8.98 | 968.018 | 21.3761 | 17.2254
2020-03-19 07:30:00 | 6.613 | 45.09 | 6.678 | 28.46 | 6.132 | 17 | 6.114 | 6.395 | 9.03 | 968.612 | 21.305 | 15.9285
2020-03-19 07:45:00 | 5.686 | 37.33 | 6.987 | 34.01 | 6.109 | 21.66 | 6.089 | 4.521 | 9.31 | 968.949 | 21.4383 | 12.5144
2020-03-19 08:00:00 | 5.584 | 43.26 | 6.532 | 31.02 | 5.826 | 22.77 | 5.992 | 1.949 | 9.65 | 969.232 | 21.3688 | 14.1845
2020-03-19 08:15:00 | 5.189 | 23.44 | 6.736 | 37.63 | 5.976 | 39.52 | 6.145 | 356.2 | 9.9 | 969.504 | 21.0275 | 20.5001
2020-03-19 08:30:00 | 5.725 | 39.69 | 7.342 | 32.7 | 6.516 | 46.86 | 6.649 | 0.503 | 10.46 | 970.098 | 20.2079 | 28.3247
2020-03-19 08:45:00 | 5.727 | 5.999 | 6.974 | 26.98 | 6.943 | 46.45 | 6.947 | 358 | 10.77 | 970.098 | 19.3176 | 34.7759
2020-03-19 09:00:00 | 3.444 | 14.37 | 6.734 | 35.42 | 6.401 | 45.78 | 6.183 | 4.462 | 11.23 | 970.989 | 18.3618 | 41.6852
2020-03-19 09:15:00 | 4.55 | 5.723 | 7.099 | 30.43 | 7.965 | 51.85 | 8.19 | 354.2 | 11.42 | 971.354 | 18.6322 | 43.8943
2020-03-19 09:30:00 | 4.738 | 11.67 | 6.882 | 23.61 | 7.202 | 42.66 | 6.901 | 2.525 | 11.62 | 971.734 | 17.0278 | 46.4453
2020-03-19 09:45:00 | 4.821 | 19.37 | 6.05 | 34.27 | 6.77 | 37.46 | 6.336 | 7.178 | 11.76 | 972.177 | 18.0857 | 48.8319
2020-03-19 10:00:00 | 4.149 | 7.518 | 5.438 | 350.4 | 6.33 | 45.1 | 6.231 | 18.12 | 12.34 | 972.177 | 19.1058 | 54.13
2020-03-19 10:15:00 | 4.984 | 4.049 | 5.242 | 13.11 | 5.742 | 31.8 | 5.737 | 351.7 | 12.52 | 972.474 | 18.4889 | 46.895
2020-03-19 10:30:00 | 5.015 | 338.6 | 5.934 | 349.5 | 6.096 | 25.2 | 6.231 | 337.2 | 12.47 | 972.474 | 19.0346 | 43.2519
2020-03-19 10:45:00 | 5.107 | 359.9 | 5.064 | 7.447 | 5.547 | 23.19 | 5.493 | 356.5 | 12.68 | 973.068 | 19.1029 | 51.2378
2020-03-19 11:00:00 | 4.855 | 6.248 | 5.99 | 26.45 | 6.31 | 357.5 | 6.287 | 359 | 12.79 | 972.758 | 16.9879 | 49.2928
2020-03-19 11:15:00 | 4.664 | 7.218 | 5.225 | 8.36 | 5.9 | 8.91 | 5.803 | 6.659 | 13.14 | 972.832 | 17.5337 | 43.4074
2020-03-19 11:30:00 | 4.127 | 354.1 | 4.914 | 10.16 | 5.898 | 19.07 | 6.224 | 345.9 | 13.09 | 972.202 | 17.5678 | 37.4518
2020-03-19 11:45:00 | 4.274 | 12.82 | 5.908 | 23.99 | 6.027 | 3.431 | 5.712 | 354.8 | 13.21 | 972.474 | 17.7725 | 37.1157
2020-03-19 12:00:00 | 4.28 | 347.2 | 5.477 | 4.404 | 5.33 | 314.9 | 5.365 | 344 | 12.99 | 972.356 | 18.5571 | 26.1584
2020-03-19 12:15:00 | 5.017 | 325.3 | 5.223 | 351.4 | 5.852 | 1.229 | 6.01 | 326.5 | 13.7 | 972.477 | 17.5678 | 15.0071
2020-03-19 12:30:00 | 4.313 | 312.7 | 4.732 | 315.6 | 4.105 | 0.049 | 4.021 | 321.4 | 12.95 | 972.131 | 18.5229 | 12.3519
2020-03-19 12:45:00 | 2.989 | 41.94 | 4.644 | 17.2 | 5.458 | 36.11 | 5.154 | 19.62 | 13.94 | 972.202 | 18.1818 | 8.6607
2020-03-19 13:00:00 | 3.899 | 322.7 | 4.402 | 334.1 | 4.471 | 23.17 | 4.642 | 324.7 | 13.65 | 972.022 | 17.7725 | 7.2197
2020-03-19 13:15:00 | 4.006 | 331.8 | 4.231 | 350.3 | 3.946 | 35.81 | 3.829 | 331 | 13.34 | 971.731 | 18.6253 | 3.8611
2020-03-19 13:30:00 | 4.514 | 261.9 | 4.704 | 272.2 | 4.077 | 28.77 | 3.939 | 263.8 | 12.74 | 971.583 | 19.1711 | 0.70941
2020-03-19 13:45:00 | 2.139 | 4.963 | 2.242 | 9.47 | 2.709 | 23.34 | 2.783 | 3.019 | 13.94 | 972.177 | 17.6366 | 1.5851
2020-03-19 14:00:00 | 4.928 | 297.9 | 5.08 | 305.4 | 4.305 | 6.48 | 4.189 | 303.9 | 13.71 | 972.177 | 18.3191 | 2.9152
2020-03-19 14:15:00 | 1.614 | 306.8 | 2.275 | 307 | 2.489 | 3.634 | 2.437 | 309.8 | 14.46 | 972.77 | 18.3183 | 0.011085
2020-03-19 14:30:00 | 3.733 | 254.8 | 3.622 | 261.3 | 3.67 | 357 | 3.679 | 275.8 | 14.45 | 972.325 | 17.3972 | -0.1441
2020-03-19 14:45:00 | 1.834 | 276.9 | 2.153 | 270.9 | 1.469 | 145.4 | 1.39 | 299.6 | 14.67 | 972.309 | 18.1477 | -0.30667
2020-03-19 15:00:00 | 2.77 | 243.4 | 3.069 | 243.5 | 3.181 | 154 | 2.92 | 262.6 | 14.62 | 972.181 | 18.1117 | -0.23647
2020-03-19 15:15:00 | 2.707 | 217.8 | 2.867 | 224.1 | 2.604 | 155.4 | 2.526 | 222.5 | 14.25 | 971.583 | 17.3944 | -0.22539
2020-03-19 15:30:00 | 2.459 | 274.8 | 2.556 | 280.6 | 2.652 | 158.5 | 2.469 | 275.4 | 14.71 | 972.029 | 16.4054 | -0.14779
2020-03-19 15:45:00 | 2.193 | 303 | 2.118 | 317.9 | 2.169 | 157.6 | 2.084 | 297.8 | 15.13 | 972.474 | 16.7122 | -0.31406
2020-03-19 16:00:00 | 3.526 | 242.5 | 3.397 | 251.8 | 2.718 | 160.2 | 2.691 | 236.6 | 15.05 | 971.583 | 17.0862 | -0.2143
2020-03-19 16:15:00 | 5.047 | 205.2 | 5.826 | 213.7 | 5.221 | 159.9 | 5.037 | 218.8 | 15.37 | 971.287 | 14.9379 | -0.31776
2020-03-19 16:30:00 | 3.754 | 238.1 | 3.681 | 247.8 | 3.619 | 162.7 | 3.578 | 243 | 14.83 | 970.99 | 13.9154 | -0.2882
2020-03-19 16:45:00 | 1.105 | 165.1 | 1.317 | 215 | 1.343 | 161.8 | 1.17 | 155.9 | 15.63 | 971.287 | 14.188 | -0.25125
2020-03-19 17:00:00 | 2.043 | 155.8 | 2.134 | 175.7 | 2.047 | 160.5 | 1.904 | 166.9 | 15.7 | 971.287 | 14.6641 | -0.29928
2020-03-19 17:15:00 | 2.732 | 150.6 | 2.761 | 172.1 | 2.235 | 160.8 | 2.136 | 167.3 | 15.39 | 970.841 | 15.8922 | -0.28081
2020-03-19 17:30:00 | 4.757 | 164.1 | 4.757 | 180.2 | 4.196 | 158.3 | 4.105 | 172.1 | 15.01 | 970.099 | 17.1896 | 0.31776
2020-03-19 17:45:00 | 5.505 | 139.6 | 5.849 | 159.8 | 5.404 | 149.4 | 5.225 | 151.9 | 14.57 | 969.654 | 18.079 | 4.2232
2020-03-19 18:00:00 | 4.995 | 146.2 | 5.407 | 164.5 | 5.274 | 149.4 | 5.134 | 156.2 | 14.22 | 969.482 | 17.943 | 11.2656
2020-03-19 18:15:00 | 5.258 | 141.8 | 5.591 | 162.6 | 5.569 | 146.8 | 5.455 | 155.6 | 14.04 | 968.763 | 18.4216 | 14.7387
2020-03-19 18:30:00 | 7.285 | 173.3 | 6.583 | 194.5 | 5.893 | 187.9 | 5.974 | 178.7 | 13.93 | 968.614 | 20.3378 | 18.755
2020-03-19 18:45:00 | 5.411 | 171.9 | 5.312 | 188.4 | 4.977 | 184.4 | 4.96 | 176.8 | 13.58 | 968.587 | 20.818 | 23.5472
2020-03-19 19:00:00 | 6.373 | 171.7 | 6.335 | 197.6 | 6.017 | 192.2 | 6.043 | 174.2 | 13.48 | 968.613 | 20.1363 | 23.8946
2020-03-19 19:15:00 | 6.345 | 172.6 | 6.049 | 191.7 | 5.394 | 184.7 | 5.49 | 173.3 | 13.38 | 968.762 | 20.8869 | 29.4147
2020-03-19 19:30:00 | 5.98 | 159.6 | 6.148 | 173.7 | 5.592 | 155.6 | 5.602 | 164.8 | 13.17 | 968.613 | 21.6075 | 33.963
2020-03-19 19:45:00 | 5.893 | 173.4 | 5.724 | 184.7 | 5.404 | 165 | 5.419 | 178.2 | 13.08 | 968.613 | 19.389 | 41.8441
2020-03-19 20:00:00 | 6.715 | 160.2 | 6.562 | 174.1 | 5.659 | 146 | 5.684 | 169.4 | 13.22 | 968.465 | 20.8909 | 44.7335
2020-03-19 20:15:00 | 6.812 | 161.4 | 6.473 | 171.9 | 6.162 | 155.4 | 6.262 | 170.1 | 12.56 | 968.316 | 23.3487 | 44.8776
2020-03-19 20:30:00 | 7.091 | 152.1 | 7.439 | 168.9 | 8.43 | 166.3 | 8.49 | 160.2 | 12.51 | 968.019 | 23.69 | 50.5085
2020-03-19 20:45:00 | 7.155 | 154.4 | 7.383 | 174.2 | 8.5 | 147.6 | 8.63 | 157.2 | 12.54 | 968.019 | 23.7925 | 53.0063
2020-03-19 21:00:00 | 8.69 | 157.1 | 9.14 | 173.5 | 9.36 | 136.2 | 9.38 | 161.1 | 12.73 | 968.019 | 23.69 | 66.8989
2020-03-19 21:15:00 | 8.54 | 172.7 | 8.47 | 181.1 | 7.65 | 141.1 | 7.764 | 176.3 | 12.77 | 967.722 | 24.0314 | 73.1869
2020-03-19 21:30:00 | 10.39 | 159.6 | 10.42 | 170.9 | 9.11 | 140.5 | 8.99 | 166.7 | 12.49 | 967.871 | 23.69 | 72.6628
2020-03-19 21:45:00 | 9.85 | 164 | 9.86 | 178.9 | 9.47 | 170.1 | 9.42 | 168.7 | 12.41 | 967.871 | 24.5776 | 75.0223
2020-03-19 22:00:00 | 9.55 | 158.4 | 9.79 | 175.3 | 9.88 | 134.8 | 9.95 | 164.4 | 12.11 | 967.725 | 25.5334 | 75.2618
2020-03-19 22:15:00 | 10.51 | 154.3 | 10.93 | 171.3 | 11.02 | 142.6 | 10.96 | 160.3 | 11.69 | 967.746 | 27.8887 | 83.7769
2020-03-19 22:30:00 | 11.06 | 157.1 | 11.15 | 172 | 11.96 | 145.8 | 11.9 | 163.3 | 11.71 | 967.732 | 29.22 | 83.6382
2020-03-19 22:45:00 | 10.17 | 156.9 | 10.32 | 172.3 | 10.95 | 168 | 10.99 | 163.7 | 11.84 | 967.212 | 29.2883 | 81.0686
2020-03-19 23:00:00 | 11.11 | 153.8 | 11.39 | 170.1 | 12.21 | 155.9 | 12.13 | 158.4 | 11.77 | 967.189 | 30.2441 | 88.3548
2020-03-19 23:15:00 | 11.33 | 154.9 | 11.47 | 169.4 | 12.04 | 144.1 | 12.06 | 160.5 | 11.59 | 966.615 | 30.483 | 90.3611
2020-03-19 23:30:00 | 13.35 | 153.8 | 13.9 | 167.2 | 14.4 | 153 | 14.23 | 160.9 | 11.4 | 966.561 | 32.9749 | 89.9584
2020-03-19 23:45:00 | 12.78 | 157.1 | 12.94 | 169.9 | 13.21 | 149.2 | 13.2 | 163.8 | 11.36 | 966.7 | 32.5653 | 88.5691