## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-20 00:00:00 | 11.92 | 164 | 11.76 | 179.7 | 11.5 | 169.8 | 11.36 | 168.6 | 11.42 | 966.742 | 31.473 | 89.9473
2020-03-20 00:15:00 | 11.94 | 162.8 | 12.15 | 177.4 | 11.8 | 176.1 | 11.94 | 167.2 | 11.44 | 967.003 | 32.4288 | 89.1271
2020-03-20 00:30:00 | 12.4 | 162 | 12.49 | 174.6 | 12.31 | 163.5 | 12.28 | 167.5 | 11.19 | 966.6 | 31.0645 | 85.7167
2020-03-20 00:45:00 | 12.43 | 160.3 | 12.84 | 172.5 | 12.09 | 162.8 | 12.05 | 167.7 | 11.25 | 966.257 | 31.7473 | 86.509
2020-03-20 01:00:00 | 12.58 | 164.3 | 12.42 | 176.7 | 11.63 | 142.4 | 11.41 | 168.3 | 11.6 | 966.712 | 31.7807 | 89.5372
2020-03-20 01:15:00 | 11.86 | 157.8 | 11.88 | 174.3 | 12.46 | 123.7 | 12.52 | 162.6 | 11.53 | 965.947 | 31.473 | 90.2946
2020-03-20 01:30:00 | 12.18 | 155.4 | 12.64 | 174.1 | 12.65 | 112.8 | 12.62 | 158.7 | 11.31 | 965.527 | 31.9511 | 91.3329
2020-03-20 01:45:00 | 11.55 | 153.5 | 11.8 | 171.8 | 12.57 | 114.1 | 12.55 | 159.5 | 11.11 | 965.537 | 32.1561 | 92.2751
2020-03-20 02:00:00 | 13.1 | 149.5 | 13.88 | 166.2 | 14.68 | 115.7 | 14.51 | 155.6 | 10.76 | 965.078 | 34.2064 | 92.1901
2020-03-20 02:15:00 | 12.36 | 150.9 | 13.44 | 167.8 | 14.2 | 116.3 | 14.07 | 156.6 | 10.62 | 964.206 | 35.0637 | 91.2183
2020-03-20 02:30:00 | 12.07 | 151.1 | 12.9 | 169.1 | 14.01 | 117.2 | 13.98 | 155.8 | 10.42 | 964.397 | 35.3706 | 90.5717
2020-03-20 02:45:00 | 13.08 | 152.9 | 13.46 | 168.6 | 13.61 | 160.9 | 13.45 | 158.5 | 10.59 | 964.416 | 35.5753 | 90.6937
2020-03-20 03:00:00 | 12.24 | 150.7 | 13.03 | 166.7 | 13.92 | 156.8 | 13.93 | 157.3 | 10.45 | 964.45 | 36.1898 | 91.4585
2020-03-20 03:15:00 | 12.67 | 153.6 | 12.58 | 170.8 | 13.14 | 160.8 | 13.18 | 158 | 10.33 | 963.855 | 36.5996 | 91.0262
2020-03-20 03:30:00 | 12.4 | 150.5 | 12.83 | 167.9 | 14.12 | 153.1 | 14.14 | 156.6 | 10.19 | 963.389 | 36.4972 | 92.9586
2020-03-20 03:45:00 | 11.3 | 154.5 | 11.58 | 171.8 | 13.26 | 153.1 | 13.49 | 159.1 | 10.15 | 963.71 | 36.7372 | 91.3809
2020-03-20 04:00:00 | 12.07 | 155.7 | 12.06 | 174.6 | 12.44 | 155.8 | 12.43 | 159.2 | 10.11 | 963.562 | 37.3524 | 89.2822
2020-03-20 04:15:00 | 12.05 | 157.2 | 11.93 | 174.7 | 12.53 | 162 | 12.61 | 160 | 9.92 | 963.562 | 37.6264 | 91.9056
2020-03-20 04:30:00 | 12.3 | 153.9 | 12.66 | 171.2 | 13.41 | 162.8 | 13.33 | 159.7 | 9.8 | 963.562 | 38.038 | 91.1149
2020-03-20 04:45:00 | 13.54 | 151.3 | 13.93 | 166.7 | 14.63 | 187.3 | 14.59 | 157.5 | 9.7 | 962.968 | 38.2448 | 93.4907
2020-03-20 05:00:00 | 12.8 | 153 | 13.25 | 167.2 | 13.77 | 157.6 | 13.63 | 159.4 | 9.7 | 962.968 | 38.1765 | 92.1938
2020-03-20 05:15:00 | 13 | 149.8 | 14.14 | 165.8 | 15.05 | 159.4 | 14.98 | 156.7 | 9.59 | 962.671 | 38.518 | 91.61
2020-03-20 05:30:00 | 13.35 | 148.8 | 13.91 | 168 | 15.11 | 136.3 | 15.03 | 156.4 | 9.52 | 962.374 | 37.9034 | 91.8908
2020-03-20 05:45:00 | 13.24 | 151.8 | 14.23 | 166.5 | 14.58 | 127.3 | 14.5 | 157.4 | 9.53 | 962.077 | 36.4692 | 90.8969
2020-03-20 06:00:00 | 13.08 | 151.2 | 13.46 | 169.8 | 15.36 | 118.7 | 15.45 | 155.3 | 9.54 | 962.671 | 37.8351 | 91.4733
2020-03-20 06:15:00 | 12.48 | 150.8 | 13.28 | 168.4 | 14.41 | 119.7 | 14.5 | 155 | 9.59 | 962.077 | 37.9034 | 94.2666
2020-03-20 06:30:00 | 13.13 | 150.5 | 13.35 | 166.4 | 14.01 | 115.6 | 13.96 | 154.1 | 9.67 | 962.374 | 38.2448 | 92.53
2020-03-20 06:45:00 | 13.51 | 152.6 | 13.48 | 169.6 | 13.97 | 126.8 | 13.88 | 158 | 9.6 | 962.077 | 38.3814 | 93.5128
2020-03-20 07:00:00 | 13.94 | 151.9 | 14.16 | 168.2 | 15.17 | 129.2 | 15.14 | 157 | 9.59 | 962.671 | 38.3131 | 92.0497
2020-03-20 07:15:00 | 13.96 | 154 | 14.46 | 168.8 | 15.1 | 130.6 | 14.88 | 161 | 9.51 | 962.077 | 39.0625 | 92.6852
2020-03-20 07:30:00 | 13.18 | 152.9 | 13.59 | 169.3 | 14.59 | 123.8 | 14.42 | 157.9 | 9.41 | 962.671 | 39.6041 | 93.3022
2020-03-20 07:45:00 | 13.05 | 153.1 | 13.68 | 169.4 | 14.6 | 124.4 | 14.45 | 159 | 9.47 | 962.788 | 38.7163 | 91.3366
2020-03-20 08:00:00 | 13.81 | 152.1 | 14.23 | 167.6 | 15.13 | 137.8 | 14.96 | 157.8 | 9.71 | 962.469 | 38.8495 | 93.3392
2020-03-20 08:15:00 | 15.03 | 154.3 | 14.72 | 168.4 | 14.59 | 134.3 | 14.49 | 160.6 | 10.01 | 962.399 | 38.2318 | 91.4474
2020-03-20 08:30:00 | 14.34 | 155.2 | 14.27 | 170.4 | 13.88 | 132.4 | 13.75 | 162.1 | 10.61 | 962.992 | 36.525 | 91.6934
2020-03-20 08:45:00 | 14.12 | 152.8 | 14.58 | 168.3 | 15.32 | 127.3 | 15.25 | 157.7 | 11.07 | 963.417 | 35.774 | 92.3342
2020-03-20 09:00:00 | 15.04 | 150.4 | 15.21 | 166.3 | 14.99 | 128.6 | 14.68 | 157.3 | 11.38 | 963.417 | 35.3644 | 90.7602
2020-03-20 09:15:00 | 16 | 152.4 | 15.65 | 167.8 | 15.5 | 130 | 15.32 | 157.3 | 11.63 | 963.417 | 35.2254 | 90.8156
2020-03-20 09:30:00 | 13.72 | 155.9 | 13.3 | 171.1 | 13.01 | 128.3 | 12.85 | 162.1 | 11.99 | 964.159 | 35.5621 | 90.6456
2020-03-20 09:45:00 | 15.61 | 153.1 | 15.47 | 167.7 | 14.56 | 131 | 14.22 | 161.1 | 12.35 | 963.714 | 35.529 | 90.0803
2020-03-20 10:00:00 | 15.17 | 152.1 | 15.3 | 167.3 | 15.51 | 131.7 | 15.39 | 157.2 | 12.74 | 963.565 | 35.6298 | 89.9436
2020-03-20 10:15:00 | 15.37 | 152.1 | 15.27 | 169.5 | 15.05 | 133.2 | 14.79 | 156.2 | 13.13 | 963.171 | 35.7964 | 88.8695
2020-03-20 10:30:00 | 15.1 | 148.8 | 15.22 | 164.7 | 15.14 | 157 | 14.8 | 154 | 13.52 | 963.289 | 34.6699 | 86.2398
2020-03-20 10:45:00 | 13.6 | 152.8 | 13.58 | 168.3 | 13.11 | 162.5 | 12.94 | 157.8 | 14.48 | 963.271 | 30.6091 | 84.0614
2020-03-20 11:00:00 | 13 | 152.4 | 13.02 | 170.2 | 13.44 | 143.3 | 13.31 | 157.2 | 15.14 | 963.865 | 30.0939 | 87.6491
2020-03-20 11:15:00 | 12.33 | 155.3 | 12.29 | 172.1 | 11.94 | 160.1 | 11.83 | 158.7 | 15.61 | 964.161 | 30.3606 | 84.8464
2020-03-20 11:30:00 | 12.71 | 154 | 12.72 | 172.9 | 12.19 | 164.3 | 12.07 | 158 | 15.72 | 962.677 | 30.7692 | 85.75
2020-03-20 11:45:00 | 14.18 | 157.9 | 13.32 | 173.8 | 12.01 | 182.6 | 11.71 | 164.5 | 16.06 | 963.865 | 30.6328 | 83.0786
2020-03-20 12:00:00 | 14.19 | 157.8 | 13.2 | 173.1 | 12.31 | 181.8 | 12.18 | 163.2 | 16.32 | 963.408 | 30.4622 | 79.1214
2020-03-20 12:15:00 | 13.1 | 165.7 | 12.62 | 183.1 | 11.12 | 172.5 | 11.03 | 171.2 | 16.78 | 963.166 | 30.1211 | 65.2798
2020-03-20 12:30:00 | 11.52 | 157.2 | 11.49 | 174.3 | 10.45 | 191.5 | 10.4 | 164.5 | 17.48 | 963.051 | 29.8141 | 64.4418
2020-03-20 12:45:00 | 11.66 | 174.3 | 10.84 | 190.4 | 10.12 | 196.7 | 10.05 | 172.6 | 17.97 | 962.392 | 29.848 | 62.587
2020-03-20 13:00:00 | 12.49 | 170.9 | 11.5 | 189.9 | 10.49 | 195.3 | 10.38 | 171.5 | 17.92 | 962.532 | 30.0169 | 68.098
2020-03-20 13:15:00 | 12.43 | 177.1 | 11.62 | 193.9 | 10.55 | 199.9 | 10.54 | 175.6 | 18.1 | 962.68 | 31.4469 | 68.7126
2020-03-20 13:30:00 | 11.97 | 174.3 | 11.15 | 193.2 | 10.29 | 204.4 | 10.17 | 173.8 | 18.71 | 962.384 | 29.8092 | 75.1724
2020-03-20 13:45:00 | 11.93 | 181.7 | 11.03 | 198.7 | 9.84 | 203.9 | 9.96 | 179.4 | 19.14 | 962.532 | 29.8772 | 62.7496
2020-03-20 14:00:00 | 11.6 | 180.7 | 11.34 | 194.8 | 10.17 | 197.2 | 10.07 | 185.2 | 19.29 | 962.532 | 30.7979 | 54.9534
2020-03-20 14:15:00 | 10.27 | 182.9 | 9.79 | 200.5 | 8.84 | 188 | 8.73 | 183.3 | 19.64 | 962.829 | 30.487 | 43.6377
2020-03-20 14:30:00 | 10.63 | 177.1 | 10.04 | 193.8 | 9.3 | 179.3 | 9.25 | 180.5 | 20.03 | 962.795 | 29.7357 | 36.7452
2020-03-20 14:45:00 | 8.31 | 179.7 | 8.08 | 196.9 | 7.187 | 190 | 7.11 | 183 | 20.31 | 962.684 | 29.0537 | 33.5307
2020-03-20 15:00:00 | 9.89 | 178.3 | 9.66 | 193.7 | 9.2 | 182.6 | 9.15 | 181.2 | 20.45 | 962.683 | 28.4737 | 34.1145
2020-03-20 15:15:00 | 9.46 | 177.5 | 9.07 | 192.1 | 8.15 | 179.4 | 8.16 | 180.3 | 20.68 | 962.683 | 28.5752 | 27.0352
2020-03-20 15:30:00 | 7.944 | 173 | 7.933 | 190.5 | 7.731 | 186.4 | 7.767 | 176.6 | 20.93 | 962.535 | 28.777 | 27.2236
2020-03-20 15:45:00 | 7.303 | 175.3 | 7.286 | 191.7 | 7.187 | 150.2 | 7.204 | 177.7 | 21.04 | 962.98 | 28.776 | 25.269
2020-03-20 16:00:00 | 8.65 | 166.7 | 8.17 | 183 | 6.566 | 169.9 | 6.425 | 171 | 20.89 | 962.832 | 28.5714 | 34.8239
2020-03-20 16:15:00 | 7.405 | 180.1 | 6.854 | 197.8 | 6.035 | 162.3 | 5.913 | 181.2 | 20.96 | 962.683 | 29.492 | 33.479
2020-03-20 16:30:00 | 7.31 | 172.8 | 7.158 | 191 | 6.658 | 141.7 | 6.555 | 173.8 | 21.02 | 962.683 | 29.3897 | 35.7587
2020-03-20 16:45:00 | 6.235 | 163.4 | 5.744 | 187.7 | 5.661 | 185.8 | 5.587 | 165.8 | 20.94 | 962.832 | 29.4579 | 26.2999
2020-03-20 17:00:00 | 7.576 | 147.5 | 7.739 | 168.3 | 7.088 | 182.1 | 6.921 | 162.2 | 20.64 | 962.832 | 30.0716 | 27.4786
2020-03-20 17:15:00 | 6.516 | 148.5 | 6.647 | 170.6 | 6.594 | 174.1 | 6.547 | 160.8 | 20.58 | 962.535 | 30.2788 | 37.4805
2020-03-20 17:30:00 | 6.989 | 163.1 | 6.376 | 175.6 | 6.5 | 157.1 | 6.473 | 167.5 | 20.48 | 962.09 | 31.0997 | 41.3934
2020-03-20 17:45:00 | 7.446 | 152 | 7.613 | 170.8 | 7.19 | 162.8 | 7.133 | 159.5 | 20.28 | 961.793 | 33.3163 | 39.8822
2020-03-20 18:00:00 | 7.882 | 144.3 | 8.31 | 164.2 | 8.74 | 152 | 8.6 | 150.4 | 19.79 | 962.066 | 34.9894 | 44.497
2020-03-20 18:15:00 | 7.441 | 146.2 | 7.8 | 161.7 | 8.8 | 147 | 8.81 | 152.8 | 19.42 | 961.938 | 37.0395 | 49.6624
2020-03-20 18:30:00 | 7.43 | 145 | 8.44 | 161.7 | 9.1 | 148.9 | 9.05 | 150.3 | 19.04 | 961.493 | 37.7259 | 54.8611
2020-03-20 18:45:00 | 7.714 | 144.1 | 8.47 | 163.1 | 10.11 | 152.7 | 10.09 | 149.8 | 18.95 | 961.962 | 38.001 | 63.3154
2020-03-20 19:00:00 | 7.045 | 146 | 7.785 | 165.2 | 8.88 | 130 | 9.07 | 151 | 18.76 | 962.012 | 38.1375 | 61.2125
2020-03-20 19:15:00 | 7.568 | 145.5 | 7.918 | 162.9 | 9.22 | 149.6 | 9.39 | 148.7 | 18.94 | 962.083 | 37.2505 | 60.4994
2020-03-20 19:30:00 | 7.374 | 149.6 | 8.03 | 167.8 | 9.49 | 139.8 | 9.51 | 153.2 | 19.06 | 962.38 | 37.08 | 62.9474
2020-03-20 19:45:00 | 7.548 | 150.5 | 7.57 | 171.8 | 8.75 | 129.4 | 8.87 | 156.6 | 19 | 962.38 | 37.2505 | 61.5968
2020-03-20 20:00:00 | 7.967 | 147.1 | 8.16 | 168.1 | 9.3 | 149.2 | 9.2 | 153.7 | 18.98 | 962.38 | 36.5001 | 62.3357
2020-03-20 20:15:00 | 8.09 | 145.3 | 7.877 | 168.3 | 8.33 | 135.9 | 8.37 | 150.9 | 19.06 | 962.677 | 36.6365 | 61.2013
2020-03-20 20:30:00 | 7.001 | 146.7 | 7.115 | 164.7 | 7.996 | 143.4 | 8.08 | 153.3 | 18.95 | 962.529 | 36.4319 | 58.7554
2020-03-20 20:45:00 | 8.76 | 142.1 | 9.32 | 158.3 | 9.89 | 137 | 9.71 | 148 | 19.41 | 962.677 | 35.3403 | 64.5563
2020-03-20 21:00:00 | 8.99 | 139.3 | 9.24 | 152.7 | 9.58 | 140.1 | 9.56 | 144.6 | 19.56 | 962.974 | 35.8178 | 65.7202
2020-03-20 21:15:00 | 7.635 | 139.5 | 8.21 | 156.9 | 8.87 | 143.4 | 8.83 | 144.7 | 19.23 | 963.259 | 36.4319 | 72.0643
2020-03-20 21:30:00 | 9.24 | 138.1 | 9.54 | 155.7 | 10.15 | 146.3 | 10.17 | 143.3 | 19.31 | 963.419 | 37.5234 | 68.7943
2020-03-20 21:45:00 | 8.22 | 136.5 | 8.49 | 152.7 | 8.5 | 141.2 | 8.39 | 142.8 | 19.41 | 963.564 | 39.0244 | 62.6129
2020-03-20 22:00:00 | 7.714 | 135.6 | 7.961 | 151.4 | 8.64 | 142.4 | 8.6 | 140.1 | 19.44 | 963.541 | 40.0478 | 58.5522
2020-03-20 22:15:00 | 7.752 | 139.6 | 7.828 | 156.9 | 8.06 | 146.1 | 8 | 145.8 | 19.31 | 963.561 | 40.5935 | 60.6547
2020-03-20 22:30:00 | 10.28 | 138.3 | 10.37 | 153.4 | 10.62 | 136.9 | 10.54 | 144 | 19.37 | 963.418 | 41.8898 | 66.0269
2020-03-20 22:45:00 | 7.969 | 138.7 | 8.38 | 155.5 | 8.82 | 131.2 | 8.9 | 141.2 | 18.97 | 963.411 | 44.2777 | 67.6748
2020-03-20 23:00:00 | 9.26 | 139.4 | 9.71 | 153.4 | 9.78 | 116.1 | 9.79 | 145.9 | 18.9 | 963.271 | 45.4375 | 65.905
2020-03-20 23:15:00 | 8.28 | 136.8 | 8.68 | 154.9 | 9.11 | 140.2 | 9.08 | 144.8 | 18.81 | 962.968 | 46.2562 | 67.5418
2020-03-20 23:30:00 | 9.54 | 140.5 | 10.17 | 157.2 | 10.9 | 144 | 10.92 | 146.4 | 18.71 | 963.271 | 47.7571 | 63.5201
2020-03-20 23:45:00 | 9.21 | 144.3 | 9.63 | 161.4 | 10.32 | 137.8 | 10.2 | 148.9 | 18.53 | 963.271 | 47.7571 | 68.3362