## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-21 00:00:00 | 9.12 | 141.7 | 9.27 | 158.9 | 9.98 | 131.6 | 9.93 | 147.7 | 18.42 | 962.677 | 48.7805 | 69.7993
2020-03-21 00:15:00 | 8.75 | 143.9 | 9.22 | 161.3 | 9.97 | 129.6 | 9.87 | 148.9 | 18.18 | 962.825 | 50.2132 | 69.2008
2020-03-21 00:30:00 | 8.94 | 145.2 | 9.12 | 161.9 | 9.82 | 147.2 | 9.8 | 149.4 | 17.97 | 962.677 | 51.1683 | 68.0406
2020-03-21 00:45:00 | 9.84 | 144.1 | 10.49 | 159.1 | 11.39 | 144 | 11.36 | 148.4 | 18.03 | 962.529 | 51.7149 | 74.525
2020-03-21 01:00:00 | 9.86 | 142.8 | 10.73 | 159.3 | 11.4 | 147.6 | 11.27 | 149.9 | 17.98 | 962.083 | 51.6466 | 79.9417
2020-03-21 01:15:00 | 11.37 | 143.4 | 11.54 | 158 | 11.64 | 144.2 | 11.57 | 150 | 17.95 | 962.083 | 52.0226 | 76.6643
2020-03-21 01:30:00 | 10.79 | 143.7 | 11.17 | 159.6 | 11.48 | 145.3 | 11.31 | 149.3 | 17.82 | 962.083 | 51.9202 | 73.8452
2020-03-21 01:45:00 | 9.95 | 141 | 10.27 | 156.7 | 10.56 | 135.5 | 10.44 | 147.8 | 17.72 | 961.935 | 52.7398 | 60.9391
2020-03-21 02:00:00 | 10.72 | 140.3 | 11.22 | 156.3 | 11.51 | 140.7 | 11.32 | 146.5 | 17.77 | 961.786 | 52.057 | 62.6904
2020-03-21 02:15:00 | 10.37 | 145.1 | 10.62 | 162.5 | 11.71 | 136.6 | 11.54 | 150.9 | 17.48 | 961.638 | 52.9442 | 59.6073
2020-03-21 02:30:00 | 12.3 | 148.5 | 12.56 | 162.6 | 12.87 | 144.9 | 12.75 | 156.1 | 17.3 | 961.786 | 53.9016 | 58.0165
2020-03-21 02:45:00 | 10.35 | 153.2 | 10.77 | 167.5 | 11.1 | 156.3 | 10.98 | 160.2 | 16.98 | 961.49 | 55.2033 | 67.7191
2020-03-21 03:00:00 | 10.31 | 154.7 | 10.35 | 172 | 10.1 | 160.3 | 10.13 | 159.1 | 16.82 | 961.044 | 54.1844 | 60.8853
2020-03-21 03:15:00 | 11.66 | 155.1 | 11.31 | 172.8 | 11.23 | 163.1 | 11.06 | 160 | 17.25 | 960.896 | 55.9622 | 57.3736
2020-03-21 03:30:00 | 11.73 | 157.1 | 12.1 | 170.2 | 11.96 | 155 | 11.81 | 165.4 | 16.7 | 961.49 | 56.645 | 57.3773
2020-03-21 03:45:00 | 10.37 | 155.3 | 10.75 | 171.1 | 10.72 | 158.5 | 10.63 | 160.6 | 16.4 | 960.896 | 56.4408 | 50.6305
2020-03-21 04:00:00 | 9.73 | 165.5 | 9.45 | 179.1 | 9.15 | 164.8 | 9.22 | 171.4 | 16.63 | 961.193 | 55.1783 | 39.0508
2020-03-21 04:15:00 | 7.461 | 172.4 | 7.526 | 187.8 | 7.622 | 177.3 | 7.864 | 180.6 | 17.1 | 961.49 | 50.9128 | 33.4679
2020-03-21 04:30:00 | 7.341 | 161.4 | 7.672 | 171.6 | 7.126 | 156.6 | 7.054 | 174.1 | 16.69 | 961.49 | 56.5091 | 24.5707
2020-03-21 04:45:00 | 6.897 | 172 | 7.631 | 181.3 | 7.408 | 169 | 7.421 | 183.4 | 16.1 | 961.49 | 57.2598 | 24.8183
2020-03-21 05:00:00 | 6.807 | 162 | 7.301 | 174.2 | 6.691 | 149.2 | 6.672 | 174.1 | 16.06 | 961.49 | 58.7613 | 21.1271
2020-03-21 05:15:00 | 6.228 | 156.8 | 6.688 | 168.9 | 6.132 | 146.6 | 6.056 | 168.4 | 16.2 | 961.49 | 54.4617 | 16.8263
2020-03-21 05:30:00 | 5.63 | 166.4 | 6.182 | 175.9 | 5.603 | 158.4 | 5.638 | 181.9 | 15.9 | 961.521 | 56.3726 | 17.1699
2020-03-21 05:45:00 | 4.877 | 160.4 | 5.803 | 173.2 | 6.053 | 149.8 | 6.081 | 175.7 | 15.66 | 962.028 | 58.3859 | 17.6244
2020-03-21 06:00:00 | 5.975 | 156.4 | 6.721 | 170.7 | 6.607 | 157.2 | 6.43 | 165.6 | 15.47 | 962.312 | 60.4684 | 23.5842
2020-03-21 06:15:00 | 6.039 | 160.3 | 6.644 | 169.3 | 6.004 | 156.3 | 5.824 | 171.9 | 15.51 | 962.065 | 62.721 | 21.4523
2020-03-21 06:30:00 | 7.257 | 158.4 | 7.7 | 167.8 | 7.042 | 155.9 | 6.898 | 171.2 | 14.89 | 962.08 | 63.6136 | 23.0743
2020-03-21 06:45:00 | 7.451 | 164.6 | 7.37 | 180 | 6.78 | 165.7 | 6.786 | 170.6 | 14.47 | 961.783 | 65.7678 | 37.4953
2020-03-21 07:00:00 | 7.964 | 158.2 | 8.11 | 176.1 | 7.851 | 163.4 | 7.785 | 162.8 | 14.12 | 962.228 | 67.44 | 32.7659
2020-03-21 07:15:00 | 7.624 | 156.8 | 7.442 | 171.5 | 7.296 | 158.9 | 7.146 | 164 | 14.16 | 962.674 | 68.6676 | 32.8287
2020-03-21 07:30:00 | 6.917 | 163.8 | 7.537 | 178.8 | 7.528 | 173.1 | 7.377 | 171.3 | 14.37 | 962.971 | 67.4995 | 31.4986
2020-03-21 07:45:00 | 7.617 | 165.9 | 7.856 | 179.2 | 6.945 | 170.1 | 6.746 | 175.4 | 14.54 | 963.359 | 64.8013 | 29.2817
2020-03-21 08:00:00 | 6.123 | 165.6 | 6.509 | 180.2 | 5.831 | 177.5 | 5.64 | 175.2 | 15.12 | 963.568 | 61.3547 | 22.4942
2020-03-21 08:15:00 | 6.187 | 164.9 | 6.34 | 173.6 | 5.725 | 162.7 | 5.704 | 181.5 | 15.66 | 963.865 | 58.7519 | 21.1936
2020-03-21 08:30:00 | 6.567 | 169.4 | 6.44 | 175.5 | 5.191 | 158.5 | 5.055 | 182.2 | 15.94 | 964.161 | 58.6052 | 19.0987
2020-03-21 08:45:00 | 6.603 | 169.8 | 6.153 | 172.9 | 4.773 | 157.3 | 4.652 | 187.5 | 16.19 | 964.583 | 53.3515 | 16.1945
2020-03-21 09:00:00 | 6.113 | 171.7 | 5.573 | 179.1 | 4.517 | 158.9 | 4.387 | 189.1 | 16.92 | 964.762 | 50.2129 | 10.8518
2020-03-21 09:15:00 | 5.03 | 182.6 | 4.765 | 189.6 | 4.288 | 170.8 | 4.337 | 197.9 | 18 | 965.203 | 48.6359 | 11.2102
2020-03-21 09:30:00 | 5.411 | 166.3 | 5.028 | 171.6 | 4.171 | 151.4 | 4.118 | 181.3 | 18.08 | 965.229 | 50.6747 | 10.4084
2020-03-21 09:45:00 | 4.997 | 159.8 | 4.732 | 172.3 | 4.071 | 159.1 | 3.86 | 172.7 | 18.21 | 965.651 | 49.8892 | 8.7198
2020-03-21 10:00:00 | 4.826 | 162.1 | 4.571 | 171.7 | 3.733 | 153.2 | 3.55 | 169.6 | 18.46 | 966.095 | 47.9404 | 4.9141
2020-03-21 10:15:00 | 2.942 | 157.8 | 2.441 | 169.3 | 1.65 | 146.8 | 1.419 | 152.4 | 19.41 | 966.243 | 41.9361 | 2.1541
2020-03-21 10:30:00 | 1.927 | 140.1 | 1.816 | 142.3 | 0.941 | 117.2 | 0.603 | 135.2 | 20.11 | 966.54 | 38.7592 | 1.0974
2020-03-21 10:45:00 | 1.2 | 181.2 | 1.339 | 199 | 0.521 | 118 | 0.269 | 180.9 | 20.99 | 966.941 | 38.5147 | -0.26972
2020-03-21 11:00:00 | 2.303 | 173.4 | 1.9 | 202.9 | 1.605 | 121.9 | 1.395 | 166 | 22.05 | 966.839 | 35.651 | -0.22539
2020-03-21 11:15:00 | 4.078 | 204.2 | 3.671 | 213 | 2.861 | 125.4 | 2.648 | 207.5 | 21.33 | 966.542 | 42.7041 | -0.096066
2020-03-21 11:30:00 | 4.157 | 198.2 | 3.523 | 212.8 | 3.143 | 127 | 3.099 | 202.7 | 21.01 | 966.245 | 38.1049 | -0.22539
2020-03-21 11:45:00 | 4.103 | 186.6 | 3.998 | 204.7 | 3.237 | 127.5 | 3.015 | 197.3 | 21.66 | 966.839 | 37.287 | -0.32145
2020-03-21 12:00:00 | 3.268 | 197.9 | 2.917 | 206.5 | 2.05 | 127.4 | 1.798 | 199.2 | 22.24 | 966.987 | 34.5262 | -0.28081
2020-03-21 12:15:00 | 2.807 | 261.6 | 2.925 | 270.9 | 2.633 | 222 | 2.39 | 269.7 | 22.93 | 966.987 | 35.7186 | -0.26972
2020-03-21 12:30:00 | 2.538 | 245.9 | 2.115 | 258.6 | 1.463 | 256.6 | 1.125 | 247.9 | 21.91 | 966.839 | 37.0793 | -0.29928
2020-03-21 12:45:00 | 3.028 | 300.9 | 3.336 | 312.9 | 3.136 | 312.1 | 2.956 | 302.6 | 21.9 | 966.987 | 39.2637 | -0.29928
2020-03-21 13:00:00 | 3.659 | 298.5 | 3.494 | 309.4 | 2.657 | 302.1 | 2.452 | 298 | 21.83 | 966.542 | 39.1956 | -0.073897
2020-03-21 13:15:00 | 3.56 | 300.3 | 4.029 | 315.6 | 3.855 | 307.7 | 3.776 | 299.7 | 21.59 | 966.769 | 41.584 | 4.1678
2020-03-21 13:30:00 | 4.303 | 303.8 | 5.085 | 315.5 | 4.623 | 306.9 | 4.566 | 306.2 | 21.23 | 966.688 | 43.4293 | 7.1348
2020-03-21 13:45:00 | 5.122 | 303.5 | 5.665 | 316 | 4.613 | 304 | 4.428 | 306 | 20.78 | 966.391 | 49.7707 | 11.2878
2020-03-21 14:00:00 | 4.4 | 345.1 | 4.19 | 359.8 | 4.252 | 337.3 | 4.242 | 339.2 | 20.89 | 966.095 | 46.7769 | 21.3451
2020-03-21 14:15:00 | 2.5 | 10.97 | 4.289 | 36.05 | 4.501 | 16.3 | 4.522 | 356.2 | 21.04 | 965.947 | 47.2554 | 24.5522
2020-03-21 14:30:00 | 3.416 | 16.71 | 5.839 | 33.37 | 5.246 | 16.91 | 5.195 | 5.305 | 20.2 | 965.947 | 51.6877 | 30.9074
2020-03-21 14:45:00 | 4.645 | 356.9 | 5.775 | 22.07 | 5.267 | 357.2 | 5.376 | 345.6 | 19.66 | 965.501 | 54.5506 | 38.5483
2020-03-21 15:00:00 | 7.249 | 5.746 | 8.26 | 27.12 | 7.675 | 358.8 | 7.861 | 2.858 | 19.39 | 965.205 | 58.068 | 45.7385
2020-03-21 15:15:00 | 6.422 | 353 | 7.214 | 21.98 | 7.658 | 28.31 | 7.884 | 348.6 | 19.18 | 965.205 | 59.676 | 48.1792
2020-03-21 15:30:00 | 5.881 | 0.225 | 7.069 | 22.09 | 7.253 | 49.39 | 7.515 | 354.7 | 18.84 | 965.537 | 59.9501 | 51.9274
2020-03-21 15:45:00 | 7.328 | 1.303 | 7.411 | 21.43 | 7.345 | 21.1 | 7.525 | 358.8 | 18.55 | 965.351 | 54.5019 | 51.9126
2020-03-21 16:00:00 | 6.912 | 358.7 | 8.43 | 24.21 | 10.04 | 20.19 | 10.38 | 355.2 | 18.45 | 965.203 | 56.9577 | 58.5153
2020-03-21 16:15:00 | 8.6 | 359.6 | 9.33 | 20.98 | 10.45 | 17.11 | 10.83 | 356.9 | 18.18 | 965.054 | 59.6258 | 61.7672
2020-03-21 16:30:00 | 8.46 | 2.701 | 8.44 | 20 | 9.75 | 14.87 | 10.33 | 2.137 | 17.62 | 965.095 | 59.4917 | 57.8576
2020-03-21 16:45:00 | 8.46 | 1.467 | 9.41 | 23.59 | 10.1 | 29.36 | 10.64 | 4.259 | 17.45 | 965.034 | 58.4001 | 65.6463
2020-03-21 17:00:00 | 10.2 | 5.274 | 9.87 | 21.39 | 9.99 | 11.54 | 10.19 | 5.196 | 16.89 | 964.903 | 57.5814 | 72.2445
2020-03-21 17:15:00 | 10.54 | 6.8 | 9.94 | 19.45 | 10.37 | 12.51 | 10.77 | 4.631 | 16.36 | 964.607 | 59.9011 | 70.7489
2020-03-21 17:30:00 | 10.65 | 5.28 | 10.01 | 18.72 | 9.96 | 10.6 | 9.86 | 7.537 | 15.73 | 964.755 | 61.0623 | 60.5282
2020-03-21 17:45:00 | 9.24 | 6.808 | 9.68 | 22.1 | 9.01 | 10.09 | 8.66 | 9.47 | 15.28 | 964.903 | 62.3037 | 58.9253
2020-03-21 18:00:00 | 8.66 | 9.47 | 10.75 | 25.5 | 9.45 | 11.33 | 9.01 | 14.11 | 14.87 | 964.903 | 62.6514 | 44.0716
2020-03-21 18:15:00 | 7.709 | 8.63 | 9.33 | 24.37 | 8.74 | 11.23 | 8.32 | 14.86 | 14.72 | 964.903 | 62.4125 | 43.0413
2020-03-21 18:30:00 | 8.37 | 6.83 | 8.84 | 20.29 | 8.55 | 8.8 | 8.21 | 10.57 | 14.37 | 965.201 | 63.2656 | 45.8493
2020-03-21 18:45:00 | 8.08 | 6.156 | 7.621 | 17.87 | 7.652 | 9.48 | 7.645 | 7.978 | 13.82 | 965.346 | 63.8209 | 41.2323
2020-03-21 19:00:00 | 8.66 | 6.793 | 8.78 | 17.91 | 8.63 | 8.63 | 8.58 | 8.05 | 13.39 | 965.05 | 64.9147 | 37.366
2020-03-21 19:15:00 | 8.16 | 6.029 | 8.86 | 23.15 | 7.772 | 10.38 | 7.721 | 11.34 | 13.21 | 965.347 | 63.3425 | 35.7891
2020-03-21 19:30:00 | 6.644 | 10.94 | 9.45 | 25.5 | 9.08 | 13.38 | 8.22 | 17.02 | 13.07 | 965.347 | 62.7333 | 37.6357
2020-03-21 19:45:00 | 6.325 | 19.13 | 9.65 | 31.3 | 9.4 | 16.55 | 9.36 | 26.63 | 12.81 | 965.644 | 62.3991 | 32.8028
2020-03-21 20:00:00 | 6.672 | 13.29 | 9.77 | 25.95 | 9.25 | 11.74 | 8.7 | 20.58 | 12.79 | 965.644 | 62.6728 | 31.2584
2020-03-21 20:15:00 | 4.744 | 20.74 | 8.24 | 29.66 | 8.35 | 47.52 | 8.27 | 29.31 | 12.87 | 965.941 | 59.5323 | 31.868
2020-03-21 20:30:00 | 5.362 | 14.46 | 8.49 | 27.08 | 9.09 | 52.07 | 8.85 | 24.53 | 12.94 | 965.941 | 60.5564 | 32.5442
2020-03-21 20:45:00 | 5.771 | 16.98 | 8.86 | 27.28 | 9.09 | 46.92 | 8.95 | 26.1 | 13.01 | 966.238 | 58.3035 | 28.5538
2020-03-21 21:00:00 | 6.235 | 14.38 | 8.39 | 24.48 | 8.8 | 37.13 | 8.52 | 24.15 | 12.81 | 966.534 | 62.0584 | 21.4338
2020-03-21 21:15:00 | 4.793 | 12.27 | 6.522 | 22.92 | 7.258 | 24.56 | 7.021 | 22.75 | 12.1 | 966.683 | 60.1809 | 15.0159
2020-03-21 21:30:00 | 3.473 | 21.07 | 5.755 | 32.12 | 6.177 | 21.87 | 6.241 | 31.16 | 12.62 | 967.277 | 57.8938 | 9.0191
2020-03-21 21:45:00 | 3.33 | 12.67 | 4.934 | 22.74 | 5.88 | 12.16 | 5.722 | 23.74 | 12.41 | 967.425 | 59.5665 | 7.2973
2020-03-21 22:00:00 | 3.6 | 18.48 | 5.553 | 28.16 | 7.378 | 20.85 | 7.418 | 27.73 | 11.75 | 967.425 | 50.3499 | 11.9048
2020-03-21 22:15:00 | 4.73 | 25.52 | 7.526 | 39.15 | 8.38 | 32.74 | 8.34 | 32.95 | 12.93 | 967.722 | 49.1551 | 12.7731
2020-03-21 22:30:00 | 4.162 | 26.12 | 6.468 | 37.46 | 7.541 | 32.85 | 7.563 | 34.68 | 13.29 | 968.316 | 44.5127 | 10.0685
2020-03-21 22:45:00 | 4.877 | 13.67 | 5.79 | 24 | 7.256 | 10.89 | 7.14 | 25.32 | 12.68 | 968.465 | 52.7052 | 11.6757
2020-03-21 23:00:00 | 3.943 | 9.13 | 4.77 | 14.39 | 5.773 | 7.094 | 5.712 | 16.71 | 11.07 | 968.316 | 62.3315 | 8.6312
2020-03-21 23:15:00 | 2.839 | 8.9 | 3.41 | 19.06 | 5.47 | 6.245 | 5.483 | 21.23 | 10.37 | 968.171 | 64.243 | 6.5657
2020-03-21 23:30:00 | 1.128 | 349.6 | 2.533 | 12.14 | 3.459 | 8.78 | 3.338 | 3.055 | 9.73 | 968.366 | 69.0562 | 6.7542
2020-03-21 23:45:00 | 2.354 | 3.732 | 2.646 | 10.91 | 2.782 | 345.7 | 2.602 | 15.33 | 8.81 | 967.93 | 70.811 | 7.8663