## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-22 00:00:00 | 3.365 | 346.1 | 4.164 | 356 | 4.234 | 339.7 | 4.095 | 352.4 | 8.25 | 968.314 | 71.6007 | 10.4121
2020-03-22 00:15:00 | 3.731 | 12.48 | 4.512 | 4.557 | 4.74 | 351.6 | 4.326 | 4.636 | 7.566 | 968.166 | 70.9237 | 12.6733
2020-03-22 00:30:00 | 4.318 | 350.5 | 4.364 | 10.29 | 5.417 | 358.9 | 5.355 | 354.5 | 7.326 | 968.139 | 70.3432 | 15.5147
2020-03-22 00:45:00 | 2.937 | 349 | 3.328 | 14.01 | 4.654 | 352.2 | 4.813 | 354 | 7.086 | 968.313 | 68.0895 | 16.2019
2020-03-22 01:00:00 | 3.812 | 353.1 | 3.921 | 16.03 | 4.779 | 358.2 | 4.792 | 359 | 6.809 | 968.314 | 68.2685 | 17.3104
2020-03-22 01:15:00 | 4.336 | 2.886 | 4.998 | 10.12 | 5.137 | 5.479 | 4.861 | 6.569 | 6.407 | 968.314 | 68.0434 | 20.2367
2020-03-22 01:30:00 | 3.459 | 6.016 | 4.504 | 23.17 | 4.562 | 3.812 | 4.497 | 8.44 | 6.162 | 968.017 | 68.5226 | 17.8239
2020-03-22 01:45:00 | 4.566 | 7.997 | 5.593 | 8.98 | 4.972 | 356.2 | 4.421 | 11.63 | 5.86 | 967.719 | 68.7959 | 21.9622
2020-03-22 02:00:00 | 5.623 | 8.43 | 5.934 | 14.59 | 5.699 | 7.443 | 5.162 | 7.889 | 5.544 | 967.422 | 69.5474 | 22.4757
2020-03-22 02:15:00 | 4.41 | 9.92 | 5.184 | 18.52 | 5.666 | 29.29 | 5.286 | 12.27 | 5.285 | 967.571 | 70.743 | 17.1626
2020-03-22 02:30:00 | 4.341 | 10.18 | 4.906 | 17.71 | 5.165 | 15.81 | 4.894 | 10.33 | 5.102 | 967.719 | 70.9137 | 15.1784
2020-03-22 02:45:00 | 4.486 | 6.535 | 4.727 | 20.01 | 4.593 | 22.64 | 4.367 | 10.61 | 5.036 | 967.719 | 71.6652 | 12.5773
2020-03-22 03:00:00 | 4.254 | 4.556 | 4.236 | 18.06 | 4.608 | 22.31 | 4.66 | 6.384 | 4.818 | 968.1 | 72.2801 | 13.2239
2020-03-22 03:15:00 | 3.028 | 9 | 4.177 | 17.7 | 4.715 | 18.41 | 4.78 | 8.3 | 4.618 | 968.205 | 73.7838 | 17.9089
2020-03-22 03:30:00 | 4.267 | 8.51 | 4.959 | 11.42 | 4.468 | 1.659 | 3.967 | 11.93 | 4.391 | 968.271 | 76.8028 | 20.9313
2020-03-22 03:45:00 | 4.563 | 15.35 | 5.003 | 9.14 | 4.628 | 7.637 | 4.311 | 8.29 | 3.905 | 968.311 | 77.3545 | 17.6688
2020-03-22 04:00:00 | 1.93 | 11.51 | 3.898 | 19.39 | 4.138 | 8.27 | 3.924 | 12.84 | 3.671 | 968.61 | 77.2216 | 16.2019
2020-03-22 04:15:00 | 3.784 | 9.49 | 3.983 | 19.27 | 4.565 | 15.58 | 4.683 | 13.49 | 3.925 | 968.758 | 75.51 | 16.08
2020-03-22 04:30:00 | 4.928 | 9.33 | 5.668 | 22.9 | 5.714 | 6.242 | 5.732 | 17.09 | 3.832 | 968.907 | 73.934 | 14.7535
2020-03-22 04:45:00 | 4.157 | 16.37 | 5.412 | 30.12 | 5.686 | 0.496 | 5.803 | 22.01 | 3.913 | 969.175 | 74.4147 | 12.3038
2020-03-22 05:00:00 | 4.652 | 21.63 | 5.195 | 38.22 | 5.948 | 0.747 | 6.341 | 21.99 | 3.999 | 969.5 | 74.8272 | 11.8272
2020-03-22 05:15:00 | 5.339 | 15.28 | 5.905 | 34.01 | 5.13 | 0.957 | 5.536 | 13.53 | 4.081 | 969.65 | 75.3691 | 14.8718
2020-03-22 05:30:00 | 4.966 | 15.87 | 5.918 | 36.87 | 6.411 | 1.071 | 6.425 | 17.87 | 3.967 | 969.771 | 72.3647 | 13.0096
2020-03-22 05:45:00 | 5.069 | 13.91 | 6.729 | 36.58 | 7.352 | 0.953 | 7.138 | 20.19 | 4.537 | 970.393 | 56.8881 | 9.5105
2020-03-22 06:00:00 | 4.098 | 17.41 | 6.675 | 38.16 | 7.123 | 1.1 | 6.952 | 21.69 | 5.838 | 970.691 | 61.7755 | 4.5373
2020-03-22 06:15:00 | 4.305 | 35.02 | 5.404 | 49.86 | 5.811 | 0.981 | 5.806 | 36.33 | 6.621 | 971 | 52.8797 | 3.1591
2020-03-22 06:30:00 | 3.999 | 46.71 | 4.213 | 70.22 | 4.534 | 0.937 | 4.553 | 49.1 | 7.395 | 971.584 | 46.661 | 1.5888
2020-03-22 06:45:00 | 4.029 | 43.77 | 4.106 | 55.4 | 4.117 | 1.01 | 4.031 | 58.01 | 9.14 | 972.029 | 43.3817 | 0.2143
2020-03-22 07:00:00 | 3.018 | 69.28 | 2.797 | 67.4 | 2.327 | 0.744 | 2.174 | 89.3 | 9.97 | 972.772 | 41.3267 | -0.21061
2020-03-22 07:15:00 | 2.324 | 78.96 | 2.234 | 64.96 | 1.477 | 0.469 | 1.211 | 83.8 | 10.06 | 972.882 | 36.8107 | -0.26972
2020-03-22 07:30:00 | 1.319 | 105.1 | 0.68 | 65.03 | 0.1 | 0.063 | 0.018 | 83.9 | 11.66 | 973.342 | 38.445 | -0.25125
2020-03-22 07:45:00 | 1.639 | 88.4 | 0.975 | 65.15 | 0.252 | 0.104 | 0.009 | 84.1 | 11.1 | 973.666 | 39.7338 | -0.26972
2020-03-22 08:00:00 | 0.233 | 126.9 | 0 | 64.98 | 0 | 0.049 | 0 | 84.1 | 12.15 | 974.256 | 41.9798 | -0.25125
2020-03-22 08:15:00 | 0.019 | 127.1 | 0 | 64.91 | 0.006 | 0.049 | 0 | 84.1 | 12.62 | 974.27 | 42.2114 | -0.26972
2020-03-22 08:30:00 | 0.535 | 157.1 | 0.252 | 64.83 | 0 | 1.526 | 0 | 84.1 | 13 | 974.552 | 49.4633 | -0.28081
2020-03-22 08:45:00 | 1.246 | 215.7 | 0.483 | 64.11 | 0.171 | 0.049 | 0 | 84.1 | 11.13 | 974.299 | 56.4558 | -0.28081
2020-03-22 09:00:00 | 0.985 | 215.7 | 0.494 | 64.3 | 0 | 359.7 | 0 | 84.1 | 10.55 | 974.7 | 50.2809 | -0.26233
2020-03-22 09:15:00 | 1.411 | 246.3 | 0.96 | 64.16 | 0.236 | 359.9 | 0 | 82.7 | 10.16 | 974.848 | 49.5308 | -0.25125
2020-03-22 09:30:00 | 1.289 | 342.7 | 0.449 | 64.13 | 0 | 0.764 | 0 | 82.4 | 11.3 | 975.293 | 44.2709 | -0.25125
2020-03-22 09:45:00 | 1.148 | 349.6 | 1.482 | 64.05 | 0.746 | 354 | 0.353 | 336.8 | 12.25 | 975.441 | 48.704 | -0.25125
2020-03-22 10:00:00 | 2.03 | 19.94 | 1.96 | 63.96 | 0.879 | 343 | 0.372 | 28.04 | 11.6 | 975.59 | 52.6588 | -0.25125
2020-03-22 10:15:00 | 1.375 | 18.34 | 1.567 | 62.96 | 0.953 | 349.3 | 0.617 | 9.46 | 12.42 | 976.183 | 47.3051 | -0.24016
2020-03-22 10:30:00 | 2.22 | 350.9 | 2.358 | 337.8 | 1.531 | 307 | 1.13 | 355.2 | 13.38 | 976.084 | 45.0825 | -0.26972
2020-03-22 10:45:00 | 2.776 | 284.6 | 2.261 | 313.9 | 0.738 | 293.2 | 0.322 | 215.2 | 12.54 | 975.907 | 45.8653 | -0.24016
2020-03-22 11:00:00 | 3.154 | 297.5 | 2.676 | 309.4 | 1.859 | 290 | 1.683 | 286.6 | 13.15 | 975.906 | 44.74 | -0.26972
2020-03-22 11:15:00 | 3.21 | 292 | 3.085 | 304.2 | 2.535 | 286.3 | 2.404 | 292 | 13.14 | 975.889 | 44.058 | -0.26972
2020-03-22 11:30:00 | 3.593 | 296.5 | 3.643 | 306.6 | 3.08 | 288.9 | 2.819 | 302.8 | 13.47 | 975.933 | 46.0358 | -0.22539
2020-03-22 11:45:00 | 3.726 | 302.8 | 3.576 | 311.1 | 3.019 | 298.9 | 2.862 | 308.9 | 13.72 | 976.222 | 44.6036 | 0.45077
2020-03-22 12:00:00 | 3.217 | 301.8 | 3.528 | 313.9 | 3.335 | 294 | 3.272 | 301.1 | 13.9 | 975.938 | 43.9898 | 0.67616
2020-03-22 12:15:00 | 3.83 | 309.9 | 3.993 | 321.9 | 3.675 | 300.7 | 3.565 | 311.9 | 14.55 | 975.973 | 42.9668 | 1.1084
2020-03-22 12:30:00 | 3.96 | 307.2 | 4.228 | 317.3 | 3.919 | 296 | 3.779 | 307.2 | 14.64 | 975.823 | 40.7843 | 1.5851
2020-03-22 12:45:00 | 4.384 | 303.2 | 4.538 | 311 | 4.005 | 288.3 | 4.005 | 303.6 | 15.11 | 975.736 | 38.1972 | 2.0876
2020-03-22 13:00:00 | 3.44 | 315.2 | 4.377 | 317.3 | 4.155 | 301.2 | 4.176 | 322.4 | 16.06 | 975.589 | 35.0614 | 2.1282
2020-03-22 13:15:00 | 3.973 | 331.4 | 4.372 | 328 | 3.728 | 305.1 | 3.73 | 341.2 | 16.94 | 975.589 | 34.925 | 2.2132
2020-03-22 13:30:00 | 3.549 | 335 | 3.438 | 347 | 2.982 | 320.8 | 2.874 | 337.3 | 16.16 | 975.293 | 31.7531 | 2.6751
2020-03-22 13:45:00 | 2.102 | 5.737 | 3.294 | 5.252 | 3.666 | 350.7 | 3.656 | 6.339 | 16.63 | 975.589 | 29.8431 | 3.0852
2020-03-22 14:00:00 | 3.298 | 7.512 | 3.469 | 12.79 | 3.431 | 329.7 | 3.135 | 9.09 | 17.2 | 975.441 | 30.3204 | 2.2465
2020-03-22 14:15:00 | 2.242 | 350.7 | 2.491 | 10.68 | 2.958 | 350.4 | 2.818 | 354.8 | 16.98 | 975.738 | 28.1685 | 3.0889
2020-03-22 14:30:00 | 2.044 | 10.13 | 3.169 | 29.03 | 3.69 | 13.38 | 3.46 | 2.886 | 17.26 | 975.808 | 26.6667 | 3.8131
2020-03-22 14:45:00 | 2.977 | 12.6 | 3.725 | 344.6 | 3.598 | 311.3 | 3.439 | 24.08 | 17.64 | 975.589 | 26.1211 | 4.9548
2020-03-22 15:00:00 | 2.868 | 7.588 | 3.423 | 24.17 | 3.514 | 5.178 | 3.573 | 9.22 | 16.35 | 975.143 | 25.9845 | 3.802
2020-03-22 15:15:00 | 2.876 | 6.451 | 3.1 | 1.288 | 3.761 | 306.9 | 3.557 | 13.44 | 17.48 | 975.143 | 24.4123 | 4.0865
2020-03-22 15:30:00 | 3.207 | 340 | 3.204 | 328.6 | 2.655 | 3.1 | 2.622 | 359.4 | 17.63 | 975.292 | 26.253 | 3.1776
2020-03-22 15:45:00 | 2.494 | 20.92 | 2.614 | 3.561 | 3.728 | 34.56 | 3.555 | 24.42 | 17.45 | 975.143 | 27.344 | 2.6049
2020-03-22 16:00:00 | 2.373 | 352.9 | 2.959 | 344.6 | 3.209 | 351.9 | 2.877 | 1.274 | 17.32 | 975.143 | 27.2758 | 0.80178
2020-03-22 16:15:00 | 2.207 | 317.4 | 3.195 | 321 | 3.202 | 342.1 | 3.081 | 320.9 | 17.33 | 974.847 | 27.6849 | 0.96435
2020-03-22 16:30:00 | 2.464 | 313.9 | 2.962 | 315.1 | 2.848 | 265.3 | 2.806 | 318.4 | 17 | 974.402 | 27.8554 | 0.23647
2020-03-22 16:45:00 | 1.977 | 336.1 | 2.482 | 336.5 | 2.473 | 268.3 | 2.366 | 329.4 | 17.12 | 973.957 | 28.5737 | -0.077592
2020-03-22 17:00:00 | 2.405 | 313.2 | 2.965 | 319.6 | 2.598 | 269.9 | 2.475 | 321.1 | 16.89 | 973.957 | 29.1219 | -0.10715
2020-03-22 17:15:00 | 2.175 | 317.3 | 2.704 | 319.4 | 2.545 | 267.9 | 2.475 | 314.5 | 16.89 | 974.105 | 28.2353 | -0.29928
2020-03-22 17:30:00 | 1.565 | 324.9 | 2.027 | 324.3 | 2.082 | 269.4 | 1.93 | 314.7 | 16.63 | 974.029 | 29.5311 | -0.29189
2020-03-22 17:45:00 | 2.014 | 336.7 | 2.331 | 353.1 | 2.408 | 270.3 | 2.251 | 334.8 | 15.91 | 973.21 | 30.4566 | -0.22908
2020-03-22 18:00:00 | 1.71 | 340.6 | 1.952 | 353.4 | 1.93 | 270.2 | 1.744 | 337.6 | 15.6 | 972.824 | 30.1206 | -0.26972
2020-03-22 18:15:00 | 1.53 | 337.2 | 1.569 | 353.4 | 1.447 | 270 | 1.232 | 339.6 | 15.4 | 973.064 | 30.3265 | -0.29189
2020-03-22 18:30:00 | 2.354 | 347.8 | 2.39 | 353.4 | 2.116 | 270.5 | 1.958 | 345.5 | 15.34 | 972.325 | 30.7778 | -0.29189
2020-03-22 18:45:00 | 2.285 | 349.9 | 2.157 | 353.6 | 1.846 | 270.7 | 1.729 | 350.6 | 15.22 | 972.622 | 31.5987 | -0.26972
2020-03-22 19:00:00 | 2.342 | 351.2 | 2.137 | 353.4 | 1.256 | 270.5 | 1.174 | 356.8 | 15.15 | 972.74 | 31.5316 | -0.26972
2020-03-22 19:15:00 | 2.127 | 355.9 | 1.838 | 354 | 1.316 | 271 | 1.034 | 3.784 | 15.08 | 972.919 | 31.2622 | -0.26972
2020-03-22 19:30:00 | 2.265 | 9.94 | 1.881 | 354.2 | 1.228 | 271.1 | 0.751 | 4.191 | 15.11 | 973.068 | 30.8187 | -0.26972
2020-03-22 19:45:00 | 2.194 | 27.68 | 2.129 | 354.2 | 0.793 | 271.4 | 0.2 | 66.84 | 15.09 | 972.771 | 31.9446 | -0.25125
2020-03-22 20:00:00 | 2.068 | 43.48 | 2.295 | 48.5 | 1.301 | 271.7 | 0.98 | 100 | 15.09 | 972.771 | 30.9207 | -0.25125
2020-03-22 20:15:00 | 0.427 | 148.9 | 1.424 | 67.74 | 1.582 | 265.4 | 1.428 | 134.4 | 15.14 | 972.771 | 29.2817 | -0.26972
2020-03-22 20:30:00 | 2.104 | 163.1 | 2.932 | 166.4 | 3.049 | 261 | 2.987 | 166.1 | 15.2 | 972.771 | 28.7384 | -0.2882
2020-03-22 20:45:00 | 2.141 | 159.6 | 2.924 | 169.3 | 3.39 | 260.1 | 3.236 | 172.9 | 15.17 | 972.771 | 29.353 | -0.2882
2020-03-22 21:00:00 | 2.411 | 140.4 | 2.937 | 149.1 | 3.583 | 259.7 | 3.468 | 152 | 14.9 | 973.068 | 29.9678 | -0.2882
2020-03-22 21:15:00 | 2.531 | 155.8 | 3.172 | 150.3 | 2.902 | 259.7 | 2.727 | 159.6 | 15.05 | 973.068 | 29.6947 | -0.2882
2020-03-22 21:30:00 | 2.045 | 160 | 2.784 | 165.8 | 2.317 | 259.9 | 2.151 | 165.5 | 15.14 | 973.216 | 28.877 | -0.25125
2020-03-22 21:45:00 | 1.426 | 179.6 | 2.528 | 173.9 | 2.49 | 260.4 | 2.444 | 190.1 | 15.16 | 973.365 | 29.3543 | -0.25125
2020-03-22 22:00:00 | 2.191 | 186.1 | 2.998 | 193.9 | 3.143 | 260.1 | 3.099 | 192.1 | 14.93 | 973.365 | 29.8315 | -0.2882
2020-03-22 22:15:00 | 2.648 | 186 | 3.487 | 202.2 | 3.372 | 259.8 | 3.326 | 192 | 15.12 | 973.662 | 29.1471 | -0.10346
2020-03-22 22:30:00 | 3.148 | 196.3 | 3.5 | 202.4 | 3.204 | 259.5 | 3.185 | 201.6 | 15.15 | 973.513 | 28.5323 | 0.099761
2020-03-22 22:45:00 | 3.174 | 201.8 | 3.211 | 203.7 | 3.377 | 259.3 | 3.376 | 201.5 | 15.27 | 973.662 | 29.6914 | 0.025864
2020-03-22 23:00:00 | 2.556 | 201.9 | 2.781 | 203.7 | 2.983 | 259.7 | 3.012 | 203.2 | 15.18 | 973.662 | 29.9647 | 0.044338
2020-03-22 23:15:00 | 3.307 | 203.2 | 3.569 | 204 | 3.504 | 259.2 | 3.674 | 206.4 | 15.14 | 973.662 | 33.0369 | 0.3584
2020-03-22 23:30:00 | 3.692 | 202.3 | 4.428 | 204 | 4.041 | 258.8 | 4.016 | 203.6 | 14.93 | 973.662 | 32.7635 | 1.0272
2020-03-22 23:45:00 | 3.498 | 195.9 | 4.267 | 202.2 | 4.491 | 259 | 4.466 | 200.7 | 14.66 | 973.662 | 34.1964 | 1.7366