## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-23 00:00:00 | 2.916 | 193 | 3.74 | 198.1 | 4.514 | 259.3 | 4.558 | 198.5 | 14.56 | 973.513 | 33.2069 | 2.058
2020-03-23 00:15:00 | 3.115 | 192.4 | 3.748 | 199.6 | 4.285 | 259.1 | 4.4 | 201.2 | 14.61 | 973.662 | 34.4697 | 1.9398
2020-03-23 00:30:00 | 3.378 | 186.4 | 3.702 | 199.7 | 4.166 | 258.6 | 4.263 | 194.5 | 14.61 | 973.365 | 34.8123 | 3.3956
2020-03-23 00:45:00 | 4.512 | 194 | 5.195 | 202.3 | 5.587 | 255.9 | 5.74 | 202.3 | 14.32 | 973.513 | 36.279 | 5.9376
2020-03-23 01:00:00 | 4.415 | 181.1 | 5.473 | 186.4 | 5.552 | 253.4 | 5.602 | 190.2 | 14.19 | 973.365 | 37.1341 | 7.3675
2020-03-23 01:15:00 | 4.229 | 177.8 | 5.448 | 183.2 | 5.643 | 252.1 | 5.689 | 187.5 | 13.9 | 973.216 | 37.9545 | 7.9735
2020-03-23 01:30:00 | 4.366 | 171.6 | 5.841 | 179.2 | 5.834 | 251.2 | 5.865 | 183.2 | 13.84 | 973.365 | 38.9121 | 9.2186
2020-03-23 01:45:00 | 3.963 | 172.1 | 5.144 | 177.7 | 5.666 | 251.3 | 5.824 | 182.2 | 13.32 | 973.216 | 39.2557 | 9.3701
2020-03-23 02:00:00 | 5.112 | 169.3 | 6.023 | 176.6 | 6.182 | 250.4 | 6.221 | 179.3 | 13.23 | 972.919 | 40.0751 | 14.1069
2020-03-23 02:15:00 | 5.875 | 157.9 | 6.675 | 166.9 | 6.617 | 249.9 | 6.57 | 168 | 13.15 | 972.919 | 40.0751 | 15.2117
2020-03-23 02:30:00 | 6.029 | 157.7 | 7.066 | 165.2 | 6.765 | 249.6 | 6.664 | 170.8 | 12.73 | 972.474 | 40.7578 | 17.4212
2020-03-23 02:45:00 | 6.989 | 159.6 | 7.813 | 170.1 | 7.396 | 249 | 7.311 | 168.6 | 12.65 | 972.474 | 42.9425 | 21.7368
2020-03-23 03:00:00 | 7.581 | 158.6 | 8.09 | 169.8 | 7.917 | 248.4 | 7.887 | 167.9 | 12.66 | 972.474 | 44.5127 | 28.1141
2020-03-23 03:15:00 | 7.037 | 153 | 7.764 | 165.6 | 8.2 | 248.1 | 8.12 | 161.2 | 12.08 | 972.177 | 46.1512 | 35.1232
2020-03-23 03:30:00 | 7.326 | 149.5 | 8.09 | 166 | 8.61 | 247 | 8.45 | 156.6 | 11.91 | 972.052 | 47.4142 | 34.2808
2020-03-23 03:45:00 | 7.203 | 148.4 | 7.79 | 167.2 | 8.85 | 245.9 | 8.76 | 155.1 | 11.74 | 971.935 | 49.1551 | 40.1297
2020-03-23 04:00:00 | 8.15 | 151.5 | 8.87 | 167.4 | 9.55 | 245.1 | 9.42 | 159.7 | 11.3 | 971.835 | 52.1249 | 39.8637
2020-03-23 04:15:00 | 6.899 | 148.7 | 7.516 | 167.2 | 8.85 | 245.4 | 8.78 | 155.7 | 10.9 | 971.903 | 53.4223 | 40.9795
2020-03-23 04:30:00 | 8.29 | 151.1 | 8.43 | 169.5 | 9.93 | 244.4 | 9.81 | 160.4 | 10.95 | 971.933 | 54.3508 | 46.773
2020-03-23 04:45:00 | 7.949 | 153 | 8.73 | 169.6 | 10.06 | 243.9 | 10 | 162 | 10.85 | 972.024 | 54.1483 | 44.8887
2020-03-23 05:00:00 | 7.77 | 155.4 | 8.3 | 172.2 | 9.56 | 243 | 9.56 | 163.2 | 10.83 | 972.048 | 55.514 | 43.2371
2020-03-23 05:15:00 | 8.78 | 154.9 | 9.28 | 170.3 | 9.57 | 242.1 | 9.47 | 163.5 | 10.65 | 972.144 | 57.187 | 47.5342
2020-03-23 05:30:00 | 8.87 | 154.3 | 9.75 | 169.3 | 10.1 | 241.6 | 10.02 | 162.4 | 10.37 | 972.393 | 57.8355 | 46.8691
2020-03-23 05:45:00 | 8.38 | 154.1 | 8.82 | 170.8 | 9.6 | 241.7 | 9.56 | 160.8 | 10.37 | 972.461 | 57.9724 | 47.9739
2020-03-23 06:00:00 | 9.06 | 155.2 | 9.21 | 171.8 | 9.89 | 241.3 | 9.8 | 162.1 | 10.55 | 972.474 | 57.836 | 46.2964
2020-03-23 06:15:00 | 8.32 | 154 | 8.72 | 170.8 | 9.47 | 241.4 | 9.42 | 160.6 | 10.39 | 972.771 | 58.6554 | 45.6535
2020-03-23 06:30:00 | 7.734 | 153.3 | 8.39 | 169.7 | 9.54 | 241 | 9.45 | 160.3 | 10.45 | 972.771 | 58.3842 | 44.5155
2020-03-23 06:45:00 | 8.42 | 153.3 | 8.65 | 169.6 | 9.52 | 239.5 | 9.59 | 160.3 | 10.62 | 972.747 | 57.8363 | 40.4364
2020-03-23 07:00:00 | 8.59 | 155.3 | 8.68 | 171.6 | 9.74 | 239 | 9.76 | 162.2 | 10.78 | 973.191 | 57.8342 | 41.0608
2020-03-23 07:15:00 | 9.02 | 157.8 | 9.32 | 171.5 | 9.64 | 238.6 | 9.7 | 167.7 | 10.84 | 973.38 | 57.4844 | 34.7685
2020-03-23 07:30:00 | 7.99 | 153.6 | 8.62 | 166 | 8.85 | 238.8 | 8.85 | 162.6 | 11.09 | 973.527 | 56.4602 | 32.304
2020-03-23 07:45:00 | 8.87 | 151.3 | 8.91 | 166.7 | 8.71 | 238.4 | 8.59 | 158.6 | 11.41 | 973.662 | 55.7092 | 31.9309
2020-03-23 08:00:00 | 8.47 | 151.7 | 8.61 | 166.4 | 8.96 | 238.2 | 8.92 | 158.5 | 11.65 | 974.107 | 54.6129 | 35.1158
2020-03-23 08:15:00 | 9.2 | 153 | 9.09 | 168.5 | 9.03 | 237.8 | 9.02 | 160.5 | 11.74 | 974.256 | 53.4788 | 36.627
2020-03-23 08:30:00 | 9.02 | 150.9 | 8.9 | 166.5 | 8.65 | 237.7 | 8.53 | 160.6 | 11.89 | 974.553 | 52.286 | 35.7255
2020-03-23 08:45:00 | 9.11 | 153.8 | 9.48 | 167.1 | 9.07 | 237.4 | 9.02 | 162.9 | 12.09 | 974.82 | 52.0765 | 35.8252
2020-03-23 09:00:00 | 9.72 | 151.8 | 9.81 | 167.1 | 9.6 | 237 | 9.47 | 159.4 | 12.21 | 975.243 | 51.0494 | 35.4151
2020-03-23 09:15:00 | 9.66 | 150 | 9.84 | 164 | 9.3 | 236.4 | 9.2 | 158.7 | 12.47 | 975.444 | 51.5271 | 36.0617
2020-03-23 09:30:00 | 9.79 | 151.8 | 9.76 | 165.5 | 8.91 | 236.1 | 8.76 | 160.1 | 12.75 | 975.739 | 49.5479 | 32.2893
2020-03-23 09:45:00 | 9.53 | 148.7 | 9.61 | 163 | 9.07 | 235.8 | 8.94 | 155.5 | 13.22 | 975.739 | 48.5235 | 33.3903
2020-03-23 10:00:00 | 9.29 | 145.2 | 9.51 | 159.7 | 8.7 | 235.6 | 8.36 | 154.7 | 13.57 | 975.739 | 47.7015 | 28.0143
2020-03-23 10:15:00 | 8.66 | 145.7 | 8.9 | 160.8 | 8.31 | 235.4 | 8.14 | 152.5 | 13.97 | 976.333 | 46.9065 | 26.0413
2020-03-23 10:30:00 | 7.992 | 140.9 | 8.46 | 158.8 | 7.609 | 235.3 | 7.436 | 147.1 | 14.6 | 976.333 | 44.2101 | 21.4005
2020-03-23 10:45:00 | 8.47 | 143.4 | 8.62 | 157.3 | 7.36 | 234.7 | 7.158 | 153.6 | 14.75 | 976.63 | 41.8216 | 19.0802
2020-03-23 11:00:00 | 7.91 | 141.6 | 7.884 | 158.2 | 7.65 | 234.7 | 7.471 | 146.9 | 15.44 | 976.459 | 41.8216 | 16.0098
2020-03-23 11:15:00 | 7.637 | 149.3 | 7.491 | 165.6 | 6.727 | 234.9 | 6.514 | 154.4 | 15.55 | 976.513 | 40.8324 | 17.5247
2020-03-23 11:30:00 | 7.499 | 137.4 | 7.608 | 151.3 | 6.961 | 234.5 | 6.685 | 145.2 | 15.83 | 976.779 | 41.2072 | 16.3829
2020-03-23 11:45:00 | 6.8 | 149.2 | 7.015 | 166.8 | 6.513 | 235 | 6.331 | 154.2 | 16.69 | 976.628 | 39.4613 | 16.3571
2020-03-23 12:00:00 | 7.313 | 142.3 | 7.097 | 158.1 | 6.757 | 234.7 | 6.608 | 151.2 | 16.7 | 976.183 | 37.176 | 16.7081
2020-03-23 12:15:00 | 6.71 | 140.6 | 6.672 | 161 | 6.06 | 234.9 | 5.88 | 149.7 | 17.38 | 976.183 | 35.7434 | 18.0013
2020-03-23 12:30:00 | 6.641 | 154.7 | 6.747 | 171.5 | 6.287 | 234.5 | 6.203 | 161.2 | 17.57 | 976.02 | 34.4464 | 18.2319
2020-03-23 12:45:00 | 6.823 | 138.4 | 6.828 | 158.3 | 6.653 | 234.1 | 6.501 | 143.9 | 17.87 | 976.183 | 34.7183 | 18.2599
2020-03-23 13:00:00 | 6.864 | 147.4 | 6.826 | 163.9 | 6.513 | 233.9 | 6.361 | 156.8 | 17.89 | 975.738 | 34.037 | 16.3866
2020-03-23 13:15:00 | 6.437 | 179 | 5.931 | 204.1 | 5.074 | 234.4 | 5.004 | 168.5 | 18.59 | 975.441 | 34.2425 | 13.6746
2020-03-23 13:30:00 | 6.424 | 143.6 | 6.32 | 165.2 | 5.684 | 233.5 | 5.584 | 150.7 | 18.8 | 975.144 | 34.9231 | 15.3262
2020-03-23 13:45:00 | 5.556 | 172.1 | 5.159 | 189.8 | 4.738 | 234.1 | 4.556 | 173.2 | 19.03 | 975.55 | 34.3057 | 13.4566
2020-03-23 14:00:00 | 5.332 | 149.2 | 5.322 | 167.6 | 4.85 | 233.1 | 4.747 | 155 | 19.02 | 975.54 | 33.6232 | 14.1439
2020-03-23 14:15:00 | 6.108 | 159.7 | 5.752 | 174.5 | 5.196 | 232.9 | 5.294 | 164.5 | 19.14 | 975.589 | 33.1458 | 17.3864
2020-03-23 14:30:00 | 5.541 | 179.9 | 5.223 | 199 | 4.415 | 232.8 | 4.331 | 177.2 | 19.5 | 975.292 | 35.26 | 17.569
2020-03-23 14:45:00 | 5.74 | 171.6 | 5.683 | 187.8 | 5.389 | 232 | 5.304 | 175.5 | 19.35 | 975.143 | 35.6687 | 19.5853
2020-03-23 15:00:00 | 6.838 | 179.9 | 6.417 | 194.3 | 6.236 | 230.6 | 6.277 | 183.3 | 19.34 | 974.847 | 35.8711 | 23.5214
2020-03-23 15:15:00 | 8.1 | 180.4 | 7.736 | 192.3 | 7.009 | 229.2 | 6.942 | 184.1 | 19.13 | 974.55 | 35.0883 | 27.9109
2020-03-23 15:30:00 | 8.26 | 183 | 8.06 | 196.4 | 7.388 | 228.5 | 7.421 | 187.3 | 19.34 | 974.55 | 34.3051 | 24.1163
2020-03-23 15:45:00 | 9.01 | 188.3 | 8.37 | 201.4 | 7.569 | 227.1 | 7.482 | 188.9 | 19.64 | 974.253 | 31.1679 | 30.777
2020-03-23 16:00:00 | 8.1 | 176.7 | 7.595 | 192.8 | 6.732 | 224.9 | 6.679 | 178.8 | 19.52 | 974.253 | 25.8482 | 24.6077
2020-03-23 16:15:00 | 8.16 | 183.9 | 7.237 | 197.7 | 5.999 | 176.7 | 5.915 | 185.6 | 19.55 | 974.253 | 31.4407 | 23.6544
2020-03-23 16:30:00 | 7.387 | 182.4 | 7.097 | 199.3 | 6.564 | 188.3 | 6.496 | 181.4 | 19.41 | 974.253 | 27.5192 | 21.6481
2020-03-23 16:45:00 | 7.019 | 182.9 | 6.721 | 199.1 | 6.015 | 187 | 5.982 | 187.8 | 19.36 | 974.105 | 26.3598 | 20.7318
2020-03-23 17:00:00 | 6.363 | 165 | 6.23 | 181.9 | 5.9 | 163.7 | 5.837 | 169.4 | 19.19 | 974.55 | 28.1671 | 19.2686
2020-03-23 17:15:00 | 5.852 | 184.9 | 6.038 | 198.4 | 5.666 | 144.8 | 5.551 | 187.6 | 19.16 | 974.105 | 29.8039 | 17.1219
2020-03-23 17:30:00 | 6.046 | 158 | 5.9 | 171.5 | 5.88 | 125.3 | 5.793 | 162.2 | 18.98 | 974.077 | 29.2583 | 15.1452
2020-03-23 17:45:00 | 5.383 | 151.8 | 5.33 | 167.8 | 5.122 | 125.7 | 5.06 | 157.1 | 18.82 | 974.246 | 30.7632 | 11.938
2020-03-23 18:00:00 | 5.237 | 160.1 | 5.443 | 176.1 | 5.483 | 132.4 | 5.475 | 163.4 | 18.65 | 973.66 | 31.5825 | 11.8309
2020-03-23 18:15:00 | 4.813 | 179.3 | 4.734 | 194.6 | 5.015 | 135.5 | 5.029 | 179.8 | 18.42 | 973.364 | 34.5879 | 10.7963
2020-03-23 18:30:00 | 5.038 | 172.7 | 5.307 | 184 | 5.198 | 138.3 | 5.192 | 180.3 | 18.12 | 973.207 | 37.9328 | 11.1954
2020-03-23 18:45:00 | 4.642 | 183 | 4.765 | 197.9 | 4.323 | 140.8 | 4.171 | 184.8 | 17.74 | 973.363 | 38.001 | 14.5097
2020-03-23 19:00:00 | 4.586 | 164.4 | 4.476 | 188.3 | 4.148 | 142.4 | 4.026 | 169.1 | 17.47 | 973.216 | 37.0468 | 15.5701
2020-03-23 19:15:00 | 4.997 | 169 | 4.873 | 190.5 | 4.397 | 145 | 4.405 | 170.7 | 17.26 | 973.216 | 34.5911 | 19.4201
2020-03-23 19:30:00 | 4.663 | 164 | 4.811 | 180.1 | 4.537 | 146.9 | 4.497 | 166.8 | 17.01 | 972.77 | 36.5735 | 23.1593
2020-03-23 19:45:00 | 4.744 | 154.1 | 4.998 | 170.6 | 5.356 | 139.4 | 5.383 | 157.9 | 16.91 | 972.77 | 33.0996 | 24.2419
2020-03-23 20:00:00 | 5.196 | 150.7 | 5.519 | 167.2 | 5.773 | 139.7 | 5.806 | 155.9 | 16.73 | 972.77 | 36.2395 | 29.4849
2020-03-23 20:15:00 | 6.246 | 152.2 | 6.642 | 165.6 | 7.123 | 144.4 | 7.133 | 158.1 | 16.38 | 972.474 | 35.9666 | 34.8646
2020-03-23 20:30:00 | 6.223 | 150.6 | 6.846 | 172.1 | 7.691 | 146.6 | 7.657 | 154.7 | 16.18 | 972.474 | 37.5363 | 38.988
2020-03-23 20:45:00 | 6.874 | 149.9 | 7.465 | 167.8 | 7.625 | 133.5 | 7.614 | 157.3 | 16.17 | 972.776 | 38.56 | 38.0791
2020-03-23 21:00:00 | 7.548 | 154.4 | 7.682 | 171.1 | 7.548 | 125.3 | 7.55 | 161.6 | 15.99 | 972.775 | 36.3078 | 34.3177
2020-03-23 21:15:00 | 6.455 | 150 | 6.92 | 167.3 | 7.413 | 127.7 | 7.408 | 159.1 | 15.87 | 972.796 | 36.103 | 36.978
2020-03-23 21:30:00 | 6.149 | 157.4 | 6.514 | 170.8 | 6.666 | 104.2 | 6.702 | 161.4 | 15.75 | 973.087 | 35.5571 | 33.1058
2020-03-23 21:45:00 | 6.585 | 152.3 | 6.961 | 169.1 | 7.764 | 107.8 | 7.828 | 156.1 | 15.6 | 973.303 | 35.6253 | 35.1585
2020-03-23 22:00:00 | 5.903 | 151.1 | 6.828 | 169.8 | 7.391 | 111.7 | 7.426 | 155.6 | 15.65 | 973.32 | 34.6702 | 35.1528
2020-03-23 22:15:00 | 6.989 | 149.8 | 6.895 | 168.7 | 7.955 | 115.3 | 8.04 | 154.8 | 15.69 | 973.182 | 36.788 | 41.7591
2020-03-23 22:30:00 | 6.338 | 156.2 | 6.813 | 177 | 6.678 | 119.3 | 6.623 | 167.8 | 15.62 | 973.063 | 37.6395 | 51.2918
2020-03-23 22:45:00 | 7.382 | 149.1 | 7.726 | 170 | 8.66 | 125 | 8.69 | 155.2 | 15.41 | 973.205 | 39.7909 | 49.7659
2020-03-23 23:00:00 | 8.02 | 156.9 | 8.23 | 169.6 | 8.22 | 144 | 8.19 | 162.9 | 15.27 | 972.771 | 40.6111 | 54.5692
2020-03-23 23:15:00 | 8.23 | 153.3 | 8.51 | 175 | 9.4 | 142 | 9.48 | 155.8 | 14.95 | 972.474 | 41.5693 | 57.8945
2020-03-23 23:30:00 | 9.12 | 149.8 | 9.12 | 167.2 | 10.56 | 138.4 | 10.62 | 154.5 | 14.87 | 972.622 | 42.0477 | 61.0758
2020-03-23 23:45:00 | 10.03 | 151.4 | 10.45 | 169.1 | 11.22 | 126.8 | 11.17 | 155.7 | 14.93 | 972.028 | 41.9111 | 62.8308