## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-24 00:00:00 | 9.28 | 149.9 | 9.8 | 167.1 | 10.95 | 133.9 | 11.05 | 154.5 | 14.88 | 972.028 | 42.5934 | 68.1514
2020-03-24 00:15:00 | 8.22 | 154.9 | 9.16 | 171.8 | 9.68 | 125 | 9.6 | 157.6 | 14.8 | 972.177 | 43.0032 | 62.7422
2020-03-24 00:30:00 | 8.12 | 157.5 | 8.74 | 171.1 | 8.8 | 148.1 | 8.81 | 164.3 | 14.5 | 972.474 | 44.5731 | 50.2072
2020-03-24 00:45:00 | 7.721 | 163.3 | 7.462 | 182.8 | 6.757 | 177.1 | 6.725 | 168.7 | 14.31 | 972.474 | 45.1871 | 49.5848
2020-03-24 01:00:00 | 7.326 | 171.4 | 7.255 | 183.7 | 7.714 | 162.8 | 7.747 | 173 | 14 | 972.474 | 46.5524 | 54.4214
2020-03-24 01:15:00 | 8.94 | 151.7 | 9.18 | 169.8 | 9.22 | 138.4 | 9.17 | 157.6 | 13.61 | 972.028 | 47.5075 | 51.2215
2020-03-24 01:30:00 | 6.904 | 165.4 | 7.01 | 188.7 | 6.862 | 122.4 | 6.82 | 163.6 | 13.42 | 972.325 | 49.2516 | 52.0013
2020-03-24 01:45:00 | 7.548 | 161.8 | 7.641 | 178.7 | 7.861 | 130.9 | 7.848 | 162.5 | 13.11 | 972.177 | 50.6567 | 48.3803
2020-03-24 02:00:00 | 7.982 | 155 | 8.37 | 169.3 | 8.48 | 129.8 | 8.37 | 159.6 | 12.82 | 971.731 | 52.0908 | 46.9061
2020-03-24 02:15:00 | 7.742 | 156.2 | 8.06 | 169.8 | 8.32 | 140.6 | 8.18 | 162.8 | 12.61 | 971.583 | 53.1149 | 51.9939
2020-03-24 02:30:00 | 9.41 | 150.8 | 9.66 | 167.6 | 10.41 | 141.8 | 10.49 | 152.4 | 12.52 | 971.137 | 53.7976 | 62.4983
2020-03-24 02:45:00 | 9.54 | 147.5 | 10.34 | 164.1 | 11.84 | 123.6 | 11.77 | 152.2 | 12.59 | 970.692 | 53.1831 | 70.9521
2020-03-24 03:00:00 | 13.54 | 144.8 | 13.7 | 159.3 | 14.05 | 144.9 | 13.87 | 150.8 | 13.12 | 970.395 | 51.2715 | 78.839
2020-03-24 03:15:00 | 13.21 | 142.3 | 13.46 | 156.3 | 13.81 | 144.5 | 13.58 | 149.7 | 13.41 | 970.692 | 50.3158 | 77.0929
2020-03-24 03:30:00 | 12.69 | 139.7 | 13.24 | 155.5 | 14.16 | 146.2 | 13.97 | 145.9 | 13.24 | 970.692 | 47.0729 | 77.3146
2020-03-24 03:45:00 | 12.64 | 142.3 | 12.91 | 157.9 | 12.99 | 146.6 | 12.9 | 147.5 | 13.31 | 970.544 | 46.4926 | 70.5161
2020-03-24 04:00:00 | 11.41 | 141.1 | 11.74 | 156.6 | 12.75 | 160.7 | 12.71 | 147.1 | 13.21 | 970.692 | 44.8541 | 67.0762
2020-03-24 04:15:00 | 12.47 | 144 | 12.4 | 160.9 | 13.04 | 147.8 | 12.96 | 149.1 | 13.28 | 970.692 | 44.2396 | 67.7856
2020-03-24 04:30:00 | 12.83 | 141.9 | 13.39 | 157.9 | 13.92 | 143.4 | 13.75 | 147.7 | 13.44 | 970.098 | 43.0107 | 74.6839
2020-03-24 04:45:00 | 12.72 | 140.4 | 12.64 | 156.8 | 13.02 | 145.8 | 12.82 | 144.8 | 13.38 | 970.395 | 43.5569 | 79.2064
2020-03-24 05:00:00 | 11.77 | 137.6 | 11.99 | 154.6 | 12.37 | 141.6 | 12.25 | 142.4 | 13.02 | 970.395 | 44.0348 | 85.0775
2020-03-24 05:15:00 | 11.46 | 139.1 | 11.5 | 155 | 11.27 | 143.2 | 11.1 | 144.2 | 12.84 | 970.247 | 45.093 | 87.3683
2020-03-24 05:30:00 | 11.71 | 135.4 | 12.37 | 151.6 | 13.47 | 139.4 | 13.44 | 140.2 | 12.88 | 970.098 | 44.6493 | 84.8772
2020-03-24 05:45:00 | 11.86 | 134.1 | 12.57 | 151.6 | 12.78 | 144.3 | 12.68 | 139.3 | 12.85 | 970.098 | 44.9223 | 77.7358
2020-03-24 06:00:00 | 12.63 | 132 | 12.63 | 146.6 | 12.28 | 133.9 | 12.15 | 137.5 | 12.83 | 970.098 | 45.4685 | 80.6622
2020-03-24 06:15:00 | 12.28 | 133.1 | 12.72 | 149.1 | 13.25 | 136.3 | 13.08 | 138.5 | 12.76 | 970.247 | 45.8781 | 78.8028
2020-03-24 06:30:00 | 11.96 | 135 | 12.14 | 150.9 | 12.38 | 137.2 | 12.32 | 139.9 | 12.69 | 970.247 | 45.605 | 77.7469
2020-03-24 06:45:00 | 12.39 | 134.7 | 12.75 | 150 | 12.88 | 137.2 | 12.73 | 139.3 | 12.77 | 970.692 | 45.0589 | 73.6485
2020-03-24 07:00:00 | 10.37 | 132.2 | 10.85 | 149.8 | 11.58 | 139 | 11.58 | 138.3 | 12.77 | 970.544 | 45.1954 | 70.519
2020-03-24 07:15:00 | 11.26 | 130.1 | 11.97 | 146 | 12.61 | 135.3 | 12.51 | 135.7 | 12.98 | 971.583 | 43.0107 | 43.745
2020-03-24 07:30:00 | 6.984 | 127.1 | 7.434 | 143 | 7.871 | 128.9 | 7.726 | 130.9 | 13.04 | 972.771 | 42.9083 | 11.8021
2020-03-24 07:45:00 | 2.04 | 87 | 2.293 | 124.7 | 2.65 | 98.9 | 2.747 | 89.3 | 13.21 | 973.216 | 43.4886 | 1.3856
2020-03-24 08:00:00 | 1.07 | 97.2 | 1.436 | 130.9 | 1.025 | 246.4 | 0.879 | 98.2 | 13.36 | 973.513 | 42.391 | 2.3277
2020-03-24 08:15:00 | 3.963 | 135.1 | 4.09 | 151.9 | 4.14 | 132.7 | 4.051 | 136.4 | 13.51 | 973.662 | 42.2523 | 2.9743
2020-03-24 08:30:00 | 3.539 | 132.2 | 3.732 | 149.3 | 3.726 | 133.3 | 3.72 | 137.6 | 13.3 | 973.662 | 42.5256 | 4.4818
2020-03-24 08:45:00 | 4.956 | 136.6 | 4.947 | 151.3 | 4.491 | 124.9 | 4.296 | 146.1 | 13.37 | 973.659 | 42.4554 | 3.5988
2020-03-24 09:00:00 | 3.075 | 122.6 | 3.303 | 137.3 | 3.133 | 117.4 | 3.096 | 130.6 | 13.59 | 974.256 | 40.0648 | 1.5408
2020-03-24 09:15:00 | 4.839 | 148.3 | 5.049 | 165 | 4.466 | 110.2 | 4.321 | 152.6 | 13.99 | 973.967 | 39.5155 | 2.4312
2020-03-24 09:30:00 | 5.694 | 129.8 | 5.99 | 146.7 | 5.465 | 112.2 | 5.304 | 133.3 | 13.97 | 974.255 | 40.2625 | 5.206
2020-03-24 09:45:00 | 5.873 | 150.9 | 5.928 | 168 | 5.089 | 116.2 | 4.859 | 154.9 | 14.69 | 974.552 | 38.6851 | 3.4879
2020-03-24 10:00:00 | 5.73 | 148.9 | 5.632 | 170.2 | 4.773 | 118 | 4.634 | 153.7 | 15.26 | 974.552 | 38.6833 | 3.2662
2020-03-24 10:15:00 | 5.852 | 139.9 | 5.642 | 157.4 | 4.781 | 118.7 | 4.652 | 145.1 | 14.66 | 974.098 | 40.5595 | 3.4953
2020-03-24 10:30:00 | 5.878 | 148.5 | 5.826 | 167.1 | 5.17 | 119.6 | 4.973 | 151.6 | 14.58 | 973.809 | 41.8898 | 3.9867
2020-03-24 10:45:00 | 5.291 | 135.2 | 5.187 | 155.5 | 4.644 | 119.3 | 4.568 | 141.6 | 14.9 | 973.958 | 41.481 | 7.035
2020-03-24 11:00:00 | 5.263 | 150.1 | 5.013 | 167.9 | 4.471 | 115.5 | 4.342 | 156.7 | 15.26 | 973.364 | 41.5494 | 7.0424
2020-03-24 11:15:00 | 3.756 | 147.1 | 3.929 | 163.6 | 3.792 | 115.1 | 3.766 | 148.7 | 15.15 | 973.364 | 38.8902 | 7.737
2020-03-24 11:30:00 | 5.732 | 140.6 | 5.801 | 163 | 5.442 | 116.3 | 5.307 | 145.7 | 15.68 | 972.474 | 33.3634 | 29.113
2020-03-24 11:45:00 | 9.52 | 141.8 | 9.69 | 158.1 | 9.68 | 135.2 | 9.5 | 146.1 | 15.91 | 972.474 | 28.519 | 42.3856
2020-03-24 12:00:00 | 10.19 | 143.3 | 10.51 | 159.9 | 10.8 | 148.7 | 10.66 | 149.6 | 16.52 | 972.919 | 26.1649 | 38.0495
2020-03-24 12:15:00 | 9.03 | 141.9 | 9.06 | 159.6 | 9.06 | 148.6 | 8.91 | 150.3 | 16.87 | 972.325 | 27.0169 | 45.1013
2020-03-24 12:30:00 | 10.98 | 140.3 | 11.62 | 157.5 | 10.74 | 144.8 | 10.48 | 145 | 17.02 | 972.177 | 27.358 | 50.5843
2020-03-24 12:45:00 | 11.69 | 141.2 | 11.94 | 157.6 | 11.97 | 147.7 | 11.78 | 146.6 | 17.54 | 972.177 | 26.8804 | 63.725
2020-03-24 13:00:00 | 12.47 | 140 | 12.12 | 154.7 | 11.01 | 141.7 | 10.76 | 146.5 | 17.56 | 971.7 | 23.3328 | 61.1291
2020-03-24 13:15:00 | 12.96 | 151.7 | 12.85 | 172 | 12.28 | 160.7 | 12.14 | 157.6 | 18.19 | 971.289 | 23.0258 | 69.9456
2020-03-24 13:30:00 | 12.18 | 144 | 12.11 | 171.1 | 11.55 | 164.3 | 11.27 | 154.8 | 18.69 | 970.693 | 20.737 | 73.7765
2020-03-24 13:45:00 | 13.9 | 141.7 | 13.44 | 166.3 | 13.38 | 153 | 13.1 | 157.5 | 18.44 | 970.396 | 22.5102 | 77.4041
2020-03-24 14:00:00 | 12.96 | 147 | 12.74 | 168.4 | 12.5 | 156.3 | 12.4 | 156.1 | 18.65 | 970.842 | 23.1924 | 72.7088
2020-03-24 14:15:00 | 11.11 | 143.8 | 11.05 | 160.2 | 10.58 | 149.5 | 10.45 | 150.4 | 19.05 | 971.287 | 23.8063 | 73.6699
2020-03-24 14:30:00 | 10.86 | 149.8 | 10.49 | 168.1 | 10.44 | 157.7 | 10.27 | 157.4 | 19.17 | 971.287 | 25.374 | 66.3631
2020-03-24 14:45:00 | 9.3 | 141.7 | 9.39 | 160.5 | 9.28 | 151.6 | 9.09 | 148.1 | 19.26 | 971.208 | 23.9387 | 62.9088
2020-03-24 15:00:00 | 11.57 | 151.3 | 11.77 | 170.3 | 11.49 | 175.7 | 11.33 | 156.1 | 19.78 | 970.847 | 17.6641 | 69.234
2020-03-24 15:15:00 | 10.49 | 154.4 | 10.29 | 169.8 | 9.71 | 183.4 | 9.73 | 159.7 | 19.99 | 970.545 | 19.983 | 66.5431
2020-03-24 15:30:00 | 9.26 | 147.2 | 9.34 | 164.7 | 9.32 | 189 | 9.21 | 151.9 | 19.73 | 970.1 | 19.983 | 68.399
2020-03-24 15:45:00 | 10.82 | 144.3 | 10.85 | 159.3 | 10.81 | 190.4 | 10.69 | 149.9 | 20 | 969.803 | 18.6871 | 69.6606
2020-03-24 16:00:00 | 10.51 | 146.3 | 10.41 | 161.8 | 10.48 | 188.3 | 10.27 | 152.6 | 20.08 | 970.1 | 18.2097 | 73.1949
2020-03-24 16:15:00 | 9.86 | 149.1 | 10.3 | 167.6 | 9.84 | 186.5 | 9.76 | 154.9 | 20.32 | 969.952 | 19.5736 | 73.4498
2020-03-24 16:30:00 | 10.33 | 143 | 9.99 | 163.4 | 10.2 | 201.5 | 10.07 | 148 | 20.24 | 969.358 | 17.971 | 71.7873
2020-03-24 16:45:00 | 8.71 | 145.6 | 9.1 | 166.2 | 8.76 | 209.2 | 8.67 | 149.9 | 20.29 | 969.952 | 21.4152 | 73.0344
2020-03-24 17:00:00 | 11.5 | 143.7 | 11.65 | 161.9 | 11.92 | 206.5 | 11.74 | 151 | 20.05 | 969.358 | 19.3691 | 71.3962
2020-03-24 17:15:00 | 11.66 | 149.3 | 11.62 | 164.6 | 11.5 | 205 | 11.32 | 154.2 | 19.73 | 968.617 | 22.711 | 68.8656
2020-03-24 17:30:00 | 10.85 | 153 | 10.72 | 169.2 | 10.09 | 202.9 | 9.99 | 157.5 | 19.51 | 968.576 | 21.7562 | 67.9113
2020-03-24 17:45:00 | 10.68 | 151 | 11.24 | 166.1 | 10.82 | 161.6 | 10.67 | 156.6 | 19.24 | 968.446 | 22.5098 | 57.6111
2020-03-24 18:00:00 | 10.67 | 150.2 | 10.6 | 165.8 | 10.48 | 156.5 | 10.35 | 155.5 | 18.95 | 968.319 | 22.3738 | 55.8249
2020-03-24 18:15:00 | 10.85 | 152.7 | 10.82 | 167.3 | 10.54 | 91.8 | 10.39 | 156.7 | 18.76 | 967.725 | 22.6478 | 55.5085
2020-03-24 18:30:00 | 11.61 | 155.7 | 11.48 | 171.8 | 11.73 | 86.9 | 11.59 | 159.6 | 18.6 | 968.088 | 23.5715 | 59.2432
2020-03-24 18:45:00 | 7.765 | 158.2 | 8.02 | 176 | 9.21 | 86.1 | 9.36 | 160.7 | 18.16 | 968.311 | 27.7674 | 58.4155
2020-03-24 19:00:00 | 9.88 | 168.1 | 9.69 | 183.5 | 9.08 | 88 | 9.03 | 170 | 17.78 | 968.169 | 29.0636 | 64.9871
2020-03-24 19:15:00 | 11.27 | 155 | 11.14 | 170.9 | 11.03 | 89.1 | 10.99 | 158.8 | 17.44 | 968.317 | 29.4051 | 67.5339
2020-03-24 19:30:00 | 10.95 | 156 | 11.13 | 169.5 | 11.11 | 92 | 11.04 | 160.9 | 17.26 | 968.021 | 28.8607 | 71.3475
2020-03-24 19:45:00 | 10.5 | 156.3 | 10.83 | 172.4 | 10.4 | 93.3 | 10.23 | 158.7 | 17.14 | 967.427 | 29.2031 | 74.3092
2020-03-24 20:00:00 | 12.27 | 158.2 | 11.69 | 171.1 | 11.22 | 95.1 | 11.04 | 165.7 | 17.05 | 968.021 | 28.8666 | 74.6913
2020-03-24 20:15:00 | 11.01 | 152.1 | 11.46 | 167.6 | 11.29 | 95.6 | 11.17 | 158.1 | 16.91 | 967.724 | 29.6864 | 74.7493
2020-03-24 20:30:00 | 12 | 150.5 | 12.27 | 167.1 | 12.4 | 96.7 | 12.34 | 156.5 | 16.78 | 968.021 | 29.2782 | 75.7095
2020-03-24 20:45:00 | 12.02 | 149.7 | 12.43 | 166.3 | 12.98 | 98 | 12.82 | 155.4 | 16.78 | 967.872 | 29.756 | 77.7597
2020-03-24 21:00:00 | 12.46 | 150 | 13.17 | 166.6 | 13.84 | 100.2 | 13.74 | 154.1 | 16.79 | 967.13 | 29.7559 | 83.1656
2020-03-24 21:15:00 | 12.14 | 148.1 | 12.21 | 166 | 11.78 | 102.5 | 11.65 | 153.2 | 16.54 | 968.021 | 30.575 | 84.3348
2020-03-24 21:30:00 | 13.65 | 148.3 | 13.98 | 165.2 | 14.28 | 103 | 14.06 | 153.2 | 16.26 | 967.427 | 31.3257 | 90.169
2020-03-24 21:45:00 | 14.65 | 148.2 | 14.28 | 165.8 | 13.97 | 103.5 | 13.77 | 151.3 | 16.2 | 967.724 | 31.4622 | 88.8738
2020-03-24 22:00:00 | 13.92 | 148.6 | 13.87 | 167.5 | 13.54 | 103.9 | 13.3 | 151.1 | 16.12 | 968.021 | 31.2916 | 86.2229
2020-03-24 22:15:00 | 11.84 | 141.3 | 11.76 | 156 | 12.34 | 103.7 | 12.17 | 146.9 | 15.62 | 967.724 | 32.3835 | 87.4755
2020-03-24 22:30:00 | 10.96 | 141.9 | 11.62 | 158 | 11.88 | 103.7 | 11.73 | 146.6 | 15.53 | 967.456 | 30.2337 | 90.3796
2020-03-24 22:45:00 | 12.98 | 141.9 | 13.34 | 157.7 | 13.64 | 104.5 | 13.33 | 147.5 | 15.65 | 967.865 | 31.5987 | 90.908
2020-03-24 23:00:00 | 12.04 | 141.9 | 12.48 | 158.1 | 12.97 | 104.4 | 12.81 | 147.3 | 15.2 | 967.651 | 32.145 | 88.4879
2020-03-24 23:15:00 | 11.14 | 139.4 | 11.57 | 156.5 | 12.45 | 104.3 | 12.31 | 146 | 15.12 | 967.718 | 32.8995 | 88.9961
2020-03-24 23:30:00 | 11.53 | 137.6 | 11.75 | 154.2 | 12.08 | 104.6 | 12.08 | 142.5 | 15.2 | 967.722 | 32.9005 | 89.1788
2020-03-24 23:45:00 | 12.59 | 134.3 | 13.46 | 150.2 | 13.84 | 105.4 | 13.69 | 138.5 | 15.37 | 967.128 | 33.3102 | 89.8882