## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-25 00:00:00 | 13.26 | 133.7 | 13.55 | 149.3 | 14.15 | 106.5 | 13.95 | 138.4 | 15.36 | 966.947 | 33.5823 | 92.3046
2020-03-25 00:15:00 | 13.55 | 132.1 | 14.31 | 147.9 | 14.78 | 107.5 | 14.62 | 136.5 | 15.22 | 966.683 | 34.7422 | 90.52
2020-03-25 00:30:00 | 13.5 | 131.7 | 13.71 | 148.8 | 14.22 | 110.3 | 14.17 | 137 | 15.11 | 966.831 | 36.0386 | 90.0249
2020-03-25 00:45:00 | 13.65 | 132.5 | 13.91 | 150.1 | 14.36 | 134.9 | 14.24 | 137.3 | 14.92 | 967.128 | 37.5409 | 90.52
2020-03-25 01:00:00 | 13.56 | 132.5 | 13.89 | 147.8 | 14.1 | 133.8 | 13.96 | 136.6 | 14.67 | 966.534 | 38.7369 | 91.7672
2020-03-25 01:15:00 | 13.39 | 131.5 | 14.28 | 148.6 | 15.47 | 119.8 | 15.36 | 136.7 | 14.67 | 966.534 | 39.0785 | 91.1851
2020-03-25 01:30:00 | 14.17 | 130.8 | 14.32 | 147.9 | 15.01 | 121.3 | 14.82 | 135.8 | 14.67 | 966.534 | 40.2048 | 92.6482
2020-03-25 01:45:00 | 14.5 | 132 | 15.35 | 147.8 | 15.52 | 124.4 | 15.45 | 136.6 | 14.64 | 965.941 | 41.57 | 92.9438
2020-03-25 02:00:00 | 15.45 | 132 | 15.83 | 148.1 | 17.07 | 129.3 | 17.04 | 137.1 | 14.43 | 965.941 | 42.5256 | 93.6348
2020-03-25 02:15:00 | 15.63 | 132.7 | 16.27 | 148.5 | 16.98 | 128.4 | 16.8 | 138 | 14.18 | 965.347 | 42.6615 | 93.6015
2020-03-25 02:30:00 | 15.8 | 133 | 16.24 | 148.6 | 16.92 | 128.8 | 16.86 | 137 | 14.01 | 964.753 | 42.3194 | 93.8823
2020-03-25 02:45:00 | 15.81 | 133.1 | 16.24 | 149.6 | 16.45 | 120.9 | 16.34 | 137.3 | 14.05 | 964.456 | 41.2283 | 92.1236
2020-03-25 03:00:00 | 15.75 | 131.1 | 15.84 | 148.1 | 16.5 | 117.4 | 16.45 | 136.3 | 14.14 | 964.159 | 41.3634 | 93.6163
2020-03-25 03:15:00 | 15.7 | 132.2 | 15.74 | 148.4 | 16.33 | 126 | 16.3 | 138 | 13.83 | 964.307 | 41.7063 | 93.2099
2020-03-25 03:30:00 | 13.75 | 131 | 14 | 150.2 | 15.26 | 136.9 | 15.35 | 135.4 | 13.53 | 964.604 | 41.9106 | 93.4315
2020-03-25 03:45:00 | 14.67 | 130.3 | 15.12 | 146.2 | 16.08 | 139.1 | 15.96 | 135.6 | 13.53 | 964.159 | 42.3218 | 93.3133
2020-03-25 04:00:00 | 14.69 | 131.1 | 15.3 | 147.5 | 16.63 | 133.4 | 16.7 | 136.4 | 13.32 | 964.456 | 42.5308 | 93.6596
2020-03-25 04:15:00 | 14.85 | 132.4 | 15.45 | 148 | 16.38 | 134.1 | 16.29 | 137.6 | 13.25 | 964.159 | 42.2592 | 93.6606
2020-03-25 04:30:00 | 14.44 | 133.2 | 14.91 | 151.7 | 15.86 | 140.7 | 15.83 | 139.8 | 13.23 | 964.159 | 42.055 | 93.0066
2020-03-25 04:45:00 | 14.95 | 135.2 | 15.08 | 152.2 | 15.16 | 145.4 | 14.92 | 139.8 | 12.98 | 964.01 | 41.9525 | 93.2394
2020-03-25 05:00:00 | 15.1 | 137 | 15.52 | 154.1 | 15.75 | 131.2 | 15.59 | 142.4 | 12.97 | 964.456 | 41.9867 | 91.8317
2020-03-25 05:15:00 | 13.11 | 135.6 | 13.59 | 153.2 | 14.47 | 144.9 | 14.41 | 140.4 | 13.17 | 964.456 | 40.2116 | 90.169
2020-03-25 05:30:00 | 12.62 | 135.3 | 12.97 | 151.6 | 13.65 | 138.7 | 13.65 | 140.9 | 13.09 | 964.456 | 40.2799 | 92.6113
2020-03-25 05:45:00 | 12.98 | 133.4 | 13.52 | 151.1 | 14.27 | 137.3 | 14.18 | 138.2 | 13.21 | 964.159 | 39.802 | 92.4635
2020-03-25 06:00:00 | 12.85 | 133.5 | 13.48 | 150 | 14.29 | 133.3 | 14.36 | 137.6 | 13.21 | 964.01 | 39.1193 | 93.1212
2020-03-25 06:15:00 | 13.55 | 129.2 | 13.36 | 147.4 | 13.97 | 137.6 | 14.05 | 135.2 | 13.52 | 964.307 | 39.1876 | 90.8969
2020-03-25 06:30:00 | 10.35 | 126.3 | 11.23 | 146.7 | 11.45 | 134.3 | 11.5 | 129.3 | 13.12 | 964.456 | 40.553 | 90.2318
2020-03-25 06:45:00 | 10.6 | 129.8 | 11.02 | 142.9 | 11.44 | 130.5 | 11.45 | 135.4 | 12.94 | 964.753 | 41.0309 | 86.4446
2020-03-25 07:00:00 | 9.92 | 123.1 | 10.27 | 139.3 | 11.16 | 125.7 | 11.31 | 130.5 | 12.96 | 964.753 | 41.4064 | 85.9089
2020-03-25 07:15:00 | 10.86 | 122 | 11.41 | 138.9 | 11.69 | 127.2 | 11.82 | 128.7 | 12.86 | 964.753 | 41.6106 | 81.8445
2020-03-25 07:30:00 | 11.2 | 124.8 | 11.93 | 139.9 | 12.06 | 124.3 | 12.07 | 131.8 | 12.92 | 965.05 | 41.4728 | 75.4524
2020-03-25 07:45:00 | 9.15 | 122.4 | 9.74 | 139.3 | 10.95 | 120.3 | 10.98 | 128.2 | 12.94 | 965.05 | 42.3238 | 67.0097
2020-03-25 08:00:00 | 9.02 | 116.4 | 9.49 | 134.3 | 10.06 | 125.2 | 10.29 | 122.9 | 12.82 | 965.495 | 42.6663 | 44.0386
2020-03-25 08:15:00 | 2.266 | 84.1 | 2.993 | 84 | 3.624 | 58.85 | 3.796 | 97.3 | 12.97 | 966.238 | 42.8002 | 31.7735
2020-03-25 08:30:00 | 4.08 | 119.6 | 4.727 | 137.2 | 5.252 | 118.5 | 5.253 | 127.4 | 13.1 | 966.683 | 42.4553 | 43.9169
2020-03-25 08:45:00 | 5.791 | 127.3 | 5.66 | 152.3 | 5.025 | 148.3 | 4.94 | 127 | 13.19 | 966.534 | 43.3788 | 55.7626
2020-03-25 09:00:00 | 5.812 | 134 | 5.785 | 156.5 | 6.02 | 144.2 | 5.933 | 130.5 | 13.42 | 966.534 | 46.2111 | 50.6452
2020-03-25 09:15:00 | 5.707 | 125.6 | 6.033 | 143.9 | 7.457 | 146.5 | 7.538 | 127.4 | 13.29 | 966.831 | 46.7558 | 28.3616
2020-03-25 09:30:00 | 3.156 | 119.2 | 3.643 | 138.7 | 4.066 | 139 | 4.079 | 120.6 | 13.83 | 966.406 | 47.4347 | 32.1304
2020-03-25 09:45:00 | 3.927 | 111.5 | 4.221 | 126.3 | 4.873 | 121.4 | 4.767 | 117.4 | 13.84 | 966.892 | 45.3165 | 34.5025
2020-03-25 10:00:00 | 2.617 | 112.6 | 2.89 | 139.2 | 3.601 | 96.1 | 3.57 | 114.6 | 13.98 | 967.131 | 46.0331 | 22.1912
2020-03-25 10:15:00 | 3.845 | 97.4 | 4.755 | 112.1 | 4.417 | 63.85 | 4.395 | 108.4 | 14.16 | 966.982 | 46.6132 | 21.1899
2020-03-25 10:30:00 | 6.664 | 135.4 | 6.637 | 154.3 | 6.348 | 68.98 | 6.297 | 136.8 | 14.25 | 966.833 | 47.2274 | 28.587
2020-03-25 10:45:00 | 5.242 | 137.2 | 5.128 | 159.7 | 4.941 | 69.17 | 4.907 | 139.9 | 14.17 | 966.833 | 47.4998 | 23.7061
2020-03-25 11:00:00 | 5.794 | 143.6 | 5.642 | 162.7 | 5.155 | 69.56 | 5.004 | 147.4 | 14.56 | 967.427 | 47.2941 | 23.344
2020-03-25 11:15:00 | 6.133 | 141.2 | 5.926 | 159.5 | 5.486 | 69.96 | 5.317 | 144.4 | 14.54 | 967.427 | 46.7352 | 20.3586
2020-03-25 11:30:00 | 6.121 | 147.9 | 6.345 | 165 | 6.073 | 69.97 | 6.022 | 154.1 | 14.67 | 967.724 | 47.1434 | 13.852
2020-03-25 11:45:00 | 4.167 | 137.1 | 4.167 | 152.2 | 4.064 | 69.64 | 4.072 | 141.9 | 14.76 | 967.872 | 48.1665 | 12.7879
2020-03-25 12:00:00 | 4.946 | 147.2 | 4.844 | 167.7 | 4.168 | 69.49 | 4.005 | 148.8 | 15.17 | 967.279 | 47.8595 | 12.9061
2020-03-25 12:15:00 | 5.431 | 143.9 | 5.448 | 162.9 | 4.562 | 69.7 | 4.372 | 149 | 15.62 | 967.111 | 47.1431 | 19.3019
2020-03-25 12:30:00 | 7.083 | 149.2 | 6.468 | 169 | 5.47 | 71.02 | 5.365 | 149.9 | 15.49 | 966.73 | 48.6099 | 27.279
2020-03-25 12:45:00 | 6.963 | 137.2 | 6.593 | 155.4 | 6.002 | 71.12 | 5.801 | 142 | 15.56 | 966.568 | 49.7356 | 27.6818
2020-03-25 13:00:00 | 7.152 | 132.8 | 7.483 | 149.1 | 7.302 | 71.34 | 7.14 | 138.5 | 15.78 | 966.539 | 51.1684 | 23.7024
2020-03-25 13:15:00 | 7.303 | 136.4 | 7.035 | 151.8 | 6.778 | 71.93 | 6.685 | 141.6 | 15.84 | 965.814 | 51.9188 | 22.3871
2020-03-25 13:30:00 | 6.787 | 141.5 | 6.33 | 162.6 | 5.671 | 71.95 | 5.429 | 144.7 | 16.04 | 965.823 | 56.4216 | 20.9313
2020-03-25 13:45:00 | 6.501 | 150.2 | 6.532 | 170.4 | 5.534 | 71.74 | 5.241 | 154.2 | 16.19 | 965.797 | 53.3174 | 15.0159
2020-03-25 14:00:00 | 5.48 | 145.7 | 5.123 | 165 | 4.466 | 71.58 | 4.303 | 150.8 | 16.5 | 965.797 | 56.8961 | 14.0109
2020-03-25 14:15:00 | 5.74 | 141.9 | 5.811 | 160 | 5.325 | 71.82 | 5.21 | 146.7 | 16.5 | 966.093 | 52.9334 | 12.7916
2020-03-25 14:30:00 | 5.306 | 130.9 | 5.778 | 151 | 5.437 | 71.6 | 5.299 | 135.5 | 17.27 | 966.093 | 54.4339 | 10.9257
2020-03-25 14:45:00 | 4.492 | 112.8 | 4.957 | 140.1 | 4.491 | 140.1 | 4.53 | 113.5 | 18.19 | 966.509 | 51.5632 | 8.609
2020-03-25 15:00:00 | 3.729 | 104.1 | 4.852 | 130 | 4.626 | 127 | 4.645 | 106.8 | 18.39 | 966.306 | 48.5593 | 8.2432
2020-03-25 15:15:00 | 4.093 | 108.2 | 4.998 | 131.6 | 4.557 | 154.3 | 4.589 | 108.4 | 19.03 | 966.392 | 51.7299 | 8.8011
2020-03-25 15:30:00 | 3.44 | 104.1 | 4.315 | 128.2 | 4.033 | 147.2 | 4.005 | 104.8 | 19.02 | 966.095 | 52.5753 | 10.0093
2020-03-25 15:45:00 | 4.846 | 132.2 | 5.136 | 154.7 | 4.41 | 163.8 | 4.405 | 135.4 | 18.62 | 965.947 | 54.9267 | 10.6522
2020-03-25 16:00:00 | 5.48 | 150.3 | 5.946 | 168.8 | 5.595 | 160.9 | 5.48 | 155.7 | 18.29 | 965.353 | 57.6202 | 12.1154
2020-03-25 16:15:00 | 5.763 | 149.2 | 5.606 | 166.6 | 4.908 | 159.8 | 4.792 | 152.7 | 17.78 | 965.502 | 57.6569 | 11.4799
2020-03-25 16:30:00 | 7.441 | 140 | 7.447 | 159.8 | 6.831 | 148.9 | 6.7 | 144.5 | 17.42 | 965.205 | 61.9266 | 20.1665
2020-03-25 16:45:00 | 7.956 | 146.7 | 7.808 | 164.3 | 7.51 | 153.5 | 7.428 | 151.2 | 17.26 | 964.843 | 60.0852 | 27.9183
2020-03-25 17:00:00 | 7.471 | 135.3 | 7.81 | 150.5 | 7.576 | 140.8 | 7.477 | 141.1 | 17.35 | 965.2 | 60.2296 | 34.0295
2020-03-25 17:15:00 | 8.19 | 145.4 | 8.34 | 161.3 | 8.02 | 150.4 | 7.881 | 150.4 | 16.88 | 964.609 | 62.0737 | 35.271
2020-03-25 17:30:00 | 8.12 | 146.2 | 8.46 | 164.1 | 8.06 | 155.3 | 7.82 | 150 | 16.48 | 964.164 | 63.9937 | 34.2993
2020-03-25 17:45:00 | 6.669 | 138.6 | 6.506 | 158.1 | 6.411 | 150.5 | 6.376 | 143.3 | 16.34 | 964.578 | 62.5959 | 26.9576
2020-03-25 18:00:00 | 5.738 | 137.9 | 5.611 | 155.6 | 5.61 | 141.3 | 5.523 | 142.8 | 16.33 | 964.458 | 60.0716 | 26.2001
2020-03-25 18:15:00 | 6.672 | 133.2 | 6.591 | 150.8 | 6.325 | 141.6 | 6.185 | 135.6 | 16.11 | 964.013 | 61.2323 | 31.5503
2020-03-25 18:30:00 | 7.165 | 131.4 | 7.133 | 152.4 | 6.63 | 140.7 | 6.761 | 135.7 | 15.9 | 964.013 | 61.446 | 37.5803
2020-03-25 18:45:00 | 7.264 | 129.2 | 7.046 | 152.1 | 6.305 | 140.5 | 6.343 | 130.8 | 15.53 | 963.864 | 62.2418 | 41.9069
2020-03-25 19:00:00 | 8.43 | 131.7 | 8.75 | 151.3 | 8.24 | 128.5 | 8.19 | 135.2 | 15.21 | 963.716 | 67.224 | 47.5194
2020-03-25 19:15:00 | 9.15 | 127.5 | 9.34 | 142.4 | 9.74 | 109.6 | 9.97 | 130.6 | 15.05 | 963.922 | 67.5994 | 51.229
2020-03-25 19:30:00 | 10.31 | 127 | 9.92 | 143.3 | 9.82 | 114.1 | 9.71 | 130.9 | 14.88 | 964.018 | 67.909 | 62.0232
2020-03-25 19:45:00 | 9.96 | 131.1 | 10.06 | 149.3 | 10.11 | 117.8 | 10.07 | 133.3 | 14.7 | 964.157 | 68.9372 | 62.6165
2020-03-25 20:00:00 | 10.35 | 128.4 | 10.47 | 145.2 | 10.54 | 128.2 | 10.42 | 132.7 | 14.38 | 964.604 | 73.5148 | 67.9741
2020-03-25 20:15:00 | 9.81 | 131.3 | 9.86 | 150 | 10.27 | 128.2 | 10.32 | 135.4 | 14.13 | 964.159 | 76.5188 | 68.883
2020-03-25 20:30:00 | 9.92 | 136.3 | 10.05 | 154.1 | 9.9 | 135 | 9.84 | 140.5 | 14.04 | 964.456 | 77.5427 | 64.8261
2020-03-25 20:45:00 | 8.69 | 138.8 | 8.55 | 156.2 | 8.86 | 146 | 8.72 | 143.2 | 13.88 | 964.456 | 82.8629 | 57.8687
2020-03-25 21:00:00 | 7.872 | 131.6 | 7.928 | 148.8 | 8.02 | 126.9 | 7.999 | 136.8 | 13.92 | 965.05 | 83.6171 | 46.0821
2020-03-25 21:15:00 | 5.531 | 118.2 | 6.008 | 135 | 6.638 | 112.5 | 6.695 | 123.8 | 13.79 | 965.198 | 84.2293 | 41.3675
2020-03-25 21:30:00 | 6.281 | 134.6 | 6.458 | 152.3 | 6.315 | 106.9 | 6.211 | 138.7 | 13.56 | 964.753 | 85.1859 | 39.4277
2020-03-25 21:45:00 | 6.159 | 137.3 | 6.312 | 152 | 6.572 | 107.4 | 6.496 | 138.4 | 13.34 | 964.901 | 86.5553 | 32.0897
2020-03-25 22:00:00 | 6.013 | 137.4 | 6.33 | 153.3 | 6.564 | 108.6 | 6.44 | 139.6 | 13.29 | 964.604 | 88.9514 | 28.4466
2020-03-25 22:15:00 | 5.513 | 134.6 | 5.826 | 155.6 | 4.992 | 108.2 | 4.907 | 133.7 | 13.46 | 964.753 | 91.3453 | 28.5833
2020-03-25 22:30:00 | 5.574 | 143.7 | 5.967 | 161.8 | 6.221 | 110.1 | 6.231 | 147.1 | 13.32 | 964.456 | 91.2774 | 20.6062
2020-03-25 22:45:00 | 5.832 | 133 | 6.156 | 151 | 6.828 | 110.6 | 6.888 | 136.7 | 13.21 | 964.604 | 88.2062 | 28.3321
2020-03-25 23:00:00 | 5.587 | 127.9 | 5.614 | 151.5 | 5.542 | 140.6 | 5.414 | 128.8 | 13.04 | 964.456 | 86.3629 | 33.431
2020-03-25 23:15:00 | 5.071 | 125.4 | 5.261 | 145.9 | 5.628 | 135.9 | 5.564 | 126.8 | 12.98 | 964.159 | 85.4071 | 31.6131
2020-03-25 23:30:00 | 4.867 | 131.4 | 5.284 | 147.4 | 5.231 | 147.7 | 5.281 | 138.6 | 12.84 | 964.159 | 84.6561 | 36.9115
2020-03-25 23:45:00 | 5.97 | 133.3 | 5.903 | 157.2 | 5.625 | 148.6 | 5.493 | 135.9 | 12.73 | 964.159 | 84.8609 | 30.198