## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-26 00:00:00 | 5.224 | 129.4 | 5.297 | 148.8 | 4.768 | 136.5 | 4.691 | 135.2 | 12.47 | 964.01 | 85.6119 | 25.3762
2020-03-26 00:15:00 | 3.54 | 121.6 | 4.088 | 140.6 | 3.665 | 138.3 | 3.616 | 127.8 | 12.43 | 963.862 | 86.2605 | 31.517
2020-03-26 00:30:00 | 4.777 | 135.9 | 4.645 | 153.6 | 4.575 | 147.9 | 4.497 | 136.6 | 12.49 | 963.565 | 88.8889 | 28.103
2020-03-26 00:45:00 | 6.598 | 131 | 6.828 | 151.8 | 6.704 | 141.5 | 6.644 | 135.1 | 12.34 | 963.565 | 90.7322 | 26.9391
2020-03-26 01:00:00 | 5.426 | 135.1 | 5.555 | 150.6 | 5.653 | 141.6 | 5.549 | 138.4 | 12.3 | 963.565 | 91.1418 | 18.8178
2020-03-26 01:15:00 | 5.352 | 133.9 | 5.583 | 152.9 | 5.979 | 142.1 | 5.989 | 134.4 | 12.23 | 963.268 | 91.688 | 27.3382
2020-03-26 01:30:00 | 6.064 | 135.7 | 6.084 | 154 | 6.414 | 145.8 | 6.427 | 138.1 | 12.14 | 963.119 | 92.6438 | 25.9822
2020-03-26 01:45:00 | 6.092 | 133.3 | 6.575 | 149.9 | 7.118 | 134.6 | 7.138 | 137.3 | 12.19 | 962.971 | 93.0876 | 28.1806
2020-03-26 02:00:00 | 5.873 | 134.1 | 6.522 | 151.4 | 7.118 | 137.8 | 7.189 | 135.2 | 12.31 | 962.971 | 94.1116 | 36.6566
2020-03-26 02:15:00 | 7.285 | 132.8 | 7.299 | 147.7 | 7.726 | 133.3 | 7.706 | 137.4 | 12.26 | 962.971 | 93.8727 | 28.5759
2020-03-26 02:30:00 | 5.148 | 137.9 | 5.905 | 151.6 | 6.658 | 130.2 | 6.723 | 143 | 12.42 | 963.268 | 95.2381 | 21.4523
2020-03-26 02:45:00 | 6.077 | 134.7 | 6.33 | 151.5 | 6.671 | 137.6 | 6.583 | 139.6 | 12.02 | 962.971 | 95.6477 | 23.6692
2020-03-26 03:00:00 | 4.806 | 141.6 | 5.179 | 161.8 | 5.77 | 156.1 | 5.801 | 144.1 | 12.1 | 963.565 | 96.3987 | 7.5042
2020-03-26 03:15:00 | 3.059 | 150.9 | 3.686 | 170.4 | 3.901 | 156.3 | 3.929 | 154.2 | 12.25 | 964.01 | 96.0573 | 0.048033
2020-03-26 03:30:00 | 1.329 | 134.9 | 2.068 | 144.4 | 2.517 | 171.1 | 2.517 | 137.6 | 12.15 | 964.159 | 96.0573 | -0.31406
2020-03-26 03:45:00 | 0.773 | 138 | 1.665 | 170.1 | 1.622 | 171 | 1.443 | 128 | 12.09 | 964.604 | 96.8766 | -0.26972
2020-03-26 04:00:00 | 0 | 146.2 | 0.101 | 168.8 | 0.645 | 171 | 0.314 | 151 | 12.18 | 964.753 | 96.1256 | -0.25125
2020-03-26 04:15:00 | 1.361 | 69.51 | 1.667 | 167.9 | 1.29 | 106.2 | 1.113 | 100.6 | 11.96 | 964.456 | 96.1939 | -0.26972
2020-03-26 04:30:00 | 2.015 | 33.1 | 2.531 | 33 | 2.001 | 58.09 | 1.767 | 67.11 | 11.71 | 964.307 | 96.8766 | -0.25494
2020-03-26 04:45:00 | 1.572 | 55.2 | 2.595 | 56.43 | 3.067 | 35.56 | 3.002 | 67.85 | 11.6 | 964.456 | 97.0814 | -0.24016
2020-03-26 05:00:00 | 0.894 | 54.79 | 2.866 | 62.63 | 3.27 | 35.65 | 3.257 | 62.91 | 11.88 | 964.753 | 96.6035 | -0.24016
2020-03-26 05:15:00 | 0.882 | 62.56 | 2.231 | 62.62 | 2.439 | 35.78 | 2.35 | 64.57 | 11.96 | 964.753 | 97.0814 | -0.24016
2020-03-26 05:30:00 | 1.452 | 45.93 | 2.771 | 61.96 | 2.67 | 35.62 | 2.511 | 55.03 | 12.09 | 964.753 | 96.8425 | -0.25864
2020-03-26 05:45:00 | 0.022 | 36.95 | 2.124 | 37.17 | 2.047 | 34.58 | 1.882 | 41.99 | 12 | 964.753 | 96.8425 | -0.24016
2020-03-26 06:00:00 | 1.216 | 37.25 | 1.994 | 37.29 | 1.907 | 34.54 | 1.657 | 42.38 | 12.03 | 965.198 | 97.0131 | -0.25864
2020-03-26 06:15:00 | 1.719 | 36.16 | 2.334 | 37.15 | 2.2 | 34.53 | 2.073 | 42.16 | 12.08 | 965.347 | 97.2862 | -0.25864
2020-03-26 06:30:00 | 1.175 | 26.17 | 3.065 | 36.64 | 2.762 | 26.67 | 2.587 | 23.5 | 11.98 | 965.198 | 96.8766 | -0.31037
2020-03-26 06:45:00 | 3.316 | 8.42 | 4.251 | 21.57 | 4.074 | 5.732 | 3.792 | 11.15 | 11.74 | 965.198 | 96.8766 | 1.7329
2020-03-26 07:00:00 | 2.898 | 14.13 | 4.627 | 33.61 | 4.659 | 10.93 | 3.904 | 17.59 | 11.82 | 965.347 | 97.8665 | 3.6985
2020-03-26 07:15:00 | 4.027 | 8.26 | 5.346 | 25.93 | 4.662 | 9.04 | 4.716 | 13.81 | 12.08 | 965.495 | 96.8083 | 3.9239
2020-03-26 07:30:00 | 3.909 | 8.33 | 4.832 | 20.08 | 5.005 | 8.21 | 4.538 | 16.6 | 11.79 | 965.792 | 96.0915 | 5.7566
2020-03-26 07:45:00 | 3.094 | 13.3 | 5.008 | 27.54 | 4.949 | 14.11 | 4.706 | 21.01 | 11.86 | 965.941 | 94.4188 | 5.5644
2020-03-26 08:00:00 | 4.642 | 7.714 | 4.504 | 15.87 | 4.692 | 6.043 | 4.599 | 6.516 | 11.79 | 966.238 | 94.5554 | 11.2914
2020-03-26 08:15:00 | 4.647 | 5.28 | 4.796 | 19.87 | 4.967 | 10.84 | 5.2 | 3.105 | 11.68 | 966.534 | 94.2482 | 12.6881
2020-03-26 08:30:00 | 3.598 | 12.55 | 4.594 | 27.55 | 4.509 | 14.28 | 4.273 | 18.07 | 11.74 | 966.831 | 93.19 | 6.1297
2020-03-26 08:45:00 | 3.69 | 12.27 | 5.202 | 26.98 | 4.89 | 16.83 | 4.726 | 17.04 | 11.96 | 967.425 | 92.9169 | 7.8257
2020-03-26 09:00:00 | 5.978 | 0.409 | 6.729 | 25.05 | 7.574 | 20.91 | 7.805 | 357.3 | 11.96 | 967.722 | 94.2823 | 23.884
2020-03-26 09:15:00 | 6.713 | 5.858 | 6.982 | 25.25 | 6.49 | 16.37 | 6.491 | 5.474 | 11.81 | 967.871 | 97.0131 | 34.2438
2020-03-26 09:30:00 | 7.721 | 5.719 | 8.18 | 24.75 | 8.77 | 19.84 | 9.29 | 2.124 | 11.5 | 967.722 | 99.9147 | 37.1443
2020-03-26 09:45:00 | 8.14 | 1.68 | 8.32 | 23.28 | 9.28 | 18.27 | 9.89 | 2.442 | 11.29 | 967.871 | 99.9488 | 46.9089
2020-03-26 10:00:00 | 7.834 | 359.9 | 8.24 | 22.36 | 8.97 | 16.18 | 9.37 | 359.5 | 11.08 | 968.026 | 99.9488 | 60.5295
2020-03-26 10:15:00 | 8.47 | 354 | 9.15 | 20.17 | 10.78 | 14.05 | 11.14 | 351.6 | 10.49 | 968.038 | 99.9488 | 73.3151
2020-03-26 10:30:00 | 8.03 | 350.2 | 9.39 | 20.2 | 10.33 | 12.6 | 10.72 | 347.3 | 9.92 | 968.229 | 99.9488 | 82.9345
2020-03-26 10:45:00 | 10.44 | 358.1 | 11.05 | 25.6 | 11.81 | 16.37 | 12.33 | 355.5 | 9.5 | 968.116 | 99.9607 | 87.3256
2020-03-26 11:00:00 | 10.38 | 3.671 | 11.78 | 23.34 | 11.81 | 28.67 | 12.4 | 2.755 | 9.52 | 968.289 | 98.8734 | 84.2366
2020-03-26 11:15:00 | 11.13 | 0.448 | 11.58 | 22.53 | 13.07 | 348 | 13.71 | 360 | 9.37 | 968.018 | 98.8051 | 86.9914
2020-03-26 11:30:00 | 12.38 | 4.974 | 12.13 | 24.73 | 11.81 | 28.64 | 12.22 | 5.105 | 9.13 | 968.018 | 99.9771 | 87.7378
2020-03-26 11:45:00 | 11.56 | 3.26 | 12.68 | 27.11 | 11.11 | 28.38 | 11.13 | 5.339 | 8.97 | 967.127 | 99.9828 | 87.6713
2020-03-26 12:00:00 | 12.1 | 4.271 | 13.02 | 25.42 | 12.24 | 6.987 | 12.25 | 6.287 | 9.13 | 967.424 | 93.4267 | 83.9875
2020-03-26 12:15:00 | 11.58 | 0.752 | 12.22 | 24.63 | 12.29 | 326.8 | 12.71 | 359.2 | 9.48 | 968.018 | 87.1436 | 84.7524
2020-03-26 12:30:00 | 11.32 | 354.6 | 11.63 | 22.47 | 12.86 | 331.5 | 13.22 | 354.3 | 9.5 | 968.166 | 81.4747 | 88.1701
2020-03-26 12:45:00 | 9.94 | 352.4 | 11.44 | 25.6 | 12.34 | 11.7 | 12.55 | 346.1 | 8.26 | 967.869 | 77.6507 | 85.9125
2020-03-26 13:00:00 | 12.34 | 354.4 | 13.41 | 23.63 | 15.74 | 18.83 | 16.32 | 353.9 | 7.882 | 967.127 | 76.1823 | 93.4537
2020-03-26 13:15:00 | 14.21 | 354.1 | 14.67 | 21.61 | 17.77 | 351.8 | 18.52 | 355.4 | 7.485 | 966.923 | 75.3287 | 90.6087
2020-03-26 13:30:00 | 13.78 | 358 | 14.05 | 19.57 | 16.17 | 346.5 | 16.65 | 355 | 7.172 | 966.972 | 85.5045 | 86.7824
2020-03-26 13:45:00 | 12.42 | 354.6 | 13.26 | 23.22 | 15.88 | 338.6 | 16.45 | 354.6 | 6.614 | 968.314 | 87.9706 | 91.4844
2020-03-26 14:00:00 | 11.77 | 355.2 | 11.8 | 21.66 | 13.46 | 331.2 | 14.08 | 353.1 | 6.286 | 967.571 | 98.0347 | 88.1664
2020-03-26 14:15:00 | 12.13 | 1.367 | 12.6 | 22.83 | 14.27 | 333.9 | 15.22 | 359.4 | 6.034 | 967.719 | 99.9488 | 88.8766
2020-03-26 14:30:00 | 11.28 | 355.6 | 12.25 | 22.69 | 14.51 | 311.8 | 15.23 | 355.3 | 6.474 | 967.868 | 99.9829 | 91.0336
2020-03-26 14:45:00 | 14.19 | 358.2 | 14.37 | 23.17 | 16.06 | 313.5 | 17.16 | 357.4 | 6.671 | 967.868 | 99.9829 | 83.281
2020-03-26 15:00:00 | 17.17 | 7.356 | 18.72 | 24.9 | 18.1 | 320.5 | 17.59 | 7.578 | 6.339 | 967.125 | 99.9829 | 73.7202
2020-03-26 15:15:00 | 12.94 | 16.65 | 19.9 | 33.84 | 18.27 | 332.7 | 17.12 | 18.91 | 6.065 | 967.422 | 99.9488 | 76.0901
2020-03-26 15:30:00 | 14.42 | 12.74 | 20.26 | 29.5 | 19.2 | 334.9 | 18.12 | 17.7 | 6.099 | 968.017 | 99.1631 | 77.2555
2020-03-26 15:45:00 | 15.77 | 9.75 | 20.02 | 26.46 | 18.93 | 350.7 | 17.83 | 14.69 | 6.181 | 966.828 | 94.0734 | 77.9243
2020-03-26 16:00:00 | 16.53 | 10.61 | 20.62 | 27.43 | 19.37 | 358.9 | 17.97 | 14.37 | 6.255 | 968.017 | 93.2195 | 77.0227
2020-03-26 16:15:00 | 15.91 | 9.71 | 19.74 | 27.39 | 18.65 | 1.145 | 17.64 | 13.05 | 6.133 | 968.908 | 93.9368 | 74.1445
2020-03-26 16:30:00 | 17.74 | 10.8 | 21.68 | 27.91 | 20.15 | 28.98 | 18.85 | 13.03 | 5.976 | 968.017 | 95.5081 | 78.6817
2020-03-26 16:45:00 | 15.53 | 4.537 | 16.25 | 21.22 | 17.41 | 4.183 | 17.94 | 3.63 | 5.163 | 968.314 | 100 | 78.0056
2020-03-26 17:00:00 | 16.05 | 3.338 | 15.11 | 23.13 | 16.4 | 10.05 | 17.03 | 359.7 | 4.736 | 969.502 | 99.9488 | 81.9295
2020-03-26 17:15:00 | 16.08 | 1.532 | 16.77 | 22.99 | 17.51 | 14.27 | 17.84 | 3.674 | 4.607 | 968.909 | 99.9488 | 78.0425
2020-03-26 17:30:00 | 16.5 | 5.653 | 15.79 | 23.36 | 15.84 | 10.67 | 15.65 | 7.367 | 4.547 | 970.226 | 99.9521 | 80.8432
2020-03-26 17:45:00 | 14.98 | 9.42 | 17.67 | 27.32 | 16.06 | 11.12 | 15.28 | 12.4 | 4.481 | 970.573 | 99.9619 | 83.7178
2020-03-26 18:00:00 | 15.11 | 5.427 | 16.45 | 25.03 | 15.53 | 13.08 | 15.19 | 7.16 | 4.344 | 970.36 | 99.9651 | 86.3374
2020-03-26 18:15:00 | 15.25 | 5.786 | 15.71 | 24.37 | 14.78 | 12.93 | 14.19 | 8.38 | 4.342 | 970.838 | 100 | 90.8865
2020-03-26 18:30:00 | 13.72 | 6.547 | 14.8 | 25.89 | 13.77 | 354 | 13.57 | 7.967 | 4.349 | 971.281 | 99.9716 | 91.9795
2020-03-26 18:45:00 | 12.87 | 7.012 | 15.01 | 25.5 | 13.91 | 357.7 | 13.61 | 10.32 | 4.311 | 972.177 | 99.975 | 88.2809
2020-03-26 19:00:00 | 13.07 | 4.448 | 13.18 | 22.74 | 13.68 | 359.5 | 13.84 | 3.832 | 4.346 | 972.177 | 99.9726 | 92.5393
2020-03-26 19:15:00 | 11.97 | 11.92 | 15.87 | 30.07 | 15.33 | 347.8 | 14.46 | 16.24 | 4.351 | 972.474 | 99.9751 | 88.5005
2020-03-26 19:30:00 | 12.77 | 4.504 | 12.98 | 22.5 | 12.25 | 0.924 | 12.01 | 8.4 | 4.554 | 973.047 | 100 | 82.8654
2020-03-26 19:45:00 | 12.28 | 4.026 | 12.12 | 22.37 | 11.66 | 359.3 | 11.35 | 7.347 | 4.674 | 973.656 | 99.9694 | 86.7439
2020-03-26 20:00:00 | 11.86 | 358.1 | 11.24 | 20.62 | 13.11 | 353 | 13.58 | 359.7 | 4.533 | 973.801 | 99.9689 | 86.9065
2020-03-26 20:15:00 | 12.96 | 3.055 | 12.36 | 21.02 | 13.46 | 354.4 | 13.89 | 3.963 | 4.368 | 974.398 | 99.9681 | 84.8427
2020-03-26 20:30:00 | 12.61 | 3.5 | 13.06 | 21.81 | 13.69 | 10.15 | 13.81 | 5.005 | 4.332 | 973.642 | 99.9739 | 85.249
2020-03-26 20:45:00 | 12.97 | 2.596 | 12.64 | 22.95 | 12.9 | 358.5 | 12.63 | 7.446 | 4.222 | 974.258 | 100 | 85.0723
2020-03-26 21:00:00 | 12.74 | 4.185 | 12.77 | 22.13 | 12.79 | 8.28 | 12.68 | 4.395 | 4.133 | 974.258 | 99.9729 | 86.1297
2020-03-26 21:15:00 | 12.51 | 5.245 | 12.69 | 22.22 | 12.37 | 1.471 | 12.41 | 6.013 | 4.116 | 974.555 | 99.9751 | 87.2353
2020-03-26 21:30:00 | 11.69 | 6.292 | 12.87 | 25.32 | 12.18 | 344.9 | 11.73 | 5.942 | 4.082 | 974.531 | 99.3637 | 83.7843
2020-03-26 21:45:00 | 11.52 | 3.817 | 11.76 | 22.01 | 11.88 | 337.3 | 11.73 | 5.683 | 4.083 | 974.555 | 97.6489 | 84.0688
2020-03-26 22:00:00 | 11.84 | 8.34 | 14.22 | 25.61 | 12.71 | 16.13 | 11.89 | 12.79 | 4.089 | 974.555 | 94.6424 | 81.8176
2020-03-26 22:15:00 | 10.71 | 12.04 | 15.04 | 30.07 | 14.01 | 25.09 | 13.38 | 16.48 | 4.348 | 974.852 | 79.748 | 76.1629
2020-03-26 22:30:00 | 9.81 | 16.52 | 15.21 | 34.62 | 14.39 | 80.9 | 13.61 | 20.51 | 4.87 | 975.298 | 66.5585 | 73.6668
2020-03-26 22:45:00 | 9.5 | 14.96 | 14.28 | 31.27 | 14.06 | 75.73 | 13.16 | 18.41 | 5.327 | 975.138 | 59.9296 | 65.5292
2020-03-26 23:00:00 | 9.83 | 10.81 | 12.86 | 27.05 | 11.97 | 129.4 | 11.19 | 13.63 | 5.422 | 975.106 | 65.7968 | 64.4255
2020-03-26 23:15:00 | 10.46 | 5.298 | 10.29 | 22.19 | 11.35 | 129 | 12.13 | 0.85 | 4.856 | 975.537 | 74.7752 | 63.62
2020-03-26 23:30:00 | 10.39 | 4.537 | 9.98 | 22.27 | 10.65 | 129 | 10.9 | 2.857 | 4.613 | 975.615 | 78.228 | 60.322
2020-03-26 23:45:00 | 8.84 | 0.115 | 9.41 | 18.73 | 10.89 | 129.3 | 11.4 | 0.264 | 4.527 | 975.692 | 84.7904 | 57.0387