## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-27 00:00:00 | 8.71 | 352.7 | 8.77 | 16.21 | 10.24 | 129.3 | 10.54 | 353.8 | 4.206 | 975.391 | 93.4769 | 65.1845
2020-03-27 00:15:00 | 8.22 | 354.1 | 8.69 | 19.87 | 10.63 | 132.6 | 10.91 | 354 | 3.935 | 975.744 | 95.7367 | 58.6989
2020-03-27 00:30:00 | 7.88 | 353.8 | 8.05 | 21.08 | 10.06 | 130.3 | 10.41 | 352.6 | 3.812 | 975.744 | 97.5161 | 57.695
2020-03-27 00:45:00 | 8.67 | 359.9 | 9.01 | 20.14 | 10.19 | 137 | 10.77 | 354.9 | 3.712 | 976.042 | 98.6074 | 57.9684
2020-03-27 01:00:00 | 8.2 | 2.302 | 8.99 | 22.87 | 10.2 | 135.1 | 10.66 | 357.4 | 3.605 | 975.744 | 98.095 | 54.6948
2020-03-27 01:15:00 | 7.982 | 354.9 | 8.23 | 20.75 | 9.89 | 131.9 | 10.35 | 353.8 | 3.598 | 976.184 | 97.7868 | 50.7746
2020-03-27 01:30:00 | 7.435 | 354.9 | 8.18 | 23.5 | 9.21 | 129 | 9.49 | 353.3 | 3.536 | 975.744 | 98.843 | 51.7943
2020-03-27 01:45:00 | 7.75 | 353.2 | 8.63 | 19.5 | 10.32 | 125.9 | 10.65 | 353.9 | 3.461 | 975.741 | 97.5816 | 48.973
2020-03-27 02:00:00 | 8.28 | 355.4 | 8.51 | 20.73 | 10.32 | 125 | 10.73 | 356 | 3.393 | 975.743 | 98.2663 | 52.1775
2020-03-27 02:15:00 | 8.03 | 358.7 | 8.57 | 21.12 | 10.08 | 124.6 | 10.56 | 356.7 | 3.325 | 975.715 | 95.0582 | 56.7507
2020-03-27 02:30:00 | 8.48 | 359.3 | 8.44 | 26 | 9.82 | 123.3 | 10.51 | 359.8 | 3.29 | 975.445 | 90.858 | 59.1401
2020-03-27 02:45:00 | 8.43 | 2.723 | 8.15 | 22.92 | 9.3 | 122.8 | 9.67 | 2.062 | 3.264 | 975.736 | 83.8876 | 55.966
2020-03-27 03:00:00 | 8.63 | 357.8 | 8.93 | 21.18 | 10.69 | 122.5 | 11.39 | 357.3 | 3.393 | 975.743 | 69.7761 | 64.3088
2020-03-27 03:15:00 | 9.36 | 2.684 | 9.58 | 21.02 | 11.27 | 121.6 | 11.95 | 4.215 | 3.6 | 975.744 | 57.4748 | 62.6312
2020-03-27 03:30:00 | 10.07 | 5.011 | 10.25 | 21.85 | 11.41 | 119.7 | 11.88 | 2.598 | 3.6 | 975.596 | 50.2306 | 71.006
2020-03-27 03:45:00 | 10.19 | 0.036 | 10.14 | 20.43 | 12.08 | 118.2 | 12.94 | 359.7 | 3.45 | 976.023 | 47.4286 | 72.031
2020-03-27 04:00:00 | 10.27 | 358.8 | 10.13 | 19.8 | 12.15 | 117.7 | 12.94 | 2.095 | 3.264 | 975.447 | 45.1734 | 72.3709
2020-03-27 04:15:00 | 10.31 | 4.512 | 10.11 | 20.74 | 11.57 | 117.2 | 12.01 | 3.235 | 3.051 | 975.447 | 45.8568 | 67.3792
2020-03-27 04:30:00 | 10.59 | 4.949 | 10.28 | 20.64 | 11.99 | 116.9 | 12.62 | 5.228 | 2.918 | 975.744 | 45.2417 | 69.4208
2020-03-27 04:45:00 | 10.29 | 6.587 | 10.24 | 21.52 | 10.39 | 116.7 | 10.65 | 5.29 | 2.799 | 975.001 | 45.9252 | 66.3557
2020-03-27 05:00:00 | 10.99 | 6.033 | 10.97 | 22.05 | 10.67 | 116.1 | 10.32 | 7.986 | 2.654 | 975.15 | 45.9935 | 65.8458
2020-03-27 05:15:00 | 10.68 | 5.605 | 10.51 | 21.81 | 11.59 | 115.7 | 12.02 | 5.516 | 2.537 | 975.15 | 44.695 | 62.018
2020-03-27 05:30:00 | 10.03 | 7.88 | 10.45 | 23.01 | 10.1 | 115.6 | 9.68 | 9.43 | 2.495 | 975.447 | 43.6016 | 56.2893
2020-03-27 05:45:00 | 10.09 | 9.21 | 11.63 | 24.92 | 11.05 | 115.1 | 10.25 | 9.8 | 2.515 | 975.596 | 43.0896 | 61.9958
2020-03-27 06:00:00 | 9.22 | 8.19 | 11.15 | 24.8 | 10.7 | 114.6 | 10.25 | 9.18 | 2.456 | 975.447 | 42.4398 | 63.9393
2020-03-27 06:15:00 | 9.86 | 8.02 | 11.69 | 24.67 | 11.11 | 113.6 | 10.49 | 9.67 | 2.539 | 975.744 | 40.7996 | 68.3805
2020-03-27 06:30:00 | 10.2 | 8.29 | 11.26 | 23.84 | 11.01 | 112.8 | 10.6 | 10.14 | 2.67 | 976.042 | 37.2459 | 63.0453
2020-03-27 06:45:00 | 10.23 | 7.806 | 11.62 | 24.83 | 10.68 | 112.2 | 10.19 | 10.01 | 2.775 | 976.042 | 36.9725 | 57.0653
2020-03-27 07:00:00 | 10.09 | 7.476 | 11.05 | 24.75 | 10.41 | 111.5 | 10.23 | 9.73 | 2.977 | 976.785 | 36.0157 | 51.8239
2020-03-27 07:15:00 | 9.93 | 5.503 | 9.97 | 22.87 | 9.53 | 111.2 | 9.59 | 4.799 | 2.978 | 976.636 | 37.0408 | 50.8595
2020-03-27 07:30:00 | 9.68 | 6.855 | 9.59 | 22.68 | 9.52 | 111 | 9.46 | 6.959 | 2.857 | 976.933 | 38.1685 | 46.1782
2020-03-27 07:45:00 | 9.14 | 4.332 | 9.1 | 24.95 | 9.34 | 110.9 | 9.5 | 5.19 | 2.892 | 976.933 | 38.6127 | 38.2343
2020-03-27 08:00:00 | 7.859 | 3.467 | 8.19 | 23.63 | 9.01 | 111.2 | 9.22 | 0 | 3.034 | 977.231 | 35.7762 | 43.492
2020-03-27 08:15:00 | 8.65 | 2.937 | 9.37 | 24.51 | 8.98 | 110.7 | 9.19 | 4.663 | 3.295 | 977.792 | 37.1745 | 45.3025
2020-03-27 08:30:00 | 8.52 | 4.887 | 8.89 | 24.87 | 8.96 | 110.7 | 9.13 | 3.335 | 3.58 | 978.122 | 34.3044 | 46.2521
2020-03-27 08:45:00 | 6.8 | 9.32 | 8.61 | 29.93 | 8.1 | 111.1 | 8.22 | 4.704 | 3.848 | 978.702 | 34.3043 | 40.2627
2020-03-27 09:00:00 | 7.134 | 15.27 | 11.45 | 30.64 | 10.82 | 110.6 | 10.43 | 17.15 | 3.99 | 978.894 | 32.1808 | 47.1558
2020-03-27 09:15:00 | 6.785 | 13 | 9.73 | 32.34 | 8.23 | 110.5 | 7.836 | 13.67 | 4.388 | 979.325 | 30.4697 | 38.5974
2020-03-27 09:30:00 | 6.147 | 13.22 | 8.43 | 31.66 | 8.28 | 110.6 | 7.841 | 15.98 | 4.784 | 979.607 | 29.9232 | 44.9957
2020-03-27 09:45:00 | 6.399 | 15.43 | 11.28 | 32.33 | 9.63 | 107.4 | 9.31 | 15.13 | 4.928 | 980.201 | 29.5132 | 45.2508
2020-03-27 10:00:00 | 6.312 | 16.59 | 8.86 | 33.33 | 8.17 | 107.5 | 7.724 | 13.42 | 5.084 | 980.795 | 27.7363 | 40.998
2020-03-27 10:15:00 | 5.975 | 17.61 | 10.46 | 34.73 | 9.38 | 105.3 | 8.83 | 24.45 | 5.675 | 980.498 | 25.9521 | 45.3688
2020-03-27 10:30:00 | 5.215 | 18.99 | 10.1 | 35.75 | 8.31 | 100.2 | 8.27 | 12.01 | 5.619 | 980.596 | 25.6104 | 46.7161
2020-03-27 10:45:00 | 6.879 | 12.61 | 8.6 | 31.88 | 9.54 | 99.1 | 8.78 | 24.43 | 5.87 | 980.941 | 25.0982 | 45.3405
2020-03-27 11:00:00 | 6.155 | 14.31 | 8.98 | 31.1 | 10.36 | 91.9 | 9.92 | 23.39 | 6.02 | 980.792 | 21.2049 | 40.667
2020-03-27 11:15:00 | 3.538 | 20.55 | 8.12 | 36.86 | 6.592 | 89.4 | 6.432 | 11.16 | 6.892 | 980.482 | 24.343 | 35.4103
2020-03-27 11:30:00 | 4.708 | 9.97 | 7.209 | 29.15 | 6.65 | 89.6 | 6.626 | 0.655 | 6.712 | 980.542 | 20.3115 | 35.5245
2020-03-27 11:45:00 | 4.353 | 14 | 8.27 | 35 | 7.406 | 89.6 | 7.278 | 10.18 | 7.218 | 980.814 | 19.7986 | 31.9095
2020-03-27 12:00:00 | 5.707 | 4.533 | 7.329 | 31.45 | 6.775 | 88.9 | 6.977 | 1.36 | 7.053 | 980.52 | 20.6179 | 31.4136
2020-03-27 12:15:00 | 5.34 | 11.53 | 7.171 | 33.9 | 6.221 | 88.2 | 6.076 | 357.1 | 6.993 | 980.216 | 22.8025 | 35.0187
2020-03-27 12:30:00 | 6.251 | 8.53 | 6.818 | 24.81 | 6.518 | 87.4 | 6.702 | 4.548 | 7.332 | 980.202 | 23.3487 | 33.7276
2020-03-27 12:45:00 | 4.487 | 6.573 | 6.161 | 26.11 | 6.505 | 88 | 6.361 | 9.88 | 7.778 | 979.898 | 21.0958 | 32.6915
2020-03-27 13:00:00 | 4.482 | 17.4 | 7.322 | 30.36 | 6.424 | 87.3 | 6.56 | 351.9 | 7.435 | 979.601 | 23.929 | 32.6666
2020-03-27 13:15:00 | 5.988 | 16.45 | 7.981 | 32.37 | 6.373 | 87.6 | 6.043 | 16.1 | 7.527 | 979.751 | 22.3588 | 35.3148
2020-03-27 13:30:00 | 4.703 | 12.09 | 6.682 | 30.64 | 7.688 | 84.8 | 7.82 | 3.939 | 7.609 | 979.31 | 20.9592 | 35.461
2020-03-27 13:45:00 | 2.496 | 18.94 | 5.466 | 24.91 | 6.16 | 86 | 5.837 | 25.64 | 8.08 | 979.306 | 21.0275 | 28.7568
2020-03-27 14:00:00 | 4.565 | 15.85 | 7.767 | 33.11 | 6.984 | 85 | 6.802 | 12.77 | 8.28 | 979.007 | 21.4712 | 34.8941
2020-03-27 14:15:00 | 5.937 | 341.1 | 5.872 | 351.7 | 5.18 | 83.5 | 4.927 | 347 | 8.57 | 979.007 | 23.0756 | 35.4137
2020-03-27 14:30:00 | 4.503 | 9.34 | 6.141 | 31.57 | 6.221 | 83.8 | 6.269 | 357.5 | 8.68 | 979.007 | 22.7684 | 32.0491
2020-03-27 14:45:00 | 3.641 | 10.2 | 6.353 | 34.11 | 5.282 | 83.3 | 5.281 | 0.487 | 7.814 | 978.413 | 23.3828 | 38.1593
2020-03-27 15:00:00 | 3.57 | 4.815 | 4.618 | 30.87 | 5.201 | 82.4 | 5.08 | 359.1 | 7.983 | 978.71 | 21.3006 | 42.8581
2020-03-27 15:15:00 | 3.74 | 6.073 | 5.509 | 27.81 | 5.269 | 81.2 | 5.075 | 356.5 | 7.927 | 978.71 | 22.3246 | 35.7282
2020-03-27 15:30:00 | 5.882 | 2.145 | 7.13 | 28.14 | 6.917 | 79.33 | 7.023 | 355.6 | 7.972 | 978.413 | 22.1198 | 38.9215
2020-03-27 15:45:00 | 5.033 | 13.44 | 7.381 | 28.9 | 6.49 | 78.45 | 6.155 | 15.78 | 7.893 | 978.413 | 23.7583 | 33.1976
2020-03-27 16:00:00 | 5.205 | 358.7 | 6.432 | 21.16 | 6.778 | 77.9 | 6.947 | 354.4 | 8.06 | 978.582 | 23.5535 | 23.2464
2020-03-27 16:15:00 | 5.426 | 0.478 | 6.662 | 28.77 | 6.452 | 77.99 | 6.514 | 355.2 | 7.833 | 978.494 | 24.0655 | 16.9741
2020-03-27 16:30:00 | 1.994 | 3.98 | 2.512 | 25.27 | 3.184 | 79.12 | 3.28 | 351.6 | 8.02 | 978.454 | 24.3732 | 27.5968
2020-03-27 16:45:00 | 3.351 | 7.607 | 5.581 | 31.93 | 5.45 | 78.5 | 5.358 | 357 | 7.956 | 978.467 | 24.24 | 31.4194
2020-03-27 17:00:00 | 2.634 | 8.37 | 3.461 | 23.49 | 4.277 | 78.67 | 4.401 | 0.288 | 7.822 | 978.637 | 24.7868 | 25.0806
2020-03-27 17:15:00 | 4.655 | 349.1 | 4.701 | 4.168 | 4.756 | 77.66 | 4.831 | 344.1 | 7.701 | 978.692 | 24.8558 | 22.0434
2020-03-27 17:30:00 | 2.88 | 357.7 | 3.702 | 9.99 | 3.499 | 78.31 | 3.517 | 342 | 7.545 | 978.712 | 26.0884 | 12.4997
2020-03-27 17:45:00 | 3.028 | 348.7 | 3.372 | 3.559 | 3.512 | 78.23 | 3.523 | 345 | 7.41 | 978.861 | 26.6348 | 9.1521
2020-03-27 18:00:00 | 3.044 | 355.7 | 2.63 | 12.17 | 3.298 | 78.45 | 3.412 | 347.1 | 7.229 | 979.125 | 25.747 | 5.2208
2020-03-27 18:15:00 | 2.788 | 342.1 | 2.973 | 359.2 | 2.952 | 78.52 | 2.872 | 342.6 | 7.136 | 979.156 | 26.9763 | 3.2626
2020-03-27 18:30:00 | 2.461 | 355.8 | 2.952 | 5.186 | 3.502 | 78.63 | 3.565 | 351.7 | 7.03 | 979.012 | 27.8684 | 2.1837
2020-03-27 18:45:00 | 3.24 | 359.4 | 3.571 | 10.86 | 4.097 | 78.48 | 4.24 | 359.4 | 7.001 | 979.012 | 27.5998 | 2.7046
2020-03-27 19:00:00 | 2.467 | 14.96 | 3.039 | 17.16 | 4.033 | 78.66 | 3.135 | 4.488 | 6.816 | 979.012 | 29.7865 | 1.9952
2020-03-27 19:15:00 | 2.231 | 3.69 | 3.134 | 20.08 | 3.649 | 78.69 | 2.923 | 5.302 | 6.789 | 978.863 | 30.2306 | 1.5297
2020-03-27 19:30:00 | 2.416 | 4.084 | 3.024 | 20.02 | 3.291 | 78.72 | 3.16 | 7.777 | 6.773 | 978.863 | 27.737 | 1.6959
2020-03-27 19:45:00 | 2.002 | 8.21 | 2.983 | 27.89 | 3.074 | 78.72 | 2.724 | 11.65 | 6.725 | 978.566 | 27.9419 | 1.8474
2020-03-27 20:00:00 | 1.736 | 17.77 | 3.091 | 35.18 | 3.695 | 78.73 | 3.552 | 19.02 | 6.663 | 978.566 | 27.8736 | 1.6036
2020-03-27 20:15:00 | 2.303 | 26.31 | 3.673 | 46.56 | 4.412 | 78.79 | 4.387 | 28.14 | 6.728 | 978.418 | 26.4048 | 2.0913
2020-03-27 20:30:00 | 2.954 | 22.54 | 4.369 | 39.08 | 4.773 | 78.55 | 4.775 | 24.64 | 6.757 | 978.418 | 24.3894 | 3.3697
2020-03-27 20:45:00 | 2.707 | 23.42 | 4.341 | 41.14 | 4.791 | 78.63 | 4.749 | 24.92 | 6.803 | 978.418 | 23.3988 | 3.1923
2020-03-27 21:00:00 | 2.525 | 28.41 | 4.228 | 46.36 | 4.468 | 78.66 | 4.505 | 33.27 | 6.881 | 978.418 | 22.579 | 2.4053
2020-03-27 21:15:00 | 1.356 | 31.82 | 3.661 | 43.52 | 4.41 | 78.84 | 4.489 | 37.33 | 6.808 | 978.715 | 22.7156 | 2.7748
2020-03-27 21:30:00 | 1.447 | 38.07 | 3.64 | 54.75 | 4.181 | 78.93 | 4.189 | 41.18 | 6.808 | 978.715 | 21.725 | 2.4423
2020-03-27 21:45:00 | 1.856 | 37.21 | 4.254 | 52.77 | 4.608 | 78.93 | 4.64 | 41.08 | 6.937 | 978.715 | 21.93 | 2.1134
2020-03-27 22:00:00 | 2.24 | 39.64 | 4.208 | 57.24 | 4.715 | 78.96 | 4.729 | 43.17 | 6.911 | 978.715 | 21.9983 | 1.8585
2020-03-27 22:15:00 | 2.782 | 42.14 | 4.208 | 63.08 | 4.333 | 78.89 | 4.316 | 46.07 | 6.958 | 978.715 | 21.5201 | 1.2008
2020-03-27 22:30:00 | 2.014 | 50.19 | 2.633 | 66.27 | 2.585 | 79.02 | 2.382 | 62.34 | 6.938 | 979.012 | 22.0666 | 0.7168
2020-03-27 22:45:00 | 1.608 | 52.69 | 1.976 | 59.35 | 2.311 | 79.02 | 2.304 | 61.21 | 6.932 | 979.012 | 22.6131 | -0.16257
2020-03-27 23:00:00 | 1.767 | 55.42 | 2.341 | 60.29 | 2.64 | 79.02 | 2.612 | 62.3 | 6.886 | 979.012 | 22.8181 | 0.24016
2020-03-27 23:15:00 | 2.114 | 64.56 | 2.674 | 81.6 | 3.324 | 79.02 | 3.387 | 66.21 | 6.935 | 979.012 | 22.6131 | 0.43969
2020-03-27 23:30:00 | 2.658 | 52.75 | 3.561 | 69.49 | 4.107 | 79 | 4.11 | 54.51 | 7.007 | 979.012 | 20.7003 | 0.21061
2020-03-27 23:45:00 | 2.211 | 43.74 | 3.001 | 61.22 | 3.751 | 78.97 | 3.837 | 46.98 | 7.031 | 978.863 | 21.1785 | 0.051728