## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-28 00:00:00 | 1.979 | 38.93 | 3.165 | 61.82 | 3.352 | 79 | 3.374 | 39.11 | 7.099 | 979.012 | 20.4611 | 0.24386
2020-03-28 00:15:00 | 1.833 | 35.1 | 2.676 | 55.8 | 3.255 | 79 | 3.272 | 40.01 | 7.051 | 978.863 | 20.0854 | -0.084981
2020-03-28 00:30:00 | 1.73 | 38.53 | 2.449 | 55.49 | 2.772 | 78.98 | 2.793 | 42.87 | 7.136 | 978.863 | 19.2656 | -0.22539
2020-03-28 00:45:00 | 1.217 | 30.12 | 2.538 | 55.15 | 2.863 | 79 | 2.806 | 32.65 | 7.209 | 979.012 | 18.9923 | -0.22539
2020-03-28 01:00:00 | 0.511 | 25.52 | 2.142 | 55.12 | 2.523 | 79.01 | 2.488 | 29.39 | 7.197 | 979.012 | 18.924 | -0.29928
2020-03-28 01:15:00 | 0.026 | 24.1 | 1.766 | 55.12 | 2.339 | 79.02 | 2.322 | 28.18 | 7.054 | 979.012 | 18.5824 | -0.28081
2020-03-28 01:30:00 | 0.961 | 15.57 | 1.483 | 55.11 | 1.8 | 79.02 | 1.175 | 20.38 | 7.188 | 979.012 | 17.7284 | -0.28081
2020-03-28 01:45:00 | 0.574 | 11.51 | 0.425 | 55.1 | 1.276 | 79.02 | 1.316 | 14.15 | 7.064 | 979.161 | 18.3091 | -0.28081
2020-03-28 02:00:00 | 1.593 | 5.066 | 1.667 | 54.97 | 1.454 | 78.97 | 1.36 | 8.82 | 6.949 | 979.012 | 19.5389 | -0.28081
2020-03-28 02:15:00 | 2.441 | 334.4 | 2.454 | 340 | 2.556 | 78.9 | 2.495 | 347 | 6.688 | 979.012 | 21.5201 | -0.29928
2020-03-28 02:30:00 | 2.546 | 327.3 | 2.955 | 331.1 | 2.629 | 78.56 | 2.592 | 331.9 | 6.482 | 979.012 | 23.228 | -0.29189
2020-03-28 02:45:00 | 2.643 | 319.3 | 3.855 | 325.3 | 3.7 | 78.62 | 3.654 | 310.5 | 5.949 | 979.012 | 25.38 | 0.5764
2020-03-28 03:00:00 | 2.446 | 326.2 | 3.124 | 343.7 | 2.698 | 78.7 | 2.786 | 322.2 | 5.257 | 978.863 | 31.2212 | 3.3882
2020-03-28 03:15:00 | 2.993 | 336.4 | 3.85 | 355.7 | 3.199 | 78.64 | 3.028 | 335.7 | 5.054 | 978.798 | 31.1532 | 4.1752
2020-03-28 03:30:00 | 4.096 | 344.5 | 4.686 | 359.5 | 4.003 | 78.13 | 4.09 | 343.2 | 5.04 | 978.994 | 31.9764 | 5.775
2020-03-28 03:45:00 | 3.05 | 357.8 | 3.617 | 15.52 | 5.29 | 78.61 | 5.449 | 349.7 | 4.724 | 978.715 | 34.6454 | 9.3258
2020-03-28 04:00:00 | 3.815 | 8.56 | 4.959 | 25.53 | 4.796 | 78.26 | 4.754 | 6.432 | 4.581 | 978.717 | 32.6648 | 14.7979
2020-03-28 04:15:00 | 4.226 | 10.12 | 5.499 | 26.8 | 5.071 | 77.99 | 4.912 | 9.13 | 4.761 | 978.716 | 30.887 | 16.3866
2020-03-28 04:30:00 | 4.341 | 9.05 | 5.407 | 23.77 | 5.132 | 77.93 | 4.892 | 9.55 | 4.66 | 978.716 | 30.411 | 18.3597
2020-03-28 04:45:00 | 4.507 | 7.147 | 5.105 | 22.24 | 4.842 | 77.76 | 4.734 | 5.47 | 4.667 | 979.014 | 30.5468 | 20.2995
2020-03-28 05:00:00 | 3.611 | 18.61 | 5.174 | 32.3 | 5.786 | 78.13 | 5.75 | 24.2 | 4.708 | 978.836 | 31.4348 | 14.8016
2020-03-28 05:15:00 | 3.021 | 24.54 | 5.335 | 38.03 | 6.157 | 78.29 | 6.16 | 28.27 | 4.705 | 978.715 | 29.9993 | 13.0022
2020-03-28 05:30:00 | 1.303 | 46.77 | 2.641 | 50.94 | 3.136 | 78.65 | 3.219 | 47.98 | 4.557 | 978.717 | 30.4085 | 7.9698
2020-03-28 05:45:00 | 1.938 | 24.87 | 2.633 | 34.86 | 3.191 | 78.64 | 3.211 | 37.15 | 4.6 | 979.282 | 30.1357 | 5.546
2020-03-28 06:00:00 | 3.263 | 25.09 | 3.717 | 31.54 | 3.962 | 78.45 | 3.929 | 36.57 | 4.455 | 979.295 | 31.3646 | 7.1421
2020-03-28 06:15:00 | 2.215 | 40.11 | 4.269 | 52.91 | 4.812 | 78.5 | 4.876 | 44.6 | 4.416 | 979.15 | 30.6148 | 9.0413
2020-03-28 06:30:00 | 4.463 | 37.45 | 6.268 | 53.49 | 6.673 | 77.81 | 6.611 | 42.48 | 4.57 | 979.014 | 28.9737 | 10.231
2020-03-28 06:45:00 | 2.389 | 31.53 | 6.199 | 46.33 | 6.261 | 78.55 | 6.18 | 38.37 | 4.554 | 979.312 | 30.068 | 9.8357
2020-03-28 07:00:00 | 3.351 | 32.36 | 5.959 | 45.2 | 6.449 | 78.12 | 6.458 | 42.5 | 4.777 | 979.275 | 29.1107 | 7.8331
2020-03-28 07:15:00 | 3.649 | 32.32 | 5.732 | 43.05 | 5.73 | 77.96 | 5.579 | 42.53 | 4.929 | 979.542 | 28.6253 | 8.5536
2020-03-28 07:30:00 | 3.943 | 31.29 | 6.795 | 43.96 | 7.233 | 77.76 | 7.143 | 41.98 | 5.243 | 979.607 | 26.9855 | 9.3812
2020-03-28 07:45:00 | 4.466 | 35.83 | 6.043 | 54.03 | 6.193 | 77.57 | 6.185 | 42.71 | 5.528 | 980.052 | 26.3023 | 9.4884
2020-03-28 08:00:00 | 4.594 | 36.36 | 6.805 | 51.06 | 6.856 | 77.02 | 6.771 | 44.76 | 5.991 | 980.201 | 23.4983 | 10.3345
2020-03-28 08:15:00 | 3.921 | 31.03 | 6.478 | 45.53 | 6.635 | 77.25 | 6.496 | 37.37 | 6.572 | 980.133 | 21.8542 | 9.9317
2020-03-28 08:30:00 | 5.28 | 32.84 | 7.503 | 47.46 | 7.426 | 75.55 | 7.288 | 42.43 | 6.571 | 980.495 | 20.0784 | 11.236
2020-03-28 08:45:00 | 4.402 | 32.41 | 5.921 | 48.37 | 5.801 | 74.49 | 5.651 | 39.1 | 7.113 | 981.001 | 19.7344 | 11.4245
2020-03-28 09:00:00 | 3.681 | 32.92 | 6.199 | 51.17 | 6.816 | 78.52 | 6.662 | 39.14 | 7.682 | 981.143 | 17.8189 | 7.7074
2020-03-28 09:15:00 | 3.976 | 37.33 | 6.729 | 54.43 | 6.452 | 73.66 | 6.343 | 42.58 | 7.822 | 981.386 | 17.8529 | 5.0102
2020-03-28 09:30:00 | 3.475 | 51.07 | 5.156 | 64.09 | 4.967 | 73.72 | 4.945 | 56.66 | 8.27 | 981.977 | 16.5216 | 4.94
2020-03-28 09:45:00 | 1.291 | 66.72 | 2.312 | 93.4 | 2.669 | 74.83 | 2.555 | 62.01 | 9.17 | 982.125 | 16.1096 | 3.0446
2020-03-28 10:00:00 | 2.486 | 11.98 | 4.154 | 26.25 | 4.428 | 73.57 | 4.26 | 11.9 | 9.4 | 982.334 | 15.4929 | 0.7168
2020-03-28 10:15:00 | 3.066 | 10.83 | 3.42 | 25.13 | 3.08 | 73.14 | 3.124 | 13.67 | 8.91 | 981.974 | 15.2192 | 0.17366
2020-03-28 10:30:00 | 1.911 | 13.43 | 3.157 | 13.12 | 4.212 | 74.46 | 4.233 | 12.4 | 10.18 | 982.27 | 14.1268 | 0.2882
2020-03-28 10:45:00 | 3.373 | 345.9 | 3.901 | 349 | 3.924 | 73.06 | 3.753 | 350.6 | 9.83 | 981.974 | 15.6583 | 1.0678
2020-03-28 11:00:00 | 3.236 | 24.09 | 4.676 | 44.74 | 4.829 | 77.54 | 4.494 | 14.59 | 9.79 | 981.677 | 15.3165 | 1.962
2020-03-28 11:15:00 | 2.347 | 15.73 | 3.744 | 22 | 3.906 | 74.7 | 3.702 | 15.74 | 10.01 | 981.677 | 16.7499 | 5.0952
2020-03-28 11:30:00 | 3.559 | 351 | 4.377 | 9.61 | 4.288 | 73.46 | 4.181 | 342.3 | 10.49 | 981.974 | 17.1588 | 6.9943
2020-03-28 11:45:00 | 3.475 | 344.3 | 3.944 | 357.2 | 3.313 | 72.28 | 3.392 | 343.9 | 10.84 | 981.38 | 15.7599 | 6.6359
2020-03-28 12:00:00 | 3.322 | 335.3 | 3.675 | 346.2 | 3.461 | 75.68 | 3.292 | 341.8 | 11.05 | 981.38 | 16.408 | 6.9426
2020-03-28 12:15:00 | 2.902 | 342.4 | 3.086 | 349.1 | 3.341 | 77.09 | 3.551 | 338.1 | 10.62 | 981.231 | 17.329 | 3.7429
2020-03-28 12:30:00 | 2.138 | 3.098 | 3.188 | 19.4 | 3.573 | 75.47 | 3.706 | 350.7 | 11.01 | 981.231 | 15.5897 | 4.4486
2020-03-28 12:45:00 | 3.188 | 8.07 | 3.682 | 14.49 | 4.786 | 74.12 | 4.726 | 4.547 | 10.47 | 980.638 | 16.2726 | 2.9817
2020-03-28 13:00:00 | 3.326 | 15.52 | 4.726 | 19.54 | 5.646 | 74.54 | 5.655 | 7.126 | 10.82 | 980.192 | 16.9929 | 1.0346
2020-03-28 13:15:00 | 1.724 | 6.769 | 3.18 | 17.2 | 3.802 | 75.67 | 3.564 | 14.82 | 11.15 | 980.044 | 17.4031 | 3.6764
2020-03-28 13:30:00 | 3.167 | 16.14 | 3.275 | 355.1 | 6.294 | 73.5 | 5.984 | 22.61 | 11.45 | 979.896 | 17.5738 | 5.0989
2020-03-28 13:45:00 | 3.843 | 347.5 | 3.868 | 4.979 | 3.804 | 72.7 | 3.837 | 339.7 | 10.25 | 979.302 | 18.7681 | 6.0928
2020-03-28 14:00:00 | 2.25 | 24.62 | 4.04 | 28.72 | 5.241 | 73.7 | 4.79 | 24.84 | 10.4 | 979.074 | 18.3586 | 8.258
2020-03-28 14:15:00 | 2.777 | 1.959 | 3.044 | 1.4 | 4.247 | 75.13 | 4.349 | 8.23 | 10.44 | 978.682 | 18.7696 | 10.7446
2020-03-28 14:30:00 | 2.624 | 22.14 | 3.504 | 20.42 | 4.57 | 73.41 | 4.324 | 24.04 | 10.53 | 978.707 | 19.112 | 8.5351
2020-03-28 14:45:00 | 2.335 | 1.079 | 2.853 | 25.03 | 3.066 | 73.26 | 3.06 | 10.07 | 10.28 | 978.552 | 20.4775 | 6.6581
2020-03-28 15:00:00 | 4.512 | 323.4 | 4.819 | 333.1 | 4.943 | 71.02 | 4.917 | 325.6 | 10.42 | 978.388 | 20.2709 | 8.1028
2020-03-28 15:15:00 | 2.444 | 4.538 | 3.729 | 26.18 | 3.542 | 71.8 | 3.534 | 350.8 | 10.09 | 977.671 | 21.7738 | 8.0658
2020-03-28 15:30:00 | 2.328 | 19.66 | 2.911 | 5.502 | 3.86 | 71.7 | 3.534 | 25.04 | 9.99 | 977.077 | 22.1842 | 8.6053
2020-03-28 15:45:00 | 3.518 | 358.7 | 3.95 | 347 | 3.794 | 71.23 | 3.708 | 5.127 | 10.24 | 977.522 | 22.115 | 8.003
2020-03-28 16:00:00 | 2.761 | 342.3 | 3.842 | 347.9 | 4.051 | 71.4 | 3.937 | 342.8 | 10.02 | 977.225 | 23.071 | 6.296
2020-03-28 16:15:00 | 3.759 | 336.3 | 4.062 | 338.6 | 3.54 | 70.86 | 3.529 | 337.3 | 10.01 | 976.928 | 22.7299 | 6.03
2020-03-28 16:30:00 | 2.425 | 356.8 | 2.484 | 358 | 3.207 | 71.38 | 3.022 | 354.6 | 9.81 | 976.631 | 23.2095 | 4.0865
2020-03-28 16:45:00 | 2.019 | 26.21 | 2.553 | 7.722 | 3.253 | 71.34 | 2.92 | 17.5 | 9.9 | 976.631 | 24.0996 | 4.9067
2020-03-28 17:00:00 | 1.085 | 15.26 | 1.369 | 28.22 | 2.624 | 71.43 | 2.63 | 10.9 | 9.39 | 976.186 | 24.2362 | 4.5447
2020-03-28 17:15:00 | 1.03 | 8.74 | 2.204 | 15.32 | 2.338 | 71.79 | 2.224 | 347.9 | 9.33 | 976.037 | 25.7382 | 2.5864
2020-03-28 17:30:00 | 2.091 | 358.5 | 2.513 | 29.57 | 2.543 | 71.57 | 2.569 | 348.5 | 9.16 | 975.775 | 25.0555 | 1.9878
2020-03-28 17:45:00 | 2.021 | 344 | 2.287 | 18.91 | 2.503 | 71.53 | 2.581 | 344.8 | 9.02 | 976.066 | 25.3286 | 0.60596
2020-03-28 18:00:00 | 0.815 | 353.6 | 1.789 | 33.59 | 1.605 | 71.65 | 1.685 | 334.6 | 9.01 | 975.902 | 26.2191 | 0.37318
2020-03-28 18:15:00 | 0.74 | 332.9 | 1.567 | 0.408 | 1.714 | 71.67 | 1.655 | 335.8 | 8.79 | 975.633 | 26.9381 | -0.022169
2020-03-28 18:30:00 | 1.987 | 336 | 2.283 | 348.2 | 2.182 | 71.6 | 2.118 | 341.8 | 8.69 | 975.592 | 27.3169 | -0.26233
2020-03-28 18:45:00 | 2.474 | 344.4 | 2.766 | 353.1 | 2.739 | 71.58 | 2.671 | 351.5 | 8.57 | 975.296 | 27.9665 | -0.18105
2020-03-28 19:00:00 | 2.86 | 351.9 | 3.154 | 5.157 | 2.82 | 71.56 | 3.005 | 356 | 8.58 | 975.268 | 27.5909 | -0.24016
2020-03-28 19:15:00 | 2.977 | 356.8 | 3.206 | 4.968 | 2.952 | 71.52 | 2.646 | 0.58 | 8.65 | 975.732 | 28.4104 | -0.24016
2020-03-28 19:30:00 | 3.131 | 356.9 | 3.096 | 5.013 | 2.988 | 71.48 | 3.371 | 0.372 | 8.56 | 975.891 | 29.1617 | -0.22908
2020-03-28 19:45:00 | 2.919 | 355.4 | 2.965 | 4.793 | 2.634 | 71.5 | 2.928 | 6.865 | 8.56 | 976.04 | 28.6153 | -0.18474
2020-03-28 20:00:00 | 2.485 | 29.41 | 3.165 | 7.367 | 3.397 | 71.55 | 2.411 | 2.136 | 8.47 | 975.892 | 29.7775 | -0.18474
2020-03-28 20:15:00 | 2.188 | 13.69 | 3.364 | 28.89 | 3.052 | 71.57 | 2.944 | 16.78 | 8.33 | 976.04 | 30.1211 | -0.2143
2020-03-28 20:30:00 | 2.495 | 32.59 | 3.333 | 45.31 | 3.306 | 71.53 | 3.236 | 30.35 | 8.28 | 976.04 | 30.6024 | -0.23647
2020-03-28 20:45:00 | 3.028 | 85.4 | 3.303 | 49.32 | 3.077 | 71.55 | 3.015 | 40.64 | 8.31 | 976.04 | 29.9214 | -0.25864
2020-03-28 21:00:00 | 2.311 | 44.54 | 3.443 | 49.05 | 3.054 | 71.54 | 3.022 | 41.78 | 8.39 | 976.04 | 29.1017 | -0.26972
2020-03-28 21:15:00 | 2.27 | 51.5 | 3.42 | 48.88 | 2.93 | 71.54 | 2.921 | 38.65 | 8.37 | 975.743 | 28.556 | -0.055423
2020-03-28 21:30:00 | 2.393 | 70.75 | 3.28 | 50.03 | 2.996 | 71.56 | 2.895 | 48.38 | 8.35 | 975.743 | 27.5318 | 0.018474
2020-03-28 21:45:00 | 2.582 | 59.59 | 2.853 | 57 | 2.95 | 71.61 | 2.87 | 63.11 | 8.42 | 975.743 | 26.746 | 0.055423
2020-03-28 22:00:00 | 2.796 | 52.55 | 2.63 | 60.98 | 2.779 | 71.61 | 2.742 | 66.1 | 8.36 | 975.446 | 27.463 | 0.0073897
2020-03-28 22:15:00 | 3.455 | 49.97 | 3.16 | 55.79 | 3.247 | 71.57 | 3.183 | 62.71 | 8.44 | 975.446 | 26.5753 | 0.0036948
2020-03-28 22:30:00 | 3.011 | 63.44 | 2.814 | 73.5 | 2.039 | 71.69 | 1.816 | 67.23 | 8.64 | 975.446 | 25.175 | -0.21061
2020-03-28 22:45:00 | 2.007 | 70.24 | 1.412 | 84.5 | 0 | 71.75 | 0 | 63.63 | 8.9 | 975.446 | 23.0228 | -0.26972
2020-03-28 23:00:00 | 0.211 | 92.4 | 0.12 | 85.3 | 0.842 | 71.88 | 0.709 | 64.79 | 9.09 | 975.446 | 21.1099 | -0.25125
2020-03-28 23:15:00 | 0 | 139 | 0 | 85.3 | 0.193 | 71.9 | 0.037 | 108.1 | 9.25 | 975.149 | 19.88 | -0.25125
2020-03-28 23:30:00 | 0.149 | 139 | 0 | 85.3 | 0 | 71.95 | 0 | 108.1 | 9.19 | 974.852 | 19.6072 | -0.24016
2020-03-28 23:45:00 | 0 | 138.9 | 0.008 | 85.3 | 0 | 71.96 | 0 | 108.1 | 9.25 | 974.852 | 20.2903 | -0.25125