## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-29 00:00:00 | 0 | 138.9 | 0.188 | 85.3 | 0.417 | 71.95 | 0.077 | 108.1 | 9.2 | 974.852 | 21.1785 | -0.2845
2020-03-29 00:15:00 | 0.61 | 152.1 | 1.741 | 153.4 | 1.749 | 72.03 | 1.624 | 159 | 9.28 | 975.149 | 20.1196 | -0.26233
2020-03-29 00:30:00 | 0.631 | 158.3 | 2.017 | 157.9 | 2.044 | 72.1 | 1.899 | 168.6 | 9.05 | 975.446 | 20.6319 | -0.25125
2020-03-29 00:45:00 | 1.704 | 171.3 | 2.076 | 174.1 | 1.958 | 72.71 | 1.915 | 181.9 | 9.07 | 975.446 | 20.7 | -0.26233
2020-03-29 01:00:00 | 1.756 | 151.9 | 2.643 | 168.6 | 2.779 | 74.68 | 2.704 | 163.2 | 9.11 | 975.446 | 20.6987 | -0.16627
2020-03-29 01:15:00 | 2.129 | 152.9 | 3.027 | 166.3 | 3.1 | 74.77 | 3.002 | 163 | 9.19 | 975.149 | 20.8353 | 1.5186
2020-03-29 01:30:00 | 2.975 | 130.7 | 3.696 | 146.1 | 3.723 | 83.6 | 3.662 | 136.7 | 8.77 | 974.852 | 22.1999 | 5.2023
2020-03-29 01:45:00 | 2.185 | 126.5 | 3.454 | 145.1 | 3.624 | 87.9 | 3.646 | 140.4 | 8.53 | 974.257 | 22.9507 | 5.0139
2020-03-29 02:00:00 | 4.479 | 125.1 | 5.144 | 140.9 | 4.588 | 91.2 | 4.415 | 137.7 | 8.67 | 974.257 | 23.1546 | 7.1865
2020-03-29 02:15:00 | 3.856 | 115.7 | 4.645 | 148.3 | 4.265 | 91.9 | 4.112 | 146.7 | 8.74 | 974.257 | 24.0403 | 5.1839
2020-03-29 02:30:00 | 3.325 | 108.6 | 4.093 | 155.9 | 4.377 | 92 | 4.288 | 144.3 | 8.38 | 973.96 | 24.9274 | 5.4942
2020-03-29 02:45:00 | 4.652 | 108.4 | 5.686 | 137.1 | 5.338 | 92.7 | 5.19 | 134.1 | 8.1 | 973.663 | 26.0204 | 7.7444
2020-03-29 03:00:00 | 4.499 | 109.1 | 5.698 | 127.2 | 4.992 | 92.4 | 4.915 | 117.6 | 8.05 | 973.663 | 26.9763 | 9.8061
2020-03-29 03:15:00 | 4.045 | 131.5 | 4.609 | 145.4 | 4.702 | 94.9 | 4.581 | 140 | 8.19 | 973.663 | 27.1816 | 13.7448
2020-03-29 03:30:00 | 6.215 | 118.2 | 6.89 | 135.6 | 7.22 | 95.9 | 7.097 | 128.3 | 7.823 | 973.217 | 27.7286 | 17.3953
2020-03-29 03:45:00 | 6.138 | 123 | 7.028 | 139.2 | 7.159 | 96.6 | 7.021 | 135.5 | 7.594 | 973.366 | 28.5497 | 19.8339
2020-03-29 04:00:00 | 6.493 | 121.7 | 7.304 | 135.7 | 6.75 | 97.4 | 6.539 | 129.9 | 7.68 | 973.068 | 28.6896 | 20.4731
2020-03-29 04:15:00 | 3.937 | 119.3 | 5.606 | 131 | 5.089 | 96.3 | 4.866 | 129.9 | 7.632 | 973.068 | 29.7156 | 20.8759
2020-03-29 04:30:00 | 3.978 | 128.4 | 4.942 | 140 | 4.939 | 96.9 | 4.828 | 139 | 7.467 | 973.068 | 30.5361 | 19.7342
2020-03-29 04:45:00 | 4.652 | 125.7 | 5.461 | 142.8 | 5.47 | 97.3 | 5.264 | 140.1 | 7.459 | 973.068 | 31.9709 | 19.3832
2020-03-29 05:00:00 | 5.04 | 113.7 | 5.581 | 143.2 | 5.007 | 97.9 | 4.884 | 139.7 | 7.761 | 973.068 | 32.4845 | 20.765
2020-03-29 05:15:00 | 6.407 | 101 | 7.11 | 143.5 | 6.752 | 98.7 | 6.516 | 137.9 | 7.46 | 972.92 | 33.7487 | 24.4636
2020-03-29 05:30:00 | 6.33 | 107.3 | 7.312 | 146.4 | 7.686 | 99.2 | 7.517 | 137.8 | 6.795 | 972.92 | 39.5218 | 29.1634
2020-03-29 05:45:00 | 7.778 | 121 | 8.11 | 138.8 | 7.144 | 99.9 | 7.056 | 133.5 | 6.757 | 972.771 | 41.0589 | 29.5772
2020-03-29 06:00:00 | 6.853 | 133.2 | 7.399 | 144.5 | 7.129 | 100.1 | 6.967 | 144 | 6.761 | 972.623 | 38.8728 | 27.146
2020-03-29 06:15:00 | 5.814 | 135.7 | 6.174 | 147.4 | 5.974 | 99.9 | 5.865 | 144.5 | 6.811 | 972.92 | 39.8975 | 19.4386
2020-03-29 06:30:00 | 4.987 | 138.3 | 5.88 | 149.1 | 5.585 | 99.6 | 5.46 | 146.4 | 7.158 | 973.068 | 33.544 | 17.8904
2020-03-29 06:45:00 | 5.206 | 140.9 | 5.381 | 152.7 | 5.369 | 99.7 | 5.33 | 147.6 | 7.151 | 973.366 | 34.0222 | 14.3434
2020-03-29 07:00:00 | 3.314 | 139.5 | 3.811 | 155.7 | 4.593 | 99.4 | 4.619 | 144.8 | 6.984 | 973.514 | 38.1896 | 16.4495
2020-03-29 07:15:00 | 3.373 | 130.8 | 3.96 | 140.5 | 3.96 | 99.2 | 3.899 | 141.9 | 7.566 | 973.663 | 33.2022 | 11.9307
2020-03-29 07:30:00 | 4.402 | 151.2 | 4.809 | 161.7 | 4.651 | 99.5 | 4.632 | 164.9 | 7.773 | 973.96 | 33.5343 | 14.7683
2020-03-29 07:45:00 | 4.532 | 132.3 | 5.011 | 145.9 | 5.122 | 99.5 | 5.037 | 141 | 7.535 | 974.236 | 37.0838 | 15.0269
2020-03-29 08:00:00 | 4.32 | 139.6 | 4.177 | 161.7 | 3.975 | 99.6 | 4.079 | 143.6 | 7.771 | 974.131 | 34.3862 | 13.2386
2020-03-29 08:15:00 | 6.182 | 143.1 | 6.036 | 162.9 | 5.33 | 100.4 | 5.243 | 145.7 | 7.611 | 974.257 | 38.6546 | 13.1352
2020-03-29 08:30:00 | 5.932 | 139.4 | 6.018 | 156 | 5.89 | 100.3 | 5.778 | 146.2 | 7.648 | 974.702 | 37.4936 | 14.7055
2020-03-29 08:45:00 | 5.942 | 147.9 | 5.629 | 167.8 | 5.203 | 100.4 | 5.09 | 152.9 | 7.735 | 975.148 | 38.0399 | 12.3593
2020-03-29 09:00:00 | 5.906 | 146.5 | 5.581 | 162.6 | 5.074 | 100.5 | 5.037 | 153.6 | 7.993 | 975.445 | 38.0341 | 10.9367
2020-03-29 09:15:00 | 5.921 | 151.7 | 5.931 | 166.8 | 5.465 | 100.5 | 5.398 | 158.7 | 7.996 | 975.694 | 41.2774 | 11.151
2020-03-29 09:30:00 | 5.804 | 141.5 | 5.535 | 161.3 | 5.102 | 100.6 | 5.024 | 147.5 | 8.29 | 975.973 | 42.1961 | 10.6338
2020-03-29 09:45:00 | 5.916 | 147.2 | 5.604 | 164.7 | 5.084 | 100.7 | 4.927 | 151 | 8.5 | 976.158 | 42.1233 | 11.1252
2020-03-29 10:00:00 | 5.429 | 142.3 | 5.394 | 156.6 | 4.448 | 100.5 | 4.25 | 149.4 | 8.81 | 976.046 | 39.8703 | 9.6731
2020-03-29 10:15:00 | 5.16 | 140.3 | 5.041 | 156.3 | 4.168 | 100.6 | 3.983 | 148.7 | 8.99 | 976.038 | 41.4405 | 8.8048
2020-03-29 10:30:00 | 4.831 | 143.6 | 4.855 | 156.8 | 4.394 | 100.5 | 4.314 | 152.6 | 9.39 | 976.038 | 40.3482 | 8.609
2020-03-29 10:45:00 | 4.599 | 149.8 | 4.461 | 167.7 | 4.349 | 100.7 | 4.331 | 162.3 | 10 | 976.038 | 40.0708 | 9.7137
2020-03-29 11:00:00 | 5.623 | 150.5 | 5.445 | 164 | 5 | 101.5 | 4.859 | 158.1 | 9.99 | 976.038 | 38.1569 | 8.4206
2020-03-29 11:15:00 | 6.149 | 175.6 | 6.026 | 190.9 | 5.468 | 101.9 | 5.561 | 180.9 | 10.17 | 976.038 | 39.2833 | 10.2236
2020-03-29 11:30:00 | 5.86 | 178.2 | 5.427 | 196.5 | 4.898 | 102.1 | 4.889 | 179.8 | 9.82 | 975.592 | 40.0341 | 7.5116
2020-03-29 11:45:00 | 5.543 | 184.2 | 5.238 | 199.1 | 4.644 | 102.6 | 4.688 | 187.7 | 10.03 | 975.444 | 39.658 | 7.5153
2020-03-29 12:00:00 | 5.796 | 182.1 | 5.512 | 196.6 | 4.837 | 102.8 | 4.828 | 183.6 | 10.54 | 975.741 | 42.2866 | 6.5842
2020-03-29 12:15:00 | 4.821 | 177.1 | 4.614 | 189.9 | 4.377 | 102.9 | 4.357 | 180.9 | 10.43 | 975.592 | 39.7611 | 7.5301
2020-03-29 12:30:00 | 5.288 | 155.9 | 5.404 | 168.7 | 4.89 | 103.2 | 4.897 | 161.8 | 10.61 | 974.998 | 34.8452 | 10.6264
2020-03-29 12:45:00 | 5.697 | 201.2 | 5.299 | 214.2 | 4.837 | 104.1 | 4.831 | 201 | 11.06 | 974.85 | 31.5688 | 8.8048
2020-03-29 13:00:00 | 4.724 | 146.6 | 4.732 | 154 | 4.88 | 103.8 | 4.876 | 157.9 | 10.47 | 974.85 | 35.9379 | 6.3256
2020-03-29 13:15:00 | 5.462 | 142.8 | 5.415 | 157.8 | 5.02 | 104 | 4.927 | 154 | 10.7 | 974.701 | 35.8703 | 9.7359
2020-03-29 13:30:00 | 7.17 | 192.6 | 6.787 | 204.3 | 5.404 | 105.4 | 5.251 | 195 | 10.67 | 974.256 | 34.8805 | 13.1204
2020-03-29 13:45:00 | 4.905 | 154.2 | 4.86 | 168.7 | 4.509 | 104.9 | 4.443 | 162.3 | 10.76 | 973.959 | 32.8325 | 11.358
2020-03-29 14:00:00 | 6.373 | 172.3 | 6.422 | 193.2 | 5.709 | 106.2 | 5.638 | 175.9 | 11.16 | 973.81 | 35.2893 | 10.6448
2020-03-29 14:15:00 | 6.373 | 190.6 | 5.885 | 204.9 | 5.323 | 107.5 | 5.274 | 193 | 10.94 | 973.662 | 35.9726 | 10.5894
2020-03-29 14:30:00 | 6.606 | 176.4 | 6.184 | 192.3 | 5.567 | 108.3 | 5.549 | 178.5 | 10.9 | 973.662 | 34.8123 | 11.5353
2020-03-29 14:45:00 | 6.769 | 181.9 | 6.557 | 194.4 | 5.536 | 109.1 | 5.505 | 188.4 | 11.21 | 974.107 | 34.0592 | 10.9109
2020-03-29 15:00:00 | 4.987 | 145.2 | 4.847 | 164.1 | 4.598 | 108.8 | 4.581 | 149.1 | 11.16 | 973.959 | 37.3333 | 9.6916
2020-03-29 15:15:00 | 5.847 | 151.6 | 5.67 | 166.2 | 5.313 | 110.6 | 5.207 | 157.2 | 10.68 | 974.145 | 40.744 | 8.7937
2020-03-29 15:30:00 | 4.76 | 181.3 | 4.591 | 196.4 | 4.412 | 110.4 | 4.38 | 182.8 | 11.15 | 973.425 | 36.7855 | 11.6462
2020-03-29 15:45:00 | 6.172 | 187.8 | 6.003 | 201.7 | 5.417 | 111.5 | 5.455 | 191.8 | 11.25 | 973.077 | 39.5837 | 10.8148
2020-03-29 16:00:00 | 5.615 | 181.3 | 5.744 | 196.2 | 5.402 | 111.8 | 5.373 | 184.1 | 11.22 | 972.669 | 39.2425 | 9.3849
2020-03-29 16:15:00 | 4.655 | 163.9 | 4.387 | 178.7 | 3.82 | 111.4 | 3.736 | 164.3 | 11.42 | 972.785 | 38.4576 | 8.3097
2020-03-29 16:30:00 | 6.981 | 183.1 | 6.787 | 198.1 | 5.933 | 113.6 | 5.87 | 186.5 | 11.47 | 972.21 | 39.379 | 9.5955
2020-03-29 16:45:00 | 7.374 | 185.4 | 7.181 | 199.9 | 6.327 | 116.2 | 6.241 | 185 | 11.11 | 972.081 | 39.7547 | 13.767
2020-03-29 17:00:00 | 6.435 | 184.8 | 6.238 | 199.9 | 5.323 | 116.6 | 5.348 | 186.2 | 11.07 | 971.879 | 40.6139 | 13.2719
2020-03-29 17:15:00 | 4.826 | 166.6 | 5.016 | 186 | 4.88 | 116.3 | 4.759 | 164.9 | 10.88 | 971.88 | 40.3749 | 15.6033
2020-03-29 17:30:00 | 5.316 | 175 | 5.56 | 191.6 | 5.676 | 116.7 | 5.602 | 172.8 | 10.67 | 971.731 | 42.2517 | 15.2191
2020-03-29 17:45:00 | 6.156 | 174.7 | 5.985 | 189.3 | 5.796 | 117.4 | 5.75 | 180.7 | 10.48 | 971.286 | 42.3276 | 18.6811
2020-03-29 18:00:00 | 6.659 | 177.9 | 6.527 | 193.1 | 5.898 | 118.3 | 5.938 | 180.7 | 10.3 | 970.989 | 41.9867 | 16.2019
2020-03-29 18:15:00 | 6.011 | 175.3 | 5.591 | 188.4 | 5.498 | 118.3 | 5.528 | 179.5 | 10.07 | 970.989 | 43.6593 | 13.2349
2020-03-29 18:30:00 | 6.195 | 177.3 | 6.197 | 191.3 | 6.004 | 118.8 | 6.066 | 178.8 | 9.87 | 971.014 | 45.5373 | 15.3004
2020-03-29 18:45:00 | 7.124 | 180.7 | 7.176 | 191.7 | 6.979 | 119.5 | 7.12 | 184.7 | 9.72 | 971.151 | 47.2513 | 16.3608
2020-03-29 19:00:00 | 7.921 | 179.4 | 7.498 | 192.3 | 7.004 | 121 | 7.112 | 184.2 | 9.57 | 970.984 | 47.4913 | 19.2058
2020-03-29 19:15:00 | 7.374 | 184.1 | 7.322 | 195.1 | 6.93 | 121.9 | 7.003 | 189.4 | 9.47 | 971.286 | 48.965 | 19.4275
2020-03-29 19:30:00 | 6.838 | 186.2 | 7.058 | 198.3 | 6.943 | 121.9 | 7.028 | 190 | 9.14 | 971.286 | 50.0596 | 20.0889
2020-03-29 19:45:00 | 5.39 | 179.1 | 5.399 | 186.9 | 5.432 | 121.5 | 5.569 | 184.8 | 8.97 | 971.286 | 50.811 | 20.6616
2020-03-29 20:00:00 | 7.106 | 177.4 | 7.411 | 187.4 | 7.182 | 122.1 | 7.329 | 184.1 | 8.96 | 971.286 | 48.6939 | 23.0928
2020-03-29 20:15:00 | 8.56 | 179.7 | 8.6 | 192 | 8.62 | 123.7 | 8.73 | 184.9 | 9.04 | 971.349 | 49.7183 | 22.2282
2020-03-29 20:30:00 | 7.9 | 179.3 | 7.976 | 190.7 | 7.627 | 125 | 7.736 | 185.4 | 8.94 | 971.595 | 50.1963 | 20.2921
2020-03-29 20:45:00 | 7.402 | 177.7 | 7.409 | 189.3 | 7.05 | 125.2 | 7.168 | 184.9 | 8.73 | 971.411 | 52.1769 | 20.233
2020-03-29 21:00:00 | 7.691 | 178.5 | 7.171 | 188.7 | 6.846 | 125.8 | 7.079 | 186.6 | 8.5 | 971.686 | 54.1574 | 19.6824
2020-03-29 21:15:00 | 6.749 | 182.5 | 6.989 | 192.8 | 7.006 | 125.7 | 7.105 | 190.1 | 8.28 | 971.874 | 55.7965 | 19.8672
2020-03-29 21:30:00 | 6.424 | 185.1 | 6.741 | 194.7 | 6.864 | 125.6 | 7.067 | 190.6 | 8 | 972.026 | 56.616 | 16.298
2020-03-29 21:45:00 | 5.817 | 187.8 | 5.962 | 197.2 | 6.317 | 125.5 | 6.491 | 194.4 | 7.932 | 971.88 | 57.777 | 13.1906
2020-03-29 22:00:00 | 4.063 | 194.6 | 4.901 | 205.3 | 5.458 | 125.1 | 5.549 | 201.6 | 7.609 | 972.028 | 59.6256 | 8.2321
2020-03-29 22:15:00 | 3.381 | 209.3 | 3.732 | 220.2 | 4.351 | 124.9 | 4.515 | 215.7 | 7.384 | 972.177 | 60.8304 | 4.6075
2020-03-29 22:30:00 | 2.745 | 215 | 3.236 | 229 | 4.143 | 124.7 | 4.263 | 218.2 | 7.165 | 972.177 | 62.9203 | 3.983
2020-03-29 22:45:00 | 3.1 | 207.7 | 3.625 | 219.6 | 4.272 | 124.8 | 4.387 | 209.1 | 6.9 | 971.88 | 65.38 | 3.8722
2020-03-29 23:00:00 | 2.694 | 208.9 | 3.604 | 221.3 | 3.893 | 124.7 | 3.983 | 211.9 | 6.814 | 972.028 | 66.0974 | 4.7035
2020-03-29 23:15:00 | 3.102 | 205.9 | 3.837 | 214.3 | 4.506 | 124.7 | 4.675 | 211 | 6.711 | 971.88 | 67.1563 | 4.9696
2020-03-29 23:30:00 | 3.177 | 207.8 | 3.829 | 219.1 | 4.305 | 124.8 | 4.487 | 213.9 | 6.659 | 971.88 | 67.9761 | 4.3784
2020-03-29 23:45:00 | 3.233 | 210.1 | 3.809 | 217.7 | 4.453 | 124.9 | 4.543 | 213.4 | 6.452 | 971.88 | 68.8642 | 3.7281