## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-30 00:00:00 | 3.406 | 205.1 | 3.822 | 216.1 | 3.962 | 124.9 | 3.972 | 209.2 | 6.247 | 971.88 | 69.7523 | 4.0422
2020-03-30 00:15:00 | 3.465 | 204.5 | 3.868 | 213.7 | 4.181 | 124.8 | 4.283 | 211.2 | 6.023 | 971.88 | 71.2553 | 4.2971
2020-03-30 00:30:00 | 3.672 | 201.7 | 4.162 | 209.8 | 4.377 | 124.9 | 4.53 | 208.9 | 5.908 | 971.731 | 71.9385 | 3.0409
2020-03-30 00:45:00 | 2.594 | 202.3 | 3.517 | 212.2 | 4.232 | 124.6 | 4.375 | 207.5 | 5.83 | 971.731 | 72.9291 | 2.749
2020-03-30 01:00:00 | 3.095 | 198.2 | 3.725 | 210.8 | 3.909 | 124.7 | 4.028 | 203.3 | 5.777 | 971.583 | 73.3049 | 2.6935
2020-03-30 01:15:00 | 2.541 | 193.2 | 3.316 | 202.4 | 3.677 | 124.5 | 3.797 | 199.8 | 5.709 | 971.286 | 73.5781 | 2.3943
2020-03-30 01:30:00 | 2.602 | 187.9 | 3.285 | 198.6 | 3.804 | 124.5 | 3.865 | 195 | 5.644 | 971.306 | 74.1247 | 2.3499
2020-03-30 01:45:00 | 2.924 | 190.6 | 3.257 | 195.6 | 3.68 | 124.5 | 3.87 | 199.4 | 5.547 | 971.33 | 74.3983 | 1.6257
2020-03-30 02:00:00 | 2.97 | 193.9 | 3.681 | 207.3 | 4.191 | 124.6 | 4.298 | 200.7 | 5.529 | 971.427 | 74.6731 | 2.3277
2020-03-30 02:15:00 | 2.623 | 193.5 | 3.188 | 207.3 | 3.7 | 124.5 | 3.779 | 201 | 5.436 | 971.372 | 75.0821 | 1.4779
2020-03-30 02:30:00 | 2.737 | 200.1 | 3.441 | 209 | 3.682 | 124.6 | 3.794 | 206.4 | 5.424 | 971.414 | 75.2215 | 1.7144
2020-03-30 02:45:00 | 2.699 | 191 | 3.262 | 203.8 | 3.81 | 124.5 | 3.927 | 197.2 | 5.498 | 971.186 | 75.0871 | 1.0161
2020-03-30 03:00:00 | 2.321 | 184 | 2.963 | 192.4 | 3.448 | 124.4 | 3.522 | 191.9 | 5.165 | 971.084 | 76.9005 | 2.1541
2020-03-30 03:15:00 | 2.686 | 187.4 | 3.556 | 197.6 | 4.257 | 124.5 | 4.393 | 196 | 5.103 | 970.975 | 78.0334 | 2.1319
2020-03-30 03:30:00 | 2.791 | 178.4 | 3.686 | 184.8 | 3.906 | 124.3 | 3.988 | 187.4 | 5.09 | 970.987 | 78.3762 | 2.2317
2020-03-30 03:45:00 | 2.283 | 174.6 | 3.287 | 176.8 | 3.603 | 124.1 | 3.659 | 187.7 | 4.706 | 970.988 | 80.8074 | 1.1454
2020-03-30 04:00:00 | 2.329 | 165.3 | 2.758 | 169.4 | 2.902 | 124.1 | 2.895 | 183.7 | 4.886 | 970.69 | 80.1242 | 0.30298
2020-03-30 04:15:00 | 2.422 | 166.5 | 3.234 | 172.7 | 3.303 | 124.1 | 3.257 | 181.5 | 4.91 | 970.691 | 80.0876 | 0.91632
2020-03-30 04:30:00 | 2.431 | 165.3 | 3.466 | 178.3 | 3.845 | 124.2 | 3.794 | 175.2 | 4.769 | 970.542 | 80.431 | 1.3154
2020-03-30 04:45:00 | 2.868 | 169.3 | 3.799 | 182.9 | 3.967 | 124.2 | 4 | 178.6 | 4.834 | 970.691 | 79.8151 | 2.9042
2020-03-30 05:00:00 | 2.195 | 154.6 | 3.08 | 175 | 3.242 | 124.1 | 3.203 | 165.7 | 4.255 | 970.393 | 86.9204 | 2.4497
2020-03-30 05:15:00 | 2.046 | 141.5 | 2.727 | 158.7 | 3.397 | 123 | 3.348 | 157.9 | 4.551 | 970.393 | 83.4366 | 1.9287
2020-03-30 05:30:00 | 2.155 | 154.2 | 2.975 | 172.1 | 3.759 | 122.3 | 3.771 | 165.2 | 4.301 | 970.393 | 85.7602 | 1.9102
2020-03-30 05:45:00 | 2.605 | 157.2 | 3.5 | 165.9 | 4.171 | 122.6 | 4.204 | 168.5 | 4.337 | 970.667 | 85.8646 | 3.4805
2020-03-30 06:00:00 | 3.062 | 158.3 | 3.551 | 162.7 | 4.227 | 123.1 | 4.245 | 172 | 4.221 | 970.684 | 85.0822 | 3.8426
2020-03-30 06:15:00 | 2.694 | 156.3 | 3.783 | 161.7 | 4.13 | 122.9 | 4.189 | 170.1 | 4.349 | 970.983 | 85.1492 | 3.8648
2020-03-30 06:30:00 | 2.536 | 156.4 | 3.576 | 169.5 | 4.089 | 122.8 | 4.097 | 168.2 | 4.239 | 970.944 | 86.1733 | 5.5607
2020-03-30 06:45:00 | 3.514 | 150.4 | 4.057 | 159.1 | 4.125 | 123.1 | 4.151 | 161.9 | 4.048 | 971.285 | 87.7758 | 6.5879
2020-03-30 07:00:00 | 3.125 | 151.6 | 3.939 | 164.8 | 3.85 | 123.3 | 3.804 | 160.8 | 4.258 | 971.731 | 86.9913 | 7.0424
2020-03-30 07:15:00 | 3.932 | 153.3 | 4.351 | 164.1 | 4.377 | 123.7 | 4.433 | 163.5 | 4.484 | 972.032 | 85.8136 | 5.9044
2020-03-30 07:30:00 | 3.626 | 162 | 3.993 | 164 | 4.244 | 123.5 | 4.278 | 178.3 | 4.779 | 972.475 | 82.1179 | 3.6099
2020-03-30 07:45:00 | 3.828 | 153.5 | 3.763 | 161.5 | 2.729 | 123.4 | 2.633 | 166.1 | 5.525 | 972.772 | 77.1307 | 3.4288
2020-03-30 08:00:00 | 3.44 | 150.4 | 3.538 | 163.3 | 3.255 | 123.6 | 3.191 | 162.2 | 5.733 | 973.366 | 76.9014 | 3.0556
2020-03-30 08:15:00 | 3.838 | 150.7 | 3.98 | 164.7 | 3.537 | 123.9 | 3.448 | 160.7 | 6.1 | 973.369 | 74.9189 | 3.1406
2020-03-30 08:30:00 | 3.812 | 149 | 3.95 | 160.5 | 3.614 | 123.9 | 3.402 | 157.9 | 6.257 | 973.647 | 74.0879 | 4.3451
2020-03-30 08:45:00 | 4.07 | 138.9 | 4.042 | 152 | 2.935 | 123.4 | 2.798 | 151.3 | 6.381 | 973.704 | 72.1649 | 1.9287
2020-03-30 09:00:00 | 4.517 | 140.9 | 4.448 | 152.8 | 4.008 | 124 | 3.901 | 149.7 | 6.82 | 974.411 | 68.5442 | 2.7601
2020-03-30 09:15:00 | 4.514 | 138.4 | 4.532 | 150.8 | 3.98 | 123.4 | 3.786 | 146.7 | 7.276 | 974.553 | 65.6768 | 4.5779
2020-03-30 09:30:00 | 5.983 | 137 | 5.711 | 153.1 | 4.934 | 125 | 4.754 | 143.6 | 7.521 | 974.553 | 66.3936 | 8.0548
2020-03-30 09:45:00 | 5.893 | 142.3 | 5.882 | 162.7 | 5.567 | 128.4 | 5.574 | 152.1 | 7.932 | 974.553 | 64.7803 | 13.8594
2020-03-30 10:00:00 | 6.812 | 187.2 | 6.703 | 197.2 | 5.803 | 132.1 | 5.865 | 190.9 | 8.09 | 974.256 | 63.4138 | 18.0345
2020-03-30 10:15:00 | 6.156 | 186 | 5.553 | 207.1 | 5.142 | 132.2 | 5.123 | 185.3 | 8.49 | 973.959 | 61.3743 | 18.5075
2020-03-30 10:30:00 | 6.092 | 191.7 | 5.867 | 206.7 | 5.226 | 132.7 | 5.228 | 195.1 | 8.9 | 974.107 | 59.8737 | 18.5407
2020-03-30 10:45:00 | 6.82 | 190.2 | 6.161 | 201.3 | 5.137 | 133.3 | 5.157 | 197 | 8.97 | 973.959 | 58.9836 | 18.4447
2020-03-30 11:00:00 | 6.759 | 188.3 | 6.491 | 206.3 | 5.811 | 133.9 | 5.699 | 190.4 | 9.12 | 974.404 | 57.3472 | 19.0543
2020-03-30 11:15:00 | 6.389 | 180.7 | 6.381 | 199.8 | 5.979 | 134.1 | 5.959 | 181.1 | 9.62 | 973.959 | 53.7238 | 17.617
2020-03-30 11:30:00 | 6.195 | 185.5 | 6.092 | 195.2 | 5.152 | 134.1 | 5.019 | 190.9 | 9.8 | 973.662 | 46.0434 | 15.5664
2020-03-30 11:45:00 | 6.853 | 173.4 | 6.877 | 186.9 | 6.477 | 168.4 | 6.448 | 179.2 | 10.26 | 973.662 | 46.1424 | 20.281
2020-03-30 12:00:00 | 6.182 | 185.5 | 6.238 | 206.3 | 5.788 | 172.2 | 5.803 | 185.7 | 10.38 | 973.217 | 42.8655 | 21.0421
2020-03-30 12:15:00 | 7.497 | 162.3 | 7.524 | 176.5 | 6.628 | 162.7 | 6.616 | 170.5 | 11.2 | 973.81 | 37.0301 | 17.9754
2020-03-30 12:30:00 | 6.966 | 172.1 | 6.808 | 182.5 | 6.172 | 169.6 | 6.315 | 176.2 | 10.64 | 973.513 | 42.0476 | 22.4462
2020-03-30 12:45:00 | 7.785 | 175.5 | 7.677 | 188 | 7.396 | 181.2 | 7.329 | 178.6 | 11.02 | 973.365 | 39.5903 | 19.3388
2020-03-30 13:00:00 | 8.2 | 184.8 | 7.746 | 201.6 | 6.64 | 193.8 | 6.598 | 181.1 | 11.15 | 973.068 | 40.7823 | 19.5051
2020-03-30 13:15:00 | 7.474 | 182.6 | 6.974 | 199.7 | 6.297 | 166.6 | 6.384 | 182.5 | 11.31 | 973.068 | 43.9918 | 18.9798
2020-03-30 13:30:00 | 7.236 | 185.6 | 7.066 | 200.1 | 6.322 | 144.3 | 6.224 | 189.1 | 11.96 | 973.217 | 42.1158 | 22.4388
2020-03-30 13:45:00 | 10.54 | 183.9 | 10.11 | 198.4 | 9.08 | 147.1 | 9.09 | 185.5 | 11.59 | 972.92 | 43.3106 | 28.3395
2020-03-30 14:00:00 | 7.706 | 155.9 | 7.823 | 168.1 | 6.864 | 141.1 | 6.84 | 162.5 | 12.09 | 972.771 | 42.5937 | 26.0228
2020-03-30 14:15:00 | 8.56 | 174.3 | 8.51 | 189.6 | 7.922 | 141.2 | 7.948 | 178.9 | 12.33 | 972.771 | 41.9098 | 23.0448
2020-03-30 14:30:00 | 8.05 | 176.8 | 7.833 | 194 | 7.266 | 141.1 | 7.342 | 180.2 | 12.2 | 972.771 | 41.6337 | 24.4783
2020-03-30 14:45:00 | 6.705 | 167.3 | 6.621 | 184.8 | 6.292 | 139.3 | 6.305 | 173.1 | 12.51 | 972.861 | 40.4709 | 25.2358
2020-03-30 15:00:00 | 6.769 | 157.2 | 7.092 | 173.1 | 6.488 | 138.6 | 6.379 | 164.3 | 12.37 | 973.367 | 44.9753 | 18.0863
2020-03-30 15:15:00 | 8.28 | 176 | 7.874 | 193.2 | 6.976 | 141.1 | 6.995 | 179.1 | 12.72 | 972.919 | 45.18 | 28.6092
2020-03-30 15:30:00 | 8.19 | 183.6 | 7.718 | 197.9 | 6.755 | 141.1 | 6.687 | 184.8 | 12.47 | 972.771 | 46.8862 | 29.4887
2020-03-30 15:45:00 | 8.42 | 192 | 8.26 | 204.4 | 7.609 | 141.4 | 7.584 | 193.7 | 12.52 | 972.325 | 47.6369 | 20.2842
2020-03-30 16:00:00 | 6.889 | 187.3 | 6.506 | 198.5 | 6.101 | 140.6 | 6.221 | 191.5 | 12.63 | 972.177 | 47.3639 | 17.0665
2020-03-30 16:15:00 | 7.91 | 190.1 | 7.485 | 204.6 | 6.569 | 140.9 | 6.611 | 192.4 | 12.48 | 971.88 | 47.1592 | 19.6714
2020-03-30 16:30:00 | 6.864 | 182.4 | 6.44 | 197.9 | 5.488 | 140.4 | 5.475 | 184.1 | 12.48 | 972.177 | 45.5895 | 18.223
2020-03-30 16:45:00 | 7.012 | 188 | 6.739 | 202.1 | 5.979 | 140.5 | 5.979 | 191.8 | 12.41 | 972.177 | 44.1904 | 19.7711
2020-03-30 17:00:00 | 6.69 | 180.4 | 6.488 | 194.5 | 6.172 | 140.2 | 6.137 | 185.6 | 12.35 | 972.092 | 43.1326 | 20.2034
2020-03-30 17:15:00 | 7.129 | 176.2 | 7.058 | 190.2 | 6.363 | 140.3 | 6.422 | 182.3 | 12.33 | 971.999 | 42.6552 | 17.1293
2020-03-30 17:30:00 | 7.867 | 183.5 | 7.342 | 198.2 | 6.635 | 140.6 | 6.72 | 187.6 | 12.22 | 971.88 | 42.5935 | 17.6577
2020-03-30 17:45:00 | 7.543 | 181.5 | 7.245 | 194.4 | 6.439 | 140.4 | 6.448 | 184.2 | 12.04 | 971.731 | 43.0717 | 18.6368
2020-03-30 18:00:00 | 7.206 | 178.6 | 6.869 | 193.9 | 6.63 | 140.3 | 6.641 | 181.6 | 11.83 | 971.286 | 43.7536 | 17.5653
2020-03-30 18:15:00 | 6.276 | 180.1 | 5.997 | 199.1 | 5.038 | 140.2 | 5.016 | 178.4 | 11.61 | 971.286 | 44.7512 | 16.8337
2020-03-30 18:30:00 | 6.756 | 178.8 | 6.233 | 196.3 | 5.816 | 140.1 | 5.89 | 184.1 | 11.45 | 971.286 | 49.2917 | 13.5601
2020-03-30 18:45:00 | 5.888 | 177.4 | 5.788 | 192.1 | 5.536 | 139.7 | 5.495 | 179 | 11.22 | 971.286 | 50.9985 | 11.1178
2020-03-30 19:00:00 | 5.898 | 173.7 | 5.507 | 195.1 | 4.771 | 139.9 | 4.752 | 175.8 | 11.07 | 971.137 | 52.8418 | 12.0082
2020-03-30 19:15:00 | 3.96 | 175.9 | 4.062 | 189.2 | 3.82 | 139.4 | 3.86 | 179.2 | 10.81 | 971.103 | 54.1389 | 10.7187
2020-03-30 19:30:00 | 5.421 | 179.3 | 5.394 | 195 | 5.735 | 139.6 | 5.829 | 183.9 | 10.77 | 971.073 | 56.0543 | 10.353
2020-03-30 19:45:00 | 5.929 | 178.9 | 5.831 | 191.9 | 5.992 | 139.6 | 6.094 | 182.4 | 10.61 | 971.43 | 57.0169 | 8.7827
2020-03-30 20:00:00 | 5.985 | 176.1 | 5.872 | 188.3 | 5.694 | 139.5 | 5.765 | 181.4 | 10.54 | 971.546 | 57.5976 | 8.3134
2020-03-30 20:15:00 | 6.322 | 177 | 6.721 | 190.4 | 6.266 | 139.4 | 6.351 | 180.8 | 10.36 | 971.568 | 58.1086 | 7.4821
2020-03-30 20:30:00 | 5.589 | 169.6 | 5.588 | 177.9 | 5.58 | 139 | 5.699 | 179.5 | 10.04 | 971.573 | 59.7136 | 10.7409
2020-03-30 20:45:00 | 8.03 | 176.7 | 7.933 | 189 | 7.795 | 140.1 | 7.861 | 182.6 | 9.88 | 971.583 | 61.3236 | 11.842
2020-03-30 21:00:00 | 7.124 | 176.3 | 7.253 | 187.8 | 7.116 | 139.8 | 7.242 | 184.2 | 9.63 | 971.583 | 63.5796 | 8.8048
2020-03-30 21:15:00 | 5.171 | 178.8 | 5.22 | 189.2 | 5.211 | 139.2 | 5.353 | 187.2 | 9.34 | 971.731 | 65.3575 | 6.7579
2020-03-30 21:30:00 | 4.992 | 177.9 | 5.044 | 185.6 | 4.578 | 138.8 | 4.492 | 187.4 | 9.12 | 971.731 | 66.9967 | 7.9254
2020-03-30 21:45:00 | 4.67 | 176.9 | 4.811 | 187.6 | 4.519 | 138.8 | 4.561 | 188.5 | 8.97 | 971.88 | 67.9187 | 6.6175
2020-03-30 22:00:00 | 4.913 | 174.2 | 4.806 | 184.2 | 4.529 | 138.8 | 4.596 | 183 | 8.75 | 971.895 | 69.3188 | 7.5486
2020-03-30 22:15:00 | 5.761 | 174.4 | 5.663 | 187.6 | 5.45 | 139.1 | 5.513 | 183.3 | 8.68 | 972.004 | 69.1822 | 6.6396
2020-03-30 22:30:00 | 4.451 | 175.3 | 4.745 | 186.6 | 4.743 | 138.7 | 4.836 | 185.7 | 8.41 | 972.096 | 70.8554 | 5.2245
2020-03-30 22:45:00 | 5.03 | 177.7 | 4.793 | 187.2 | 4.7 | 138.8 | 4.805 | 188.4 | 8.28 | 972.162 | 71.9139 | 5.4499
2020-03-30 23:00:00 | 4.292 | 177.5 | 4.108 | 185.5 | 4.308 | 138.7 | 4.492 | 189.5 | 8 | 972.175 | 73.3481 | 6.1704
2020-03-30 23:15:00 | 4.89 | 171.5 | 4.609 | 179.3 | 4.509 | 138.7 | 4.561 | 181.4 | 7.898 | 971.879 | 74.1676 | 4.5188
2020-03-30 23:30:00 | 4.647 | 168.8 | 4.66 | 177.8 | 4.227 | 138.1 | 4.27 | 179.9 | 7.459 | 971.88 | 76.0473 | 5.6457
2020-03-30 23:45:00 | 5.127 | 169.3 | 5.11 | 180.6 | 5.262 | 138.3 | 5.302 | 176.5 | 7.47 | 971.583 | 75.478 | 6.684