## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-31 00:00:00 | 5.115 | 173.4 | 5.282 | 182.3 | 5.521 | 138.3 | 5.691 | 181.1 | 7.647 | 971.583 | 73.913 | 9.2482
2020-03-31 00:15:00 | 6.281 | 173.9 | 6.539 | 186 | 6.839 | 139.1 | 6.886 | 179.3 | 7.608 | 971.88 | 73.5062 | 11.9344
2020-03-31 00:30:00 | 6.075 | 174.4 | 5.834 | 188.2 | 6.574 | 138.9 | 6.769 | 183.1 | 7.472 | 971.583 | 73.575 | 10.8407
2020-03-31 00:45:00 | 5.247 | 172.9 | 5.266 | 184.7 | 5.58 | 138.8 | 5.763 | 179.4 | 7.374 | 971.434 | 76.5465 | 12.7398
2020-03-31 01:00:00 | 6.527 | 174.8 | 6.516 | 189 | 6.559 | 139.8 | 6.741 | 180 | 7.27 | 971.286 | 74.0886 | 15.389
2020-03-31 01:15:00 | 7.895 | 177.5 | 7.529 | 194.2 | 7.045 | 140.6 | 7.176 | 181.4 | 7.478 | 971.137 | 72.3803 | 18.3782
2020-03-31 01:30:00 | 9.37 | 176.5 | 9.44 | 190.1 | 9.25 | 141.4 | 9.47 | 182.6 | 7.612 | 971.286 | 74.4988 | 24.1569
2020-03-31 01:45:00 | 9.62 | 179.2 | 9.65 | 189.1 | 9.49 | 141.2 | 9.68 | 185.7 | 7.401 | 970.84 | 75.6263 | 24.955
2020-03-31 02:00:00 | 10.1 | 179.5 | 10.12 | 190.3 | 10.07 | 141.5 | 10.2 | 186 | 7.452 | 970.691 | 74.3288 | 23.6138
2020-03-31 02:15:00 | 9.42 | 179 | 9.11 | 189.3 | 9.37 | 144.3 | 9.58 | 185.6 | 7.39 | 970.543 | 74.7395 | 21.0532
2020-03-31 02:30:00 | 8.27 | 178.7 | 8.09 | 190.8 | 8.38 | 148.4 | 8.59 | 184.8 | 7.319 | 970.394 | 75.491 | 16.0356
2020-03-31 02:45:00 | 6.968 | 174.2 | 7.135 | 186 | 6.966 | 148 | 6.916 | 182.1 | 7.145 | 970.394 | 76.7207 | 10.5931
2020-03-31 03:00:00 | 6.968 | 177.2 | 6.923 | 191.9 | 6.879 | 148 | 7.143 | 183.5 | 6.862 | 970.394 | 77.5406 | 12.8063
2020-03-31 03:15:00 | 6.241 | 171.4 | 6.343 | 181.4 | 6.948 | 151.8 | 7.138 | 179.3 | 6.698 | 970.097 | 79.351 | 12.8211
2020-03-31 03:30:00 | 6.598 | 167.3 | 6.598 | 178.2 | 6.897 | 147.7 | 7.049 | 178 | 6.424 | 969.8 | 80 | 13.0132
2020-03-31 03:45:00 | 7.03 | 165.5 | 6.982 | 176.3 | 6.727 | 160.8 | 6.769 | 173.3 | 6.257 | 969.502 | 82.3228 | 17.7131
2020-03-31 04:00:00 | 6.802 | 162.3 | 6.297 | 173.2 | 6.381 | 138.6 | 6.453 | 168.5 | 6.164 | 969.502 | 83.0743 | 18.3449
2020-03-31 04:15:00 | 6.455 | 162.5 | 6.437 | 172.5 | 5.941 | 139 | 5.946 | 169.2 | 6.057 | 969.057 | 83.4159 | 21.8735
2020-03-31 04:30:00 | 6.228 | 163.3 | 6.378 | 181.1 | 6.75 | 139.8 | 6.743 | 164.2 | 6.208 | 968.908 | 83.2792 | 21.2454
2020-03-31 04:45:00 | 5.584 | 165.1 | 5.192 | 189.2 | 4.725 | 140.5 | 4.8 | 170 | 6.397 | 969.205 | 80.5465 | 18.3153
2020-03-31 05:00:00 | 6.187 | 154 | 6.386 | 167.5 | 6.193 | 139.6 | 6.28 | 162.5 | 6.279 | 968.908 | 82.9377 | 24.3453
2020-03-31 05:15:00 | 3.909 | 165.2 | 3.512 | 187.8 | 4.245 | 132.3 | 4.314 | 169.5 | 6.245 | 968.908 | 82.801 | 17.8128
2020-03-31 05:30:00 | 5.51 | 165.4 | 5.624 | 179.7 | 5.9 | 133.1 | 5.977 | 168.3 | 6.362 | 968.908 | 81.5713 | 23.1852
2020-03-31 05:45:00 | 6.177 | 175.9 | 5.023 | 209.5 | 5.18 | 134.6 | 5.355 | 170.2 | 6.425 | 969.502 | 81.1614 | 19.3093
2020-03-31 06:00:00 | 5.937 | 162.7 | 5.949 | 177.6 | 6.292 | 134.1 | 6.353 | 170.3 | 6.157 | 969.502 | 83.5525 | 20.6431
2020-03-31 06:15:00 | 6.205 | 168.1 | 6.084 | 183.1 | 5.714 | 133.6 | 5.735 | 170.9 | 6.21 | 969.502 | 83.2792 | 26.7285
2020-03-31 06:30:00 | 6.825 | 160.1 | 6.527 | 175.2 | 6.241 | 133.5 | 6.369 | 168.1 | 6.12 | 968.76 | 83.1426 | 33.8115
2020-03-31 06:45:00 | 7.698 | 152.5 | 8.08 | 166.2 | 8.17 | 134.1 | 8.17 | 157 | 6.184 | 968.908 | 83.9966 | 38.722
2020-03-31 07:00:00 | 7.578 | 153 | 8.13 | 172.7 | 7.975 | 130.3 | 7.983 | 158.2 | 6.351 | 969.205 | 82.5961 | 40.3588
2020-03-31 07:15:00 | 6.583 | 163.2 | 6.606 | 180.5 | 6.94 | 130.5 | 6.949 | 166.1 | 6.44 | 969.205 | 81.8446 | 40.2295
2020-03-31 07:30:00 | 7.344 | 158.9 | 7.588 | 176.7 | 7.663 | 126 | 7.614 | 161.3 | 6.595 | 968.908 | 80.5465 | 43.2001
2020-03-31 07:45:00 | 9.1 | 153.8 | 9.63 | 169.1 | 9.26 | 127 | 9.22 | 159.4 | 6.684 | 968.76 | 79.3168 | 47.1019
2020-03-31 08:00:00 | 9.08 | 151.7 | 9.7 | 166 | 9.67 | 127.6 | 9.6 | 157.8 | 6.766 | 969.502 | 79.5901 | 41.3749
2020-03-31 08:15:00 | 7.66 | 156.9 | 7.869 | 165.4 | 7.714 | 127 | 7.561 | 163.6 | 6.865 | 970.394 | 79.3838 | 27.9885
2020-03-31 08:30:00 | 9.43 | 145.7 | 9.11 | 162.5 | 9.1 | 127.8 | 8.93 | 151.3 | 6.946 | 970.394 | 79.618 | 38.7109
2020-03-31 08:45:00 | 9.62 | 145.7 | 10.25 | 161.7 | 10.21 | 127.5 | 9.97 | 151.1 | 7.071 | 970.245 | 78.682 | 42.0769
2020-03-31 09:00:00 | 8.32 | 152.4 | 8.56 | 168.4 | 8.34 | 127.7 | 8.27 | 155.4 | 7.276 | 970.691 | 77.8567 | 31.1734
2020-03-31 09:15:00 | 6.922 | 150.5 | 7.381 | 169.2 | 7.429 | 127.4 | 7.359 | 154.6 | 7.689 | 970.947 | 75.1921 | 30.0206
2020-03-31 09:30:00 | 7.803 | 152.6 | 7.664 | 170 | 7.408 | 127.8 | 7.344 | 155.9 | 7.793 | 971.053 | 74.3726 | 30.1093
2020-03-31 09:45:00 | 7.716 | 143.7 | 7.958 | 160.6 | 7.268 | 126.4 | 7.084 | 151.7 | 8.24 | 970.989 | 73.553 | 27.0832
2020-03-31 10:00:00 | 5.413 | 179.4 | 5.213 | 201 | 4.55 | 124.6 | 4.431 | 182.5 | 8.94 | 971.732 | 69.2497 | 19.5383
2020-03-31 10:15:00 | 6.072 | 163.7 | 5.997 | 178.3 | 5.353 | 124.8 | 5.437 | 170.3 | 8.93 | 971.539 | 66.849 | 23.1667
2020-03-31 10:30:00 | 6.616 | 163.9 | 6.389 | 180.3 | 5.943 | 124.7 | 5.961 | 169.5 | 9.32 | 971.782 | 67.1817 | 22.0287
2020-03-31 10:45:00 | 7.045 | 162.4 | 6.846 | 180.7 | 6.434 | 126 | 6.353 | 162.4 | 9.41 | 971.307 | 65.745 | 23.3034
2020-03-31 11:00:00 | 7.119 | 162 | 6.67 | 180.8 | 6.129 | 126.1 | 6.127 | 163.2 | 9.9 | 970.989 | 66.1547 | 32.5959
2020-03-31 11:15:00 | 8.18 | 145.8 | 7.907 | 159.4 | 7.446 | 124 | 7.362 | 154.8 | 9.7 | 971.286 | 67.998 | 27.274
2020-03-31 11:30:00 | 9.15 | 147.8 | 9.02 | 165.2 | 8.55 | 121.8 | 8.46 | 153.2 | 9.86 | 971.138 | 65.745 | 31.8865
2020-03-31 11:45:00 | 7.964 | 185 | 7.71 | 202 | 6.404 | 121.3 | 6.262 | 187.7 | 10.48 | 970.692 | 64.1748 | 32.3299
2020-03-31 12:00:00 | 8.6 | 152.1 | 8.47 | 166.8 | 7.635 | 121.2 | 7.418 | 161.6 | 10.67 | 970.989 | 65.1262 | 29.4062
2020-03-31 12:15:00 | 6.749 | 154.3 | 6.67 | 168.4 | 6.376 | 120.9 | 6.425 | 160.8 | 10.73 | 970.989 | 65.256 | 33.8189
2020-03-31 12:30:00 | 9.21 | 153.4 | 8.94 | 168.5 | 8.04 | 123 | 8.03 | 158.8 | 10.5 | 970.544 | 65.8668 | 33.8412
2020-03-31 12:45:00 | 6.807 | 173.9 | 6.478 | 200.4 | 6.495 | 122.8 | 6.453 | 171.7 | 10.89 | 970.692 | 63.9225 | 26.3812
2020-03-31 13:00:00 | 7.377 | 170.7 | 7.133 | 187.9 | 6.523 | 123.3 | 6.56 | 174.5 | 10.91 | 970.692 | 64.7097 | 27.2051
2020-03-31 13:15:00 | 6.835 | 175.2 | 6.496 | 190.6 | 6.116 | 115.6 | 6.16 | 180.5 | 10.56 | 970.098 | 65.7334 | 21.7552
2020-03-31 13:30:00 | 7.471 | 181.5 | 7.143 | 195.4 | 6.434 | 116.1 | 6.364 | 183.1 | 10.84 | 970.247 | 66.2137 | 20.8426
2020-03-31 13:45:00 | 6.715 | 186.4 | 6.764 | 204 | 5.664 | 116.2 | 5.615 | 176 | 11.08 | 970.098 | 66.2847 | 15.4851
2020-03-31 14:00:00 | 6.823 | 155.9 | 6.818 | 173.5 | 6.47 | 115.7 | 6.45 | 158.4 | 11.03 | 970.098 | 67.034 | 13.7596
2020-03-31 14:15:00 | 7.315 | 137.4 | 7.45 | 154.9 | 7.235 | 115.5 | 7.123 | 145.1 | 11.24 | 970.098 | 66.0763 | 14.5207
2020-03-31 14:30:00 | 5.263 | 151.4 | 5.366 | 173.2 | 5.018 | 115.1 | 4.871 | 159.3 | 11.24 | 970.098 | 64.7098 | 12.0674
2020-03-31 14:45:00 | 5.408 | 149.4 | 5.438 | 166.9 | 5.264 | 114.9 | 5.258 | 156.2 | 11.28 | 969.801 | 65.3237 | 13.8741
2020-03-31 15:00:00 | 6.708 | 141.8 | 6.332 | 157.5 | 6.195 | 114.8 | 6.058 | 145.4 | 11.34 | 969.801 | 65.3916 | 13.0317
2020-03-31 15:15:00 | 6.121 | 151.5 | 6.143 | 169.9 | 5.979 | 115.5 | 5.852 | 156.3 | 11.41 | 969.356 | 64.7106 | 11.9307
2020-03-31 15:30:00 | 6.098 | 136.9 | 6.381 | 152.2 | 5.964 | 114.7 | 5.867 | 142.8 | 11.44 | 969.207 | 65.1592 | 13.0982
2020-03-31 15:45:00 | 4.806 | 155.2 | 4.985 | 170.1 | 4.69 | 111 | 4.741 | 163.9 | 11.53 | 969.356 | 63.8998 | 8.9674
2020-03-31 16:00:00 | 4.609 | 149 | 4.591 | 164.4 | 3.896 | 111 | 3.784 | 159 | 11.59 | 969.207 | 64.4476 | 7.4894
2020-03-31 16:15:00 | 5.531 | 146.6 | 5.601 | 168.6 | 5.431 | 111.3 | 5.365 | 150.9 | 11.67 | 969.059 | 63.9 | 10.885
2020-03-31 16:30:00 | 5.564 | 185.6 | 5.461 | 198.3 | 4.847 | 111.8 | 4.838 | 187.6 | 11.68 | 968.911 | 64.4475 | 10.2791
2020-03-31 16:45:00 | 6.463 | 180.7 | 6.008 | 197.6 | 5.152 | 112.6 | 5.195 | 180.5 | 11.56 | 969.207 | 64.8564 | 11.6757
2020-03-31 17:00:00 | 6.046 | 187.2 | 5.504 | 200 | 4.819 | 112.6 | 4.803 | 189.1 | 11.55 | 969.207 | 65.2671 | 11.8789
2020-03-31 17:15:00 | 5.355 | 173.7 | 4.722 | 191.6 | 4.517 | 112 | 4.53 | 174.9 | 11.41 | 969.059 | 66.3594 | 11.1178
2020-03-31 17:30:00 | 5.669 | 177.5 | 5.074 | 197 | 4.178 | 112.2 | 4.143 | 174.4 | 11.29 | 969.207 | 67.247 | 9.6214
2020-03-31 17:45:00 | 5.286 | 182 | 4.696 | 202.9 | 3.657 | 112 | 3.669 | 183.3 | 11.2 | 969.504 | 67.5201 | 7.5633
2020-03-31 18:00:00 | 4.583 | 187 | 4.64 | 202.2 | 3.733 | 111.6 | 3.651 | 189.3 | 11.14 | 969.653 | 68.1345 | 5.9081
2020-03-31 18:15:00 | 5.868 | 182.9 | 5.688 | 200 | 4.735 | 112.2 | 4.693 | 183 | 11.13 | 970.098 | 69.2951 | 4.9215
2020-03-31 18:30:00 | 4.619 | 176.8 | 4.456 | 190 | 4.059 | 111.6 | 3.972 | 175.7 | 11 | 969.95 | 69.9095 | 5.3649
2020-03-31 18:45:00 | 2.86 | 178.3 | 2.635 | 194.8 | 2.154 | 111 | 2.057 | 168.4 | 10.87 | 970.15 | 70.8653 | 5.3649
2020-03-31 19:00:00 | 4.249 | 173.9 | 4.175 | 190.6 | 3.687 | 111.3 | 3.756 | 175 | 10.82 | 969.99 | 71.6175 | 4.4855
2020-03-31 19:15:00 | 4.361 | 171.9 | 4.287 | 186.9 | 3.906 | 111.3 | 3.955 | 171.9 | 10.8 | 970.114 | 71.4197 | 4.6555
2020-03-31 19:30:00 | 3.005 | 150.9 | 3.341 | 162.4 | 3.484 | 110.8 | 3.458 | 157 | 10.61 | 970.496 | 72.2419 | 3.4473
2020-03-31 19:45:00 | 2.824 | 148.8 | 3.042 | 159.5 | 3.039 | 110.8 | 3.025 | 153.4 | 10.57 | 970.906 | 73.3698 | 2.8857
2020-03-31 20:00:00 | 3.355 | 151.3 | 4.054 | 165 | 4.415 | 110.8 | 4.433 | 157.7 | 10.37 | 970.966 | 73.677 | 4.6333
2020-03-31 20:15:00 | 4.221 | 156.4 | 4.54 | 172.3 | 4.422 | 111 | 4.37 | 160.4 | 10.38 | 971.132 | 73.5423 | 4.8476
2020-03-31 20:30:00 | 2.697 | 167.1 | 2.814 | 182.5 | 3.387 | 110.8 | 3.567 | 165.3 | 10.35 | 971.583 | 74.7361 | 3.584
2020-03-31 20:45:00 | 2.783 | 175.7 | 3.282 | 189.7 | 3.217 | 110.8 | 3.28 | 176.1 | 10.31 | 971.88 | 74.3631 | 3.0482
2020-03-31 21:00:00 | 3.526 | 174.5 | 3.763 | 188.6 | 3.733 | 110.8 | 3.817 | 177.3 | 10.49 | 972.177 | 73.2746 | 1.2267
2020-03-31 21:15:00 | 2.962 | 172.9 | 3.068 | 179.5 | 3.186 | 110.7 | 3.287 | 183.5 | 10.6 | 972.771 | 73.2016 | -0.29189
2020-03-31 21:30:00 | 2.439 | 164.9 | 2.618 | 169.6 | 2.779 | 110.7 | 2.9 | 166.3 | 10.65 | 972.77 | 73.134 | -0.29189
2020-03-31 21:45:00 | 1.831 | 163.4 | 2.078 | 169.8 | 2.413 | 110.6 | 2.452 | 166.3 | 10.53 | 973.068 | 73.747 | -0.28081
2020-03-31 22:00:00 | 0 | 164 | 0.832 | 169.7 | 1.391 | 110.5 | 1.482 | 166.6 | 10.35 | 973.068 | 74.1559 | -0.25125
2020-03-31 22:15:00 | 0.681 | 166.9 | 1.257 | 169.8 | 1.297 | 110.5 | 1.416 | 166.6 | 10.49 | 973.365 | 73.9524 | -0.25125
2020-03-31 22:30:00 | 0.048 | 166.9 | 1.444 | 169.9 | 1.136 | 110.5 | 1.25 | 166.9 | 10.55 | 973.662 | 74.0875 | -0.25125
2020-03-31 22:45:00 | 0.041 | 166.9 | 0.951 | 170.1 | 0.286 | 110.5 | 0.458 | 166.9 | 10.6 | 973.954 | 73.9502 | -0.26233
2020-03-31 23:00:00 | 2.033 | 317.8 | 2.298 | 170.2 | 2.164 | 97.5 | 2.149 | 170.1 | 10.46 | 973.957 | 74.2233 | -0.28081
2020-03-31 23:15:00 | 1.874 | 319.6 | 2.203 | 354.8 | 2.131 | 96.3 | 2.116 | 170.7 | 10.46 | 973.899 | 74.2574 | -0.26233
2020-03-31 23:30:00 | 1.835 | 324.5 | 2.162 | 355.9 | 2.258 | 93.4 | 2.238 | 170.6 | 10.46 | 973.893 | 74.3608 | -0.28081
2020-03-31 23:45:00 | 2.416 | 0.796 | 2.441 | 13.11 | 2.202 | 85.1 | 2.503 | 169.3 | 10.27 | 973.919 | 75.589 | -0.28081