## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-01 00:00:00 | 2.566 | 11.23 | 2.666 | 18.45 | 2.548 | 83.9 | 2.765 | 165.6 | 10.05 | 973.897 | 76.3744 | -0.25125
2020-04-01 00:15:00 | 2.119 | 6.522 | 2.132 | 29.69 | 1.691 | 84 | 1.95 | 11.61 | 9.93 | 973.879 | 76.5108 | -0.2845
2020-04-01 00:30:00 | 3.468 | 349.3 | 3.599 | 27.12 | 3.975 | 69.18 | 3.955 | 350 | 10.17 | 974.228 | 75.7255 | -0.17366
2020-04-01 00:45:00 | 2.508 | 30.68 | 2.919 | 26.74 | 3.25 | 43.71 | 3.504 | 3.962 | 9.91 | 973.923 | 77.3985 | 1.0456
2020-04-01 01:00:00 | 3.909 | 356.6 | 4.32 | 26.16 | 4.43 | 41.14 | 5.233 | 0.447 | 9.8 | 973.959 | 76.9546 | 3.9276
2020-04-01 01:15:00 | 3.095 | 9.45 | 3.502 | 22.68 | 3.56 | 32.5 | 3.702 | 6.206 | 9.78 | 973.959 | 77.6381 | 3.3993
2020-04-01 01:30:00 | 3.93 | 9.39 | 4.412 | 20.22 | 3.84 | 28.43 | 3.896 | 4.257 | 9.63 | 973.959 | 77.6407 | 3.4731
2020-04-01 01:45:00 | 4.64 | 18.13 | 4.241 | 16.34 | 4.753 | 10.66 | 5.567 | 359.2 | 9.83 | 973.959 | 76.7192 | 5.1654
2020-04-01 02:00:00 | 3.585 | 354.3 | 4.157 | 8.43 | 4.977 | 8.35 | 4.986 | 353.3 | 9.93 | 973.959 | 76.893 | 5.7381
2020-04-01 02:15:00 | 3.669 | 354 | 3.875 | 13.03 | 5.213 | 7.76 | 5.307 | 352.5 | 9.79 | 973.959 | 77.3717 | 7.1421
2020-04-01 02:30:00 | 4.009 | 359 | 4.494 | 12.65 | 6.073 | 8.04 | 6.244 | 355.8 | 9.7 | 973.959 | 77.4386 | 8.997
2020-04-01 02:45:00 | 2.786 | 347.8 | 3.103 | 18.2 | 4.064 | 14.07 | 4.344 | 344.4 | 9.68 | 973.959 | 77.644 | 7.8442
2020-04-01 03:00:00 | 2.531 | 351 | 3.096 | 13.89 | 4.748 | 14.54 | 4.953 | 348.2 | 9.57 | 973.959 | 78.0558 | 10.6596
2020-04-01 03:15:00 | 2.809 | 339.2 | 3.116 | 5.567 | 4.794 | 11.7 | 4.899 | 340.6 | 9.65 | 973.959 | 77.7844 | 12.3814
2020-04-01 03:30:00 | 3.092 | 354.4 | 3.487 | 18.09 | 4.784 | 15.66 | 4.943 | 349.2 | 9.56 | 974.108 | 78.4699 | 17.5801
2020-04-01 03:45:00 | 3.945 | 15.83 | 4.333 | 16.72 | 5.313 | 7.192 | 4.94 | 4.292 | 9.32 | 973.959 | 80.9288 | 14.506
2020-04-01 04:00:00 | 2.817 | 11.9 | 3.584 | 23.24 | 3.789 | 5.704 | 3.285 | 14.89 | 9.09 | 973.959 | 82.1239 | 6.296
2020-04-01 04:15:00 | 3.21 | 12.43 | 3.809 | 30.69 | 3.873 | 8.55 | 3.832 | 13.33 | 9.26 | 973.959 | 78.6068 | 7.2493
2020-04-01 04:30:00 | 2.921 | 9.82 | 3.804 | 29.02 | 4.003 | 8.39 | 3.812 | 14.15 | 9.49 | 974.256 | 78.6751 | 5.4499
2020-04-01 04:45:00 | 2.804 | 13.05 | 4.121 | 21.19 | 4.402 | 4.684 | 4.418 | 22.98 | 8.88 | 974.553 | 79.6312 | 6.7985
2020-04-01 05:00:00 | 3.261 | 32.5 | 4.939 | 43.48 | 5.61 | 13.38 | 5.643 | 39.81 | 8.79 | 974.28 | 80.9971 | 8.5388
2020-04-01 05:15:00 | 3.312 | 30.11 | 4.671 | 38.13 | 5.058 | 8.46 | 5.118 | 38.7 | 9.38 | 974.555 | 75.6018 | 13.7818
2020-04-01 05:30:00 | 4.285 | 35.33 | 7.352 | 49.85 | 8.22 | 17.9 | 8.31 | 40.82 | 9.44 | 974.418 | 66.1089 | 19.2982
2020-04-01 05:45:00 | 3.755 | 34.42 | 6.864 | 44.59 | 7.454 | 1.003 | 7.375 | 41.02 | 9.68 | 974.554 | 59.7575 | 22.9967
2020-04-01 06:00:00 | 4.171 | 36.01 | 7.266 | 48.65 | 7.665 | 357.1 | 7.563 | 41.48 | 9.67 | 974.405 | 55.5233 | 25.3097
2020-04-01 06:15:00 | 2.495 | 24.28 | 3.987 | 29.79 | 5.559 | 344.8 | 5.363 | 31.59 | 9.57 | 974.702 | 54.055 | 13.6598
2020-04-01 06:30:00 | 2.699 | 20.76 | 4.727 | 31.53 | 5.096 | 336.5 | 4.754 | 27.32 | 9.56 | 975.148 | 53.3037 | 11.7274
2020-04-01 06:45:00 | 2.557 | 31.58 | 3.883 | 39.68 | 4.42 | 332.4 | 4.454 | 39.71 | 9.57 | 975.445 | 50.6061 | 8.0289
2020-04-01 07:00:00 | 4.003 | 32.35 | 6.128 | 47.14 | 6.419 | 334.7 | 6.379 | 41.7 | 9.59 | 975.891 | 46.7814 | 10.1756
2020-04-01 07:15:00 | 2.61 | 28.97 | 2.96 | 32.54 | 3.43 | 333.9 | 3.427 | 45.05 | 9.74 | 976.336 | 41.5192 | 7.4747
2020-04-01 07:30:00 | 1.536 | 51.7 | 2.538 | 50.01 | 2.938 | 331.1 | 3.001 | 44.11 | 10.1 | 976.904 | 38.1024 | 3.4584
2020-04-01 07:45:00 | 3.122 | 30.04 | 5.696 | 41.89 | 5.577 | 332.4 | 5.427 | 36.45 | 10.05 | 977.113 | 34.4456 | 4.9806
2020-04-01 08:00:00 | 2.007 | 24.04 | 3.551 | 44.33 | 3.896 | 331.9 | 3.781 | 28.42 | 10.32 | 977.44 | 35.501 | 3.4399
2020-04-01 08:15:00 | 3.485 | 30.75 | 5.118 | 45.93 | 4.979 | 333.9 | 4.917 | 36.3 | 10.39 | 977.97 | 31.4047 | 3.9461
2020-04-01 08:30:00 | 2.48 | 40.57 | 3.965 | 58.84 | 3.927 | 331.5 | 3.807 | 44.83 | 10.53 | 978.413 | 28.1959 | 4.9991
2020-04-01 08:45:00 | 3.33 | 30.95 | 5.177 | 42.93 | 5.02 | 334.2 | 4.948 | 36.76 | 10.67 | 978.562 | 27.7157 | 6.1889
2020-04-01 09:00:00 | 3.853 | 32.52 | 5.34 | 43.05 | 5.269 | 334.6 | 5.21 | 45.18 | 10.68 | 979.007 | 27.0989 | 9.3073
2020-04-01 09:15:00 | 3.219 | 21.51 | 4.839 | 29.16 | 5.025 | 333.1 | 4.754 | 29.7 | 11.06 | 979.453 | 27.0306 | 14.1697
2020-04-01 09:30:00 | 5.75 | 10.55 | 6.483 | 26.69 | 5.559 | 336 | 5.34 | 9.91 | 10.49 | 979.156 | 29.4198 | 20.0873
2020-04-01 09:45:00 | 6.312 | 9.32 | 7.092 | 23.15 | 6.376 | 331.9 | 6.147 | 6.653 | 10.25 | 978.71 | 29.4197 | 28.5116
2020-04-01 10:00:00 | 6.984 | 3.318 | 7.168 | 21.8 | 6.905 | 333.8 | 6.977 | 4.641 | 10.38 | 979.007 | 28.191 | 32.123
2020-04-01 10:15:00 | 7.027 | 4.706 | 7.516 | 23.94 | 7.38 | 334.7 | 7.581 | 6.76 | 10.41 | 979.007 | 26.5529 | 35.2472
2020-04-01 10:30:00 | 6.723 | 10.12 | 7.388 | 23.79 | 7.246 | 334.5 | 7.176 | 9.13 | 10.43 | 979.304 | 25.665 | 31.8643
2020-04-01 10:45:00 | 6.532 | 10.35 | 7.007 | 22.79 | 6.943 | 333.2 | 6.83 | 9.22 | 10.6 | 979.601 | 25.1534 | 23.248
2020-04-01 11:00:00 | 3.754 | 14.15 | 5.721 | 31.46 | 5.117 | 330.5 | 4.721 | 14.26 | 10.91 | 979.898 | 24.3 | 17.5838
2020-04-01 11:15:00 | 3.933 | 14.51 | 5.893 | 28.19 | 5.46 | 331.4 | 5.093 | 17.81 | 11.13 | 979.601 | 23.6519 | 17.8831
2020-04-01 11:30:00 | 4.321 | 7.785 | 5.156 | 24.78 | 4.824 | 332.5 | 4.673 | 10.19 | 11.11 | 979.601 | 23.8225 | 10.9478
2020-04-01 11:45:00 | 2.879 | 18.25 | 4.469 | 33.59 | 4.326 | 331.6 | 3.883 | 17.77 | 12.06 | 979.601 | 21.9795 | 8.609
2020-04-01 12:00:00 | 2.31 | 33.19 | 3.355 | 57.72 | 3.408 | 331.9 | 3.282 | 35.16 | 12.24 | 979.455 | 22.7268 | 6.0854
2020-04-01 12:15:00 | 3.003 | 42.62 | 3.883 | 55.45 | 3.654 | 327.9 | 3.606 | 45.36 | 11.97 | 979.451 | 22.044 | 3.9461
2020-04-01 12:30:00 | 1.549 | 19.04 | 2.61 | 38.86 | 3.041 | 326.2 | 2.895 | 28.7 | 12.8 | 979.747 | 21.4238 | 4.6259
2020-04-01 12:45:00 | 2.38 | 58.76 | 3.378 | 77.27 | 4.01 | 310.9 | 3.947 | 65.8 | 13.18 | 979.747 | 21.3202 | 14.2215
2020-04-01 13:00:00 | 5.214 | 6.184 | 5.972 | 25.83 | 5.552 | 288.9 | 5.663 | 359.7 | 12.56 | 978.856 | 21.4907 | 14.0404
2020-04-01 13:15:00 | 3.716 | 14.75 | 5.709 | 31.38 | 5.92 | 287.8 | 5.714 | 16.19 | 12.59 | 978.114 | 21.8318 | 14.2991
2020-04-01 13:30:00 | 3.387 | 8.14 | 5.269 | 29.12 | 5.193 | 282 | 4.978 | 2.853 | 13.29 | 978.411 | 21.9006 | 19.4866
2020-04-01 13:45:00 | 2.604 | 8 | 4.778 | 31.73 | 4.59 | 281.5 | 4.53 | 2.313 | 13.9 | 978.708 | 20.9453 | 24.5116
2020-04-01 14:00:00 | 3.746 | 356.8 | 3.701 | 16.82 | 4.43 | 282.9 | 4.522 | 355.3 | 12.79 | 978.114 | 24.4926 | 30.5231
2020-04-01 14:15:00 | 3.909 | 356.8 | 4.075 | 353.7 | 3.201 | 281 | 3.044 | 11.24 | 12.82 | 977.966 | 26.2666 | 36.409
2020-04-01 14:30:00 | 2.397 | 13.45 | 3.003 | 4.314 | 3.806 | 280.8 | 3.592 | 15.33 | 12.5 | 977.669 | 26.8177 | 33.3357
2020-04-01 14:45:00 | 2.962 | 8.58 | 5.077 | 35.89 | 4.946 | 283.1 | 5.172 | 350.4 | 11.97 | 977.372 | 28.3228 | 37.6283
2020-04-01 15:00:00 | 3.561 | 10.88 | 5.317 | 30.42 | 5.394 | 283.7 | 5.455 | 358.1 | 11.73 | 977.224 | 28.3228 | 36.4829
2020-04-01 15:15:00 | 3.891 | 356.1 | 4.87 | 23.46 | 5.547 | 284.5 | 5.709 | 348.7 | 11.5 | 976.645 | 28.9029 | 29.7652
2020-04-01 15:30:00 | 4.23 | 356.1 | 4.791 | 16.63 | 5.905 | 285.4 | 6.04 | 353.6 | 11.46 | 976.617 | 28.1551 | 27.9995
2020-04-01 15:45:00 | 5.258 | 1.012 | 5.734 | 28.2 | 5.837 | 287.1 | 6.137 | 354.5 | 11.06 | 976.334 | 28.3617 | 27.5709
2020-04-01 16:00:00 | 5.053 | 0.417 | 5.56 | 25.12 | 6.002 | 287.2 | 6.132 | 358.1 | 11.05 | 976.037 | 28.8395 | 23.6913
2020-04-01 16:15:00 | 4.701 | 358.2 | 4.793 | 24.19 | 4.883 | 286.9 | 5.106 | 348.4 | 10.89 | 976.334 | 29.6295 | 20.9387
2020-04-01 16:30:00 | 4.111 | 346.5 | 4.123 | 16.09 | 5.157 | 286.4 | 5.429 | 345.4 | 10.82 | 976.483 | 29.8344 | 20.5507
2020-04-01 16:45:00 | 5.066 | 5.412 | 5.248 | 21.49 | 5.961 | 287.2 | 6.236 | 1.487 | 10.59 | 976.186 | 30.6537 | 18.1269
2020-04-01 17:00:00 | 5.462 | 356.1 | 5.558 | 16.84 | 6.376 | 287.7 | 6.547 | 357.9 | 10.42 | 976.364 | 31.8826 | 17.2882
2020-04-01 17:15:00 | 5.978 | 8.74 | 5.711 | 15.17 | 6.104 | 287.8 | 6.264 | 4.65 | 10.32 | 976.125 | 32.2922 | 16.6822
2020-04-01 17:30:00 | 5.048 | 8.19 | 5.1 | 19.91 | 5.086 | 287.2 | 4.856 | 10.56 | 10.21 | 975.957 | 31.2681 | 14.735
2020-04-01 17:45:00 | 4.126 | 8.13 | 4.614 | 21.23 | 4.438 | 286.5 | 4.171 | 11.19 | 10.32 | 976.047 | 31.2682 | 10.2864
2020-04-01 18:00:00 | 4.177 | 6.637 | 4.655 | 19.7 | 4.504 | 286.6 | 4.344 | 8.42 | 10.31 | 976.073 | 30.6554 | 9.9909
2020-04-01 18:15:00 | 3.383 | 6.522 | 4.238 | 21.49 | 4.237 | 286.2 | 4.041 | 9.41 | 10.16 | 976.136 | 31.0679 | 10.0648
2020-04-01 18:30:00 | 4.402 | 346.9 | 4.883 | 0.165 | 5.079 | 286.6 | 5.073 | 352.9 | 10.12 | 976.166 | 31.8201 | 8.7088
2020-04-01 18:45:00 | 3.71 | 351.2 | 4.052 | 2.688 | 4.031 | 286.1 | 4.123 | 355.6 | 9.98 | 976.429 | 32.0929 | 8.997
2020-04-01 19:00:00 | 4.586 | 4.989 | 4.612 | 9.84 | 4.794 | 286.7 | 4.864 | 4.359 | 9.78 | 976.299 | 33.6634 | 9.7285
2020-04-01 19:15:00 | 3.074 | 346.5 | 3.024 | 358.6 | 4.13 | 285.1 | 4.275 | 346.3 | 9.66 | 976.762 | 32.9125 | 7.5375
2020-04-01 19:30:00 | 3.442 | 10.43 | 4.126 | 31.21 | 3.789 | 286.4 | 3.84 | 5.823 | 9.55 | 976.93 | 32.8462 | 3.3623
2020-04-01 19:45:00 | 2.211 | 298.3 | 2.122 | 306.6 | 2.042 | 284 | 1.968 | 308.8 | 9.2 | 976.93 | 34.5547 | 1.755
2020-04-01 20:00:00 | 2.609 | 349.1 | 3.114 | 16.02 | 3.639 | 284.9 | 3.733 | 346.2 | 9.2 | 976.93 | 34.6935 | 5.1211
2020-04-01 20:15:00 | 3.636 | 339.6 | 3.817 | 350.9 | 3.924 | 285.2 | 3.929 | 343.5 | 9.06 | 976.93 | 35.7862 | 4.153
2020-04-01 20:30:00 | 4.029 | 345.6 | 4.039 | 12.47 | 3.832 | 285.3 | 3.983 | 355.8 | 8.91 | 976.93 | 36.5375 | 3.1221
2020-04-01 20:45:00 | 2.98 | 346 | 3.666 | 2.297 | 3.603 | 285 | 3.511 | 353.3 | 8.83 | 976.93 | 36.6741 | 2.0913
2020-04-01 21:00:00 | 2.914 | 345.4 | 3.042 | 5.428 | 4.163 | 285.2 | 4.143 | 351.6 | 8.76 | 976.93 | 37.2887 | 3.2552
2020-04-01 21:15:00 | 3.631 | 343.1 | 3.681 | 352.5 | 3.871 | 285.3 | 3.911 | 347.7 | 8.68 | 977.252 | 38.6546 | 5.5792
2020-04-01 21:30:00 | 2.778 | 331.5 | 2.431 | 342.5 | 3.382 | 284.9 | 3.644 | 336.3 | 8.43 | 977.278 | 41.1132 | 7.1384
2020-04-01 21:45:00 | 4.663 | 340.6 | 5.394 | 354.9 | 5.59 | 286 | 5.666 | 345.6 | 8.23 | 977.05 | 41.2498 | 6.7135
2020-04-01 22:00:00 | 3.644 | 340.3 | 4.039 | 0.973 | 4.127 | 285.5 | 4.275 | 338.9 | 8.15 | 977.159 | 41.1132 | 6.0226
2020-04-01 22:15:00 | 2.98 | 333.7 | 2.831 | 347.6 | 2.609 | 285.2 | 2.63 | 330.7 | 8.1 | 977.158 | 41.0449 | 7.2197
2020-04-01 22:30:00 | 3.197 | 333 | 3.318 | 347.1 | 2.909 | 285.2 | 2.954 | 332.8 | 7.973 | 977.229 | 42.8205 | 10.7372
2020-04-01 22:45:00 | 2.347 | 324.8 | 2.324 | 338.4 | 2.347 | 284.9 | 2.551 | 319.4 | 7.912 | 977.229 | 43.2303 | 9.0413
2020-04-01 23:00:00 | 2.85 | 333.1 | 2.901 | 350.2 | 2.83 | 285.1 | 2.826 | 326.8 | 7.741 | 977.229 | 43.2303 | 9.3516
2020-04-01 23:15:00 | 2.551 | 324.9 | 2.467 | 338.8 | 2.398 | 284.9 | 2.386 | 320.6 | 7.809 | 977.377 | 42.684 | 7.4119
2020-04-01 23:30:00 | 3.187 | 326 | 3.172 | 339.6 | 3.008 | 285.2 | 3.155 | 315.3 | 7.739 | 977.526 | 42.4801 | 6.4364
2020-04-01 23:45:00 | 2.319 | 319.5 | 2.318 | 337.8 | 2.879 | 284.5 | 2.982 | 315.5 | 7.781 | 977.229 | 42.2745 | 3.8537