## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-02 00:00:00 | 3.424 | 302.7 | 3.998 | 318.5 | 4.328 | 284.7 | 4.372 | 302.9 | 7.732 | 977.526 | 43.0938 | 4.4449
2020-04-02 00:15:00 | 2.868 | 294.9 | 2.963 | 312.3 | 3.471 | 284.3 | 3.425 | 297.7 | 7.671 | 977.229 | 43.1639 | 3.0224
2020-04-02 00:30:00 | 2.579 | 315.6 | 2.355 | 329.6 | 2.517 | 284 | 2.602 | 316 | 7.684 | 977.526 | 43.3691 | 3.148
2020-04-02 00:45:00 | 2.878 | 297.2 | 3.356 | 309.2 | 3.759 | 283.9 | 3.723 | 296.5 | 7.488 | 977.526 | 52.4545 | 3.1221
2020-04-02 01:00:00 | 3.654 | 294.7 | 3.87 | 309.2 | 3.802 | 284 | 3.725 | 292.9 | 7.141 | 977.377 | 55.837 | 2.3425
2020-04-02 01:15:00 | 4.124 | 284.1 | 3.967 | 296.3 | 3.86 | 279.8 | 3.842 | 287.5 | 6.784 | 977.229 | 62.0964 | 1.8326
2020-04-02 01:30:00 | 3.863 | 280.2 | 4.013 | 293.7 | 4.107 | 279.6 | 4.074 | 283.7 | 6.648 | 977.08 | 64.2847 | 1.0272
2020-04-02 01:45:00 | 2.686 | 312.3 | 2.61 | 324.2 | 2.454 | 281.6 | 2.393 | 312.7 | 6.526 | 976.932 | 64.7651 | 1.1565
2020-04-02 02:00:00 | 0.026 | 332.2 | 0 | 46.78 | 0.389 | 281.5 | 0.166 | 337.7 | 6.47 | 976.932 | 66.6097 | 0.86829
2020-04-02 02:15:00 | 1.559 | 298.4 | 1.456 | 313 | 1.518 | 281.3 | 1.418 | 308.2 | 6.135 | 976.932 | 70.7088 | 0.96805
2020-04-02 02:30:00 | 2.931 | 295.7 | 2.965 | 305.1 | 2.754 | 280.6 | 2.707 | 301.1 | 5.737 | 976.635 | 77.1307 | 0.7131
2020-04-02 02:45:00 | 2.656 | 313.4 | 2.308 | 313.1 | 1.945 | 281.4 | 1.864 | 329.8 | 5.185 | 976.635 | 87.8565 | 0.53945
2020-04-02 03:00:00 | 1.616 | 4.621 | 2.584 | 18.24 | 2.454 | 281.4 | 2.274 | 12.76 | 4.915 | 976.337 | 88.1981 | 0.1404
2020-04-02 03:15:00 | 0.687 | 4.613 | 1.898 | 22.67 | 2.373 | 281 | 2.457 | 0.273 | 4.807 | 976.04 | 91.0675 | 0.014779
2020-04-02 03:30:00 | 1.382 | 13.39 | 2.308 | 23.65 | 3.456 | 281.2 | 3.583 | 25.02 | 4.791 | 976.122 | 93.8685 | 0.051728
2020-04-02 03:45:00 | 1.743 | 27.16 | 2.49 | 32.51 | 2.917 | 281.5 | 3.012 | 32.03 | 4.507 | 976.201 | 97.1496 | 0.13301
2020-04-02 04:00:00 | 2.229 | 37.07 | 3.341 | 47.38 | 4.008 | 282.2 | 4.09 | 41.78 | 4.475 | 976.28 | 98.4633 | 0.58748
2020-04-02 04:15:00 | 2.458 | 35.58 | 3.76 | 47.57 | 4.524 | 283.1 | 4.614 | 41.85 | 4.355 | 976.029 | 99.2809 | 2.3351
2020-04-02 04:30:00 | 3.248 | 33.67 | 5.164 | 47.12 | 4.974 | 285.7 | 4.968 | 44.69 | 4.565 | 975.731 | 92.1109 | 4.892
2020-04-02 04:45:00 | 3.697 | 53.79 | 4.855 | 65.05 | 4.608 | 286.6 | 4.882 | 60.13 | 4.68 | 975.744 | 89.5198 | 5.3612
2020-04-02 05:00:00 | 4.532 | 60.37 | 5.404 | 76.04 | 4.211 | 287.4 | 4.135 | 65.13 | 4.821 | 975.744 | 84.8069 | 5.2208
2020-04-02 05:15:00 | 3.748 | 59.64 | 3.97 | 79.32 | 4.049 | 286.7 | 4.252 | 61.94 | 4.886 | 975.744 | 84.6334 | 5.4499
2020-04-02 05:30:00 | 4.461 | 61.42 | 4.481 | 83.7 | 3.789 | 287.4 | 3.756 | 64.35 | 5.022 | 975.744 | 82.0392 | 6.684
2020-04-02 05:45:00 | 4.928 | 53.92 | 4.763 | 67.35 | 4.809 | 287.8 | 4.917 | 70.29 | 5.121 | 975.744 | 80.7727 | 4.8994
2020-04-02 06:00:00 | 4.116 | 91.1 | 3.911 | 100 | 3.329 | 286.1 | 3.356 | 107.4 | 5.98 | 975.744 | 76.9455 | 4.1936
2020-04-02 06:15:00 | 4.652 | 96.9 | 4.052 | 102.7 | 3.858 | 286.1 | 3.924 | 114.7 | 6.111 | 976.014 | 75.3312 | 6.3403
2020-04-02 06:30:00 | 3.417 | 95.9 | 3.208 | 96.7 | 3.306 | 285.5 | 3.41 | 120.4 | 6.248 | 975.961 | 77.6432 | 6.5473
2020-04-02 06:45:00 | 3.008 | 124.5 | 2.896 | 127.3 | 3.181 | 276.8 | 3.257 | 132.7 | 6.817 | 976.041 | 77.199 | 4.0828
2020-04-02 07:00:00 | 0.348 | 159.8 | 1.004 | 213.5 | 1.794 | 266.7 | 2.136 | 149.4 | 6.43 | 976.338 | 84.0991 | 4.0754
2020-04-02 07:15:00 | 0.312 | 121.1 | 1.545 | 134.6 | 2.472 | 266.6 | 2.618 | 130.8 | 6.584 | 976.338 | 84.3382 | 4.1161
2020-04-02 07:30:00 | 0.515 | 137.4 | 1.716 | 137.5 | 2.818 | 266.6 | 2.821 | 133.3 | 6.505 | 976.635 | 85.7387 | 6.1297
2020-04-02 07:45:00 | 3.143 | 119.4 | 3.144 | 140.3 | 3.405 | 254.5 | 3.435 | 124.9 | 6.238 | 976.635 | 86.4219 | 8.1693
2020-04-02 08:00:00 | 3.017 | 102.6 | 3.479 | 120.6 | 3.899 | 239.4 | 4.212 | 109.4 | 6.36 | 976.635 | 83.4159 | 5.9672
2020-04-02 08:15:00 | 0.55 | 13.37 | 0.822 | 47.78 | 0.166 | 247.5 | 0.394 | 110 | 6.455 | 976.635 | 85.8754 | 2.361
2020-04-02 08:30:00 | 1.27 | 63.95 | 1.12 | 64.71 | 1.131 | 261.8 | 1.197 | 94 | 6.027 | 976.932 | 89.3596 | 0.29928
2020-04-02 08:45:00 | 0.007 | 116.6 | 0.468 | 64.89 | 1.558 | 261.5 | 1.781 | 132.1 | 6.09 | 977.229 | 89.8719 | -0.218
2020-04-02 09:00:00 | 0.2 | 117.8 | 0.676 | 102.3 | 1.729 | 261.4 | 1.747 | 126 | 6.16 | 977.229 | 95.2349 | -0.26972
2020-04-02 09:15:00 | 1.236 | 116.9 | 2.07 | 104.7 | 2.484 | 255.6 | 2.633 | 124.4 | 6.08 | 977.378 | 85.4654 | -0.28081
2020-04-02 09:30:00 | 0.082 | 110.2 | 0.252 | 105 | 0.901 | 254.6 | 0.695 | 118.8 | 6.254 | 977.823 | 85.158 | -0.28081
2020-04-02 09:45:00 | 0.11 | 135.6 | 0.086 | 105 | 0 | 254.6 | 0 | 118.9 | 6.258 | 977.823 | 95.8497 | -0.25125
2020-04-02 10:00:00 | 0.052 | 135.7 | 0.053 | 105 | 0.563 | 254.7 | 0.803 | 119.6 | 6.059 | 978.269 | 97.9334 | -0.25125
2020-04-02 10:15:00 | 0 | 179.7 | 0 | 105 | 0.14 | 255 | 0.575 | 120.2 | 5.842 | 978.418 | 99.0948 | -0.25125
2020-04-02 10:30:00 | 0.614 | 218 | 0.806 | 248.5 | 0.232 | 254.9 | 0.224 | 120.2 | 5.75 | 978.418 | 99.4706 | -0.28081
2020-04-02 10:45:00 | 1.588 | 200.2 | 1.873 | 226.8 | 2.192 | 254.8 | 2.241 | 200.7 | 5.695 | 978.418 | 99.7439 | -0.26972
2020-04-02 11:00:00 | 2.229 | 196.1 | 1.876 | 210.6 | 2.156 | 244 | 2.258 | 197.7 | 5.821 | 978.418 | 99.3339 | -0.25125
2020-04-02 11:15:00 | 2.275 | 184 | 2.065 | 210.2 | 1.83 | 244.1 | 1.889 | 179.7 | 5.807 | 978.418 | 98.0359 | -0.25125
2020-04-02 11:30:00 | 1.902 | 188.4 | 1.991 | 210.2 | 2.418 | 244.2 | 2.602 | 188.5 | 5.932 | 978.418 | 97.2161 | -0.25125
2020-04-02 11:45:00 | 1.784 | 211.6 | 1.817 | 210.9 | 1.785 | 244.1 | 1.915 | 207.6 | 6.144 | 978.418 | 95.7473 | -0.28081
2020-04-02 12:00:00 | 0.673 | 251 | 0.916 | 211.1 | 0.446 | 244.6 | 0.522 | 212.8 | 6.391 | 978.418 | 95.8497 | -0.28081
2020-04-02 12:15:00 | 0.347 | 236.1 | 0.327 | 249 | 0 | 245 | 0 | 240.1 | 6.175 | 978.418 | 98.2405 | -0.28081
2020-04-02 12:30:00 | 1.974 | 227.2 | 1.948 | 254.8 | 1.711 | 245 | 1.887 | 235.5 | 6.261 | 978.418 | 98.0929 | -0.28081
2020-04-02 12:45:00 | 2.449 | 237.1 | 2.183 | 254.3 | 1.947 | 245.5 | 2.07 | 231.2 | 6.167 | 978.121 | 98.6269 | -0.26972
2020-04-02 13:00:00 | 1.995 | 241.6 | 2.164 | 254.6 | 1.868 | 248.4 | 1.997 | 237.3 | 6.227 | 978.121 | 98.963 | -0.28081
2020-04-02 13:15:00 | 2.28 | 251.4 | 2.295 | 273.2 | 2.444 | 250.1 | 2.531 | 246.2 | 6.226 | 978.418 | 98.9615 | -0.28081
2020-04-02 13:30:00 | 0.603 | 250.6 | 1.16 | 274.3 | 1.223 | 250 | 1.347 | 251.7 | 6.582 | 978.418 | 97.5927 | -0.28081
2020-04-02 13:45:00 | 0.762 | 209.7 | 0.719 | 273.3 | 0.67 | 250 | 0.915 | 218.2 | 6.8 | 978.353 | 97.1829 | -0.28081
2020-04-02 14:00:00 | 0.685 | 232.3 | 1.084 | 215.7 | 1.484 | 248 | 1.505 | 220.7 | 6.837 | 978.13 | 97.6609 | -0.26972
2020-04-02 14:15:00 | 1.08 | 244.4 | 1.38 | 263.4 | 1.877 | 249.3 | 1.86 | 245.2 | 6.912 | 977.821 | 95.8511 | -0.26972
2020-04-02 14:30:00 | 1.556 | 270.9 | 1.9 | 259.9 | 1.9 | 249.9 | 1.934 | 257 | 6.913 | 977.524 | 95.9536 | -0.26972
2020-04-02 14:45:00 | 1.814 | 237 | 2.185 | 246.5 | 2.469 | 245.9 | 2.406 | 243 | 6.887 | 977.524 | 95.0658 | -0.28081
2020-04-02 15:00:00 | 2.194 | 252.1 | 2.214 | 263.7 | 2.266 | 249.1 | 2.274 | 248.6 | 6.778 | 977.227 | 95.5438 | -0.28081
2020-04-02 15:15:00 | 2.357 | 254.7 | 2.306 | 264.9 | 2.032 | 249.7 | 2.017 | 257.2 | 6.673 | 976.954 | 93.8365 | -0.28081
2020-04-02 15:30:00 | 1.647 | 289.1 | 2.206 | 301.8 | 2.037 | 258.6 | 1.932 | 278.6 | 6.567 | 976.845 | 96.1243 | -0.28081
2020-04-02 15:45:00 | 0.401 | 228.7 | 0.519 | 303.2 | 1.353 | 258.1 | 1.285 | 202.2 | 6.89 | 977.042 | 93.9389 | -0.28081
2020-04-02 16:00:00 | 0.401 | 228.7 | 0.519 | 303.2 | 1.353 | 258.1 | 1.285 | 202.2 | 6.89 | 977.042 | 93.9389 | -0.28081
2020-04-02 16:15:00 | 0.401 | 228.7 | 0.519 | 303.2 | 1.353 | 258.1 | 1.285 | 202.2 | 6.89 | 977.042 | 93.9389 | -0.28081
2020-04-02 16:30:00 | 1.319 | 249.4 | 1.231 | 242.5 | 1.46 | 244.6 | 1.286 | 242 | 7.798 | 976.928 | 88.6993 | -0.31037
2020-04-02 16:45:00 | 1.319 | 249.4 | 1.231 | 242.5 | 1.46 | 244.6 | 1.286 | 242 | 7.798 | 976.928 | 88.6993 | -0.31037
2020-04-02 17:00:00 | 1.319 | 249.4 | 1.231 | 242.5 | 1.46 | 244.6 | 1.286 | 242 | 7.798 | 976.928 | 88.6993 | -0.31037
2020-04-02 17:15:00 | 2.518 | 293.4 | 2.679 | 303.1 | 2.464 | 258.3 | 2.335 | 294 | 7.462 | 976.633 | 90.6851 | -0.25125
2020-04-02 17:30:00 | 1.637 | 297.5 | 2.022 | 303 | 2.07 | 258.2 | 1.927 | 299.4 | 7.372 | 976.93 | 89.9762 | -0.29189
2020-04-02 17:45:00 | 1.072 | 297.2 | 1.569 | 303 | 1.485 | 258.1 | 1.405 | 294.1 | 7.358 | 976.633 | 89.7388 | -0.28081
2020-04-02 18:00:00 | 0.215 | 312.5 | 0.359 | 303.6 | 0.672 | 258.1 | 0.353 | 296.4 | 7.218 | 976.344 | 91.3778 | -0.25125
2020-04-02 18:15:00 | 0.246 | 296.6 | 0 | 303.1 | 0.009 | 258.1 | 0 | 296.2 | 7.057 | 976.451 | 91.6169 | -0.28081
2020-04-02 18:30:00 | 0 | 296.6 | 0 | 303.1 | 0 | 258 | 0 | 296.1 | 6.888 | 975.892 | 91.7264 | -0.28081
2020-04-02 18:45:00 | 0.331 | 296.7 | 0 | 303.2 | 0.14 | 258.1 | 0 | 296.2 | 6.775 | 975.743 | 90.657 | -0.28081
2020-04-02 19:00:00 | 0.052 | 300.4 | 0.184 | 303.2 | 0.267 | 258.1 | 0.018 | 296.2 | 6.83 | 975.892 | 89.2912 | -0.28081
2020-04-02 19:15:00 | 0 | 8.59 | 0 | 303.3 | 0.171 | 258.1 | 0.025 | 338 | 6.896 | 976.04 | 89.2229 | -0.28081
2020-04-02 19:30:00 | 0 | 8.59 | 0 | 303.3 | 0 | 258 | 0 | 338.4 | 6.851 | 976.04 | 88.5397 | -0.28081
2020-04-02 19:45:00 | 0 | 8.59 | 0 | 303.3 | 0.081 | 257.8 | 0.006 | 338.4 | 7.036 | 976.04 | 85.3971 | -0.28081
2020-04-02 20:00:00 | 0 | 8.59 | 0.03 | 303.3 | 0.544 | 257.8 | 0.259 | 338.4 | 7.209 | 976.04 | 83.1426 | -0.28081
2020-04-02 20:15:00 | 0 | 8.67 | 0.169 | 303.5 | 0.597 | 257.8 | 0.32 | 338.4 | 7.275 | 976.337 | 81.3663 | -0.28081
2020-04-02 20:30:00 | 1.179 | 48.61 | 1.079 | 303.8 | 1.287 | 257.8 | 1.202 | 23.31 | 7.474 | 976.337 | 79.795 | -0.25125
2020-04-02 20:45:00 | 0.182 | 38.95 | 0.293 | 303.7 | 0.305 | 257.7 | 0.071 | 23.32 | 7.5 | 976.635 | 80.8198 | -0.25125
2020-04-02 21:00:00 | 0.807 | 83.3 | 0.468 | 301.6 | 0 | 257.1 | 0 | 23.32 | 7.156 | 976.635 | 82.8693 | -0.25125
2020-04-02 21:15:00 | 0 | 102.4 | 0.105 | 302 | 0.684 | 257 | 0.3 | 23.32 | 7.34 | 976.635 | 81.8446 | -0.28081
2020-04-02 21:30:00 | 2.645 | 136.9 | 2.237 | 155.2 | 1.255 | 243.5 | 1.025 | 61.71 | 7.2 | 976.635 | 83.006 | -0.28081
2020-04-02 21:45:00 | 1.074 | 130.3 | 0.712 | 155.3 | 0.202 | 244 | 0.065 | 63.76 | 7.332 | 976.635 | 83.0743 | -0.28081
2020-04-02 22:00:00 | 0.603 | 127.9 | 0.289 | 155.6 | 0 | 244 | 0 | 63.76 | 7.36 | 976.635 | 82.9035 | -0.28081
2020-04-02 22:15:00 | 0.867 | 138.8 | 0.368 | 155.6 | 0 | 244 | 0 | 63.78 | 7.352 | 976.635 | 82.8693 | -0.28081
2020-04-02 22:30:00 | 0.64 | 138.8 | 0.873 | 155.6 | 0 | 244 | 0 | 63.78 | 7.413 | 976.635 | 81.8446 | -0.28081
2020-04-02 22:45:00 | 1.155 | 140 | 0.683 | 155.7 | 0 | 244 | 0 | 63.79 | 7.423 | 976.635 | 81.8104 | -0.28081
2020-04-02 23:00:00 | 1.371 | 144.8 | 0.098 | 155.7 | 0 | 244 | 0 | 63.78 | 7.414 | 976.635 | 81.8446 | -0.28081
2020-04-02 23:15:00 | 0 | 144.8 | 0 | 155.7 | 0 | 244.1 | 0 | 63.78 | 7.414 | 976.635 | 82.6302 | -0.28081
2020-04-02 23:30:00 | 0 | 204 | 0 | 155.7 | 0.939 | 244.1 | 0.783 | 62.35 | 7.165 | 976.635 | 85.2605 | -0.28081
2020-04-02 23:45:00 | 0.026 | 257.4 | 1.101 | 156.1 | 1.347 | 244.1 | 1.173 | 62.07 | 7.327 | 976.645 | 84.3723 | -0.26972