## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-03 00:00:00 | 0.298 | 258.6 | 1.516 | 212.9 | 1.879 | 244.3 | 1.831 | 61.65 | 7.342 | 976.654 | 83.4842 | -0.28081
2020-04-03 00:15:00 | 1.43 | 264.5 | 2.086 | 214.6 | 2.558 | 244.4 | 2.5 | 60.78 | 7.413 | 976.635 | 83.8941 | -0.28081
2020-04-03 00:30:00 | 1.928 | 264.9 | 2.178 | 214.9 | 2.436 | 244.7 | 2.391 | 60.47 | 7.364 | 976.635 | 83.5525 | -0.29189
2020-04-03 00:45:00 | 1.498 | 263.2 | 1.833 | 214.9 | 2.24 | 244.7 | 2.2 | 60.18 | 7.196 | 976.635 | 84.0991 | 0.26972
2020-04-03 01:00:00 | 2.38 | 254.3 | 2.968 | 215.4 | 2.281 | 244.8 | 1.897 | 60.35 | 6.391 | 976.338 | 93.4586 | 0.79809
2020-04-03 01:15:00 | 2.454 | 254.8 | 3.129 | 215.8 | 2.495 | 244.8 | 2.215 | 60.24 | 6.263 | 976.338 | 95.7131 | 1.1639
2020-04-03 01:30:00 | 3.238 | 250.4 | 3.172 | 216.1 | 2.398 | 244.7 | 2.136 | 60.23 | 6.331 | 976.041 | 94.0051 | 1.5777
2020-04-03 01:45:00 | 3.337 | 246.8 | 2.947 | 216.1 | 1.795 | 244.7 | 1.578 | 60.32 | 6.347 | 976.041 | 94.1418 | 0.99022
2020-04-03 02:00:00 | 2.857 | 254.4 | 3.538 | 216.3 | 2.072 | 248.1 | 1.841 | 60.16 | 6.134 | 976.041 | 94.8932 | 0.31776
2020-04-03 02:15:00 | 3.245 | 243.3 | 3.402 | 216.3 | 2.469 | 245.2 | 2.154 | 60.14 | 6.274 | 975.892 | 91.4774 | 0.48402
2020-04-03 02:30:00 | 3.419 | 245.7 | 3.965 | 216.5 | 2.698 | 244.5 | 2.666 | 60.2 | 6.366 | 975.892 | 91.0675 | 0.24016
2020-04-03 02:45:00 | 3.521 | 236 | 3.679 | 216.5 | 2.624 | 244.2 | 2.518 | 60.2 | 6.452 | 975.743 | 89.4278 | -0.29928
2020-04-03 03:00:00 | 1.754 | 238.2 | 2.556 | 216.4 | 2.846 | 244.5 | 2.722 | 60.18 | 6.379 | 975.446 | 90.1793 | -0.28081
2020-04-03 03:15:00 | 2.163 | 233.6 | 2.676 | 216.3 | 2.8 | 244.5 | 2.597 | 60.23 | 6.426 | 975.446 | 89.2912 | -0.28081
2020-04-03 03:30:00 | 2.262 | 239.5 | 2.748 | 216.3 | 2.797 | 244.6 | 2.689 | 60.24 | 6.58 | 975.447 | 88.1981 | -0.29928
2020-04-03 03:45:00 | 2.183 | 233.3 | 2.426 | 216.2 | 2.225 | 244.7 | 2.019 | 240.2 | 6.519 | 975.446 | 90.5892 | -0.28081
2020-04-03 04:00:00 | 1.23 | 260.1 | 1.815 | 216.2 | 1.564 | 244.9 | 1.4 | 264.5 | 6.664 | 975.446 | 89.4278 | -0.28081
2020-04-03 04:15:00 | 1.487 | 252.8 | 2.224 | 216.2 | 1.663 | 244.8 | 1.474 | 264.5 | 6.645 | 975.446 | 90.3843 | -0.28081
2020-04-03 04:30:00 | 0.651 | 252.8 | 1.702 | 216.2 | 1.179 | 244.8 | 0.902 | 264.3 | 6.427 | 975.454 | 90.8625 | -0.29928
2020-04-03 04:45:00 | 0.688 | 249.2 | 1.546 | 216.2 | 1.137 | 244.8 | 0.826 | 264.3 | 6.597 | 975.448 | 89.3595 | -0.28081
2020-04-03 05:00:00 | 1.417 | 238.6 | 1.858 | 216.2 | 1.069 | 244.8 | 0.669 | 263.9 | 6.465 | 975.469 | 89.9061 | -0.28081
2020-04-03 05:15:00 | 0.022 | 236 | 1.05 | 216.1 | 0 | 244.8 | 0 | 263.9 | 6.439 | 975.471 | 89.5645 | -0.29928
2020-04-03 05:30:00 | 0 | 236 | 1.004 | 216.1 | 0.336 | 244.8 | 0 | 263.9 | 6.414 | 975.575 | 90.2501 | -0.28081
2020-04-03 05:45:00 | 0 | 236 | 0 | 216.1 | 0 | 244.8 | 0 | 263.9 | 6.463 | 975.451 | 87.4482 | -0.28081
2020-04-03 06:00:00 | 0.288 | 236.1 | 0.214 | 214.9 | 1.09 | 244.9 | 0.868 | 264.9 | 6.368 | 975.418 | 78.9891 | -0.28081
2020-04-03 06:15:00 | 0.814 | 355.3 | 0.764 | 68.84 | 1.732 | 246.3 | 1.698 | 266.1 | 7.718 | 975.699 | 36.0775 | -0.28081
2020-04-03 06:30:00 | 0.469 | 345.3 | 1.126 | 68.59 | 1.859 | 246 | 1.505 | 266.1 | 9.63 | 976.341 | 34.5005 | -0.28081
2020-04-03 06:45:00 | 0 | 345.2 | 0 | 68.48 | 0.317 | 245.9 | 0.018 | 266.1 | 10.89 | 976.783 | 35.0377 | -0.26972
2020-04-03 07:00:00 | 0 | 345.3 | 0 | 68.46 | 0.162 | 245.9 | 0.009 | 266.1 | 11.55 | 976.924 | 38.9194 | -0.26972
2020-04-03 07:15:00 | 0 | 345.3 | 0 | 68.49 | 0 | 245.9 | 0 | 266.1 | 11.28 | 977.227 | 35.3638 | -0.28081
2020-04-03 07:30:00 | 0 | 300.3 | 0.392 | 68.47 | 0.003 | 246 | 0 | 266.1 | 10.28 | 977.523 | 42.865 | 0.070202
2020-04-03 07:45:00 | 0.536 | 289.3 | 0.86 | 69.48 | 0 | 245.9 | 0 | 266 | 10.53 | 977.758 | 67.9092 | 1.1713
2020-04-03 08:00:00 | 2.206 | 155.1 | 2.433 | 74.72 | 1.325 | 244.6 | 1.029 | 263.8 | 8.2 | 977.522 | 61.0817 | 1.9435
2020-04-03 08:15:00 | 2.707 | 169.1 | 2.904 | 76.57 | 1.925 | 244.3 | 1.724 | 191.1 | 8.48 | 977.817 | 66.6024 | 3.0261
2020-04-03 08:30:00 | 2.949 | 157.7 | 3.088 | 169.8 | 1.877 | 243.8 | 1.675 | 190.7 | 8.06 | 977.966 | 71.571 | 3.3475
2020-04-03 08:45:00 | 3.062 | 160 | 3.098 | 172.7 | 2.263 | 243.7 | 1.996 | 190.6 | 7.983 | 978.114 | 70.4828 | 2.7305
2020-04-03 09:00:00 | 3.674 | 156.2 | 3.64 | 170.5 | 2.724 | 241.4 | 2.536 | 188.2 | 8.1 | 978.411 | 73.0737 | 2.5827
2020-04-03 09:15:00 | 3.496 | 161.5 | 3.517 | 175.8 | 3.059 | 241.5 | 2.936 | 179.5 | 9.16 | 978.708 | 61.0363 | 2.8044
2020-04-03 09:30:00 | 3.672 | 157.2 | 3.068 | 170.3 | 2.49 | 240.7 | 2.411 | 166.3 | 9.75 | 978.856 | 57.1128 | 4.1087
2020-04-03 09:45:00 | 4.698 | 147.6 | 4.011 | 162.4 | 3.227 | 239.3 | 3.012 | 156.6 | 10.05 | 979.302 | 55.1295 | 6.3773
2020-04-03 10:00:00 | 5.485 | 154.1 | 4.809 | 172.9 | 4.069 | 237.2 | 3.896 | 158.3 | 9.58 | 979.005 | 53.9662 | 7.1052
2020-04-03 10:15:00 | 6.172 | 151.1 | 5.634 | 165.9 | 4.748 | 236.3 | 4.459 | 155.9 | 9.39 | 978.856 | 58.7907 | 6.5694
2020-04-03 10:30:00 | 5.898 | 155.5 | 5.2 | 169.9 | 3.921 | 236.2 | 3.679 | 164 | 9.67 | 978.856 | 55.0077 | 7.216
2020-04-03 10:45:00 | 6.468 | 151.6 | 6.031 | 164.8 | 5.198 | 234.9 | 5.108 | 158.6 | 9.81 | 978.856 | 50.4351 | 10.1645
2020-04-03 11:00:00 | 6.412 | 151.6 | 6.089 | 165.5 | 5.193 | 234.9 | 4.999 | 161.8 | 10.03 | 978.56 | 44.634 | 9.8209
2020-04-03 11:15:00 | 6.22 | 169.8 | 5.926 | 183.5 | 5.231 | 235 | 5.177 | 175 | 10.93 | 978.411 | 34.3286 | 10.0943
2020-04-03 11:30:00 | 6.297 | 167.4 | 6.005 | 181.8 | 5.613 | 234.3 | 5.513 | 176.8 | 11.38 | 978.56 | 41.8017 | 8.8455
2020-04-03 11:45:00 | 6.373 | 184 | 5.829 | 200.2 | 4.801 | 234 | 4.78 | 185.4 | 11.58 | 978.263 | 42.7913 | 6.7172
2020-04-03 12:00:00 | 5.978 | 189.1 | 5.563 | 203.4 | 4.85 | 233.6 | 4.741 | 192.8 | 11.95 | 978.263 | 41.6311 | 4.8476
2020-04-03 12:15:00 | 5.12 | 192.8 | 5.057 | 205.4 | 4.791 | 234 | 4.708 | 195.5 | 12.47 | 978.114 | 42.143 | 2.6714
2020-04-03 12:30:00 | 4.91 | 198.2 | 4.218 | 201.4 | 3.748 | 233.5 | 3.71 | 210.5 | 12.79 | 978.114 | 43.9515 | 1.2415
2020-04-03 12:45:00 | 3.671 | 182.9 | 3.597 | 192 | 3.26 | 233.7 | 3.188 | 189 | 12.86 | 978.114 | 42.4842 | 0.21061
2020-04-03 13:00:00 | 3.409 | 193.9 | 3.377 | 204.9 | 3.194 | 233.3 | 3.101 | 195.1 | 13.98 | 978.114 | 41.051 | -0.16996
2020-04-03 13:15:00 | 4.272 | 187.6 | 4.236 | 195.1 | 3.771 | 232.2 | 3.702 | 201 | 14.04 | 978.114 | 40.778 | -0.17735
2020-04-03 13:30:00 | 4.096 | 207.4 | 4.029 | 219.4 | 3.914 | 232.5 | 3.927 | 210.4 | 14.27 | 977.817 | 40.1979 | -0.25125
2020-04-03 13:45:00 | 5.214 | 191 | 4.763 | 196.7 | 3.726 | 230.9 | 3.627 | 202.2 | 15.05 | 977.521 | 39.7466 | -9.3132e-09
2020-04-03 14:00:00 | 4.229 | 205.8 | 3.712 | 212.7 | 3.563 | 230.1 | 3.593 | 208.7 | 15.56 | 977.817 | 41.1749 | 0.30298
2020-04-03 14:15:00 | 5.669 | 194.2 | 5.279 | 205.1 | 4.255 | 228.5 | 4.204 | 205 | 15.85 | 978.114 | 37.1823 | 0.38796
2020-04-03 14:30:00 | 4.231 | 248.9 | 4.208 | 255.8 | 4.532 | 238.5 | 4.451 | 254.9 | 15.67 | 978.366 | 33.6347 | 0.74636
2020-04-03 14:45:00 | 3.886 | 205.7 | 3.635 | 227.9 | 3.381 | 233.8 | 3.256 | 220 | 16.4 | 978.437 | 30.4963 | 1.2082
2020-04-03 15:00:00 | 3.657 | 239.6 | 3.625 | 250.5 | 3.564 | 234.1 | 3.555 | 248.8 | 16.74 | 978.409 | 25.5801 | 0.84242
2020-04-03 15:15:00 | 3.21 | 262.9 | 3.745 | 275.4 | 3.899 | 242.8 | 3.738 | 271.7 | 16.74 | 978.557 | 23.397 | 0.60596
2020-04-03 15:30:00 | 2.985 | 260.6 | 3.53 | 274.9 | 3.423 | 244.8 | 3.252 | 258.3 | 16.68 | 978.451 | 22.3702 | 1.2452
2020-04-03 15:45:00 | 3.902 | 255.6 | 4.103 | 266.7 | 4.14 | 248.2 | 4.118 | 258.8 | 16.43 | 978.112 | 20.7673 | 1.2932
2020-04-03 16:00:00 | 3.953 | 254 | 4.318 | 267.6 | 4.313 | 241 | 4.222 | 255 | 16.44 | 978.11 | 20.8696 | 0.75744
2020-04-03 16:15:00 | 4.374 | 256.6 | 4.374 | 272.1 | 4.244 | 249.8 | 4.184 | 257.5 | 16.34 | 978.11 | 23.2907 | 0.77961
2020-04-03 16:30:00 | 3.639 | 254 | 3.597 | 268.4 | 3.24 | 249.8 | 3.173 | 253.9 | 16.23 | 978.11 | 29.9403 | 0.39904
2020-04-03 16:45:00 | 4.073 | 250.8 | 4.134 | 265.2 | 3.853 | 251 | 3.741 | 251.4 | 16.21 | 977.665 | 29.8721 | 0.72049
2020-04-03 17:00:00 | 4.269 | 257.8 | 4.417 | 268.4 | 4.186 | 249.2 | 4.031 | 262.6 | 16.11 | 977.287 | 33.6232 | 0.83134
2020-04-03 17:15:00 | 4.622 | 253.9 | 4.568 | 268 | 4.295 | 249.7 | 4.196 | 255.3 | 15.68 | 977.367 | 33.9015 | 1.1528
2020-04-03 17:30:00 | 4.057 | 249.7 | 4.205 | 261.9 | 4.138 | 248.2 | 3.957 | 253.4 | 15.65 | 977.222 | 34.4487 | 1.9989
2020-04-03 17:45:00 | 4.211 | 250.3 | 4.144 | 262.5 | 3.84 | 246.3 | 3.746 | 253.5 | 15.49 | 977.073 | 35.2038 | 2.276
2020-04-03 18:00:00 | 3.682 | 229.7 | 3.829 | 239.2 | 3.858 | 231.9 | 3.781 | 234.3 | 15.28 | 976.312 | 34.4534 | 1.7772
2020-04-03 18:15:00 | 3.958 | 224.4 | 4.141 | 235.6 | 3.573 | 230.2 | 3.539 | 229 | 15.11 | 976.036 | 36.6711 | 1.1343
2020-04-03 18:30:00 | 3.457 | 229.5 | 3.543 | 240.1 | 3.319 | 230.9 | 3.259 | 233.3 | 14.84 | 975.739 | 39.0346 | 1.4225
2020-04-03 18:45:00 | 2.839 | 220.6 | 3.303 | 230.2 | 3.263 | 230.4 | 3.257 | 226.4 | 14.62 | 975.887 | 40.0614 | 0.53945
2020-04-03 19:00:00 | 2.778 | 225.7 | 3.016 | 235.4 | 2.622 | 230.9 | 2.508 | 230.2 | 14.59 | 976.006 | 39.0402 | -0.3547
2020-04-03 19:15:00 | 2.689 | 200.9 | 3.415 | 208.3 | 3.202 | 230.2 | 3.135 | 206.2 | 14.27 | 976.037 | 39.9317 | -0.25125
2020-04-03 19:30:00 | 3.828 | 201.7 | 4.343 | 210.8 | 3.911 | 228.7 | 3.87 | 204.4 | 14.33 | 976.037 | 39.4535 | 0.60226
2020-04-03 19:45:00 | 4.234 | 202.1 | 4.988 | 214.1 | 4.733 | 228.4 | 4.749 | 206 | 14.07 | 975.74 | 38.7023 | 3.015
2020-04-03 20:00:00 | 4.047 | 200.4 | 4.901 | 211.8 | 4.682 | 228.2 | 4.703 | 205.7 | 14.12 | 976.037 | 39.1142 | 3.3512
2020-04-03 20:15:00 | 3.861 | 197 | 4.88 | 203.8 | 5.091 | 228 | 5.093 | 202.3 | 14 | 976.037 | 39.1154 | 3.5027
2020-04-03 20:30:00 | 3.095 | 199 | 3.939 | 209 | 4.672 | 228.4 | 4.721 | 204.2 | 14.01 | 976.186 | 39.5267 | 3.063
2020-04-03 20:45:00 | 3.248 | 193 | 3.717 | 201.3 | 4.3 | 228.3 | 4.477 | 200.4 | 13.97 | 976.037 | 37.6172 | 3.5212
2020-04-03 21:00:00 | 3.258 | 188.1 | 4.295 | 198.4 | 4.339 | 228.3 | 4.436 | 194.4 | 13.8 | 976.037 | 40.0751 | 3.9941
2020-04-03 21:15:00 | 3.394 | 184.5 | 4.152 | 190.4 | 4.135 | 228.2 | 4.156 | 191.9 | 13.66 | 976.186 | 41.2357 | 3.5064
2020-04-03 21:30:00 | 3.238 | 181.3 | 4.734 | 189 | 4.87 | 228.2 | 4.843 | 190.1 | 13.31 | 976.037 | 42.328 | 4.1789
2020-04-03 21:45:00 | 3.766 | 199.4 | 4.371 | 207 | 4.511 | 228.1 | 4.606 | 205.6 | 13.83 | 976.037 | 42.7377 | 4.0902
2020-04-03 22:00:00 | 3.738 | 199.5 | 4.354 | 209.8 | 4.552 | 228.1 | 4.66 | 207.6 | 13.74 | 976.037 | 43.2156 | 3.414
2020-04-03 22:15:00 | 4.423 | 207.9 | 4.919 | 216.7 | 5.023 | 227.9 | 5.126 | 213.9 | 13.77 | 976.037 | 43.3521 | 7.0756
2020-04-03 22:30:00 | 4.014 | 206 | 4.765 | 214.9 | 5.096 | 228.1 | 5.187 | 213 | 13.61 | 976.186 | 43.7617 | 6.4364
2020-04-03 22:45:00 | 3.718 | 205.5 | 4.522 | 213.2 | 4.664 | 228.2 | 4.762 | 213 | 13.47 | 976.186 | 44.9906 | 7.1163
2020-04-03 23:00:00 | 4.274 | 202.7 | 4.906 | 212.2 | 4.964 | 227.1 | 5.095 | 208.5 | 13.36 | 976.037 | 45.6392 | 7.9328
2020-04-03 23:15:00 | 3.937 | 200.7 | 4.642 | 209 | 5.018 | 227.3 | 5.144 | 207.3 | 13.19 | 976.037 | 45.9464 | 6.3958
2020-04-03 23:30:00 | 3.991 | 194.8 | 4.18 | 201.9 | 4.42 | 227.1 | 4.586 | 201.2 | 12.99 | 976.037 | 46.7657 | 5.9191
2020-04-03 23:45:00 | 3.222 | 199.3 | 3.814 | 209.4 | 4.412 | 227.9 | 4.589 | 206.6 | 12.95 | 976.037 | 46.356 | 5.9856