## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-04 00:00:00 | 3.36 | 205.4 | 3.947 | 214.3 | 4.662 | 228.2 | 4.81 | 212.6 | 12.87 | 976.037 | 45.844 | 5.3243
2020-04-04 00:15:00 | 4.609 | 208.1 | 5.031 | 217 | 4.832 | 227 | 4.935 | 213.3 | 12.9 | 976.037 | 44.9223 | 6.4106
2020-04-04 00:30:00 | 4.08 | 207.4 | 4.709 | 211 | 5.363 | 227.4 | 5.615 | 215.1 | 12.74 | 976.037 | 44.9223 | 10.2089
2020-04-04 00:45:00 | 4.514 | 210.8 | 4.801 | 218.2 | 5.437 | 226.8 | 5.658 | 216.8 | 12.77 | 976.186 | 43.2156 | 9.8726
2020-04-04 01:00:00 | 3.856 | 200 | 4.428 | 207.4 | 4.873 | 227.3 | 5.098 | 208.6 | 12.54 | 975.74 | 42.2598 | 9.1632
2020-04-04 01:15:00 | 4.091 | 197.2 | 4.499 | 206.3 | 5.272 | 227 | 5.467 | 208.3 | 12.59 | 975.592 | 42.4646 | 8.8639
2020-04-04 01:30:00 | 4.657 | 196.2 | 5.259 | 205.6 | 5.707 | 226.2 | 5.816 | 204.2 | 12.44 | 975.592 | 41.9184 | 11.0587
2020-04-04 01:45:00 | 4.382 | 197.6 | 5.041 | 207 | 5.358 | 226.3 | 5.597 | 209.1 | 12.34 | 975.449 | 39.6655 | 12.3075
2020-04-04 02:00:00 | 4.749 | 190.5 | 5.233 | 199.9 | 5.465 | 225.5 | 5.628 | 199.7 | 12.48 | 975.445 | 37.2418 | 12.6659
2020-04-04 02:15:00 | 4.443 | 193.7 | 4.855 | 203.6 | 5.748 | 225.8 | 5.971 | 203.3 | 12.73 | 975.592 | 36.4567 | 11.9159
2020-04-04 02:30:00 | 4.721 | 201.2 | 5.338 | 210.2 | 5.765 | 225.6 | 5.959 | 209.6 | 12.81 | 975.45 | 35.1596 | 12.0415
2020-04-04 02:45:00 | 4.458 | 209.1 | 5.279 | 215.5 | 6.076 | 225.8 | 6.41 | 218.2 | 13.21 | 975.741 | 29.8003 | 11.1252
2020-04-04 03:00:00 | 4.474 | 212 | 5.028 | 216.4 | 5.829 | 226.5 | 6.066 | 222 | 13.46 | 975.741 | 27.8887 | 8.8233
2020-04-04 03:15:00 | 4.131 | 214.4 | 4.885 | 217.5 | 6.048 | 226.8 | 6.359 | 224.2 | 13.46 | 975.889 | 30.9268 | 8.6866
2020-04-04 03:30:00 | 4.435 | 211.3 | 4.798 | 215.3 | 5.821 | 226.3 | 6.15 | 220.9 | 13.47 | 975.741 | 33.6576 | 7.5855
2020-04-04 03:45:00 | 3.81 | 202.8 | 4.724 | 209.2 | 5.402 | 226.6 | 5.684 | 212.4 | 13.29 | 975.741 | 34.75 | 7.5966
2020-04-04 04:00:00 | 4.157 | 207.3 | 4.602 | 212.4 | 5.463 | 226.5 | 5.742 | 218.2 | 13.28 | 975.889 | 35.0913 | 6.3219
2020-04-04 04:15:00 | 4.034 | 211 | 4.55 | 214.9 | 5.605 | 226.6 | 5.905 | 222.1 | 13.27 | 975.889 | 35.8423 | 6.7948
2020-04-04 04:30:00 | 4.091 | 211.5 | 4.55 | 215.2 | 5.631 | 226.6 | 5.977 | 221.2 | 13.27 | 976.038 | 36.0471 | 6.3256
2020-04-04 04:45:00 | 4.001 | 205.9 | 4.415 | 208.9 | 5.216 | 226.5 | 5.421 | 216.8 | 13.25 | 975.889 | 36.0471 | 6.1445
2020-04-04 05:00:00 | 3.948 | 205.4 | 4.331 | 209.7 | 4.992 | 226.9 | 5.269 | 219.3 | 13.24 | 976.038 | 34.6134 | 5.3021
2020-04-04 05:15:00 | 3.442 | 207.8 | 4.077 | 211.8 | 4.789 | 227.4 | 4.973 | 222 | 13.33 | 976.038 | 34.1355 | 4.4449
2020-04-04 05:30:00 | 3.049 | 199.1 | 3.395 | 206.9 | 3.99 | 227.1 | 4.079 | 213.2 | 13.36 | 976.483 | 33.6576 | 4.6444
2020-04-04 05:45:00 | 2.086 | 197.1 | 2.324 | 203.1 | 2.876 | 227.5 | 3.005 | 209.9 | 13.42 | 976.632 | 32.9408 | 3.0039
2020-04-04 06:00:00 | 2.158 | 208.6 | 2.528 | 204.2 | 3.387 | 227.6 | 3.478 | 226.4 | 13.56 | 976.78 | 31.5412 | 1.2304
2020-04-04 06:15:00 | 2.87 | 213.7 | 3.259 | 213.5 | 3.792 | 227.5 | 3.86 | 229.1 | 13.97 | 976.929 | 30.722 | 1.7292
2020-04-04 06:30:00 | 2.04 | 225.6 | 2.582 | 222.4 | 3.283 | 227.9 | 3.292 | 241.4 | 14.32 | 977.523 | 29.0152 | 1.0161
2020-04-04 06:45:00 | 0.92 | 254.7 | 2.019 | 262 | 2.436 | 229 | 2.393 | 265.2 | 14.77 | 977.819 | 28.4634 | -0.22539
2020-04-04 07:00:00 | 2.005 | 317.4 | 2.229 | 324.5 | 2.174 | 237.2 | 2.054 | 313.1 | 14.82 | 978.656 | 30.3032 | -0.38057
2020-04-04 07:15:00 | 3.337 | 18.88 | 5.537 | 34.31 | 5.903 | 260.8 | 5.488 | 21.46 | 13.51 | 978.709 | 33.7144 | 3.3143
2020-04-04 07:30:00 | 2.885 | 30.4 | 3.855 | 51.09 | 4.232 | 260.6 | 4.319 | 30.55 | 13.23 | 979.005 | 36.7855 | 6.6322
2020-04-04 07:45:00 | 3.618 | 44.57 | 4.78 | 56.83 | 4.753 | 260.4 | 4.629 | 50.19 | 13.65 | 979.45 | 37.6728 | 4.9991
2020-04-04 08:00:00 | 3.344 | 56.68 | 4.282 | 73.36 | 4.01 | 258.8 | 4.087 | 57.25 | 13.84 | 979.747 | 35.1449 | 2.6086
2020-04-04 08:15:00 | 2.018 | 71.72 | 3.028 | 85.6 | 3.38 | 254.7 | 3.351 | 80.3 | 14.75 | 980.341 | 32.6802 | 4.0311
2020-04-04 08:30:00 | 2.472 | 88.3 | 3.065 | 115.9 | 3.207 | 239.9 | 3.229 | 85.3 | 15.74 | 980.639 | 29.3365 | 3.0261
2020-04-04 08:45:00 | 3.133 | 124.1 | 2.817 | 147.8 | 2.167 | 238.7 | 1.977 | 119.9 | 14.89 | 981.08 | 35.7437 | 3.8759
2020-04-04 09:00:00 | 1.432 | 100.2 | 2.181 | 121.9 | 2.177 | 239.9 | 2.186 | 79.75 | 16.49 | 981.312 | 34.7154 | 5.3797
2020-04-04 09:15:00 | 0.798 | 34.75 | 2.048 | 50.18 | 2.528 | 253.5 | 2.61 | 39.02 | 17.23 | 981.672 | 30.4174 | 4.9733
2020-04-04 09:30:00 | 4.04 | 314.6 | 4.952 | 328.2 | 4.283 | 261.6 | 4.183 | 316.3 | 16.82 | 981.818 | 46.3688 | 3.85
2020-04-04 09:45:00 | 4.374 | 297.7 | 4.599 | 309.9 | 3.693 | 261.3 | 3.511 | 304.2 | 14.57 | 981.225 | 42.5843 | 1.6627
2020-04-04 10:00:00 | 3.534 | 292.4 | 3.454 | 301 | 3.125 | 260.9 | 2.974 | 298.5 | 14.86 | 981.522 | 40.3682 | 1.4927
2020-04-04 10:15:00 | 3.519 | 295.1 | 3.635 | 304.3 | 3.197 | 261.1 | 3.109 | 298.3 | 15.51 | 981.67 | 38.0505 | 2.361
2020-04-04 10:30:00 | 3.114 | 282.8 | 3.433 | 300.2 | 2.868 | 260.2 | 2.663 | 284.6 | 15.75 | 981.67 | 42.9261 | 2.1837
2020-04-04 10:45:00 | 4.185 | 289.9 | 4.121 | 300.2 | 2.751 | 260.3 | 2.425 | 289.9 | 15.43 | 981.67 | 39.7545 | 2.5864
2020-04-04 11:00:00 | 4.55 | 290.1 | 4.246 | 299.4 | 3.492 | 260.5 | 3.359 | 293.6 | 15.05 | 981.67 | 37.3691 | 4.722
2020-04-04 11:15:00 | 4.668 | 299 | 4.931 | 311.1 | 4.356 | 261.3 | 4.27 | 303.2 | 15.51 | 981.67 | 35.1901 | 7.1606
2020-04-04 11:30:00 | 5.301 | 304.2 | 5.269 | 316.1 | 4.227 | 261.8 | 4.074 | 309.6 | 15.72 | 981.967 | 33.2822 | 9.9909
2020-04-04 11:45:00 | 5.04 | 302.8 | 5.445 | 309.5 | 4.939 | 261.8 | 4.889 | 312.1 | 15.87 | 981.818 | 31.7817 | 13.0908
2020-04-04 12:00:00 | 5.092 | 315.6 | 5.53 | 318.2 | 5.252 | 262.2 | 5.268 | 322.5 | 16.02 | 981.818 | 31.0315 | 12.5625
2020-04-04 12:15:00 | 4.969 | 320.6 | 5.438 | 322.6 | 4.936 | 262.5 | 4.887 | 341.5 | 16.59 | 982.125 | 29.8039 | 12.374
2020-04-04 12:30:00 | 4.992 | 343.6 | 5.317 | 337.5 | 4.931 | 262.8 | 4.828 | 353.3 | 16.51 | 981.783 | 28.3035 | 12.5292
2020-04-04 12:45:00 | 4.757 | 343.6 | 5.287 | 329.8 | 4.547 | 262.5 | 4.426 | 5.696 | 17.03 | 982.514 | 27.4867 | 15.3558
2020-04-04 13:00:00 | 4.119 | 351.9 | 5.031 | 337.3 | 4.706 | 262 | 4.527 | 13.21 | 16.81 | 982.267 | 27.6603 | 15.7179
2020-04-04 13:15:00 | 4.882 | 345.7 | 5.009 | 334.1 | 5.035 | 263 | 4.973 | 3.196 | 17.17 | 982.267 | 27.4898 | 18.8733
2020-04-04 13:30:00 | 3.263 | 356 | 4.285 | 334.8 | 3.793 | 261.6 | 3.608 | 21.79 | 17.29 | 982.563 | 26.603 | 17.0739
2020-04-04 13:45:00 | 2.132 | 17.4 | 4.315 | 11.71 | 4.917 | 259.6 | 4.907 | 21.51 | 16.98 | 982.267 | 26.8076 | 18.84
2020-04-04 14:00:00 | 2.829 | 14.79 | 5.118 | 33.67 | 4.987 | 263.4 | 4.647 | 10.2 | 16.23 | 982.118 | 27.1487 | 19.1097
2020-04-04 14:15:00 | 2.254 | 15.89 | 3.86 | 35.97 | 5.03 | 236.3 | 4.762 | 12.5 | 16.49 | 982.563 | 25.8527 | 24.386
2020-04-04 14:30:00 | 4.23 | 10.15 | 5.596 | 36.95 | 4.99 | 218.7 | 5.024 | 357.6 | 15.75 | 982.563 | 27.626 | 25.7863
2020-04-04 14:45:00 | 3.956 | 7.373 | 5.849 | 35.08 | 5.29 | 162.4 | 5.541 | 346.3 | 15.38 | 982.118 | 26.8417 | 31.4025
2020-04-04 15:00:00 | 5.786 | 6.604 | 6.529 | 32.29 | 5.534 | 152.7 | 5.702 | 355.3 | 14.94 | 981.673 | 26.9441 | 32.8139
2020-04-04 15:15:00 | 5.132 | 5.644 | 6.051 | 33.28 | 5.656 | 149.5 | 5.849 | 355.4 | 14.93 | 981.376 | 27.2521 | 32.8102
2020-04-04 15:30:00 | 5.423 | 0.542 | 5.772 | 27.65 | 6.277 | 144.8 | 6.567 | 349.6 | 14.85 | 981.4 | 26.7432 | 31.9604
2020-04-04 15:45:00 | 5.924 | 2.749 | 6.184 | 23.58 | 6.236 | 143.7 | 6.466 | 358.1 | 14.73 | 981.09 | 26.4029 | 30.099
2020-04-04 16:00:00 | 6.138 | 357.3 | 5.877 | 21.97 | 6.307 | 141.2 | 6.435 | 355.2 | 14.81 | 981.425 | 25.8571 | 29.3297
2020-04-04 16:15:00 | 5.48 | 5.618 | 5.826 | 19.64 | 6.144 | 141.1 | 6.226 | 4.092 | 14.79 | 981.328 | 26.0959 | 24.035
2020-04-04 16:30:00 | 5.475 | 9.13 | 5.806 | 28.04 | 5.211 | 140.4 | 5.243 | 3.468 | 14.81 | 981.522 | 25.1066 | 22.3575
2020-04-04 16:45:00 | 4.479 | 8.03 | 5.036 | 28.35 | 4.636 | 140.8 | 4.691 | 0.555 | 14.75 | 981.231 | 24.8337 | 15.6366
2020-04-04 17:00:00 | 4.951 | 4.848 | 5.133 | 14.99 | 4.997 | 140.3 | 5.014 | 6.438 | 14.6 | 981.083 | 24.9019 | 11.6979
2020-04-04 17:15:00 | 4.908 | 0.017 | 4.525 | 9.56 | 4.916 | 140.2 | 4.932 | 2.737 | 14.46 | 980.786 | 25.4819 | 10.268
2020-04-04 17:30:00 | 4.297 | 11.23 | 4.571 | 18.54 | 4.575 | 140.5 | 4.326 | 6.379 | 14.16 | 980.489 | 25.5179 | 11.4466
2020-04-04 17:45:00 | 4.675 | 11.53 | 4.359 | 18.32 | 4.308 | 140.4 | 4.008 | 10.88 | 13.97 | 980.192 | 25.6606 | 9.6509
2020-04-04 18:00:00 | 3.723 | 9.09 | 4.351 | 22.03 | 4.222 | 140.7 | 4.008 | 13.83 | 13.68 | 979.895 | 24.3644 | 8.8122
2020-04-04 18:15:00 | 3.846 | 11.37 | 5.072 | 24.85 | 4.977 | 140.6 | 4.846 | 19.33 | 13.49 | 980.019 | 24.7057 | 7.3306
2020-04-04 18:30:00 | 4.295 | 15.55 | 4.965 | 27.97 | 4.224 | 140.1 | 4 | 28.31 | 13.32 | 980.194 | 24.8463 | 5.6014
2020-04-04 18:45:00 | 3.858 | 11.29 | 4.144 | 22.43 | 3.573 | 140.3 | 3.509 | 25.79 | 12.99 | 980.047 | 25.0509 | 6.514
2020-04-04 19:00:00 | 4.691 | 355.1 | 5.138 | 4.928 | 3.878 | 141.4 | 3.303 | 5.37 | 12.77 | 980.195 | 24.7814 | 6.8355
2020-04-04 19:15:00 | 4.009 | 11.57 | 4.121 | 25.19 | 4.145 | 140.4 | 3.916 | 25.76 | 12.12 | 979.75 | 26.1478 | 4.0237
2020-04-04 19:30:00 | 2.97 | 31.72 | 3.576 | 38.16 | 3.151 | 140.9 | 3.078 | 45.82 | 12.1 | 980.047 | 25.7382 | 1.7661
2020-04-04 19:45:00 | 2.431 | 49.81 | 3.103 | 66.06 | 3.848 | 141.3 | 3.909 | 62.78 | 12.84 | 980.195 | 24.3045 | 0.22908
2020-04-04 20:00:00 | 2.01 | 52.41 | 2.835 | 66.24 | 3.461 | 141.4 | 3.356 | 69.02 | 12.97 | 980.195 | 24.6458 | 0.036949
2020-04-04 20:15:00 | 2.329 | 77.71 | 2.965 | 68.99 | 3.041 | 141.7 | 2.994 | 92.8 | 13.26 | 980.195 | 23.3487 | 0.036949
2020-04-04 20:30:00 | 2.002 | 106.7 | 2.326 | 116 | 2.207 | 142 | 2.069 | 117.7 | 13.68 | 980.511 | 22.3929 | 0.48033
2020-04-04 20:45:00 | 1.09 | 112.1 | 1.235 | 132.4 | 1.861 | 146.7 | 1.665 | 116.6 | 13.74 | 980.195 | 22.666 | 1.1417
2020-04-04 21:00:00 | 2.753 | 118.2 | 2.618 | 138.1 | 2.039 | 145.5 | 1.938 | 118.3 | 13.49 | 980.195 | 22.4953 | 4.3784
2020-04-04 21:15:00 | 2.301 | 99.6 | 2.952 | 112.6 | 3.286 | 143.6 | 3.346 | 107.6 | 13.59 | 980.195 | 22.3246 | 6.7763
2020-04-04 21:30:00 | 1.491 | 104.4 | 2.285 | 120.3 | 2.764 | 144.1 | 2.816 | 109.9 | 13.53 | 980.195 | 22.7684 | 9.784
2020-04-04 21:45:00 | 1.341 | 114.8 | 2.06 | 122 | 2.571 | 144.4 | 2.625 | 119.1 | 13.57 | 980.344 | 22.5977 | 12.1893
2020-04-04 22:00:00 | 2.988 | 124.7 | 3.845 | 149.6 | 3.016 | 145.6 | 2.87 | 115.9 | 12.4 | 980.195 | 24.1679 | 16.7413
2020-04-04 22:15:00 | 3.297 | 113.9 | 3.64 | 142.8 | 4.389 | 142.3 | 4.657 | 111.3 | 11.97 | 979.93 | 24.3045 | 22.6494
2020-04-04 22:30:00 | 4.476 | 116.6 | 5.154 | 130.8 | 6.076 | 139.2 | 6.188 | 122.5 | 12.83 | 980.075 | 22.8708 | 23.8909
2020-04-04 22:45:00 | 5.924 | 116.3 | 6.34 | 136.1 | 7.197 | 137.7 | 7.471 | 121.3 | 12.84 | 980.213 | 23.0756 | 30.9924
2020-04-04 23:00:00 | 5.732 | 118 | 5.824 | 141.1 | 6.406 | 145 | 6.651 | 120.6 | 12.3 | 979.938 | 23.1097 | 38.3082
2020-04-04 23:15:00 | 8.12 | 117.5 | 9.01 | 136.6 | 9.99 | 137.6 | 10.16 | 122.9 | 11.84 | 979.899 | 22.7343 | 44.7557
2020-04-04 23:30:00 | 7.484 | 115.1 | 8.63 | 130.2 | 9.75 | 120.7 | 9.78 | 122.6 | 12.25 | 979.973 | 22.7343 | 52.9471
2020-04-04 23:45:00 | 8.17 | 118.6 | 8.8 | 136.1 | 9.34 | 126.8 | 9.34 | 125.9 | 12.05 | 980.051 | 21.9833 | 58.5071