## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-05 00:00:00 | 8.17 | 117.7 | 8.94 | 137.9 | 9.71 | 144.3 | 9.78 | 119.7 | 11.26 | 980.271 | 22.9391 | 65.8754
2020-04-05 00:15:00 | 9.32 | 113.5 | 9.6 | 133.9 | 10.82 | 172.1 | 11.03 | 119.2 | 11.17 | 979.688 | 22.2564 | 66.4998
2020-04-05 00:30:00 | 9.34 | 115.9 | 10.14 | 132.7 | 11 | 171 | 11.07 | 121.3 | 10.94 | 979.652 | 21.5742 | 69.2414
2020-04-05 00:45:00 | 9.96 | 117.6 | 10.4 | 133.2 | 11.57 | 170.1 | 11.53 | 124.5 | 10.88 | 979.358 | 21.781 | 68.8497
2020-04-05 01:00:00 | 10.14 | 122.5 | 10.59 | 135.2 | 10.04 | 169.5 | 9.93 | 132.4 | 11.31 | 979.653 | 22.6693 | 70.8856
2020-04-05 01:15:00 | 6.887 | 129 | 7.537 | 145 | 7.937 | 170.3 | 7.978 | 137.2 | 11.33 | 979.633 | 23.0094 | 68.484
2020-04-05 01:30:00 | 9.33 | 131.1 | 9.49 | 151.4 | 9.04 | 168.8 | 8.96 | 139.9 | 11.09 | 979.497 | 23.1122 | 60.9317
2020-04-05 01:45:00 | 9.44 | 120.3 | 9.06 | 149.3 | 9.07 | 168.3 | 9.09 | 135.8 | 10.6 | 979.35 | 21.9867 | 60.7506
2020-04-05 02:00:00 | 8.72 | 129.9 | 8.49 | 150.2 | 8.59 | 168.1 | 8.6 | 139.1 | 10.52 | 979.197 | 21.4067 | 62.1399
2020-04-05 02:15:00 | 6.289 | 130.3 | 6.775 | 155.1 | 7.721 | 169.3 | 7.851 | 141.9 | 10.01 | 979.296 | 21.7823 | 58.4709
2020-04-05 02:30:00 | 6.864 | 128.1 | 7.191 | 154.9 | 8.04 | 168.7 | 8.01 | 145.3 | 10.08 | 979.004 | 20.4178 | 62.5057
2020-04-05 02:45:00 | 7.045 | 122 | 7.015 | 158.3 | 7.864 | 169.3 | 7.904 | 143.5 | 9.94 | 979.158 | 20.7602 | 63.2668
2020-04-05 03:00:00 | 7.15 | 132.2 | 7.112 | 160.6 | 7.464 | 169.2 | 7.487 | 143.5 | 9.31 | 979.009 | 19.8732 | 58.3231
2020-04-05 03:15:00 | 6.843 | 128.6 | 6.938 | 159.4 | 7.533 | 169.8 | 7.688 | 144.2 | 8.78 | 978.712 | 19.259 | 52.5518
2020-04-05 03:30:00 | 6.368 | 131.8 | 6.895 | 157.5 | 8.05 | 169 | 8.12 | 143.6 | 8.46 | 978.736 | 19.0541 | 47.4492
2020-04-05 03:45:00 | 5.607 | 129.4 | 5.803 | 161.6 | 6.956 | 169.5 | 7.176 | 143.6 | 8.56 | 978.854 | 16.8687 | 47.9
2020-04-05 04:00:00 | 7.081 | 129.5 | 7.227 | 165.6 | 7.97 | 169.8 | 7.988 | 144.2 | 8.46 | 979.01 | 14.8882 | 49.4038
2020-04-05 04:15:00 | 6.968 | 122.1 | 7.544 | 158.5 | 8.56 | 166.2 | 8.57 | 143.2 | 7.894 | 979.012 | 13.7955 | 54.0667
2020-04-05 04:30:00 | 6.486 | 116.8 | 7.023 | 157.7 | 7.767 | 165.8 | 7.892 | 142.5 | 7.633 | 979.012 | 12.84 | 55.5557
2020-04-05 04:45:00 | 8.99 | 118.8 | 8.94 | 161.5 | 8.85 | 161.9 | 8.69 | 146.2 | 7.615 | 978.715 | 11.681 | 62.6055
2020-04-05 05:00:00 | 7.946 | 120.2 | 8.18 | 161.8 | 8.75 | 154.4 | 8.9 | 143.6 | 7.29 | 979.012 | 12.7066 | 70.1984
2020-04-05 05:15:00 | 9.9 | 118.4 | 10.15 | 160.9 | 10.09 | 156.1 | 9.94 | 142.8 | 7.074 | 978.715 | 12.7754 | 74.9536
2020-04-05 05:30:00 | 10.27 | 110.7 | 10.6 | 156.4 | 11.07 | 154.8 | 11.16 | 141.7 | 7.25 | 978.715 | 13.8685 | 76.3465
2020-04-05 05:45:00 | 12.09 | 108 | 12.52 | 145.5 | 12.85 | 152.2 | 12.79 | 137.5 | 7.987 | 978.863 | 11.614 | 75.0017
2020-04-05 06:00:00 | 10.87 | 112.3 | 11.17 | 147.8 | 11.57 | 149.1 | 11.37 | 137.8 | 8.28 | 979.012 | 11.4091 | 75.9274
2020-04-05 06:15:00 | 11.86 | 113.4 | 12.03 | 142.6 | 11.78 | 136.4 | 11.63 | 137.2 | 8.28 | 979.161 | 10.0414 | 72.855
2020-04-05 06:30:00 | 8.87 | 113.4 | 9.14 | 154.1 | 9.51 | 141.5 | 9.42 | 145.7 | 8.06 | 979.458 | 21.1032 | 70.2575
2020-04-05 06:45:00 | 6.35 | 117.9 | 6.588 | 156 | 6.711 | 153.3 | 6.85 | 144.7 | 7.83 | 979.755 | 20.3517 | 58.7924
2020-04-05 07:00:00 | 7.259 | 115.5 | 7.133 | 164.9 | 7.932 | 156.9 | 7.976 | 145.8 | 7.809 | 980.015 | 20.0785 | 53.2575
2020-04-05 07:15:00 | 7.824 | 118.8 | 7.736 | 157.4 | 8.51 | 159.4 | 8.56 | 145.9 | 7.709 | 979.933 | 21.7859 | 52.404
2020-04-05 07:30:00 | 8.95 | 124 | 9.18 | 157.7 | 9.34 | 141.9 | 9.08 | 146.1 | 7.885 | 979.901 | 24.7909 | 52.8104
2020-04-05 07:45:00 | 9.2 | 126.1 | 9.32 | 162.4 | 9.67 | 146.5 | 9.57 | 147.8 | 7.776 | 979.901 | 22.1957 | 54.6431
2020-04-05 08:00:00 | 9.48 | 128.9 | 9.76 | 160.4 | 10.04 | 145.3 | 9.9 | 148 | 7.69 | 979.901 | 22.264 | 56.3206
2020-04-05 08:15:00 | 8.81 | 134.1 | 8.28 | 168.3 | 8.69 | 151.8 | 8.68 | 146.7 | 7.983 | 980.198 | 24.4492 | 53.9565
2020-04-05 08:30:00 | 10.56 | 135.4 | 10.37 | 160.3 | 9.66 | 145.2 | 9.46 | 149 | 7.988 | 980.495 | 25.4017 | 49.4177
2020-04-05 08:45:00 | 9.3 | 139.6 | 9.07 | 160.4 | 8.47 | 146.1 | 8.38 | 150.8 | 7.872 | 980.758 | 26.2888 | 44.4585
2020-04-05 09:00:00 | 9.44 | 138.7 | 9.11 | 159.3 | 8.82 | 144.3 | 8.73 | 147.6 | 8.04 | 980.703 | 26.3573 | 40.9981
2020-04-05 09:15:00 | 8.7 | 132.3 | 8.79 | 153.3 | 8.78 | 141.2 | 8.68 | 140.3 | 8.29 | 980.855 | 25.777 | 41.0165
2020-04-05 09:30:00 | 9.66 | 128 | 9.77 | 151.9 | 9.57 | 138.2 | 9.46 | 137.2 | 8.36 | 980.926 | 25.8107 | 34.5579
2020-04-05 09:45:00 | 8.79 | 129.1 | 8.49 | 154.2 | 8.29 | 137 | 8.2 | 144.8 | 8.87 | 980.971 | 27.1396 | 35.9472
2020-04-05 10:00:00 | 9.21 | 132.4 | 9.15 | 155.7 | 9.25 | 141.1 | 9.13 | 144 | 9.15 | 981.138 | 25.5334 | 39.3353
2020-04-05 10:15:00 | 9 | 137.4 | 8.59 | 157.4 | 7.955 | 142.9 | 7.813 | 147.3 | 9.45 | 981.236 | 27.1377 | 39.5127
2020-04-05 10:30:00 | 8.59 | 137.5 | 8.45 | 154.5 | 8.11 | 136.9 | 7.958 | 146.8 | 9.76 | 981.383 | 26.6257 | 37.281
2020-04-05 10:45:00 | 8.5 | 141 | 8.54 | 164.7 | 7.932 | 147.6 | 7.808 | 148.5 | 10.29 | 981.383 | 26.0113 | 38.136
2020-04-05 11:00:00 | 8.23 | 142.4 | 7.841 | 164.7 | 7.174 | 153.8 | 7.123 | 149.2 | 10.87 | 981.532 | 24.8147 | 38.6158
2020-04-05 11:15:00 | 7.946 | 139.1 | 7.969 | 163.2 | 7.79 | 152.2 | 7.69 | 150.5 | 11.15 | 981.532 | 24.7781 | 34.1108
2020-04-05 11:30:00 | 8.52 | 148.9 | 8.36 | 168 | 7.815 | 157.1 | 7.68 | 157.3 | 11.53 | 981.383 | 24.5039 | 28.8678
2020-04-05 11:45:00 | 8.03 | 144.5 | 7.818 | 164.7 | 7.324 | 156.7 | 7.222 | 152.2 | 11.81 | 981.291 | 23.2049 | 23.8946
2020-04-05 12:00:00 | 7.558 | 135.7 | 7.358 | 154.9 | 7.205 | 146 | 7.102 | 146.2 | 11.67 | 980.535 | 24.2962 | 26.747
2020-04-05 12:15:00 | 7.87 | 142.3 | 7.641 | 163.4 | 7.144 | 151.9 | 7.003 | 152.1 | 12.58 | 980.787 | 24.2621 | 26.2593
2020-04-05 12:30:00 | 8.3 | 137.6 | 8.01 | 155 | 7.169 | 143.8 | 6.914 | 144.8 | 12.53 | 980.638 | 25.627 | 28.7607
2020-04-05 12:45:00 | 6.146 | 149.3 | 6.391 | 175.4 | 6.251 | 154.8 | 6.203 | 159.6 | 13.41 | 980.489 | 24.1256 | 24.6151
2020-04-05 13:00:00 | 6.483 | 146.2 | 6.672 | 170.5 | 5.885 | 154.1 | 5.791 | 166.1 | 13.59 | 980.489 | 25.1152 | 30.8778
2020-04-05 13:15:00 | 8.5 | 176.9 | 8.01 | 196 | 6.938 | 166.6 | 6.853 | 181.9 | 13.56 | 979.896 | 26.3436 | 25.9341
2020-04-05 13:30:00 | 7.668 | 177.5 | 7.48 | 198.8 | 6.663 | 168.6 | 6.723 | 173.9 | 13.71 | 979.896 | 25.9341 | 22.6716
2020-04-05 13:45:00 | 6.879 | 184.9 | 6.718 | 202.1 | 5.62 | 170 | 5.546 | 183.7 | 13.83 | 979.599 | 27.0261 | 23.5399
2020-04-05 14:00:00 | 7.637 | 192.3 | 7.399 | 204.8 | 6.399 | 171.9 | 6.285 | 192.7 | 13.77 | 979.302 | 26.6507 | 20.2256
2020-04-05 14:15:00 | 7.178 | 148.9 | 6.913 | 167.8 | 6.121 | 159.7 | 6.101 | 167.2 | 13.97 | 979.302 | 33.7485 | 20.792
2020-04-05 14:30:00 | 5.63 | 158.1 | 5.596 | 178.9 | 5.559 | 168.2 | 5.488 | 167.8 | 13.85 | 979.599 | 34.9039 | 21.02
2020-04-05 14:45:00 | 8.03 | 147.9 | 7.805 | 165.5 | 6.846 | 163 | 6.707 | 161 | 14.16 | 979.599 | 37.0827 | 20.6985
2020-04-05 15:00:00 | 6.105 | 165.4 | 5.803 | 184.6 | 5.569 | 181.4 | 5.48 | 171.5 | 14.43 | 979.302 | 36.6381 | 17.2808
2020-04-05 15:15:00 | 7.333 | 156.1 | 7.263 | 167.5 | 6.032 | 172.9 | 6.015 | 168.5 | 14.59 | 979.302 | 36.9777 | 18.8142
2020-04-05 15:30:00 | 8.13 | 191.5 | 7.503 | 206.1 | 6.457 | 188.3 | 6.445 | 190.9 | 14.84 | 978.708 | 36.4319 | 18.3375
2020-04-05 15:45:00 | 5.881 | 150.9 | 5.931 | 169.6 | 5.259 | 169.3 | 5.279 | 158.3 | 14.81 | 978.856 | 36.3636 | 20.0408
2020-04-05 16:00:00 | 7.622 | 166.8 | 7.26 | 185.8 | 7.065 | 172.8 | 7.146 | 174.6 | 14.92 | 978.708 | 36.5001 | 21.456
2020-04-05 16:15:00 | 6.769 | 176.3 | 7.002 | 190.5 | 5.829 | 172.5 | 5.679 | 179.4 | 15.1 | 978.263 | 36.5342 | 23.3699
2020-04-05 16:30:00 | 8.24 | 188.1 | 7.859 | 199.9 | 6.831 | 177.9 | 6.797 | 191.3 | 14.88 | 977.966 | 36.159 | 29.8544
2020-04-05 16:45:00 | 7.124 | 175.3 | 6.905 | 195.6 | 5.819 | 181.3 | 5.821 | 176.9 | 14.88 | 977.817 | 35.4426 | 29.9246
2020-04-05 17:00:00 | 8.09 | 183.2 | 7.544 | 200 | 6.414 | 183.4 | 6.249 | 182.7 | 14.88 | 977.521 | 36.1253 | 33.6711
2020-04-05 17:15:00 | 7.267 | 172.1 | 6.726 | 189.5 | 6.541 | 182.5 | 6.58 | 175.5 | 14.72 | 977.224 | 37.2514 | 32.7741
2020-04-05 17:30:00 | 8.15 | 149.7 | 8.05 | 165.7 | 7.37 | 167.6 | 7.291 | 158.1 | 14.57 | 977.224 | 37.4615 | 31.8459
2020-04-05 17:45:00 | 7.257 | 150.6 | 7.099 | 167.8 | 6.775 | 166.3 | 6.718 | 157.2 | 14.24 | 976.927 | 39.3784 | 31.081
2020-04-05 18:00:00 | 8.2 | 151.3 | 8.14 | 167.6 | 7.352 | 159.1 | 7.237 | 158 | 13.98 | 976.333 | 41.9041 | 33.6896
2020-04-05 18:15:00 | 7.862 | 151.5 | 7.68 | 176.7 | 7.502 | 170.4 | 7.517 | 156.2 | 13.8 | 976.381 | 44.0539 | 34.7759
2020-04-05 18:30:00 | 8.03 | 150.6 | 8.52 | 167.5 | 8.58 | 166.2 | 8.56 | 155.8 | 13.57 | 976.479 | 46.7565 | 39.2393
2020-04-05 18:45:00 | 8.1 | 150.6 | 8.37 | 167.1 | 8.67 | 158.6 | 8.6 | 156.4 | 13.33 | 976.483 | 46.8252 | 50.8965
2020-04-05 19:00:00 | 8.9 | 158.4 | 8.44 | 170.4 | 7.932 | 154.6 | 8.02 | 166.3 | 13.22 | 976.186 | 46.7582 | 58.7259
2020-04-05 19:15:00 | 7.091 | 159.8 | 7.291 | 177.3 | 7.764 | 161.3 | 7.724 | 165.6 | 13.15 | 976.334 | 45.8772 | 53.2169
2020-04-05 19:30:00 | 7.137 | 162.4 | 7.368 | 178.6 | 6.879 | 162.2 | 6.952 | 168.8 | 12.97 | 976.037 | 46.4926 | 52.6774
2020-04-05 19:45:00 | 7.847 | 163 | 7.744 | 175.6 | 7.591 | 157.3 | 7.632 | 172.2 | 12.88 | 976.037 | 46.8339 | 51.6133
2020-04-05 20:00:00 | 7.545 | 158.8 | 7.537 | 174.4 | 6.925 | 136.8 | 6.781 | 165.4 | 12.56 | 976.037 | 47.1753 | 54.8019
2020-04-05 20:15:00 | 7.829 | 160.5 | 7.958 | 174.5 | 7.347 | 121.5 | 7.377 | 167.6 | 12.39 | 976.037 | 47.2436 | 58.6298
2020-04-05 20:30:00 | 8.67 | 159 | 8.72 | 170.1 | 8.2 | 124.6 | 8.13 | 166.2 | 12.34 | 976.186 | 44.4444 | 60.2297
2020-04-05 20:45:00 | 8.16 | 156.6 | 8.28 | 171.5 | 8.62 | 135.7 | 8.58 | 162.6 | 12.2 | 976.037 | 44.0348 | 59.0362
2020-04-05 21:00:00 | 8.01 | 153 | 8.26 | 169.6 | 8.06 | 135.1 | 8.07 | 163.3 | 12.15 | 976.037 | 44.7175 | 60.2334
2020-04-05 21:15:00 | 7.377 | 159.5 | 7.974 | 173.8 | 7.716 | 127.7 | 7.645 | 168.2 | 12.02 | 976.186 | 47.107 | 59.7625
2020-04-05 21:30:00 | 8.1 | 166 | 8.36 | 175 | 7.632 | 129.7 | 7.629 | 173.8 | 11.94 | 976.19 | 47.4484 | 61.8739
2020-04-05 21:45:00 | 8.37 | 163 | 8.05 | 175.9 | 7.426 | 131.5 | 7.38 | 171.9 | 11.84 | 976.06 | 48.9162 | 59.8232
2020-04-05 22:00:00 | 8.05 | 159.1 | 8.37 | 176.7 | 8.61 | 123.4 | 8.67 | 160.6 | 11.79 | 976.15 | 49.36 | 57.6987
2020-04-05 22:15:00 | 8.19 | 165.1 | 8.02 | 176.7 | 7.909 | 134.2 | 7.907 | 170.5 | 11.68 | 976.091 | 49.7696 | 57.9795
2020-04-05 22:30:00 | 7.556 | 165.1 | 7.547 | 178.9 | 7.251 | 160.8 | 7.207 | 170.4 | 11.75 | 976.077 | 49.633 | 57.9816
2020-04-05 22:45:00 | 8.44 | 159.2 | 8.23 | 178.5 | 8.23 | 170.2 | 8.26 | 164.3 | 11.78 | 976.101 | 49.5989 | 58.4229
2020-04-05 23:00:00 | 7.492 | 162.5 | 7.549 | 175.8 | 7.571 | 162.2 | 7.67 | 168.5 | 11.76 | 976.095 | 50.1109 | 51.3826
2020-04-05 23:15:00 | 7.681 | 165 | 7.567 | 176.3 | 7.594 | 163 | 7.696 | 167.5 | 11.49 | 976.117 | 50.5888 | 49.341
2020-04-05 23:30:00 | 7.737 | 159.8 | 7.634 | 171.7 | 7.017 | 156.8 | 7.186 | 166.1 | 11.18 | 976.09 | 52.0567 | 48.1713
2020-04-05 23:45:00 | 8.4 | 161.7 | 8.29 | 171.6 | 7.729 | 155.6 | 7.744 | 171.2 | 11.1 | 975.798 | 52.6028 | 56.6847