## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-06 00:00:00 | 7.936 | 157.5 | 8.27 | 171.1 | 8.16 | 158.2 | 8.03 | 165.3 | 10.87 | 975.483 | 52.9783 | 56.5775
2020-04-06 00:15:00 | 7.63 | 160.7 | 7.685 | 175.1 | 7.332 | 155.3 | 7.377 | 167.1 | 10.88 | 975.46 | 53.3555 | 57.0262
2020-04-06 00:30:00 | 8.24 | 160.2 | 8.5 | 177.2 | 8.39 | 161.2 | 8.37 | 162 | 10.87 | 975.32 | 54.0045 | 57.913
2020-04-06 00:45:00 | 8.33 | 156.5 | 8.69 | 175 | 9.12 | 163.9 | 9.23 | 161.1 | 10.66 | 975.229 | 54.3492 | 58.9808
2020-04-06 01:00:00 | 7.658 | 151.2 | 7.825 | 168.8 | 8.96 | 183.6 | 9.08 | 155.6 | 10.65 | 974.929 | 53.8077 | 64.9258
2020-04-06 01:15:00 | 8.63 | 152.1 | 8.74 | 168.6 | 8.97 | 207.5 | 9.04 | 157 | 10.82 | 975.063 | 52.6462 | 64.3441
2020-04-06 01:30:00 | 7.816 | 156.7 | 8.07 | 173.2 | 8.57 | 206.9 | 8.62 | 161.4 | 10.81 | 974.97 | 52.3742 | 63.7581
2020-04-06 01:45:00 | 7.693 | 156.1 | 8.02 | 173 | 7.238 | 205.7 | 7.222 | 164.6 | 10.82 | 974.722 | 52.3728 | 66.8361
2020-04-06 02:00:00 | 8.54 | 156.5 | 8.4 | 171.4 | 8.3 | 158.8 | 8.22 | 160.2 | 10.72 | 974.77 | 54.0128 | 67.357
2020-04-06 02:15:00 | 7.471 | 154.6 | 7.639 | 176 | 7.769 | 170.8 | 7.848 | 153.7 | 10.58 | 974.443 | 54.0125 | 64.1462
2020-04-06 02:30:00 | 7.719 | 153.2 | 8.25 | 172.9 | 9.15 | 164.7 | 9.27 | 155.9 | 10.49 | 974.156 | 53.8069 | 63.9504
2020-04-06 02:45:00 | 6.519 | 151 | 6.77 | 176.1 | 7.678 | 178.9 | 7.82 | 153.6 | 10.39 | 974.199 | 53.8081 | 59.6385
2020-04-06 03:00:00 | 7.43 | 152 | 7.805 | 166.6 | 8.42 | 161 | 8.58 | 156.3 | 10.45 | 974.376 | 53.9434 | 58.3859
2020-04-06 03:15:00 | 7.512 | 153.1 | 7.682 | 173.9 | 7.925 | 164.1 | 7.986 | 156 | 10.33 | 973.915 | 53.3629 | 58.0719
2020-04-06 03:30:00 | 7.734 | 152.7 | 8.02 | 166.9 | 8.51 | 160.1 | 8.54 | 160.3 | 10.32 | 973.947 | 53.056 | 60.7026
2020-04-06 03:45:00 | 7.99 | 154.1 | 7.731 | 169.3 | 8.57 | 154 | 8.57 | 157.1 | 10.2 | 973.662 | 54.0119 | 60.6768
2020-04-06 04:00:00 | 9.29 | 151.3 | 9.49 | 168.1 | 9.66 | 155.9 | 9.58 | 156.7 | 10.2 | 973.068 | 54.1492 | 67.651
2020-04-06 04:15:00 | 8.3 | 150.1 | 8.35 | 167.9 | 9.37 | 155.9 | 9.33 | 156.8 | 9.96 | 973.068 | 54.4914 | 69.727
2020-04-06 04:30:00 | 8.65 | 149.3 | 8.84 | 165.5 | 9.4 | 152.2 | 9.43 | 155 | 9.84 | 972.767 | 54.6307 | 72.4633
2020-04-06 04:45:00 | 9.32 | 151.4 | 9.84 | 165.8 | 10.19 | 154.3 | 10.09 | 155.5 | 9.8 | 973.068 | 54.7714 | 70.3942
2020-04-06 05:00:00 | 9.58 | 146.1 | 9.77 | 163.7 | 10.2 | 151 | 10.08 | 150.8 | 9.88 | 972.771 | 54.0544 | 73.3131
2020-04-06 05:15:00 | 10.35 | 148.8 | 10.15 | 162.9 | 10.39 | 149.2 | 10.35 | 154.7 | 9.95 | 972.771 | 54.4298 | 75.5965
2020-04-06 05:30:00 | 11.18 | 147.4 | 11.19 | 162.2 | 11.76 | 148 | 11.58 | 154.3 | 9.77 | 972.771 | 54.669 | 78.8213
2020-04-06 05:45:00 | 11.13 | 147.5 | 11.29 | 162.6 | 11.39 | 148.8 | 11.29 | 154.3 | 9.78 | 972.622 | 54.9764 | 77.4957
2020-04-06 06:00:00 | 10.83 | 148.8 | 11.32 | 164 | 11.57 | 149.9 | 11.53 | 154.5 | 9.77 | 972.771 | 55.1818 | 81.5268
2020-04-06 06:15:00 | 10.68 | 148.5 | 10.82 | 165 | 10.93 | 160.6 | 10.71 | 155.6 | 9.58 | 973.217 | 56.1721 | 83.1784
2020-04-06 06:30:00 | 9.62 | 147.9 | 10.31 | 163.5 | 10.54 | 167.1 | 10.39 | 155.7 | 9.45 | 973.068 | 57.0258 | 83.0638
2020-04-06 06:45:00 | 9.65 | 149.2 | 10.21 | 166.7 | 10.69 | 162.7 | 10.68 | 154.9 | 9.34 | 973.365 | 58.5965 | 85.7204
2020-04-06 07:00:00 | 11.51 | 150.6 | 11.83 | 164 | 11.49 | 153.4 | 11.33 | 157 | 9.33 | 973.217 | 58.5965 | 82.8495
2020-04-06 07:15:00 | 12.39 | 149.7 | 12.3 | 163.8 | 11.84 | 147.8 | 11.59 | 157.4 | 9.32 | 973.068 | 58.1454 | 82.0995
2020-04-06 07:30:00 | 11.85 | 151 | 12 | 166.2 | 11.89 | 152.3 | 11.64 | 156.8 | 9.45 | 973.319 | 57.5623 | 83.1599
2020-04-06 07:45:00 | 11.67 | 150.5 | 11.52 | 165 | 11.49 | 150.3 | 11.32 | 157.3 | 9.6 | 973.432 | 57.6573 | 83.7475
2020-04-06 08:00:00 | 11.07 | 148.3 | 11.09 | 163.4 | 10.55 | 150.7 | 10.22 | 155 | 9.78 | 973.749 | 57.1429 | 83.5309
2020-04-06 08:15:00 | 12.02 | 149 | 12.07 | 163.1 | 11.21 | 147.9 | 10.98 | 155.6 | 9.84 | 973.663 | 57.416 | 79.891
2020-04-06 08:30:00 | 11.2 | 149.3 | 11.16 | 164.6 | 11.16 | 147.3 | 11.02 | 157.3 | 10.19 | 973.514 | 55.9823 | 82.9519
2020-04-06 08:45:00 | 10.53 | 152.1 | 10.54 | 172.3 | 10.75 | 151.8 | 10.63 | 155.2 | 10.73 | 973.959 | 53.388 | 84.9715
2020-04-06 09:00:00 | 12.11 | 151.5 | 11.89 | 165.8 | 11.24 | 152.8 | 11.09 | 157.3 | 11.04 | 974.256 | 53.2514 | 81.71
2020-04-06 09:15:00 | 11.53 | 152.7 | 11.58 | 169 | 11.69 | 156.4 | 11.56 | 157.3 | 11.07 | 974.998 | 51.168 | 81.028
2020-04-06 09:30:00 | 11.54 | 144.7 | 11.48 | 160 | 10.75 | 143.5 | 10.53 | 153.2 | 11.23 | 974.553 | 51.3986 | 77.7034
2020-04-06 09:45:00 | 10.31 | 148.2 | 10.05 | 162.4 | 9.89 | 142.9 | 9.73 | 155.7 | 11.59 | 974.998 | 49.8292 | 70.1856
2020-04-06 10:00:00 | 8.77 | 151.9 | 8.62 | 171.5 | 8.61 | 145.7 | 8.65 | 157 | 12.29 | 975.444 | 48.0542 | 64.0087
2020-04-06 10:15:00 | 8.88 | 157.1 | 8.82 | 177.8 | 8.53 | 142 | 8.46 | 159.5 | 12.56 | 974.963 | 47.1595 | 59.3762
2020-04-06 10:30:00 | 10.02 | 146.5 | 9.99 | 164.3 | 9.67 | 140.5 | 9.61 | 153.3 | 12.63 | 975.146 | 44.1563 | 52.149
2020-04-06 10:45:00 | 8.84 | 151.3 | 8.96 | 167.2 | 8.19 | 142.3 | 8.13 | 159.5 | 13.33 | 974.849 | 44.8388 | 48.3538
2020-04-06 11:00:00 | 7.803 | 156.8 | 7.969 | 176.6 | 7.37 | 146.3 | 7.245 | 166.5 | 13.93 | 975.146 | 44.0873 | 46.8656
2020-04-06 11:15:00 | 7.785 | 161.7 | 8.27 | 177.1 | 7.92 | 141.5 | 7.749 | 173 | 14.13 | 975.146 | 41.3505 | 46.2985
2020-04-06 11:30:00 | 9.06 | 160 | 9.04 | 176.7 | 8.59 | 145.6 | 8.63 | 161.4 | 14.2 | 974.849 | 43.4606 | 48.1422
2020-04-06 11:45:00 | 9.85 | 161.7 | 9.43 | 178.6 | 8.11 | 148.8 | 8.01 | 164 | 14.14 | 974.552 | 44.1758 | 42.8972
2020-04-06 12:00:00 | 9.67 | 163.3 | 9.01 | 175.4 | 7.848 | 152.2 | 7.838 | 172.3 | 14.83 | 974.849 | 42.9819 | 48.7345
2020-04-06 12:15:00 | 8.31 | 158.9 | 8.8 | 171.5 | 8.45 | 152.9 | 8.24 | 166.8 | 15.63 | 974.997 | 41.5831 | 47.427
2020-04-06 12:30:00 | 7.52 | 163.5 | 7.552 | 182.7 | 7.355 | 148.4 | 7.367 | 162.2 | 15.69 | 974.552 | 38.6833 | 44.5679
2020-04-06 12:45:00 | 8.86 | 161.7 | 8.55 | 177.3 | 7.632 | 146.7 | 7.719 | 168.5 | 16.23 | 974.552 | 36.9777 | 43.5992
2020-04-06 13:00:00 | 7.693 | 160.8 | 7.728 | 173.3 | 6.711 | 147.4 | 6.718 | 170.1 | 16.24 | 974.107 | 36.3295 | 46.0821
2020-04-06 13:15:00 | 8.08 | 166.8 | 8.08 | 180.7 | 7.251 | 141.6 | 7.176 | 173.9 | 16.52 | 974.403 | 33.3618 | 41.9788
2020-04-06 13:30:00 | 8.18 | 172 | 8.02 | 184.3 | 7.719 | 143.4 | 7.805 | 178.5 | 16.34 | 974.255 | 36.159 | 41.7407
2020-04-06 13:45:00 | 8.36 | 176.6 | 7.35 | 197.1 | 7.113 | 145.2 | 7.046 | 176.2 | 16.87 | 973.958 | 33.8393 | 37.8833
2020-04-06 14:00:00 | 7.51 | 161 | 7.831 | 176.7 | 7.177 | 141.6 | 7.196 | 164.5 | 17.04 | 974.191 | 34.1122 | 31.6252
2020-04-06 14:15:00 | 7.3 | 162.3 | 7.347 | 176.5 | 6.979 | 140.1 | 6.993 | 169.4 | 17.09 | 973.992 | 32.3384 | 31.6464
2020-04-06 14:30:00 | 7.479 | 168.5 | 7.455 | 182.8 | 6.167 | 139.3 | 6.137 | 167.1 | 17.24 | 973.662 | 33.43 | 31.6168
2020-04-06 14:45:00 | 8.2 | 178.2 | 7.877 | 190.8 | 6.973 | 142.3 | 6.919 | 183.4 | 17.68 | 973.958 | 34.9604 | 26.9908
2020-04-06 15:00:00 | 8.75 | 191.4 | 8.32 | 206.1 | 7.48 | 144.4 | 7.487 | 194.4 | 17.6 | 973.364 | 29.2633 | 29.2025
2020-04-06 15:15:00 | 7.88 | 177 | 7.646 | 192.2 | 7.197 | 144.5 | 7.138 | 179.5 | 17.71 | 973.512 | 29.468 | 31.128
2020-04-06 15:30:00 | 8.58 | 184 | 7.869 | 200.8 | 6.551 | 146.5 | 6.514 | 184.6 | 17.62 | 973.512 | 29.0586 | 31.5133
2020-04-06 15:45:00 | 8.27 | 180.7 | 7.928 | 194.5 | 7.421 | 147.5 | 7.459 | 182.7 | 17.8 | 973.216 | 28.5812 | 33.3608
2020-04-06 16:00:00 | 9.45 | 180.9 | 8.97 | 194.5 | 8.19 | 150.2 | 8.18 | 185.1 | 17.81 | 973.216 | 26.3981 | 36.9743
2020-04-06 16:15:00 | 8.26 | 183.9 | 7.746 | 200.7 | 6.8 | 151.6 | 6.639 | 181.4 | 17.73 | 973.067 | 28.0355 | 32.3705
2020-04-06 16:30:00 | 8.21 | 172.9 | 8.03 | 187.7 | 7.482 | 151.9 | 7.449 | 174.3 | 17.68 | 972.919 | 30.9345 | 29.4036
2020-04-06 16:45:00 | 9.33 | 180.2 | 8.45 | 195.8 | 7.716 | 155 | 7.749 | 181.1 | 17.61 | 972.771 | 30.9004 | 34.0332
2020-04-06 17:00:00 | 7.742 | 180.8 | 7.424 | 192.8 | 7.083 | 154.6 | 7.061 | 184.4 | 17.53 | 972.474 | 31.5825 | 34.181
2020-04-06 17:15:00 | 8.34 | 181.4 | 8.12 | 192.3 | 7.492 | 158.1 | 7.443 | 183.4 | 17.27 | 972.177 | 32.8813 | 39.3797
2020-04-06 17:30:00 | 8.79 | 180.2 | 8.73 | 193.8 | 7.66 | 161.1 | 7.449 | 183.5 | 17.26 | 972.177 | 33.6346 | 42.3688
2020-04-06 17:45:00 | 8.46 | 176.9 | 8.27 | 189.7 | 7.271 | 163.8 | 7.337 | 181.8 | 17.04 | 972.142 | 33.8393 | 39.9339
2020-04-06 18:00:00 | 8.21 | 175.5 | 7.391 | 196.2 | 7.162 | 182.6 | 7.255 | 176 | 16.86 | 972.174 | 34.5216 | 36.2427
2020-04-06 18:15:00 | 8.16 | 175.2 | 7.667 | 194.4 | 7.141 | 178.3 | 7.12 | 174 | 16.73 | 972.177 | 33.8393 | 33.1428
2020-04-06 18:30:00 | 7.277 | 173.7 | 7.289 | 191.8 | 6.737 | 179.2 | 6.7 | 174.2 | 16.57 | 972.028 | 34.0449 | 30.7928
2020-04-06 18:45:00 | 6.549 | 167.6 | 6.325 | 189.3 | 5.803 | 178.3 | 5.831 | 167.1 | 16.4 | 972.028 | 34.7671 | 30.6229
2020-04-06 19:00:00 | 6.759 | 163.5 | 6.591 | 177.3 | 5.941 | 162.7 | 5.898 | 173.6 | 16.18 | 971.88 | 34.1237 | 33.4273
2020-04-06 19:15:00 | 6.69 | 170.1 | 6.337 | 186.9 | 6.488 | 171.6 | 6.448 | 172.7 | 16.15 | 972.028 | 33.9191 | 36.6233
2020-04-06 19:30:00 | 6.741 | 167.2 | 6.79 | 181.9 | 6.605 | 166.7 | 6.771 | 170.1 | 16.2 | 971.88 | 34.6698 | 32.4444
2020-04-06 19:45:00 | 6.667 | 163 | 6.325 | 179.7 | 6.05 | 161.5 | 6.005 | 169.3 | 15.81 | 972.177 | 35.6253 | 35.0936
2020-04-06 20:00:00 | 6.835 | 161.4 | 7.153 | 175.3 | 7.35 | 152.6 | 7.347 | 168.9 | 15.74 | 972.198 | 36.5808 | 35.792
2020-04-06 20:15:00 | 6.823 | 162.5 | 7.442 | 177.3 | 7.22 | 153.5 | 7.161 | 168.6 | 15.61 | 972.28 | 36.5808 | 34.7722
2020-04-06 20:30:00 | 7.972 | 173.1 | 7.434 | 188.2 | 6.727 | 157.4 | 6.672 | 176.7 | 15.79 | 972.423 | 36.4447 | 38.1936
2020-04-06 20:45:00 | 6.761 | 170.2 | 6.68 | 180.9 | 6.401 | 156.9 | 6.455 | 176.1 | 15.52 | 972.769 | 37.6057 | 36.8154
2020-04-06 21:00:00 | 6.465 | 168.1 | 6.33 | 178.4 | 6.302 | 155.9 | 6.537 | 174.7 | 15.16 | 972.748 | 38.493 | 35.0973
2020-04-06 21:15:00 | 7.027 | 164.3 | 6.672 | 175.2 | 6.406 | 156.2 | 6.389 | 171.9 | 15.01 | 972.761 | 38.4289 | 37.8315
2020-04-06 21:30:00 | 6.792 | 161.8 | 7.076 | 177.9 | 6.798 | 143.9 | 6.906 | 167.4 | 15.05 | 972.771 | 38.4978 | 36.8081
2020-04-06 21:45:00 | 6.95 | 166.3 | 6.856 | 177.3 | 7.416 | 144.2 | 7.53 | 171.8 | 14.66 | 972.474 | 38.4641 | 37.5248
2020-04-06 22:00:00 | 7.104 | 165.2 | 7.046 | 174.4 | 6.862 | 146.4 | 7.026 | 172.2 | 14.53 | 972.474 | 39.0444 | 34.3399
2020-04-06 22:15:00 | 7.52 | 161 | 7.516 | 176.1 | 7.472 | 150.9 | 7.563 | 166.2 | 14.43 | 972.474 | 39.3851 | 35.3301
2020-04-06 22:30:00 | 6.943 | 159 | 7.739 | 171 | 7.927 | 153.3 | 7.988 | 168 | 13.93 | 972.177 | 40.3396 | 37.5101
2020-04-06 22:45:00 | 7.16 | 156.6 | 7.848 | 171.4 | 8.16 | 153.3 | 8.14 | 165.1 | 13.71 | 972.028 | 41.2279 | 39.5053
2020-04-06 23:00:00 | 7.471 | 157.9 | 7.981 | 170.6 | 8.08 | 152.5 | 7.986 | 165.4 | 13.36 | 971.88 | 41.8465 | 41.1569
2020-04-06 23:15:00 | 7.178 | 162.2 | 7.68 | 173 | 8.21 | 153.1 | 8.3 | 170.3 | 13.32 | 971.88 | 43.6932 | 42.3318
2020-04-06 23:30:00 | 8.12 | 162 | 8.49 | 175.4 | 9.09 | 155 | 9.19 | 169.6 | 13.48 | 971.88 | 43.2156 | 42.8713
2020-04-06 23:45:00 | 7.433 | 165.3 | 7.378 | 176.9 | 7.53 | 154 | 7.716 | 173.3 | 13.44 | 971.88 | 44.342 | 43.2223