## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-07 00:00:00 | 7.259 | 166.8 | 7.237 | 174.7 | 7.515 | 152.1 | 7.673 | 173.6 | 13.18 | 971.88 | 43.5569 | 42.6866
2020-04-07 00:15:00 | 7.933 | 168.5 | 7.7 | 180.1 | 7.403 | 149.9 | 7.482 | 176.4 | 13.35 | 971.88 | 43.4886 | 43.0766
2020-04-07 00:30:00 | 7.4 | 173.1 | 7.465 | 183.7 | 7.874 | 151.7 | 8.16 | 178.7 | 13.19 | 971.88 | 45.1272 | 48.517
2020-04-07 00:45:00 | 8.31 | 167.9 | 8.32 | 178.9 | 8.67 | 154.7 | 8.89 | 174.7 | 13.08 | 971.286 | 45.605 | 54.1295
2020-04-07 01:00:00 | 8.57 | 169.8 | 8.41 | 175 | 8.08 | 149.9 | 8.42 | 181.6 | 12.83 | 971.583 | 46.4926 | 51.9384
2020-04-07 01:15:00 | 8.92 | 166.2 | 8.82 | 177.2 | 8.14 | 153.8 | 8.31 | 175.9 | 12.91 | 971.286 | 47.107 | 54.6837
2020-04-07 01:30:00 | 8.17 | 162.6 | 8.69 | 172.5 | 8.65 | 154.1 | 8.76 | 169.3 | 12.78 | 970.989 | 45.5709 | 55.7146
2020-04-07 01:45:00 | 8.62 | 165.2 | 8.74 | 177.1 | 8.94 | 151.7 | 9.11 | 172.9 | 12.96 | 971.286 | 47.7897 | 56.4905
2020-04-07 02:00:00 | 7.379 | 159.1 | 8.17 | 168.9 | 8.94 | 151.8 | 9 | 168.5 | 12.41 | 971.286 | 48.609 | 51.4692
2020-04-07 02:15:00 | 7.456 | 159.7 | 8.43 | 170.6 | 8.96 | 152.1 | 9.05 | 167.9 | 12.46 | 971.286 | 49.2917 | 42.9156
2020-04-07 02:30:00 | 7.744 | 161.4 | 7.979 | 175.3 | 8.51 | 155.2 | 8.66 | 170.1 | 12.56 | 971.286 | 47.7215 | 46.4553
2020-04-07 02:45:00 | 7.323 | 156.6 | 8.4 | 168.5 | 9.36 | 151.9 | 9.44 | 164.8 | 12.21 | 971.286 | 49.9061 | 52.1454
2020-04-07 03:00:00 | 7.778 | 152 | 8.67 | 167 | 9.31 | 152.1 | 9.29 | 160.5 | 12.32 | 971.286 | 50.3158 | 50.2166
2020-04-07 03:15:00 | 7.17 | 148.8 | 7.57 | 164.3 | 8.32 | 148 | 8.33 | 156.4 | 12.11 | 971.028 | 50.8619 | 44.9072
2020-04-07 03:30:00 | 6.876 | 148.2 | 7.485 | 161.9 | 7.912 | 145.5 | 7.925 | 154.9 | 12.22 | 971.165 | 49.633 | 41.3047
2020-04-07 03:45:00 | 7.05 | 151.1 | 7.378 | 168.1 | 8.02 | 149 | 8.06 | 157.9 | 12.12 | 971.05 | 52.0225 | 40.5583
2020-04-07 04:00:00 | 7.867 | 155.9 | 8.36 | 170.8 | 8.93 | 155.8 | 8.97 | 165.4 | 11.92 | 970.71 | 53.0466 | 43.0006
2020-04-07 04:15:00 | 8.69 | 159.5 | 8.73 | 172.9 | 9.26 | 159.9 | 9.35 | 170.8 | 12.07 | 970.73 | 53.1149 | 40.5066
2020-04-07 04:30:00 | 8.17 | 160.4 | 8.71 | 172.7 | 8.92 | 154.5 | 9.01 | 171.9 | 12.09 | 970.736 | 54.5486 | 45.4872
2020-04-07 04:45:00 | 8.86 | 157.9 | 9.34 | 171 | 9.72 | 154.4 | 9.67 | 167.7 | 11.65 | 970.425 | 55.2313 | 46.7213
2020-04-07 05:00:00 | 8.72 | 158.6 | 9.83 | 168.3 | 10.2 | 152.1 | 10.19 | 169.7 | 11.19 | 970.131 | 57.2794 | 48.0699
2020-04-07 05:15:00 | 9.52 | 162.3 | 9.98 | 172.2 | 9.39 | 154.4 | 9.3 | 173.5 | 11.14 | 970.307 | 58.1669 | 48.6131
2020-04-07 05:30:00 | 8.35 | 161.2 | 8.89 | 174.6 | 9.69 | 160.1 | 9.89 | 171.5 | 11.3 | 970.427 | 60.4886 | 49.001
2020-04-07 05:45:00 | 9.36 | 160.8 | 9.44 | 170 | 8.84 | 149 | 8.81 | 169.5 | 11.38 | 970.714 | 60.0455 | 43.7581
2020-04-07 06:00:00 | 8.89 | 159.7 | 9.37 | 170.4 | 9.31 | 148.4 | 9.35 | 170.3 | 11.27 | 970.712 | 60.6291 | 42.8417
2020-04-07 06:15:00 | 7.801 | 159.8 | 8.61 | 169.2 | 8.72 | 152.1 | 8.72 | 169.5 | 11.25 | 970.707 | 61.1726 | 42.1804
2020-04-07 06:30:00 | 8.65 | 164.2 | 8.52 | 172.2 | 7.68 | 150.6 | 7.724 | 174 | 11.55 | 970.878 | 60.4199 | 44.194
2020-04-07 06:45:00 | 8.7 | 155.5 | 9.32 | 165.9 | 8.9 | 146.3 | 8.75 | 166.6 | 11.45 | 970.898 | 59.0545 | 46.0415
2020-04-07 07:00:00 | 8.26 | 150.9 | 8.58 | 163.8 | 8.8 | 145.1 | 8.81 | 159.1 | 11.76 | 971.287 | 57.1429 | 40.1556
2020-04-07 07:15:00 | 8.02 | 151.4 | 8.33 | 164.2 | 8.44 | 144 | 8.42 | 160.2 | 12.05 | 971.583 | 56.7674 | 41.1791
2020-04-07 07:30:00 | 8.29 | 146.9 | 8.39 | 161.6 | 8.04 | 142.3 | 7.92 | 153.5 | 12.23 | 971.732 | 54.2714 | 39.1764
2020-04-07 07:45:00 | 6.417 | 149 | 6.872 | 166.1 | 7.352 | 152.4 | 7.275 | 155.4 | 12.72 | 972.474 | 52.184 | 33.2019
2020-04-07 08:00:00 | 8.08 | 142.1 | 8.16 | 158.7 | 7.843 | 142.1 | 7.67 | 147.9 | 12.82 | 972.623 | 51.3289 | 33.7155
2020-04-07 08:15:00 | 7.173 | 148.3 | 7.209 | 163.5 | 7.098 | 138.2 | 7.003 | 156.2 | 12.88 | 972.653 | 50.4011 | 28.2582
2020-04-07 08:30:00 | 7.961 | 146.2 | 8.06 | 160.9 | 7.797 | 131.9 | 7.731 | 152 | 13.31 | 972.919 | 48.5242 | 29.9467
2020-04-07 08:45:00 | 7.282 | 145.6 | 7.166 | 161.5 | 6.717 | 135 | 6.598 | 153.5 | 13.63 | 973.513 | 48.3194 | 26.8874
2020-04-07 09:00:00 | 7.259 | 147.8 | 7.107 | 164.6 | 7.045 | 153.6 | 7.011 | 155.3 | 13.65 | 973.513 | 48.9918 | 22.7639
2020-04-07 09:15:00 | 7.627 | 154.4 | 7.465 | 170.7 | 6.859 | 156.3 | 6.756 | 160.8 | 13.86 | 973.81 | 49.0217 | 22.4462
2020-04-07 09:30:00 | 7.476 | 158.7 | 7.427 | 171.5 | 6.729 | 130.7 | 6.649 | 164.5 | 14.47 | 974.107 | 47.7575 | 26.008
2020-04-07 09:45:00 | 8.52 | 155.8 | 8.65 | 170.7 | 8.07 | 156.3 | 7.996 | 161.1 | 14.77 | 974.255 | 47.6207 | 26.2408
2020-04-07 10:00:00 | 8.82 | 149.4 | 8.49 | 164.2 | 7.874 | 149.2 | 7.685 | 156.7 | 15.11 | 974.552 | 46.5291 | 28.3571
2020-04-07 10:15:00 | 7.004 | 156.5 | 6.803 | 177.3 | 6.533 | 172.8 | 6.351 | 162 | 15.53 | 974.513 | 44.073 | 30.682
2020-04-07 10:30:00 | 7.259 | 156.1 | 7.266 | 171 | 6.167 | 156.5 | 5.969 | 161.2 | 15.98 | 974.395 | 42.7767 | 29.6511
2020-04-07 10:45:00 | 7.502 | 158.7 | 7.283 | 172.7 | 6.587 | 158.5 | 6.557 | 166.5 | 16.12 | 974.404 | 37.0459 | 27.061
2020-04-07 11:00:00 | 7.522 | 164.6 | 7.158 | 179.5 | 6.378 | 168.8 | 6.425 | 166.6 | 16.28 | 974.403 | 39.7029 | 18.2932
2020-04-07 11:15:00 | 6.269 | 144.1 | 6.251 | 159.7 | 5.72 | 144.8 | 5.531 | 152 | 16.8 | 974.848 | 38.4039 | 10.9922
2020-04-07 11:30:00 | 6.085 | 145.3 | 5.969 | 157.6 | 5.168 | 142 | 4.848 | 157.8 | 17.12 | 974.848 | 36.9032 | 12.363
2020-04-07 11:45:00 | 6.059 | 173.5 | 6.102 | 188.6 | 5.768 | 183.7 | 5.666 | 172.9 | 17.36 | 974.848 | 36.0154 | 13.4492
2020-04-07 12:00:00 | 6.098 | 165 | 6.079 | 180.9 | 5.529 | 177.6 | 5.437 | 175.3 | 17.67 | 974.403 | 37.3085 | 15.1489
2020-04-07 12:15:00 | 6.899 | 189.2 | 6.757 | 204 | 6.259 | 192.3 | 6.297 | 189.7 | 17.81 | 974.383 | 36.6262 | 13.5231
2020-04-07 12:30:00 | 5.875 | 182.7 | 5.53 | 194.8 | 5.425 | 187.4 | 5.577 | 188.8 | 18.06 | 974.387 | 31.3754 | 13.9591
2020-04-07 12:45:00 | 5.745 | 177 | 5.563 | 192.6 | 5.257 | 179.9 | 5.179 | 180.7 | 18.27 | 974.254 | 28.1037 | 14.3877
2020-04-07 13:00:00 | 6.94 | 168.1 | 6.68 | 184 | 5.903 | 181.3 | 5.905 | 170.4 | 18.91 | 974.402 | 26.9441 | 10.7631
2020-04-07 13:15:00 | 5.771 | 182.2 | 5.706 | 196.4 | 5.246 | 183.4 | 5.172 | 182.7 | 19.15 | 974.254 | 25.9891 | 10.1571
2020-04-07 13:30:00 | 6.136 | 144.5 | 6.095 | 160.6 | 5.524 | 149 | 5.393 | 150.9 | 19.21 | 974.254 | 25.5104 | 7.0498
2020-04-07 13:45:00 | 4.895 | 166.1 | 5.2 | 182.3 | 4.677 | 173.9 | 4.622 | 172.8 | 19.71 | 974.09 | 25.303 | 9.0265
2020-04-07 14:00:00 | 4.895 | 166.1 | 5.2 | 182.3 | 4.677 | 173.9 | 4.622 | 172.8 | 19.71 | 974.09 | 25.303 | 9.0265
2020-04-07 14:15:00 | 4.895 | 166.1 | 5.2 | 182.3 | 4.677 | 173.9 | 4.622 | 172.8 | 19.71 | 974.09 | 25.303 | 9.0265
2020-04-07 14:30:00 | 5.781 | 158.1 | 5.553 | 172.9 | 5.315 | 159.4 | 5.294 | 166.2 | 19.97 | 973.957 | 29.3215 | 7.822
2020-04-07 14:45:00 | 5.781 | 158.1 | 5.553 | 172.9 | 5.315 | 159.4 | 5.294 | 166.2 | 19.97 | 973.957 | 29.3215 | 7.822
2020-04-07 15:00:00 | 5.781 | 158.1 | 5.553 | 172.9 | 5.315 | 159.4 | 5.294 | 166.2 | 19.97 | 973.957 | 29.3215 | 7.822
2020-04-07 15:15:00 | 5.906 | 153.3 | 5.596 | 168.1 | 4.992 | 155.1 | 4.828 | 164.2 | 20.36 | 974.105 | 29.1851 | 8.9304
2020-04-07 15:30:00 | 6.241 | 157.7 | 5.944 | 171 | 5.343 | 158.8 | 5.312 | 166.2 | 20.08 | 974.105 | 29.6284 | 9.0043
2020-04-07 15:45:00 | 5.975 | 191.6 | 5.898 | 205.1 | 4.705 | 196.4 | 4.657 | 194.8 | 19.99 | 973.215 | 28.2302 | 8.9489
2020-04-07 16:00:00 | 4.44 | 149.6 | 4.461 | 166.7 | 3.937 | 153.2 | 3.868 | 154.7 | 19.82 | 973.512 | 29.9352 | 7.5744
2020-04-07 16:15:00 | 5.117 | 148.7 | 5.136 | 161.7 | 4.199 | 145.9 | 3.967 | 154.6 | 19.93 | 973.363 | 30.6853 | 6.6101
2020-04-07 16:30:00 | 5.033 | 163.1 | 4.921 | 179 | 4.204 | 168.7 | 4.156 | 169.8 | 20.03 | 972.918 | 30.7876 | 5.1432
2020-04-07 16:45:00 | 5.255 | 182.3 | 5.005 | 193.5 | 4.453 | 177 | 4.37 | 185.7 | 20.01 | 972.918 | 32.0491 | 4.8144
2020-04-07 17:00:00 | 4.354 | 158.4 | 4.103 | 170 | 3.787 | 150.7 | 3.736 | 170.2 | 19.73 | 972.77 | 31.913 | 5.1432
2020-04-07 17:15:00 | 4.854 | 167.5 | 4.719 | 184.2 | 3.802 | 169.6 | 3.697 | 175.2 | 19.59 | 972.473 | 33.2125 | 6.3773
2020-04-07 17:30:00 | 4.407 | 188.8 | 4.269 | 204 | 3.746 | 194.2 | 3.649 | 190.2 | 19.49 | 972.177 | 34.7144 | 7.4673
2020-04-07 17:45:00 | 4.78 | 171.7 | 4.41 | 191.3 | 3.96 | 175.6 | 3.993 | 173.5 | 19.23 | 971.698 | 34.8508 | 6.3403
2020-04-07 18:00:00 | 5.656 | 176.4 | 5.578 | 191.8 | 5.384 | 175.4 | 5.432 | 179.8 | 19.11 | 972.021 | 34.2426 | 7.7518
2020-04-07 18:15:00 | 6.082 | 177.3 | 6.018 | 190.5 | 5.987 | 172.6 | 6.112 | 182.9 | 18.96 | 971.88 | 34.2428 | 8.5018
2020-04-07 18:30:00 | 5.809 | 177.7 | 5.793 | 189 | 5.689 | 169.6 | 5.824 | 184.2 | 18.91 | 971.88 | 34.3844 | 7.9218
2020-04-07 18:45:00 | 5.115 | 175.8 | 5.325 | 185.5 | 5.094 | 164.2 | 5.134 | 184.4 | 18.66 | 971.907 | 35.4085 | 7.9107
2020-04-07 19:00:00 | 5.03 | 179.8 | 5.241 | 189.3 | 5.191 | 168.4 | 5.248 | 187.3 | 18.43 | 972.016 | 36.3636 | 7.4008
2020-04-07 19:15:00 | 3.268 | 182.7 | 3.742 | 194.2 | 4.626 | 172.4 | 4.713 | 189.1 | 18.14 | 971.88 | 36.3636 | 9.5105
2020-04-07 19:30:00 | 3.828 | 181.6 | 4.356 | 194.4 | 4.911 | 174.7 | 4.991 | 188.9 | 18.06 | 971.88 | 36.671 | 10.7779
2020-04-07 19:45:00 | 5.829 | 182.2 | 6.102 | 191.5 | 6.32 | 172 | 6.499 | 187.8 | 17.93 | 971.88 | 36.3646 | 10.922
2020-04-07 20:00:00 | 6.611 | 176.7 | 6.678 | 186 | 7.05 | 165.4 | 7.217 | 183.1 | 18.16 | 972.028 | 35.9553 | 12.241
2020-04-07 20:15:00 | 7.045 | 175.4 | 7.521 | 186.8 | 7.652 | 168.3 | 7.741 | 180.6 | 18.4 | 972.177 | 36.1598 | 12.2152
2020-04-07 20:30:00 | 7.847 | 173.1 | 7.795 | 186.3 | 7.871 | 173 | 8 | 178.6 | 18.47 | 972.177 | 35.6142 | 11.0402
2020-04-07 20:45:00 | 7.668 | 174.4 | 7.506 | 185.2 | 7.378 | 167.7 | 7.482 | 182.7 | 18.27 | 972.177 | 36.4346 | 8.4575
2020-04-07 21:00:00 | 6.348 | 177.1 | 6.332 | 185.7 | 6.564 | 168.1 | 6.713 | 185.2 | 17.96 | 972.474 | 38.0015 | 8.1619
2020-04-07 21:15:00 | 4.66 | 178.8 | 4.919 | 192.2 | 5.137 | 176.3 | 5.314 | 188 | 17.61 | 972.474 | 39.5713 | 5.1026
2020-04-07 21:30:00 | 4.272 | 178.7 | 4.796 | 189.2 | 5.002 | 172.6 | 5.088 | 186 | 17.32 | 972.474 | 40.3229 | 3.7614
2020-04-07 21:45:00 | 4.377 | 174.5 | 4.632 | 184.8 | 4.865 | 165.7 | 5.016 | 183.9 | 17.09 | 972.325 | 41.827 | 4.1641
2020-04-07 22:00:00 | 5.298 | 173.7 | 5.844 | 181 | 5.351 | 164 | 5.381 | 184.6 | 16.8 | 972.177 | 42.4463 | 2.9337
2020-04-07 22:15:00 | 2.852 | 180.9 | 3.505 | 192.5 | 3.593 | 192.1 | 3.616 | 188.6 | 16.41 | 972.177 | 44.2243 | 0.60596
2020-04-07 22:30:00 | 2.763 | 183.9 | 3.385 | 193.8 | 3.319 | 179.7 | 3.348 | 195.2 | 16.18 | 972.177 | 44.4634 | 0.52467
2020-04-07 22:45:00 | 3.138 | 205.1 | 3.661 | 205.5 | 4.715 | 174.9 | 4.894 | 211.7 | 16.41 | 972.177 | 42.6548 | 2.0654
2020-04-07 23:00:00 | 4.088 | 192.8 | 4.302 | 200.5 | 4.758 | 176.5 | 4.963 | 201.7 | 16.45 | 972.177 | 39.8567 | 5.11
2020-04-07 23:15:00 | 4.52 | 188.7 | 4.757 | 196.1 | 5.051 | 172.8 | 5.271 | 195.9 | 16.6 | 972.177 | 41.4264 | 8.6829
2020-04-07 23:30:00 | 4.011 | 184.8 | 4.655 | 195.3 | 5.287 | 176.5 | 5.518 | 193.3 | 16.59 | 971.88 | 41.9041 | 8.0769
2020-04-07 23:45:00 | 4.269 | 188.9 | 4.765 | 198.4 | 5.605 | 181.9 | 5.768 | 195 | 16.71 | 971.88 | 42.5183 | 9.0524