## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-08 00:00:00 | 3.958 | 186.6 | 4.532 | 194.6 | 4.735 | 180.8 | 4.825 | 194.6 | 16.6 | 971.583 | 44.4975 | 5.3464
2020-04-08 00:15:00 | 2.274 | 171.7 | 3.349 | 187.9 | 3.932 | 181.3 | 3.832 | 178.6 | 15.88 | 971.583 | 47.5687 | 3.9609
2020-04-08 00:30:00 | 2.912 | 182.2 | 4.1 | 191 | 4.832 | 175.8 | 4.927 | 187.7 | 15.77 | 971.583 | 46.7497 | 3.717
2020-04-08 00:45:00 | 2.852 | 164.3 | 4.042 | 174.5 | 4.013 | 155.4 | 3.962 | 174.1 | 15.85 | 971.294 | 47.0227 | 5.0028
2020-04-08 01:00:00 | 4.79 | 153.3 | 5.611 | 166.1 | 5.173 | 151.7 | 5.093 | 161.9 | 14.9 | 971.166 | 49.2066 | 11.9491
2020-04-08 01:15:00 | 5.475 | 155.9 | 6.215 | 169.6 | 6.277 | 153.1 | 6.275 | 165.2 | 14.68 | 971.253 | 48.767 | 9.9798
2020-04-08 01:30:00 | 5.423 | 159.8 | 6.026 | 169.1 | 6.144 | 152.9 | 6.221 | 176.7 | 14.78 | 971.286 | 48.8712 | 8.6496
2020-04-08 01:45:00 | 3.6 | 178.2 | 4.791 | 188.4 | 5.488 | 173.9 | 5.564 | 186.6 | 15.11 | 971.286 | 49.4879 | 9.4625
2020-04-08 02:00:00 | 4.162 | 182.7 | 4.947 | 187.6 | 4.57 | 175.7 | 4.698 | 191.1 | 15.18 | 971.286 | 49.5553 | 11.2914
2020-04-08 02:15:00 | 4.576 | 188.6 | 4.98 | 193.7 | 5.066 | 179.8 | 5.187 | 196.3 | 14.86 | 971.861 | 51.1239 | 2.5531
2020-04-08 02:30:00 | 4.507 | 205.8 | 5.008 | 222.2 | 4.705 | 284.9 | 4.752 | 206.3 | 10.66 | 971.286 | 62.5255 | 1.7994
2020-04-08 02:45:00 | 5.349 | 289.5 | 5.665 | 305.4 | 5.628 | 297.3 | 5.528 | 285.7 | 9.21 | 970.692 | 68.5366 | 7.9365
2020-04-08 03:00:00 | 2.29 | 293.9 | 2.939 | 315.9 | 3.932 | 305.4 | 3.827 | 285.4 | 9.78 | 970.128 | 66.2229 | 2.3943
2020-04-08 03:15:00 | 0.891 | 277.8 | 2.644 | 297.4 | 4.267 | 305 | 4.283 | 279.1 | 9.18 | 970.263 | 60.9319 | 9.5918
2020-04-08 03:30:00 | 5.023 | 314.1 | 4.154 | 347.3 | 6.175 | 315.5 | 6.522 | 289 | 8.41 | 969.941 | 78.1822 | 12.4833
2020-04-08 03:45:00 | 5.911 | 343 | 5.489 | 33.1 | 5.453 | 355.1 | 5.9 | 309.5 | 7.328 | 968.758 | 82.2919 | 12.5588
2020-04-08 04:00:00 | 3.128 | 336.7 | 2.566 | 7.008 | 2.558 | 353.9 | 2.495 | 322 | 12.57 | 969.503 | 51.2208 | -0.29928
2020-04-08 04:15:00 | 1.616 | 301.7 | 3.172 | 319.2 | 3.542 | 354.6 | 3.494 | 298.8 | 12.2 | 970.097 | 57.1624 | -0.41382
2020-04-08 04:30:00 | 1.096 | 332 | 1.962 | 8.65 | 2.296 | 0.382 | 2.215 | 322.9 | 12.6 | 970.097 | 57.768 | -0.073897
2020-04-08 04:45:00 | 0.866 | 21.4 | 1.575 | 354.8 | 0.804 | 0.389 | 0.229 | 321.2 | 13.61 | 970.156 | 55.3014 | 1.1787
2020-04-08 05:00:00 | 0.288 | 319.9 | 0 | 354 | 0 | 0.366 | 0 | 318.8 | 14.62 | 970.279 | 52.7735 | 4.1936
2020-04-08 05:15:00 | 3.355 | 157.3 | 3.507 | 172 | 3.138 | 0.43 | 2.745 | 162.7 | 12.45 | 970.098 | 64.3113 | 7.8405
2020-04-08 05:30:00 | 4.274 | 138.1 | 5.407 | 155.4 | 5.239 | 1.496 | 5.032 | 149.3 | 12.1 | 970.395 | 64.3113 | 15.2967
2020-04-08 05:45:00 | 4.816 | 140.4 | 5.737 | 163.5 | 6.706 | 1.278 | 6.552 | 143.8 | 11.79 | 970.098 | 64.5844 | 26.9982
2020-04-08 06:00:00 | 8.7 | 125.3 | 9.32 | 136.9 | 8.29 | 7.038 | 8.01 | 135.3 | 12.38 | 970.098 | 58.3035 | 29.4479
2020-04-08 06:15:00 | 6.001 | 130.8 | 7.358 | 147.4 | 8.2 | 6.6 | 8.04 | 138.7 | 11.64 | 970.395 | 61.1709 | 24.4192
2020-04-08 06:30:00 | 5.929 | 127.7 | 6.828 | 139.3 | 5.938 | 7.121 | 5.691 | 141.5 | 12.82 | 970.544 | 59.5665 | 25.5055
2020-04-08 06:45:00 | 6.71 | 128.4 | 7.506 | 144.7 | 7.057 | 8.3 | 6.814 | 134.9 | 12.23 | 970.544 | 57.8256 | 31.9235
2020-04-08 07:00:00 | 6.631 | 124.1 | 7.47 | 136.2 | 6.528 | 8.71 | 6.351 | 133.6 | 12.56 | 970.692 | 58.6448 | 26.1115
2020-04-08 07:15:00 | 6.435 | 125 | 7.393 | 138.6 | 7.065 | 8.97 | 6.733 | 134.5 | 12.94 | 971.138 | 58.3718 | 20.5877
2020-04-08 07:30:00 | 5.51 | 128.8 | 5.785 | 140.7 | 5.554 | 8.81 | 5.495 | 135.9 | 13.11 | 971.286 | 58.9862 | 18.2673
2020-04-08 07:45:00 | 3.207 | 113.3 | 3.599 | 123.7 | 4.43 | 7.154 | 4.479 | 121.4 | 13.01 | 971.583 | 60.0775 | 16.394
2020-04-08 08:00:00 | 2.855 | 108.4 | 3.852 | 122.7 | 4.585 | 6.266 | 4.55 | 119.1 | 13.25 | 971.88 | 58.1581 | 9.6288
2020-04-08 08:15:00 | 1.2 | 94.5 | 1.573 | 105.1 | 2.258 | 4.801 | 2.153 | 104.5 | 13.9 | 972.623 | 56.4844 | 2.5384
2020-04-08 08:30:00 | 0.367 | 215.1 | 0.745 | 161.1 | 0.899 | 355.1 | 0.692 | 167.5 | 13.74 | 972.806 | 61.4916 | 0.73158
2020-04-08 08:45:00 | 0.115 | 130.1 | 0.538 | 195.1 | 0.51 | 353.3 | 0.305 | 150.4 | 14.36 | 973.068 | 58.7946 | 0.1404
2020-04-08 09:00:00 | 0.75 | 173.3 | 1.561 | 194.1 | 1.282 | 354.1 | 0.803 | 173.1 | 13.5 | 973.513 | 68.6401 | -0.066507
2020-04-08 09:15:00 | 1.133 | 183.5 | 0.828 | 195.3 | 1.122 | 353.3 | 1.033 | 173.6 | 11.9 | 973.364 | 71.9465 | -0.28081
2020-04-08 09:30:00 | 1.819 | 151.1 | 1.407 | 194.3 | 1.849 | 358.8 | 1.674 | 149.8 | 13.23 | 973.958 | 65.019 | -0.25125
2020-04-08 09:45:00 | 2.385 | 292.3 | 2.737 | 313.7 | 2.141 | 351 | 1.897 | 273.9 | 11.62 | 973.661 | 82.2105 | -0.23647
2020-04-08 10:00:00 | 1.897 | 158.4 | 1.136 | 214.4 | 1.626 | 351 | 1.471 | 160.5 | 11.87 | 973.953 | 77.9124 | -0.16996
2020-04-08 10:15:00 | 1.601 | 156.4 | 1.996 | 179.6 | 2.186 | 355.2 | 1.989 | 151.1 | 13.79 | 974.179 | 67.2011 | -0.23278
2020-04-08 10:30:00 | 2.018 | 207 | 2.254 | 246.3 | 1.643 | 352.3 | 1.497 | 204.7 | 13.61 | 973.958 | 71.8324 | -0.26972
2020-04-08 10:45:00 | 1.593 | 194.9 | 1.591 | 222 | 1.316 | 351.7 | 1.129 | 192.7 | 13.05 | 973.661 | 76.513 | -0.23647
2020-04-08 11:00:00 | 3.358 | 269.3 | 3.229 | 298.2 | 2.469 | 350.5 | 2.24 | 254.8 | 12.07 | 973.356 | 81.0507 | -0.23647
2020-04-08 11:15:00 | 2.727 | 269.7 | 2.515 | 299.7 | 1.028 | 350.2 | 0.317 | 259.6 | 11.84 | 973.216 | 82.4924 | -0.26233
2020-04-08 11:30:00 | 2.044 | 282.9 | 1.827 | 314.9 | 1.021 | 350.3 | 0.588 | 261.9 | 12.16 | 973.216 | 82.4431 | -0.22539
2020-04-08 11:45:00 | 1.346 | 281.8 | 1.202 | 272.5 | 0.765 | 350.3 | 0.481 | 290.9 | 12.01 | 972.77 | 81.6243 | -0.24016
2020-04-08 12:00:00 | 2.07 | 308.7 | 2.039 | 316.2 | 1.857 | 350.3 | 1.569 | 319.2 | 12.54 | 972.933 | 82.1361 | -0.26972
2020-04-08 12:15:00 | 2.845 | 285.7 | 2.955 | 299.4 | 2.614 | 350.2 | 2.401 | 283.7 | 11.72 | 972.968 | 85.515 | -0.26972
2020-04-08 12:30:00 | 2.765 | 311 | 2.676 | 313.5 | 1.59 | 350.2 | 1.262 | 307.5 | 11.3 | 972.474 | 87.4742 | -0.26972
2020-04-08 12:45:00 | 0.929 | 116.2 | 1.323 | 178.1 | 0.952 | 354.9 | 0.627 | 107 | 11.79 | 972.474 | 84.1616 | -0.26972
2020-04-08 13:00:00 | 0.442 | 83.3 | 0.689 | 135.3 | 0.298 | 355.1 | 0.235 | 113.2 | 12.35 | 973.068 | 83.3417 | -0.25494
2020-04-08 13:15:00 | 3.008 | 293 | 2.83 | 311.1 | 2.212 | 350.4 | 1.775 | 279.2 | 11.85 | 972.622 | 87.0645 | -0.26972
2020-04-08 13:30:00 | 1.488 | 26.16 | 2.133 | 35.67 | 1.631 | 353.8 | 1.291 | 30.26 | 12.46 | 973.068 | 85.3242 | -0.25864
2020-04-08 13:45:00 | 0.737 | 47.5 | 1.165 | 43.79 | 1.384 | 0.105 | 1.111 | 26.96 | 13.25 | 974.157 | 78.1441 | -0.25864
2020-04-08 14:00:00 | 2.279 | 178.5 | 1.993 | 192.3 | 1.783 | 355.7 | 1.744 | 152.8 | 14.94 | 974.403 | 72.3573 | -0.25864
2020-04-08 14:15:00 | 2.118 | 226.9 | 1.935 | 235.9 | 1.403 | 349.7 | 1.366 | 217.8 | 14.92 | 974.255 | 69.4866 | -0.26972
2020-04-08 14:30:00 | 2.656 | 213.8 | 2.641 | 222.5 | 2.24 | 346.6 | 2.134 | 208.6 | 15.82 | 973.671 | 59.2522 | -0.28081
2020-04-08 14:45:00 | 3.572 | 207.7 | 3.52 | 218 | 2.983 | 345.4 | 2.997 | 209.7 | 16.15 | 973.958 | 64.9756 | -0.28081
2020-04-08 15:00:00 | 3.478 | 309.3 | 3.436 | 311.4 | 3.138 | 345.5 | 3.043 | 321.2 | 15.16 | 974.106 | 74.6931 | -0.27711
2020-04-08 15:15:00 | 3.294 | 6.79 | 3.328 | 0.866 | 3.035 | 345.5 | 2.884 | 359.4 | 14.93 | 973.661 | 75.6481 | -0.21061
2020-04-08 15:30:00 | 3.373 | 350.5 | 2.82 | 10.47 | 1.721 | 3.617 | 1.384 | 335.6 | 14.04 | 973.216 | 77.4898 | -0.12193
2020-04-08 15:45:00 | 2.007 | 2.912 | 2.114 | 7.674 | 1.774 | 358.5 | 1.356 | 348.1 | 14.77 | 973.216 | 73.704 | -0.073897
2020-04-08 16:00:00 | 1.855 | 4.558 | 1.943 | 17.9 | 1.758 | 358.1 | 1.319 | 355.3 | 15.47 | 973.216 | 74.0803 | 0.036948
2020-04-08 16:15:00 | 1.377 | 9 | 1.744 | 21.65 | 0.919 | 358 | 0.507 | 347.7 | 15.28 | 973.067 | 74.1815 | 0.17366
2020-04-08 16:30:00 | 0.872 | 19.91 | 1.558 | 36.55 | 1.301 | 2.827 | 0.92 | 24.41 | 15.14 | 972.474 | 72.7878 | -0.16627
2020-04-08 16:45:00 | 1.589 | 10.1 | 1.631 | 36.07 | 1.184 | 358 | 0.602 | 356.8 | 14.79 | 972.299 | 75.1833 | -0.22539
2020-04-08 17:00:00 | 1.656 | 79.5 | 0.517 | 35.04 | 0.521 | 2.362 | 0.43 | 121.3 | 14.57 | 972.473 | 74.774 | -0.22539
2020-04-08 17:15:00 | 2.04 | 352.7 | 1.845 | 34.66 | 1.055 | 356.8 | 0.438 | 8.15 | 14.14 | 972.177 | 79.5878 | -0.23647
2020-04-08 17:30:00 | 2.017 | 349.8 | 1.557 | 34.7 | 0.641 | 356.9 | 0.128 | 357.4 | 13.85 | 972.325 | 79.3716 | -0.24016
2020-04-08 17:45:00 | 1.542 | 26.41 | 1.948 | 35.76 | 0.445 | 0.933 | 0.009 | 33.92 | 13.88 | 972.177 | 80.6006 | -0.22539
2020-04-08 18:00:00 | 1.775 | 92.2 | 1.865 | 36.21 | 0.253 | 4.972 | 0.237 | 127.5 | 13.78 | 972.036 | 81.5589 | -0.25125
2020-04-08 18:15:00 | 2.365 | 78.36 | 2.128 | 36.31 | 0.652 | 5.026 | 0.607 | 128.5 | 13.53 | 971.878 | 82.8659 | -0.24016
2020-04-08 18:30:00 | 1.57 | 93.5 | 0.023 | 36.26 | 0.491 | 4.971 | 0.542 | 128.6 | 13.5 | 971.88 | 82.5256 | -0.22539
2020-04-08 18:45:00 | 1.494 | 136.5 | 0 | 36.26 | 0.258 | 4.971 | 0.206 | 131.1 | 13.7 | 971.88 | 82.8634 | -0.22539
2020-04-08 19:00:00 | 2.201 | 132.3 | 1.586 | 36.27 | 0.255 | 4.978 | 0.29 | 131.1 | 13.31 | 971.88 | 84.2331 | -0.22539
2020-04-08 19:15:00 | 1.362 | 141.8 | 0.321 | 36.36 | 1.386 | 4.972 | 1.446 | 135.7 | 13.26 | 972.177 | 82.1938 | -0.22539
2020-04-08 19:30:00 | 2.007 | 150.8 | 0.565 | 36.36 | 0.417 | 4.972 | 0.484 | 136 | 13.16 | 972.177 | 84.1781 | -0.22539
2020-04-08 19:45:00 | 2.127 | 141.4 | 1.448 | 36.36 | 1.061 | 4.977 | 1.165 | 136 | 13.12 | 972.177 | 82.6762 | -0.22539
2020-04-08 20:00:00 | 2.661 | 85.1 | 2.308 | 36.41 | 0.89 | 5.009 | 0.493 | 136 | 13.08 | 972.177 | 81.8911 | -0.22539
2020-04-08 20:15:00 | 1.634 | 114.6 | 1.371 | 36.47 | 1.253 | 4.975 | 1.308 | 135.8 | 13.15 | 972.177 | 84.383 | -0.25864
2020-04-08 20:30:00 | 2.531 | 86.5 | 2.128 | 36.42 | 1.213 | 4.987 | 1.007 | 125.7 | 13.04 | 972.474 | 83.2907 | -0.24016
2020-04-08 20:45:00 | 1.844 | 90.5 | 1.784 | 36.39 | 2.177 | 4.977 | 2.078 | 128 | 12.94 | 972.474 | 83.2224 | -0.25125
2020-04-08 21:00:00 | 2.635 | 53.49 | 2.513 | 36.39 | 2.416 | 4.993 | 2.528 | 89.5 | 12.99 | 972.474 | 80.9012 | -0.011085
2020-04-08 21:15:00 | 2.814 | 47.76 | 2.191 | 35.53 | 1.63 | 5.047 | 1.766 | 76.56 | 12.81 | 972.474 | 81.3108 | 0.24386
2020-04-08 21:30:00 | 3.529 | 352.6 | 3.313 | 353.9 | 1.861 | 356.3 | 1.459 | 14.43 | 12.98 | 972.771 | 80.4233 | 1.5038
2020-04-08 21:45:00 | 2.495 | 343.1 | 2.825 | 355 | 2.698 | 359 | 2.266 | 345.9 | 12.63 | 972.919 | 82.7104 | 1.9915
2020-04-08 22:00:00 | 3.207 | 5.108 | 2.485 | 16.12 | 2.222 | 1.357 | 2.238 | 13.64 | 12.21 | 972.474 | 87.2504 | 1.4484
2020-04-08 22:15:00 | 2.291 | 61.16 | 2.265 | 34.12 | 1.594 | 4.192 | 1.599 | 85 | 11.89 | 972.474 | 87.4211 | 0.62443
2020-04-08 22:30:00 | 1.971 | 76.45 | 1.606 | 41.82 | 1.499 | 4.031 | 1.413 | 94.6 | 12.67 | 972.474 | 72.7086 | 0.25864
2020-04-08 22:45:00 | 2.536 | 119.9 | 2.942 | 136 | 3.372 | 11.21 | 3.354 | 123.6 | 13.11 | 972.632 | 55.3678 | 0.32145
2020-04-08 23:00:00 | 1.321 | 85.4 | 2.449 | 93.7 | 3.148 | 10.98 | 3.328 | 93.8 | 12.99 | 972.776 | 73.1865 | 0.73158
2020-04-08 23:15:00 | 2.625 | 100.5 | 3.333 | 115.6 | 3.921 | 11.78 | 4.044 | 104.3 | 12.83 | 972.771 | 53.2514 | 1.1528
2020-04-08 23:30:00 | 1.396 | 58.89 | 2.406 | 65.36 | 2.809 | 11.24 | 2.796 | 70.14 | 12.29 | 973.073 | 57.689 | 1.3486
2020-04-08 23:45:00 | 1.003 | 82.9 | 2.146 | 106.6 | 2.818 | 13.85 | 2.764 | 93.6 | 12.16 | 973.104 | 58.8496 | 1.8326