## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-09 00:00:00 | 0.206 | 93.8 | 0.561 | 86.7 | 1.813 | 13.65 | 1.871 | 96.8 | 11.8 | 973.068 | 65.6085 | 1.0419
2020-04-09 00:15:00 | 1.232 | 98.1 | 2.426 | 102.8 | 4.003 | 14.19 | 4.189 | 102 | 11.25 | 972.771 | 68.8855 | 0.60226
2020-04-09 00:30:00 | 4.218 | 110.9 | 4.307 | 128.8 | 4.27 | 18.36 | 4.339 | 117.5 | 11.91 | 972.63 | 56.938 | 1.5703
2020-04-09 00:45:00 | 2.418 | 100.9 | 3.553 | 116.7 | 4.049 | 17.95 | 4.095 | 108.9 | 11.92 | 973.103 | 57.6549 | 1.7772
2020-04-09 01:00:00 | 2.605 | 114.7 | 3.014 | 136.1 | 3.072 | 18.01 | 3.045 | 117.1 | 11.61 | 972.796 | 59.3275 | 2.3536
2020-04-09 01:15:00 | 3.039 | 103.2 | 3.891 | 124.1 | 4.397 | 18.13 | 4.337 | 111.1 | 11.53 | 972.642 | 60.4199 | 4.589
2020-04-09 01:30:00 | 3.233 | 105.1 | 4.351 | 121.5 | 4.44 | 18.59 | 4.438 | 114.1 | 11.45 | 972.504 | 61.0002 | 7.9328
2020-04-09 01:45:00 | 3.166 | 103.5 | 4.024 | 118 | 4.145 | 18.57 | 4.252 | 114 | 11.34 | 972.533 | 62.1949 | 8.9268
2020-04-09 02:00:00 | 3.825 | 107.1 | 4.862 | 122.9 | 5.002 | 18.97 | 4.973 | 116.9 | 11.23 | 972.531 | 62.468 | 5.727
2020-04-09 02:15:00 | 3.465 | 120.9 | 3.727 | 143.4 | 4.313 | 19.22 | 4.446 | 123.1 | 11.14 | 972.808 | 63.0824 | 3.9461
2020-04-09 02:30:00 | 3.345 | 106.6 | 3.574 | 121.6 | 4.209 | 18.93 | 4.41 | 113.7 | 11.03 | 972.191 | 62.8093 | 9.3258
2020-04-09 02:45:00 | 4.065 | 101.3 | 4.683 | 116.3 | 5.325 | 19.34 | 5.419 | 110 | 10.9 | 971.339 | 63.5603 | 42.5142
2020-04-09 03:00:00 | 5.533 | 93.3 | 6.041 | 107.4 | 7.083 | 20.77 | 7.359 | 102.3 | 10.69 | 971.933 | 63.9716 | 16.4421
2020-04-09 03:15:00 | 5.089 | 113 | 5.42 | 132.4 | 5.755 | 21.07 | 5.905 | 116.5 | 10.59 | 971.887 | 64.2448 | 17.6651
2020-04-09 03:30:00 | 5.25 | 117.9 | 5.501 | 139.8 | 6.541 | 21.53 | 6.692 | 121 | 10.55 | 972.277 | 63.9432 | 17.1552
2020-04-09 03:45:00 | 4.484 | 112.7 | 5.146 | 130.4 | 5.61 | 21.35 | 5.77 | 115.4 | 10.46 | 971.933 | 64.3562 | 18.7476
2020-04-09 04:00:00 | 6.159 | 116.5 | 6.785 | 137.4 | 7.078 | 22.59 | 7.161 | 119 | 10.3 | 971.948 | 65.1399 | 33.309
2020-04-09 04:15:00 | 5.268 | 116.6 | 5.66 | 138.6 | 6.424 | 22.75 | 6.634 | 119 | 10.25 | 971.657 | 65.2789 | 40.2812
2020-04-09 04:30:00 | 5.709 | 116.5 | 5.734 | 136.5 | 6.653 | 23.78 | 6.904 | 121.4 | 10.01 | 971.8 | 65.8936 | 33.4975
2020-04-09 04:45:00 | 6.082 | 125.4 | 5.885 | 148.2 | 6.172 | 25 | 6.45 | 123.6 | 9.75 | 971.998 | 66.166 | 28.9306
2020-04-09 05:00:00 | 6.003 | 127.5 | 6.123 | 148.7 | 6.401 | 26.14 | 6.476 | 129.5 | 9.64 | 972.169 | 67.2585 | 17.3436
2020-04-09 05:15:00 | 2.703 | 155.1 | 3.105 | 164 | 2.658 | 17.95 | 2.649 | 150.3 | 9.4 | 972.771 | 74.4314 | 2.4571
2020-04-09 05:30:00 | 5.278 | 116.4 | 6.156 | 132.3 | 6.472 | 29.67 | 6.743 | 122 | 8.89 | 971.731 | 73.1431 | 13.7966
2020-04-09 05:45:00 | 3.345 | 101 | 5.225 | 115.2 | 6.444 | 29.8 | 6.621 | 106.1 | 8.49 | 971.286 | 79.6653 | 25.0141
2020-04-09 06:00:00 | 8.53 | 126.7 | 9.12 | 138.1 | 9.02 | 33.08 | 8.96 | 134.5 | 8.72 | 971.489 | 77.1043 | 24.1828
2020-04-09 06:15:00 | 3.577 | 161.9 | 3.61 | 197.1 | 3.549 | 359 | 3.574 | 152.9 | 8.02 | 972.323 | 90.6266 | 1.1713
2020-04-09 06:30:00 | 1.572 | 158.2 | 2.237 | 188.7 | 2.456 | 1.489 | 2.556 | 155.5 | 6.804 | 972.177 | 84.9645 | 0.89046
2020-04-09 06:45:00 | 2.288 | 124.7 | 3.034 | 141.5 | 2.973 | 28.79 | 2.819 | 126.1 | 7.641 | 972.474 | 85.2535 | 0.56901
2020-04-09 07:00:00 | 3.039 | 318.7 | 2.278 | 319.2 | 1.115 | 11.82 | 0.885 | 337.5 | 6.274 | 972.474 | 93.1159 | 1.4706
2020-04-09 07:15:00 | 3.125 | 333.7 | 3.934 | 342.9 | 2.397 | 14.62 | 2.177 | 333.5 | 5.623 | 972.771 | 98.3091 | 6.4327
2020-04-09 07:30:00 | 2.153 | 357.2 | 2.589 | 16.34 | 3.278 | 14.76 | 3.257 | 354.7 | 5.43 | 973.068 | 99.4705 | 3.8944
2020-04-09 07:45:00 | 3.267 | 52 | 4.489 | 65.83 | 4.898 | 26.04 | 5.271 | 71.78 | 5.415 | 972.177 | 99.9146 | 9.4292
2020-04-09 08:00:00 | 1.695 | 65.66 | 3.356 | 64.96 | 3.741 | 28.13 | 3.853 | 77.12 | 6.107 | 972.623 | 99.6755 | 4.5299
2020-04-09 08:15:00 | 4.502 | 301.4 | 3.978 | 308.4 | 3.171 | 11.28 | 3.017 | 306.7 | 5.849 | 973.068 | 99.9488 | 1.9767
2020-04-09 08:30:00 | 2.479 | 326.9 | 2.301 | 328.5 | 2.139 | 10.88 | 2.079 | 328.5 | 6.085 | 973.663 | 99.9829 | 1.5703
2020-04-09 08:45:00 | 1.108 | 358.2 | 1.319 | 348.7 | 1.522 | 3.181 | 1.644 | 345.8 | 5.929 | 973.663 | 99.9829 | 2.0396
2020-04-09 09:00:00 | 3.314 | 333.8 | 2.991 | 334.8 | 3.013 | 2.867 | 2.933 | 340.8 | 5.549 | 973.811 | 99.9829 | 4.8846
2020-04-09 09:15:00 | 2.822 | 351.8 | 3.037 | 12.99 | 3.807 | 2.771 | 3.873 | 342.8 | 5.266 | 973.96 | 99.9827 | 6.4771
2020-04-09 09:30:00 | 2.873 | 7.95 | 3.354 | 23.83 | 3.082 | 10.74 | 3.03 | 9.3 | 4.918 | 973.96 | 100 | 5.5016
2020-04-09 09:45:00 | 2.947 | 351.7 | 3.169 | 17.18 | 4.071 | 10.82 | 4.268 | 346.8 | 4.874 | 973.96 | 100 | 4.4264
2020-04-09 10:00:00 | 3.812 | 353.2 | 3.863 | 11.22 | 4.043 | 6.136 | 4.041 | 359.3 | 4.759 | 973.663 | 100 | 8.1213
2020-04-09 10:15:00 | 4.05 | 353.3 | 4.013 | 18.33 | 4.87 | 10.89 | 5.037 | 350.8 | 4.635 | 973.663 | 99.9488 | 7.7555
2020-04-09 10:30:00 | 4.004 | 12.73 | 4.535 | 30.79 | 4.42 | 12.74 | 4.403 | 17.1 | 4.628 | 973.366 | 99.9829 | 4.3193
2020-04-09 10:45:00 | 3.041 | 8.34 | 3.027 | 20.11 | 3.677 | 6.168 | 3.695 | 13.61 | 4.848 | 973.669 | 99.9488 | 4.0126
2020-04-09 11:00:00 | 3.59 | 2.886 | 4.417 | 17.24 | 4.443 | 9.87 | 4.663 | 1.29 | 5.617 | 973.663 | 100 | 2.3019
2020-04-09 11:15:00 | 2.444 | 9.84 | 2.912 | 28.8 | 3.151 | 18.76 | 3.168 | 12.16 | 5.685 | 974.257 | 99.9488 | 2.3241
2020-04-09 11:30:00 | 5.865 | 316.5 | 5.427 | 323.5 | 4.384 | 356.8 | 4.431 | 310.9 | 5.051 | 973.663 | 100 | 4.8181
2020-04-09 11:45:00 | 3.374 | 352.2 | 3.863 | 7.894 | 3.537 | 3.734 | 3.501 | 350.2 | 4.832 | 974.257 | 99.9488 | 8.0548
2020-04-09 12:00:00 | 3.18 | 346 | 3.811 | 10.86 | 3.601 | 11.86 | 3.677 | 341.3 | 4.828 | 973.96 | 99.9829 | 6.4438
2020-04-09 12:15:00 | 2.616 | 24.15 | 3.482 | 37.09 | 3.342 | 28.93 | 3.382 | 31.95 | 4.726 | 973.663 | 100 | 1.0198
2020-04-09 12:30:00 | 2.315 | 34.93 | 2.635 | 33.15 | 3.036 | 20.8 | 3.16 | 54.37 | 4.87 | 973.663 | 99.9829 | -0.29559
2020-04-09 12:45:00 | 1.201 | 25.16 | 1.75 | 38.91 | 1.988 | 33.1 | 2.103 | 25.62 | 5.798 | 974.257 | 99.9488 | -0.22169
2020-04-09 13:00:00 | 2.494 | 318.8 | 2.418 | 324.6 | 1.551 | 2.74 | 1.401 | 321.6 | 5.381 | 974.257 | 100 | -0.18105
2020-04-09 13:15:00 | 3.297 | 290.2 | 3.185 | 309.3 | 2.232 | 2.732 | 2.045 | 293 | 5.062 | 974.703 | 99.9829 | 0.75375
2020-04-09 13:30:00 | 2.087 | 344.1 | 1.942 | 355 | 1.69 | 334 | 1.348 | 323.3 | 4.822 | 974.257 | 99.9488 | 0.62443
2020-04-09 13:45:00 | 0.538 | 45.19 | 1.032 | 14.2 | 1.63 | 4.135 | 1.683 | 68.72 | 4.909 | 974.257 | 99.9829 | 0.38057
2020-04-09 14:00:00 | 2.411 | 16.98 | 2.492 | 29.39 | 2.482 | 359.8 | 2.521 | 27.88 | 4.988 | 973.663 | 100 | 0.26972
2020-04-09 14:15:00 | 2.458 | 353.7 | 2.294 | 23.71 | 2.245 | 0.259 | 2.258 | 1.217 | 4.964 | 973.96 | 99.9488 | 0.32515
2020-04-09 14:30:00 | 3.539 | 325.1 | 3.433 | 337.1 | 3.741 | 344.3 | 3.873 | 328.1 | 5.092 | 974.257 | 100 | 9.0221
2020-04-09 14:45:00 | 3.601 | 2.627 | 3.263 | 17.21 | 3.867 | 343 | 3.934 | 346.6 | 4.287 | 973.96 | 99.9488 | 20.9719
2020-04-09 15:00:00 | 3.077 | 338.2 | 2.314 | 2.671 | 3.073 | 13.77 | 3.239 | 338.9 | 3.593 | 973.71 | 99.9488 | 1.2858
2020-04-09 15:15:00 | 5.155 | 319.2 | 5.136 | 331.4 | 4.644 | 6.202 | 4.566 | 319.3 | 3.88 | 973.838 | 99.9589 | 6.5436
2020-04-09 15:30:00 | 3.355 | 11.61 | 4.123 | 30.03 | 3.792 | 20.69 | 3.832 | 16.09 | 3.805 | 973.958 | 100 | 7.6557
2020-04-09 15:45:00 | 2.384 | 13.67 | 2.04 | 27.41 | 2.434 | 8.47 | 2.62 | 15.87 | 3.9 | 973.956 | 100 | 1.3893
2020-04-09 16:00:00 | 0.577 | 14.06 | 1.347 | 31.84 | 1.729 | 24 | 1.624 | 356.8 | 4.158 | 974.555 | 99.972 | 0.22908
2020-04-09 16:15:00 | 1.107 | 359.7 | 0.886 | 5.765 | 1.583 | 19.71 | 1.603 | 0.076 | 4.245 | 974.362 | 99.9687 | 0.29189
2020-04-09 16:30:00 | 2.633 | 351.5 | 2.117 | 13.38 | 2.67 | 15.88 | 2.689 | 345.8 | 4.236 | 974.04 | 99.9592 | 0.096066
2020-04-09 16:45:00 | 1.859 | 18.89 | 1.932 | 36.96 | 2.011 | 17.39 | 2.062 | 21.28 | 4.213 | 974.041 | 99.957 | 0.48402
2020-04-09 17:00:00 | 2.375 | 13.68 | 2.311 | 29.32 | 2.044 | 16.05 | 2.21 | 23.27 | 4.342 | 974.014 | 99.9595 | -0.1404
2020-04-09 17:15:00 | 1.115 | 327.1 | 1.208 | 344.9 | 1.026 | 8.39 | 1.221 | 345.9 | 4.529 | 974.453 | 99.9553 | -0.15518
2020-04-09 17:30:00 | 0.864 | 33.9 | 1.222 | 38.61 | 1.272 | 10.78 | 1.178 | 44.82 | 4.35 | 974.457 | 99.9554 | -0.31406
2020-04-09 17:45:00 | 0.331 | 322.8 | 0.211 | 341 | 0.259 | 19.42 | 0.347 | 326.8 | 4.48 | 974.541 | 99.9874 | -0.24755
2020-04-09 18:00:00 | 1.877 | 303.2 | 1.943 | 320.1 | 1.518 | 3.518 | 1.451 | 312.9 | 4.299 | 974.777 | 100 | -0.12562
2020-04-09 18:15:00 | 2.919 | 308 | 2.871 | 320.9 | 2.378 | 3.513 | 2.133 | 312 | 4.208 | 974.985 | 100 | -0.018474
2020-04-09 18:30:00 | 2.592 | 345 | 2.953 | 6.946 | 3.588 | 7.103 | 3.692 | 341.6 | 4.036 | 975.14 | 100 | 4.2269
2020-04-09 18:45:00 | 2.233 | 0.783 | 1.763 | 20.04 | 1.983 | 25.04 | 2.123 | 353.9 | 3.765 | 975.446 | 99.9745 | 1.1565
2020-04-09 19:00:00 | 0.412 | 358.2 | 0.188 | 3.738 | 0.431 | 24.74 | 0.547 | 343.8 | 3.804 | 975.566 | 99.9773 | 0.25125
2020-04-09 19:15:00 | 1.086 | 332.5 | 0.559 | 2.521 | 0.812 | 24.71 | 0.886 | 343.4 | 3.866 | 975.744 | 99.9756 | 0.65768
2020-04-09 19:30:00 | 2.234 | 334.3 | 1.645 | 328.7 | 1.39 | 8.43 | 1.44 | 340 | 3.638 | 975.744 | 99.9744 | 0.55792
2020-04-09 19:45:00 | 0.487 | 344.5 | 0.477 | 13.96 | 0.872 | 24.16 | 1.128 | 342.9 | 3.674 | 976.19 | 99.973 | 0.4286
2020-04-09 20:00:00 | 0.2 | 346.9 | 0.202 | 353.7 | 0.653 | 23.61 | 0.785 | 356.7 | 3.718 | 976.339 | 99.9732 | 0.32884
2020-04-09 20:15:00 | 1.003 | 0.348 | 0.717 | 353.9 | 0.835 | 22.29 | 0.943 | 356.8 | 3.803 | 976.339 | 100 | 0.63182
2020-04-09 20:30:00 | 1.997 | 7.785 | 1.723 | 31.09 | 0.833 | 19.95 | 0.84 | 2.595 | 3.771 | 976.636 | 99.9725 | 0.3621
2020-04-09 20:45:00 | 1.976 | 8.87 | 1.516 | 19.81 | 1.088 | 17.95 | 1.185 | 3.108 | 3.74 | 976.783 | 99.9735 | 0.17366
2020-04-09 21:00:00 | 1.457 | 26.13 | 0.983 | 18.59 | 0.624 | 21.15 | 0.738 | 3.22 | 3.766 | 976.784 | 99.9769 | 0.040643
2020-04-09 21:15:00 | 1.428 | 16.93 | 0.397 | 18.16 | 0.243 | 21.08 | 0.548 | 60.11 | 3.813 | 976.933 | 99.9718 | -0.13671
2020-04-09 21:30:00 | 1.9 | 2.528 | 1.102 | 17.94 | 0.072 | 14.95 | 0 | 31.81 | 3.869 | 976.933 | 99.9759 | -0.048033
2020-04-09 21:45:00 | 1.307 | 355.1 | 1.47 | 18.17 | 1.524 | 16.08 | 1.583 | 350.4 | 3.873 | 976.933 | 99.9722 | 0.218
2020-04-09 22:00:00 | 1.588 | 343.8 | 1.409 | 17.77 | 1.576 | 17.12 | 1.576 | 355.5 | 3.785 | 977.082 | 99.972 | 0.22908
2020-04-09 22:15:00 | 2.183 | 17.22 | 2.081 | 15.23 | 1.635 | 20.68 | 1.422 | 9.85 | 3.696 | 976.933 | 99.9763 | -0.12562
2020-04-09 22:30:00 | 1.956 | 11.9 | 1.536 | 15.42 | 0 | 22.98 | 0.046 | 12.88 | 3.669 | 977.231 | 100 | -0.081287
2020-04-09 22:45:00 | 1.828 | 1.932 | 1.513 | 15.37 | 0.103 | 22.73 | 0.588 | 12.88 | 3.735 | 977.379 | 100 | -0.20322
2020-04-09 23:00:00 | 1.78 | 339.5 | 1.497 | 13.72 | 0.633 | 13.9 | 0.541 | 12.88 | 3.839 | 977.517 | 99.9731 | -0.0036948
2020-04-09 23:15:00 | 0.94 | 348.3 | 0.526 | 13.95 | 0.604 | 11.61 | 0.809 | 344.5 | 3.799 | 977.677 | 99.9735 | 0.051728
2020-04-09 23:30:00 | 1.549 | 22.8 | 1.271 | 15.01 | 1.138 | 16.28 | 1.302 | 345.3 | 3.754 | 977.825 | 99.9736 | -0.24755
2020-04-09 23:45:00 | 0.089 | 88.9 | 0.361 | 15.13 | 0.388 | 22.35 | 0.329 | 345.4 | 3.804 | 977.528 | 99.9752 | -0.28081