## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-10 00:00:00 | 0.481 | 121.3 | 0.493 | 15.17 | 1.039 | 23.07 | 0.99 | 345.7 | 4.113 | 977.825 | 99.9768 | -0.26972
2020-04-10 00:15:00 | 0 | 128.7 | 0.071 | 15.33 | 0.285 | 23.22 | 0.433 | 345.9 | 4.716 | 977.676 | 99.9771 | -0.26972
2020-04-10 00:30:00 | 2.135 | 35.66 | 1.585 | 15.2 | 1.378 | 18.8 | 1.505 | 345.9 | 4.062 | 977.528 | 99.9739 | -0.26972
2020-04-10 00:45:00 | 1.05 | 83.2 | 1.127 | 15.25 | 1.734 | 22.51 | 1.948 | 88.5 | 4.419 | 977.526 | 99.9768 | -0.26972
2020-04-10 01:00:00 | 0.637 | 133.6 | 1.312 | 155.6 | 1.716 | 23.51 | 1.831 | 114.4 | 4.647 | 977.525 | 100 | -0.26972
2020-04-10 01:15:00 | 1.228 | 149.2 | 1.677 | 157.4 | 2.172 | 25.18 | 2.19 | 116.7 | 4.635 | 977.514 | 100 | -0.26972
2020-04-10 01:30:00 | 0.35 | 134 | 0.112 | 156 | 0.238 | 22.1 | 0.327 | 116.7 | 4.726 | 977.751 | 99.9964 | -0.26972
2020-04-10 01:45:00 | 2.444 | 238.1 | 1.27 | 292.5 | 0.106 | 11.84 | 0.225 | 116.7 | 4.018 | 977.401 | 99.9656 | -0.28081
2020-04-10 02:00:00 | 1.752 | 205.7 | 0.974 | 283 | 0 | 11.82 | 0 | 116.7 | 3.801 | 977.636 | 99.9711 | -0.26972
2020-04-10 02:15:00 | 1.083 | 170.9 | 0 | 302.7 | 0 | 11.85 | 0 | 116.8 | 3.817 | 977.527 | 99.9748 | -0.26972
2020-04-10 02:30:00 | 1.688 | 333.4 | 1.419 | 342 | 0.815 | 11.83 | 0.932 | 18.46 | 3.828 | 977.528 | 99.9798 | -0.26972
2020-04-10 02:45:00 | 2.283 | 337.3 | 1.919 | 344.1 | 1.816 | 11.81 | 1.901 | 334 | 3.726 | 977.379 | 100 | -0.26972
2020-04-10 03:00:00 | 1.265 | 350.3 | 1.372 | 12.84 | 1.874 | 14.8 | 1.904 | 342.2 | 3.648 | 977.379 | 99.9764 | 0.96435
2020-04-10 03:15:00 | 0.888 | 352 | 1.584 | 15.28 | 2.262 | 15.04 | 2.421 | 342.1 | 3.525 | 977.367 | 99.975 | 0.76114
2020-04-10 03:30:00 | 1.398 | 7.57 | 1.676 | 33.18 | 1.713 | 21.56 | 1.876 | 352.8 | 3.295 | 977.201 | 99.9699 | 0.53945
2020-04-10 03:45:00 | 2.63 | 0.946 | 2.202 | 17.26 | 2.207 | 14.95 | 2.348 | 355.7 | 3.294 | 977.229 | 99.9734 | 0.56901
2020-04-10 04:00:00 | 1.389 | 344.2 | 1.332 | 355.7 | 2.192 | 17.27 | 2.157 | 348.1 | 3.301 | 977.049 | 100 | -0.20322
2020-04-10 04:15:00 | 1.908 | 8.26 | 2.825 | 23.73 | 2.729 | 17.01 | 2.5 | 16.36 | 3.326 | 976.92 | 99.9761 | -0.26603
2020-04-10 04:30:00 | 1.505 | 16.22 | 1.443 | 40.89 | 1.203 | 16.25 | 1.385 | 20.7 | 3.393 | 977.082 | 100 | -0.24755
2020-04-10 04:45:00 | 2.154 | 13.72 | 2.152 | 40.37 | 2.085 | 15.82 | 2.197 | 21.56 | 3.458 | 977.195 | 99.9751 | -0.28081
2020-04-10 05:00:00 | 1.606 | 3.264 | 0.879 | 40.45 | 0.786 | 13.71 | 1.15 | 20.59 | 3.54 | 977.334 | 100 | -0.28081
2020-04-10 05:15:00 | 0.391 | 23.44 | 0.318 | 40.98 | 0.372 | 20.74 | 0.685 | 18.36 | 3.598 | 977.226 | 99.9739 | -0.28081
2020-04-10 05:30:00 | 1.207 | 38.09 | 2.334 | 41.49 | 2.39 | 22.18 | 2.493 | 49.79 | 3.545 | 976.933 | 99.9756 | -0.26972
2020-04-10 05:45:00 | 1.21 | 295.3 | 0.634 | 342 | 0 | 12.47 | 0 | 39.42 | 3.742 | 977.518 | 99.9758 | -0.26972
2020-04-10 06:00:00 | 1.126 | 279 | 0.695 | 323.1 | 0.112 | 12.3 | 0 | 30.69 | 3.748 | 977.822 | 100 | -0.26972
2020-04-10 06:15:00 | 0.288 | 30.11 | 0.52 | 325 | 0.945 | 14.09 | 1.064 | 25.34 | 3.801 | 977.825 | 99.9762 | -0.28081
2020-04-10 06:30:00 | 0.498 | 24.73 | 0.93 | 36.84 | 1.286 | 22.23 | 1.369 | 42.86 | 3.843 | 978.122 | 99.9747 | -0.28081
2020-04-10 06:45:00 | 2.303 | 3.709 | 1.616 | 29.59 | 1.434 | 13.12 | 1.619 | 21.65 | 3.89 | 978.717 | 99.9767 | -0.30298
2020-04-10 07:00:00 | 2.303 | 3.709 | 1.616 | 29.59 | 1.434 | 13.12 | 1.619 | 21.65 | 3.89 | 978.717 | 99.9746 | 0.3621
2020-04-10 07:15:00 | 1.764 | 358.5 | 2.019 | 0.237 | 1.923 | 13.53 | 1.978 | 4.522 | 3.748 | 978.553 | 99.9736 | 1.0752
2020-04-10 07:30:00 | 2.714 | 356.6 | 2.612 | 5.927 | 2.146 | 11.16 | 2.22 | 9.5 | 3.696 | 978.999 | 100 | 1.973
2020-04-10 07:45:00 | 1.453 | 24.78 | 2.561 | 32.23 | 2.917 | 20.46 | 3.012 | 31.53 | 3.684 | 978.42 | 99.973 | 0.66138
2020-04-10 08:00:00 | 0.118 | 55.66 | 1.268 | 70.66 | 2.408 | 24.32 | 2.567 | 64.04 | 3.77 | 979.014 | 99.9729 | -0.19213
2020-04-10 08:15:00 | 1.188 | 34.95 | 2.49 | 46.1 | 3.441 | 26.3 | 3.529 | 46.17 | 3.768 | 979.312 | 99.9734 | -0.26972
2020-04-10 08:30:00 | 1.882 | 10.66 | 2.827 | 23.36 | 2.991 | 12.18 | 2.862 | 17.8 | 3.674 | 979.312 | 100 | -0.23278
2020-04-10 08:45:00 | 3.297 | 359.8 | 3.241 | 8.21 | 3.314 | 5.388 | 3.422 | 11.8 | 3.707 | 979.906 | 99.9739 | -0.059118
2020-04-10 09:00:00 | 3.71 | 24.12 | 3.566 | 32.67 | 4.059 | 14.99 | 4.064 | 35.26 | 3.568 | 979.609 | 99.979 | 0.53206
2020-04-10 09:15:00 | 3.657 | 59.89 | 5.31 | 76.57 | 5.297 | 45.65 | 5.299 | 64.05 | 3.357 | 980.055 | 99.9749 | 2.3167
2020-04-10 09:30:00 | 2.244 | 36.55 | 4.693 | 47.69 | 4.73 | 39.35 | 4.711 | 43.62 | 3.341 | 979.906 | 99.9766 | 3.9609
2020-04-10 09:45:00 | 3.281 | 37.93 | 5.665 | 52.61 | 5.628 | 26.97 | 5.61 | 45.1 | 3.078 | 979.855 | 99.975 | 4.9474
2020-04-10 10:00:00 | 2.27 | 39.25 | 4.558 | 57.07 | 4.6 | 27.39 | 4.624 | 42.13 | 2.632 | 979.583 | 99.9815 | 2.9854
2020-04-10 10:15:00 | 1.215 | 37.77 | 3.469 | 48.7 | 3.754 | 23.61 | 3.654 | 38.55 | 2.489 | 979.906 | 100 | 4.0976
2020-04-10 10:30:00 | 1.215 | 37.77 | 3.469 | 48.7 | 3.754 | 23.61 | 3.654 | 38.55 | 2.489 | 979.906 | 100 | 10.0537
2020-04-10 10:45:00 | 1.215 | 37.77 | 3.469 | 48.7 | 3.754 | 23.61 | 3.654 | 38.55 | 2.489 | 979.906 | 100 | 10.1571
2020-04-10 11:00:00 | 3.654 | 20.73 | 6.34 | 30.88 | 6.048 | 1.797 | 5.949 | 30.61 | 1.763 | 979.312 | 99.9829 | 10.4416
2020-04-10 11:15:00 | 3.986 | 33.19 | 6.478 | 47.05 | 7.121 | 1.389 | 7.089 | 41.42 | 1.772 | 979.014 | 99.9837 | 14.4579
2020-04-10 11:30:00 | 4.509 | 25.31 | 7.391 | 38.17 | 6.943 | 10.42 | 6.814 | 34.45 | 1.881 | 979.014 | 99.8488 | 14.3657
2020-04-10 11:45:00 | 5.487 | 35.55 | 8.83 | 49.76 | 9.04 | 24.86 | 8.96 | 41.57 | 2.008 | 978.717 | 98.0011 | 20.2551
2020-04-10 12:00:00 | 4.507 | 31.73 | 7.429 | 44.34 | 8.44 | 19.86 | 8.36 | 39.13 | 2.074 | 978.717 | 99.2997 | 29.5772
2020-04-10 12:15:00 | 3.461 | 29.28 | 6.166 | 42.07 | 6.511 | 19.95 | 6.501 | 36.56 | 2.234 | 978.717 | 98.6164 | 19.5273
2020-04-10 12:30:00 | 3.008 | 32.99 | 4.85 | 49.32 | 5.025 | 18.06 | 5.067 | 38.79 | 2.43 | 979.014 | 95.985 | 10.3271
2020-04-10 12:45:00 | 3.344 | 40.91 | 4.821 | 53.64 | 5.572 | 27.65 | 5.801 | 46.15 | 2.518 | 978.717 | 96.2584 | 9.6251
2020-04-10 13:00:00 | 5.007 | 41.54 | 7.805 | 53.75 | 8.54 | 27.53 | 8.54 | 49.72 | 2.766 | 979.163 | 91.2353 | 14.1032
2020-04-10 13:15:00 | 5 | 48.69 | 6.903 | 61.97 | 7.121 | 36.01 | 7.28 | 55.14 | 3.263 | 979.014 | 91.6453 | 19.4903
2020-04-10 13:30:00 | 5.375 | 49.96 | 8.14 | 62.09 | 7.67 | 35.37 | 7.657 | 59.97 | 3.406 | 978.717 | 90.5519 | 42.775
2020-04-10 13:45:00 | 5.033 | 53.09 | 6.77 | 65.58 | 6.539 | 43.06 | 6.466 | 62.61 | 3.401 | 978.717 | 91.9187 | 28.018
2020-04-10 14:00:00 | 4.131 | 40.93 | 6.023 | 54.63 | 6.144 | 38.57 | 6.106 | 48.6 | 3.529 | 978.717 | 87.8167 | 13.634
2020-04-10 14:15:00 | 3.376 | 39.97 | 5.105 | 46.3 | 4.753 | 33.14 | 4.81 | 53.46 | 3.722 | 978.717 | 90.4096 | 11.5944
2020-04-10 14:30:00 | 4.553 | 38.83 | 6.537 | 52.84 | 6.231 | 37.13 | 6.208 | 48.35 | 3.81 | 978.717 | 88.8692 | 6.3108
2020-04-10 14:45:00 | 3.381 | 45.52 | 4.709 | 57.47 | 4.898 | 37.33 | 4.981 | 57.46 | 3.96 | 978.717 | 89.9306 | 1.7033
2020-04-10 15:00:00 | 2.092 | 25.05 | 3.241 | 41.87 | 3.367 | 29.16 | 3.333 | 25.9 | 4.226 | 978.717 | 89.0402 | -0.18105
2020-04-10 15:15:00 | 0.812 | 14.52 | 1.256 | 37.79 | 1.914 | 28.66 | 1.925 | 12.39 | 4.428 | 978.855 | 83.8311 | -0.28081
2020-04-10 15:30:00 | 1.564 | 13.65 | 2.073 | 37.33 | 2.306 | 28.88 | 2.376 | 12.56 | 4.569 | 978.422 | 87.5491 | -0.29928
2020-04-10 15:45:00 | 2.658 | 3.927 | 3.208 | 21.92 | 3.27 | 20.25 | 3.119 | 3.782 | 4.818 | 978.418 | 87.1734 | -0.26972
2020-04-10 16:00:00 | 2.557 | 6.704 | 2.748 | 24.16 | 2.624 | 17.04 | 2.806 | 10.93 | 4.817 | 978.715 | 89.5303 | -0.23278
2020-04-10 16:15:00 | 3.345 | 354.3 | 2.972 | 20.24 | 3.565 | 19.27 | 3.651 | 348.1 | 4.856 | 978.418 | 89.8378 | -0.10715
2020-04-10 16:30:00 | 2.948 | 0.96 | 3.272 | 23.21 | 3.391 | 18.62 | 3.447 | 349 | 4.817 | 978.121 | 91.6824 | 0.096066
2020-04-10 16:45:00 | 0.761 | 359.2 | 2.078 | 26.13 | 2.269 | 16.15 | 2.421 | 345.1 | 4.879 | 978.418 | 93.4586 | 0.218
2020-04-10 17:00:00 | 2.033 | 314 | 2.003 | 322.1 | 2.22 | 14.67 | 2.383 | 321.1 | 4.886 | 978.864 | 93.9368 | 0.17366
2020-04-10 17:15:00 | 2.444 | 325.9 | 2.5 | 335.5 | 2.95 | 13.97 | 3.04 | 326.1 | 4.835 | 979.012 | 94.9616 | 0.28081
2020-04-10 17:30:00 | 1.202 | 332.4 | 1.246 | 330.2 | 2.092 | 15.13 | 2.207 | 323.5 | 4.817 | 979.012 | 94.5517 | 1.3819
2020-04-10 17:45:00 | 2.839 | 312.6 | 3.246 | 329.9 | 3.438 | 12.91 | 3.476 | 312.4 | 4.717 | 978.864 | 96.6012 | 1.4003
2020-04-10 18:00:00 | 1.431 | 334.7 | 1.99 | 330.4 | 2.17 | 13.46 | 2.15 | 327.4 | 4.62 | 978.734 | 98.3775 | 1.4853
2020-04-10 18:15:00 | 2.422 | 318.5 | 2.551 | 348.2 | 3.558 | 14.18 | 3.736 | 317.2 | 4.603 | 978.739 | 97.8993 | 1.6294
2020-04-10 18:30:00 | 1.189 | 304.4 | 1.664 | 329.7 | 2.394 | 15.57 | 2.536 | 307.5 | 4.582 | 979.165 | 98.4126 | 2.0691
2020-04-10 18:45:00 | 2.109 | 292.7 | 2.702 | 313.6 | 3.212 | 14.17 | 3.308 | 293.8 | 4.502 | 979.241 | 99.5459 | 2.4682
2020-04-10 19:00:00 | 1.878 | 289.8 | 1.891 | 303.5 | 2.792 | 13.65 | 2.959 | 289.3 | 4.482 | 979.274 | 99.9667 | 1.8955
2020-04-10 19:15:00 | 1.559 | 270.4 | 2.28 | 278.8 | 3.303 | 13.39 | 3.351 | 277.2 | 4.484 | 979.234 | 99.9672 | 2.8968
2020-04-10 19:30:00 | 2.247 | 266.6 | 2.529 | 278.1 | 3.525 | 12.08 | 3.552 | 272.5 | 4.54 | 979.601 | 100 | 2.7342
2020-04-10 19:45:00 | 3.026 | 267.9 | 3.548 | 281.3 | 4.361 | 11.21 | 4.382 | 271.4 | 4.597 | 979.556 | 99.9973 | 2.8081
2020-04-10 20:00:00 | 2.99 | 258.2 | 3.147 | 270 | 3.695 | 10.4 | 3.743 | 264.4 | 4.581 | 979.821 | 99.9607 | 2.9078
2020-04-10 20:15:00 | 2.543 | 260.4 | 2.748 | 272.2 | 3.705 | 7.988 | 3.812 | 266.6 | 4.583 | 979.832 | 99.9594 | 2.5088
2020-04-10 20:30:00 | 2.903 | 251.4 | 3.093 | 262 | 3.194 | 7.921 | 3.234 | 258.3 | 4.618 | 979.781 | 99.962 | 2.9817
2020-04-10 20:45:00 | 2.656 | 265 | 3.05 | 275.6 | 3.738 | 7.873 | 3.751 | 270.4 | 4.618 | 980.068 | 99.9597 | 2.2982
2020-04-10 21:00:00 | 3.243 | 263.3 | 4.019 | 279.7 | 4.878 | 7.647 | 4.948 | 269.1 | 4.666 | 980.401 | 99.9602 | 3.2404
2020-04-10 21:15:00 | 2.09 | 254.2 | 1.714 | 262 | 1.993 | 7.439 | 2.754 | 281 | 4.684 | 980.114 | 99.9582 | 4.1641
2020-04-10 21:30:00 | 2.09 | 254.2 | 1.714 | 262 | 1.993 | 7.439 | 2.754 | 281 | 4.684 | 980.114 | 99.9582 | 3.7983
2020-04-10 21:45:00 | 2.09 | 254.2 | 1.714 | 262 | 1.993 | 7.439 | 2.754 | 281 | 4.684 | 980.114 | 99.9582 | 4.153
2020-04-10 22:00:00 | 2.09 | 254.2 | 1.714 | 262 | 1.993 | 7.439 | 2.754 | 281 | 4.684 | 980.114 | 99.9582 | 3.5249
2020-04-10 22:15:00 | 2.09 | 254.2 | 1.714 | 262 | 1.993 | 7.439 | 2.754 | 281 | 4.684 | 980.114 | 99.9582 | 3.3734
2020-04-10 22:30:00 | 2.09 | 254.2 | 1.714 | 262 | 1.993 | 7.439 | 2.754 | 281 | 4.684 | 980.114 | 99.9582 | 3.5544
2020-04-10 22:45:00 | 2.09 | 254.2 | 1.714 | 262 | 1.993 | 7.439 | 2.754 | 281 | 4.684 | 980.114 | 99.9582 | 4.6814
2020-04-10 23:00:00 | 2.09 | 254.2 | 1.714 | 262 | 1.993 | 7.439 | 2.754 | 281 | 4.684 | 980.114 | 99.9582 | 2.8081
2020-04-10 23:15:00 | 2.09 | 254.2 | 1.714 | 262 | 1.993 | 7.439 | 2.754 | 281 | 4.684 | 980.114 | 99.9582 | 2.8635
2020-04-10 23:30:00 | 2.09 | 254.2 | 1.714 | 262 | 1.993 | 7.439 | 2.754 | 281 | 4.684 | 980.114 | 99.9582 | 2.5605
2020-04-10 23:45:00 | 2.09 | 254.2 | 1.714 | 262 | 1.993 | 7.439 | 2.754 | 281 | 4.684 | 980.114 | 99.9582 | 3.5101